City of Lebanon

Request for Proposal

RFP # 22-ROOF REPLACEMENT 03/25
*City of Lebanon reserves the right to reject all or any part of any RFP*

The City of Lebanon is exempt from State Tax and Federal Exercise Tax.

NO PROPOSALS RECEIVED AFTER CLOSING WILL BE ACCEPTED.

The City of Lebanon invites sealed proposals for roof replacement at the Lebanon City Hall in accordance with the specifications and bidding instructions set forth in this Request for Proposals. Bids will be received by the Purchasing Department, 200 N. Castle Heights Avenue, Lebanon, Tennessee 37087, until 10:00 a.m. central time, March 25, 2022, at 10:00 a.m. which time they will be opened and read aloud.

Please identify as a sealed proposal with stamped on the outside of the envelope “RFP #22-ROOF REPLACEMENT 03/25”

Any questions in regard to this proposal should be directed to Lisa Lane, Purchasing Agent, (615) 443-2802.

A copy of the bid tabulation will be available upon written request to the Purchasing Department.

Any manufacturers’ names, trade names, brand names, or catalog numbers used in the specifications are for the purpose of describing and establishing general quality levels.  Such references are not intended to be restrictive.  Since the “City” does not wish to rule out other competition and equal brands or makes, please remember “ANY APPROVED EQUAL”.  HOWEVER, IF A PRODUCT OTHER THAN SPECIFIED IS BID, IT IS THE VENDORS RESPONSIBILITY TO PROVE TO THE “CITY” THAT SAID PRODUCT IS EQUAL TO OR EXCEEDS THE QUALITY OF THE SPECIFICATIONS LISTED FOR ANY ITEM.

The City of Lebanon is an equal opportunity entity and does not discriminate on the basis of age, race, sex, national origin, religion or disability in admission to, access to, or operations of its programs, services, activities, or in its awarding of such bids.

1. SCOPE AND CLASSIFICATION

1.1 Scope:  The intent of this Request for Proposals and resulting contract is to provide the City of Lebanon with information concerning roof replacement.

1.2 Classification:  The roof replacements specifications shall be of the following types either “equal to “or “better than”.

2. SPECIFICATIONS

SCOPE OF WORK:
Job Location:
City of Lebanon City Hall Main Building


East and West Wings
· Tear-off the existing EPDM membrane and flashings from both roof slopes to expose the existing iso insulation board.

· Replace any wet or damaged insulation board discovered at an additional rate of $__________ per (4x8 board).  Photos must be provided to document the amount of wet insulation identified during the tear-off. 

· Install an additional layer of 1.5-inch poly iso to improve the R-vale and provide a suitable substrate to adhere the new membrane to.  The insulation will be secured to the wood roof deck using high-load plates and screws. 

· Install new tapered insulation crickets between the thru-wall scuppers to promote positive drainage to the outlets. 

· Install EPDM perimeter strip at all angle changes of the curbs and parapet walls to prevent the new membrane from bridging away from the walls over time.

· Fully adhere new 60 mil EPDM membrane (Black) to the new insulation system and the adjacent masonry walls. Secure the membrane to all vertical surfaces using termination bar.

· Fabricate and install new thru-wall scuppers and flash the scuppers to the new EPDM membrane.  Scuppers will be fabricated using 24-ga. Painted steel. 

· Provide an onsite supervisor to monitor the installation and manage expectations. 

· Flash all penetrations including HVAC, plumbing vents & all other curbs.

· Clean up job thoroughly and haul away all debris.

· Lift equipment and debris containers will be provided by contractor.

· The contractor will need to be able to raise the gas line P-traps to accommodate the new roof height.

· A pre-construction meeting with the selected vendor and a City Representative to discuss the installation schedule, safe lift zones, material staging areas, and acceptable work hours.  We will also address onsite any concerns or questions either party might have regarding the roof project, during the pre-construction meeting with the awarded vendor.
· Please state the length that the project will take _____________________.
· Pre-Inspection is required before bid opening date.  Contact Lisa Lane at (615) 443-2802 to set up a time.
WARRANTY:
Minimum of 10-year manufacturer’s material warranty.



Minimum of 10-year roofing installation warranty.




To be included in bid price. 

INSURANCE:
Vendor must provide proof of insurance with this bid packet. All bidders must provide a copy of their business licenses and contractor’s licenses with Local, County and State agencies. 
PRICES:


DESCRIPTION

UNIT COST

TOTAL


Roof Repair


$___________
$__________


Cost per 4x8 sheet

$___________


Base Bid Total


$______________

1. WARRANTY 

Bidders shall state the warranty period on the bid pricing form.  

2.  EXCEPTIONS

The above are minimum specifications.  If there are any exceptions to these specifications, please make any notations to the right of that spec. and the exceptions will have to be approved by the department.  

  
        _______________________________________                                   

Company Name and Authorized Representative  

_______________________________________

Address and Contact’s Telephone Number
PAGE  
3

