Request for Quote

For

Renovations to the Alice Street Warehouse

Bid Number FY25-06

BIDS DUE NO LATER THAN 2:00 PM ON THURSDAY, FEBRUARY 13, 2025

City of Waycross

Purchasing Department
Attn: Mamie Jackson, Purchasing Manager
417 Pendleton Street
Waycross, GA 31501

Renovations to the Alice Street Warehouse
Bid #FY25-06

SCOPE:

The City of Waycross is accepting proposals from Licensed contractors for renovations to the Alice Street warehouse located at 516 Alice Street, Waycross, Georgia.

The City reserves the right to accept or reject any or all bids, waive formalities and technicalities, make an award in the City's best interest, and make an award item by item unless otherwise stipulated by the bidder. Bidder must comply with all Federal, State, and Local Laws.

If awarded, Factors to consider in making this award will be prices, quality, and references. The City will be the sole judge of the weights given these factors.

Bids will be opened and read aloud in the conference room at City Hall, on the second floor – 417 Pendleton Street, Waycross, Georgia, on the hour and date specified below. No bids will be accepted after bid opening time. No faxed or emailed bids will be accepted. CONTACT PERSONS AND INQUIRIES: Vendors are encouraged to contact Mamie Jackson, Purchasing Manager at mjackson@waycrossga.gov or 912-287-2957 to clarify any part of the RFQ requirements. Any unauthorized contact shall not be used as a basis for responding to this RFQ and also may result in the disqualification of the vendor's submittal. Vendors may not contact any elected official to discuss the proposal process or proposal opportunities. Contact of this nature will result in immediate disqualification of the vendor. ADDITIONAL INFORMATION/ADDENDA The City of Waycross will issue responses to inquiries and any other corrections or amendments it deems necessary in written addenda issued prior to the due date. Vendors should not rely on any representations, statements or explanations other than those made in this RFQ or in any addendum to this RFQ. Where there appears to be a conflict between the RFQP and any addenda issued, the last addendum issued will prevail.

PRE-BID MEETING:

There will be a mandatory pre-bid meeting at the Alice Street Warehouse located at 516 Alice Street at 10:00 a.m., Wednesday, February 5, 2025, for all contractors to attend.

Bids will be accepted until 2:00 p.m., Thursday, February 13, 2025. Envelopes must be sealed and marked Bid #FY25-06 Warehouse Renovation.

Mail to:

City of Waycross,

Purchasing Department

PO Drawer 99

Waycross GA  31502

or hand deliver to:

Purchasing Department, 2nd Floor

City Hall

417 Pendleton Street

Waycross, GA  31501

Specifications:

Alice Street Warehouse shall include but not be limited to:

Warehouse

- Replace insulation

- Seal area where the wall meets the floor

Office 1

- Replace baseboard

- Replace interior door and trim

- Replace exterior door and trim

- Install window A/C unit

- Replace drywall

- Prime and paint the walls

- Replace insulation

- Replace flooring

- Assess and repair electrical wiring

Bathroom 1

- Replace toilet

- Replace cabinet and sink

- Replace flooring

- Install wall mirror

- Replace insulation

- Replace drywall and base trim

- Prime and paint the walls

- Replace interior door and trim

- Assess and repair electrical wiring

Breakroom

- Replace insulation and drywall

- Replace base trim

- Prime and paint the walls

- Install lower cabinets and countertop

- Install sink

- Install hot water heater

- Assess and repair electrical wiring

Entry

- Replace baseboard and window trim

- Prime and paint the walls

Office 2

- Replace baseboard

- Replace interior door and trim

- Install window A/C unit

- Replace drywall

- Prime and paint the walls

- Replace insulation

- Replace flooring

- Assess and repair electrical wiring

Office 3

- Replace baseboard

- Replace interior door and trim

- Replace exterior door and trim

- Replace drywall

- Prime and paint the walls

- Install window A/C unit

- Replace insulation

- Replace flooring

- Assess and repair electrical wiring

Bathroom 3

- Replace toilet

- Replace cabinet and sink

- Replace flooring

- Install wall mirror

- Replace insulation

- Replace drywall and base trim

- Replace interior door and trim

- Assess and repair electrical wiring

Contractor must provide 3 references of comparable work.

Contractor must furnish all necessary electrical, labor, tools, equipment and supplies to perform the required services at this location.

Contractor must have valid State Contractors License.

Contractor must submit Insurance Certificate with quote including Workers Comp. if applicable.

Contractor shall keep the premises clean of all rubbish and debris generated by the work involved.

Contractor must haul off all materials with regard to the entire renovation of this building.

Detailed warranty must be included with bid proposal.

Work must be completed within 60 days of award.

Alice Street Warehouse Measurements

Bid Form
Renovation of the Alice Street Warehouse
Bid #FY25-06

Office and Warehouse Renovations

Bid: $ ____________________________

Number of days to Complete: ________

Warranty: ________ year(s) $__________

Bidder Information

Name of Company: ____________________________________________________

Address: _____________________________________________________________

Contact Person: _______________________________________________________

Phone: ____________________________  Fax:______________________________

Email: _______________________________________________________________

Signature: ___________________________________________________________

Title: _______________________________________________________________

Date: _______________________________________________________________