

CITY OF BOAZ, ALABAMA

To All Bidders:

RE: Bid Number 2017-10-94

Advertised this date: October 25, 2017

**AIR CURTAIN BURNER**

SPECIFICATIONS REQUIRED:

 Refractory Walled Air Curtain Burner Model S-327E with Three Phase Electric Motor and VFD Speed Control, up to 480V Line-in and Under-Air Supply as required in Alabama.

Sealed bids shall be due no later than 10 am, November 9, 2017, at Boaz City Hall, 112 North Broad Street, Boaz, AL 35957. Bids will be opened and read aloud at this time.

Please read carefully the enclosed *Instructions to Bidders* and return the completed enclosed *Bid Sheet*. If you have any questions regarding this bid please contact me at jill.bright@cityofboaz.org.

Jill Bright, MMC

City Clerk/Treasurer

PO Box 537

112 N Broad Street

Boaz, AL 35957

**BID NUMBER 2017-10-94**

**BID SHEET**

 **AIR CURTAIN BURNER**

|  |  |
| --- | --- |
| **DESCRIPTION** | **PRICE**  |
| **Refractory Walled Air Curtain Burner Model S-327E w/ Three Phase Electric Motor and VFD Speed Control, up to 480V Line-in and Under-Air Supply as required in Alabama** | **$** |

**I, the undersigned, hereby affirm that I have not been in any agreement or collusion among bidders or prospective bidders in restraint of freedom of competition, by agreement to bid at a fixed price or to refrain from bidding. Furthermore, for the duration of the agreement, that I will not violate federal immigration law or knowingly employ, hire for employment or continue to employ an unauthorized alien within the State of Alabama. Furthermore, if a contracting party found to be in violation of this provision shall be deemed in breach of agreement and shall be responsible for all damages resulting therefrom.**

**Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Title\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Date\_\_\_\_\_\_\_\_**

**Print Signature and Title above \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Company Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Phone Numbers: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Email: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

***This bid must be notarized***

**Sworn to and subscribed before me this \_\_\_\_\_\_\_\_ day of \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_, \_\_\_\_\_\_\_\_.**

**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ My commission expires: \_\_\_\_\_\_\_\_\_\_\_\_\_**

**Notary Public**

**CITY OF BOAZ**

**INSTRUCTION TO BIDDERS**

1. All bids must be submitted in a sealed envelope clearly marked SEALED BID. Envelope should also state Bid Invitation Number, date, and time of bid opening.
2. All bids shall be typewritten or in ink on the form prepared by the City. All proposals must be signed by an official of the corporation/company duly authorized to sign bids and all bids must be notarized.
3. All corrections or erasures shall be initialed by the person signing the bid or his authorized representative.
4. If the total bid price exceeds $10,000 State Law requires the bidder to provide a bid bond, irrevocable letter of credit, or cashier’s check in the amount of five (5) percent of the total bid price. The bond or cashier’s check should accompany the bid proposal and any bid over $10,000 that **is not** accompanied by a bid bond or cashier’s check **will not** be considered.
5. It will be assumed that all bids are based upon the specifications unless the bidder stipulates to the contrary on the proposal form, in which case, the bidder will list on a separate sheet of paper, any exceptions to the conditions of the bid. This sheet will be labeled, **EXCEPTIONS TO BID CONDITIONS**, and will be attached to the bid proposal. This attached sheet must also be signed by the official signing the proposal. If no exceptions are stated, it will be understood that all general and specific conditions will be met.
6. Whenever in this invitation, any particular materials, process and/or equipment are indicated or specified by Patent, Proprietary or Brand Name, or by name of manufacturer, such wording will be deemed to be used for the purpose of facilitating description of the material, process and/or equipment desired, and will be deemed to be followed by the words, OR EQUAL. Proof satisfactory must be provided by Bidder to show that the alternative product is, in fact, equal to the product required in the specifications.
7. Bids may be amended or withdrawn by the party submitting such bid or by their authorized representative, up until the scheduled opening time. No bid may be amended or withdrawn thereafter **regardless of the circumstances**.
8. Prices quoted in all bids shall be delivered prices, exclusive of all Federal and State excise, sales, and manufacturer’s taxes.
9. All bids which do not contain a firm stated price for the item(s) required will be considered informal and will not be considered**. Any bid containing an escalator clause will not be considered.**
10. The City of Boaz is to be protected against any increase above the price in the bid until all materials covered by this bid have been delivered.
11. Discounts, if any, will be figured from the date of acceptance by the City, regardless of date of delivery or invoice.
12. The City will assume no transportation or handling charges other than specified in the bid.
13. The City shall have thirty days from the date of the opening of the bids before rewarding a contractor or rejecting the bids.
14. The City reserves the right to have demonstrated to its designated representatives, any and all items bid **before** making the award.
15. All items bid will be inspected by a representative of the City upon delivery to ascertain compliance with the specifications. Items not in compliance with the specifications will be rejected and shall be replaced by the vendor at no cost to the City of Boaz.
16. The bidder shall assume full responsibility for warranty of all components of the equipment. A statement shall be attached with the proposal setting out the conditions of the warranty. The manufacturer’s standard warranty shall be furnished.
17. The successful bidder shall indemnify and save harmless, the City of Boaz, against any and all claims for royalties, patent infringements or suits for information hereon which be involved in the manufacture or use of the items furnished.
18. Bids will be awarded to the lowest responsive and responsible Bidder. The determination of the lowest responsive and responsible Bidder may involve all or some of the following factors: Qualities of the commodities proposed to be supplied; their conformity with specifications; the purposes for which required; the terms of delivery; transportation charges; date of delivery; and other objective and accountable factors which are reasonable.
19. The City of Boaz reserves the right to accept or reject any or all items covered in the request, or any portion(s) thereof, re-advise and/or take other steps to pursue the best interest of the City.
20. Pictures, descriptions and specifications taken directly from manufacturer’s brochure shall accompany all bids. Bids not containing this information **WILL BE SUBJECT TO REJECTION**.
21. A certificate of Workers Compensations and liability insurance coverage is required for work or services on City of Boaz property. This must be provided before bid is awarded.
22. Successful bidder will be required to purchase a City of Boaz business license.