{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Boiler"],"not_rendered":{"defined_names":2},"read":"whole","date_system":"1900"}

{"sheet":"Boiler","index":0,"n_rows":159,"n_cols":17,"rows_kept":159,"merged":[[0,3,0,7],[0,11,0,16],[1,11,1,16]]}
[null,"Name of Offeror as identified on the cover page: ",{"$nulls":7},"Authorized Signature:"]
[null,"(Full legal name of business submitting the offer)",{"$nulls":9},"                   (Person signing must be authorized to submit binding offer to enter contract on behalf of Offeror named above.)"]
["Line#","School Name","Address","City/State/Zip","Juris.#","Status","NB#","Serial/Other #","Year\n Built","Manufacturer ","Type","DESCRIPTION","Plant Location","Fuel\n Source","ANNUAL Boiler Maintenance. All inclusive price.   (Line Item #1)",null,"Annual Boiler Inspection/ Tune-up Fee. Unit Price per 1 time annual service. All inclusive price.\n(Line item #2)"]
[16,"Conway High","2301 Church St ","Conway, SC 29526","SC002348","Active",29143,"P5609",1977,"KEWANEE","BOILER","FIRETUBE","BOILER ROOM","Natural/FO"]
[17,"Conway High","2301 Church St ","Conway, SC 29526","SC002349","Active",28866,"P5608",1977,"KEWANEE","BOILER","FIRETUBE","BOILER ROOM","Natural/FO"]
[23,"Conway Middle","1104 Elm St ","Conway, SC 29526","SC012801","Active",17162,"LPW1647304",2011,"ALLIED","BOILER","WATER HEATER","BOILER ROOM","Natural/FO"]
[27,"Forestbrook Elementary","4000 Panthers Pkwy ","Myrtle Beach, SC 29588","SC013614","Active","CIB",204884,2020,"SMITH","BOILER","CAST IRON","BOILER ROOM","Fuel Oil"]
[33,"Green Sea Floyds High","4990 Tulip Grove Rd ","Green Sea, SC 29545","SC005257","Active","NBCI","SN17452",1986,"BURNHAM","BOILER","CAST IRON","MECHANICAL ROOM","Propane"]
[44,"Loris High","301 Loris Lions Rd ","Loris, SC 29569","SC005267","Active",17408,17408,1987,"BURNHAM","BOILER","CAST IRON","BOILER ROOM","Propane"]
[51,"Midland Elementary","3011 Nichols Hwy ","Galivants Ferry, SC 29544","SC014126","Active",234204,1713105534729,2016,"LOCHINVAR","BOILER","LOW PRESSURE\n BOILER","GENERATOR MER","Propane"]
[52,"Midland Elementary","3011 Nichols Hwy ","Galivants Ferry, SC 29544","SC014127","Active",234198,1713105534730,2017,"LOCHINVAR","BOILER","LOW PRESSURE\n BOILER","GENERATOR MER","Propane"]
[57,"Myrtle Beach High","3302 Robert M Grissom Pkwy ","Myrtle Beach, SC 29577","SC005298","Active",17692,68738424,1992,"BURNHAM","BOILER","CAST IRON","BOILER ROOM","Natural"]
[58,"Myrtle Beach High","3302 Robert M Grissom Pkwy ","Myrtle Beach, SC 29577","SC009373","Active",18243,"548821 PE165560W",2012,"ALLIED BOILER","BOILER","LOW PRESSURE\n BOILER","BOILER ROOM","Natural"]
[60,"Myrtle Beach Elementary","950 Seahawk Way ","Myrtle Beach, SC 29577","SC014133","Active",446430,"1845 112531381",2016,"LOCHINVAR","BOILER","WATER HEATER","KITCHEN","Natural"]
[61,"Myrtle Beach Elementary","950 Seahawk Way ","Myrtle Beach, SC 29577","SC014134","Active",319440,"1818 110177394",2016,"LOCHINVAR","BOILER","LOW PRESSURE\n BOILER","ENERGY PLANT","Natural"]
[62,"Myrtle Beach Elementary","950 Seahawk Way ","Myrtle Beach, SC 29577","SC014135","Active",31884,"1816 110040530",2016,"LOCHINVAR","BOILER","LOW PRESSURE\n BOILER","510C","Natural"]
[67,"N Myrtle Beach High","3750 Sea Mountain Hwy ","Little River, SC 29566","SC014130","Active",388000,1702104456564,2016,"LOCHINVAR","BOILER","HOT WATER \nSUPPLY BLR","BOILER ROOM","Natural"]
[73,"Ocean Drive Elementary","901 11th Ave N ","NMB, SC 29582","SC005338","Active","CIB",14516,1983,"BURNHAM","BOILER","WATER HEATER","BOILER ROOM","Natural"]
[87,"South Conway Elementary","3001 4th Ave ","Conway, SC 29527","SC009367","Active",18241,"LPE10060W1",2012,"ALLIED BOILER","BOILER","LOW PRESSURE\n BOILER","BOILER ROOM","Natural/FO"]
[89,"St James Elementary","9711 Saint James Rd ","Myrtle Beach, SC 29588","SC005283","Active","NBCI","M-135-KY",1987,"KEWANEE","BOILER","WATER HEATER","BOILER ROOM","Propane"]
[92,"St James High","10800 Highway 707 ","Murrells Inlet, SC 29576","SC005277","Active","CI",null,2002,"PEERLESS","BOILER","CAST IRON","BOILER ROOM","Propane/FO"]
[93,"St James High","10800 Highway 707 ","Murrells Inlet, SC 29576","SC005278","Active","CI",null,2002,"PEERLESS","BOILER","CAST IRON","BOILER ROOM","Propane/FO"]
[98,"St James Middle","9775 Saint James Rd ","Myrtle Beach, SC 29588","SC005282","Active","CI",18076,1988,"BURNHAM","BOILER","CAST IRON","BOILER ROOM","Propane/FO"]
[103,"Waterway Elementary","700 Sandridge Rd ","Little River, SC 29566","SC009371","Active",17163,"LPW164760W3",2011,"ALLIED BOILER","BOILER","LOW PRESSURE\n BOILER","BOILER ROOM","Natural"]
[106,"Whittemore Park Middle","1808 Rhue St ","Conway, SC 29527","SC009366","Active",18340,"LPE165560V2",2012,"ALLIED BOILER","BOILER","LOW PRESSURE\n BOILER","BOILER ROOM","Natural/FO"]
[{"$nulls":9},"Bid price shall not contain SC Sales Tax",{"$nulls":3},"Total ",{"$f":"SUM(O4:O25)","v":0},null,{"$f":"SUM(Q4:Q25)","v":0}]
[{"$nulls":9},"Include total on page 32, VIII.BIDDING SCHEDULE",{"$nulls":4},"Bid Schedule (Line item #1)",null,"Bid Schedule(Line item #2)"]
[{"$nulls":14},"Page 32",null,"Page 32"]
{"$rows_empty":129}
[null,"  or Heats over 210 degrees"]
[null,"The Jurisdiction # is the SCLLR issued number."]