# THE UNIVERSITY OF ALABAMA IN HUNTSVILLE

PROCUREMENT SERVICES

301 SPARKMAN DRIVE

HUNTSVILLE, ALABAMA  35899

PHONE (256) 824-6484

ALL BIDS WILL BE PUBLICLY OPENED ON THE OPENING DATE DESIGNATED AT THE UNIVERSITY OF ALABAMA IN HUNTSVILLE, PROCUREMENT SERVICES, BUSINESS SERVICES BLDG., HUNTSVILLE, ALABAMA 35899.  BIDS RECEIVED AFTER THE SPECIFIED TIME ON THE OPENING DATE WILL NOT BE CONSIDERED.

BID NUMBER

B002692

DATE

07/02/2020

RESPONSE DUE BY:

7/16/2020

1:30 PM

REQUEST FOR FORMAL BID

Kelly Haas           		        256-824-6492						«vendornum»

CONTACT			  	  PHONE							VENDOR NO.

ALL BIDS RESPONSES ARE REQUIRED TO BE SUBMITTED ELECTRONICALLY VIA VENDOR REGISTRY.  NO BIDS RESPONSES WILL BE ACCEPTED VIA US MAIL, FAX, OR EMAIL. FAILURE TO COMPLY WILL RESULT IN A “NO BID” RESPONSE IN ACCORDANCE WITH ALABAMA COMPETITIVE BID LAW 41-16-24 sub-part b.

V

E

N

D

O

THE ABOVE BID NUMBER MUST APPEAR ON ALL BIDS AND RELATED CORRESPONDENCE

R

OR EQUAL, REFER TO GENERAL CONDITIONS ON ATTACHED SHEET

| NO | QUANTITY | UNIT | DESCRIPTION | UNIT PRICE | EXTENSION |
| --- | --- | --- | --- | --- | --- |
| 01 02 TOTAL |  |  | THE UNIVERSITY OF ALABAMA IN HUNTSVILLE REQUESTS BIDS FOR B002692 Asbestos Removal and Mold Remediation for Routine or Emergency Maintenance Projects AS PER THE SPECIFICATIONS. All bid responses are required to be submitted electronically via Vendor Registry. No bid responses will be accepted via fax or email. AWARD: NO AWARD INFORMATION WILL BE MADE AVAILABLE BY TELEPHONE, FAX, MAIL, OR EMAIL. ONCE THE BID IS AWARDED, THE AWARD INFORMATION AND TABULATION WILL BE POSTED TO OUR WEBSITE THRU THE VENDOR REGISTRY. HTTP://WWW.UAH.EDU/BUSINESS-SERVICES/VENDORS/BID-OPPORTUNITIES AWARD: BID AWARDS WILL BE POSTED ONLINE ON VENDOR REGISTRY (CLICK ON CLOSED SOLICITATIONS). ALL BID RESPONSES ARE TO BE SUBMITTED THRU VENDOR REGISTRY |  |  |
| SHOULD A PURCHASE ORDER BE ISSUED, THE FOREGOING AND THE TERMS AND CONDITIONS ON THE ATTACHED SHEET SHALL BE APPLICABLE AND BINDING UPON THE VENDOR. I ACKNOWLEDGE THAT I HAVE SIGNATURE AUTHORITY TO SIGN ON BEHALF OF THE COMPANY AND HEREBY AGREE TO ALL GENERAL CONDITIONS OF THIS BID REQUEST. |

SIGNATURE ________________________________________________  DATE____________________________          PAGE   1

COMPANY REPRESENTATIVE                                          An Affirmative Action/Equal Opportunity Institution

THE UNIVERSITY OF ALABAMA IN HUNTSVILLE requests bids for B002692 Asbestos Removal and Mold Remediation for Routine or Emergency Maintenance Projects listed below per the specification below:

Bid Prices are to include all shipping charges. (FOB: Destination)

Response time may be a factor in determining the award of this bid. Response time after notification of emergency:

____________________

In the event of a manufacturer price increase, proof of price change from the manufacturer must be submitted in writing to Procurement Services including the effective date of price change.

Any item found to be of inferior quality will be returned to the vendor.

The University of Alabama in Huntsville reserves the right to increase or decrease quantities as needed according to availability of funds until January 30, 2022.

The University is not obligated to purchase the items listed, but will purchase them on an as needed basis.

The successful bidder shall not substitute any ordered item without the prior approval of the University. Unauthorized substitutions shall not be acceptable.

The University Reserves the right to accept or reject any or all bids and is not necessarily bound to accept the lowest bid if that bid is contrary to the best interest of the University. (See GENERAL CONDITIONS 1. AWARD)

NOTE: For information regarding bid responses, it is the bidder’s responsibility to provide in detail clear proof that the products they are bidding on are equal to or better than the requirements of the invitation. The bidder is responsible to clearly and specifically indicate the product being offered and to provide sufficient descriptive literature, catalog cuts, and technical details to enable UAH to determine if the product offered meets the requirement of the invitation. Normally as in competitive sealed bidding only, the information furnished with the bid will be considered in the evaluation. Failure to furnish adequate data for evaluation purposes may result in declaring a bid nonresponsive.  Unless the bidder clearly indicates in its bid that the product offered is an “EQUAL” product, such bid will be considered to offer the brand name product referenced in the invitation.  The University of Alabama in Huntsville will be sole judge of “EQUAL” items submitted for bid.

"Any contract resulting from this request will be made available to other eligible entities. This may include but is not limited to; The University of Alabama System, comprised of The University of Alabama; The UAB Enterprise,  consisting of The University of Alabama at Birmingham, the UAB Health System and their related foundations and affiliates , and The University of Alabama, Tuscaloosa, AL; and other state entities.  Contracts resulting from the award of this request cover shipments by any entity listed above.  Each entity will generate its own purchase orders, payments, etc. and delivery must be made according to the instructions on the purchase order.

The thrust of the contract is to obtain greater volume price discounts by combining the volume of purchases from participating entities within the State of Alabama.”

QUESTIONS: ALL QUESTIONS ARE TO BE DIRECTED TO Kelly Haas via Vendor Registry, UNLESS OTHERWISE STATED IN THE SPECIFICATION.

REQUIREMENTS OF BIDDER

- Bidder must be Accredited for Asbestos Removal in the State of Alabama and all their workers and supervisors must hold a current accreditation certificate or license for work in the state.

- Bidder/Awardee must prepare the 10-day notifications or emergency notifications and provide them to the City of Huntsville Department of Natural Resources.

- Bidder/Awardee must comply with all local, state, and federal regulations that apply to asbestos removal and remediation.

- Daily cost of applicable air monitoring and clearance sampling should be added as a unit cost.

QUOTATION SHEET

| B002692 | Asbestos Removal in preparation for routine or emergency maintenance projects (non-construction). Must respond to site within 4 hours. |  |  |
| --- | --- | --- | --- |
|  | Description | Bid Unit | Unit Cost |
|  | Project in excess of 4 hours duration: Removal cost to include material, labor, and all associated costs |  |  |
|  | Category I |  |  |
| I.1 | Floor Tile | Per Sq Ft |  |
| I.2 | Mastic | Per Sq Ft |  |
| I.3 | Transite Board | Per Sq Ft |  |
| I.4 | Floor Tile and Mastic | Per Sq Ft |  |
| I.5 | Sheet Vinyl | Per Sq Ft |  |
| I.6 | HVAC Duct Tape | Per Sq Ft |  |
| I.7 | Pipe Insulation | Per Sq Ft |  |
| I.8 | Pipe Joints | Per Sq Ft |  |
| I.9 | Mini-Enclosure | Per Sq Ft |  |
| I.10 | Sprayed On Material | Per Sq Ft |  |
|  | Category II |  |  |
|  | Roofing | Per Sq Ft |  |
| II.1 | 0-100 | Per Sq Ft |  |
| II.2 | 101-500 | Per Sq Ft |  |
| II.3 | 501-2500 | Per Sq Ft |  |
| II.4 | 2500-5000 | Per Sq Ft |  |
| II.5 | Above 5000 | Per Sq Ft |  |
|  | Category III |  |  |
|  | (Set up for T.E.M. Clearance per Area; (Quote Total fee) | Per Sq Ft |  |
| III.1 | 0-1000 | Per Sq Ft |  |
| III.2 | 1001-2000 | Per Sq Ft |  |
| III.3 | 2001-5000 | Per Sq Ft |  |
| III.4 | 5001-7500 | Per Sq Ft |  |
|  | UAH will pay for initial T.E.M. Clearance test. In the event of test failure, contractor will be responsible for payment of all subsequent tests. |  |  |
|  | Category IV |  |  |
| IV.1 | Labor Cost to install vinyl composition 12 x 12 tile | Per Sq Ft |  |
|  | Category V |  |  |
| V.1 | Labor cost to install ceiling grid and tile | Per Sq Ft |  |
|  | Category VI |  |  |
| VI.1 | Minimum Mobilization Charge |  |  |
|  | Cost to include materials, labor and all associated costs for projects 4 hours or less. |  |  |
|  | Category VII |  |  |
|  | Man-Hour Rate - Rates to be utilized on any items not quoted above |  |  |
| VII.1 | Supervisor - Regular Hours | hour |  |
| VII.2 | Worker - Regular Hours | hour |  |
| VII.3 | Supervisor - Weekend or Holiday | hour |  |
| VII.4 | Worker - Weekend of Holiday | hour |  |
|  | Total Extended Bid price for All Asbestos Related Items: |  |  |

|  | Quotation Sheet |  |  |
| --- | --- | --- | --- |
| Bid 2692 | Mold Remediation for small scale jobs less than 100 square feet |  | Unit Cost |
|  | Description |  |  |
|  | Category I |  |  |
|  | Mold Remediation Clearance per Man Hour Rate | Per Man Hour |  |
| I.1 | Supervisor - Regular Hours | Per Man Hour |  |
| I.2 | Worker - Regular Hours | Per Man Hour |  |
| I.3 | Supervisor - Weekend or Holiday | Per Man Hour |  |
| I.4 | Worker - Weekend or Holiday | Per Man Hour |  |
|  | Category II |  |  |
| II.1 | Surface cleaning - Walls | Per Sq Ft |  |
| II.2 | Surface cleaning - Ceilings | Per Sq Ft |  |
| II.3 | Surface cleaning - Horizontal Surfaces | Per Sq Ft |  |
| II.4 | Removal of building material | Per Sq Ft |  |
| II.5 | Removal of insulation | Per Linear Ft |  |
|  | Category III |  |  |
|  | Equipment use related to mold remediation |  |  |
| III.1 | Air Scrubbers | per 24 hours |  |
| III.2 | Dehumidifiers | per 24 hours |  |
|  | UAH will pay for post-remediation testing for initial test. If the area does not pass based on provided protocol, the contractor will pay for subsequent tests. |  |  |
|  | Total Extended Bid Price for All Mold Related Items: |  |  |
|  | Total Extended Bid Price for jobs that involve both Asbestos and Mold: |  |  |

AT LEAST A 4 HOUR RESPONSE TIME IS REQUIRED.  Response time will be considered in bid award.

Response Time: ___________________

# GENERAL CONDITIONS

- Award:  The University of Alabama in Huntsville reserves the right to accept or to reject any or all bids and is not necessarily bound to accept the lowest bid if that bid is contrary to the best interest of the University.  In making an award, intangible factors such as bidder’s service, integrity, facilities, equipment, reputation, and past performance will be weighed along with the quality displayed in the samples submitted.  Bids may be awarded either item by item, in products groups, or all or none, whichever appears to be in the best interest of the University.  The University reserves the right to waive any or all formalities.

- Bid Withdrawal:  No bids may be withdrawn without approval from The University of Alabama in Huntsville Procurement Services.  Any requests for withdrawal must be in writing to Procurement Services within five (5) days after opening date with justification for reason of withdrawal.  More than two (2) such requests could result in removal from our bid list.  No bid may be withdrawn after the issuance of purchase order.  If a withdrawal is made after the purchase order is issued, the vendor will be considered in default.  Refer to “Default of Contractor”.

- Prices and Payment Terms:  Bidders should quote applicable cash discounts.  The University will not take into consideration in bid evaluation any cash discount of less than thirty (30) days duration.  However, we will take advantage of all discounts for which we are eligible.  Identify these discounts in your bid response.  Bids containing “payment in advance” or “COD” requirements may be rejected.

- Applicable Law:  It is agreed this quotation is valid to the extent that it does not violate the constitution or the laws of the State of Alabama.

Bidder represents and warrants that all article and services covered by this bid meet or exceed the safety standards established and promulgated under the Federal Occupational Safety and Health Act of 1970, No. 2006, and its regulations in effect or proposed as of the date of this bid.

The furnishing of materials, supplies, equipment or service to The University of Alabama in Huntsville under this purchase order, contract, solicitation for bids, or construction specification constitutes assurance by the vendor or contractor of his compliance with applicable provisions of and pertinent regulations promulgated under Executive Order 11246, date September 28, 1965 issued by the President of the United States of America, and Public Law 88-352, 88th Congress, the “Civil Rights Act of 1964”.

- Non-Collusion:  Any agreement or collusion among bidders or prospective bidders in restraint of freedom of competition, by agreement to bid at a fixed price or to refrain from bidding, or otherwise, shall render the bids of such bidders void.  Each bidder certifies that he has not been a party to such an agreement by signing this bid.

- New Products:  Unless specifically called for in the bid, all products for purchase must be new, never previously used, and the current model and/or packaging.  No remanufactured, demonstrator, used, or irregular product will be considered for purchase unless otherwise specified in the bid.  The manufacturer’s standard warranty will apply unless otherwise specified in the bid.  All requests should be supplied complete, ready to be installed, including all cabling and connectors where applicable.

- Bonds:  Bid and performance security bond, when required will be indicated.

- Bid Submission:  Failure to submit a bid on the official UAH form provided for that purpose shall be a cause for rejection of the bid.  Return of the complete document is required.  Modification of or additions to any portion of the solicitation may be cause for rejection of the bid; however, UAH reserves the right to decide, on a case by case basis, in its sole discretion, whether or not to reject such a bid as non-responsive.

All information shall be entered in ink or typewritten in the appropriate space on the form.  Mistakes may be crossed out and corrections inserted before submission of your bid.  Corrections shall be initialed in ink by the person signing the bid.

All bids must be signed.  Failure to do so will result in rejection of bid.

- Delivery:  Time of delivery shall be stated as the number of calendar days following receipt of the order by the vendor, to receipt of the goods by The University of Alabama in Huntsville.

Delivery time may be a criterion in awarding bids.  Specify earliest possible delivery after receipt of order.

Failure to deliver within the time vendor specified in the bid will constitute a default and may cause cancellation of the contract.  Refer to “Default of Contractor”.

All prices quoted are to be F.O.B. delivered to The University of Alabama in Huntsville, Central Receiving Building, 301 Sparkman Drive, Huntsville, Alabama, 35899 (unless another F.O.B. point is stated by the University on bid form).  The successful bidder must assume all responsibility for damage in transit.  When installation is required, it will be stated.  If you are not quoting a delivered price, indicate your shipping point, and provide shipping cost for evaluation purposes.

- Bid Terms:  Show unit prices, extensions, and total price.  In the event of a discrepancy between the unit price and the extension, the unit price shall govern.  Bids shall remain firm for minimum thirty (30) days from date of bid opening and any exception must be clearly stated.

- Bid Opening:  Bidders may attend the bid opening, but no information or opinions concerning the ultimate award will be given at the bid opening or during the evaluation process.  After the public opening of this bid, the results will not be available to bidders not attending the opening until after an award is made.  Bid tabulations can be reviewed by accessing Procurement Services website at http://uah.edu/business-services.  Click on “Vendors” then “Bid Awards”.

- Bids are Public Record:  All bids become a matter of public record at bid award.  The University accepts no responsibility for maintaining confidentiality of any information submitted with bid whether labeled confidential or not.

- Standards of Quality:   When a material, article or piece of equipment is identified in these specifications by reference to manufacturer’s or vendor’s name, trade name, catalog and stock numbers, etc., it is intended merely to establish a standard; and, any material, article or equipment of other manufacturer and vendor which will perform equally the duties imposed by the general design, provided the material, article, or equipment proposed, is in the opinion of the Purchasing Agent of equal substance and function.  It shall not be purchased or installed by the contractor without the Purchasing Agents’ written approval.

The bidder is responsible to clearly and specifically indicate the product being offered and to provide sufficient descriptive literature, catalog cuts and technical detail to enable UAH to determine if the product offered meets the requirements of the invitation.  Normally in competitive sealed bidding only the information furnished with the bid will be considered in the evaluation.  Failure to furnish adequate data for evaluation purposes may result in declaring a bid nonresponsive.  Unless the bidder clearly indicates in its bid that the product offered is an “Equal” product, such bid will be considered to offer the brand name product referenced in the invitation.  The University of Alabama in Huntsville will be sole judge of EQUAL items bid.

- Vendor Authorization:  Vendor must be an authorized distributor/agent to sell products proposed in this bid request.  When it is deemed to be in the best interest of the University, Procurement Services may request an on-site premise visit to examine the facility.

- Default of Contractor:  Where the University has determined the contractor to be in default, the University reserves the right to purchase any or all products or services covered by the contract on the open market and to charge the contractor with cost in excess of the contract price.  Until such assessed charges have been paid, no subsequent bid from the defaulting contractor will be considered.

- Fiscal Funding Clause:  The continuation of this contract is contingent upon the appropriation of funds to fulfill the requirements of the contract by the legislature.  If the legislature fails to appropriate sufficient monies to provide the continuation of a contract, the contract shall terminate on the date of the beginning of the first fiscal year for which funds are not appropriated.

- Contract Cancellation:  Procurement Services has the right to cancel any contract, in accordance with Purchasing Rules and Regulations, for cause, including, but not limited to, the following:  (1) failure to deliver within the contract; (2) failure of the product or service to meet specifications, conform to sample quality, or to be delivered in good condition; (3) misrepresentation by the contractor; (4) fraud, collusion, conspiracy, or other unlawful means of obtaining any contract with the state; (5) conflict of contract provisions with constitutional or statutory provisions of state or federal law; and (6) any other breach of contract.

- Warranties:  Should merchandise described on this bid contain a manufacturer’s warranty, bidders must state the warranty terms in the space provided on the bid.  Bids offered for merchandise when no warranty applies must clearly state:  “NO WARRANTY COVERAGE”.  Warranty information may be criteria in making this award.  Failure of bidders to furnish this data may cause rejection of the complete bid as being non-responsive.

- Disclosure Statement:  The successful bidder will be required to file with Procurement Services a disclosure statement of relationship between contractors/grantees and employees/officials of the University.  This form must be completed prior to issuance of the Purchase Order by The University of Alabama in Huntsville.

20. State of Alabama Immigration Law: Pursuant to the State of Alabama Immigration Law, by signing this contract,

the contracting parties affirm, for the duration of the agreement, that they will not violate federal immigration law or

knowingly employ, hire for employment, or continue to employ an unauthorized alien within the State of Alabama.

Furthermore, a contracting party found to be in violation of this provision shall be deemed in breach of the

agreement and shall be responsible for all damages resulting therefrom.

- Restrictions On Communications with University Staff: From the issue date of this Solicitation until a Contractor is selected and a contract award is made, Bidders are not allowed to communicate about the subject of the bid with any University administrator faculty, staff, or members of the Board of Trustees except:

- The Procurement Services representative, any University Procurement Official representing the

University administration, or others authorized in writing by the Procurement Office and

- University Representatives during Bidder presentations.

If violation of this provision occurs, the University reserves the right to reject the Bidder’s response to

this Solicitation.

PRO REV. 6/12

Note:  In order for an alternate bid to be considered, bidders must supply current catalogs or brochures, including pictorials and specifications.

| F.O.B. Point UAH DESTINATION | TERMS | WARRANTY |
| --- | --- | --- |
| ESTIMATED DELIVERY | YOUR REFERENCE NO.* | QUOTATION EFFECTIVE UNTIL |
| BUSINESS CLASSIFICATION (see note below): | EMAIL ADDRESS: |  |

* Your company reference number, if applicable with this bid quotation.

NOTE: Please indicate your company classification in the appropriate box above:  Small Business (SB), a Small Disadvantaged Business (SD), a Black Small Disadvantaged Business (BD), a Woman-Owned Small Business (WB), a Woman-Owned Small Disadvantaged Business (WD), a Black Woman-Owned Small Disadvantaged Business (BW), a Large Business (LB), an Individual (IN), Educational (ED), Non-Profit (NP), a Labor Surplus Area Concern (LS), Disabled Veteran-Owned Small Business (DV), Veteran-Owned Small Business (VS), Historically Underutilized Business Zone (UZ), or a Governmental Agency (GV).

Certification Pursuant To Act No. 2006-557

Alabama Law (Section 41-4-116, Code of Alabama 1975) provides that every bid submitted and contract executed shall contain a certification that the vendor, contractor, and all of its affiliates that make sales for delivery into Alabama or leases for use in Alabama are registered, collecting, and remitting Alabama state and local sales, use, and/or lease tax on all taxable sales and leases into Alabama.  By submitting this bid, the bidder is hereby certifying that they are in full compliance with Act No. 2006-557, they are not barred from bidding or entering into a contract pursuant to 41-4-116, and acknowledges that the awarding authority may declare the contract void if the certification is false.

____________________________________________________		____________________________________

COMPANY NAME (TYPE OR PRINT)						TELEPHONE NUMBER

____________________________________________________		____________________________________

SIGNER’S NAME (TYPE OR PRINT)						FAX NUMBER

____________________________________________________		____________________________________

SIGNATURE									DATE

The University of Alabama in Huntsville prohibits the installation of asbestos on its campus.  Suppliers and contractors will not supply any equipment, material, or supplies, which contain asbestos without prior written approval.

Failure to designate Bid Number and Opening Date on the outside of your sealed envelope containing your bid and more than one bid submitted in this envelope will result in a “No Bid” response in accordance with Alabama Competitive Bid Law 41-16-24 sub-part b.

The University of Alabama in Huntsville will not accept faxed bids.

Any product that fails to meet the specifications, performance requirements or compatibility requirements will be rejected and returned to the vendor at no cost to the University.

REV. 8/12

State of Alabama Immigration Law

If the successful bidder is located in Alabama or employs an individual or individuals within the State of Alabama, the successful bidder shall provide a copy of its Employment Eligibility Verification (E-Verify) company profile. To expedite the ordering process, this document may be submitted with the bid response.

If the successful bidder is not located in the State of Alabama and does not employ an individual or individuals within the State of Alabama, the successful bidder shall complete and return the Certification of Compliance form included with this Request for Price Quotation (E-Verify company profile is not required). To expedite the ordering process, this document may be submitted with the bid response.

If you are not currently enrolled in E-Verify, follow these instructions:

- Log onto www.uscis.gov/everify

- Click “Getting Started” for information about the program, requirements, and enrollment process.

- Click “Enroll in E-Verify” and begin enrollment process.

- When enrollment process is complete, click “Edit Company Profile” and print this one-page document.

- This one-page document must be submitted prior to a contract or purchase order being issued.

- For further assistance please consult the E-Verify Quick Reference Guide.

If you have previously enrolled in E-Verify, follow these instructions:

- Log onto www.uscis.gov/everify

- Click “Edit Company Profile” and print this one-page document.

- This one-page document must be submitted prior to a contract or purchase order being issued.

# REV. 6/12

CERTIFICATION OF COMPLIANCE WITH THE

STATE OF ALABAMA IMMIGRATION LAW

The undersigned officer of _________________________________ (Company)

certifies to the Board of Trustees of the University of Alabama that the Company is not located in Alabama and that the Company does not employ an individual or individuals within the State of Alabama.

_____________________________________

SIGNATURE OF COMPANY OFFICER

____________________________________

PRINT COMPANY NAME

_____________________________________

PRINT NAME OF COMPANY OFFICER

_____________________________________

PRINT TITLE OF COMPANY OFFICER

_____________________________________

# DATE

# REV. 6/12