- Introduction:

The City of Antigo (hereafter referred to as the City), a governmental entity, is requesting bids for the replacement of their sludge transfer pump. This pump transfers dewatered sludge from the gravity belt thickener (GBT) to sludge storage.

Notwithstanding any other provisions of the Request for Bids (RFB), the City reserves the right to reject any or all bids, to waive any irregularity or informality in the bid, and to accept or reject any item or combination of items, when to do so would be the advantage of the City and its taxpayers.

It is further within the right of the City to reject bids that do not contain all elements and information requested in this document.

The City shall not be liable for any losses incurred by the proposer throughout this process. The cost of preparing a response to this RFB is not reimbursable in part or in whole to the proposer. Any bid received will become the property of the City and become a matter of public record so any proprietary material or information should be marked as such and submitted as a supplement to the bid allowing the City to protect such information as warranted.

- Objective

The City of Antigo is requesting bids for the replacement of their sludge transfer pump.

- Project Specifications

The existing pump is a Moyno 2000 progressive cavity pump model 2F022G2M05CDQ5ASEX, capable of 60 GPM operation. In order to avoid unnecessary structural changes and adaptations, the City would like to replace this item in kind. The City is also requesting an optional larger model 2G036G2M05CDQ5ASE-X which is capable of 80 GPM. Other pump options will be considered but the contractor will be responsible for any adaptations.

This bid should include the following items:

Option 1 2F022G2M05CDQ5ASE-X

- Pump w/shaft sleeve & hardened rotor, 10 HP motor and new VFD

- Base for motor and pump

- Belt and pully system

- Belt guard

- Discharge guage

- Removal of existing pump and components and installation of new, as well as training and start up of the new system.

- Warranty

Option 2 2G036G2M05CDQ5ASE-X

- Pump w/shaft sleeve & hardened rotor, 15 HP motor, new VFD, new 40-amp breaker

- Base for motor and pump

- Belt and pully system

- Belt guard

- Discharge gauge

- Gear reducer

- Removal of existing pump and components and installation of new, as well as training and startup of the new system.

- Warranty

NOTE:  Please itemize each cost in the bid. Please provide the best estimation of availability of parts. Product availability will be considered during the bid award process. Site visits are encouraged for measurements, any electrical schematics, if available, will be provided for reference.

- Insurance requirements include:

- Worker’s Comp (statutory)

- Lability

- Auto

- Contingent Liability would be required if any work is subcontracted.

- The City of Antigo must be listed as additionally insured (General and Auto)

- A hold harmless agreement signed in case of bodily injury or death.

The contractors are responsible for the preparation and submittal of the bid documents with final review/recommendation of the results to the Public Works Committee by appropriate staff.

- Process for Submitting Bids

The bidder may include a cover letter listing any additional information considered necessary to assist the City with its consideration of the contractor’s submittal. Each bid shall be prepared simply and economically, avoiding the use of elaborate promotional materials beyond those sufficient to complete the submittal.

Bid information/submittal and vendor registration will be available on the city website at the following address:  https://www.antigo-city.org/antigo-city-bids-quotes-rfps/ Sealed bids will also be accepted if mailed to City Hall addressed as “Sludge Transfer Pump Bid”. Bids will be accepted until Monday, July 17th 2023  at 10:00 AM and will then be read aloud in the Public Works office of City Hall. 700 Edison St Antigo, WI 54409.

Please submit inquiries to:

Tommy Horswill

Project Manager for Infrastructure Alternatives

thorswill@iaiwater.com

(715) 216-6243

CONTRACTOR CERTIFICATION

We have read the City’s Request for Bids (RFB) to provide a new sludge transfer pump and we certify that we have adequate facilities to provide such services. We understand that our ability to meet criteria and provide required materials shall be judged by the city.

In addition, we certify that:

- Our bid is not made in the interest or on behalf of any person not named therein.

- We have not directly or indirectly induced or solicited any person to submit a false or misleading bid or to refrain from proposing.

- We have not in any manner sought by collusion to secure advantage over any other contractor

- We have thoroughly examined the bid requirements, and our proposed prices cover all the materials (F.O.B. Wastewater Plant) that we have indicated we can provide; and

- We acknowledge and accept all the terms and conditions included in the RFB.

- Evaluation of Criteria

We acknowledge that the factors used by the City in evaluating the bids will include, but are not limited to, the following listed, in no order:

- References and any experience the City may have with the contractor

- City’s knowledge about past projects supplied by the contractor

- Contractor Certification

The successful contractor will be required to submit to the City a federal W-9 form (request for taxpayer information). Firms already established with the City as a contractor may have this requirement waived.

Business Name

Address

Contact Name

Telephone #				Mobile #

E-mail address

The contact name must be the person/persons authorized to represent the contractor regarding all matters related to the proposal. The letter must be signed by the individual authorized to represent the contractor.

Bidder’s Signature