
[image: image1.jpg]Goodlettsville

PARKS AND RECREATION



                                                                              
        

Volleyball Sand
RFB Specifications 

SCOPE OF WORK

The City of Goodlettsville is requesting sealed bids from sand suppliers for the supply and delivery of sand to Moss-Wright Park at 745 Caldwell Drive, Goodlettsville, TN 37072. The sand will be utilized in the installation of four new sand volleyball courts.

SUBMITTALS 

Contractor shall provide the following materials in the sealed bid submittal:

a. Cost submittal based on a per ton price for the proposed sand including freight to Moss-Wright Park. Expected volume to be 850 tons.

b. Lab test results for the proposed sand that meet product specifications.  
PRODUCT SPECIFICATIONS

Name


Particle Size

Spec (% Retained on Sieves)

Fine gravel

2.0mm


0%
Very Coarse sand
1.0mm – 2.0mm
0%-6%

Coarse
 sand

0.5mm – 1.0mm
min of 20%
Medium sand

0.25mm – 0.5mm
min of 50%
Fine sand

0.15mm – 0.25mm
max of 25%
Very Fine sand
0.05mm – 0.15mm
not greater than 2.0%

Silt and Clay

below 0.05 mm
not greater than 0.3%
DELIVERY
All materials to be delivered to Moss-Wright Park and deposited on site as directed by the Parks Superintendent. 

Bids are to be submitted by September 23, 2022 at 2:00pm. 
Sealed bids will be received at the office of the Purchasing Director, City of Goodlettsville, 105 South Main Street, Goodlettsville, Tennessee 37072, until 2:00 pm CST, on September 23, 2022, at which time they will be opened for the following:

City of Goodlettsville Specifications are available and on file at the office of the Purchasing Director and may also be accessed from the City’s website at www.goodlettsville.gov.

The City of Goodlettsville reserves the right to reject any and all bids and to waive formalities.

The City of Goodlettsville does not discriminate on the basis of age, race, sex, color, national origin, religion or disability in admission to, access to, or operation of its programs, services or activities, nor does it discriminate in its hiring, employment or purchasing practices. Contact the Human Resource Director at 615-851-2206 with questions, concerns, complaints and with requests for ADA accommodations.

City of Goodlettsville Parks & Recreation





Sarah Jennings,


Director of Parks & Recreation





Parks & Recreation


200 Memorial Drive


Goodlettsville, TN 37072


(615) 851-2241




















Visit www.goodlettsvilleparks.com for more information! 


