|  | City of Battle Creek NOTICE OF REQUEST FOR PROPOSALS RFP#: 2017-066R TITLE: HVAC Maintenance ISSUE DATE: April 26, 2017 |
| --- | --- |

PROPOSAL DUE DATE: 	May 18, 2017, at 4:00 PM Local Time (office hours 8-12 and 1-5)

LOCATION:		Purchasing Department

10 N. Division Street, Suite 214

Battle Creek, MI 49014

Pre-Proposal Conference and Site Investigations

Date/Time: 		May 9 and 10, 2017, 8am to 5pm

Location:		Conference starts at City Hall Rm# 302A

(See Attachment B for the complete site investigation schedule)

Purchasing Contact: 		Nils Vos

Phone:		(269) 966-3381

E-mail:		npvos@battlecreekmi.gov

DESCRIPTION: The City is soliciting proposals for the purpose of contracting for the City's annual requirements for HVAC maintenance.  The resulting contract is anticipated for a term of up to five (5) years.

PRE-PROPOSAL CONFERENCE: The purpose of this conference will be to clarify the contents of this Request For Proposals (RFP) in order to prevent any misunderstanding of the City's position. Any doubt as to the requirements of this RFP or any apparent omission or discrepancy should be presented to the City at this conference. The City will then determine the appropriate action necessary, if any, and issue a written amendment to the RFP. Oral statements or instructions shall not constitute an amendment to this RFP.

Download this solicitation from our website at:  battlecreekmi.gov.  Copies of the complete Request for Proposals documents may also be obtained from the Purchasing Department, Room 214, 10 N. Division Street, Battle Creek, Michigan 49014, (269) 966-3390.

Proposals must be in the actual possession of the Purchasing Department at the location indicated, on or prior to the exact time and date indicated above. Proposals received by the correct time and date shall be publicly acknowledged.  Late proposals shall not be considered.

PROPOSERS ARE STRONGLY ENCOURAGED TO CAREFULLY READ THE ENTIRE REQUEST FOR PROPOSALS.

TABLE OF CONTENTS

1.0 GENERAL INFORMATION	3

2.0 - GENERAL TERMS AND CONDITIONS	5

3.0 - SPECIAL TERMS AND CONDITIONS	7

4.0 - SUBMITTAL INFORMATION	9

5.0 - SCOPE OF WORK	11

6.0 - PRICE SHEET	13

7.0 - OFFER AND ACCEPTANCE FORM	15

ATTACHMENT A - DISADVANTAGED BUSINESS  (DBE) FORMS	16

ATTACHMENT B - SITE INVESTIGATION	17

ATTACHMENT C -  MAP OF CITY BUILDINGS	18

ATTACHMENT D - EQUIPMENT LISTS	19

### 1.0 GENERAL INFORMATION

  - ISSUING OFFICE: This RFP is issued for the City of Battle Creek, Michigan (hereinafter referred to as the "City") through the Purchasing Office, which shall be referred to as the "Issuing Office."

  - PROPOSALS: All proposals received by the City in response to this RFP will be retained.

A. 	Proposals must be signed by an individual authorized to bind the contractor to its provisions.

B.	Proposals must arrive in the Office of the Purchasing Agent on or before the date and time indicated, Battle Creek time to be considered timely. Contractors mailing proposals should allow normal mail delivery time to ensure timely receipt of the proposal. Late proposals will not be accepted and will be returned to the proposer. The prevailing clock shall be www.time.gov.

C.	All proposals submitted in response to this invitation shall become the property of the City.  Proposals shall be a matter of public record available for review, unless an exemption is requested and approved, in advance, for protection of trade secrets.  However, proposals shall not be considered fully received for the purpose of Freedom of Information Act requests until the City has determined that no additional clarifications or revisions of offers shall be accepted.

D.	Proposals are an irrevocable offer and may not be withdrawn within 90 days after the deadline for submission.  Submission of clarifications and revised offers automatically establish a new 90-day period.

E.	The City of Battle Creek is not liable for any costs incurred by contractors prior to issuance of a contract.

F.	Before submitting a proposal, firms shall carefully examine the scope of work and shall fully inform themselves as to all existing conditions and limitations and shall indicate in the proposal all items requested.

  - TENTATIVE SCHEDULE:  The City may deviate from this schedule.  The City will not discuss the status of any proposal or the selection process.  All proposers will be notified in writing of the City’s decision.

Proposal Reviews:  			week of May 22, 2017

Interviews, if applicable:  	week of  June 5, 2017

Final Decision:				week of  June 19, 2017

  - PRE-PROPOSAL ASSISTANCE: Questions relative to the development of a proposal are to be directed to Nils Vos, in the Purchasing Office at (269) 966-3381.

  - AWARD OF CONTRACT:  This project will be awarded to a single contractor who submits the proposal deemed to be in the best interest of the City, unless otherwise noted in this document. Notwithstanding any other provision of the Request for Proposal, the City reserves the right to: (1) waive any immaterial defect or informality; or (2) reject any or all proposals, or portions thereof; or (3) reissue the Request for Proposal.

A response to any Request for Proposal is an offer to contract with the City based upon the terms, conditions, and specifications contained in the City's Request for Proposal. Proposals do not become contracts unless and until the City executes them.  A contract has its inception in the award, eliminating a formal signing of a separate contract. For that reason, all of the terms and conditions of the contract are contained in the Request for Proposal, unless any of the terms and conditions are modified by a Request for Proposal amendment, a contract amendment, a Best and Final Offer, or by mutually agreed terms and conditions.

  - SPECIAL INFORMATION

A.	Addenda to the RFP:  In the event it becomes necessary to revise any part of the RFP, addenda will be provided to all contractors who are recorded as having received the RFP. It shall be the bidder's responsibility to make inquiry as to changes or addenda issued.  All such changes or addenda shall become part of the contract and all bidders shall be bound by such addenda.

B.	News Releases:  News releases pertaining to this RFP or the services, study or project to which it relates will not be made without prior approval, and then only in coordination with the Issuing Office.

  - INDEPENDENT PRICE DETERMINATION

By submission of a proposal, the offeror certifies that in connection with this proposal:

A.	The fees in the proposal have been arrived at independently, without consultation, communication or agreement, for the purpose of restricting competition, as to any matter relating to such fees with any other offeror or with any competitor; and,

B. 	Unless otherwise required by law, the fees which have been quoted in the proposal have not been knowingly disclosed by the offeror directly or indirectly to any other offeror or to any competitor; and,

- No attempt has been made or will be made by the offeror to induce any other person or firm to submit or not to submit a proposal for the purpose of restricting competition.

  - CURRENCY

Prices calculated by the bidder shall be stated in U.S. dollars.

  - DEFINITIONS

- The “City” – The City of Battle Creek

- “Contractor,” “Vendor,” “Firm,” or “Proposer”  - The firm submitting a proposal, ultimately responsible for any contract that results from this RFP.

- “RFP” – This Request for Proposals.

  - INTERVIEWS: The City anticipates shortlisting the proposers based upon responses to the submittal requirements. If necessary, the City shall conduct interviews/demonstrations. However, the City may determine that shortlisting and/or interviews/demonstrations are not necessary.

  - FIRM QUALIFICATIONS:  Experiences with the City and entities that evaluation committee members represent shall be taken into consideration when evaluating qualifications and experience. The City reserves the right to make such additional investigations as it deems necessary to establish the competency and financial stability of any firm submitting a proposal.

  - CONTRACT AWARD:  A response to any Request for Proposal is an offer to contract with the City based upon the terms, conditions, and specifications contained in the City's RFP. Proposals do not become contracts unless and until the City executes them.  A contract has its inception in the award, eliminating a formal signing of a separate contract.  For that reason, all of the terms and conditions of the contract are contained in the Request for Proposal, unless any of the terms and conditions are modified by a Request for Proposal amendment, a contract amendment, a Best and Final Offer, or by mutually agreed terms and conditions.

  - DELIVERY: Proposals shall include all charges for delivery, packing, crating, containers, etc.  Prices bid will be considered as being based on F.O.B. Delivered, freight included.

### 2.0 - GENERAL TERMS AND CONDITIONS

2.1	MATERIALS AND WORKMANSHIP: Unless otherwise specified, all materials and workmanship shall be new and of the best grade of their respective kinds for the purpose.

2.2	NON-DISCRIMINATION CLAUSE: The bidder agrees not to discriminate against any employee or applicant for employment, to be employed in the performance of such contract, with respect to hire, tenure, terms, conditions or privileges, of employment, or any matter directly or indirectly related to employment, because of his or her actual or perceived race, color, religion, national origin, age, sex, height, weight, physical or mental disability, family status, sexual orientation, gender identity or marital status. Breach of this covenant may be regarded as material breach of the contract as provided for in Act 220 and Act 453 of the Public Acts of 1976, as amended, entitled "Michigan Handicapper's Civil Rights Act" and the Michigan Elliott Larson Civil Rights Act.” The bidder further agrees to require similar provisions from any subcontractors, or suppliers.  The bidder agrees to comply with Executive Order 11246 of September 24, 1965, entitled “Equal Employment Opportunity,” as amended by Executive Order 11375 of October 13, 1967, as supplemented in Department of Labor regulations (41 CFR, Chapter 60).

2.3	ASSIGNMENT OF CONTRACT: The contractor shall assign no right or interest in this contract in whole or in part and no delegation of any duty of Contractor shall be made without prior written permission of the City.

2.4	INDEMNIFICATION: The contractor shall protect, defend, and save the City, its officials, employees, departments and agents harmless from and against any and all claims, demands, suits, actions, or proceedings of any kind or nature, in any way resulting from acts or omissions of the contractor or any of its agents, employees, boards, commissions, divisions, departments, or authorities in performing obligations under this agreement. Each party to this agreement agrees that any bond or insurance protection required by this agreement or otherwise provided shall in no way limit the terms of this indemnification provision. In case of any action or proceeding brought against the City by reason of any such claim, suit, action or demand, upon prompt notice from the City, contractor covenants to defend such action or proceeding by counsel that is reasonably satisfactory to the City.

2.5	CONTRACT: The contract shall contain the entire agreement between the City and the Contractor relating to this requirement and shall prevail over any and all previous contracts, proposals, negotiations, or master agreements in any form. By signing the Offer to Contract, it is understood and agreed to that the RFP in its entirety and all enclosed forms are fully incorporated herein as a material and necessary part of the contract. In case of conflicts, the following order shall prevail: 1) Addendum, 2) Specifications, 3) Special Terms and Conditions 4) General Terms and Conditions, 5) General Information.

2.6	PROVISIONS REQUIRED BY LAW: Each and every provision of law and any clause required by law to be in the contract shall be read and enforced as though it were included herein, and if through mistake or otherwise any such provision is not inserted, or is not correctly inserted, then upon the application of either party the contract shall forthwith be physically amended to make such insertion or correction.

2.7	RELATIONSHIP OF PARTIES: It is clearly understood that each party shall act in its individual capacity and not as an agent, employee, partner, joint venture, or associate of the other. An employee or agent of one party shall not be deemed or construed to be the employee or agent of the other party for any purpose whatsoever. The Contractor is advised that taxes or social security payments shall not be withheld from a City payment issued hereunder and that Contractor should make arrangements to directly pay such expenses, if any.

2.8	RIGHTS AND REMEDIES: No provision in this document or in the bidder's offer shall be construed, expressly or by implication as a waiver by either party of any existing or future right and/or remedy available by law in the event of any claim or default or breach of contract. The failure of either party to insist upon the strict performance of any term or condition of the contract or to exercise or delay the exercise of any right or remedy provided in the contract, or by law, or the acceptance of materials or services, obligations imposed by this contract or by law, and shall not be deemed a waiver of any right of either party to insist upon the strict performance of the contract.

2.9	ADVERTISING: Contractor shall not advertise, issue a press release or otherwise publish information concerning this RFP or contract without prior written consent of the City. The City shall not unreasonably withhold permission.

2.10	APPLICABLE REGULATIONS/POLICIES: The Revised Code of the State of Michigan, the Charter of the City of Battle Creek, all City Ordinances, Rules and Regulations and Policies shall apply. It shall be the responsibility of the Proposer to be familiar and comply with said regulations/policies.

2.11	ROYALTIES, PATENTS, NOTICES AND FEES: Contractor shall give all notices and pay all royalties and fees. Contractor shall defend all suits or claims for infringement of any patent rights and shall save the City harmless from loss on account thereof.  Contractor shall comply with all laws, ordinances and codes applicable to any portion of the work.

2.12	SUBCONTRACTORS:  No subcontract shall be made by the contractor with any other party for furnishing any of the services herein contracted for without the advance written approval of the City.  All subcontractors shall comply with Federal and State laws and regulations that are applicable to the services covered by the subcontractor and shall include all the terms and conditions set forth herein which shall apply with equal force to the subcontract, as if the subcontractor were the Contractor referred to herein. Contractor is responsible for contract performance whether or not subcontractors are used.

  - PATENTS, COPYRIGHTS:  All services, information, computer program elements, reports, and other deliverables that are     created under this Agreement shall be the property of the City.  The Contractor shall place no restrictions on the City with regard to the distribution of any of these materials; the City shall have full, unrestricted rights to make and distribute unlimited copies of any services, information, computer programs/elements, reports, or any other deliverable.  Patents for any item created under this contract shall be assigned to the City.

  - MICHIGAN CONSTITUTIONAL REQUIREMENT:

a). Notwithstanding any provision in this Contract to the contrary, and in accordance with Article I, Section 26 of the Michigan Constitution as adopted by the electorate November 7, 2006, CONTRACTOR shall not discriminate against, or grant preferential treatment to, any individual or group on the basis of race, sex, color, ethnicity, or national origin in the operation of this Contract.

b).  This section shall not prohibit any action that must be taken to establish or maintain eligibility for any federal program if ineligibility would result in a loss of federal funds in connection with this Contract, nor shall this section be interpreted as prohibiting bona fide qualifications based on sex that are reasonable necessary to the execution of this Contract.

c). In the event of conflict between any term of this Contract and this section, the language of this section shall control.

d.) "Any party bringing a legal action or proceeding against any other party arising out of or relating to this Agreement or the transactions it contemplates shall bring the legal action or proceeding: (i) in the United States District Court for the Western District of Michigan; or (ii) in any court of the State of Michigan sitting in Calhoun County, if there is no federal subject matter jurisdiction."

  - VENUE:  Any party bringing a legal action or proceeding against any other party arising out of or relating to this Agreement or the transactions it contemplates shall bring the legal action or proceeding:

(i) in the United States District Court for the Western District of Michigan; or

(ii) in any court of the State of Michigan sitting in Calhoun County, if there is no federal subject matter jurisdiction.

  - Governing law:  This agreement shall be enforced under the laws of the State of Michigan.  Contractor must comply with all applicable federal, state, county, and City laws, ordinances, and regulations.  Contractor shall ensure payment of all taxes, licenses, permits, and other expenses of any nature associated with the provision of services herein.  Contractor shall maintain in current status all Federal, State and Local licenses and permits required for the operation of the business conducted by the Contractor.

### 3.0 - SPECIAL TERMS AND CONDITIONS

3.1	TERM AND RENEWAL: The term of the contract shall commence on the first of the month following award, unless otherwise identified herein or a sooner date is required.  The contract shall remain in effect for a period of one (1) year, unless terminated, canceled or extended as otherwise provided herein. The contractor agrees that the City shall have the right, upon mutual consent, to renew the contract for up to two (4) additional one-year periods. In the event that the City exercises such right, all terms, conditions and provisions of the original contract shall remain the same and apply during the renewal period with the exception of price.

3.2	PRICE ADJUSTMENT: The Purchasing Department may review a fully documented request for a price increase only after the contract has been in effect for three (3) years. A price adjustment shall be considered only at the time of a contract renewal and shall be a factor in the renewal review process. The City shall determine whether the requested adjustment or an alternate option is in the best interest of the City.

3.3	QUANTITIES: Because this is an annual requirements contract, the City reserves the right to increase or decrease the estimated quantity as best fits its needs, and the City does not guarantee maximums or minimums.  The City also reserves the right to spot-bid unusually large one-time quantities or to buy outside of this contract if extenuating circumstances exist.

3.4	KEY PERSONNEL:  It is essential that the contractor provide adequate experienced personnel, capable of and devoted to the successful accomplishment of work to be performed under this contract. The Contractor must agree to assign specific individuals to the key positions.

A.	The Contractor agrees that, once assigned to work under this contract, key personnel shall not be removed or replaced without written notice to the City.

B.	If key personnel are not available for work under this contract for a continuous period exceeding thirty calendar days, or are expected to devote substantially less effort to the work than initially anticipated, the Contractor shall immediately notify the City, and shall, subject to the concurrence of the City, replace such personnel with personnel of substantially equal ability and qualifications.

  - CANCELLATION: The City reserves the right to cancel the whole or any part of this contract due to failure by the contractor to carry out any material obligation, term, or condition of the contract. The City shall issue written notice to the contractor for any of the following circumstances:

A.	The contractor fails to adequately perform the services set forth in the specifications of the contract:

B.	The contractor fails to make progress in the performance of the contract and/or gives the City reason to believe that the contractor will not or cannot perform to the requirements of the contract.

Upon receipt of the written notice of concern, the contractor shall have ten (10) calendar days to provide a satisfactory response to the City.  Failure on the part of the contractor to adequately address all issues of concern may result in the City resorting to any single or combination of the following remedies.

A.	Cancel any contract:

B.	Reserve all rights or claims to damage for breach of any covenant of the Contract:

C.	In case of default, the City reserves the right to complete the required work. The City may recover reasonable excess cost from the contractor by any remedies as provided by law.

The City intends to maintain a budget to cover all expenses related to this contract; however, the City may cancel this contract if funds are no longer available.  In such case, the City shall provide the Contractor with a 60-day written notice of cancellation.  The City will pay for all authorized completed work or received goods.

3.6	PAYMENT:  Payment shall be made monthly, or at the end of each project, within 30 days of the submittal of a correct invoice for goods received or work performed.  If applicable, expenses shall be billed at cost without markup, and must be supported by actual receipts.  Mileage and per diem rates, if applicable, shall not exceed the federal rates.

3.7		INSURANCE:

- The Contractor shall at the time of execution of this contract, file with the City the Certificate of Insurance, which shall cover all of his insurance as required herein, including evidence of payment of premiums thereon, and the policy or policies or insurance covering said City and their officers, agents and employees. Each such policy and certificate shall be satisfactory to the City. Nothing contained in these insurance requirements is to be construed as limiting the extent of the Contractor's responsibility for payment of damages resulting from his operations under this Contract.

b. The contractor shall maintain insurances in force at all times during the term of this agreement at the minimum amounts and types as indicated.

Coverage Afforded										Limits of Liability

Workers' Compensation:   									$   100,000 or statutory limit

Commercial General Liability: 	Bodily Injury 				$1,000,000 each occurrence

(including XCU if appropriate)	Property Damage 			$1,000,000 each occurrence

or Combined Single Limit	$1,000,000

Automobile Liability: 			Bodily Injury				$   300,000 each person

Liability						$   500,000 each occurrence

Property Damage			$   500,000

or Combined Single Limit	$   500,000

The City of Battle Creek shall be listed as an additional insured on general liability coverage, and shall be provided with a Certificate of Insurance that reflects this additional insured status. A 30-day notice of cancellation or material change shall be provided to the City and so noted on the Certificate of Insurance. All certificates and notices shall be sent to City of Battle Creek, P.O. Box 1717, Battle Creek, Michigan 49016.

  - EQUIPMENT REPAIR OR REPLACEMENT:  Costs exceeding $500, or as otherwise agreed by the City, for repair or replacement of equipment must be submitted for approval to an authorized City representative prior to commencing service work (except in emergency circumstances).  This quote must include a cost breakdown that includes hourly labor rate, hours to compete work, SG&A/ overhead costs, mark-ups, and parts cost.

  - LICENSE:  The Contractors’ personnel shall be licensed to perform all required maintenance or service work.  The Contractor must submit their current State Boiler Installers License and must comply with State Act 27 and all the pertinent laws, rules and/or regulations.

  - EQUIPMENT LIST:  The Contractor must maintain and update an accurate list of all City Equipment that is serviced under this contract using Microsoft Excel spreadsheet that includes: Unit, location, equipment, make, model, serial number, filter/belt/pad.  (File must be similar to Attachment D)

  - COST BREAKDOWN:  The Contractor shall provide, upon request, a cost breakdown for preventative maintenance services for each equipment and or location that includes: Hourly labor rate, hours to complete work, SG&A/ overhead costs, mark-ups, parts and material cost.

### 4.0 - SUBMITTAL INFORMATION

4.1 	Submittal terms and conditions

- Basic Submittal Instructions:  Each proposal received by the City in response to this RFP becomes the property of the City and:

- Shall be signed by an individual authorized to bind the contractor to its provisions.

- Shall be submitted in a tightly sealed opaque envelope/box by the due date/time listed on the front page of this RFP.   Box shall be clearly identified with the RFP number and title.  Contractors should allow normal mail delivery time to ensure timely receipt of the proposal. Late proposals will not be accepted and will be returned to the proposer. The prevailing clock shall be www.time.gov.

- Shall be a matter of public record available for review, unless an exemption is requested and approved, in advance, for protection of trade secrets.  However, proposals shall not be considered fully received for the purpose of Freedom of Information Act requests until the City has determined that no additional clarifications or revisions of offers shall be accepted.

- Is an irrevocable offer and may not be withdrawn within 90 days after the deadline for submission.  Requests for clarifications or revisions automatically establish a new 90-day period.

- Proposal Costs:  The City is not liable for any costs incurred by contractors prior to issuance of a contract.

- Exceptions To Contract Terms And Specifications:  Offeror shall clearly identify and reference by paragraphs any proposed deviations from the Contract Terms or Scope in the RFP. The exception shall include, at a minimum, the Offeror's proposed substitute language and opinion as to why the suggested substitution will provide equivalent or better service and performance. If no exceptions are noted in the Offeror's proposal, the City will assume complete conformance with this specification and the successful Offeror will be required to perform accordingly. Alternate written proposals submitted may be considered; however, the City will make final determination as to suitability and compliance with the scope of service. Proposals submitted not meeting all requirements may be rejected. Oral proposals will not be considered.

4.2	SUBMITTAL REQUIREMENTS (provide the following documents in a SEALED envelope/box):

- One (1) original, unbound, reproducible and single-sided (i.e., ready to insert into a copier with no clips, staples, bindings, cardstock, dividers, brochures, business cards, etc.) copy of the following, in this order:

  - Your proposal, organized as requested in section 4.3 below

  - Completed Price Sheet from this RFP

  - SIGNED and completed offer section on the Offer and Acceptance Form

  - Completed DBE forms contained in Attachment A.

  - Any alternates you are proposing, clearly identified

  - Complete copy of this RFP and any addenda as issued by the City

Do not separate, divide, mark, staple, clip, or bind, any of the above documents.  If these instructions are unclear, please contact the person listed in section 1.4 (page 3), Pre-Proposal Assistance.

- Five (5) complete and bound copies of A, above. These copies will be distributed to the selection committee, and should appear professional and organized.  These copies should have a table of contents, page numbers, dividers, and clearly marked sections.  Committee members usually have many proposals to evaluate; if information is difficult to find, it could be overlooked.  Organize your proposal as per section 4.3 below.

4.3 EVALUATION CRITERIA:

All proposals received will be evaluated by the City of Battle Creek for selection purposes. The following main categories, listed in relative order of importance, will be considered in selection. The response to this RFP shall focus on these criteria, and shall be submitted in the same order as requested and must contain, at a minimum, all of the items listed below:

A. 	SERVICE DELIVERY PLAN

Describe a preventative maintenance plan for the group or groups that your firm proposes to service. The plan should include, but not be limited to:

- Provide detailed inspection and maintenance procedures for planned maintenance for each type of equipment as listed in Attachment D- Equipment List.  For example Rooftop Unit, Exhaust Fans etc.

- Describe or provide an example of a corrective/ emergency maintenance procedure.

- Describe or provide an example of a planned maintenance reports that will be given to the city for each location serviced.

- FIRM/PERSONNEL QUALIFICATIONS

- Describe the qualifications of your firm.

- Describe your experience and strengths with similar maintenance plans.

- Indicate the professional personnel/subcontractors who will be assigned to this contract, describing their qualifications and experience

- Provide proof of licenses for personnel who will be performing the maintenance and or repair services.

- Provide proof of licenses for business.

- Describe and list equipment available to perform this work.

- Provide at least three (3) references, include contact names and telephone numbers, in which your firm has provided general maintenance or full service that are similar in scope and size.

- PRICE

1.	Submit the Price Sheet attached herein.

2. 	Provide labor rates for technicians utilized to make repairs outside of the preventative maintenance program. Include rates for regular hourly work and overtime work.

### 5.0 - SCOPE OF WORK

5.1	SCOPE: Before submitting a proposal, firms shall carefully examine the scope of work and shall fully inform themselves as to all existing conditions and limitations and shall indicate in the proposal all items requested

.

5.2	INTRODUCTION: The City of Battle Creek intends on contracting with qualified firms (or one firm) to provide preventive maintenance service and repairs for heating, ventilation and air conditioning equipment located in or at its various facilities.  In addition, the successful firm or firms may be requested to quote work that falls outside of the scope of work herein that may become necessary due to renovations or changes within the City’s facilities.

5.3	CLARIFICATION OF PREVENTATIVE MAINTENANCE:  The pricing submitted shall be based on the inspection, maintenance, parts, and procedures for planned maintenance that your firm determines for the City that includes all the City’s equipment (Attachment D), and shall not include charges for repair and/or replacement work.

5.4	TYPE OF SYSTEMS:  The type of systems include, but are not limited to air handling systems, central air conditioning systems, controls, electric, electronic and pneumatic systems, boilers, burners (wood, oil, electric, natural gas and gasifier), AC package units, window units and console units, pumps, hot water heating systems (gas and electric) water and steam piping and components (HVAC related only). See Attachment D for Department Equipment Lists. The City does not guarantee the lists are all-inclusive or that the lists are correct; for reference purposes only.

5.5	PROPOSALS:  The City will accept proposals as a whole, or by groups, (e.g., Group A – Fire Department, Group B - Airport, etc.).  Firms may partner with or sub-contract services with other firms.  All subcontractors must be noted on the list of the subcontractor’s page.

5.6	GENERAL DESCRIPTION OF WORK:

A.	PREVENTATIVE  MAINTENANCE:  The contractor is to furnish all labor, transportation, tools, equipment, material, supplies, and supervision necessary  to perform inspections and general  preventative maintenance services.

The preventative maintenance to be performed, but not limited to, is as follows:

Unit Heaters, Self Contained AC Units, Chiller System, Rooftop Units, Make Up Air Units, Infrared Heaters, Furnaces, Air Handlers, Air Cooled Condenser Units, Exhaust Fans:

- Inspect, adjust or replace, as specified:  belts, oil, pilots, nozzles, control valves, pressure regulators, refrigerant and water levels, compressors, evaporators, fans, burners, heat exchangers, vents, air filters, water filters, motors, motor mounts and vibration pads, condenser tubes, blower wheel, coils, HVAC valves, traps, radiant pipes, combustion chambers, water and steam lines (including supply, returns and drains).

- Topping off refrigerant and water

- Inspect and tighten electrical connections.

- Inspect condition of all contractors, starters and VFD’s.

- Inspect and clean all contactors.

- Clean out control cabinets.

- Inspect fan shaft and lubricate bearings, motor bearings.

- Inspect condition and alignment of sheaves.

- Inspect and clean condensate drain and pan.

- Install algaecide tablets in condensate pans.

- Clean, test and inspect all dampers; lubricate linkages.

- Seasonal start-up and shut-downs.

- Inspect and clean condenser tubes.

- Inspect and calibrate controls, processors, and thermostats.

- Inspect gas train for proper operation.

- Inspect operation of main gas valve, safety valves, and shut offs.

- Provide regular maintenance reports to a City representative for each location and area checked.

Boilers

- Boiler water testing

- Examine control set points.

- Inspect and test all safety devices.

- Inspection contractor for burned or pitted points.

- Inspect gas train for proper operation.

- Test/ Inspect makeup feed valves for proper operation.

- Blow down boiler

- Inspect heat exchanger.

- Inspect gas burner section for debris buildup

- Inspect flame for proper color and adjust

- Test/ inspect low water cutout devises

- Verify compliance with State boiler laws and rules, report any violations to the State of Michigan Boiler division.

Pumps

- Test and inspect controls and set points for proper operation

- Inspect and tighten electrical connections.

- Lubricate and inspect drive shaft bearings.

- Inspect pump housing for cracks and signs of leaks.

- Inspect seals and packing for signs of leaks.

- Inspect shaft and coupling for proper alignment, and for signs of ear or failure.

- Inspect and tighten electrical connections.

- Inspect motor, and lubricate bearings.

Emergency service and repair or replacement parts will be quoted and billed separately at the labor cost and percentage over cost as established by this RFP.

5.7	GUARANTEE AND WARRANTY: Parts shall be guaranteed to be free from defects in material and workmanship per the manufacturer’s guaranteed/warranty. The Contractor will guarantee and warrant all work for at least one year from the date of acceptance of each completed installation for work performed on any part of the HVAC Systems.

5.8   EMERGENCY SERVICE: The firm must be able to provide and respond to emergency service calls in a timely fashion and have easy access to repair parts or equipment that may be needed to perform the work.  The repair/service person must have a cellular telephone or other acceptable method providing immediate contact due to an emergency nature.   Emergency response time via telephone shall be no more than 30 minutes and response time for routine calls for service shall be answered by telephone within two (2) hours from the time of receipt of the call on a 24-hour, 7-day per week basis. The City reserves the right to contact any qualified HVAC firm in the event of an emergency.

5.9	HOURS: Work is to be performed during normal business hours of each facility.  Work beyond normal hours must be pre-approved for overtime per a designated City representative.

5.10  EQUIPMENT DISPOSAL: Used equipment (e.g., filters, belts, etc.) may be disposed of in the appropriate waste container located at each facility.

5.11  PARTS:  Parts and equipment used for the replacement or repair of any HVAC systems shall be a quality product, free from defects in material and workmanship. A minimum DP-40 pleated filter shall be used for filter replacements.

5.12  EQUIPMENT LISTS (SEE ATTACHMENT D): The City does not guarantee the lists are all-inclusive or that the lists are correct; for reference purposes only.

### 6.0 - PRICE SHEET

A.	HVAC: Heating, Ventilation and Air Conditioning. Prices shall be all inclusive, including parts, labor and mobilization cost.

| Group | Location | No. of PM vistis for 12 month period | 1st year Unit Price Total |  | 2nd year Unit Price Total |  | 3rd year Unit Price Total |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | EXAMPLE: The Dog House | Example 2 X | $200.00 | = $400.00 | $205.00 | $410.00 | $210.00 | $420.00 |
| A | FIRE DEPARTMENT: |
|  | Fire Station #1 |  | $ | $ | $ | $ | $ | $ |
|  | Fire Station #2 |  | $ | $ | $ | $ | $ | $ |
|  | Fire Station #3 |  | $ | $ | $ | $ | $ | $ |
|  | Fire Station #4 |  | $ | $ | $ | $ | $ | $ |
|  | Fire Station #5 |  | $ | $ | $ | $ | $ | $ |
|  | Fire Station #6 |  | $ | $ | $ | $ | $ | $ |
| B | AIRPORT: |
|  | Airport Maintenance and Operations |  | $ | $ | $ | $ | $ | $ |
|  | Airport Rescue & Firefighting Storage |  | $ | $ | $ | $ | $ | $ |
|  | Electrical Vault |  | $ | $ | $ | $ | $ | $ |
|  | FAA Building |  | $ | $ | $ | $ | $ | $ |
|  | FAA Tower |  | $ | $ | $ | $ | $ | $ |
| C | DEPARTMENT OF PUBLIC WORKS: |
|  | Field Services Bldg |  | $ | $ | $ | $ | $ | $ |
|  | Fleet Bldg |  | $ | $ | $ | $ | $ | $ |
|  | Lakeview Water Bldg |  | $ | $ | $ | $ | $ | $ |
| D | VERONA STATION |
|  | Verona Pump Station |  | $ | $ | $ | $ | $ | $ |
| E | BATTLE CREEK TRANSIT |
|  | Intermodal Facility |  | $ | $ | $ | $ | $ | $ |
|  | Transit Admin. Office & Garage |  | $ | $ | $ | $ | $ | $ |
| F | WASTE WATER TREATMENT |
|  | WWTP Facilities |  | $ | $ | $ | $ | $ | $ |
| G | CITY HALL |
|  | City Hall |  | $ | $ | $ | $ | $ | $ |
| H | POLICE DEPARTMENT |
|  | Public Safety Bldg. |  | $ | $ | $ | $ | $ | $ |
|  | Training Bldg |  | $ | $ | $ | $ | $ | $ |
| i | KELLOGG ARENA |
|  | Kellogg Arena |  | $ | $ | $ | $ | $ | $ |
| J | LAKEVIEW WATER BUILDING |  |  |  |  |  |  |  |
|  | Lakeview Water Building (LWB) |  | $ | $ | $ | $ | $ | $ |
|  | YEARLY TOTALS |  |  | $ |  | $ |  | $ |

Note: The Wastewater Treatment Plant (WWTP) and the Department of Public Works Facility (DPW) will provide their own filters and belts.  The Airport and FAA will supply their own filters, contractor to furnish belts.  Boiler water testing not to be included for DPW.

1st, 2nd, 3rd Year GRAND TOTAL  $

B.  Contractor mark-up percentage over wholesale for parts:

| COST | MARK-UP PERCENTAGE (%) |
| --- | --- |
| $0- $4,999 |  |
| $5,000-$9,999 |  |
| $10,000-$20,000 |  |

C. Labor Rates for Technicians (Not to determine low bid.)

Job Classification 	              Hourly Wage Rates	        Overtime Wage Rates

_______________________           ___________________	      ____________________

_______________________          ___________________	      ____________________

_______________________          ___________________	      ____________________

_______________________          ___________________	      ____________________

D.	Mobilization Fee (for work outside regularly scheduled maintenance)

COST PER ROUND TRIP

$ _________________

### 7.0 - OFFER AND ACCEPTANCE FORM

TO THE CITY OF BATTLE CREEK: We propose to furnish all labor, materials, equipment, tools, transportation and services required to complete the work in accordance with the specifications and conditions contained herein in consideration of the sum or sums stated below and agree that this document will constitute the contract if accepted by the City.

We hereby offer and agree to furnish the material or service in compliance with all terms, conditions, specifications, and amendments in the Invitation for Bid and any written exceptions in the offer. We understand that the items in this Invitation to Bid, including, but not limited to, all required certificates are fully incorporated herein as a material and necessary part of the contract.  Warranty: Contractor shall remove and replace at no additional cost to the City any defects in workmanship or materials that may be apparent or may develop within a period of one (1) year from the date of final acceptance.

We agree to complete the contract within the times specified in this Invitation for Bid.

We acknowledge receipt of the following addendum(s): _____, _____, _____, _____.

I certify, under penalty of perjury, that I have the legal authorization to bind the firm hereunder, and that our firm is not debarred from doing business under the Federal Excluded Parties List System (epls.gov).

I, the Contractor or Contractor’s legally authorized signer, further certify compliance with the City of Battle Creek Ordinance Chapter 214, Discrimination Prohibited.  I further acknowledge and agree that the Contractor's violation of Chapter 214 shall be a material breach of this contract.  In addition, Contractor acknowledges and agrees that it shall be liable for any costs or expenses incurred by the City in obtaining from other sources, the work and services to be rendered or performed or the goods or properties to be furnished or delivered to the City under the contract as a result of a material breach in the Contract for violations of Chapter 214.

For clarification of this offer, contact:

Company Name

Name:

Address

Phone:

City			State		Zip

Fax:  		___

Signature of Person Authorized to Sign

Email:

Printed Name

Title

ACCEPTANCE OF OFFER:

The Offer is hereby accepted. 									Contact Term:   ______________________

The Contractor is now bound to sell the materials or services listed by the attached contract and based upon the Request for Proposal, including all terms, conditions, specification, amendments, etc. and the Contractor's Offer as accepted by the City.

This contract shall henceforth be referred to as Contract No. 	2017-066R  . The Contractor has been cautioned not to commence any billable work or to provide any material or service under this contract until Contractor receives purchase order and/or a notice to proceed from the City of Battle Creek Purchasing Agent.

| COUNTERSIGNED: City Manager Date Witness Signature | APPROVED AS TO FORM BY: City Attorney __________________ Date |
| --- | --- |

### ATTACHMENT A - DISADVANTAGED BUSINESS  (DBE) FORMS

I.  	YOUR FIRM’S BACKGROUND:

Is your firm an MBE (at least 51% minority ownership)?  	_____YES  	_____NO

Is your firm a WBE (at least 51% woman ownership)?  	_____YES  	_____NO

Are you subcontracting any part of this project?		 	_____YES  	_____NO

II.  	SUBCONTRACTING INFORMATION:  If subcontracting any part of the project, the bidder/contractor expressly agrees that:

(1)	If awarded a contract as a result of this bid, the major subcontractors used in the prosecution of the work will be those listed below, and

(2)	The following list includes all subcontractors who will perform work representing approximately five percent (5%) or more of the Total Base Bid.

- The Bidder represents that the subcontractors listed below are financially responsible and are qualified to do the work required.

| SUBCONTRACTOR NAME | City/State | Trade or Commodity | MBE | WBE | Approximate dollar value |
| --- | --- | --- | --- | --- | --- |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |

III. DBE RECRUITMENT ACTIVITY LOG:  List the MBE’s and WBE’s that were approached about being a subcontractor for this job, but who are NOT listed above as a subcontractor.

| NAME OF FIRM APPROACHED, BUT NOT USED ON THIS PROJECT | City/State | Trade or Commodity | MBE | WBE | Reason not used on this project |
| --- | --- | --- | --- | --- | --- |
| ________________________________________ |  | ______________ | Y / N | Y / N | _______________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | _______________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | _______________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | _______________________ |

### ATTACHMENT B - SITE INVESTIGATION

SCHEDULE OF LOCATIONS AND ADDRESSES

| ###### DATE | ###### TIME | ###### BUILDING | ###### LOCATION |
| --- | --- | --- | --- |
| - May 9, 2017 | 8:00 am to 9:00 am | City Hall - Room 302A | 10 N. Division St. |
|  | 9:00 am to 9:30 am | Public Admin. Bldg. | 20 N. Division St. |
|  | 9:45 am to 10:15 am | Fire Station #1 | 195 E. Michigan Ave. |
|  | 10:30 am to 11:00 am | Police Records Bldg. | 300 Elm St. |
|  | 11:15 am to 11:45 am | Fire Station #3 | 222 Cliff St. |
|  | 12:00 pm to 12:30 pm | -BREAK- |  |
|  | 1:00 pm to 1:15 pm | Fire Station # 2 | 145 N. Washington Ave |
|  | 1:30 pm to 2:00 pm | Transit Admin. Office & Garage | 339 W. Michigan Ave. |
|  | 2:15 pm to 2:45 pm | Kellogg Arena | 36 W Hamblin Ave |
|  | 3:00 pm to 3:30 pm | Intermodal Facility | 119 N. McCamly St. |
|  | 3:45 pm to 4:00 pm | Lakeview Water Bldg. | 26 S. 20th Street |
|  | 4:15 pm to 4:30 pm | Fire Station #4 | 8 South 20th Street |
| - May 10, 2017 | 8:00 am to 9:30 am | Airport Facilities | 15551 S Airport Rd. |
|  | 9:45 am to 10:00 am | Fire Station # 5 | 1170 W. Michigan Ave |
|  | 10:15 am to 12:30 pm | WWTP | 2000 W River Rd. |
|  | 12:30 pm to 1:00 pm | -BREAK- |  |
|  | 1:00 pm to 1:30 pm | DPW Admin. Bldg | 150 S Kendall St. |
|  | 1:30 pm to 2:00 pm | Fleet ServicesBldg | 154 S. Kendall St. |
|  | 2:15 pm to 2:45 pm | Verona Pumping Station | 250 Brigden Dr. |
|  | 3:00 pm to 3:30 pm | Fire Station # 6 | 2401 Capital Ave. SW |

The purpose of this conference and site visit will be to clarify the contents of this Request For Proposals (RFP) in order to prevent any misunderstanding of the City's position. Any doubt as to the requirements of this RFP or any apparent omission or discrepancy should be presented to the City at this conference. The City will then determine the appropriate action necessary, if any, and issue a written amendment to the RFP. Oral statements or instructions shall not constitute an amendment to this RFP.

### ATTACHMENT C -  MAP OF CITY BUILDINGS

Note:  Click embedded pdf file view map detail .

### ATTACHMENT D - EQUIPMENT LISTS

DISCLAIMER: The City does not guarantee the lists are all-inclusive or that the lists are correct; for reference purposes only.

WASTEWATER TREATMENT PLANT

| Unit | Location | Equipment | Make | Model | Serial | Filter/Belt/Pad |
| --- | --- | --- | --- | --- | --- | --- |
| RF 13 | East Garage | Return Fan | Porter |  |  | A61 |
| AHU-13 | East Garage | Air Handler | Buffalo Forge | 81P-11357 | 81503-E-8 | B68 |
| CP-13 | East Garage | CW Pump | B & G | 3 h.p. |  |  |
| AHU2-1 | Raw Sewage Bldg | Air Handler | Buffalo Forge |  | 81P-11360 | A60 |
| AHU2-2 | Raw Sewage Bldg | Air Handler | Buffalo Forge |  | 81P-11359 | B48 |
| CP 2-2 | Raw Sewage Bldg | CW Pump | B & G | 5 h.p. |  |  |
| SF-2 | Raw Sewage Bldg | Supply Fan |  | 1.5 h.p. | 480 3 phase | 4L-440 |
| AHU13-1 | Storage | Air Handler | Buffalo Forge |  | 81P-11364 |  |
| East | Adm. Bldg. | Boiler | Raypak | H9-1802B | 1408384953 | 12x12x1 pad |
| West | Adm. Bldg. | Boiler | Raypak | H9-1802B | 1408384954 | 12x12x1 pad |
| Upstairs | East Blower. | Boiler | Raypak | H9-1532A | 0507238572 | 30x30x2 |
|  | Adm Bldg Roof | Chiller | Carrier | 30GT-030 610 1 | 0299F91643 |  |
| EF13-11 | Adm Bldg Roof | Exhaust Fan | Fiber Air | ½ h.p. |  | 4L350 |
|  | Lab Roof | Chiller | Carrier | 30GT-030 610 1 | 0299F91644 |  |
| 1F-2 | Odor Control Bldg | Scrubber Fan | Hartzel Fan | 40-33-CL3 | 9405910-03 |  |
| 1F-3 | Odor Control Bldg | Scrubber Fan | Hartzel Fan | 40-33-CL3 | 9405910-01 |  |
| 1-4 | Odor Control Bldg | Unit Heater/Gas | Trane | GHND010ADD1000ED | 895A30158 |  |
| 1 | Acid Room | Unit Heater/Gas | Trane | GHND004ADF2000E |  |  |
| 1 | Acid Room | Exhaust Fan |  | ¼ h.p. |  |  |
| AHU11-4 | Solids Handling | Air Handler | Buffalo Forge | 75Y | 81P-11362 | B74 |
| HV-7 | Solids Handling | AirHandler | Trane | MCCA oloGAJ | K95B09556 |  |
|  | Solids Handling | Supply Fan |  | 2 h.p. |  |  |
| B-1 | Solids Handling | Boiler | Raypak | 992-2342 |  | 14x9x1 |
| B-2 | Solids Handling | Boiler | Raypak | 992-2342 |  | 14x9x1 |
| B-3 | Solids Handling | Boiler | Raypak | 992-2342 |  | 14x9x1 |
| B-4 | Solids Handling | Boiler | Raypak | 992-2342 |  | 14x9x1 |
| B-5 | Solids Handling | Boiler | Raypak | 992-2342 |  | 14x9x1 |
| AHU11-1 | Solids Handling | Air Handler | Porter-Peerless | 3300 |  |  |
| AHU11-2 | Solids Handling | Air Handler | Buffalo Forge |  | 81P-11361 |  |
| EF11-2 | Solids Handling | Exhaust Fan | Porter-Peerless | 5 h.p. |  |  |
| EF11-12 | Solids Handling | Exhaust Fan | Porter-Peerless | 5 h.p. |  |  |
| EF11-13 | Solids Handling | Exhaust Fan | Porter-Peerless | 5 h.p. |  |  |
| AHU11-5 | Solids Handling | Air Handler | Buffalo Forge |  | 81P-11363 | B83 |
|  | Solids Control Rm | AC | American Standard | TWE060A400BB | Direct Drive |  |
| HU-1 | Solids Control Rm | Heating Unit | Trane | 5 h.p. | K95B09556 |  |
| HU1-4 | Solids Control Rm | Heating Unit | Trane | 5 h.p. |  |  |
| AHU11-6 | Solids Control Rm | Air Handler | Buffalo Forge |  | 81P-11358 |  |
| AHU11-6 | Solids Control Rm | Air Handler | Buffalo Forge |  | 81P-11358 | B35 |
| CP11-12 | Solids Control Rm | Circ Pump | B & G | 2 h.p. |  |  |
|  | Solids Roof | Chiller | Carrier | 30GT15-610 | 349816544 |  |
| EF11-1 | Solids Roof | Exhaust Fan |  | 5 h.p. |  |  |
| EF11-3 | Solids Roof | Exhaust Fan |  | 5 h.p. |  |  |
| EF11-13 | Solids Roof | Exhaust Fan |  | 5 h.p. |  |  |
| EF11-14 | Solids Roof | Exhaust Fan |  | 5 h.p. |  |  |
| EF11-15 | Solids Roof | Exhaust Fan |  | 5 h.p. |  |  |
| EF11-17 | Solids Roof | Exhaust Fan |  | 5 h.p. |  |  |
| EF11-18 | Solids Roof | Exhaust Fan |  | 5 h.p. |  |  |
| EF11-19 | Solids Roof | Exhaust Fan |  | 5 h.p. |  |  |
| EF11-20 | Solids Roof | Exhaust Fan |  | 5 h.p. |  |  |
| AHU11-3 | Gaft Bldg | Air handler | Wing |  |  |  |
| EF11-6 | Gaft Bldg | Exhaust Fan | Porter Peerless | 1820 |  |  |
| SF17-1 | Gravity Tichkener | Supply Fan | Porter Peerless | ½ h.p. |  |  |
| EF17-1 | Gravity Thickener | Exhaust Fan | Unidome | ½ h.p. |  |  |
| AHU9-2 | Operations | Air Handler | Buffalo Forge |  | 83307500 | A55 |
| AHU9-1 | Operations | Air Handler | Buffalo Forge |  | 83307499 | A80 |
| RF9-2 | Operations | Return Fan |  | 1 h.p. |  |  |
| RAF 9-1 |  |  |  |  |  | A60 |
| EF 9-3 |  |  |  |  |  | A38 |
| AHU9-3 | Operations | Air Handler | Buffalo Forge | 5 h.p. |  |  |
|  | Operations Roof | Chiller | Carrier | 30GT030610 |  |  |
| AHU8-1 | RAS Building | Air Handler | Bayley Propellar | ¾ h.p. |  |  |
| AHU16-4 | West Blower Bldg | Air Handler | Buffalo Forge | 10 h.p. | 83307502 |  |
| RF 16-4 | West Blower Bldg | Return Fan | Bayley Propellar | 1 ½ h.p. |  |  |
| EF16-4 | West Blower Bldg | Exhaust Fan | Unidome | ½ h.p. |  |  |
|  | West Blower Bldg | Liebert | Unidome |  |  |  |
| SF 16-1 | West Blower Bldg | Supply Fan | Bayley Propellar | 5 h.p. |  | B80 |
| SF 16-2 | West Blower Bldg | Supply Fan | Bayley Propellar | 5 h.p. |  | B79 |
| SF 16-3 | West Blower Bldg | Supply Fan | Bayley Propellar | 5 h.p. |  | B79 |
|  | East Blower Bldg | Boiler | Weil McLain | T 7 B | JB |  |
| 1-1 | East Blower Bldg | Circ Pump | Taco | 5 h.p. |  |  |
| 1-2 | East Blower Bldg | Circ Pump | Taco | 5 h.p. |  |  |
| 1-1 | East Blower Bldg | Circ Pump | Taco | ¾ h.p. |  |  |
| 1-2 | East Blower Bldg | Circ Pump | Taco | ¾ h.p. |  |  |
| EF15-1 | East Blower Bldg | Exhaust | Unidome | ¾ h.p. |  |  |
| 1-1 | Settled Sewage | Exhaust | Unidome | ¾ h.p. |  |  |
| 1-2 | Settled Sewage | Exhaust | Unidome | ¾ h.p. |  |  |
| 1-3 | Settled Sewage | Exhaust | Unidome | ¾ h.p. |  |  |
| 1-4 | Settled Sewage | Exhaust | Unidome | ¾ h.p. |  |  |
| 1-5 | Settled Sewage | Exhaust | Unidome | ¾ h.p. |  |  |
| SF12-1 | Wash Water Bldg | Supply Fan | Porter Peerless | ½ h.p. |  |  |
| RF 16-1 | West Blower | AHU |  |  |  | B 76 |
| RF 16-2 | West Blower | AHU | Hasting |  |  | B76 |
| RF 16-3 | West Blower | AHU | Hasting |  |  | B76 |
| RF 16-4 | West Blower | AHU | Hasting | RCF-60-G21 | 38274 | Bx59 |
| EF12-1 | Wash Water Bldg | Exhaust | Unidome | ½ h.p. |  |  |
|  | I & E Building | Supply Fan | Porter Peerless | ½ h.p. |  | Belts |
|  | I &E Building | Exhaust | Unidome | ½ h.p. |  |  |
|  | All Buildings | Pneumatics |  |  |  |  |
|  | Ind. Lab | R.T.U. | Mamoth Unit | 15-Ton |  | Belts |
| HV-1 | Solids Handling | AHU | Trane |  |  | B35 |
| HV-2 | Solids Handling | AHU | Trane |  |  | B35 |
| -3 | Solids Handling | AHU | Trane |  |  | B35 |
| HV-4 | Solids | AHU | Trane |  |  | B35 |
| HV-5 | Solids | AHU | Trane |  |  | B35 |
| EF-1 | Headworks | Exhaust Fan | LAU | RV-ASSY-56-215-30 | 207746 |  |
| EF-2 | Headworks | Exhaust Fan | Carnes | VUDK06K2A1UA145PC1 | 646893.002 |  |
| MAU-1 | Headworks | Air Handler | Control Air | PA-5 SPEC | 2245 |  |
| MAU-2 | Headworks | Air Handler | Control Air | PA-9 SPEC | 2246 |  |
| SF-3 | Headworks | Supply Fan | LAU | SL270CW | 207755 |  |
| SF-5 | Headworks | Supply Fan | LAU | SL270CW | 207750 |  |
| HVAC-1 | Headworks/Ofc | HVAC | Carrier | 50GX-036-601 | 0403G50972 |  |
| HVAC-2A | Headworks/Control | HVAC | Carrier | 50GX-060-601 | 0403G41180 |  |
| HVAC-28 | Headworks/Control | HVAC | Carrrier | 50GX-060-601 | 0403G41179 |  |
| EF-6 | Sludge Pumping | Exhaust Fan | LAU | FRPRV48-184-12 | 207758 |  |
| SF-8 | Sludge Pumping | Supply Fan | LAU | FRPRV48-100-12 | 207700 |  |
| EF-7 | Meter Vault | Exhaust Fan | Carnes | VUDK06J2A1UA145PC1 | 646893.003 |  |

NOTE: Wastewater Treatment Plant will provide own filters and belts.

POLICE DEPARTMENT

| Unit | Location | Equipment | Make | Model | Serial | Filter/Belt |
| --- | --- | --- | --- | --- | --- | --- |
| #3 Fancoil Pump | Basement Perimeter Walls | Heat/Cooling Pump | B&G | 1510-15BC | 2.5 HP |  |
| PS CPP2 | Basement | Cooling Pump | B&G | 1510-2.5 AB | 2.5 AB/5 hp |  |
| Panel 1A | Basement | Cooling Transfer Pump | B&G | 1510-2AC-575BF |  |  |
|  | Basement | AC Filter Cannister | HARMSCO | #7 | 21479 | 7 |
|  | Basement | Air Compressor | Johnson Controls | A3100-2 | AF-14 | B-50 |
|  | Basement | Air Dryer | Johnson Controls | A421 |  |  |
| P-1 | Basement | Heat Pump | B&G | 1.5 EV716 | 2 HP |  |
| P-2 | Basement | Heat Pump | B&G | 2 h.p. |  |  |
| P-3 | Basement/Garage` | Heat Pump | B&G | KVA48T17D173BK |  |  |
|  | Garage | Air Handler | Trane |  |  | 20x25x2 |
| AHU-1 | 2nd Floor Mech. | Air Handler | Trane | L-6 | K18197521 | 20x20x1 |
|  |  |  |  |  |  | A-46 |
| AHU-2 | 2nd Floor Mech | Air Handler | Trane | L-6 |  | 27.5x25x1 |
|  |  |  |  |  |  | AP 43 |
| EF | 2nd Floor Mech | Exhaust Fan | Clarage Fan Co. | 5831-CA | 27-1-S | A-41 |
| RTU-1 | Roof | Rooftop | Trane | YCD075C3LOBE | M33103464D | 14x25x2 |
|  |  |  |  |  |  | B-44 |
| RTU-2 | Roof | Rooftop | Trane | YCD04BC3LOBE | L03103828D | 14x25x2 |
| AHU-3 | 2nd Floor Storage | Air Handler | Trane | M-8 | K18197523 | 20x25x2 |
|  |  |  |  |  |  | A-56 |
|  | Basement Tel. Rm | AC | Liebert | UH114AVCDO | 1114141 | 60x24x1 |
|  | Basement Tel. Rm | AC | Liebert | UH114AVCDO | 1114141 | 20x20x4 |
|  | Basement Tel. Rm | AC | Liebert | UH114AVCDO | 1114141 | 20x25x4 |
|  |  |  |  |  |  | B-56 |
|  | Dispatch | AC | Liebert | Mini-Mate |  | 18x24x2 |
|  | Dispatch | AC | Liebert | Mini-Mate |  | A35 |
| 22 Units | Various areas | Fancoils | Direct Drive | Fractional h.p. |  |  |
| AH-4 | Basement | AHU |  |  |  | 20x25x2 |
|  |  |  |  |  |  | B-57 |
|  | Basement | Waterheater/ | AO Smith | 5BT7575ME1 | F94706463 |  |
|  | Basement | Exhaust Fan |  |  | B-31 |  |
| Training Bldg on Elm St |  |  |  |  |  |  |
|  | 1st Floor | Furnace | Lennox | G50UH48B09007 | 5804B13643 | 16X25X1 |
|  | Outside | AC Condenser | Lennox | 10ACC048230 | 5804B17264 |  |
|  | Outside | Heat Pump | Daikin | 3MXS24NMVJU | G006106 |  |
|  | Inside | Heat Pump | Daikin | CTXS12HVJU | E034529 | AH4 Filters |
|  | Inside | Heat Pump | Daikin | CTXS12HYJU | E034527 | AH4 Filter |
|  | Garage Ceiling | Tube Heater | Re-Verber-Ray |  |  |  |

Transit Facilities

| Unit | Location | Equipment | Make | Model | Serial | Filter/Belt |
| --- | --- | --- | --- | --- | --- | --- |
| Adm Offc. Garage |  |  |  |  |  |  |
| HVAC-3 | Janitor Closet | Split System | Lennox | GHR26Q4/5-100-1 | 5896A08939 | 14x25x1 |
| HVAC-2 | Janitor Closet | Split System | Lennox | GHR26Q2/3-50-1 | 5895H00121 | 14x25x1 |
| HVAC-1 | Janitor Closet | Split System | Lennox | GHR26Q2/3-5-1 | 5895H00091 | 20x25x1 |
| WH | Janitor Closet | Water Heater | AO Smith | FPS75232 | MT95-09044728506 |  |
| HVAC-3 | Outside South | Cond. Unit | Lennox | H525-651-2P | 5895L49570 |  |
| HVAC-2 | Outside South | Cond. Unit | Lennox | H525-461-1P | 5896A27794 |  |
| HVAC-1 | Outside South | Cond. Unit | Lennox | H525-261-1P | 5896A11820 |  |
| HU-1 | Bus Stor Garage | Heating Unit | Weather Rite | ToT218VT | 50085B02 | 20x20x2 |
| HU-1 | Bus Stor Garage | Heating Unit | Weather Rite | TOT218VT | 50085B02 | 16x20x2 |
| HU-1 | Bus Stor Garage | Heating Unit | Weather Rite | TOT218VT | 50085B02 | B-68 |
| HU-2 | Bus Stor Garage | Heating Unit | Weather Rite | TOT218VT |  | 20x20x2 |
| HU-2 | Bus Stor Garage | Heating Unit | Weather Rite | TOT218VT |  | 16x20x2 |
| HU-2 | Bus Stor Garage | Heating Unit | Weather Rite | TOT218VT |  | B-68 |
| EF-1 | Bus Stor Garage | Exhaust Fan |  |  |  | A37 |
| EF-2 | Bus Stor Garage | Exhaust Fan |  |  |  | A37 |
|  | Bus Stor Garage | Infa Red Heater | RE-VERBER-RAY | HLV Series Tube Heaters |  |  |
| 1-1 | Bus Wash Bay | Infa Red Heater | Superior Radiant |  |  |  |
| 1-2 | Bus Wash Bay | Infa Red Heater | Superior Radiant |  |  |  |
| 1-3 | Bus Wash Bay | Infa Red Heater | Superior Radiant |  |  |  |
| 1-4 | Bus Wash Bay | Infa Red Heater | Superior Radiant |  |  |  |
| 1-1 | Bus Wash Bay | Exhaust Fan |  | ½ h.p. |  | 4L280 |
| 1-2 | Bus WashBay | Exhaust Fan |  | ½ h.p. |  | 4L280 |
| 1-1 | Bus Maint Gargage | Unit Heater/Gas | Modine |  |  |  |
| 1-2 | Bus Maint Garage | Unit Heater/Gas | Modine |  |  |  |
|  | Bus Maint Garage | Exhaust Fan | Greenheck | 5 h.p. |  | BX35 |
|  | Bus Maint Garage | Heating System | Weather Rite | TOT218HH | 50085A | 20x20x2 |
|  | Bus Maint Garage | Heating System | Weather Rite | TOT218HH | 50085A | 16x20x2 |
|  | Bus Maint Garage | Heating System | Weather Rite | TOT218HH | 50085A | B-68 |
| 1-1 | Bus Lunch Room | Thru Wall HVAC | Climate Master | PTA15G3AMBCC3SB | 95K056012 | Washable |
| 1-2 | Bus Lunch Room | Thru Wall HVAC | Climate Master | PTA15G3AMBCC3SB | 95K056012 | Washable |
|  | Bus Entry Way | Cabinet Heater |  |  |  | 44.5x9x3/4 |
|  | Bus Entry Way | Exhaust System |  | 3 h.p. |  | BX-35 |
| 1-1 | Bus Entry Way | Water Heater | AO Smith | Electric |  |  |
| 1-2 | Bus Entry Way | Water Heater | AO Smith | Electric |  |  |
|  | Bus Wash Bay | Powerwash |  | Gas Fried |  |  |
| West | Adm. Office Basement | Dehumidifier | EBAC | 1028200 | 274000600 | Filter |
| East | Adm. Office Basement | Dehumidifier | EBAC | 1028200 | 274000606 | Filter |
| Intermodal Facility |  |  |  |  |  |  |
|  | Office | Furnace/AC | Carrier |  |  | 16x20x1 |
|  | Office | Furnace/AC | Carrier |  |  | 15x24x1 |
|  | North Lobby | Furnace/AC | Reznor | 3D215A |  | 16x16x2 |
|  | North Lobby | Furnace/AC | Reznor | 3D215A |  | A42 |
|  | South Lobby | Furnace/AC | Reznor | 3D 215A |  | 16x18x2 |
|  | South Lobby | Furnace/AC | Reznor | 3D 215A |  | A42 |
|  | North | A/C | Carrier | 5-Ton |  |  |
|  | South | A/C | Carrier | 5-Ton |  |  |
|  | Outside | A/C | Carrier | 2-Ton |  |  |
|  | NE Lobby Phone Rm | AC condenser on roof | Mitsubishi | 1.5 ton |  | Washable Filter |
|  | N Lounge Computer Rm. | AC condenser on roof | Mitsubishi | 1.5 ton |  | Washable Filter |

City Hall

| Unit | Location | Equipment | Make | Model | Serial | Filter/Belt |
| --- | --- | --- | --- | --- | --- | --- |
|  | Basement | Gas Boiler | Lochinvar | CHN2071 | H07H00200699 |  |
|  | Basement | Gas Boiler | Lochinvar | CHN2071 | H07H00200702 |  |
|  | Basement | Wood Boiler | Johnston | P-2 | 10719-01 |  |
|  | Basement | Gasifier /Biomass | Chiptec | P-2 | 2008-06-P2/5049106 |  |
|  | Basement | Chiller | Carrier | 30RBB1506C-507-3 | 2011-Q75844 |  |
|  | Basement | Heat Exchanger | Plated for chiller system |  |  |  |
|  | Basement | Steam Boiler | Weil Mclain | EGH-95 |  |  |
|  | Basement | Cond Pump | ITT | 52CB15-20 | 40843 |  |
|  | Basement | Heat Pump | B&G | 2 ½ BB7 7/8 BF | 1510 Series |  |
|  | Basement | A/C Filter Cannister | Harmsco | #7 | 21479 | 7 |
| CP-1 | Basement | Cooling Pump | B&G | 2 ½ BB 9 ¼ BF | 1510 Series |  |
| CP-2 | Basement | Cooling Pump | B&G | 2 ½ BB 9 ¼ BF | 1510 Series |  |
|  | Basement | AC Filter | HARMSCO | 7 | 21479 |  |
| AHU-1 | 4th Floor | Air Handler | Bohn | HMZ12AMF | BK17066 | 16x25x2 |
| RF-1 | 4th Floor | Return Fan |  |  |  | A-62 |
| AHU-2 | 4th Floor | Air Handler | Bohn | HCS26AMF | BK17067 | 20x20x2 |
|  |  |  |  |  |  | 18x20x2 |
|  |  |  |  |  |  | B-77 |
|  | 4th Floor | Variable Freq Dr | Graham | 1576 |  |  |
| RF-2 | 4th Floor | Return Fan | Twin City Fan/Blwr |  | 84-50469-3-1 | B-61 |
| AHU-3 | 4th Floor | Air Handler | Bohn | HMZ12AMF | BK17068 | 16x25x2 |
|  |  |  |  |  |  | B-58 |
| RF-3 | 4th Floor | Return Fan |  |  |  | A-66 |
| EF-9 | Print Shop | Exhaust |  |  |  | A-27 |
|  | E. End 4th Floor | Exhaust Fan |  |  |  | A-27 |
|  | Basement | Wall Air /Cond | Carrier | 38HDF0243 | 1212 x 90382 |  |
|  | 4th Floor | Condensor | Liebert | DCSF083-Z | 0350667575 |  |
|  | Computer Room 3rd Floor | Air Cond | Liebert | DU067A-AAEI | 339997-001 |  |

Note: City Hall has approximately 65 VAV Boxes

Note: City Hall has approximately 75 Radiant Heaters with self-contained heating valves

AIRPORT

| Unit | Location | Equipment | Make | Model | Serial | Filter/Belt |
| --- | --- | --- | --- | --- | --- | --- |
| AMOF(Airport maintenance and operation facility) |  |  |  |  |  |  |
| Electrical Vault | North Wall | Unit Heater/AC (2) | Bard | W301A1-C09 | 300K102729749-02 | 16x30x1 |
|  | Mezzanine | Air Handler AHU-1 | Trane | MCCB021UA0C0UB | K09C60913A | 16x25x2, 16x20x2, BX54 |
|  | Mezzanine | Boilers HWB-1 HWB-2 | Aerco Modulex | MLX-606 |  |  |
|  | Mezzanine | Pumps HWP-1 HWP-2 | B&G | Series 90 |  |  |
|  | Roof | Condensing Unit | Trane 25 Ton | RAUCC254B113A0DF00010 | C09C13065 |  |
|  | Roof | Condensing Unit | Trane | 2TTB3042A1000AA | 8072NEE4F |  |
|  | Roof | Condensing Unit | Trane | 2TTB3060A1000AA | 8363PSR4F |  |
|  | Parking Bay | Pex Heater HWB-3 | Laars | HT 1.330 | B83141163 |  |
|  | Parking Bay/ Maint. Bays | Unit Heater/Gas UH 1thru6 | Reznor | UEAS-180-S |  |  |
|  | Parking Bay | IR Heater/Gas IR 1thru6 | Reznor | VR-175 |  |  |
|  | Maintenance Bays | Unit Heater/Gas UH 7&8 | Reznor | UEAS-180-S |  |  |
|  | Mezzanine | MAH-1 | Greenheck | PV400H (x3) IGX-120+132-HZ | 11808228 | 20X25X2 BX90 |
|  | Maintenance Office | FCU-1 | Trane | BCHC054A2D0A41L3E000000A | T09CB5001 | 20X20X1 A43 |
|  | Disaster Recovery | FCU-2 | Trane | BCHC036A2D0A3103E000000A | T09CB5002 | 16X20X1 A43 |
|  | Disaster Recovery | Humidifier | Dristeem | SDU-E | 11759-01-01-SDU |  |
|  | Entries | Cabinet Heaters CHU-(1-3) |  |  |  | 8 7/8x19 1/8x1 |
|  | Hall | Cabinet Heater CHU-4 |  |  |  | 8 7/8x9 7/8x1 |
|  | Parking Bay | Air Intake |  |  |  | 24X24X1 |
| FAA Building |  |  |  |  |  |  |
|  | Hanger | AHU-2 | Dunham Bush | HD10LF71707802 | 717078-02A92L | 20x25x2 |
|  |  |  |  |  |  | Belt 8x54 |
| 1-7 | Hanger | Infa Red Heater | Reflect-O-Ray |  |  |  |
| AHU-1 | Mechanical Room | AHU-1 | Dunham Bush | HCS36MA71707801 | 717078-01A926 | 12x24x2 |
|  |  |  |  |  |  | 24x24x2 |
|  |  |  |  |  |  | B-100 |
|  |  |  |  |  |  | Bypass Belt A-68 |
|  |  | Bag filter |  | Pap 35052412 |  | K-70-2126 |
|  |  | Bag f ilter |  | PAP 65054412 |  | K-70-2129 |
| B-1 | Mechanical Room | Boiler | Weil McLain | LGB14 |  |  |
| P-1 | Mechanical Room | Pump | B&G Inline | 1 h.p. |  |  |
| H | Mechanical Room | Humidifier | Hermidifier | Herrtronic MD |  |  |
|  | Mechanical Room | Veriable Freq | Area Brown Boveri |  |  |  |
| P-2 | Mechanical Room | Pump | B&G Inline | 1 h.p. |  |  |
|  | Outside West | Chiller | Carrier | 30GTN07 | 2204F37074 |  |
|  | FAA Bldg | Unit Heater | Reznor | UDAS60 | BBK79X7N00235X | 24x24x1 |
| Air Traffic Control Tower |  |  |  |  |  |  |
|  | Mechanical Room | Boiler #1 HWB-1 | Laars | SMB-250N | H05151246 |  |
|  | Mechanical Room | Boiler #2 HWB-2 | Laars | SMB-250N | S04A0017 |  |
|  | Mech. Room | Pump#1 HWP-1 | B&G | Series 60 ½ HP | 172035LFH01 |  |
|  | Mech. Room | Pump#2 HWP-2 | B&G | Series 60 ½ HP | CT1979-02 K40 |  |
|  | Mech. Room | Circulating Pump | B&G |  |  |  |
|  | Courtyard | Chiller #1 | Carrier | 30-RAN018AS-615CX | 4904Q00684 |  |
|  | Courtyard | Chiller #2 | Carrier | 30-RAN018AS-615CX |  |  |
|  | Courtyard Storage | Pump#1 CWP-1 | B&G | Series 90 2A6.6 25BF | 2350001 K40 |  |
|  | Courtyard Storage | Pump#2 CWP-2 | B&G | Series 90 2A6.6 25BF | 2350000 K40 |  |
|  | Tower Cab | Fan Units FCU-11&12 |  |  |  | 16x25x2 A40 |
|  | Equip. Room | Humidifier | Nortec | NHMC005 | 649483202001 |  |
|  | Equip. Room | Humidifier | Nortec | NHMC005 | 649483202000 |  |
|  | Equip. Room | Fan UnitsFCU-5&6 | Carrier | 42DCA08NLCY6AYYY | 843161-20-2 843161-20-1 | 14X26X1 14X26X1 |
|  | Elec.Room | Fan Unit FCU-4 | Carrier | 42DCA06NLCY6AYYY | 843161-01-1 | 14X21X1 |
|  | Hallway 1st Floor | Fan Units FCU-1&2 | Carrier |  |  | 16.5x24x1 A20 |
|  | Ceiling 3rd Floor | Fan Unit FCU-7 | Carrier |  |  | 16.5x24x1 A20 |
|  | Ceiling 5th Floor | Fan Unit FCU-8 | Carrier |  |  | 16.5x24x1 A20 |
|  | Entries/ Stairwell | Cabinet Heaters |  |  |  | 10x22x1 |
| ARFF ( Airport Rescue and Firefighting) Storage |  |  |  |  |  |  |
|  |  | Heating Unit | Reznor | UDAS175 | BDL79Y2H69451X |  |
|  |  | Heating Unit | Reznor | UDAS175 | BEA79Y2N75021X |  |

NOTE: Airport Facility and all FAA Facility will supply their own filters, contractor will furnish belts.

Verona Pumping Station

| Unit | Location | Equipment | Make | Model | Serial | Filter/Belt |
| --- | --- | --- | --- | --- | --- | --- |
|  | Basement | Boiler | Weil McLain | LGB8-WNC5A |  |  |
|  | Basement | Boiler | Brasch | 195LW480-8A |  |  |
|  | Basement | Airhandler | Trane | CSIA010 | K80L15447 | 20x25x2 |
|  |  |  |  |  |  | B-61 |
|  | Basement | Heat Pump | B&G | ½ h.p. |  |  |
|  | Basement | WaterCool Cond | Trane | RWUA0154MAJF | L80H07070 |  |
| 3 | Basement | Unit Heater/HW | Trane |  |  |  |
| 2 | Basement | Unit Heater/HW | Trane | UHSA-0425-OA-AAL | 580G1165B |  |
| 1 | Basement | Unit Heater/HW | Trane | UHSA-0425-OA-AAL | 580G1165B |  |
|  | Roof | Rooftop Unit | Trane | YCD049C4HOBE | M1701653D | 20x25x2 |
|  | Mech Room | Boiler | Weil McLain | LGB-12 |  |  |
|  | Mech Room | Air Compressor | Wilson | OLD-015-302 |  | A-58 |
| P-1 | Mech Room | Heat Pump | B&G Series 60 | 2A6500BFG |  |  |
| P-2 | Mech Room | Heat Pump | B&G Series 60 | 2A6500BFG |  |  |
|  | Control Room | Heat Pump | Air Flow Products | CMISEBCRXD | 1439070430 | 16x20x1 |
|  | Iron Plant | Air Handler | Trane |  |  | 20x25x2 |
|  | Basement | Air Compressors (2) | Atlas | KT75H8034 |  |  |

Fire Department

| Unit | Location | Equipment | Make | Model | Serial | Filter/Belt |
| --- | --- | --- | --- | --- | --- | --- |
| Station #1 |  |  |  |  |  |  |
|  | Basement | Boiler | Lochinvar Knight XL | KBN801 | D11H10173815 |  |
| 1 | Basement | Air Handler | Trane | M-10 | K1A197705 | 16x25x2 |
|  |  |  |  |  |  | B-64 |
|  | Basement | Air Compressor | Johnson Controls | A5-105-101 |  | A-42 |
| P-1 | Basement | Pump | B&G |  | 1510 |  |
| P-2 | Basement | Pump | B&G |  | Series #60 |  |
|  | Basement | Air Dryer | Johnson Controls | A-421 |  |  |
| P-3 | Basement | Pump | B&G |  | 1510 |  |
|  | Outside | Chiller | Trane | RAUJC20FPBO3A00000T10 | C11F03510 |  |
|  |  | Furnace | Split air conditioner | Condenser on roof, air handler on ceiling |  | 20x20x1 |
| Station #2 |  |  |  |  |  |  |
|  |  | Furnace Heat Exchanger |  |  |  |  |
| Station #3 |  |  |  |  |  |  |
|  | Apparatus bay | 2 Stage unit heater | Modine | PDP150A |  |  |
|  | Living Qtrs. & Kitchen | 95% Efficient Furnace | Carrier |  |  |  |
|  | Upper Level | Evaporator Coil | Carrier | CNPVP3017 |  |  |
|  | Upper Level | Single phase condenser | Carrier | 24ACB33OAON3 13.0 |  |  |
|  | Office area | Ductless heat pump | Carrier | 38MAQB24R |  |  |
| Station #4 |  |  |  |  |  |  |
|  | Basement | Boiler | Burnham | V940A | 65196139 |  |
|  | Basement | Cond. Pump | Guardian | GS10-115/1 | 9804 |  |
|  |  | Heat Pump | Mitsubishi Mr. Slim |  | OAO211813B |  |
|  | 1 outside 4 outside | Split Heat Pump | Mitsubishi |  |  |  |
|  | Outside | Condenser |  |  | MXZ-8B48NA |  |
|  | Outside | Condenser |  | PUY-A18NHA4 |  |  |
|  | Inside | Evaporator |  |  | 01000194D |  |
|  | Inside | Evaporator |  | MFZ-KA18NA |  |  |
|  | Inside | Evaporator |  |  | 11000476B |  |
|  | Inside | Evaporator |  | MFZ-KA09NA |  |  |
|  | Inside | Evaporator |  |  | 11000469B |  |
|  | Inside | Evaporator |  | MFZ-KA09NA |  |  |
|  | Inside | Evaporator |  |  | 11000479B |  |
|  | Inside | Evaporator |  | MFZ-KA09NA |  |  |
|  | Inside | Unit Heater | Trane | GBND010 | F11E33419 |  |
|  | Inside | Unit Heater | Trane | GBND010 | F11E33418 |  |
| Station #5 |  |  |  |  |  |  |
|  |  | Furnace Heat Exchanger |  |  |  |  |
| Station #6 |  |  |  |  |  |  |
|  |  | Furnace Heat Exchanger |  |  |  |  |

Note: Station 4 has approximately 15 Steam Traps

Department of Public Works 	(DPW)

| Unit | Location | Equipment | Make | Model | Serial | Filter/Belt |
| --- | --- | --- | --- | --- | --- | --- |
| Administrative Building |  |  |  |  |  |  |
| AHU4 | Mezzanine 2nd floor | Air Make up | Modine | QR225A2D9706 |  | 24x24x2 |
|  |  |  |  |  |  | 12x24x2 |
|  |  |  |  |  |  | 24x24x12 |
|  |  |  |  |  |  | 12x24x12 |
| AHU5 | Mezzanine 2nd floor | Air Condition | Trane | M5P755A |  | 24x24x2 |
|  |  |  |  |  |  | 24x24x12 |
|  |  |  |  |  |  | 24x24x12 |
|  |  |  |  |  |  | SVX560 |
| AHU | Mezzanine 2nd floor | Air Make up | Modine | QR225AD9706 |  | 24x24x2 |
|  |  |  |  |  |  | 24x24x2 |
|  |  |  |  |  |  | 24x24x12 |
|  |  |  |  |  |  | 12x24x12 |
| B02 | Mezzanine 2nd floor | Boiler HW | Bryan | CL120W-125-G |  |  |
| B03 | Mezzanine 2nd floor | Boiler HW | Bryan | CL120W-125-G |  |  |
| WH2 | Mezzanine 2nd floor | Water Heater | Lochinvar | SNR201-100 | J13C20269937 |  |
|  | Telephone Room | Air Conditioner | EMI | WHP |  |  |
|  | NW Roof | Exhaust Fan | Greenheck |  |  |  |
|  | Middle Roof | Exhaust Fan | Greenheck |  |  |  |
|  | SW Roof | Exhaust Fan | Greenheck |  |  |  |
| B4 | Wash Bay NW Corner | Boiler HPHW | Raypac | H3-0724 |  |  |
| IH 1 | W Wall Truck Garage | Infrared Heater | Reznor |  |  |  |
| IH 2 | W Wall Truck Garage | Infrared Heater | Reznor |  |  |  |
| IH 3 | Wash Bay | Infrared Heater | Reznor |  |  |  |
| IH 4 | Wash Bay | Infrared Heater | Vantage II |  |  |  |
|  |  | AC Condenser | EMI | Small |  |  |
|  |  | AC Condenser | Trane | Large |  |  |
|  |  | 5 Fans | Hack |  |  |  |
|  |  | 5 Fans | Hack | Small |  |  |
| Fleet Services Building |  |  |  |  |  |  |
| AHU1 | Mezzanine 2nd floor | Air Make Up | Modine | QR222EBD6860 | 909 782-01 | 24x24x2 |
|  |  |  |  |  |  | 24x24x2 |
|  |  |  |  |  |  | 24x24x12 |
|  |  |  |  |  |  | 12x24x12 |
| AHU2 | Mezzanine 2nd floor | Air Make up | Modine | QR222EBD6860 | 90978-2 | 24x24x2 |
|  |  |  |  |  |  | 12x24x2 |
|  |  |  |  |  |  | 24x24x12 |
|  |  |  |  |  |  | 12x24x12 |
| AHU3 | Mezzanine 2nd floor | AC Unit | Trane | M5p 756A | K02G11670A | 24x24x2 |
|  |  |  |  |  |  | 24x24x12 |
|  | SW Roof | Exhaust Fan | Greenheck |  |  |  |
|  | N Roof | Exhaust Fan | Greenheck |  |  |  |
|  | Mezzanine 2nd floor | Exhaust Fan | Greenheck | GHCD120-18-AFSM |  |  |
| B1 | Mezzanine 2nd floor | Boiler HW | Bryan |  |  |  |
| WHI | Mezzanine 2nd floor | Water Heater | Lochinvar | CNA251-100-DF9 |  |  |
|  | Mower Shop | Unit Heater | Modine |  |  |  |
|  | Telephone Room | Air Conditioner | EMI | WHP |  |  |
|  | Keson Bldg | Heater | Modine |  | Clean Burners | No filters or belts |
|  |  | AC Condenser | EMI | Small |  |  |
|  |  | AC Condenser | Trane | Large |  |  |
|  |  | 2 Fans | Hack | Large |  |  |
|  |  | 14 Fans | Hack | Small |  |  |

NOTE:  DPW Facility will provide own filters and belts.  Boiler water testing shall not be included.

Kellogg Arena

| Unit | Location | Equipment | Make | Model | Serial | Filter/Belt |
| --- | --- | --- | --- | --- | --- | --- |
|  | Lower Roof | HVAC | Carrier | 48HJS007G-651RS |  |  |
|  | Lower Roof | HVAC | Carrier | 48TMM016G-611AA |  |  |
|  | Lower Roof | HVAC | Carrier | 48TMM016G-611AA |  |  |
|  | Lower Roof | HVAC | Carrier | 48TMM016G-611AA |  |  |
|  | Lower Roof | HVAC | Carrier | 48JS012GM-671RS |  |  |
|  | Lower Roof | HVAC | Carrier | 48HJS014G-661RS |  |  |
|  | Lower Roof | HVAC | Carrier | 48HJR012GM-671RS |  |  |
|  | Upper Roof | HVAC | Carrier | 48Z8L105N-L610AQ |  |  |
|  | Upper Roof | HVAC | Carrier | 48AKM030-DQ61HH |  |  |

Lakeview Water Building

| Unit | Location | Equipment | Make | Model | Serial | Filter/Belt |
| --- | --- | --- | --- | --- | --- | --- |
|  | NE corner | Gas Unit Heater | Modine | PA30SP | 05081031079 |  |
|  | Above Bathroom | Gas Unit Heater | Modine | PA105SF | 18011031079 |  |
|  | Small separate bay, west wall | Gas Unit Heater | Modine | PA75SF | 30011030180 |  |
|  | NW corner | Gas Unit Heater | Modine | PA105SF | 18011030180 |  |