EXHIBIT B

(SCOPE OF WORK)

The City of Hanahan will accept bids from interested and qualified South Carolina licensed contractors for normal and on-call HVAC and Mechanical maintenance services, including emergency work and repairs for units listed in EXHIBIT A; (Exhibit A is not complete with all details for each site; it is the basis for the work and the beginning of a database).

The successful HVAC and/or Mechanical Contractor(s) shall provide all materials, equipment and labor for HVAC and Mechanical services and repairs when required in various City of Hanahan locations (Refer to EXHIBIT A).

The equipment to be maintained is of various types of manufacturers and mfg date(s).  This service would be under an annual contract and would have the option for two (2) additional one-year renewal terms.

This specification is to implement a contractor developed system that performs all Periodic Inspections and Maintenance of heating, ventilation and air conditioning systems (HVAC) and Minor Work/repairs for designated facilities that are part of the City of Hanahan. The goal is to develop and foster a ''protective maintenance" approach for these facilities and not to have a "breakdown maintenance" process for city equipment.

Pricing provided shall include regular, overtime and holiday labor rates and the percentage mark- up on materials / supplies for such work. The vendor shall address the ability to work “After Hours” and to designate which days are considered holidays, and define a guaranteed response time.

The following to be included in the Scope of Work:

- Shall  maintain  and  service  all  equipment  described  herein  using  a  Journeyman  or equivalent technical level personnel.

- Shall notify The City of Hanahan and or Authorized Personnel anytime the successful bidder or representatives come on site. Shall not subcontract any of the work to any other company:

Must have a minimum of two certified Technicians. One is required to have at least 10 years of  refrigeration,  and/or  mechanical,  and  control  experience.  This  is  to  ensure  that  the City always has access to at least one of the certified technicians. Both technicians must have overall knowledge of all of the City's equipment. Both technicians shall be qualified to work on electrical systems.

- Must have a 24/7 on-call service availability for emergency calls or other type of outages with a 30 minute returned phone call response time, when required.

- Maintenance work or repairs shall be performed during the regular hours of 8:00 A.M. through  5:00  PM, Monday through Friday,  unless  specified  by  The City of Hanahan or  Authorized Representative.

  - Service inspections shall be posted for each piece of equipment

- A  record  log  of  maintenance  performed  for  City  shall  be  maintained  by  service personnel. This record shall contain only City sites and be made available for review upon request to the City of Hanahan or Authorized Representative.

- All filters shall meet the appropriate rating unless specified differently by The City of Hanahan or Authorized Representative.

- Successful  Bidder  shall  maintain  all  equipment  in  accordance  with  the  manufacturer's recommendation unless specified by The City of Hanahan or Authorized Representative.

- Must obtain prior authorization for repairs or other work outside the scope of preventive maintenance  work (monthly check/filter change).  A  quote  must  be  obtained  for  any  work  performed  outside  of  the successful bidder's normal maintenance scope of work. Phone call authorization requires a quote  over  the  phone  and  a  written  confirmation  after  the  work  has  been  completed.

Service Specifications and Frequencies

- Maintenance frequency is equipment dependent; however, monthly change out of filter(s) will shall be provided on a timely basis.

- The successful bidder will meet with the City Representative to set specific dates and times for the scheduled maintenance on a monthly basis or as needed.

- In the case of any needed repairs or upgrades, the successful bidder shall follow  manufacturers  recommendation  unless  specified  by  The City of Hanahan or Authorized Representative.