
                  ESCAMBIA COUNTY CDBG HOUSING REHABILITATION
	OWNER:
	Sandra F. Williams
	
	JOB #:
	C-R-2019-1

	ADDRESS:
	5901 Clearwater Avenue
	
	DATE PREPARED:
	12/11/2018

	
	Pensacola, Florida, 32505
	
	OPENING DATE:
	12/28/2018

	PHONE: 
	850-434-0600
	
	CLOSING DATE:
	01/11/2019

	
	
	
	CLOSING TIME:
	Noon


I/(we) certify that I/(we) have carefully examined the Housing Rehabilitation Specifications, Associated Lead Based Paint Specifications (if applicable), General Conditions and Insurance/Bid Requirements, and I/we have also examined the site on which proposed work is to be performed. On the basis of these examinations, I (we) propose to furnish all materials, tools, machinery and labor necessary to complete the work in a professional workmanship manner and to complete the work at the price listed. 

	$
	
	

	REHABILITATION COST
	
	CONTRACTOR’S SIGNATURE

	
	
	

	                    
	
	TITLE

	
	
	

	$
	
	FIRM

	TOTAL JOB COST
	
	

	
	
	FIRM PHONE NUMBER

	BID OPENING DATE:
	
	
	

	 FORMCHECKBOX 
 ACCEPTED
	 FORMCHECKBOX 
 REJECTED
	
	

	
	
	
	

	
	
	
	

	BID COMMITTEE REPRESENTATIVE
	
	



REQUIRED PERMITS AND INSPECTIONS: Plumbing, Electrical, Mechanical, Framing,  Windows and Doors

	Type of Construction:
	Masonry
	Outside Dimensions:
	30'x40'+23'x22'

	Home was built in 1959                                                   
	

	Living room:
	14'x15'x8'
	Bedroom 1:
	10’6”x10’ + cl8’x2’x8’

	Dining Room:
	14'x 9'4”x8'
	Bedroom 2:
	10’x11’6” + cl2'x4’6”x8'

	Kitchen:
	8’x10'x8'
	Bedroom 3:
	13’6”x10’ + cl7’x2’x8’

	Hallway:
	3'x16'4” + cl3’x1’x8'
	½ Bath:
	5’x4’6”x8’

	Full Bath
	5’x7'6”x8'
	Storage:
	22’6”x20’x8'

	Heater Closet:
	3’x2’x8’
	Laundry/utility:
	12’x6’x8'

	

	


       All measurements are for reference only and should be confirmed by the bidder
Mandatory on-Site Pre-Bid Conference: January 3, 2018 at 8:30 a.m.
                                               INSTRUCTIONS TO BIDDERS
Submit COVER SHEET AND ALL NUMBERED PAGES OF BID with signature of Contractor and bid price in ink. Specifications in pencil will be rejected.  Bids must be in a sealed envelope and hand-delivered to Neighborhood Enterprise Division Office, 221 Palafox Place (Ernie Lee Magaha Government Building), Suite 200, Pensacola, FL 32502 office by 12:00 noon at the closing date specified. NO email or fax submissions will be accepted. 

The bids will be opened by the Bid Committee and bid will be awarded based upon the lowest eligible bidder with the most reasonable combined bid for the work specified. Itemized pricing may be used for negotiation in the event of a change in the scope of work as described within the Specifications.

Labor, overhead, permits, insurance, and profit must be included into each itemized price and not listed as a separate itemized price or listed under “miscellaneous.” Non-compliance will result in rejection of bid.

All repair work performed must be inspected (rough and final) and conform to County Ordinances, State Laws, and Florida Building Code.

The Contractor is responsible for proper reattachment/hook-up of any/all of the following that apply: appliances, existing coaxial cable, telephone and interface, electric, water, and sewage.

HOMEOWNER’S RESPONSIBILITIES AND OBLIGATIONS
The Homeowner is responsible for maintaining existing utilities for the Contractor’s use during the rehabilitation period.

The Homeowner is responsible for the removal of all belongings/furnishings from the designated work areas prior to the start date.  The Contractor is not responsible for removal of Homeowner’s trash and/or discarded belongings or furnishings. Items left within the unit, which are to be removed/replaced by the Contractor become the property of the Contractor.
PAYMENT SCHEDULE
Payment will be lump sum at project completion for bids $15,000.00 and under.  For bids over $15,000.00, contractor will be eligible for a 40% draw once all required permit applications are in place and 50% of the work is completed as determined by the itemized costs for the job.
The Contractor will be eligible for Final Payment after the following conditions have been fulfilled:



Completion of Write-Up



Inspection/Sign-off by Building Inspections and/or Health Department



Acceptance by the Homeowner (Homeowner’s Release & Warranty) 
        Warranty packet for all covered items provided to NED Staff



Premises free from all construction debris



Submission of RRP Checklist Form & Contractor’s Final Affidavit


Original Invoice from Contractor
         Surety’s Consent to Final Payment if applicable
LEAD BASED PAINT (LBP)/RRP REQUIREMENTS

Abatement of LBP, at or above the LSHR hazardous level, will be performed by a certified Lead Abatement Contractor, with no rehab work to begin until the Abatement Contractor has achieved clearance.

The subject housing unit was built prior to 1978 and is therefore a “targeted property” under the EPA’s RRP rule, as some painted surfaces may be disturbed.  Therefore, “Safe work practices” is required along with submittal by the RRP Contractor of “Renovation Record-Keeping Checklist” form.
COMPLETION DATE

There is a SIXTY (60) day time limit on each rehabilitation job. For every day worked in excess of the SIXTY DAY contract period, a FIFTY DOLLAR ($50.00) per day penalty will be assessed.

A Notice to Proceed will be issued once the homeowner has vacated the property and will take into account LBP remediation to be performed by a certified Lead Abatement Contractor if applicable to the property.

ESCAMBIA COUNTY NEIGHBORHOOD ENTERPRISE DIVISION

HOUSING REPAIR PROGRAMS
CONTRACTOR REQUIREMENTS
If your firm is awarded the bid for housing repair (SHIP or HUD programs) the following items must be current and on file in order to issue a Purchase Order. 


*Current W9 (less than one year old)

*County Vendor Information sheet (less than one year old)

*Worker’s Compensation as required by State Law OR exemption form.


*Commercial General Liability ($1,000,000 coverage) listing Escambia County as Certificate Holder and 
additional insured. 

*Automobile Liability ($1,000,000 coverage) listing Escambia County as Certificate Holder and additional 
insured. 

GL and Auto Liability Certificates must state the following under the Additional Interest: 

                                                                 Escambia County

C/O Neighborhood Enterprise Division

221 Palafox Place, Suite 200

Pensacola, FL 32502-5844

All correspondence should be directed to Neighborhood Enterprise Division, 221 Palafox Place, Suite 200, Pensacola, FL 32502 for review.






*For jobs valued at $25,000 or higher, 100% Performance and Payment Bonds will be required. Performance and Payment Bond format will be provided.
Refer to BCC Office of Purchasing Risk Management Guidelines Procedure No: PP-180 (Performance and Payment Bonds) and PP-185 (Risk Management Guidelines) for further details. [http://www.myescambia.com/business/purchasing-policies-and-procedures]
Additionally, Neighborhood Enterprise Division will maintain the following info in the Contractor’s file:


*Contractor may not be federally debarred from participating in programs as per www.sam.gov 

*State registered or State Certified Contractor License

*Escambia County Competency Board License

*Escambia County Business/Occupational License 

*EPA RRP Renovator and Firm Certifications

Firms bidding on Lead Based Paint Abatement jobs must also submit proof of Lead Abatement firm certification.    

All information must be current at time of award. IF INFORMATION CANNOT BE PRODUCED IN A TIMELY MANNER, THE COUNTY RESERVES THE RIGHT TO AWARD THE BID TO THE NEXT 
MOST RESPONSIVE BIDDER.
                                                                                                                                                       CDBG Rehabilitation Program
Sandra F. Williams
5901 Clearwater Avenue
Pensacola, Florida, 32505
PAGE 1

GENERAL:  

· The subject Housing Unit was built prior to 1978 and therefore is a “targeted property” under the EPA’s RRP Rule, as some painted surfaces may be disturbed. Therefore, the implementation of “safe work practices” is required along with submittal by the RRP Contractor of “Renovation Record keeping Checklist” form. 

· Federal funds (Escambia County CDBG) are being used to renovate this property 

· Contracts will only be awarded to an EPA Certified Renovation firm with a Certified Renovator since the property was constructed prior to 1978. A copy of the firm’s certification must be submitted prior to entering contract with said contractor. 
· The Homeowner will have the following sample choices, where applicable:
· Gas range                                                                               1 choice

· Floor Covering Color                                                               1 choice

· Cabinet style and color                                                            1 choice 

· Counter top color                                                                     1 choice

· Interior Trim, Satin or Semi-Gloss Latex
                                1 choice

· Interior Walls, Eggshell Latex

                                             1 choice
MECHANICAL: 

Install new heat pump system with air handler using existing space in hall with new duct system and new registers and returns.                                                                                                                                  

Heater space may need to be modified to meet Escambia County Code.

Install disconnects at condenser and air handler as required by Escambia County Code.

Return air grill is to be removable filter type with filter installed.

Heater closet and new unit are to meet current Escambia County Code.

All units installed during rehabilitation must meet state energy efficiency rating guidelines.

Install a new digital thermostat control.    

All interior doors of heated rooms must have ½” clearance from top of finished floor covering to bottom of door for return air.

Mechanical Contractor to provide NED with a Manual J to support unit size installed.

Install new exhaust fan rated at a minimum of 70 CFM and Energy Star Qualified in both
bathrooms vented to the atmosphere as per Escambia County code.                                                           Install new dryer exhaust vented to the atmosphere as per Escambia County code.

Install new Broan 40000 series 30” vented range hood or equivalent with duct chase and vented to atmosphere as per Escambia County Code. Color to match existing appliances.  
Mechanical total $______________
CDBG Rehabilitation Program

Sandra F. Williams

5901 Clearwater Avenue

Pensacola, Florida, 32505

PAGE 2

ELECTRICAL:                                                                                                                          Remove existing electrical wiring and metal boxes. Re-wire total house to conform to the national electrical code as per Escambia County Electrical Inspection Department. This may require additional switches and outlets to be added if existing space does not meet code requirements. Does not include re-wire of solar equipment but, does include all connections as required for solar equipment.
Re-wire is not to begin until existing wiring and devices are removed and confirmed by NED staff. 

A new meter base/power pack and riser may be be required. Note home has solar panels and meter.                                                                                                                                       A new breaker panel will be required.
All smoke/carbon dioxide detectors shall be hardwired with battery back-up as required per
Escambia County Code.  
All receptacles, switches and cover plates shall be new devices.
All existing and new appliances will have new pigtails installed to match new receptacles.
Unit shall have 3 exterior receptacles, one on front and one on the back, consult homeowner for location. Install a 4-gang receptacle at fish pond.
In each light fixture install 60-watt equivalent led light bulbs. Install a light fixture at all locations where there is an existing light fixture, these may be new or existing fixtures.
Blocking for ceiling fans will be required and a separate switch is required to operate the fan and light kit at all locations where there are existing fans. If there aren’t any existing fans, the above-mentioned blocking and switches are to be installed in the bedrooms.
Install receptacle and switch for disposal. Homeowner to install disposal at a later date.
Install a new doorbell with a new button at front door.
Install 3 two bulb exterior motion activated flood lights, consult homeowner for location.
Install new lighting fixtures at the exterior entries as required by Escambia County Code.
Contractor is to allow a $500.00 lighting/fan allowance for the Homeowner. 

Smoke/CO2 detectors and light bulbs are not included in the lighting allowance.

Existing light fixtures and fans may be reset by agreement between Homeowner and Contractor if fixtures are in working and safe condition.                                                                                                                                  

A lighting allowance is a value placed upon the purchase of light fixtures selected by the Homeowner and to be installed by the Contractor in homes rehabilitated or reconstructed.                                                            The value placed upon these goods does not include sales tax or bulbs.                                                     The Contractor is responsible for the purchase and installation of LED bulbs 

(which are to be installed in each open socket) of the fixtures selected by the Homeowner.                           The Homeowner may utilize any recognized electrical material or construction material supplier of their choosing, as long as the fixture is “underwriters-laboratory” approved and labeled for the location it is to be placed. 
CDBG Rehabilitation Program

Sandra F. Williams

5901 Clearwater Avenue

Pensacola, Florida, 32505

PAGE 3

Note to Homeowner: If more than three (3) fans are selected for installation the  

homeowner will be responsible for any additional charges by the electrician for assembly        

and installation of the additional fans.                                  
Electrical total $_______________
PLUMBING: 
Replace fresh water supply lines going to fixtures and appliances, also to include 2 sill cocks on exterior of home as required as per Escambia County Code.

Main supply line from meter to house is to be replaced if required with 160 psi PVC pipe.                        Replace existing gas water heater with a on demand gas water heater as per Escambia County Code that meets Florida Energy Efficiency Rating.

Install new washer box as per Escambia County Code.

Install new ice maker line and box as per Escambia County Code.

Install 2 new comfort height American Standard 1.28-GPF toilet model Champion 4 in white or Delta 1.28-GPF toilet model Riosa in white or equivalent with new seats.                                                                                                                                  Install 2 new Delta vanity sink faucets with pop up drains model 520-MPU-DST or equivalent.

Install a shower with surround model Aquatic Bath model 160344PS in white or equivalent.                                                          
NOTE: shower should have grab bar aging in place.                                                                                                                                                                                                                                                                            
Install 1 new Delta shower faucet with valve model T13220 or equivalent.
Install a new double bowl stainless steel sink with minimum 7” deep bowls.                                                                                                                                            Install a new Delta kitchen faucet with sprayer model 400-DST or equivalent.                                                                                              Install new all metal Stainless steel sink baskets with strainers.                                                  

Install all new ¼ turn brass valves as required per Escambia County Code. 

Install all new drain assemblies from fixtures to waste.

Install new braided supply lines to toilets, vanities and kitchen sink.
Plumbing total $_______________

DINING AREA:

Remove existing wallpaper, repair drywall and texture to match surrounding area.

Repair framing and install insulation, drywall and texture to match surrounding area on wall between dining and storage area.
Replace entry door unit with metal clad insulated 6 panel colonial door unit

with threshold, weather stripping and trim from dining to storage area.
Install new dead bolt and lock sets that are keyed alike on new door unit.
Dining area total $_______________
CDBG Rehabilitation Program

Sandra F. Williams

5901 Clearwater Avenue

Pensacola, Florida, 32505

PAGE 4

KITCHEN:
Remove existing drywall on walls, frame area where refrigerator is located, install insulation on exterior wall and re-locate refrigerator to original space.
Install drywall on walls and texture to match surrounding area.
Remove existing ceiling vent and repair drywall and texture to match surrounding area.

Install a new gas range, there will be a $500.00 allowance on the range. The allowance does not include tax, delivery, a new gas supply line or installation. Color to match existing appliances.
Kitchen total $_____________

HALLWAY:

Install 1 interior 6 panel colonial door unit complete with trim and lockset that matches style of existing throughout home.
Install new 6 panel colonial heater closet door unit with trim and lockset that matches style of existing throughout home.

Hallway total $_______________

WATER HEATER CLOSET:
Convert existing water heater closet to new heater space, note the water heater will be relocated to the exterior. This is to include all items needed to install the new HVAC system to meet Escambia County Code. This may include expanding the space to meet clearance as required by Escambia County Code.
Water heater closet total $_____________

HALL BATH:
Remove existing ceramic tub surround, towel bar and base.

Install 1 interior 6 panel colonial door unit complete with trim and lockset that matches style of existing throughout home.

Install wood base to match existing throughout home.

Install new mirror above vanity.

Install towel bar, shower rod and toilet paper holder.

Hall bath total $_____________

CDBG Rehabilitation Program

Sandra F. Williams

5901 Clearwater Avenue

Pensacola, Florida, 32505

PAGE 5

BEDROOM 1:
Remove heater, air handler, all electrical and gas piping from closet area, repair drywall and texture to match surrounding area.
Install closet shelf, rod, brackets and base to match existing throughout home.

Install 1 interior 6 panel colonial door unit complete with trim and lockset that matches style of existing throughout home.

Install bi-pass door floor guide at closet doors.

Bedroom 1 total $_____________

BEDROOM 2:
Install bi-pass door set with floor guide to match existing throughout home.

Install 1 interior 6 panel colonial door unit complete with trim and lockset that matches style of existing throughout home.

Bedroom 2 total $_____________
BEDROOM 3:
Install 1 interior 6 panel colonial door unit complete with trim and lockset that matches style of existing throughout home.

Bedroom 3 total $_____________

HALF BATH:
Remove existing ceiling heater and repair drywall and texture to match surrounding area.

Remove existing ceramic towel bar and base.

Install 1 interior 6 panel colonial door unit complete with trim and lockset that matches style of existing throughout home.

Install wood base to match existing throughout home.

Install new mirror above vanity.

Half bath total $_____________

CDBG Rehabilitation Program

Sandra F. Williams

5901 Clearwater Avenue

Pensacola, Florida, 32505

PAGE 6

INTERIOR TRIM AND CASEMENT WORK:
Install all missing and damaged wood base, ceiling molding and case work to match existing throughout home excluding storage.
Remove ceramic window stools and install wood stools and aprons throughout home (excluding windows in storage and laundry).

Interior trim and casement work total $_____________ 

CABINETRY:
Remove upper and lower cabinets in kitchen, vanities in bathrooms and dispose.                  

Install approximately 31 linear feet of upper and lower cabinets with at least 1 drawer stack. 

Install approximately 21 linear feet of new standard grade post formed counter top with an incorporated back splash and end splashes in kitchen. Homeowner is to select color of top.

Install 2 new 24” vanities with cultured marble top with integrated sink.                                                              Cabinets and vanities are be of like, kind and quality as example below.                                                                                    

Cabinets and vanities will be stained and finished or painted with the homeowner selecting the color.

Install knobs and pulls on new cabinets and vanities with the homeowner selecting the style.     

Cabinetry will be constructed of plywood with ½” plywood top, bottom and sides. 

Back is to be of 3/16” plywood with ½” hanger rails. Toe kick is ½” plywood. Stile and rails will be of solid wood. Doors can be plywood construction and drawer fronts solid wood.
Cabinetry total $_______________
INTERIOR WALLS:                                                                                                                       

Repair all wall surfaces that are damaged due to code up-grades and existing surfaces that are damaged or incomplete. Repaired areas are to match as close as possible to existing then prep and prime, excluding storage area.

Interior wall repairs and prep work total $______________
INTERIOR CEILINGS:
Repair all ceiling surfaces that are damaged due to code up-grades and existing surfaces that are 

damaged or incomplete. Repaired areas are to match as close as possible to existing then prep and prime, excluding storage area.

Interior ceiling repair and prep work total $_______________
CDBG Rehabilitation Program

Sandra F. Williams

5901 Clearwater Avenue

Pensacola, Florida, 32505

PAGE 7

INTERIOR PAINTING:
Painting of the interior of the house is to include all walls, trim, openings, doors and ceilings (all painted surfaces). Walls will be one color in all rooms and will have a latex egg shell finish and the woodwork may be a contrasting color with a latex satin or semi-gloss finish. Colors are to be selected by Homeowner.   

Ceilings are to be white.                                                                                                                       All rooms including closets are to be painted (excluding storage and laundry). 
Interior painting total $______________
WINDOWS AND EXTERIOR DOORS:
There are nine (9) existing openings with windows that are to be replaced with new retrofit custom windows (windows that are built specifically to fit existing openings).                               
The new windows are to be vinyl framed, insulated (double glazed) single hung window units with low E glazing fitted with screens.                                                                                                      New windows are to match existing living room windows in style and color as close as possible. 

Windows in the bedrooms are to meet egress requirements as per Escambia County Code. 
Replace four (4) entry door units with metal clad insulated 6 panel colonial door units

with thresholds, weather stripping and trim on all units.

At least 1 of the doors will need to be hurricane rated.
Install new dead bolt and lock sets that are keyed alike on all new exterior door units. 

Paint exterior of new door units white with exterior grade paint. 

Install hurricane protection on windows and doors as per Escambia County Code.

Protection can be the metal or fabric type.

Window and door total $_____________
FLOOR COVERING:
Prep floor and install VCT tile throughout. Does not include storage area or laundry.

Install shoe or 1/4 round throughout. Does not include storage area or laundry.
Floor covering total $______________
REAR ELEVATION:
Remove and reframe wall at rear entrance with proper flashing at bottom plate. Repair roof leak where flat roof meets main roof. Repair beam casing and install sheathing, house wrap and T-111 siding with required trim. Paint wall and beam casing to match existing surrounding area as close as possible.
Rear elevation total $______________
CDBG Rehabilitation Program

Sandra F. Williams

5901 Clearwater Avenue

Pensacola, Florida, 32505

PAGE 8
RIGHT ELEVATION:
Repair Cornish System at masonry wing wall.
Paint to match surrounding area as close as possible.
Right elevation total $______________
TOTAL REHABILITATION COST: 










$_______________________  














                                            
          (TO FRONT COVER)
