Nordhoff High School Campus Wide Painting

2020-1730

Addendum 1 (Job Walk 8/28/20

- How long do we have to complete and when do we start?

  - Per contract 60 calendar days from Notice to Proceed

  - Intent is to open bids on 9/3/20 and submit for board approval at meeting of 9/9/20

  - Work to commence as soon as possible after Notice to Proceed is issued

- Where can we find the drawings like you have on site for the job walk?

  - These are posted on the vendor registry / website

- How do you want dry rot treated on the eaves? (Building A reference)

  - Prep and patch with epoxy treatment

  - Add a cost per Sq. Ft. to the Unit Cost form

- Who will cut back the foliage near the building to allow for painting access?

  - This is the contractor’s responsibility

  - The rear patio and trellis at the Admin building will be cleared by the district

- How do we treat the B Building Mural on the West wall?

  - Protect in place and paint around this.

  - Alternate bid to paint solid and replace with a decal of the same art.

- What about the “D” that is partially damaged on that building?

  - The district will replace the letter, contractor to paint and install

- West side of the “F” building…lockers.  Do they get removed by the contractor?

  - At the ends of the F building and C building there are lockers that do NOT need to be removed and can be painted in place.  Protect the latch mechanism.

  - Other areas of lockers that are more easily moved such as the A building (typical) the lockers are to be removed, walls painted, lockers painted and reinstalled on the walls.  Protect locking mechanism.

- Do we replace the signs?

  - Yes.  Contractor is responsible to remove signage, paint behind them, reinstall existing signs where the condition is near new.  Replace signs that are damaged, rusting, or otherwise ugly with new signs by contactor.

  - Room number signs should be removed, paint behind, paint the signs per spec and paint the letters a contrasting color per spec.

- Door Swings – are they to be repainted?

  - Yes.  Per spec, the door swings throughout the campus get repainted with white paint (Typical)

- Do we remove the light fixtures for painting?  Do we need an electrician to do that?

  - Yes.  Per spec, light fixtures are to be removed with ceilings / walls painted behind and reinstalled. (typical)

  - No. an electrician is not required for fixture removal and replacement.  We do not anticipate electrical disconnection to achieve the painting.

- Are the speakers to be removed for painting behind them or are they considered under the conduits and cabinets?

  - They are typically a painted fixture that would be considered a cabinet for painting purposes.

- Are the door knobs to be removed for painting?

  - Not necessary as long as the paint cut in is cleanly done.  Where previous painters may have overlapped the metal this paint should be removed to provide a clean edge

- Do the door frames get painted?

  - Yes. To the inside edge of the jamb as typical

- Does the inside of the door get painted?

  - No.  The exterior paint only

- Do we remove the fire alarms for painting behind and reinstall?

  - No…protect in place and paint to edges

- Why are there no downspouts on building F?

  - The existing gutters on the North and South sides of the F building are to be removed and demolished by others.  The fascia board is then painted per plan

- Some window frames are aluminum and some galvanized throughout the campus.  Do these get painted?

  - Care was taken to identify the galvanized metal window frames on the plans.  These window frames DO get painted.

  - Aluminum window frames are NOT painted (typical)

- Building H, East side has cabinets in the corridor.  Do these get moved for painting?  Who moves them?  Will they be emptied by the district?

  - One cabinet can stay for painting in place.  This cabinet is plumbed with a copper line that makes removal too difficult to move it.

  - The remaining cabinets are easily moved and should be for painting.

  - The contractor is responsible for moving the cabinets including any items stored inside

- The container at the H building kiln area…does it get painted?

  - Yes. This container is painted.

  - Patch open holes as part of the prep before painting.

  - Include painting the roll-up doors.

- On the North side of the I building there are damaged wooden fascia boards on the windows.  Do these get replaced?

  - Yes.  Please plan to replace these boards on the North side.  The other sides seem o.k. and do not need replacement.

- There is a building behind the I building (electrical) not shown on the plans.  Does this get painted?  Striped?

  - Yes. On painting.  No on stripes.

- Wooden benches (typical) are they painted?  What about prep?

  - These do get resurfaced and painted.

  - The contractor to provide a bid alternate to replace the boards and paint as new.

- Do we replace the damaged wall panel on the exterior of the I building (SW corner)?

  - Yes. This needs to be replaced

- Does the container behind the Gym get painted?

  - No

- What about the murals and painting on the front of the gym?

  - See A 111, Keynote 36

- Do we paint the roof of the maintenance building (K)?

  - No

- What happens on the stripe at the pool equipment building?

  - The entire building gets a stripe.  Final location TBD

- H building – What about the doors?

  - There will be newly installed doors by the district.

  - Contractor to paint the new doors

- Admin building – Mural on SW side.  How do we treat this?

  - Protect in place

- Science wing – Aluminum exterior lighting.  Is this painted?

  - No.  Aluminum lighting fixtures are protect in place

  - Yes, paint fixtures at the admin building where they were previously painted.

- Science wing – Doors are currently blue and jams gray.  Do we do this again?

  - No.  Doors and jambs to be blue

- Is this a prevailing wage job?

  - Yes

- Do we need payment bond and performance bond?

  - A bid bond is required to be submitted with your bid.

  - Only the winning bidder will be expected to provide both a performance and payment bond

- What are the specifications for the desired paint manufacturer?

  - Stucco, Wood, & galvanized mullions- Dunn-Edwards Evershield or equivalent.

  - Doors- Dunn-Edwards Aristoshield or equivalent.

  - Project specs will be amended as per a. and b. above.

  - Submittals will be needed

- What about the ‘allowance’

  - This is an amount ($ 15,000) held in reserve for use against damage and repairs that may be uncovered during the painting prep etc.  The amount should be included in the total bid price.  It will be used in full or in partial for extras as needed.  Any unused allowance will be credited to the district

- Please list the documents required to be included with the bid proposal.

  - The formal bid documents (pages 18 and 19) which are also pages 1 & 2 of the contract, show highlighted forms that should be submitted with the bid.  The district, in its sole discretion by allow or disallow a bid based upon the completeness of these forms and their inclusion.

- The bid form shows the wrong project and does not include alternate items shown on the plans.

  - This has been corrected and a new bid form ‘Unit Prices’ document added to the registry.

- What class of contractors may bid and what about C-33 only providing services from other trades.

  - We have determined that a Building B with C-33 or a Stand alone C-33 is sufficient and we will consider their bids.  The argument that a C-33 is not allowed to sub work out may be valid, but the scope of fascia repair, light fixture removal and replacement, locker and cabinet removal and replacement falls within the scope of paint prep work and should not require another trade per se.

- What is our responsibility for Lead testing and removal of lead containing particles?

  - The district has done campus wide testing for lead containing paint.  There are a few places where minimal levels of lead were found, but for the most part, the campus is very clean of lead containing products.  Areas of concern were primarily on the older fascia boards.

  - Treatment for lead paint chip removal should follow prescribed legal disposal methods.  We do not expect this to be a significant issue.

  - District provide Lead report is in progress and will be posted asap

  - Cost for lead residue removal in excess of $ 2,000 may be applied against the project allowance.