Notes on Addendum 9/1/20 re: bid for NHS Campus Wide Painting

- Added General Note #6 on A sheets regarding exact sign scope.

- Added striping to Building P / A-113.

- Added restroom sign detail on A-002 and added the detail reference to the door symbol on each A sheet.

- Replace panel at Building I / A-109.

- A-002 paint spec:

  - Revised workmanship to include spray painting/back rolling of walls and ceilings only.  Doors/frames/windows and other work to be rolled/brushed.

  - The paint schedule table was revised to include Evershield and Aristoshield.  To keep the bids competitive, I researched the other manufacturers and added comparable products so that there is apples-to-apples bidding.

  - I added an asterisk and note to Table 1 of the paint schedules.  Unpainted items will be primed and painted 2 coats per the table.  To try and help avoid conflicts with the specs, we removed “prime” on the sheet keynotes throughout the A sheets.