{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["S32D_Bid_Tab"],"not_rendered":{"defined_names":1,"comments":2},"read":"whole","date_system":"1900"}

{"sheet":"S32D_Bid_Tab","index":0,"n_rows":122,"n_cols":9,"rows_kept":122,"merged":[[0,0,0,8],[1,0,1,8],[2,3,2,8],[3,0,3,8],[4,3,4,8],[5,3,5,8],[115,5,115,6],[115,7,115,8],[116,7,116,8],[117,7,117,8],[118,7,118,8],[121,5,121,7]]}
["Attachment- H - PRICE SCHEDULE"]
["SUBMIT AN ORIGINAL SIGNED BID FORM AND ONE COPY"]
[{"$nulls":3},"BID ITEMS BELOW CORRESPOND TO PLANS ASSOCIATED WITH S32D ONLY"]
["THE UNDERSIGNED CERTIFIES THAT (CONTRACTOR NAME)___________________________\nIS CURRENTLY REGISTERED WITH THE VIRGINIA STATE BOARD OF CONTRACTORS AS REQUIRED BY THE CODE OF VIRGINIA.  CERTIFICATE NUMBER _________________ WAS ISSUED ON THE ________DAY OF _____________, 20____.  THE UNDERSIGNED FURTHER CERTIFIES THAT THE REGISTRATION FEE AND ALL RENEWAL FEES REQUIRED UNDER LAW HAVE BEEN PAID.  THE CONTRACTOR AGREES TO FURNISH ALL NECESSARY LABOR, EQUIPMENT, MATERIALS, AND ALL THINGS NECESSARY TO PERFORM THE WORK AS SET FORTH IN ACCORDANCE WITH THE PLANS AND SPECIFICATIONS. THE CONTRACTOR AGREES TO PERFORM RELATED WORK FOR THE FOLLOWING ITEMS AT THE FOLLOWING STIPULATED PRICES: (ALL PRICES INCLUDE PROVISION AND INSTALLATION)."]
[{"$nulls":3},"BIDDERS SHALL PROVIDE THEIR BID PRICES IN THE CELLS HIGHLIGHTED IN BLUE BELOW.  BIDDERS SHALL INCLUDE A BID PRICE FOR ALL ITEMS. FAILURE TO PROVIDE A PRICE FOR ALL ITEMS, OR ANY MODIFICATIONS OR ADDITIONS TO THE BID FORM MAY RESULT IN BID REJECTION.  LOW BID DETERMINATION WILL BE MADE BASED ON THE SUM OF THE \"TOTAL CONTRACT WORK\""]
[{"$nulls":3},"BASE BID WORK"]
[{"$nulls":3},"MASTER ID#","   DESCRIPTION","QTY","UNIT","UNIT\nPRICE","TOTAL"]
["02200","C1","1",null,"C1. GENERAL EARTH WORK"]
[{"$nulls":3},"02200-C1","Clearing and Grubbing",1.64,"AC",null,{"$f":"F9*H9","v":{"v":0,"d":"$0.00"}}]
[{"$nulls":3},"02200-","Excavation",4625,"CY",null,{"$f":"F10*H10","v":{"v":0,"d":"$0.00"}}]
[{"$nulls":3},"02200-","Haul-off of Unsuitable Material",2435,"CY"]
[{"$nulls":3},"02221-","Imported Structural Streambed Material",1757,"TON",null,{"v":0,"d":"$0.00"}]
[{"$nulls":3},"02223-","Step Pool Structure Rock",1858,"TON",null,{"v":0,"d":"$0.00"}]
[{"$nulls":3},"02224-","Step Run Structure Rock",1359,"TON",null,{"v":0,"d":"$0.00"}]
[{"$nulls":3},"02225-","Plunge Pool Structure Rock",125,"TON",null,{"v":0,"d":"$0.00"}]
[{"$nulls":4},"Apron Rock at Stormpipe Outfalls",56,"TON",null,{"v":0,"d":"$0.00"}]
[{"$nulls":3},"02226-","Boulder Crossing",50,"TON",null,{"v":0,"d":"$0.00"}]
[{"$nulls":3},"02210-C1-00170","Riprap, Dry Class I",6,"SY",null,{"v":0,"d":"$0.00"}]
[{"$nulls":4},"Headwall/Endwall Stacked Stone for Pipes",8,"CY",null,{"v":0,"d":"$0.00"}]
[{"$nulls":4},"Stack Stone Stream BMP Wall",638,"TON",null,{"v":0,"d":"$0.00"}]
["02750","C2","2"]
["02750","C2","3",{"$nulls":4},"SUBTOTAL",{"$f":"SUM(I9:I20)","v":{"v":0,"d":"$0.00"}}]
["02750","C2","4",null,"C2. CONCRETE WORK"]
[]
[]
["02600","C3","8",{"$nulls":4},"SUBTOTAL",{"$f":"SUM(#REF!)","v":{"$error":"#REF!"}}]
["02600","C3","9",null,"C3. ASPHALT WORK"]
[{"$nulls":3},"02600-C3-00060","Asphalt Concrete, Surface Course (VDOT SM-9.5D) - temporary sidewalk",1,"TON",null,{"$f":"F28*H28","v":{"v":0,"d":"$0.00"}}]
[{"$nulls":4},"Stone Dust Path (includes all components)",1736,"SF",null,{"$f":"F29*H29","v":{"v":0,"d":"$0.00"}}]
["02550","C4","11"]
["02550","C4","12",{"$nulls":4},"SUBTOTAL",{"$f":"SUM(#REF!)","v":{"$error":"#REF!"}}]
["02550","C4","13",null,"C4. STORM SEWER UTILITY WORK"]
[{"$nulls":3},"02500-C4","8\" Pipe, HDPE, In Place Up to 6' Deep",87,"LF",null,{"$f":"F33*H33","v":{"v":0,"d":"$0.00"}}]
["02550","C4","68","02500-C4-01190","12\" Pipe, HDPE, In Place Up to 6' Deep",48,"LF",null,{"$f":"F34*H34","v":{"v":0,"d":"$0.00"}}]
[{"$nulls":3},"02500-C4","15\" Pipe, HDPE, In Place Up to 6' Deep",115,"LF",null,{"v":0,"d":"$0.00"}]
[{"$nulls":3},"02500-C4-01250","18\" Pipe, HDPE, In Place Up to 6' Deep",10,"LF",null,{"v":0,"d":"$0.00"}]
[{"$nulls":3},"02550-C4-01912","48\" Pipe, HDPE, In Place Up to 6' Deep",60,"LF",null,{"v":0,"d":"$0.00"}]
[{"$nulls":3},"02500-C4-02510","Standard Endwall for pipe culverts 48\" circular (VDOT standard EW-2)",1,"EA",null,{"v":0,"d":"$0.00"}]
[{"$nulls":4},"8deg Bend Structure (see plans)",1,"EA",null,{"v":0,"d":"$0.00"}]
[{"$nulls":3},"02505-C4-00010","Storm Manhole MH-1 (Arlington County Detail D-3.0), In Place, DEPTH   8'",4,"EA",null,{"v":0,"d":"$0.00"}]
[{"$nulls":3},"02550-C4-00620","15\" Pipe, RCP Class III, In Place Up to 6' Deep",16,"LF",null,{"v":0,"d":"$0.00"}]
["02550","C6","21"]
["02550","C6","22",{"$nulls":4},"SUBTOTAL",{"$f":"SUM(I34:I41)","v":{"v":0,"d":"$0.00"}}]
["02550","C6","23",null,"C5. GUARDRAIL"]
["02550","C6","35"]
["02550","C6","36",{"$nulls":4},"SUBTOTAL",{"$f":"SUM(I45)","v":{"v":0,"d":"$0.00"}}]
["02550","C6","37",null,"C6. WATERMAIN WORK"]
["13160","C8","5"]
["13160","C8","6",{"$nulls":4},"SUBTOTAL",{"$f":"SUM(I48:I48)","v":{"v":0,"d":"$0.00"}}]
["13160","C8","7",null,"C7. SANITARY SEWER WORK "]
["13160","C8","40"]
["13160","C8","41",{"$nulls":4},"SUBTOTAL",{"$f":"SUM(I110:I110)","v":{"v":0,"d":"$0.00"}}]
["13160","C8","42",null,"C8. TRAFFIC SIGNAL WORK"]
["02900","C10","10"]
["02900","C10","11",{"$nulls":4},"SUBTOTAL",{"$f":"SUM(#REF!)","v":{"$error":"#REF!"}}]
["02900","C10","12",null,"C9. STREET LIGHTING WORK"]
["02800","C11","2"]
["02800","C11","3",{"$nulls":4},"SUBTOTAL",{"$f":"SUM(I57)","v":{"v":0,"d":"$0.00"}}]
["02801","C11","4",null,"C10. PAVEMENT MARKING AND SIGNAGE WORK "]
["13130","C12","13"]
["13130","C12","14",{"$nulls":4},"SUBTOTAL",{"$f":"SUM(#REF!)","v":{"$error":"#REF!"}}]
["13130","C12","15",null,"C11. LANDSCAPE AND HARDSCAPE RESTORATION WORK"]
[{"$nulls":4},"Topsoil",5420,"SY",null,{"$f":"F63*H63","v":{"v":0,"d":"$0.00"}}]
[{"$nulls":3},"02801-C11-00040","Shredded hardwood mulch; Aged 6 months minimum - Free of Trash & Debris",20,"CY",null,{"v":0,"d":"$0.00"}]
[{"$nulls":3},"02800-C11-01000","Herbaceous plants ( 3\" Deep plug Minimum)",2096,"EA",null,{"v":0,"d":"$0.00"}]
[{"$nulls":4},"Seed Mix (Steep Slope - see Construction Plan)",1896,"SY",null,{"v":0,"d":"$0.00"}]
[{"$nulls":4},"Seed Mix (Streamside/Floodplain - see Construction Plan)",1456,"SY",null,{"v":0,"d":"$0.00"}]
[{"$nulls":4},"Seed Mix (Upland - see Construction Plan)",2106,"SY",null,{"v":0,"d":"$0.00"}]
[{"$nulls":4},"Seed Mix (Turfgrass - see Construction Plan)",615,"SY",null,{"v":0,"d":"$0.00"}]
[{"$nulls":4},"Seed Mix (Temporary Stabilization - see Construction Plan)",5575,"SY",null,{"v":0,"d":"$0.00"}]
[{"$nulls":4},"Live Stakes (See Plan for species)",200,"EA",null,{"v":0,"d":"$0.00"}]
[{"$nulls":3},"02800-C11-01100","Shrub (#3 container) - Container or B&B",188,"EA",null,{"v":0,"d":"$0.00"}]
[{"$nulls":4},"Invasive Species Control",1.64,"AC",null,{"v":0,"d":"$0.00"}]
[{"$nulls":3},"02800-C11-00606","Trees, Deciduous -4'-6' in height",87,"EA",null,{"v":0,"d":"$0.00"}]
[{"$nulls":3},"02800-C11-00600","Trees, Deciduous - 0.75 to 1.0\" caliper",360,"EA",null,{"v":0,"d":"$0.00"}]
[{"$nulls":3},"02800-C11-00602","Trees, Deciduous - 1.5 to 2.0\" caliper",3,"EA"]
[{"$nulls":4},"Jimmy Rail Fence",151,"LF",null,{"$f":"F76*H77","v":{"v":0,"d":"$0.00"}}]
["01500","C13","4",null,"Post-Construction Vegetation Maintenance",1,"LS",null,{"$f":"F78*H78","v":{"v":0,"d":"$0.00"}}]
["01000","C15","38"]
["01000","C15","39",{"$nulls":4},"SUBTOTAL",{"$f":"SUM(I65:I77)","v":{"v":0,"d":"$0.00"}}]
["01000","C15","40",null,"C12. BUS STOP SHELTERS AND FURNISHINGS"]
["02611","M1","16"]
["03100","M1","17",{"$nulls":4},"SUBTOTAL",{"$f":"SUM(#REF!)","v":{"$error":"#REF!"}}]
["03100","M1","18",null,"C13. EROSION AND SEDIMENT CONTROL WORK"]
[{"$nulls":4},"Temporary Stone Construction Entrance",3,"EA",null,{"$f":"F85*H85","v":{"v":0,"d":"$0.00"}}]
[{"$nulls":4},"Trunk Wrap",17,"EA"]
[{"$nulls":4},"Storm Drain Inlet Protection, Gravel & Wire Mesh Drop Inlet Application (per Virginia Erosion & Sediment Control Handbook Standard & Specification 3.07)",2,"EA"]
[{"$nulls":4},"Flexible HDPE for Temporary Slope Drains",125,"LF"]
[{"$nulls":3},"01500-C13-00130","4' Chain Link Tree Protection Fence (per Arlington County DPR Standard 02231.2)",341,"LF",null,{"v":0,"d":"$0.00"}]
[{"$nulls":3},"311300-C11-00084","Root Protection Matting",5000,"SF",null,{"v":0,"d":"$0.00"}]
[{"$nulls":4},"Pump Around Diversion",120,"DAY",null,{"v":0,"d":"$0.00"}]
[{"$nulls":3},"01500-C13-00150","Root Pruning (per Arlington County DPR Standard 02231.5)",1000,"LF",null,{"v":0,"d":"$0.00"}]
[{"$nulls":4},"Geotextile Fabric, non-woven (for placement above outfall pipes)",33,"SY",null,{"v":0,"d":"$0.00"}]
[{"$nulls":4},"Erosion Control Matting",4227,"SY",null,{"v":0,"d":"$0.00"}]
[{"$nulls":4},"Temporary Vehicle Crossing",1,"EA",null,{"v":0,"d":"$0.00"}]
[{"$nulls":4},"Safety Fencing",859,"LF",null,{"v":0,"d":"$0.00"}]
[{"$nulls":3},"01500-SA-00200","SWPPP Administration",1,"LS",null,{"$f":"F97*H97","v":{"v":0,"d":"$0.00"}}]
[]
[{"$nulls":7},"SUBTOTAL",{"$f":"SUM(I85:I97)","v":{"v":0,"d":"$0.00"}}]
[{"$nulls":4},"C15. UNLISTED WORK"]
[{"$nulls":4},"Construction Survey",1,"LS"]
[{"$nulls":4},"As-Built Survey",1,"LS"]
[]
[{"$nulls":7},"SUBTOTAL",{"$f":"SUM(I102)","v":{"v":0,"d":"$0.00"}}]
[{"$nulls":4},"C17. STORMWATER WORK "]
[]
[{"$nulls":7},"SUBTOTAL",{"$f":"SUM(I106:I106)","v":{"v":0,"d":"$0.00"}}]
[{"$nulls":4},"C18. ADD ALTERNATE WORK"]
[{"$nulls":4},"Sanitary Sewer House Lateral - concrete encasement",20,"LF",null,{"$f":"F109*H109","v":{"v":0,"d":"$0.00"}}]
[{"$nulls":3},"02510-C7-00270","Sanitary Sewer House Lateral",20,"LF",null,{"$f":"F110*H110","v":{"v":0,"d":"$0.00"}}]
[]
[{"$nulls":7},"SUBTOTAL",{"$f":"SUM(I111:I111)","v":{"v":0,"d":"$0.00"}}]
[]
[{"$nulls":7},"CONTRACT TOTAL (EXCLUDING PERCENTAGE ITEMS)",{"$f":"SUM(I22,I26,I31,I43,I46,I49,I52,I55,I58,I61,I80,I83,I99,I104,I107)","v":{"$error":"#REF!"}}]
[]
[{"$nulls":4},"PERCENTAGE LINE ITEMS","BID PERCENTAGE",null,"TOTAL PRICE"]
[{"$nulls":3},"01000-C16-00010","Maintenance of Traffic (MOT) ",5,"%",{"$f":"$I$114*F117/100","v":{"$error":"#REF!"}}]
[{"$nulls":3},"01000-C16-00030","Mobilization and De-Mobilization",5,"%",{"$f":"$I$114*F118/100","v":{"$error":"#REF!"}}]
[]
[{"$nulls":7},"PERCENTAGE LINE ITEMS SUBTOTAL",{"$f":"SUM(H117:I119)","v":{"$error":"#REF!"}}]
[]
[{"$nulls":5},"GRAND TOTAL ",null,null,{"$f":"I114+I120","v":{"$error":"#REF!"}}]