City of Lebanon

Request for Proposal

RFP # 18-VALVE REPLACEMENT 05/30
*City of Lebanon reserves the right to reject all or any part of any RFP*

The City of Lebanon is exempt from State Tax and Federal Exercise Tax.

NO PROPOSALS RECEIVED AFTER CLOSING WILL BE ACCEPTED.

The City of Lebanon invites sealed proposals for a valve replacement for the Water Plant, in accordance with the specifications and bidding instructions set forth in this Request for Proposal. Proposals will be received by the Purchasing Department, 200 N. Castle Heights Avenue, Lebanon, Tennessee 37087, until 10:00 a.m. local time, May 30, 2018, at which time they will be opened and read aloud.

Please identify as a sealed proposal with stamped on the outside of the envelope RFP #18-VALVE REPLACEMENT 05/30”

Any questions in regard to this proposal should be directed to Lisa Lane, Purchasing Agent, (615) 443-2802.

A copy of the bid tabulation will be available upon written request to the Purchasing Department.

Any manufacturers’ names, trade names, brand names, or catalog numbers used in the specifications are for the purpose of describing and establishing general quality levels.  Such references are not intended to be restrictive.  Since the “City” does not wish to rule out other competition and equal brands or makes, please remember “ANY APPROVED EQUAL”.  HOWEVER, IF A PRODUCT OTHER THAN SPECIFIED IS BID, IT IS THE VENDORS RESPONSIBILITY TO PROVE TO THE “CITY” THAT SAID PRODUCT IS EQUAL TO OR EXCEEDS THE QUALITY OF THE SPECIFICATIONS LISTED FOR ANY ITEM.

The City of Lebanon is an equal opportunity entity and does not discriminate on the basis of age, race, sex, national origin, religion or disability in admission to, access to, or operations of its programs, services, activities, or in its awarding of such bids.

1. SCOPE AND CLASSIFICATION

1.1 Scope:  The intent of this Request for Proposals and resulting contract is to provide the City of Lebanon with information concerning a valve replacement for the Water Plant.

1.2 Classification:  The valve replacement specifications shall be of the following types either “equal to “or “better than”.

2. SPECIFICATIONS

SPECIFICATIONS


Valve Replacement Scope of Work:
1. Location of equipment and piping is taken from drawings of record, prior to commencing any work.

2. The Contractor shall verify the exact location and dimensions of all equipment and piping.  
3. Contractor shall coordinate all construction activities with the City of Lebanon.

4. Contractor shall remove and replace the existing Pratt throttling check valve including all control wiring and control panels.  Contractor shall be responsible for all wiring modifications required to provide proper operation of pump no. 7 without the Pratt control panel.

5. Proposed check valve shall be a DeZurik, CVS-250 or approved equal.

6. Valve shall be rated for 250 psi SWP, and shall consist of ANSI class C125 flanges, ductile iron body and cover, 304 stainless steel shaft and body seat, and NBR disc seat.

7. Valve shall feature air cushion control closure and fusion bonded epoxy interior and exterior.

8. Contractor shall provide dip spool, pieces as required for installation of the proposed valve.

9. Contractor shall provide pipe supports for the proposed valve.

10. Contractor shall paint all new pieces including the valve, pipe supports, spool pieces, and mounting hardware to match existing pipe colors.

11. Contractor shall ensure compatibility and proper operation between new check valve and existing Allen Bradley VFD and existing SCADA system.

12. All bidders must contact J.C. York, Plant Manager, (615) 444-0485 to schedule an on-site visit.  If you do not make an on-site visit then you will not be able to submit a bid.
13. Contractor must clean up all debris and removal of all old parts from site and dispose of properly.

14. Contractor is required to perform all tests after installation of the valve to the satisfaction of the Plant Manager.

15. Contractor must follow all safety OSHA and TOSHA standards while on Water Plant property.

Note: An on-site visit may be necessary to view the pump and motor to be repaired at the Water Plant.  To schedule an on-site visit contact J.C. York, Plant Manager (615) 444-0485.
All vendors must be licensed, have liability and worker’s compensation insurance.  Copies must be provided with the submittal of this bid.
BIDDERS CHECK LIST:
1.   Completed On-Site Visit with Plant Manager  yes ____ or no _____

2.   Included a copy of liability insurance and worker’s compensation insurance  yes___ or no _____

3.   Signed document:   yes_____ or no _____

4.   Provided contact information  yes _____ or no _____

5.   Provided pricing   yes _____ or no _____

BID PRICE $_______________________

INSTALLATION $__________________

(Prices must include all freight, all labor costs, travel, etc.)

TOTAL  $_________________________ 
Company Name and Authorized Representative Signature

Address and Contact Information   

