Return Quote to:

City of Albertville

Attn: Mike Brewer

P.O. Box 1248

Albertville, AL 35950

Quote Specifications for:

Replacement of Concrete Sidewalk at East Main and Andrew Street

- Cut concrete along the brick wall before the City removes the concrete.

Form concrete based on measurements in the picture attached.

- Responsible for verifying quantities needed to complete the job.

- Pour and Finish Concrete

  - Approximately 100 feet long

  - Approximately 10 feet wide on the smaller section (see picture attached)

  - Approximately 11 feet wide on the larger section (see picture attached)

  - 4 inches deep