[image: image1.jpg]City of
Lebanon

Tcenncessce




                                                                                                    Mayor Rick Bell

[image: image1.jpg]
	Lisa Lane, Purchasing Agent
200 N Castle Hgts Ave

Lebanon, TN  37087

Phone:  615-443-2802

Fax:  615-443-2849

lisa@lebanontn.org
	

	
	


CONTRACT SPECIFICATIONS FOR:


Dry Blended Phosphate Product
REQUEST FOR PROPOSALS:  RFP#8924 Phosphate WTP
CONTACT:
City of Lebanon Purchasing Office



Lisa Lane, Purchasing Agent



200 N Castle Heights Ave



Lebanon, TN  37087



(615) 443-2802

DATE ISSUED: August 9, 2024
DUE DATE: August 23, 2024, by 2:00 pm, Central Time
Please note:  If documents were downloaded from the City of Lebanon website, bidder is responsible for obtaining any addenda either through updates on the website or by contacting he Purchasing Agent listed above.

CITY OF LEBANON, TENNESSEE

DETAILED SPECIFICATIONS FOR
DRY BLENDED PHOSPHATE PRODUCT FOR THE WATER TREATMENT PLANT
RFP #8924 Phosphate WTP
_______________________________________________________________________________________

*City of Lebanon reserves the right to reject all or any part of any RFP*

The City of Lebanon is exempt from State Tax and Federal Exercise Tax.

NO PROPOSALS RECEIVED AFTER CLOSING WILL BE ACCEPTED.

The City of Lebanon invites sealed proposals for a dry blended phosphate product, in accordance with the specifications and bidding instructions set forth in this Request for Proposal. Proposals will be received by the Purchasing Department, 200 N. Castle Heights Avenue, Lebanon, Tennessee 37087, until 2:00 p.m. local time, August 23rd, 2024, at which time they will be opened and read aloud.

Please identify as a sealed proposal with the following information on the envelope:

“RFP #8924 Phosphate WTP”.
Any questions regarding this proposal should be directed to Lisa Lane, Purchasing Agent, (615) 443-2802.

A copy of the bid tabulation will be available upon written request to the Purchasing Department.

Any manufacturers’ names, trade names, brand names, or catalog numbers used in the specifications are for the purpose of describing and establishing overall quality levels.  Such references are not intended to be restrictive. Since the “City” does not wish to rule out other competition and equal brands or makes and models, please remember, “Any Approved Equal.”  However, if a service other than specified in the bid, it is the vendors responsibility to prove to the City of Lebanon that said service is equal to or exceeds the quality of the specifications listed for services provided. 
The City of Lebanon is an equal opportunity entity and does not discriminate based on age, race, sex, national origin, religion, or disability in admission to, access to, or operations of its programs, services, activities, or in its awarding of such bids in Pursuant to Title VI of the Civil Rights Act of 1964.  All vendors must be incompliance with all City Codes and current with all City fees and taxes to be considered as a responsive bidder or participant in this process.

SCOPE AND CLASSIFICATION
The purpose of this proposal is to provide information for a dry blended phosphate product for corrosion control and a sequestering agent for iron, manganese, and hardness salts for the City of Lebanon Water Treatment Plant. The phosphate product specified in this Request for Proposal, herein after referred to as RFP, shall be of the following types either “equal to “or “better than.”
LOCATION
City of Lebanon Water Plant

7 Gilmore Hill Road

Lebanon, Tennessee 37087
SPECIFICATIONS

All qualifying products must meet the following demands:
· Produce a tight protective coating on metal surfaces, prolonging the life of the system’s equipment.

· Reduces buildup of scale in the distribution system.

· Reduces the replacement of existing piping and associated equipment attributed to excessive deposition or under-deposit corrosion.

· Ensures the distribution of chlorine residuals in junction with an adequate flushing program.

· Meets the Lead and Copper Rule requirements for TDEC and EPA.

· NSF/ANSI Standard 60 approved for drinking water.

· Vendor must have completed acceptable coupon testing on an “in-house” plant trial.

· Product must be received in new 50lb sealed buckets with handles.

· Vendor must maintain lead times of less than two (2) weeks from time of placing orders.

· Awarded vendor will perform a yearly, month long (minimum) coupon test to ensure performance.
· The City of Lebanon’s estimated yearly use is approximately 26,000 dry pounds.

Vendors must have a minimum of five years’ experience in the chemical supply industry with a proven reputation for service, providing a minimum of three local references of similarly sized facilities based upon usage, guaranteeing next day emergency service for trouble shooting, and holding bid price for a minimum of one year.
Price must be based on delivery to our locations and ready for immediate use.

Delivery and unloading of phosphate to the back of the trailer must be provided by the vendor, and  if assistance is needed, please contact the Plant Manager before delivery of product. All proper MSDS sheets must be provided at the delivery of the first shipments. 
DESCRIPTION





PRICE 

Dry Phosphate, delivered (per 50lb bucket)

$____________________

Cost to Treat/MG at Manufacturer’s




Target Dose (set during plant trial)


$____________________

Bids will be evaluated at manufacturer’s target dose, set during plant trial as mg/L feed rate per million gallons treated and “actual” cost to treat/MG.

EXCEPTIONS

The above are minimum specifications. If there are any exceptions to these specifications, please make any notations to the right of that specification and the exceptions will have to be approved by the department. 
INVOICING

Terms of payment for this purchase will be net 30 days for date of invoice, receipts of goods in satisfactory condition, or completion and approval of work, or receipt of documentation for work to be paid on a percentage of completion basis, whichever is later.
If other terms are desired or discounts for early payment are offered, they must be stated specifically with your bid to be considered in determination of the successful bidder. 
AGREEMENT

An agreement for services between the City of Lebanon and the successful Proposer will be written and signed prior to services being rendered.
COMPANY AFFIDAVIT

The affidavit states with respect to this Proposal to the City of Lebanon, Tennessee.

I (we) hereby certify that if the contract is awarded to our firm that no member or members of the governing body, elected official or officials, employee or employees of the City of Lebanon or any person representing or purporting to represent the City of Lebanon, or any family member including spouse, parents, or children of said group, has received or has been promised, directly or indirectly, any financial benefit, by way of fee, commission, finder’s fee or any other financial benefit on account of the act of awarding and/or executing a contract.

I hereby certify that I have full authority to bind the company and that I have personally reviewed the information contained in the Request for Proposals and all attachments and do hereby attest to the accuracy of all information contained in this Proposal and attachments.

I acknowledge that any misrepresentation will result in immediate disqualification from any consideration in the proposal process.

I further recognize that the City of Lebanon, Tennessee reserves the right to make its award for any reason considered advantageous to the City.

SUBMISSION

Proposals are to be submitted in a sealed envelope, plainly marked “RFP #8124 Phosphate WTP”, along with your company’s name, date, and time of the scheduled opening. The City of Lebanon will not accept any late bids or electronic bids. The City of Lebanon reserves the right to reject any or all parts of this Requests for Proposal submitted in response.
GENERAL CONDITIONS

Hold Harmless

Bidders shall protect, indemnify, and hold the City of Lebanon harmless from and against any damage, cost, or liability for any injuries to person or property arising from acts or omissions of the consultant, his employees, agents, or sub-contractors, howsoever caused. The successful proposer agrees that they will function as an independent contractor and agrees to indemnify and hold harmless the City of Lebanon, its Council Members, employees, officers, and agents from any and all claims or demands that may arise out of or relate to its duties contracted for pursuant to goods and/or service.

Response Preparation Costs

The City of Lebanon will not pay any costs incurred by any bidder in the proposal preparation, printing, demonstration, or negotiations process. All costs shall be the responsibility of the proposing bidder.

Acceptance of Proposal Content

Proposals to be valid for a minimum period of ninety (90) days from date of receipt by the City of Lebanon.

Addenda

Any change to this RFP will be brought forward in the form of a written addendum from the Purchasing Department and will be provided to all known interested parties. No oral interpretations or communication will affect or change in any way the information contained herein.

Termination

The City of Lebanon will require an agreement with provisions for termination either in the event of substantial failure by the other party to fulfill its obligations or for the convenience by either party. No termination may be affected unless the other party is given not less than ninety (90) calendar days’ written notice of intent to terminate.

Name of Vendor Firm:___________________________________________________________________

Firm Contact: ______________________________ Phone: __________________ Fax: _______________

Mailing Address: ________________________________________________________________________

Web Address: ___________________________________ Email: _________________________________

Signature of Authorized Agent: ________________________________ Date: _____________________

The City of Lebanon shall bear none of the costs incurred by any proposer or potential proposer in their preparation of the proposal documents. All such costs are the responsibility of the proposer.

SIGNATURE PAGE
CITY OF LEBANON WATER


CONTRACTOR:

TREATMENT PLANT MANAGER:







BY:_____________________________________
__________________________________






TITLE:___________________________________
APPROVED AS TO FORM AND




LEGALITY:







__________________________________


CITY ATTORNEY

EXECUTED BY:
__________________________________


MAYOR

__________________________________



DATE
SWORN TO AND SUBSCRIBED TO BEFORE ME, A NOTARY PUBLIC.

THIS_____DAY OF _______________,2024.

_______________________________________

NOTARY PUBLIC

MY COMMISSION EXPIRES:

________________________  

2 | Page

