Invitation to Bid

City of Canton, Ohio

Purchasing Department

218 Cleveland Ave. SW, 4th floor

Canton, Ohio 44702

Demolition of 2206 13th St NE, Parcel #235665

Item/Project

Building Code Department

Responsible Department

December 8, 2021 on or before 2:00 PM local time

Bids Due

Bid Proposal Submitted By:

Company Name

Street Address

City		           						State				     Zip

Contact Person		           	     Phone No.				          Email Address

LEGAL NOTICE

The Director of Public Safety of the City of Canton, Ohio will accept sealed bids on or before 2:00 PM local time December 8, 2021 for the:

Demolition of 2206 13th St NE, Parcel #235665

The City will disqualify any bid not received on or before 2:00 PM local time on December 8, 2021.  Shortly after the deadline for the submission of bids, bids received on time will be publicly opened and read aloud.  The Sixth Floor Conference Room of Canton City Hall is the location for the bid opening.

Submit all bids to the City of Canton Purchasing Department, 218 Cleveland Avenue SW, Purchasing Department/Fourth Floor, Canton, Ohio 44702 according to the instructions in the Invitation to Bid posted on the City of Canton Purchasing Department website at https://www.cantonohio.gov/448/Purchasing-Procurement.

A certified check, cashier’s check or surety bond made payable to the City of Canton must accompany the bid. Draw this check or bond from a solvent bank or bonding company satisfactory to the Director of Public Safety as a guaranty the contract and its performance are properly secured if the bid is accepted.  The Bidder shall verify the certified check, cashier’s check or bid bond for five hundred dollars ($500.00).  The City of Canton will only accept original checks and bid bonds.  Therefore, if any company and/or bidder submits a copy (including faxed copies) of his $500.00 security, the City will disqualify the bid.  The Director of Public Safety reserves the right to waive any technical defects in any bid bond submitted so long as the bond is in substantial compliance with State law.  Should any bid not be awarded or be rejected, such check or bond will be returned to the bidder or bidders after the execution of the contract.

Any bidder may withdraw his bid, by written request, at any time prior to the deadline set for the bid opening. Please be advised, the City of Canton may impose a $500.00 penalty to any bidder that withdraws his bid after the bid opening and prior to a contract award(s).

The Board of Control reserves the right to reject any or all bids and to accept the bid(s) deemed most beneficial to the City of Canton.

The bidder is responsible for monitoring the above-named website for any official addenda.

It is requested that the bidder print the entire Invitation to Bid and submit it in its entirety.

Please contact Director of Purchasing, Andrew Roth at andrew.roth@cantonohio.gov if you have any questions regarding this bid.

By order of the Director of Public Safety: Andrea M. Perry

Published in the Canton Repository: November 23, 2021 and November 30, 2021

Section I: Table of Contents and Bidder’s Checklist

A complete bid packet will consist of the items listed below.

Complete this checklist to confirm the items required in your bid.  Place a checkmark or “X” next to each item that you are submitting to the City of Canton.  Failure to submit the listed documents may be cause for rejection of your bid.  This checklist should be returned with your bid.

_____		Cover sheet (Page 1)

_____		Legal Notice (Page 2)

_____		Section I: Table of Contents and Bidder’s Checklist (Page 3)

_____		Section II: Bid Forms and Instructions (Pages 4-22)

_____	Bid Form Instructions

_____	Bid Form 1: Bidder and Contractor Employment Practices Report

_____	Bid Form 2: Authority of Signatory

_____	Bid Form 3: Bid Guaranty

_____	Bid Form 4: Bidder Information

_____	Bid Form 5: Non-Collusion Affidavit

_____	Bid Form 6: Insurance Requirements

_____	Bid Form 7: Affidavit for Foreign Corporations

_____	Bid Form 8: Personal Property Tax Certification (Orc 5719.042)

_____	Bid Form 9: Certification – Auditor of the State Of Ohio

_____	Bid Form 10: Articles of Incorporation

_____	Bid Form 11: W9 Tax Form

_____		Section III: City of Canton Income Tax Information (Page 23-24)

_____		Section IV: Canton Codified Ordinances (Pages 25-30)

_____		Section V: Bid Specifications (Pages 31-38)

_____		Section VI: Proposal and Signature Pages (Pages 39-42)

_____		Exhibit A: Pictures of Property

Section II: Bid Forms and Instructions

Bid Form Instructions

Failure to submit bid forms 1 through 6 with the bid may cause the bid to be deemed non-responsive, and therefore it may not be considered.

Bid forms 7 through 10 will be required of the successful bidder but may be submitted after the awarding of the contract.

***The City of Canton does encourage bidders to submit all bid forms with their bids***

Bid Form 1: Bidder and Contractor Employment Practices Report

This form is designed to provide an evaluation of a bidder’s policies and practices relating to the extension of equal employment opportunity to all persons without regard to race, religion, color, sex or national origin.  The successful bidder will be required to complete and submit the Bidder and Contractor Employment Practices Report.  Additionally, the successful bidder will be required to submit an “affirmative action plan” and/or “EEO policy.”  If the successful bidder does not have a formal EEO policy, it will be required to complete and submit the provided EEO policy statement.

Bid Form 2: Authority of Signatory

The authority of the bid signatory must be established.  Bid Form 2 provides the means by which the bidder can identify the type of business organization it is (corporation, partnership, etc.) and instructions as to how signature authority is commonly established.

Bid Form 3: Bid Guaranty

A certified check, cashier’s check or surety bond made payable to the City of Canton must accompany the bid. Draw this check or bond from a solvent bank or bonding company satisfactory to the Director of Public Safety as a guaranty the contract and its performance are properly secured if the bid is accepted.

Bid Form 4: Bidder Information

The bidder shall submit the required information on the included form and shall supplement the information there given as may be required by the City after the receipt of bids.  Low bidders may be interviewed by the City and shall furnish such information as the City may deem necessary to consider prior to making an award.

Bid Form 5: Non-Collusion Affidavit

Each bidder is required to submit with the bid an affidavit stating that neither he nor his agents, nor any other party for him, has paid or agreed to pay, directly or indirectly, any person, firm or corporation any money or valuable consideration for assistance in procuring or attempting to procure the contract herein referred to, and further agreeing that no such money or reward will be hereafter paid.  This affidavit must be on the form provided.

Bid Form 6: Insurance Requirements

The successful bidder will be required to have the required insurance as outlined in Bid Form 6 and should be prepared to submit proof thereof.

All bidders would be well advised to consult their insurance agents as soon as possible so that all questions and concerns can be given due consideration.

Bid Form 7: Affidavit for Foreign Corporations

A successful bidder who is a foreign corporation, (a corporation not chartered in the State of Ohio), will be required to submit an affidavit duly executed by the authorized bid signatory stating in said affidavit that said foreign corporation has, in accordance with the provisions of the laws of the State of Ohio, obtained a certificate authorizing it to do business in the State of Ohio.

Bid Form 8: Personal Property Tax Certification (ORC 5719.042)

This form/certification must be retyped on the successful bidder’s letterhead and notarized utilizing either paragraph (A) or (B) as it applies to the successful bidder’s company.

Bid Form 9: Certification – Auditor of the State Of Ohio

This form is used to certify that the bidder does not have outstanding unresolved finding for recovery issued by the Auditor of the State of Ohio.

Bid Form 10: Articles of Incorporation

The successful bidder may be required to submit a copy of the company’s articles of incorporation.

Bid Form 11: W9 Tax Form

Please provide an up to date copy of your Company’s W9.

Bid Form 1: Bidder and Contractor Employment Practices Report

Bidder and Contractor Employment Practices Report

City of Canton Office of Compliance

- INSTRUCTIONS

  - This form is designed to provide an evaluation of your policies and practices as they relate to the extension of equal employment opportunity to all persons regardless to race, religion, color, sex, age, national origin, disability, sexual orientation, or sexual identity.

  - City of Canton Codified Ordinance 507 and rules and regulations pursuant thereto provide for a contract compliance inspection of personnel policies and practices related to any contract with the City including contracts for work, labor, services, supplies, equipment, materials, leases, concession agreements, and permits.

  - Completion of this Contractor and Bidder Employment Practices Report is one of the steps which demonstrate compliance with the City’s Equal Employment Opportunity Program. Responsibility for demonstrating compliance with the Program by the vendor and its subcontractors rests with the vendor or subcontractor. Such demonstration is a prerequisite for continued eligibility for the award City contracts.

- VENDOR OR BIDDER INFORMATION

1. Reporting Status A. Prime Contractor B. Prime Subcontractor C. Supplier D. Other (Specify)

2. Name, Address and Telephone Number of Bidder Covered by This Report

3. Name, Address and Telephone Number of Principal Official or Manager of Bidder

4. Name, Address and Telephone Number of Principal Office of Bidder

Evaluation (Office Use Only)

- Compliant

- Non-Compliant

- Follow up needed_________________________________________

- POLICIES AND PRACTICES

The bidder and the Contractor will indicate his willingness or unwillingness to comply with the requirements of the Equal Employment Opportunity Program of the City of Canton by encircling the applicable letter associated with each item below. The letters are interpreted as follows:

A – Current Practice      B – Company will immediately adopt this policy         C – Company is unwilling or is 										           unable to adopt policy.

| Circle One | Items | State Reason if (C) is checked |
| --- | --- | --- |
| A B C | - The company will adopt a policy of non-discrimination on the basis of race, religion, color, sex, age, national origin, disability, sexual orientation, or sexual identity, with regard to recruitment, hiring, training, upgrading, promotion and discipline of employees or applicants for employment. This policy will be communicated in writing to all employees, subcontractors, recruitment sources and all relevant labor organizations and unions. |  |
| A B C | - The Company will develop procedures which will assure that this policy is understood and carried out by managerial, administrative, supervisory personnel. |  |
| A B C | - The company will use recruitment sources such as employment agencies, unions, and schools which have a policy of referring applicants on a non-discriminatory basis. |  |
| A B C | - The company will participate in training programs for the benefit of employees or prospective employees, according to the intent of City Codified Ordinance 507. |  |
| A B C | - Company recruiters will seek a broad recruitment base in order that a representative cross-section of applications might be obtained, and will refrain from a hiring policy which limits job applicants to persons recommended by company personnel. |  |
| A B C | - Company will take steps to integrate any position, departments, or plant locations which have no minority persons, or are almost completely staffed with one particular ethnic or racial group. |  |
| A B C | - The Company will review its qualifications for each job to determine whether such standards eliminate unemployed persons who could, if hired, perform the duties of the job adequately. The following qualifications should be reviewed: Education, Experience, Tests, and Criminal Records. |  |
| A B C | - Residence in a particular geographical area will not be a qualifying or disqualifying criterion for employment with the Company. |  |
| A B C | - The Company will provide that all bargaining agreements with employee organizations, including labor unions, have non-discrimination clauses requiring equal employment opportunity. |  |

- EMPLOYMENT DATA

Please note that this data may be obtained by visual survey or post-employment records. Neither visual surveys nor post-employment records are prohibited by any Federal, State or local law. All specified data are required to be filled in by law. Please provide truthful and accurate information. If information provided is found to be false, bidder/contractor will be subject to the loss of all future awards.

MALE: 			                                      FEMALE:

| Categories | Overall Total | Total Male | Total Female | African American | Asian American | Native American | Hispanic | African American | Asian American | Native American | Hispanic |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Officials, Managers and Supervisors |  |  |  |  |  |  |  |  |  |  |  |
| Professionals |  |  |  |  |  |  |  |  |  |  |  |
| Technicians |  |  |  |  |  |  |  |  |  |  |  |
| Part-Time Seasonal |  |  |  |  |  |  |  |  |  |  |  |
| Office & Clerical |  |  |  |  |  |  |  |  |  |  |  |
| Craftsman (skilled) |  |  |  |  |  |  |  |  |  |  |  |
| Operatives (semi-skilled) |  |  |  |  |  |  |  |  |  |  |  |
| Laborers (un-skilled) |  |  |  |  |  |  |  |  |  |  |  |
| Service Workers |  |  |  |  |  |  |  |  |  |  |  |
| Total: |  |  |  |  |  |  |  |  |  |  |  |

REMARKS:   Please explain any identification data appearing on the last report which differs from that given above.  This includes major changes in employment, changes in composition of reporting units, and other pertinent information.  Use a separate sheet if additional space is required.

- ADDITIONAL INFORMATION (Optional)

Describe any other actions taken which show that all employees are recruited, hired, trained, and promoted without regard to their race, religion, color, sex, age, national origin, disability, sexual orientation, or sexual identity. Use a separate sheet if additional space is required.

- POLICY STATEMENT

The City of Canton, Ohio in conformance with local, state, and federal regulations requires each vendor, contractor, and material suppliers working on city projects or awarded City contracts be signatures of the following statements:

- It is the policy of __________________________________ that equal employment opportunities be afforded to all qualified persons without regard to race, religion, color, sex, age, national origin, disability, sexual orientation, or sexual identity.

- In support of this document _______________________________________ will not discriminate against any employee or applicant because of race, religion, color, sex, age, national origin, disability, sexual orientation, or sexual identity.

- _________________________________________________ will take affirmative action to ensure that applicants for employment and current employees are treated fairly without regard to race, religion, color, sex, age, national origin, disability, sexual orientation, or sexual identity. Such action will include but not be limited to recruitment, advertising, or solicitation for employment, hiring, placement, upgrading, transfer or demotion, selection for training including apprenticeship rates of pay or other forms of compensation, layoffs or termination.

- _________________________________________________ will make every effort to comply with minority utilization goals as follows: (9%) nine percent minorities in your workforce on the job, (6.9%) six point nine percent female utilization on this job,  and (10%) ten percent of contract amount expended with minority business enterprises, women-owned business enterprises  or a combination of both.

- ________________________________________________shall require each sub-contractor hired for this project to adhere to this statement.

- SIGNATURE

The undersigned certifies that he/she is legally authorized by the vendor/bidder to affirm all information and statements included in this employment practices report. That he/she has read all of the foregoing statements, representations, and affirmations and that they are true and correct to the best of his/her knowledge and belief. The undersigned, understands that if any of the statements and representations are made knowing them to be false or there is a failure to implement any of the stated intentions or objectives, set forth herein, without prior notice to the Office of Compliance, the bidder/contractor could be subject to loss of current and future awards.

Firm or Corporation Name:

___________________________________________________________

Signature:

___________________________________________________________

Title:

___________________________________________________________

Date of Signing:

___________________________________________________________

Bid Form 2: Authority of Bid Signatory

The bidder shall indicate which of the following is the source of the bid signatory's authority to sign the bid on behalf of the bidder.  The bidder shall follow the instructions noted.

The party bidding is a sole partnership.

The party bidding is a partnership and the party signing is one of the partners.

The party is a corporation.  The party signing is authorized to sign on behalf of the corporation.  A copy of the resolution of the corporation's board of directors which delegates signatory authority to the individual signing is to be attached to this bid form.  This resolution can be a general delegation of authority for signing bids or can be a specific authorization for this project.  The secretary of the corporation shall authenticate the resolution as currently being in full force and effect.

Signatory authority is evidenced by other means noted below:

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Bid Form 3: Bid Guaranty

A certified check, cashier’s check or surety bond made payable to the City of Canton must accompany the bid. Draw this check or bond from a solvent bank or bonding company satisfactory to the Director of Public Safety as a guaranty the contract and its performance are properly secured if the bid is accepted.

The Bidder shall verify the certified check, cashier’s check or bid bond for five hundred ($500.00) dollars.  The City of Canton will only accept original checks and bid bonds.  Therefore, if any company and/or bidder submits a copy (including faxed copies) of his/her $500.00 security, the City will disqualify the bid.

The Director of Public Safety reserves the right to waive any technical defects in any bid bond submitted so long as the bond is in substantial compliance with State Law.

Any bidder may withdraw his bid, by written request, at any time prior to the deadline set for the bid opening. Please be advised, the City of Canton may impose a $500.00 penalty to any bidder that withdraws his bid after the bid opening and prior to a contract award(s).

Should any bid not be awarded or be rejected, such check or bond will be returned to the bidder or bidders after the execution of the contract.

Please place your bid guaranty at the front of your submitted bid.

Bid Form 4: Bidder Information, Page 1

1.		The Bidder shall provide the following information as part of its bid.

a.	Name of Bidder

b.	Business Address

.	               .              .

City          		State          Zip

c.	Business Telephone Number	(          )                          .

d.	Person, address, email and

telephone to whom official

notices are to be sent

e.	Person, address, email and

telephone for further

information regarding

this proposal

f.	State(s) of incorporation

(w/dates of incorporation)

g.	Principal place of business

h.	Federal I.D. Number		#                              .

i.	Amount of Certified Check,

Cashier's Check, Bid Bond		$

Bid Form 4: Page 2

2.	Form of Business Organization.

Corporation		         Partnership				         Other

3.	The bidder shall provide the names and addresses of all persons interested as principals (officers, partners, and associates) in this proposal.  Write first name in full, and give titles for offices.

All of the above, including the signatory to this bid, are citizens of the United States, except the following.  (Provide names and addresses of those not a citizen of the United States.)

4.	Name and address of other person, firms or companies interested in this contract.

5.	Local Bidder Preference Information: Does your company have a headquarters, division, sales office, sales outlet, manufacturing facility, or similar significant business-related location in Stark County, Ohio?  If yes, please provide the name and address of the location below.

Bid Form 5: Bidder’s Affidavit: Non-Collusion Statement, Page 1

This affidavit is to be filled out and executed by the bidder; if the bid is made by a

corporation, then by its properly authorized agent.

STATE OF                              )

)     SS: COUNTY OF ______________)

being first duly sworn, deposes and says that he is

_____________________________________________________________________________

(sole owner, a partner, president, secretary, etc.)

of ___________________________________________________________________________

the party making the enclosed proposal or bid, and say further that

______________________________________________________________________________

(Give names of all persons, firms or corporations interested in the bid)

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

is/are the only party or parties interested with the party making this bid in the profits of any contract which may result from the herein contained proposal; that the said proposal is made without any connection or interest in the profits thereof with any other person making any other bid or proposal for said work; that no official or employee of the City of Canton, head of any department or bureau or employee therein or any official or officer of City of Canton, is directly or indirectly interested therein; that said proposal or bid is genuine and not collusive or a sham; that said bidder has not colluded, conspired, connived, or agreed, directly or indirectly, with any bidder or person, to put in a sham bid, or that such person shall refrain from bidding, and has not in any manner, directly or indirectly, sought by agreement or collusion, or communication or conference, with any person, to fix the bid price of affiant or any other bidder, or to fix any overhead, profit or cost element of said bid price, or of that of any other bidder, or to secure any advantage against the City, or any person interested in the proposed contract; and that all

Bid Form 5: Page 2

statements contained in said proposal or bid are true; that such bidder has not, directly or indirectly submitted this bid, or the contents thereof, or divulged information or data relative thereto any association or to any member or agent thereof; and further says that all the statements made by him in said proposal or bid are true.

________________________________________

Affiant

Sworn to and subscribed before me this                     day of

, 20         .

Notary Public in and for

County,

My Commission Expires:

, 20          .

Bid Form 6: Insurance Requirements, Page 1

Instructions

All successful bidders will be required to possess the following items per the requirements below and should be prepared to submit proof thereof:

- Liability Insurance Certificate

- Worker’s Compensation Certificate

Insurance Requirements

The following standard indemnity agreement and minimum insurance requirements are incorporated in the specifications for all work performed by the Contractor for the Owner, its affiliated and associated organizations or subsidiaries, hereinafter referred to as Owner.

I.	The Contractor agrees to indemnify and save the Owner harmless from and against any and all costs, loss and expense, liability damages, or claims for damages, including cost for defending any action, on account of any injury to persons (including death) or damage to or destruction of property of the Owner, arising or resulting from the work provided for or performed, or from any act, omission, or negligence of the Contractor, Subcontractor and his or their agents or employees.  The foregoing provisions shall in no way be deemed released, waived or modified in any respect by reason of any insurance or surety provided by the Contractor.

II.	The Contractor shall maintain liability insurance and furnish the Owner with Certificates of Insurance as evidence thereof in the prescribed form.  If any work provided for or to be performed under any Specifications is sublet (as otherwise permitted by the terms of such Specifications), the Contractor shall require the sub-contractors to maintain and furnish him with satisfactory evidence of Worker’s Compensation, Employer’s Liability and such other forms and amounts of insurance which Contractor deems reasonably adequate.

III.	In accordance with Item II, the Contractor shall maintain the following insurance:

- Worker’s Compensation and Employer’s Liability Insurance affording,

  - Protection under the Worker’s Compensation Law in the State of Ohio.

  - Employer’s Liability protection subject to a minimum limit of $100,000.00.

- General Liability Insurance in amounts not less than:

  - General Aggregate Limit		$2,000,000.00

  - Personal and Advertising Injury Limit	$1,000,000.00

  - Each Occurrence Limit		$1,000,000.00

  - Fire Damage			$   100,000.00

  - Medical Expense Limit		$       5,000.00

Bid Form 6: Page 2

- Commercial Automobile Liability Insurance in the following minimum amounts:

  - Bodily Injury and Property Damage

any one accident or loss:		$1,000,000.00

VI.	This insurance shall:

- include coverage for the liability assumed by Contractor under Item I (Indemnity);

- be evidenced by Certificates of Insurance furnished by the Contractor that show by specific reference that each of the foregoing items have been provided for;

- not be subject to any of the special property damage liability exclusions commonly referred to as the XCU exclusions pertaining to blasting or explosion, collapse or structural damage and underground property;

- provide the City of Canton “additional insured status” and shall contain an endorsement by the insurance carrier providing thirty (30) days’ notice to both the City and insured in the event of any change in coverage under the policy.  No less than thirty (30) days advance notice of cancellation of the insurance policy shall be given to the City by the insurer.

Bid Form 7: Bidder’s Affidavit: Foreign Corporation

*Any corporation that is not incorporated in the State of Ohio is a foreign corporation.

The undersigned certifies that ____________________ is a foreign corporation incorporated in the State of __________________, whose principal place of business is ________________ and is required to obtain authorization to transact business in the State of Ohio.

The undersigned bidder further certifies that said authorization has been obtained and is in effect and the bidder has a designated statutory agent upon whom process against bidder corporation may be served within the State of Ohio.  The designated

statutory agent is _______________________________________________________________

(name and address)

_____________________________________________________________________________.

Process served upon the designated statutory agent named above shall be effective service, unless the Owner has been informed, by certified mail or its equivalent (return receipt), of a change in the agent upon whom process can be served.

__________________                  ________________________________________

Date                                                                  Signed

________________________________________

Title

Note:  This statement is to be reproduced on the bidder’s letterhead, signed by the authorized bid signatory, notarized and submitted with the bid.

Bid Form 8: Personal Property Tax Certification (ORC 5719.042)

NOTE: The below form and/or certification must be retyped on the bidder’s letterhead and notarized utilizing either paragraph (A) or (B), and paragraph (C) as it applies to your company.

Office of the Auditor

City of Canton

218 Cleveland Avenue S.W., 2nd floor

Canton, OH 44702

To Whom It May Concern:

(A)	The undersigned hereby certifies that the party for whom the contract award is being considered was not charged with any delinquent personal property tax at the time of the bid opening for the project nor is said party currently charged with such a delinquency on the general tax list of personal property for Stark County, Ohio.

Or

(B)	The undersigned hereby certifies that the party for whom the contract award is being considered has been charged with a delinquency regarding personal property tax on the general tax list of personal property for Stark County, Ohio, either currently, or at the time of bid opening for the project.  The amount of the due and unpaid delinquent taxes, including any due and unpaid penalties and interest thereon is                    .

and

(C)	It is understood that, under Ohio law, this statement is to be signed by the party whose 			bid has been tentatively accepted, and must be affirmed under oath.  The law also 			requires that his statement is to be submitted to the City Auditor and this statement must 			be incorporated into the pending contract before any payment can be made under the 			subject contract.

_________________________________	________________________________

Name of Company                                                                 Signatory

________________________________

Secretary

Sworn to and subscribed in my presence this ______ day of ____________________, 20 ______

______________________________

(Notary Public)

Bid Form 9: Certification: Auditor of the State of Ohio

I, ____________________________________________________________________________

(Name of person signing affidavit)		                        (Title)

do hereby certify that ______________________________________________ does not have an

(Company or Individual Name)

outstanding unresolved finding for recovery issued by the Auditor of the State of Ohio as defined

by Ohio Revised Code (ORC) Section 9.24 as of  ____________________.

(Current date)

______________________________

Signature of Officer or Agent

______________________________

Name (Print)

Sworn to and subscribed in my presence this ______ day of ____________________, 20 ______

______________________________

(Notary Public)

Bid Form 10: Articles of Incorporation

Please provide a copy of the company’s articles of incorporation.  The City of Canton may request this information if it is not provided.

Bid Form 11: W9 Tax Form

Please provide an up to date copy of your Company’s W9.

Section III: City of Canton Income Tax Information

1.	All successful bidders shall be required to comply with all City of Canton income tax 	ordinances including the following:

a.	No person, partnership, corporation or unincorporated association may be 				awarded a contract with the City under Sections 105.09 or 105.10, unless 				the vendor is paid in full or is current and not otherwise delinquent in the 				payment of City income taxes, including any obligation to pay taxes 				withheld from employees under Section 182.05 and any payment on net 				profits under Section 182.06.

b.	Falsification of any information related to or any post-contractual violation of the 	requirement to pay City income taxes set forth in subsection (a) shall constitute 	cause for the rescission of the balance of the contract at the City's discretion.

c.	No partnership, corporation or unincorporated association which has as one of its 	partners, shareholders or owners a person who is a twenty percent (20%) or 	greater equity owner in such partnership, corporation or unincorporated 	association and who is delinquent in the payment of City income taxes as set forth 	in subsection (a), may be awarded a contract with the City under Sections 105.09 	or 105.10.

d.	A person who is a twenty percent (20%) or greater equity owner in any 	partnership, corporation or unincorporated association which is delinquent in the 	payment of City income taxes as set forth in subsection (a) may not be awarded a 	contract with the City under Sections 105.09 or 105.10.

e.	By entering into contract with the City of Canton the vendor agrees with the City 	regarding the manner of withholding of City income taxes as provided in Section 	718.011(F) of the Ohio Revised Code including the following:

i.	Municipal income tax withholding provisions of Sections 718.011(B)(1) 			and 718.011(D) ORC shall not apply to qualifying wages paid to 				employees for 	work done or services performed or rendered inside the 			City or on City property.

ii.	The vendor agrees to withhold income tax for the City from employees’ 			qualifying wages earned inside the City or on City property, beginning 			with the first day of work done or services performed or rendered inside 			the City.

2.	Vendors will be registered with the City of Canton Income Tax Department to ensure 	that the above qualifications are met.  Vendors are encouraged to contact the City of 	Canton Income Tax Department prior to bidding with any questions regarding these 	provisions and for registration.  Please use the contact information on the following page.

City of Canton Income Tax Department

Office Address					Correspondence Address

424 Market Ave. N					P.O. Box 9940

Canton OH 44702					Canton, OH 44711

Phone: (330) 430-7900

Fax: (330) 430-7944

Email: cantontax@cantonohio.gov

3.	Additionally, all public improvement, professional services, and services contracts shall 	also contain the following provisions:

Provision 1

Said _________________________________ hereby further agrees to withhold all City 	income taxes due or payable under Chapter 182 of the Codified Ordinances for wages, 	salaries, fees and commissions paid to its employees and further agrees that any of its 	subcontractors shall be required to agree to withhold any such City income taxes due for 	services performed under this contract. Furthermore, any person, firm or agency that has 	a contract or agreement with the City shall be subject to City income tax whether a 	resident or nonresident in the City, and whether the work being done is in the City or out 	of the City. In addition to the tax withheld for employees, the net profits on the contract 	shall be subject to City income tax.

Provision 2

By entering into contract with the City of Canton ______________________ agrees with the City regarding the manner of withholding of City income taxes as provided in Section 718.011(F) of the Ohio Revised Code.

    - Municipal income tax withholding provisions of Sections 718.011(B)(1) and 718.011(D) ORC shall not apply to qualifying wages paid to employees for work done or services performed or rendered inside the City or on City property.

    - ______________________ agrees to withhold income tax for the City from employees’ qualifying wages earned inside the City or on City property, beginning with the first day of work done or services performed or rendered inside the City.

(Ord. 238-2015. Passed 11-30-15.)

Section IV: City of Canton Codified Ordinances

Bidders shall take notice that they are to comply with the Codified Ordinances of the City of Canton including but not limited to the following:

- Chapter 105.06 – Minority contract provision.

  - All contracts with the City shall include the following clause:

The bidder agrees to expend at least $                      of the Contract in the event the contract is awarded to such bidder for minority/women's business enterprises. For purposes of this pledge, the term "minority/women's business enterprise" means a bona fide business established as a sole proprietorship, partnership or corporation owned, operated and controlled by one or more minority persons or women who have at least fifty-one percent (51%) ownership. "Minority" includes African Americans, Asian/Pacific Islanders, Hispanic/Latino Americans and Native American Indians. The minority or woman must have operational and managerial control, interest in capital, and earnings commensurate with the percentage of ownership. Minority/women's business enterprises may be employed as construction contractors, subcontractors, vendors or suppliers.

(Ord.185-2011. Passed 10-31-11.)

- Chapter 105.12 – Local Bidder Preference.

a. 	The Board of Control, in determining the lowest and best bidder in the

award of contracts to which this section is applicable, is authorized to award 	contracts to local bidders as hereinafter defined, whose bid is not more than 	five percent (5%) higher, subject to a maximum amount of twenty thousand 	dollars ($20,000.00), than the lowest dollar bid submitted by non-local 	bidders.  The Board of Control’s decision in making such an award shall be 	final.

b. 	For purposes of this section, "local bidder" means an individual or business 	entity which at the time of the award of the contract has a headquarters, 	division, sales office, sales outlet, manufacturing facility, or similar 	significant business-related location in Stark County, Ohio.

c. 	All contract specifications and/or bid documents that are distributed by 	Canton for the purpose of soliciting bids for goods and/or services shall 	contain the following notice:

Prospective bidders will take notice that the City of Canton, in determining the lowest and best bidder in the award of this contract, may award a local bidder preference to any qualified bidder pursuant to Section 105.12 of the Codified Ordinances of the City of Canton. The determination of whether a bidder qualifies for the local preference shall be made by Board of Control. The Board's decision shall be final. A copy of Section 105.12 is attached.

d. 	This section shall be applicable to all contracts for equipment, goods, machinery, materials, supplies, vehicles and/or services, which are purchased, leased and/or constructed at a cost in excess of twenty thousand dollars ($20,000.00) and which require bidding pursuant to Ohio R.C. 	735.05 through 735.09 and Ohio R.C. 737.03.

(Ord. 95-2014. Passed 5-5-14.)

- Chapter 105.15 – City Income Tax

- No person, partnership, corporation or unincorporated association may be awarded a contract with the City under Sections 105.09 or 105.10, unless the bidder is paid in full or is current and not otherwise delinquent in the payment of City income taxes, including any obligation to pay taxes withheld from employees under Section 182.05 and any payment on net profits under Section 182.06.

- Falsification of any information related to or any post-contractual violation of the requirement to pay City income taxes set forth in subsection (a) shall constitute cause for the rescission of the balance of the contract at the City's discretion.

- No partnership, corporation or unincorporated association which has as one of its partners, shareholders or owners a person who is a twenty percent (20%) or greater equity owner in such partnership, corporation or unincorporated association and who is delinquent in the payment of City income taxes as set forth in subsection (a), may be awarded a contract with the City under Sections 105.09 or 105.10.

- A person who is a twenty percent (20%) or greater equity owner in any partnership, corporation or unincorporated association which is delinquent in the payment of City income taxes as set forth in subsection (a) may not be awarded a contract with the City under Sections 105.09 or 105.10.

- A contract awarded under Sections 105.09 or 105.10 for a public improvement project, services other than personal or professional services, and personal or professional services shall not be binding or valid unless such contract contains the following provisions:

Said _________________________________ hereby further agrees to withhold all City income taxes due or payable under Chapter 182 of the Codified Ordinances for wages, salaries, fees and commissions paid to its employees and further agrees that any of its subcontractors shall be required to agree to withhold any such City income taxes due for services performed under this contract. Furthermore, any person, firm or agency that has a contract or agreement with the City shall be subject to City income tax whether a resident or nonresident in the City, and whether the work being done is in the City or out of the City. In addition to the tax withheld for employees, the net profits on the contract shall be subject to City income tax.

(Ord. 238-2015. Passed 11-30-15.)

- Chapter 182.30 – Contract Provisions

  - No contract on behalf of the City under Sections 105.09 or 105.10 of the Codified Ordinances of Canton for a public improvement project, services other than personal or professional services, and personal or professional services shall be binding or valid unless such contract contains the following provisions:

Said _________________________________ hereby further agrees to withhold all City income taxes due or payable under Chapter 182 of the Codified Ordinances for wages, salaries, fees and commissions paid to its employees and further agrees that any of its subcontractors shall be required to agree to withhold any such city income taxes due for services performed under this contract. Furthermore, any person, firm or agency that has a contract or agreement with the city shall be subject to city income tax whether a resident or nonresident in the city, and whether the work being done is in the City or out of the City. In addition to the tax withheld for employees, the net profits on the contract shall be subject to City income tax.

  - By entering into contract with the city of Canton ______________________ agrees with the City regarding the manner of withholding of City income taxes as provided in Section 718.011(F) of the Ohio Revised Code.

    - Municipal income tax withholding provisions of Sections 718.011(B)(1) and 718.011(D) ORC shall not apply to qualifying wages paid to employees for work done or services performed or rendered inside the City or on City property.

    - ______________________ agrees to withhold income tax for the City from employees’ qualifying wages earned inside the City or on City property, beginning with the first day of work done or services performed or rendered inside the City.

(Ord. 238-2015. Passed 11-30-15.)

- Chapter 507.03 – Equal Employment Opportunity clause.

b.	During the performance of this contract, the contractor agrees as follows:

      - The contractor shall not discriminate against any employee or applicant for employment because of race, age, handicap, religion, color, sex, national origin, sexual orientation or gender identity. The contractor shall take affirmative action to insure that applicants are employed and that employees are treated during employment without regard to race, religion, color, sex, national origin, military status, sexual orientation or gender identity. As used herein, the word "treated" shall mean and include without limitation the following: recruited, whether by advertising or other means; compensation, whether in the form of rates or pay or other forms of compensation; selected for training, including apprenticeship; promoted; demoted; upgraded; downgraded; transferred; laid off; and terminated. The contractor agrees to and shall post in conspicuous places available to employees and applicants for employment notices to be provided by the contracting officers setting forth the provisions of this nondiscrimination clause.

      - The contractor shall, in all solicitations or advertisements for employees placed by or on behalf of the contractor; state that all qualified applicants will receive consideration for employment without regard to race, age, handicap, religion, color, sex, national origin, military status, sexual orientation or gender identity.

(Ord. 153-2012.  Passed 9-24-12.)

      - The contractor shall send to each labor union or representative of workers, with which he has a collective bargaining agreement or other contract or understanding, a notice advising the labor union or workers' representative of the contractor's commitments under the equal opportunity clause of the City; and he shall post copies of the notice in conspicuous places available to employees and applicants for employment.

      - The contractor shall submit in writing to the City his affirmative action plan, and each subcontractor and supplier of equipment or supplies shall submit to the general contractor his affirmative action plan. The responsibility for securing these affirmative action plans falls upon the general contractor and shall be on file at the office of the general contractor. The contractor shall furnish all information and reports required by the City or its representative pursuant to this chapter, and shall permit access to his books, records, and accounts by the contracting agency and by the Executive Secretary for purposes of investigation to ascertain compliance with the program.

      - The contractor shall take such action with respect to any subcontractor as the City may direct as a means of enforcing the provisions of this equal opportunity clause, including penalties and sanctions for noncompliance; provided, however, that in the event the contractor becomes involved in or is threatened with litigation as the result of such direction by the City, the City will enter into such litigation as is necessary to protect the interests of the City and to effectuate the City's equal opportunity program and, in the case of contracts receiving Federal assistance, the contractor or the City may request the United States to enter into such litigation to protect the interests of the United States.

      - The contractor shall file and shall cause his subcontractors, if any, to file compliance reports with the City in the form and to the extent prescribed by the City or its representative. Compliance reports filed at such times as directed shall contain information as to the employment practices, policies, programs and statistics of the contractor and his subcontractors.

      - The contractor shall include the provisions of this equal employment opportunity clause in every subcontract or purchase order, so that such provisions will be binding upon each subcontractor or vendor.

      - Refusal by the contractor or subcontractor to comply with any portion of this  program as herein stated and described will subject the offending party to any or all of the following penalties:

        - Withholding of all future payments under the involved public contract to the contractor in violation, until it is determined that the contractor or subcontractor is in compliance with the provisions of this contract.

        - Refusal of all future bids for any public contract with the City or any of its departments or divisions, until such time as the contractor of subcontractor demonstrates that he has established and shall carry out the policies of the program as herein outlined.

        - Cancellation of the public contract and declaration of forfeiture of the performance bond.

        - In cases in which there is substantial or material violation or the threat of substantial or material violation of the compliance procedure or as may be provided by contract, appropriate proceedings may be brought to enforce these provisions, including the enjoining within applicable laws of contractors, subcontractors or other organizations, individuals or groups who prevent, directly or indirectly, or seek to prevent, directly or indirectly, compliance with the policy as herein outlined.

(Ord. 179-74. Passed 6-17-74.)

- Chapter 1319.06 - Demolition Standards.

- Any person, firm or corporation demolishing any building or part thereof shall adhere to the following standards:

  - All utility services shall be disconnected and equipment removed by the utility companies. (Contractor to notify utility companies)

  - All concrete basement floors shall be broken up for proper drainage.

  - All basement walls shall be reduced to two feet below existing ground level.

  - All sanitary and storm sewers shall be plugged at the outlet with concrete.

  - A basement cavity may be filled with noncombustible material to a level two feet below existing ground level, as noted in subsection (a)(3) hereof.  Such noncombustible material shall not exceed an individual dimension larger than a standard cement block.

  - From two feet below existing ground level to existing ground level, the basement cavity shall be filled with clean fill material and crowned to provide for proper drainage after settlement.

  - All rubbish, debris, lumber, glass or other materials from a razed or demolished building shall be removed upon completion of demolition.

  - Four inches of top soil shall be evenly spread over entire site and graded to conform to adjacent properties.

  - Apply seed mixture of 50% rye/50% bluegrass at a rate of 5 pounds per 1,000 square feet. Rake to incorporate seed into soil.

  - Any person demolishing a building or part thereof shall erect barricades as specified by the Code Enforcement Department and shall provide lights at the barricades between sunset and sunrise.

  - Any person, firm or corporation demolishing any building or part thereof shall provide to the Building Department, prior to the issuance of a demolition permit, a certificate issued by a pest control operator certifying that the property to be demolished is free and clear of food products pests and/or rodent infestation; and if food products pests and/or rodent infestation is found to be on the premises, the property shall be exterminated prior to demolition.

  - Any person, firm or corporation demolishing any building or part thereof shall provide to the Building Department, prior to the issuance of a demolition permit, a certificate or other documentary proof establishing that the site at which the demolition materials are to be disposed of has been properly certified as an approved materials disposal site or transfer site approved by the applicable state and/or local site approval authorities.  If the disposal location is in the Stark County District, the contractor must provide the Building Department with a copy of their demolition materials disposal site or transfer site permit issued by the Stark County Board of Health.

  - If any building or part thereof which is being razed or demolished contains asbestos in quantities or under circumstances subjecting such asbestos to federal and/or state asbestos removal regulations, the removal of such asbestos shall be performed only by a person, firm or corporation certified by the applicable federal and/or state approval authorities for such removal and shall be performed in accordance with the methods and procedures required by applicable federal and/or state statutes and regulations.  If there is any question or uncertainty regarding the existence of asbestos subject to federal or state asbestos removal regulations, no permit shall be issued and no work shall be commenced until a determination of the need for special asbestos removal procedures has been determined by the Building Department and/or City or County Health Department.

- The Director of Public Safety, through the Building Department or such other department designated by the Safety Director, shall have the authority to implement any and all such requirements as may be necessary to effect the complete, safe and sanitary demolition of all properties, and to include the reclamation of the property following demolition.

(Ord. 204-94.  Passed 8-22-94.)

Section V: Bid Specifications

SPECIFICATIONS

1.0  SCOPE AND CLASSIFICATION

1.1	Scope: The City of Canton is accepting bids for the demolition of 2206 13th St NE, Parcel #235665.

1.2	Classification: The successful bidder will demolish and adhere to all bid specifications contained herein.

2.0  APPLICABLE PUBLICATIONS & STANDARDS

2.1	All demolition work shall be completed according to all applicable federal, state, and 	local ordinances.  Specifically, Canton Codified Ordinance 1319.06 Demolition 	Standards must be followed.  This Ordinance is contained in Section IV of this Invitation 	to Bid.

3.0  REQUIREMENTS

3.1	General Conditions and Requirements

3.1.1		Price: All bidders are required to bid fixed, firm pricing in the spaces provided on 			the proposal page.

3.1.2		By submitting a bid, bidder agrees that he/she has read and understands the bid 			documents (which will become part of the resulting contract) and agrees to 			comply with all requirements of the bid documents, regardless of whether the 			Bidder has actual knowledge of the requirements and regardless of any statement 			or omission made by the Bidder, which might indicate a contrary intention.

3.1.3		The Bidder has visited the Site, become familiar with local conditions, and has 			correlated personal observations about the requirements of the bid documents. 			The Bidder has no outstanding questions regarding the interpretation or 				clarification of the bid documents.

3.1.4		The Bidder understands that the execution of the demolition will require 				sequential, coordinated, and interrelated operations, which may involve 				interference, disruption, hindrance, or delay in the progress of the Bidder's Work. 			The Bidder agrees that the Contract Sum shall cover all amounts due from the 			City resulting from interference, disruption, hindrance, or delay that is not caused 			by the City or its agents and employees.  The Bidder agrees that any such 				interference, disruption, hindrance, or delay is within the contemplation of the 			Bidder and the City and that the Contractor’s sole remedy from the City for any 			such interference, disruption, hindrance, or delay shall be an extension of time in 			accordance with the bid/contract documents.

3.1.5		The Bidder agrees to furnish information requested by the Contracting Authority 			to evaluate the lowest and best bidder.

3.1.6		Bidder acknowledges that by signing the bid page that it is signing the actual Bid 			and when submitted as a part of its bid package, shall serve as the Bidder’s 			authorization for the further consideration and activity in the bidding and contract 			process.

3.2	Bidder/Contractor Requirements:

3.2.1		All contractors must be current licensed demolition contractors with the City of 			Canton Building Department.

3.2.2		Contractors must comply with all bond and insurance requirements as required in 			these bid documents.

3.2.3		Logistics Plan:  The awarded contractor will be required to submit a Logistics 			Plan prior to the work being started.  This logistics plan shall include at a 				minimum:

3.2.3.1			Safety Plan including: Emergency Plan of Action, Day-to-day access for 				Police, Fire and EMT, Emergency contact names and telephone numbers, 				Methods to protect adjacent property as well as the neighborhood 					(structures, utilities, sidewalks, streets, curbs, trees, lawns, etc.) and a 				Traffic Management plan.

3.2.3.2			Project personnel (contact information and resume) including: Project 				Manager, Project Superintendent, Equipment Operators and other 					pertinent individuals as well as Subcontractor Personnel.

3.2.3.3			Project Schedule including: Package Start and End date, Per address EPA 				10-day notifications, Per address Abatement and Demolition target dates, 				Per address Grading and Seeding target dates, Per address target Final 				Inspection dates.

3.2.3.4			Logistics outline including: Stationing of equipment and manpower at the 				addresses as well as the neighborhood, anticipated movement of 					equipment and method to minimize disruption to the neighborhood.

3.2.4		All bidders are required to fill out the Bidder Affirmation & Disclosure Form 			included as a part of the Proposal Pages.

3.3 	Demolition Requirements:

3.3.1		All work shall be done in accordance with Canton Codified Ordinance Section 			1319.06 Demolition Standards.  This Ordinance can be found in Section IV			of this Invitation to Bid.

3.3.2		All Demolition Permits must be obtained from the Canton Building Department 			before work begins.

3.3.3		Demolition Contractor must provide the Canton Building Department with a 			diagram showing where the Lateral Sewer Line(s), Storm Drain Line(s) & Down 			Spout Drain line(s) coming from each property have been capped, Contact Jerod 			Pennix in the Building Department when the sewer line is capped so he can 			inspect the capping & take pictures. If Jerod is not available, the contractor must 			take a picture of the sewer cap & provide a copy to both the Building & 				Development Departments. Failure to provide this information may result in 			being ordered to dig up the backfill material to show proof this work has been 			done.  Contact information is below.

3.3.4		Demolition contractors are responsible to replace any public sidewalks that are 			damaged as a result of the demolition process.

3.3.5		Contractors are also responsible to repair any damage done to neighboring 			properties caused by the demolition process.

3.3.6		Contractor must notify Building Department & Development Department the date 		& time the demolition will begin at each property so inspectors can monitor the 			project from start to finish to ensure all demolition requirements are met.                                                                                                                                        			Building Department: J.R. Rinaldi (330) 438-4716 - Cell 330-284-4422

3.3.7		Property to be demolished is parcel #235665, located at 2206 13th St NE.

3.3.8	Project will be bid as a regular abated EPA demolition. All dump tickets will be monitored per chapter 1319.06

1319.06 City of Canton Demolition Standards

(a)   Any person, firm or corporation demolishing any building or part thereof shall adhere to the following standards:

(1)   All utility services shall be disconnected and equipment removed by the Utility Companies.  (Contractor to notify Utility Companies)

(2)   All concrete basement floors shall be removed.

(3)   All basement walls shall be removed.

(4)   All sanitary and storm sewers shall be plugged at the outlet with concrete.

(5)   The basement cavity shall be filled with clean fill material and crowned to provide for proper drainage after settlement.

(6)   All rubbish, debris, lumber, glass or other materials from a razed or demolished building shall be removed upon completion of demolition.

(7)   Four (4) inches of screened top soil shall be evenly spread over entire site and graded to conform to adjacent properties.

(8)   Apply seed mixture of 50% rye/ 50% bluegrass at a rate of 5 pounds per 1,000 square feet. Rake to incorporate seed into soil.

(9)  Any person demolishing any building or part thereof shall erect barricades as specified by the Code Enforcement Department and shall provide lights at the barricades between sunset and sunrise.

(10)  Any person, firm or corporation demolishing any building or part thereof shall provide the Building Department, prior to the issuance of a Demolition Permit, a certificate issued by a pest control operator certifying that the property to be demolished is free and clear of food products, pests and/or rodent infestation; and if food products, pests and/or rodent infestation is found to be on the premises, the property shall be exterminated prior to demolition.

(11)  Any person, firm or corporation demolishing any building or part thereof shall provide to the Building Department, prior to issuance of a Demolition Permit, a certificate or other documentary proof establishing that the site at which the demolition materials are to be disposed of has been properly certified as an approved materials disposal site or transfer site approved by the applicable state and/or local site approval authorities. If the disposal location is in Stark County District, the contractor must provide the Building Department with a copy of their demolition materials disposal site or transfer site permit issued by the Stark County Board of Health.

(12)  If any building or part thereof which is being razed or demolished contains asbestos in quantities or under circumstances subjecting such asbestos to federal and/or state asbestos removal regulations, the removal of such asbestos shall be performed by only by a person, firm or corporation certified by the applicable federal and/or state approval authorities for such removal and shall be performed in accordance with the methods and procedures required by applicable federal and/or state statutes and regulations. If there is any question or uncertainty regarding the existence of asbestos subject to federal or state asbestos removal regulations, no permit shall be issued and no work shall be commenced until a determination of the need for special asbestos removal procedures has been determined by the Building Department and/or City or County Health Department.

(a)   The Director of Public Safety, through the Building Department or such other department designated by the Safety Director, shall have the authority to implement any and all such requirements as may be necessary to effect the complete, safe and sanitary demolition of all properties, and to include the reclamation of the property following demolition.

(13)  See Exhibit “A” for exact Scope of Work, square footage of property (s) and forensic details (property card) from said property (s).

* All Demolition Permits must be obtained from the Canton Building Department before work begins. Demolition Contractor must provide the Canton Building Department with a diagram showing where the Lateral Sewer Line(s), Storm Drain Line(s) & Down Spout Drain line(s) coming from each property have been capped, Contact Jerod Pennix in the Building Dept.  when the sewer line is capped so he can inspect the capping & take pictures. If Jerod is not available, the contractor must take a picture of the sewer cap & provide a copy to both the Building Departments. Failure to provide this information may result in being ordered to dig up the backfill material to show proof this work has been done. Demolition contractors are responsible to replace any public sidewalks that are damaged as a result of the demolition process. Contractors are also responsible to repair any damage done to neighboring properties caused by the demolition process. Contractor must notify Building Department & Development Department the date & time the demolition will begin at each property so inspectors can monitor the project from start to finish to ensure all demolition requirements are met.  Building Department: (330) 430-7800 - Jerod Pennix (330) 438-4708 - Cell (330) 413-9681. or J.R. Rinaldi (330) 438-4716 - Cell 330-284-4422 – Angela Medina – 330-438-4725

**CONTRACTOR MUST SUBMIT A BEFORE, DURING, & AFTER DEMOLITION PHOTO OF PROPERTY WITH A BACKGROUND LANDMARK, TAKEN FROM THE SAME LOCATION FOR EACH PROPERTY.

3.3.9	Low quote winner will remove entire structure and all footers/slabs/components/basements/fence posts/poles from the property in the footprint area.  All Barnstone/Sandstone stonework from tower structure remains City of Canton property and will be loaded onto City of Canton vehicles by contractor.  Contractor will contact Stark Soil and Water for erosion control as building footprint is more than an acre in size.  Protect EPA Test Stems that are located throughout the building from damage.  Regular, clean fill that will grow grass may replace screened topsoil expectations $5,000 will be withheld until grass is evident and approved by the Building Department.

3.3.10			City of Canton will handle:

Trees

Electric and Gas Service Cut

3.3.11	Everything on the property (s) must be removed and that after total completion, will leave a clean/crowned property. Proper protection of the sidewalks will be enforced. Any damaged sidewalks will be repaired by the contractor if damaged/disturbed.

NOTE***Greening deduction ($5,000) will be held until lot is greened and approved by the City of Canton Building Department. Contact Angela for additional details.

3.3.8

3.3.23		Pictures of the Property are included and attached as Exhibit A.

3.4

3.4.3		Subcontracting

3.4.3.1			The Contractor shall not be required to employ a subcontractor against 				whom the Contractor has a reasonable objection.  The Contractor agrees 				that the Contractor is fully responsible to the City for (I) the acts and 				omissions of Contractor’s officers, agents, employees, or servants 					employed or used by the Contractor; and (ii) the acts and omissions of any 			subcontractors and their officers, agents, employees, or servants, whether 				directly or indirectly employed or used by a subcontractor.  Nothing 				contained in this Contract shall create any contractual relationship 					between the City and any subcontractors.

3.4.3.2			All subcontracts entered into by Contractor shall incorporate therein the 				terms of this Contract.

3.4.3.3			The Contractor shall also use its best efforts to use minority and women’s 				business enterprises for any Work subcontracted in connection with the 				Project, as provided in Executive Orders 11625, 12432 and 12138.

3.4.3.4			The Contractor shall not, in connection with the Project, enter in any 				contract with any members, officers, employee, representative or agent of 				the City, or in which members of the immediate family of such individuals 			have an interest.

3.5	The successful bidder will be required to submit copies of all subcontracts to the City of Canton that are entered into for the completion of the demolition(s).

3.6	Contract Non-Performance and Cancellation

3.6.1	If it is determined by the City of Canton that a contractor has failed to perform or otherwise breached their contract with the City, the City will give notice to the contractor of said non-performance or breach, and the contractor will have thirty (30) days from the time of said notice to remedy the non-performance or breach to the complete satisfaction of the City of Canton.

3.6.2		If a non-performance or breach is not remedied pursuant to specification 3.3.1, the 		City of Canton reserves the right to terminate the contract and re-award to a 			different contractor.

3.7	Change Orders

3.7.1		All change orders must be approved by the City of Canton Board of Control and 			formal change order process in advance to commencing any work covered by said 		change order.

3.7.2		Any change order in excess of 10% of the original contract price must first be 			approved by Canton City Council.

4.0  SAMPLING, INSPECTION, AND TEST PROCEDURES

4.1	All work must be completed to the satisfaction of the City of Canton and City of Canton Building/Code Department.

5.0  INVOICING

5.2	Invoicing

5.2.1		Invoices shall show the City’s purchase order number, the item number, the 	quantity, a brief description of the item, the unit price and the total amount due.

5.2.2	Invoice address:  All invoices shall be submitted to the address on the Purchase Order.

5.2.3	The City requires two (2) invoices for the work: One (1) invoice for the actual demolition work, and one (1) invoice for the grading, seeding & strawing of the property when the demolition work is finished.

6.0  NOTES AND INSTRUCTIONS

6.1	Prospective bidders will take notice that the City of Canton, in determining the lowest and best bidder in the award of this contract, may award a local bidder preference to any qualified bidder pursuant to Section 105.12 of the Codified Ordinances of the City of Canton. The determination of whether a bidder qualifies for the local preference shall be made by the Board of Control. The Board's decision shall be final. A copy of City Code Section 105.12 is attached.

6.2	Award Process

6.2.1		Contracts will be awarded in accordance with Section 105.09 of the City of 			Canton Codified Ordinances using the standard of lowest and best bidder.

6.2.2		The Board of Control reserves the right to reject any or all bids and to accept the 			bid(s) deemed most beneficial to the City of Canton.  The Board of Control and 			Director of Public Service reserve the right to waive minor deficiencies contained 			within a bid.

6.3	Questions and Addenda

6.3.1		All questions should be submitted in writing at least five (5) business days prior to 		the bid 	opening.  Answers to questions will be issued in writing as official 				addenda no later than 	seventy two (72) business hours prior to the time of the bid 			opening.  Said addenda will become a component of the invitation to bid and 			should be acknowledged as received on the proposal page.  Failure to 				acknowledge all official addenda in this manner may result in your bid being 			disqualified.

6.3.2		All questions should be directed to:

Andy Roth

City of Canton Purchasing Department

Email: andrew.roth@cantonohio.gov

6.3.3		Bidders are expected to and responsible for monitoring the City’s website for all 			official addenda.

6.3.4		Oral instructions or decisions, unless confirmed by addenda, will not be 				considered valid, legal or binding.

6.4 	Proposal Page Instructions:

6.4.1		Bidders are required to fill out the proposal pages completely. Failure to do so 			may result in your bid being disqualified.  This includes providing the address 			where bid materials can be obtained by the various City of Canton departments.  			Distance from City sites to the bidder’s loading site may be considered when 			determining the lowest and best bid.

6.4.2		Prices shall include all of the requirements listed herein.

6.5	Please be advised that when you submit a bid to the City of Canton, the City will 			assume that an authorized representative of your company reviewed said bid to 			assure that the bid is correct and/or accurate.

6.6	Any bidder may withdraw a bid, by written request, at any time prior to the time set for the bid opening.  This request must be made to Katie Wise, Assistant Director of Purchasing at kathryn.wise@cantonohio.gov.  If there is no withdrawal of the bid, in accordance to 	this procedure, the City reserves the right to enforce said bid prices(s) and/or contract(s).

6.7	If a bidder attempts to alter any of the terms and/or conditions of these bid specifications or the proposal page, the City of Canton may reject said bid.

6.8	The party submitting a bid is solely responsible for the delivery of the bid to the specified location prior to the deadline for the receipt of bids.  The Purchasing Department time stamp clock is the official time used for the deadline of the submission of bids.

Section VI: Proposal and Signature Pages

Proposal Page

Demolition of 2206 13th St NE, Parcel #235665

We (I), the below signed hereby propose to furnish the following article(s) and/or service(s) at the price(s) and terms stated subject to all instructions, conditions, specifications, and all attachments hereto.  We (I) have read all attachments including the specifications and fully understand what is required.

| Bid Price (In Figures) | Bid Price (In Words) |
| --- | --- |

Addenda Acknowledgement

I hereby acknowledge the following official addenda (leave blank if no addenda were issued)

Addenda Number(s) _____________________________________________________________

BIDDER AFFIRMATION AND DISCLOSURE

The Bidder shall provide the names of companies and their locations that provide services under this Contract in the spaces provided below or by attachment. Failure to provide this information as part of its Bid may cause the Bidder to be deemed non-responsive and no further consideration will be given to its Bid. If the Bidder will not be using Subcontractors, indicate “Not Applicable” in the appropriate spaces.  Also, please attach additional copies of this sheet if necessary.

- Subcontractors:

______________________________

Company Name	Contact Person

______________________________

Address	City, State, Zip

__________________________________________            ______________________________

Canton Contractor’s Registration #/expiration date	Ohio Contractor’s License #/expiration date

______________________________

Company Name	Contact Person

______________________________

Address	City, State, Zip

__________________________________________            ______________________________

Canton Contractor’s Registration #/expiration date	Ohio Contractor’s License #/expiration date

______________________________

Company Name	Contact Person

______________________________

Address	City, State, Zip

__________________________________________            ______________________________

Canton Contractor’s Registration #/expiration date	Ohio Contractor’s License #/expiration date

- Disposal Site (Solid Waste):

______________________________

Company Name	Contact Person

______________________________

Address	City, State, Zip

__________________________________________            ______________________________

Canton Contractor’s Registration #/expiration date	Ohio Contractor’s License #/expiration date

- Disposal Site (Hazardous Waste):

______________________________

Company Name	Contact Person

______________________________

Address	City, State, Zip

__________________________________________            ______________________________

Canton Contractor’s Registration #/expiration date	Ohio Contractor’s License #/expiration date

- Location(s) where data will be stored, accessed, tested, maintained, or backed-up, by Contractor:

Address							City, State, Zip

Address	City, State, Zip

Address	City, State, Zip

Signature Page

Demolition of 2206 13th St NE, Parcel #235665

To the Director of Public Safety of the City of Canton:

The undersigned, having carefully examined the complete invitation to bid, herewith proposes to furnish all of the goods and/or services contained within the bid for Demolition of 2206 13th St NE, Parcel #235665 in accordance with all specifications on file to the satisfaction of the Director of Public Safety of said City.

The bidder hereby agrees that the Director of Public Safety has the right to reject any and all bids and to accept the bid(s) deemed most beneficial to the City of Canton.

The bidder herewith encloses a                                                                                   (Bid Bond, Certified/Cashier's Check) in the sum of $                        dollars made payable to the CITY OF CANTON as a guaranty that if awarded the contract ___________________________ will enter into contract therefore, within the prescribed time of ten (10) days from the date of service of notice of award, otherwise such bond or checks shall become the property of said City.

The bidder acknowledges receipt of Addenda Numbers:                                                                 .

SIGNATURE OF BIDDER:                                                                                         .

NOTE:	If bidder is a corporation, set forth the legal name of the corporation, together with the signature of the officer or officers authorized to sign contracts on behalf of the corporation.  If bidder is a partnership, set forth the name of the firm, together with the signature of the partner or partners authorized to sign contracts on behalf of the partnership.

Please have this page Notarized.