| District Five Of Lexington and Richland Counties | District Five of Lexington and Richland Counties Request for Proposals | Solicitation # | 2018-033 |
| --- | --- | --- | --- |
|  |  | Date Issued | 03/09/2018 |
|  |  | Procurement Official | Lynda Robinson |
|  |  | Phone | (803) 476-8140 |
|  |  | E-Mail Address | D5bids@lexrich5.org |

| DESCRIPTION | Mechanical and HVAC Inspection, Repair and Preventative Maintenance |
| --- | --- |

The Term “Offer” Means Your “Bid” or “Proposal”

| SUBMIT OFFER BY | May 2, 2018 @ 3:00 PM |
| --- | --- |
| QUESTIONS MUST BE RECEIVED BY | April 17, 2018 @ 2:00 PM |
| NUMBER OF COPIES TO BE SUBMITTED | 4 |

Offers must be submitted in a sealed package.  Solicitation number & Opening Date must appear on package exterior.

SUBMIT YOUR SEALED OFFER TO:

| District Five of Lexington and Richland Counties Purchasing Office 1020 Dutch Fork Road Irmo, SC 29063 |  |  |
| --- | --- | --- |
| CONFERENCE TYPE: Pre-BID and Inspection (Non-Mandatory) DATE & TIME: March 21, 2018 at 9:00 AM As appropriate, see "Conferences - Pre-Bid/Proposal" & "Site Visit" provisions |  |  |  | LOCATION: Board Room, District Office |
| AWARD & AMENDMENTS |  | This solicitation, any amendments, and award will be posted at the following web address: http://www.lexrich5.org/Page/16458 |  |  |
| You must submit a signed copy of this form with Your Offer. By submitting a bid or proposal, You agree to be bound by the terms of the Solicitation. You agree to hold Your Offer open for a minimum of thirty (30) calendar days after the Opening Date. |  |  |  |  |
| NAME OF OFFEROR (Full legal name of business submitting the offer) |  |  |  | OFFEROR'S TYPE OF ENTITY: (Check one) Sole Proprietorship Partnership Corporation (tax-exempt) Corporate entity (not tax-exempt) Government entity (federal, state, or local) Other _____________________ (See "Signing Your Offer" provision.) |
| AUTHORIZED SIGNATURE (Person signing must be authorized to submit binding offer to enter contract on behalf of Offeror named above.) |  |  |  |  |
| TITLE (Business title of person signing above) |  |  |  |  |
| PRINTED NAME (Printed name of person signing above) |  |  | DATE SIGNED |  |
| Instructions regarding Offeror's name: Any award issued will be issued to, and the contract will be formed with, the entity identified as the Offeror above. The entity named as the Offeror must be a single and distinct legal entity. Do not use the name of a branch office or a division of a larger entity if the branch or division is not a separate legal entity, i.e., a separate corporation, partnership, sole proprietorship, etc. |  |  |  |  |
| STATE OF INCORPORATION (If Offeror is a corporation, identify the state of Incorporation.) |  |  |  | TAXPAYER IDENTIFICATION NO. |

PAGE TWO

(Return Page Two with Your Offer)

| HOME OFFICE ADDRESS (Address for Offeror's home office / principal place of business) |  |  |  |  |  | NOTICE ADDRESS (Address to which all procurement and contract related notices should be sent.) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Area Code: | Number: |  |  | Extension: |  | Facsimile: |  |
|  |  |  |  |  |  | E-Mail Address: |  |  |  |  |  |  |  |
| PAYMENT ADDRESS (Address to which payments will be sent. Payment Address same as Home Office Address Payment Address same as Notice Address (check only one) |  |  |  |  |  | ORDER ADDRESS (Address to which purchase orders will be sent) |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Order E-Mail Address: |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Order Address same as Home Office Address Order Address same as Notice Address (check only one) |  |  |  |  |  |  |  |
| ACKNOWLEDGMENT OF AMENDMENTS: Offerors acknowledges receipt of amendments by indicating amendment number and its date of issue. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Amendment No. | Amendment Issue Date | Amendment No. |  | Amendment Issue Date |  | Amendment No. |  | Amendment Issue Date | Amendment No. |  |  |  | Amendment Issue Date |
| DISCOUNT FOR PROMPT PAYMENT |  |  | 10 Calendar Days (%) |  | 20 Calendar Days(%) |  |  | 30 Calendar Days (%) |  |  | Calendar Days (%) |  |  |
| MINORITY PARTICIPATION |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Please answer the following question: - Are you certified as a MOB/WOB (minority-owned business/woman-owned business) by the State of South Carolina? Yes No If yes, provide certification number: . |  |  |  |  |  |  |  |  |  |  |  |  |  |

PAGE TWO				End of Page Two

MECHANICAL AND HVAC INSPECTION, REPAIR AND PREVENTATIVE MAINTENANCE CONTRACT

Caution: The only official source for this document is the one cited in the advertisement in the South Carolina Business Opportunities newsletter. Not getting this document directly from that source could mean that this document has been superseded by a later version. Answers to questions, all clarifications, and any addenda will be available online at http://www.lexrich5.org/page/9173. The Owner is not responsible for any reader’s failure to heed this warning.

Proposals Due: May 2, 2018, by 2 PM

Table of Contents

I. SCOPE OF SOLICITATION	9

DEFINITIONS, CAPITALIZATION, AND HEADINGS (DEC 2015)	10

AMENDMENTS TO SOLICITATION (JAN 2004)	10

AUTHORIZED AGENT (FEB 2015)	11

AWARD NOTIFICATION (FEB 2015)	11

BID/PROPOSAL AS OFFER TO CONTRACT (JAN 2004)	11

BID ACCEPTANCE PERIOD (JAN 2004)	11

BID IN ENGLISH and DOLLARS (JAN 2004)	11

CERTIFICATE OF INDEPENDENT PRICE DETERMINATION (MAY 2008)	11

CERTIFICATION REGARDING DEBARMENT AND OTHER RESPONSIBILITY MATTERS (JAN 2004)	12

DISCLOSURE OF CONFLICTS OF INTEREST OR UNFAIR COMPETITIVE ADVANTAGE (FEB 2015)	13

DEADLINE FOR SUBMISSION OF OFFER (JAN 2004)	13

DRUG FREE WORK PLACE CERTIFICATION (JAN 2004)	13

DUTY TO INQUIRE (FEB 2015)	13

ETHICS CERTIFICATE (MAY 2008)	13

IRAN DIVESTMENT ACT - CERTIFICATION (DEC 2015)	14

OPEN TRADE REPRESENTATION (JUN 2015)	14

PROTESTS (JUN 2006)	14

PROHIBITED COMMUNICATIONS AND DONATIONS (FEB 2015)	14

PUBLIC OPENING (JAN 2004)	14

QUESTIONS FROM OFFERORS (FEB 2015)	14

REJECTION/CANCELLATION (JAN 2004)	15

RESPONSIVENESS/IMPROPER OFFERS (JUN 2015)	15

SIGNING YOUR OFFER (JAN 2004)	16

OFFICE CLOSINGS (JAN 2004)	16

SUBMITTING CONFIDENTIAL INFORMATION (FEB 2015)	16

SUBMITTING A PAPER OFFER OR MODIFICATION (MAR 2015)	17

TAXPAYER IDENTIFICATION NUMBER (JAN 2004)	17

WITHDRAWAL OR CORRECTION OF OFFER (JAN 2004)	17

II. INSTRUCTIONS TO OFFERORS -- B. SPECIAL INSTRUCTIONS	18

CONFERENCE - PRE-BID/PROPOSAL (JAN 2006)	18

OPENING PROPOSALS -- INFORMATION NOT DIVULGED	18

III. SCOPE OF WORK/SPECIFICATIONS	19

1.0	Description of Services and Deliverables	19

1.1	Mechanical and HVAC Inspections:	19

1.2	Preventive Maintenance Actions:	19

1.3	REPAIR ACTIONS:	20

1.4	Filter Service/Changes:	20

1.5	Water Treatment Service:	20

1.6	Indoor / Outdoor Coil Cleaning Service:	21

1.7	General Repairs:	21

2.0	SERVICES:	21

2.1	List of Covered Equipment	22

2.2	BOILERS	22

2.3	ROOFTOP PACKAGED EQUIPMENT	22

2.4	EXHAUST FANS	23

2.5	CONDENSING UNITS – AIR COOLED	23

2.6	FAN COIL UNITS	23

2.7	PUMPS	23

2.8	WATER TREATMENT – HOT WATER BOILER / COOLING TOWERS	23

2.9	VARIABLE FREQUENCY DRIVES	23

2.10	INFRARED ELECTRICAL PANEL TESTING	24

2.11	COOLING TOWER MAINTENANCE	24

2.12 	Asset Tracking, Service Tracking and Reports	24

2.13 	Parts Availability	24

2.14 	Combustible material	25

2.15 	Refrigerant Status Report	25

2.16	Safety	25

2.17 POWER DELINEATION	25

3.0  Mandatory Minimum Qualifications:	25

4.0	SERVICES NOT INCLUDED	26

5.0  WORK LOCATION AND HOURS	26

6.0  EQUIPMENT AND INVENTORY	27

6.1	EQUIPMENT	27

6.2	INVENTORY	27

7.0	RFP ATTACHMENTS	27

8.0     SUBMISSION OF PROPOSALS	27

9.0	PROPOSAL CONTENTS	28

9.1	Technical Proposal.	28

9.2	Certifications, Attachments, and Other Requirements.	28

9.3	Cost Proposal.oposal.	29

10.0	OFFER PERIOD	29

IV. INFORMATION FOR OFFERORS TO SUBMIT	30

INFORMATION FOR OFFERORS TO SUBMIT	30

CORPORATE BACKGROUND AND EXPERIENCE	31

REFERENCES	32

PRIOR PROJECTS AND CONTRACTS	32

RELATED EXPERIENCE	33

V. QUALIFICATIONS	33

QUALIFICATIONS OF OFFEROR (MAR 2015)	33

SUBCONTRACTOR – IDENTIFICATION (FEB 2015)	33

VI. AWARD CRITERIA	34

AWARD CRITERIA -- PROPOSALS (JAN 2006)	34

AWARD TO ONE OFFEROR (JAN 2006)	34

DISCUSSIONS AND NEGOTIATIONS - OPTIONAL (FEB 2015)	34

EVALUATION FACTORS -- PROPOSALS (MODIFIED)	34

VII. TERMS AND CONDITIONS -- A. GENERAL	35

ASSIGNMENT, NOVATION, AND CHANGE OF NAME, IDENTITY, OR STRUCTURE (FEB 2015)	35

BANKRUPTCY - GENERAL (FEB 2015)	35

CHOICE-OF-LAW (JAN 2006)	35

CONTRACT DOCUMENTS and ORDER OF PRECEDENCE (FEB 2015)	35

DISCOUNT FOR PROMPT PAYMENT (JAN 2006)	35

DISPUTES (JAN 2006)	36

EQUAL OPPORTUNITY (JAN 2006)	36

FALSE CLAIMS (JAN 2006)	36

FIXED PRICING REQUIRED (JAN 2006)	36

NO INDEMNITY OR DEFENSE (FEB 2015)	36

NOTICE (JAN 2006)	36

OPEN TRADE (JUN 2015)	37

PAYMENT and INTEREST (FEB 2015)	37

PUBLICITY (JAN 2006)	37

PURCHASE ORDERS (JAN 2006)	37

IRAN DIVESTMENT ACT - ONGOING OBLIGATIONS (JAN 2015)	37

SURVIVAL OF OBLIGATIONS (JAN 2006)	38

TAXES (JAN 2006)	38

TERMINATION DUE TO UNAVAILABILITY OF FUNDS (JAN 2006)	38

THIRD PARTY BENEFICIARY (JAN 2006)	38

WAIVER (JAN 2006)	38

VII. TERMS AND CONDITIONS -- B. SPECIAL	39

CHANGES (JAN 2006)	39

CISG (JAN 2006)	39

CONTRACT LIMITATIONS (JAN 2006)	39

CONTRACTOR PERSONNEL (JAN 2006):	39

CONTRACTOR’S OBLIGATION – GENERAL (JAN 2006):	40

DEFAULT (JAN 2006)	40

DISPOSAL OF PACKAGING (JAN 2006)	41

ESTIMATED QUANTITY -- PURCHASES FROM OTHER SOURCES (JAN 2006)	41

ESTIMATED QUANTITY -- UNKNOWN (JAN 2006)	41

ILLEGAL IMMIGRATION (NOV 2008):	41

LICENSES AND PERMITS (JAN 2006):	41

MATERIAL AND WORKMANSHIP (JAN 2006):	42

PRICE ADJUSTMENTS (JAN 2006)	42

PRICE ADJUSTMENT - LIMITED -- AFTER INITIAL TERM ONLY (JAN 2006)	42

PRICE ADJUSTMENTS -- LIMITED BY PPI (JAN 2006)	42

PRICING DATA -- AUDIT -- INSPECTION (JAN 2006)	42

TERM OF CONTRACT -- EFFECTIVE DATE / INITIAL CONTRACT PERIOD (JAN 2006)	43

TERM OF CONTRACT -- OPTION TO RENEW (JAN 2015)	43

TERM OF CONTRACT -- TERMINATION BY CONTRACTOR (JAN 2006)	43

TERMINATION FOR CONVENIENCE -- INDEFINITE DELIVERY / INDEFINITE QUANTITY CONTRACTS (JAN 2006)	43

TERMINATION FOR CONVENIENCE (JAN 2006)	43

WARRANTY -- STANDARD (MODIFIED)	44

AP

# I. SCOPE OF SOLICITATION

School District Five of Lexington and Richland Counties seeks the services of a person or entity with expertise in Mechanical and HVAC Systems.  The District requires a qualified service provider to provide inspections, preventive maintenance, service and repair to improve equipment operations, increase efficiency, minimize breakdowns and prolong equipment life and to perform scheduled inspections of the District’s systems.  The maintenance also includes filter service, water treatment service, and outdoor coil cleaning service. The repairs include all repairs to District  heating, ventilation, air conditioning and mechanical equipment as described herein. The initial contract period is three years with two one-year options to renew.

The Service Provider will provide services at the following locations:

Chapin Area Bus Transportation Office

930 Old Bush River Road

Chapin, SC 29036

Ballentine Elementary School

1040 Sid Bickley Road

Irmo, SC 29063     803-476-4500

Dutch Fork Elementary School

7900 Broad River Road

Irmo, SC 29063     803-476-3900

H.E. Corley Elementary School

1500 Chadford Road

Irmo, SC 29063     803-476-4001

Lake Murray Elementary School

1531 Three Dog Road

Chapin, SC 29036     803-476-4600

Nursery Road Elementary School

6706 Nursery Road

Columbia, SC 29212     803-476-4300

River Springs Elementary School

115 Connie Wright Road

Irmo, SC 29063     803-476-4400

Chapin Intermediate School

1130 Old Lexington Highway

Chapin, SC 29036     803-575-5700

Chapin Middle School

11661 Broad River Road

Chapin, SC 29036      803-726-6500

Gibbes Street Annex

1301 Lexington Avenue

Irmo, SC 29063

Irmo Middle School

6051 Wescott Road

Columbia, SC 29212     803-476-3600

Dutch Fork High School

1400 Old Tamah Road

Irmo, SC 29063      803-476-3300

Spring Hill High School

11629 Broad River Road

Chapin, SC 29036      803-476-8700

District Office

1020 Dutch Fork Road

Irmo, SC 29063      803-476-8000

Dutch Fork Area Transportation Office

1536 Old Tamah Road Irmo, SC 29063

Irmo Area Bus Transportation Office

6708 Saint Andrews Road Columbia, SC 29212

Chapin Elementary School

940 Old Bush River Road

Chapin, SC 29036      803-575-5900

Harbison West Elementary School

257 Crossbow Drive

Columbia, SC 29212     803-476-3900

Irmo Elementary School

7401 Gibbes Street

Irmo, SC 29063     803-476-4200

Leaphart Elementary School

120 Piney Grove Road

Columbia, SC 29210      803-476-4700

Oak Pointe Elementary School

1 River Bottom Road

Irmo, SC 29063      803-476-4100

Seven Oaks Elementary School

2800 Ashland Road

Columbia, SC 29210     803-476-8500

CrossRoads Intermediate School

6949 Saint Andrews Road

Columbia, SC 29212     803-476-8300

Dutch Fork Middle School

1528 Old Tamah Road

Irmo, SC 29063      803-476-4800

Chapin High School

300 Columbia Avenue

Chapin, SC 29036     803-575-5400

Irmo High School

6671 Saint Andrews Road

Columbia, SC 29212     803-476-3000

Center for Advance Technical Studies

916 Mount Vernon Church Road

Chapin, SC 29036     803-476-8600

II. INSTRUCTIONS TO OFFERORS - A. GENERAL INSTRUCTIONS

## DEFINITIONS, CAPITALIZATION, AND HEADINGS (DEC 2015)

CLAUSE HEADINGS USED IN THIS SOLICITATION ARE FOR CONVENIENCE ONLY AND SHALL NOT BE USED TO CONSTRUE MEANING OR INTENT. EVEN IF NOT CAPITALIZED, THE FOLLOWING DEFINITIONS ARE APPLICABLE TO ALL PARTS OF THE SOLICITATION, UNLESS EXPRESSLY PROVIDED OTHERWISE.

AMENDMENT means a document issued to supplement the original solicitation document.

BUSINESS means any corporation, partnership, individual, sole proprietorship, joint stock company, joint venture, or any other legal entity. [11-35-310(3)]

CHANGE ORDER means any written alteration in specifications, delivery point, rate of delivery, period of performance, price, quantity, or other provisions of any contract accomplished by mutual agreement of the parties to the contract. [11-35-310(4)]

CONTRACT See clause entitled Contract Documents & Order of Precedence.

CONTRACT MODIFICATION means a written order signed by the procurement officer, directing the contractor to make changes which the clause of the contract titled "Changes," if included herein, authorizes the Procurement Officer to order without the consent of the contractor. [11-35-310(9)]

CONTRACTOR means the Offeror receiving an award as a result of this solicitation.

COVER PAGE means the top page of the original solicitation on which the solicitation is identified by number. Offerors are cautioned that Amendments may modify information provided on the Cover Page.

DISTRICT or SCHOOL DISTRICT, DISTRICT FIVE or DISTRICT 5 means SCHOOL DISTRICT FIVE OF LEXINGTON AND RICHLAND COUNTIES

OFFER means the bid or proposal submitted in response this solicitation. The terms Bid and Proposal are used interchangeably with the term Offer.

OFFEROR means the single legal entity submitting the offer. The term Bidder is used interchangeably with the term Offeror. See bidding provisions entitled Signing Your Offer and Bid/Proposal as Offer to Contract.

PAGE TWO means the second page of the original solicitation, which is labeled Page Two.

PROCUREMENT OFFICER means the person, or his or her successor, identified as such on either the Cover Page, an amendment, or an award notice.

YOU and YOUR means Offeror.

SOLICITATION means this document, including all its parts, attachments, and any Amendments.

SUBCONTRACTOR means any person you contract with to perform or provide any part of the work.

US or WE mean the using SCHOOL DISTRICT FIVE OF LEXINGTON AND RICHLAND COUNTIES.

USING GOVERNMENTAL UNIT means SCHOOL DISTRICT FIVE OF LEXINGTON AND RICHLAND COUNTIES.

WORK means all labor, materials, equipment, services, or property of any type, provided or to be provided by the Contractor to fulfill the Contractor's obligations under the Contract.

[02-2A003-3]

## AMENDMENTS TO SOLICITATION (JAN 2004)

The Solicitation may be amended at any time prior to opening. All actual and prospective Offerors should monitor the following web site for the issuance of Amendments:

http://www.lexrich5.org/Page/16458.

Offerors shall acknowledge receipt of any amendment to this solicitation (1) by signing and returning the amendment, (2) by identifying the amendment number and date in the space provided for this purpose on Page Two, (3) by letter, or (4) by submitting a bid that indicates in some way that the bidder received the amendment. (c) If this solicitation is amended, then all terms and conditions which are not modified remain unchanged. [02-2A005-1]

## AUTHORIZED AGENT (FEB 2015)

All authority regarding this procurement is vested solely with the responsible Procurement Officer. Unless specifically delegated in writing, the Procurement Officer is the only government official authorized to bind the government with regard to this procurement or the resulting contract. [02-2A007-1]

## AWARD NOTIFICATION (FEB 2015)

Notice regarding any award, cancellation of award, or extension of award will be posted at the location and on the date specified on the Cover Page or, if applicable, any notice of extension of award. Should the contract resulting from this Solicitation have a total or potential value of one hundred thousand dollars or more, such notice will be sent to all Offerors responding to the Solicitation and any award will not be effective until the eleventh day after such notice is given. [02-2A010-2]

## BID/PROPOSAL AS OFFER TO CONTRACT (JAN 2004)

By submitting Your Bid or Proposal, you are offering to enter into a contract with the School District. Without further action by either party, a binding contract shall result upon final award. Any award issued will be issued to, and the contract will be formed with, the entity identified as the Offeror on the Cover Page. An Offer may be submitted by only one legal entity; "joint bids" are not allowed. [02-2A015-1]

## BID ACCEPTANCE PERIOD (JAN 2004)

In order to withdraw Your Offer after the minimum period specified on the Cover Page, You must notify the Procurement Officer in writing. [02-2A020-1]

## BID IN ENGLISH and DOLLARS (JAN 2004)

Offers submitted in response to this solicitation shall be in the English language and in US dollars, unless otherwise permitted by the Solicitation. [02-2A025-1]

## CERTIFICATE OF INDEPENDENT PRICE DETERMINATION (MAY 2008)

GIVING FALSE, MISLEADING, OR INCOMPLETE INFORMATION ON THIS CERTIFICATION MAY RENDER YOU SUBJECT TO PROSECUTION UNDER SECTION 16-9-10 OF THE SOUTH CAROLINA CODE OF LAWS AND OTHER APPLICABLE LAWS.

(a) By submitting an offer, the offeror certifies that-

(1) The prices in this offer have been arrived at independently, without, for the purpose of restricting competition, any consultation, communication, or agreement with any other offeror or competitor relating to-

(i) Those prices;

(ii) The intention to submit an offer; or

(iii) The methods or factors used to calculate the prices offered.

(2) The prices in this offer have not been and will not be knowingly disclosed by the offeror, directly or indirectly, to any other offeror or competitor before bid opening (in the case of a sealed bid solicitation) or contract award (in the case of a negotiated solicitation) unless otherwise required by law; and

(3) No attempt has been made or will be made by the offeror to induce any other concern to submit or not to submit an offer for the purpose of restricting competition.

(b) Each signature on the offer is considered to be a certification by the signatory that the signatory-

(1) Is the person in the offeror's organization responsible for determining the prices being offered in this bid or proposal, and that the signatory has not participated and will not participate in any action contrary to paragraphs (a)(1) through (a)(3) of this certification; or

(2)(i) Has been authorized, in writing, to act as agent for the offeror's principals in certifying that those principals have not participated, and will not participate in any action contrary to paragraphs (a)(1) through (a)(3) of this certification [As used in this subdivision (b)(2)(i), the term "principals" means the person(s) in the offeror's organization responsible for determining the prices offered in this bid or proposal];

(ii) As an authorized agent, does certify that the principals referenced in subdivision (b)(2)(i) of this certification have not participated, and will not participate, in any action contrary to paragraphs (a)(1) through (a)(3) of this certification; and

(iii) As an agent, has not personally participated, and will not participate, in any action contrary to paragraphs (a)(1) through (a)(3) of this certification.

(c) If the offeror deletes or modifies paragraph (a)(2) of this certification, the offeror must furnish with its offer a signed statement setting forth in detail the circumstances of the disclosure. [02-2A032-1]

## CERTIFICATION REGARDING DEBARMENT AND OTHER RESPONSIBILITY MATTERS (JAN 2004)

(a)  By submitting an Offer, Offeror certifies, to the best of its knowledge and belief, that-

(i) Offeror and/or any of its Principals-

(A) Are not presently debarred, suspended, proposed for debarment, or declared ineligible for the award of contracts by any state or federal agency;

(B) Have not, within a three-year period preceding this offer, been convicted of or had a civil judgment rendered against them for: commission of fraud or a criminal offense in connection with obtaining, attempting to obtain, or performing a public (Federal, state, or local) contract or subcontract; violation of Federal or state antitrust statutes relating to the submission of offers; or commission of embezzlement, theft, forgery, bribery, falsification or destruction of records, making false statements, tax evasion, or receiving stolen property; and

(C) Are not presently indicted for, or otherwise criminally or civilly charged by a governmental entity with, commission of any of the offenses enumerated in paragraph (a)(1)(i)(B) of this provision.

(ii) Offeror has not, within a three-year period preceding this offer, had one or more contracts terminated for default by any public (Federal, state, or local) entity.

- "Principals," for the purposes of this certification, means officers; directors; owners; partners; and, persons having primary management or supervisory responsibilities within a business entity (e.g., general manager; plant manager; head of a subsidiary, division, or business segment, and similar positions).

(b) Offeror shall provide immediate written notice to the Procurement Officer if, at any time prior to contract award, Offeror learns that its certification was erroneous when submitted or has become erroneous by reason of changed circumstances.

(c) If Offeror is unable to certify the representations stated in paragraphs (a)(1), Offer must submit a written explanation regarding its inability to make the certification. The certification will be considered in connection with a review of the Offeror's responsibility. Failure of the Offeror to furnish additional information as requested by the Procurement Officer may render the Offeror nonresponsible.

(d) Nothing contained in the foregoing shall be construed to require establishment of a system of records in order to render, in good faith, the certification required by paragraph (a) of this provision. The knowledge and information of an Offeror is not required to exceed that which is normally possessed by a prudent person in the ordinary course of business dealings.

(e) The certification in paragraph (a) of this provision is a material representation of fact upon which reliance was placed when making award. If it is later determined that the Offeror knowingly or in bad faith rendered an erroneous certification, in addition to other remedies available to the District, the Procurement Officer may terminate the contract resulting from this solicitation for default.

[02-2A035-1]

## DISCLOSURE OF CONFLICTS OF INTEREST OR UNFAIR COMPETITIVE ADVANTAGE (FEB 2015)

You warrant and represent that your offer identifies and explains any unfair competitive advantage you may have in competing for the proposed contract and any actual or potential conflicts of interest that may arise from your participation in this competition or your receipt of an award. The two underlying principles are (a) preventing the existence of conflicting roles that might bias a contractor's judgment, and (b) preventing an unfair competitive advantage. If you have an unfair competitive advantage or a conflict of interest, the District may withhold award. Before withholding award on these grounds, an offeror will be notified of the concerns and provided a reasonable opportunity to respond. Efforts to avoid or mitigate such concerns, including restrictions on future activities, may be considered. Without limiting the foregoing, you represent that your offer identifies any services that relate to either this solicitation or the work and that has already been performed by you, a proposed subcontractor, or an affiliated business of either. [02-2A047-2]

## DEADLINE FOR SUBMISSION OF OFFER (JAN 2004)

Any offer received after the Procurement Officer of the governmental body or his designee has declared that the time set for opening has arrived, shall be rejected unless the offer has been delivered to the designated purchasing office or the governmental body's mail room which services that purchasing office prior to the opening. [R.19-445.2070(G)] [02-2A050-1]

## DRUG FREE WORK PLACE CERTIFICATION (JAN 2004)

By submitting an Offer, Contractor certifies that, if awarded a contract, Contractor will comply with all applicable provisions of The Drug-free Workplace Act, Title 44, Chapter 107 of the South Carolina Code of Laws, as amended. [02-2A065-1]

## DUTY TO INQUIRE (FEB 2015)

Offeror, by submitting an Offer, represents that it has read and understands the Solicitation and that its Offer is made in compliance with the Solicitation. Offerors are expected to examine the Solicitation thoroughly and should request an explanation of any ambiguities, discrepancies, errors, omissions, or conflicting statements in the Solicitation. Failure to do so will be at the Offeror's risk. All ambiguities, discrepancies, errors, omissions, or conflicting statements in the Solicitation shall be interpreted to require the better quality or greater quantity of work and/or materials, unless otherwise directed by amendment. Offeror assumes responsibility for any patent ambiguity in the Solicitation that Offeror does not bring to the District's attention. See clause entitled "Questions from Offerors." [02-2A070-2]

## ETHICS CERTIFICATE (MAY 2008)

By submitting an offer, the offeror certifies that the offeror has and will comply with, and has not, and will not, induce a person to violate Title 8, Chapter 13 of the South Carolina Code of Laws, as amended (ethics act). The following statutes require special attention: Section 8-13-700, regarding use of official position for financial gain; Section 8-13-705, regarding gifts to influence action of public official; Section 8-13-720, regarding offering money for advice or assistance of public official; Sections 8-13-755 and 8-13-760, regarding restrictions on employment by former public official; Section 8-13-775, prohibiting public official with economic interests from acting on contracts; Section 8-13-790, regarding recovery of kickbacks; Section 8-13-1150, regarding statements to be filed by consultants; and Section 8-13-1342, regarding restrictions on contributions by contractor to candidate who participated in awarding of contract. The District may rescind any contract and recover all amounts expended as a result of any action taken in violation of this provision. If contractor participates, directly or indirectly, in the evaluation or award of public contracts, including without limitation, change orders or task orders regarding a public contract, contractor shall, if required by law to file such a statement, provide the statement required by Section 8-13-1150 to the procurement officer at the same time the law requires the statement to be filed. [02-2A075-2]

## IRAN DIVESTMENT ACT - CERTIFICATION (DEC 2015)

(a) The Iran Divestment Act List is a list published by the Authority pursuant to Section 11-57-310 that identifies persons engaged in investment activities in Iran. Currently, the list is available at the following URL: http://procurement.sc.gov/PS/PS-iran-divestment.phtm  (.) Section 11-57-310 requires the government to provide a person ninety days written notice before he is included on the list. The following representation, which is required by Section 11-57-330(A), is a material inducement for the District to award a contract to you. (b) By signing your Offer, you certify that, as of the date you sign, you are not on the then-current version of the Iran Divestment Act List. (c) You must notify the Procurement Officer immediately if, at any time before posting of a final statement of award, you are added to the Iran Divestment Act List. [02-2A077-2]

## OPEN TRADE REPRESENTATION (JUN 2015)

By submitting an Offer, Offeror represents that Offeror is not currently engaged in the boycott of a person or an entity based in or doing business with a jurisdiction with whom South Carolina can enjoy open trade, as defined in SC Code Section 11-35-5300. [02-2A083-1]

## PROTESTS (JUN 2006)

Any prospective bidder, offeror, contractor, or subcontractor who is aggrieved in connection with the solicitation of a contract shall protest within fifteen days of the date of issuance of the applicable solicitation document at issue. Any actual bidder, offeror, contractor, or subcontractor who is aggrieved in connection with the intended award or award of a contract shall protest within ten days of the date notification of award is posted in accordance with the District’s Procurement code. A protest shall be in writing, shall set forth the grounds of the protest and the relief requested with enough particularity to give notice of the issues to be decided, and must be received by the appropriate Chief Procurement Officer within the time provided. See clause entitled "Protest-CPO". [Section 11-35-4210] [02-2A085-1]

## PROHIBITED COMMUNICATIONS AND DONATIONS (FEB 2015)

Violation of these restrictions may result in disqualification of your offer, suspension or debarment, and may constitute a violation of law.

(a) During the period between publication of the solicitation and final award you must not communicate, directly or indirectly, with School District Five or its employees, agents or officials regarding any aspect of this procurement activity, unless otherwise approved in writing by the Procurement Officer. All communications must be solely with the Procurement Officer. [R. 19-445.2010]

(b) You are advised to familiarize yourself with Regulation 19-445.2165, which restricts donations to a governmental entity with whom you have or seek to have a contract.  You represent that your offer discloses any gifts made, directly or through an intermediary, by you or your named subcontractors to or for the benefit of the Using Governmental Unit during the period beginning eighteen months prior to the Opening Date.  [R. 19-445.2165] [02-2A087-1]

## PUBLIC OPENING (JAN 2004)

Offers will be publicly opened at the date/time and at the location identified on the Cover Page, or last Amendment, whichever is applicable. [02-2A090-1]

## QUESTIONS FROM OFFERORS (FEB 2015)

Any prospective offeror desiring an explanation or interpretation of the solicitation, drawings, specifications, etc., must request it in writing. Questions regarding the original solicitation or any amendment must be received by the Procurement Officer no later than five (5) days prior to opening unless an earlier date is stated on the Cover Page. Label any communication regarding your questions with the name of the procurement officer, and the solicitation's title and number. Oral explanations or instructions will not be binding. [See R. 19-445.2042(B)] Any information given a prospective offeror concerning a solicitation will be furnished promptly to all other prospective offerors as an Amendment to the solicitation, if that information is necessary for submitting offers or if the lack of it would be prejudicial to other prospective offerors. See clause entitled "Duty to Inquire." We will not identify you in our answer to your question. (b) The District seeks to permit maximum practicable competition. Offerors are urged to advise the Procurement Officer -- as soon as possible -- regarding any aspect of this procurement, including any aspect of the Solicitation that unnecessarily or inappropriately limits full and open competition. [See R. 19-445.2140] [02-2A095-2]

## Email is the preferred method for submitting questions with “Questions: Solicitation # as the subject of the email. Questions must be submitted in an easily copied format such as Word.

## Email: D5bids@lexrich5.org

## Questions may also be submitted to the address listed on the Cover Page of this document or faxed to (803) 476-8032.

## REJECTION/CANCELLATION (JAN 2004)

The District may cancel this solicitation in whole or in part. The District may reject any or all proposals in whole or in part. [SC Code Section 11-35-1710 & R.19-445.2065] [02-2A100-1]

## RESPONSIVENESS/IMPROPER OFFERS (JUN 2015)

(a) Bid as Specified. Offers for supplies or services other than those specified will not be considered unless authorized by the Solicitation.

(b) Multiple Offers. Offerors may submit more than one Offer, provided that each Offer has significant differences other than price. Each separate Offer must satisfy all Solicitation requirements. If this solicitation is an Invitation for Bids, each separate offer must be submitted as a separate document. If this solicitation is a Request for Proposals, multiple offers may be submitted as one document, provided that you clearly differentiate between each offer and you submit a separate cost proposal for each offer, if applicable.

(c) Responsiveness. Any Offer which fails to conform to the material requirements of the Solicitation may be rejected as nonresponsive. Offers which impose conditions that modify material requirements of the Solicitation may be rejected. If a fixed price is required, an Offer will be rejected if the total possible cost to the District cannot be determined. Offerors will not be given an opportunity to correct any material nonconformity. Any deficiency resulting from a minor informality may be cured or waived at the sole discretion of the Procurement Officer. [R.19-445.2070 and Section 11-35-1520(13)]

(d) Price Reasonableness: Any offer may be rejected if the Procurement Officer determines in writing that it is unreasonable as to price. [R. 19-445.2070].

(e) Unbalanced Bidding. The District may reject an Offer as nonresponsive if the prices bid are materially unbalanced between line items or subline items. A bid is materially unbalanced when it is based on prices significantly less than cost for some work and prices which are significantly overstated in relation to cost for other work, and if there is a reasonable doubt that the bid will result in the lowest overall cost to the District even though it may be the low evaluated bid, or if it is so unbalanced as to be tantamount to allowing an advance payment.

(f) Do not submit bid samples or descriptive literature unless expressly requested. Unsolicited bid samples or descriptive literature will not be examined or tested, will not be used to determine responsiveness, and will not be deemed to vary any of the provisions of the solicitation. S.C. Code Ann. Reg. 19-445.2077(D). [02-2A105-2]

RESTRICTIONS APPLICABLE TO OFFERORS (JAN 2005)

Violation of these restrictions may result in disqualification of your offer, suspension or debarment, and may constitute a violation of the state Ethics Act.  (a) After issuance of the solicitation, you agree not to discuss this procurement activity in any way with the School District or its employees, agents or officials except as provided in any pre-proposal conference or interview.  All communications must be solely with the Procurement Officer.  This restriction may be lifted by express written permission from the Procurement Officer.  This restriction expires once a contract has been formed.  (b) Unless otherwise approved in writing by the Procurement Officer, you agree not to give anything to the School District, its employees, agents or officials prior to award.

## SIGNING YOUR OFFER (JAN 2004)

Every Offer must be signed by an individual with actual authority to bind the Offeror. (a) If the Offeror is an individual, the Offer must be signed by that individual. If the Offeror is an individual doing business as a firm, the Offer must be submitted in the firm name, signed by the individual, and state that the individual is doing business as a firm. (b) If the Offeror is a partnership, the Offer must be submitted in the partnership name, followed by the words by its Partner, and signed by a general partner. (c) If the Offeror is a corporation, the Offer must be submitted in the corporate name, followed by the signature and title of the person authorized to sign. (d) An Offer may be submitted by a joint venturer involving any combination of individuals, partnerships, or corporations. If the Offeror is a joint venture, the Offer must be submitted in the name of the Joint Venture and signed by every participant in the joint venture in the manner prescribed in paragraphs (a) through (c) above for each type of participant. (e) If an Offer is signed by an agent, other than as stated in subparagraphs (a) through (d) above, the Offer must state that is has been signed by an Agent. Upon request, Offeror must provide proof of the agent's authorization to bind the principal. [02-2A115-1]

## OFFICE CLOSINGS (JAN 2004)

If an emergency or unanticipated event interrupts normal District processes so that offers cannot be received at theDistrict  office designated for receipt of bids by the exact time specified in the solicitation, the time specified for receipt of offers will be deemed to be extended to the same time of day specified in the solicitation on the first work day on which normal District processes resume. In lieu of an automatic extension, an Amendment may be issued to reschedule bid opening. If District offices are closed at the time a pre-bid or pre-proposal conference is scheduled, an Amendment will be issued to reschedule the conference. Useful information may be available at:

http://www.lexrich5.org

[02-2A120-3]

## SUBMITTING CONFIDENTIAL INFORMATION (FEB 2015)

(An overview is available at www.procurement.sc.gov ) For every document Offeror submits in response to or with regard to this solicitation or request, Offeror must separately mark with the word "CONFIDENTIAL" every page, or portion thereof, that Offeror contends contains information that is exempt from public disclosure because it is either (a) a trade secret as defined in Section 30-4-40(a)(1), or (b) privileged and confidential, as that phrase is used in Section 11-35-410. For every document Offeror submits in response to or with regard to this solicitation or request, Offeror must separately mark with the words "TRADE SECRET" every page, or portion thereof, that Offeror contends contains a trade secret as that term is defined by Section 39-8-20 of the Trade Secrets Act. For every document Offeror submits in response to or with regard to this solicitation or request, Offeror must separately mark with the word "PROTECTED" every page, or portion thereof, that Offeror contends is protected by Section 11-35-1810. All markings must be conspicuous; use color, bold, underlining, or some other method in order to conspicuously distinguish the mark from the other text. Do not mark your entire response (bid, proposal, quote, etc.) as confidential, trade secret, or protected. If your response, or any part thereof, is improperly marked as confidential or trade secret or protected, the District may, in its sole discretion, determine it nonresponsive. If only portions of a page are subject to some protection, do not mark the entire page. By submitting a response to this solicitation or request, Offeror (1) agrees to the public disclosure of every page of every document regarding this solicitation or request that was submitted at any time prior to entering into a contract (including, but not limited to, documents contained in a response, documents submitted to clarify a response, and documents submitted during negotiations), unless the page is conspicuously marked "TRADE SECRET" or "CONFIDENTIAL" or "PROTECTED", (2) agrees that any information not marked, as required by these bidding instructions, as a "Trade Secret" is not a trade secret as defined by the Trade Secrets Act, and (3) agrees that, notwithstanding any claims or markings otherwise, any prices, commissions, discounts, or other financial figures used to determine the award, as well as the final contract amount, are subject to public disclosure. In determining whether to release documents, the District will detrimentally rely on Offeror's marking of documents, as required by these bidding instructions, as being either "Confidential" or "Trade Secret" or "PROTECTED". By submitting a response, Offeror agrees to defend, indemnify and hold harmless the District of South Carolina, its agencies, officers and employees, from every claim, demand, loss, expense, cost, damage or injury, including attorney's fees, arising out of or resulting from withholding information by the District, that Offeror marked as "confidential" or "trade secret" or "PROTECTED". (All references to S.C. Code of Laws.) [02-2A125-2]

## SUBMITTING A PAPER OFFER OR MODIFICATION (MAR 2015)

Unless specifically instructed otherwise in the solicitation, you should submit your offer or modification in accordance with the clause titled " BIDDING INSTRUCTIONS."

The following instructions apply. (a) All prices and notations should be printed in ink or typewritten. Errors should be crossed out, corrections entered and initialed by the person signing the bid. Do not modify the solicitation document itself (including bid schedule). (b) (1) All copies of the offer or modification, and any other documents required to be submitted with the offer shall be enclosed in a sealed, opaque envelope or package. (2) Submit your offer or modification to the address on the Cover Page. (3) The envelope or package must show the time and date specified for opening, the solicitation number, and the name and address of the bidder. If the offer or modification is sent by mail or special delivery service (UPS, Federal Express, etc.), the outermost envelope or wrapper must be labeled "OFFER ENCLOSED" on the face thereof. (c) If you are responding to more than one solicitation, submit each offer in a separate envelope or package. (d) Submit the number of copies indicated on the Cover Page. (e) Facsimile or e-mail offers, modifications, or withdrawals, will not be considered unless authorized by the Solicitation. [02-2A130-2]

## TAXPAYER IDENTIFICATION NUMBER (JAN 2004)

(a)	If Offeror is owned or controlled by a common parent as defined in paragraph (b) of this provision, Offeror shall submit with its Offer the name and TIN of common parent.

(b)	Definitions: "Common parent," as used in this provision, means that corporate entity that owns or controls an affiliated group of corporations that files its Federal income tax returns on a consolidated basis, and of which the offeror is a member. "Taxpayer Identification Number (TIN)," as used in this provision, means the number required by the Internal Revenue Service (IRS) to be used by the offeror in reporting income tax and other returns. The TIN may be either a Social Security Number or an Employer Identification Number.

(c)	If Offeror does not have a TIN, Offeror shall indicate if either a TIN has been applied for or a TIN is not required. If a TIN is not required, indicate whether (i) Offeror is a nonresident alien, foreign corporation, or foreign partnership that does not have income effectively connected with the conduct of a trade or business in the United States and does not have an office or place of business or a fiscal paying agent in the United States; (ii) Offeror is an agency or instrumentality of a state or local government; (iii) Offeror is an agency or instrumentality of a foreign government; or (iv) Offeror is an agency or instrumentality of the Federal Government. [02-2A140-1]

## WITHDRAWAL OR CORRECTION OF OFFER (JAN 2004)

Offers may be withdrawn by written notice received at any time before the exact time set for opening. If the Solicitation authorizes facsimile offers, offers may be withdrawn via facsimile received at any time before the exact time set for opening. A bid may be withdrawn in person by a bidder or its authorized representative if, before the exact time set for opening, the identity of the person requesting withdrawal is established and the person signs a receipt for the bid. The withdrawal and correction of Offers is governed by S.C. Code Section 11-35-1520 and Regulation 19-445.2085. [02-2A150-1]

SAP

# II. INSTRUCTIONS TO OFFERORS -- B. SPECIAL INSTRUCTIONS

## CONFERENCE - PRE-BID/PROPOSAL (JAN 2006)

Pre-Bid/Proposal Conference Date and Time: March 21, 2018

Location of Pre-Bid/Proposal Conference: District Boardroom, 1020 Dutch Fork Road, Irmo, SC 29063

Due to the importance of all offerors having a clear understanding of the specifications and requirements of this solicitation, a conference of potential offerors will be held on the date specified on the cover page. Bring a copy of the solicitation with you. Any changes resulting from this conference will be noted in a written amendment to the solicitation. Your failure to attend will not relieve the Contractor from responsibility for estimating properly the difficulty and cost of successfully performing the work, or for proceeding to successfully perform the work without additional expense to the District. The District assumes no responsibility for any conclusions or interpretations made by the Contractor based on the information made available at the conference. Nor does the District assume responsibility for any understanding reached or representation made concerning conditions which can affect the work by any of its officers or agents before the execution of this contract, unless that understanding or representation is expressly stated in this contract. [02-2B025-1]

Potential offerors should read the solicitation document and prepare their questions prior to the scheduled Pre-Bid Conference. The pace of the conference will not provide sufficient time for a thorough first reading of the document. The District recognizes time is valuable to all parties; therefore, the objective of the conference will be to identify and discuss items that are unclear, unduly restrictive, or erroneous.

PROPOSAL SUBMISSION

All proposal must be submitted in a sealed envelope.  Do not include more than one proposal per envelope.  The face of the envelope shall contain the proposal title, the proposal number, and the date and time of opening. Pricing data should be included with the proposal in the same envelope, but shall be in a separate sealed envelope within the proposal envelope.   The District assumes no responsibility for unmarked or improperly marked envelopes.  If specifications or descriptive papers are submitted with proposals, enter proposer’s name thereon.  By submission of a proposal, the proposer shall guarantee that all goods and services shall meet the requirements of the solicitation during the contract period.

## OPENING PROPOSALS -- INFORMATION NOT DIVULGED

In sealed proposals, neither the number nor identity of offerors nor prices will be divulged at opening. [Section 11-35-1530 & R. 19-445.2095(C)(1)] [02-2B110-2]

CLARIFICATION (NOV 2007)

Pursuant to Section 11-35-1520(8), the Procurement Officer may elect to communicate with you after opening to clarify either your offer or the requirements of the solicitation. Such communications may be conducted only with offerors who have submitted an offer which obviously conforms in all material aspects to the solicitation. Clarification of an offer must be documented in writing and included with the offer. Clarifications may not be used to revise an offer or the solicitation. [Section 11-35-1520(8); R.19-445.2080] [02-2B055-1]

PROTEST ADDRESS (Modified)

Any protest must be addressed to the Chief Procurement Officer, School District Five of Lexington and Richland Counties, and submitted in writing

(a)	by email to: ljrobins@lexrich5.org

(b)	by post or delivery to Procurement Officer, School District Five of Lexington and Richland Counites, 1020 Dutch Fork Road, Irmo, SC 29063

EVERY RESULTING CONTRACT IS SUBJECT TO ALL TERMS OF THE DISTRICT PROCUREMENT CODE INCLUDING LIMITATIONS AS TO DURATION, RIGHTS OF THE DISTRICT TO TERMINATE AND MEANS OF DISPUTE RESOLUTION.  NO RESULTING CONTRACT IS RENEWABLE EXCEPT TO THE EXTENT PROVIDED IN THE SOLICITATION.  NO VENDOR TERMS TAKE PRECEDENCE OVER THE SOLICITATION AND DISTRICT PROCUREMENT CODE.

SAP

# III. SCOPE OF WORK/SPECIFICATIONS

## 1.0	Description of Services and Deliverables

School District Five of Lexington and Richland and Lexington County is a public school district which operates schools and other facilities.  The District’s schools operate heating and cooling systems of various brands and types as itemized on the included inventory.  The District seeks a contractor to provide service, maintenance, and repair of covered HVAC equipment for a period of three years at an annual fixed cost.  This contract is also to cover the labor for replacement of any covered systems which fail and are deemed not repairable.  The equipment pricing is to be at a cost-plus figure included in the pricing for the proposal.

The intent of this Request for Proposals (RFP) is to solicit a vendor to provide these comprehensive services at an agreed, fixed annual price.

The District reserves the right to delete schools and/or facilities from the contract and to delete filter change services from the contract at the end of each contract term.

Where new schools or facilities are constructed or when new HVAC systems are installed, the contractor will not be responsible for service calls for new equipment during the warranty periods of the new equipment.

## 1.1	Mechanical and HVAC Inspections:

Visit each district facility on a routine schedule to perform inspection tasks on the HVAC

system that includes the following, as applicable:

| Coils | Heat Exchangers | Condensate Drain |
| --- | --- | --- |
| Compressor Operations | Refrigerant Piping | Oil Levels |
| Motor Operations | Bearings | Water Levels |
| Voltage and Amp Draws | Belts and Pulleys | Fans/Blades |
| Refrigerant Charge | Blowers | Reversing Valves |
| Cabinets and Ductwork Cooling Towers | Operating/Safety Controls | Electrical/Relays and Contactors at Equipment |

The Successful Proposer shall provide Routine Maintenance at a frequency which complies with or exceeds all manufacturer recommendations and industry standards.

The District reserves the right to have its employee or an independent inspector inspect the work.  The District will notify the vendor of any work that is found to be deficient.  The vendor will have three business days to correct any and all deficiencies.  If the successful proposer fails or refuses to complete the work to the District’s satisfaction, the District reserves the right to procure the services from another source and hold the successful proposer responsible for any cost incurred to remedy the deficient work.

## 1.2	Preventive Maintenance Actions:

During scheduled inspections visits, provide proactive, hands-on maintenance services to improve equipment operations, increase efficiency, minimize breakdowns and prolong equipment life.  Services may include but are not limited to:

| Fan Blade/Blower Cleaning | Bearing Lubrications | Motor Lubrications |
| --- | --- | --- |
| Safety Control Adjustments Maintenance of all Chillers as required | Coil Cleaning including cooling, heating and condenser coils | Condensate Drain Cleaning Maintenance of all Boilers as required |
| Belt Adjustments/Replacements | Calibrations | Oil Analysis |
| Operating Control Adjustments | Equipment Cleaning | Maintenance of all cooling towers |
| Refrigerant Charge Adjustments |  |  |

The District reserves the right to have its employee or an independent inspector inspect the work.  The District will notify the vendor of any work that is found to be deficient.  The vendor will have three business days to correct any and all deficiencies.  If the successful proposer fails or refuses to complete the work to the District’s satisfaction, the District reserves the right to procure the services from another source and hold the successful proposer responsible for any cost incurred to remedy the deficient work.

## 1.3	REPAIR ACTIONS:

During the Contract period, Contractor will provide, free of charge, repair and replacement of all defective or failed equipment including OEM replacement parts, supplies, tools, materials and labor necessary to restore any covered unit to working conditions in accord with original manufacturer specifications.  All removed/replaced parts will become the property of the Contractor.

- Unit Deemed Unrepairable:  In the event that any covered unit fails and is deemed unrepairable by Contractor and the District (which has final say over whether or not repairs should be undertaken),  the contractor shall provide a current replacement.  Said replacement shall be provided pursuant to this contract.  Contractor shall sell all equipment to be replaced, with the manufacturer’s warranty at its cost plus the markup included in pricing.  All installation labor, materials and supplies shall be included as a portion of this service contract.  In the event the District determines that Contractor’s pricing is unacceptable, the District shall have the option to acquire the equipment through competitive procurement and Contractor will provide all installation labor, services and warranty.

## 1.4	Filter Service/Changes:

The successful proposer shall schedule these services/changes at a frequency designed for best operating conditions and overall value to the District.  The services/changes shall be at least as frequent as recommended by the equipment manufacturer considering the usage of the equipment.  Type and frequency of service to be determined based on observed and expressed needs.  Filter service to be included per schedule:

- Removel and proper discard used filters/medias (disposable). Successful proposer shall dispose of all disposable filters replaced off-site.

- Provide and deliver to the District  replacement filters/medias.

- Install filters with a minimum MERV rating of 8.

- Every filter service shall include marking all filters cleaned or replaced with the date of service/replacement.

- Wash/Clean Replace Permanent Filters as required and as applicable.

The District reserves the right to have its employee or an independent inspector inspect the work.  The District will notify the vendor of any work that is found to be deficient.  The vendor will have three business days to correct any and all deficiencies.  If the successful proposer fails or refuses to complete the work to the District’s satisfaction, the District reserves the right to procure the services from another source and hold the successful proposer responsible for any cost incurred to remedy the deficient work.

## 1.5	Water Treatment Service:

The Contractor will conduct scheduled visits to test, analyze and adjust water treatment levels as applicable.  This service is to include the chemicals and equipment required to dispense the chemicals and maintain standards within industry specifications as well as calibrations and operational testing of existing treatment equipment.  The Contractor will provide the District with water analysis reports at least once during each calendar month.

The District reserves the right to have its employee or an independent inspector inspect the work.  The District will notify the vendor of any work that is found to be deficient.  The vendor will have three business days to correct any and all deficiencies.  If the successful Ppoposer fails or refuses to complete the work to the District’s satisfaction, the District reserves the right to procure the services from another source and hold the successful proposer responsible for any cost incurred to remedy the deficient work.

## 1.6	Indoor / Outdoor Coil Cleaning Service:

This service will improve efficiency and contribute to a more extended coil and equipment life.  The Service Provider is to use environmental and equipment safe cleaning agents to clean indoor and outdoor coil surfaces and rinse with pressured water.  Provider will also clean energy recovery and humidity control wheels per manufacturer’s recommendations.

The District reserves the right to have its employee or an independent inspector inspect the work.  The District will notify the vendor of any work that is found to be deficient.  The vendor will have three business days to correct any and all deficiencies.  If the successful proposer fails or refuses to complete the work to the District’s satisfaction, the District reserves the right to procure the services from another source and hold the successful proposer responsible for any cost incurred to remedy the deficient work.

## 1.7	General Repairs:

The successful proposer will be responsible for all of the labor, parts, supplies, and material cost of repairing the heating, ventilation and air conditioning equipment within each of the District’s facilities except those specifically identified as exempt.

The successful proposer will be responsible for maintenance and repair of all controls that are a part of the covered systems and all covered equipment.  These controls and the equipment being controlled shall always operate within the manufacturer’s specifications and current ASHRAE standards.  This shall be accomplished through repair, normal preventative maintenance and recommended and necessary services.

The successful proposer will be responsible for maintaining refrigerant levels and the contract shall include the provision of all required refrigerant to complete repairs and maintain refrigerant levels to manufacturer specification.  Replacement refrigerants should be used only if approved in writing in advance by the District.   The successful proposer will ensure that all units and connections are clearly marked and documented to prevent confusion during inspection or later service.

The District reserves the right to have its employee or an independent inspector inspect the work.  The District will notify the vendor of any work that is found to be deficient.  The vendor will have three business days to correct any and all deficiencies.  If the successful proposer fails or refuses to complete the work to the District’s satisfaction, the District reserves the right to procure the services from another source and hold the successful proposer responsible for any cost incurred to remedy the deficient work.

## 2.0	SERVICES:

| Type of Service | Frequency |
| --- | --- |
| Preventive Maintenance Actions AC Units | 4 |
| Annual Maintenance on AC Units | 1 |
| Pre-Filter Service TYPE: TriDim 60% Efficient Panel Links | 4 |
| Controls Maintenance | Per Manufacturer’s Schedule |
| Water Treatment Service and Cooling Tower Service on Cooling Towers and interior water loop Water Treatment Service on Hot Water Boiler | Monthly |
| Chilled Water loop, where applicable | Monthly |
| Outdoor Condenser Coil Cleaning Service | 7 |
| Hot Water Boiler Maintenance | 3 |
| Hot Water Boiler Annual Maintenance | 1 |
| Hot Water Pump & Expansion Tank Maintenance | 4 |
| Infrared Electrical Panel Testing | Annually |
| Final Filter Service TYPE: TriDim 98% Efficient Cubes | Annually |
| Variable Frequency Drive Maintenance | Annually |
| Replace Contactors; | As necessary |
| Belt Replacement on AC and Exhaust Fans | Annually |
| Computerized Documentation | With each activity |

## 2.1	List of Covered Equipment

## An excel spreadsheet containg a list of covered District HVAC equipment is included in this  solicitation.

## 2.2	BOILERS

- Inspect fireside of boiler and record condition (annually).

- Brush soot and dirt from combustion chamber (annually).

- Inspect firebrick and refractory for defects (annually).

- Visually inspect boiler pressure vessel for possible leaks and record condition.

- Visually inspect expansion tank and adjust as required.

- Disassemble, inspect and clean low-water cutoff (annually).

- Check hand valves and automatic feed equipment.  Repack and adjust as required.

- Inspect, clean and lubricate the burner, pilot light and combustion air equipment (annually).

- Check fuel piping for leaks and proper support.

- Check burner sequence of operation and combustion air equipment.

- Review manufacturer’s recommendation for boiler and burner start-up.

- Check fuel supply.

- Check auxiliary equipment operation.

- Inspect burner, boiler and controls prior to start-up.

- Start burner and check operating controls.

- Test safety controls.

## 2.3	ROOFTOP PACKAGED EQUIPMENT

## Review manufacturer’s recommendation for start-up.

- Energize crankcase heater per manufacturer’s recommendation for warm-up.

- Visually inspect for leaks.

- Inspect operation of hot gas by-pass.

- Inspect electrical connections, contactors, relays, and operating/safety controls.

- Check vibration eliminators. Replace or adjust when authorized.

- Check compressor oil level. Change oil and refrigerant filter drier when authorized per manufacturer’s service schedule or when necessary.

- Check and test all operating and safety controls.

- Inspect operating temperatures and pressures.

- Check fan assembly.

- Lubricate fan bearings per manufacturer’s recommendations.

- Lubricate motor bearings per manufacturer’s recommendations.

- Check belts and sheaves. Adjust as required and replace (annually).

- Tighten all nuts and bolts.

- Check motor mounts and vibration pads. Adjust as required.

- Check motor operating conditions.

- Lubricate and adjust associated dampers and linkage and controls.

- Check fan operation.

- Check VFD for proper operation.

- Clean outside air intake screen.

- Check and clean drains and drain pans.

- Inspect filters. Change per schedule.

- Check heating and/or cooling coils.

## 2.4	EXHAUST FANS

- Inspect belts, pullys and other moving parts, adjust as required and replace (annually).

- Lubricate motor and bearings as required.

- Inspect starters, disconnect and clean contacts.

## 2.5	CONDENSING UNITS – AIR COOLED

- Review manufacturer’s recommendation for start-up.

- Energize crankcase heater per manufacturer’s recommendation for warm-up.

- Visually inspect for leaks.

- Inspect electrical connections, contactors, relays, and operating/safety controls.

- Check vibration eliminators. Replace and adjust per manufacturer’s service schedule or when necessary.

- Check compressor oil level. Change oil and refrigerant filter drier when authorized.

- Check and test all operating and safety controls.

- Check operating conditions. Adjust as required.

## 2.6	FAN COIL UNITS

- Inspect motor. Clean and lubricate.

- Lubricate fan bearings.

- Inspect coil(s) for leaks dependent on accessibility.

- Inspect drain pan or pipe and clean as required.

- Inspect belt and pullys, adjust tension and replace (annually).

- Test operation unit internal on-off switch.

- Change filters per filter schedule.

## 2.7	PUMPS

- Lubricate pump bearings per manufacturer’s recommendations.

- Lubricate motor bearings per manufacturer’s recommendations.

- Tighten all nuts and bolts. Check motor mounts and vibration pads. Replace and adjust when authorized.

- Visually check pump alignment and coupling.

- Check motor operating conditions.

- Inspect electrical connections and contactors.  Replace contactors as necessary.

- Check and clean strainers and check hand valves (annually).

- Inspect mechanical seals. Inspect pump packing.

- Verify gauges for accuracy.

## 2.8	WATER TREATMENT – HOT WATER BOILER / COOLING TOWERS

- Provide, deliver and administer chemicals and equipment necessary to introduce the chemicals into the system that have a history of proven results, designed to inhibit scale formation, corrosion and biological growth.

- Provide monthly analysis of the water conditions, via on-site testing, accurately interpreting the results, making immediate adjustments and recommendations to meet industry standards.

- Provide a visual inspection of the equipment and make a written recommendation of upgrades to help minimize energy and water usage.

## 2.9	VARIABLE FREQUENCY DRIVES

- Inspect and tighten all nuts, bolts, and retaining devices on mechanical assemblies and mounting brackets.

- Verify all electrical connections are at proper torque settings.

- Clean/change all cooling filters and grills if applicable.

- Remove all dirt and dust that has penetrated the unit interior or accumulated on the processor boards using high-pressure nitrogen.

- Verify and record all inverter settings.

- Verify all internal power supplies and all logic outputs. Record as applicable.

- Check proper operation of DC buss capacitors.

- Check all external controls related to the operation of the inverter.

- Provide recommendation for repair, parameter changes, etc. in writing.

## 2.10	INFRARED ELECTRICAL PANEL TESTING

- Provide up to forty hours of Infrared Electrical Panel Testing  at the direction of the school district (annually).

- Provide reports with recommendations.

- Make drawing panel list for report.

## 2.11	COOLING TOWER MAINTENANCE

- Monthly testing for bacteria levels and treatment with corrosion inhibitor and biocides to ensure that bacteria levels are low.

- Disinfection as necessary if levels exceed state and manufacturer allowed levels.

- Deep cleaning of all interior surfaces of the tower at least once per year or more often if manufacturer recommendations or circumstances dictate.

- Monthly cleaning and adjustment of mechanical components such as fans, motors, belts and gears.  Replace all worn parts.

- Quarterly inspection of Electrical components and replace components as needed or recommended.

## 2.12 	Asset Tracking, Service Tracking and Reports

The service contractor shall maintain a detailed record of all maintenance and repairs relating to the equipment included in this agreement. This record shall utilize Maintenance Direct & PM Direct from Schooldude.com, Inc.  District 5 will provide the Successful proposer access to this resource.  Maintenance shall be scheduled and conducted in accordance with checklists and procedures in the software.  Electronic reports are to be turned in to the Facility Manager and the Energy Department upon completion of each inspection as long as equipment checks out satisfactorily. If a problem is found that has the potential to be a major problem, or if it may be the cause for shutdown repairs, this problem must be directly brought to the attention of the Facility Manager and Energy Department so that a plan of action can be formulated for the timeliest repair to the equipment. As a condition of this RFP, a plan of action report as to how the equipment is to be serviced must be included.

Within thirty (30) days of commencement of services the successful proposer (contractor) shall conduct a complete survey of all District buildings and create and confirm an inventory of all District HVAC assets. The inventory shall be in a MS Excel format and shall include manufacturer, manufacturer model number, serial number, District department/building, location and asset tracking number. Each unit once inventoried shall be tagged with an asset tracking tag as supplied by the school district.  This information shall also be input in the Maintenance Direct & PM Direct from Schooldude.com.

In the event a unit is replaced during the term of the contract the contractor shall asset tag the new unit, add the new unit to the inventory and provide an updated MS Excel spreadsheet to the District’s Facilities Manager.  The successful proposer shall also enter asset information on the replacement unit into Schooldude.com.

The successful proposer (contractor) shall possess the capabilities to track and report all services performed. Reporting shall include date of service, unit serviced, location, faults found and repairs/service performed, technicians performing services, and parts/materials required to perform services.

## 2.13 	Parts Availability

The parts stock for all equipment covered herein shall be that required by equipment manufacturers’ recommendations for routine expendable parts, normal yearly replacement parts and multi-year replacement parts. The service contractor may either stock locally or have access to immediate delivery of parts to provide unscheduled service on an emergency basis. In either case, the service contractor is expected to have emergency parts available.  Only OEM parts may be utilized unless District 5 approves an alternate or replacement in writing.  Temporary repairs may be performed outside strict manufacturer’s recommendations where District 5 agrees in writing until, but only until permanent repairs can be timely made.

## 2.14 	Combustible material

All combustible materials shall be handled and stored in compliance with all federal, state, and local safety codes and regulations. Thinners, fluid, and loose dry products being used by the service contractor on site shall be kept covered at all times.

## 2.15 	Refrigerant Status Report

A Refrigerant Status Report shall be executed each time refrigerant is added to or removed from any air conditioning unit. This form shall comply with all EPA guidelines in form and content. One copy of each form must be given to the Facility Manager, one copy left on the jobsite near the machine (unit), one copy delivered to the Energy Department, one copy to the School Facilities Supervisor and the Contractor shall retain one or more copies.  The Contractor shall not use any substitute refrigerant without advance written approval from District Five.

## 2.16	Safety

Successful Proposer shall exercise precautions at all times for the protection of persons (including employees, students, faculty and staff) and property. Barricades will be provided by the Successful Proposer at Successful Proposer’s expense, when work is performed in areas traversed by persons or vehicles, or when deemed necessary by the District.

# 2.17 POWER DELINEATION

# District 5 will be responsible for all power related components up and to the equipment.  Contractor will be responsible for all power related components within any piece of equipment.  (Exception: Contractor will replace fuses in service disconnects that provide power to equipment).

## 3.0  Mandatory Minimum Qualifications:

In order to be qualified, A proposer must meet the following minimum qualifications.

  - The proposer shall have full service capabilities to install, repair, service and maintain large refrigeration and heating systems and control systems for schools and institutional buildings.

  - The proposer must have a primary service location within twenty-five (25) miles of the District Five District Office.

  - The proposer must maintain a twenty-four-hour, seven day a week, 365 days per year emergency service accessible by telephone and internet.

  - The proposer must demonstrate experience in successfully performing preventative maintenance, service and repair work on large refrigeration and HVAC systems and control systems for schools and institutional buildings for a minimum of five (5) years.

  - The proposer shall hold all licenses required by the State of South Carolina and all local authorities to perform mechanical contracting in refrigeration and HVAC.  Licensing Group five (5), AC5 and HT5.  Please provide a copy of your license(s) with your proposal.

  - The proposer shall hold, demonstrate the ability to obtain within the first 30 days of the contract all required certifications to be able to service and maintain all District  systems.

  - The successful proposer shall be on site in response to non-emergency calls during business hours of 7:00 a.m. through 4:00 p.m., Monday through Friday on the next business day after notification.

  - Successful proposer shall be on site in response to non- emergency calls after business hours of 7:00 a.m. through 4:00 p.m., on the next business day after notification.

  - Successful proposer shall be on-site within two hours of notification of an emergency, as determined by the District, in the sole discretion of its authorized staff and officials.

  - The District reserves the right at all times to redirect service contract forces during the work day if necessary to address shifting priorities and/or emergencies.

## 4.0	SERVICES NOT INCLUDED

- Maintenance, repair or replacement of non-maintainable parts of the equipment included in the List of Covered Equipment such as, but not limited to, unit cabinets, insulating materials, electrical wiring, structural supports and other non-moving parts.

- Replacement of the equipment included in the List of Covered Equipment, or if repairs are required because of vandalism, flooding, fire, lightning, roof leaks, power failure, installation of incompatible equipment, improper operating procedures, improper/inadequate water treatment or filter service not provide by the Service Provider or by any other cause beyond the control of the Service Provider.  The Successful Proposer will be required to complete repairs as necessary and submit damage substantiating paperwork as requested by the district necessary to demonstrate repairs required and the probable cause of the damage or failure causing the required repair.

- Any and all additional items or equipment required by District Five, any governmental authority, insurance company or other, and not specifically set forth in the List of Covered Equipment and Services.

- Except as may be specifically included in Services, the Service Provider shall not be responsible or obligated to provide service with respect to the following:

  - Piping other than refrigerant piping.

  - Damage due to freezing weather.

  - All non-moving parts such as pressure vessels, tubes, cabinets, casings, door seals, floor drains, thermometers, gauges, flues, ductwork, grilles, heat transfer tubes and coils, refractories, oil or gas heat exchangers, fan housings, structural support.

  - Valves.

  - Electrical supply, disconnect switches, circuit breakers.

  - Monitoring/Recording devices affixed to equipment.

  - External Energy Management System Components.  System controllers and sensors provided by the manufacturer as a part of the installed unit are included and covered.  Only external system components added by the District which are not a part of the original system installation are excluded.

  - Window Air Conditioners

  - Emergency Electrical Generators

  - Equipment failures caused by gaining beyond the listed equipment life as indicated in the contract specifications set forth in 4.4.11 below.

  - The contractor shall be responsible to maintain and perform all necessary services, at its expense, for HVAC equipment that is no more than 15 years old except as identified below.

The Contractor shall be responsible to maintain and perform all necessary services on the following equipment for the following equipment until it is more than 20 years old:

Chillers

Cooling Towers

Boilers

Pumps

VAV boxes

Fresh air equipment

## 5.0  WORK LOCATION AND HOURS

As provided in the MANDATORY MINIMUM QUALIFICATIONS SECTION, the successful proposer

(a)	shall be on site in response to non-emergency calls during business hours of 7:00 a.m. through 4:00 p.m., Monday through Friday on the next business day after notification.

(b)	Successful Proposer shall be on site in response to non- emergency calls after business hours of 7:00 a.m. through 4:00 p.m., on the next business day after notification.

(c)	Successful Proposer shall be on-site within two hours of notification of an emergency, as determined by District 5 in its sole and absolute discretion.

(d)	All employees shall meet District 5 criteria to work in the schools and shall have background checks fully complying with District 5 Policies

(e)	All employees and workers shall comply with applicable District 5 check in/ check out requirements which currently require that each Technician check in and out through the front office of the school being services.

(f)	Each technician shall document and close-out the work order in Schooldude prior to leaving the location where work is being performed.

## 6.0  EQUIPMENT AND INVENTORY

## 6.1	EQUIPMENT

- Successful Proposer shall provide its personnel with a working set of hand and power tools for general air conditioning work.

b. Successful Proposer shall own or have immediate access of the equipment required to provide services to include, but not be limited to, the following:

1) System evacuation equipment.

2) Sheet metal shearing and forming equipment.

## 6.2	INVENTORY

The Contractor shall have and maintain an inventory of piping, duct materials and air conditioning equipment to provide for timely completion of Task Orders, required repairs, maintenance and the like.

## 7.0	RFP ATTACHMENTS

The following attachments are included as part of this RFP:

- Site Visit Log

- Minority Participation Affidavit

- Offeror’s Checklist

- Inventory Spreadsheet

## 8.0     SUBMISSION OF PROPOSALS

- Proposals should provide straightforward, concise information that satisfies the requirements of the “Proposal Contents” section below.  Expensive bindings, color displays, and the like are not necessary or desired.  Emphasis should be placed on conformity to the RFP’s instructions and requirements, and completeness and clarity of content.

- The Proposer must submit its proposal in two parts, the Technical Proposal and the Cost Proposal.

      - The Proposer must submit one (1) original and three (3) copies of the Technical Proposal.  The original must be signed by an authorized representative of the Proposer.   The Proposer must write the RFP title and number on the outside of the sealed envelope.

      - The Proposer must submit one (1) original and three (3) copies of the Cost Proposal.  The original must be signed by an authorized representative of the Proposer.  The original cost proposal and the copy must be submitted to the District in a single sealed envelope, separate from the technical proposal.  The Proposer must write the RFP title and number on the outside of the sealed envelope.

- Proposals must be delivered by the date and time listed on the coversheet of this RFP to:

Lynda Robinson, Coordinator of Procurement Services

School District Five of Lexington and Richland Counties

1020 Dutch Fork Road

Irmo, SC  29063

- Late proposals will not be accepted.

Only written proposals will be accepted.  Proposals must be sent by registered or certified mail, courier service (e.g., FedEx), or delivered by hand.  Proposals may not be transmitted by fax or email.

Schedule of Events

The following Schedule of Events represents the Owner's best estimate of the schedule that will be followed. The Owner reserves the right, at its sole discretion, to adjust this schedule as it deems necessary. Notification of any adjustment to the Schedule of Events shall be provided to all who have requested this RFQ/RFP.

| EVENTS | DATE | TIME |
| --- | --- | --- |
| 1. Advertisement in SCBO and The State Newspaper | 3/12/18 | -------- |
| 2. Owners conduct a pre-proposal conference for all interested firms. To take place at the District Boardroom at 1020 Dutch Fork Road, Irmo, SC 29063 ______________________ | 03/21/18 | 9:00 AM |
| 3. Deadline for written questions and clarification on Request for Proposals | 04/17/18 | 2:00 PM |
| 4. Deadline for submission of detailed proposals | 05/02/18 | 2:00 PM |
| 5. Interviews (if deemed necessary by owner) | 05/8/18 | TBA |
| 6. Award | 05/10/18 |  |

## 9.0	PROPOSAL CONTENTS

## 9.1	Technical Proposal.    The following information must be included in the technical proposal.  A proposal lacking any of the following information may be deemed non-responsive.

- Proposer’s name, address, telephone and fax numbers, and federal tax identification number.  Note that if Proposer is a sole proprietor using his or her social security number, the social security number will be required before finalizing a contract.

- Name, title, address, telephone number, and email address of the individual who will act as Proposer’s designated representative for purposes of this RFP.

- Outline your ability to adequately and satisfactorily perform the services as requested in this specification. Include documentation of strategies you will use in daily tasks.

- List other projects which you have completed similar to School District Five of Lexington and Richland Counties in which similar maintenance functions were performed on an annual basis.

- List the licensing classifications held by your firm in the State of South Carolina

- Who will be the superintendent on this job? If you are not certain, name three possible superintendents.

- Provide the name and full mailing address of your certified public accountant.

- Provide the name and full mailing address of your insurance agent and surety company

## 9.2	Certifications, Attachments, and Other Requirements.

    - The Proposer must describe its capability in performing the inspection services and its experience in performing services of a similar nature.

    - The Proposer must submit copies of its certifications for each individual that will perform inspections at the work location.

    - The Proposer must submit a sample inspection and preventive maintenance work plan for evaluation purposes.

    - The Proposer must submit its Standard Agreement for Inspection and Maintenance Services for evaluation purposes.

## 9.3	Cost Proposal.    The following information must be included in the cost proposal.

- A detailed line item budget including cost for maintenance services and costs for filter changes by location.

- A summary showing the  total cost of the contracted services.

- A full explanation of all budget line items in a narrative entitled “Budget Justification,” including hourly rates.

- A “not to exceed” total for all work and expenses payable under the contract, if awarded.

- For each of the option years, provide either specific costs or a labor or cost index for any increase in the initial term’s costs.

- Charges for repairs outside of the scope of the contract to include:

- Labor Rate – for out of scope work – technician

- Labor Rate – for out of scope work – helper

- Markup on out of scope parts / replacement equipment

No outside of the scope work shall be performed until the District issues an approved purchase order for the same.

## 10.0	OFFER PERIOD

A Proposer's proposal is an irrevocable offer for ninety (90) days following the proposal due date.  In the event a final contract has not been awarded within this period, the District reserves the right to negotiate extensions to this period.

SAP

# IV. INFORMATION FOR OFFERORS TO SUBMIT

## INFORMATION FOR OFFERORS TO SUBMIT

Offeror shall submit a signed Cover Page and Page Two.

You should submit a summary of all insurance policies you have or plan to acquire to comply with the insurance requirements stated herein, if any, including policy types; coverage types; limits, sub-limits, and deductibles for each policy and coverage type; the carrier's A.M. Best rating; and whether the policy is written on an occurrence or claims-made basis.

You must submit a copy of all licenses that you hold which are requested or referenced in the solicitation.

In addition to information requested elsewhere in this solicitation, Offerors should submit the following information for purposes of evaluation:

[04-4005-1]

NOTE: To expedite the evaluation of responses, it is essential that Offerors follow the format and instructions as stated below. At a minimum, Offerors should state each item and respond directly to each item.

CONTENT AND FORMAT: The Offeror must cross reference its proposal with each requirement listed in Section III. Scope of Work/Specifications of this RFP. Your offer should include enough detail from the outline below to demonstrate an understanding of each requirement and the scope of the project. The proposals shall be organized in the order specified in this RFP. A proposal that is not organized in this manner risks elimination from consideration if the District is unable to find requirements specifically addressed in the RFP. Failure to provide information required by this RFP may result in rejection of the proposal due to non-responsiveness.

Submittal Letter: Offeror’s response shall be accompanied by a Submittal Letter clearly identifying the following information and be signed by an individual authorized to sign contracts on behalf of the Offeror.. The Submittal Letter shall be included as part of the Technical Proposal. The Submittal Letter must be on the Offeror’s official business letterhead and must summarize the Offeror’s ability to supply the required products and services that meet the requirements defined in this RFP. The submittal letter should include the following:

•	A statement indicating that the Offeror is a corporation or other legal entity.

•	A statement indicating that the Offeror is licensed to do business in South Carolina (include license number) or, that business licensure is not required.

•	A statement of affirmative action that the Offeror does not discriminate in its employment practices with regard to race, color, religion, age, sex, marital status, political affiliation, national origin or handicap, except as provided by law.

•	A statement that no attempt has been made, or will be made, by the Offeror to induce any party to submit or refrain from submitting a proposal.

•	A statement that the proposal was developed without collusion.

•	Signature of Authorized Representative

The Submittal Letter must be signed by an individual who is authorized to commit the Offeror’s organization and its representatives contractually to all statements, including services and prices, contained in the proposal.

Executive Summary: Offeror’s shall submit a detailed explanation of their understanding of the Scope of Work and requirements as outline in the request for proposal. Provide a brief history and description of your company and organization.

Additional, the Offeror must submit the following information:

1.	Authorizing Document

A document in the form of corporate by-laws, a corporate resolution, a letter of authority from the corporate secretary or other valid authorizing document showing proof of the authorized representative’s authority.

2.	Executive Summary

The Executive Summary must condense and highlight the contents of the Technical Proposal in such a way as to provide evidence of your organization’s understanding of the requirements of the RFP.

I.	SCOPE OF SERVICES

A.	Technical Proposal: The Offeror must provide written, point-by-point narrative responses to each proposal requirement in Section III. Scope of Work/Specification. Each response shall clearly indicate whether the Offeror’s proposal meets or exceeds the requirements of the RFP. It is the responsibility of the Offeror to ensure all elements of the RFP have been responded to in accordance to the RFP. If the proposal does not follow the RFP requirements point-by-point, it may be scored accordingly. Offerors, in describing their approach, should demonstrate a clear understanding of the overall scope of the project, goals, objectives, and task/deliverables of the project. Offeror’s detailed explanation regarding how the scope of work will be performed and all specifications will be met. Offeror shall include specific information related to:

GENERAL CONTRACTOR REQUIREMENTS

The Contractor must provide a detailed response to each section below as to how it will meet or exceed the requirements as stated.

•	Have the capacity, requisite experience and experience to provide material, equipment, supplies and services for the School District in accordance with the provisions and requirements set forth in this solicitation.

•	Notify District Five within thirty (30) calendar days of purchase, acquisition and any other change in its ownership or control affecting 5% or greater interest, any acquisition by it of 5% or greater interest in any subsidiary and any new agreement with, by or between any affiliates that is relevant to the contract.

•	Ensure the quality of services provided and must immediately take necessary corrective steps upon identification of inappropriate, undesirable or otherwise poor service or upon notification by representatives of District Five.

•	Meet or exceed specific and measurable performance standards as outlined in this RFP. All performance guarantees must be measured and reported in accordance with RFP,

II.	PRICE PROPOSAL

The Offeror must submit a price proposal as a separate document. Offerors shall submit a complete price breakdown as provided in Section VIII., see page fifty-one (51).

III.	QUALIFICATIONS

For this section, the Offeror must submit items listed below, addressing Corporate Background and Experience, References and Prior Projects and Contracts.

## CORPORATE BACKGROUND AND EXPERIENCE

The Corporate Background and Experience section must be included for the Offeror and for each Subcontractor when the Subcontractor performs ten (10) percent or more of the total work effort in hours. The District is not interested in a voluminous description of all Contracts. However, a concise but thorough description of relevant experience is desired.

Offeror (Prime Contractor) and Subcontractor information must be shown separately. In the information provided for each Subcontractor, the Offeror shall disclose the Subcontractor’s work experience (including fee-for-service Medicaid), the Subcontractor’s primary function in reference to this RFP, and the Contractor's experience with the Subcontractor.

1.	Corporate Background

Provide details on the background of your firm, to include, at a minimum, the following:

•	Full name and address of the organization.

•	Date established.

•	Ownership (public company, partnership, subsidiary, parent company).

•	Primary business.

•	Total number of full-time employees.

•	Number of personnel or full-time equivalents engaged in projects similar to this project.

  - Name and position of the person who will have ultimate responsibility and accountability for this Contract, and act on behalf of the Offeror.

•	Data Universal Numbering System (DUNS) number

•	Technical resources available for this RFP.

2.	Corporate Experience

•	State the number of years prior experience in implementing and maintaining HVAC Systems of the types and brands included in the inventory.

3.	Company Structure

•	Provide the legal form of your business organization; the state in which the business organization is incorporated (if a corporation), an organizational chart, and a description of the major business   ventures must be included in this section. If the organization includes more than one product division, the division responsible for this contract shall be described in more detail than other components of the organization.

## REFERENCES

All references in the proposal relative to the experience, staffing, or capabilities of the Offeror will apply to the entity entering into the contract with the District and subcontractors as noted below. The Offeror may not present a self- reference.

Note: In the event that a Subcontractor is to participate in ten (10) percent or greater of the work effort, defined by dividing the number of Subcontractor man-hours by the total man-hours, all information requested in the Proposal Content sections, Corporate Background and Experience and Company Structure and Financial Information, will have to be provided for each Subcontractor as well.

## PRIOR PROJECTS AND CONTRACTS

Prior projects and contractual details shall be organized as ordered below:

Customer name, reference individual, and title of reference, along with the address and telephone number. (The customer staff member offered for reference should be the highest-ranking staff member who has personal knowledge of the Offeror’s performance.)

General narrative project description highlighting the Offeror’s responsibilities as the Prime Contractor, a Subcontractor or other role.

Dates and time period of the project.

Original schedule and actual contract completion dates and the explanation of any variance.

Approximate contract price to include the original estimate of cost, the actual cost, and explanation of any variance.

Role of the Offeror: Narrative project description highlighting the Offeror’s responsibilities as Prime Contractor, Subcontractor, or other role.

Status of the Project: General narrative description of the status of each project, including whether completed, abandoned, or interrupted; anticipated completion date and so forth.

Provide information concerning any lawsuits your organization has been involved in within the last five (5) years. Provide a general narrative of the subject, the parties involved, the geographical location and the current status of each suit.

## RELATED EXPERIENCE

Provide a narrative detailing relevant experience for the following types of activities within the last three (3) years. District 5 is specifically looking for organizations with experience in maintenance, repair, installation and service of HVAC systems of the types and brands included in the inventory.

District Five reserves the right to request any information it deems necessary to make the final decision concerning the offeror’s ability to provide the services requested herein before entering into a contract

# V. QUALIFICATIONS

## QUALIFICATIONS OF OFFEROR (MAR 2015)

(1) To be eligible for award, you must have the capability in all respects to perform fully the contract requirements and the integrity and reliability which will assure good faith performance. We may also consider a documented commitment from a satisfactory source that will provide you with a capability. We may consider information from any source at any time prior to award. We may elect to consider (i) key personnel, any predecessor business, and any key personnel of any predecessor business, including any facts arising prior to the date a business was established, and (ii) any subcontractor you identify. (2) You must promptly furnish satisfactory evidence of responsibility upon request. Unreasonable failure to supply requested information is grounds for rejection. (3) Corporate subsidiaries are cautioned that the financial capability of an affiliated or parent company will not be considered in determining financial capability; however, we may elect to consider any security, e.g., letter of credit, performance bond, parent-company corporate guaranty, that you offer to provide. Instructions and forms to help assure acceptability are posted on procurement.sc.gov, link to "Standard Clauses & Provisions." [05-5005-2]

## SUBCONTRACTOR – IDENTIFICATION (FEB 2015)

If you intend to subcontract, at any tier level, with another business for any portion of the work and that portion either (1) exceeds 10% of your cost, (2) involves access to any “government information,” as defined in the clause entitled “Information Security - Definitions,” if included, or (3) otherwise involves services critical to your performance of the work (err on the side of inclusion), your offer must identify that business and the work which they are to perform. Identify potential subcontractors by providing the business name, address, phone, taxpayer identification number, and point of contact. In determining your responsibility, the District may contact and evaluate your proposed subcontractors. [05-5030-2]SAP

# VI. AWARD CRITERIA

## AWARD CRITERIA -- PROPOSALS (JAN 2006)

Award will be made to the highest ranked, responsive and responsible offeror whose offer is determined to be the most advantageous to the District. [06-6030-1]

## AWARD TO ONE OFFEROR (JAN 2006)

Award will be made to one Offeror. [06-6040-1]

## DISCUSSIONS AND NEGOTIATIONS - OPTIONAL (FEB 2015)

Submit your best terms from both a price and a technical standpoint. Your proposal may be evaluated and your offer accepted without any discussions, negotiations, or prior notice. Ordinarily, nonresponsive proposals will be rejected outright without prior notice. Nevertheless, the District may elect to conduct discussions, including the possibility of limited proposal revisions, but only for those proposals reasonably susceptible of being selected for award. [11-35-1530(6); R.19-

445.2095(I)]

If improper revisions are submitted during discussions, the District may elect to consider only your unrevised initial proposal, provided your initial offer is responsive. The State may also elect to conduct negotiations, beginning with the highest ranked offeror, or seek best and final offers, as provided in Section 11-35-1530(8). Negotiations may involve both price and matters affecting the scope of the contract, so long as changes are within the general scope of the request for proposals. If negotiations are conducted, the District may elect to disregard the negotiations and accept your original proposal.

[06-6058-1]

## EVALUATION FACTORS -- PROPOSALS (MODIFIED)

Offers will be evaluated using only the factors stated below. Evaluation factors are stated in the relative order of importance, with the first factor being the most important. Once evaluation is complete, all responsive offerors will be ranked from most advantageous to least advantageous.

The District will be the sole judge as to whether an Offeror’s bid has or has not satisfactory met the requirements of the Request for Proposal.

An Evaluation Committee (“Committee”) will review all proposals to determine which Offerors have qualified for consideration according to the criteria stated herein.

Proposals will be evaluated using the following criteria:

      - Price:  Including all service fees for the three-year contract period and potential 2 years of extensions 45%

      - Price:   Percentage markup over audited cost on all equipment replacements during the contract period 15%

      - Qualifications: The completeness, capacity and suitability of Offeror’s response by meeting the needs of this RFP with regard to the Offeror’s qualifications.  The Offeror’s experience and references must provide evidence of its depth and breadth of experience and ability to perform the services requested in the RFP flawlessly. 20%

      - Technical Approach: The degree, completeness, capacity and suitability to the offeror’s response to meet or exceed the requirements of this RFP.  The technical capabilities of the proposed solution to meet the needs of the District as defined in this RFP  20%

SAP

# VII. TERMS AND CONDITIONS -- A. GENERAL

## ASSIGNMENT, NOVATION, AND CHANGE OF NAME, IDENTITY, OR STRUCTURE (FEB 2015)

(a) Contractor shall not assign this contract, or its rights, obligations, or any other interest arising from this contract, or delegate any of its performance obligations, without the express written consent of the responsible procurement officer. The foregoing restriction does not apply to a transfer that occurs by operation of law (e.g., bankruptcy; corporate reorganizations and consolidations, but not including partial asset sales). Notwithstanding the foregoing, contractor may assign monies receivable under the contract provided that the District shall have no obligation to make payment to an assignee until thirty days after contractor (not the assignee) has provided the responsible procurement officer with (i) proof of the assignment, (ii) the identity (by contract number) of the specific District contract to which the assignment applies, and (iii) the name of the assignee and the exact address or account information to which assigned payments should be made. (b) If contractor amends, modifies, or otherwise changes its name, its identity (including its trade name), or its corporate, partnership or other structure, or its FEIN, contractor shall provide the procurement officer prompt written notice of such change. (c) Any name change, transfer, assignment, or novation is subject to the conditions and approval required by Regulation 19-445.2180, which does not restrict transfers by operation of law. [07-7A004-2]

## BANKRUPTCY - GENERAL (FEB 2015)

(a) Notice. In the event the Contractor enters into proceedings relating to bankruptcy, whether voluntary or involuntary, the Contractor agrees to furnish written notification of the bankruptcy to the Using Governmental Unit. This notification shall be furnished within two (2) days of the initiation of the proceedings relating to the bankruptcy filing. This notification shall include the date on which the bankruptcy petition was filed, the identity of the court in which the bankruptcy petition was filed, and a listing of all District contracts against which final payment has not been made. This obligation remains in effect until final payment under this Contract. (b) Termination. This contract is voidable and subject to immediate termination by the District upon the contractor's insolvency, including the filing of proceedings in bankruptcy. [07-7A005-2]

## CHOICE-OF-LAW (JAN 2006)

The Agreement, any dispute, claim, or controversy relating to the Agreement, and all the rights and obligations of the parties shall, in all respects, be interpreted, construed, enforced and governed by and under the laws of the State of South Carolina, except its choice of law rules. As used in this paragraph, the term "Agreement" means any transaction or agreement arising out of, relating to, or contemplated by the solicitation. [07-7A010-1]

## CONTRACT DOCUMENTS and ORDER OF PRECEDENCE (FEB 2015)

(a) Any contract resulting from this solicitation shall consist of the following documents: (1) a Record of Negotiations, if any, executed by you and the Procurement Officer, (2) the solicitation, as amended, (3) documentation of clarifications [11-35-1520(8)] or discussions [11-35-1530(6)] of an offer, if applicable, (4) your offer, (5) any statement reflecting the District's final acceptance (a/k/a "award"), and (6) purchase orders. These documents shall be read to be consistent and complimentary. Any conflict among these documents shall be resolved by giving priority to these documents in the order listed above. (b) The terms and conditions of documents (1) through (5) above shall apply notwithstanding any additional or different terms and conditions in any other document, including without limitation, (i) a purchase order or other instrument submitted by the District, (ii) any invoice or other document submitted by Contractor, or (iii) any privacy policy, terms of use, or end user agreement. Except as otherwise allowed herein, the terms and conditions of all such documents shall be void and of no effect. (c) No contract, license, or other agreement containing contractual terms and conditions will be signed by any Using Governmental Unit. Any document signed or otherwise agreed to by persons other than the Procurement Officer shall be void and of no effect. [07-7A015-2]

## DISCOUNT FOR PROMPT PAYMENT (JAN 2006)

(a) Discounts for prompt payment will not be considered in the evaluation of offers. However, any offered discount will form a part of the award, and will be taken if payment is made within the discount period indicated in the offer by the offeror. As an alternative to offering a discount for prompt payment in conjunction with the offer, offerors awarded contracts may include discounts for prompt payment on individual invoices.

(b) In connection with any discount offered for prompt payment, time shall be computed from the date of the invoice. If the Contractor has not placed a date on the invoice, the due date shall be calculated from the date the designated billing office receives a proper invoice, provided the District annotates such invoice with the date of receipt at the time of receipt. For the purpose of computing the discount earned, payment shall be considered to have been made on the date that appears on the payment check or, for an electronic funds transfer, the specified payment date. When the discount date falls on a Saturday, Sunday, or legal holiday when Federal Government offices are closed and Government business is not expected to be conducted, payment may be made on the following business day.

[07-7A020-1]

## DISPUTES (JAN 2006)

(1) Choice-of-Forum. All disputes, claims, or controversies relating to the Agreement shall be resolved exclusively by the appropriate Chief Procurement Officer in accordance with the District’s Procurement Code, subject to Title 11, Chapter 35, Article 17 of the South Carolina Code of Laws, or in the absence of jurisdiction, only in the Court of Common Pleas for, or a federal court located in, Richland County, State of South Carolina. Contractor agrees that any act by the Government regarding the Agreement is not a waiver of either the Government's sovereign immunity or the Government's immunity under the Eleventh Amendment of the United States Constitution. As used in this paragraph, the term "Agreement" means any transaction or agreement arising out of, relating to, or contemplated by the solicitation. (2) Service of Process. Contractor consents that any papers, notices, or process necessary or proper for the initiation or continuation of any disputes, claims, or controversies relating to the Agreement; for any court action in connection therewith; or for the entry of judgment on any award made, may be served on Contractor by certified mail (return receipt requested) addressed to Contractor at the address provided as the Notice Address on Page Two or by personal service or by any other manner that is permitted by law, in or outside South Carolina. Notice by certified mail is deemed duly given upon deposit in the United States mail. [07-7A025-1]

## EQUAL OPPORTUNITY (JAN 2006)

Contractor is referred to and shall comply with all applicable provisions, if any, of Title 41, Part 60 of the Code of Federal Regulations, including but not limited to Sections 60-1.4, 60-4.2, 60-4.3, 60-250.5(a), and 60-741.5(a), which are hereby incorporated by reference. [07-7A030-1]

## FALSE CLAIMS (JAN 2006)

According to the S.C. Code of Laws Section 16-13-240, "a person who by false pretense or representation obtains the signature of a person to a written instrument or obtains from another person any chattel, money, valuable security, or other property, real or personal, with intent to cheat and defraud a person of that property is guilty" of a crime. [07-7A035-1]

## FIXED PRICING REQUIRED (JAN 2006)

Any pricing provided by contractor shall include all costs for performing the work associated with that price. Except as otherwise provided in this solicitation, contractor's price shall be fixed for the duration of this contract, including option terms. This clause does not prohibit contractor from offering lower pricing after award. [07-7A040-1]

## NO INDEMNITY OR DEFENSE (FEB 2015)

Any term or condition is void to the extent it requires the District to indemnify, defend, or pay attorney's fees to anyone for any reason. [07-7A045-2]

## NOTICE (JAN 2006)

(A) After award, any notices shall be in writing and shall be deemed duly given (1) upon actual delivery, if delivery is by hand, (2) upon receipt by the transmitting party of automated confirmation or answer back from the recipient's device if delivery is by telex, telegram, facsimile, or electronic mail, or (3) upon deposit into the United States mail, if postage is prepaid, a return receipt is requested, and either registered or certified mail is used. (B) Notice to contractor shall be to the address identified as the Notice Address on Page Two. Notice to the District shall be to the Procurement Officer's address on the Cover Page. Either party may designate a different address for notice by giving notice in accordance with this paragraph. [07-7A050-1]

## OPEN TRADE (JUN 2015)

During the contract term, including any renewals or extensions, Contractor will not engage in the boycott of a person or an entity based in or doing business with a jurisdiction with whom South Carolina can enjoy open trade, as defined in SC Code Section 11-35-5300. [07-7A053-1]

## PAYMENT and INTEREST (FEB 2015)

(a) The District shall pay the Contractor, after the submission of proper invoices or vouchers, the prices stipulated in this contract for supplies delivered and accepted or services rendered and accepted, less any deductions provided in this contract. Unless otherwise specified herein, including the purchase order, payment shall not be made on partial deliveries accepted by the Government. (b) Unless otherwise provided herein, including the purchase order, payment will be made by check mailed to the payment address on "Page Two." (c) Notwithstanding any other provision, payment shall be made in accordance with S.C. Code Section 11-35-45, or Chapter 6 of Title 29 (real property improvements) when applicable, which provides the Contractor's exclusive means of recovering any type of interest from the Owner. Contractor waives imposition of an interest penalty unless the invoice submitted specifies that the late penalty is applicable. Except as set forth in this paragraph, the District shall not be liable for the payment of interest on any debt or claim arising out of or related to this contract for any reason. (d) Amounts due to the District shall bear interest at the rate of interest established by the South Carolina Comptroller General pursuant to Section 11-35-45 ("an amount not to exceed fifteen percent each year"), as amended, unless otherwise required by Section 29-6-30. (e) Any other basis for interest, including but not limited to general (pre- and post-judgment) or specific interest statutes, including S.C. Code Ann. Section 34-31-20, are expressly waived by both parties. If a court, despite this agreement and waiver, requires that interest be paid on any debt by either party other than as provided by items (c) and (d) above, the parties further agree that the applicable interest rate for any given calendar year shall be the lowest prime rate as listed in the first edition of the Wall Street Journal published for each year, applied as simple interest without compounding. (f) The District shall have all of its common law, equitable and statutory rights of set-off. [07-7A055-3]

## PUBLICITY (JAN 2006)

Contractor shall not publish any comments or quotes by District employees, or include the District in either news releases or a published list of customers, without the prior written approval of the Procurement Officer. [07-7A060-1]

## PURCHASE ORDERS (JAN 2006)

Contractor shall not perform any work prior to the receipt of a purchase order from the using governmental unit. The using governmental unit shall order any supplies or services to be furnished under this contract by issuing a purchase order. Purchase orders may be used to elect any options available under this contract, e.g., quantity, item, delivery date, payment method, but are subject to all terms and conditions of this contract. Purchase orders may be electronic. No particular form is required. An order placed pursuant to the purchasing card provision qualifies as a purchase order. [07-7A065-1]

## IRAN DIVESTMENT ACT - ONGOING OBLIGATIONS (JAN 2015)

(a) You must notify the procurement officer immediately if, at any time during the contract term, you are added to the Iran Divestment Act List. (b) Consistent with Section 11-57-330(B), you shall not contract with any person to perform a part of the Work, if, at the time you enter into the subcontract, that person is on the then-current version of the Iran Divestment Act List. [07-7A072-1]

## SURVIVAL OF OBLIGATIONS (JAN 2006)

The Parties' rights and obligations which, by their nature, would continue beyond the termination, cancellation, rejection, or expiration of this contract shall survive such termination, cancellation, rejection, or expiration, including, but not limited to, the rights and obligations created by the following clauses: Indemnification - Third Party Claims, Intellectual Property Indemnification, and any provisions regarding warranty or audit. [07-7A075-1]

## TAXES (JAN 2006)

Any tax the contractor may be required to collect or pay upon the sale, use or delivery of the products shall be paid by the District, and such sums shall be due and payable to the contractor upon acceptance. Any personal property taxes levied after delivery shall be paid by the District. It shall be solely the District's obligation, after payment to contractor, to challenge the applicability of any tax by negotiation with, or action against, the taxing authority. Contractor agrees to refund any tax collected, which is subsequently determined not to be proper and for which a refund has been paid to contractor by the taxing authority. In the event that the contractor fails to pay, or delays in paying, to any taxing authorities, sums paid by the District to contractor, contractor shall be liable to the District for any loss (such as the assessment of additional interest) caused by virtue of this failure or delay. Taxes based on Contractor's net income or assets shall be the sole responsibility of the contractor. [07-7A080-1]

## TERMINATION DUE TO UNAVAILABILITY OF FUNDS (JAN 2006)

Payment and performance obligations for succeeding fiscal periods shall be subject to the availability and appropriation of funds therefor. When funds are not appropriated or otherwise made available to support continuation of performance in a subsequent fiscal period, the contract shall be canceled. In the event of a cancellation pursuant to this paragraph, contractor will be reimbursed the resulting unamortized, reasonably incurred, nonrecurring costs. Contractor will not be reimbursed any costs amortized beyond the initial contract term. [07-7A085-1]

## THIRD PARTY BENEFICIARY (JAN 2006)

This Contract is made solely and specifically among and for the benefit of the parties hereto, and their respective successors and assigns, and no other person will have any rights, interest, or claims hereunder or be entitled to any benefits under or on account of this Contract as a third-party beneficiary or otherwise. [07-7A090-1]

## WAIVER (JAN 2006)

The District does not waive any prior or subsequent breach of the terms of the Contract by making payments on the Contract, by failing to terminate the Contract for lack of performance, or by failing to strictly or promptly insist upon any term of the Contract. Only the Procurement Officer has actual authority to waive any of the District's rights under this Contract. Any waiver must be in writing. [07-7A095-1]

SAP

# VII. TERMS AND CONDITIONS -- B. SPECIAL

## CHANGES (JAN 2006)

(1) Contract Modification. By a written order, at any time, and without notice to any surety, the Procurement Officer may, subject to all appropriate adjustments, make changes within the general scope of this contract in any one or more of the following:

- drawings, designs, or specifications, if the supplies to be furnished are to be specially manufactured for the District in accordance therewith;

- method of shipment or packing;

- place of delivery;

- description of services to be performed;

- time of performance (i.e., hours of the day, days of the week, etc.); or,

- place of performance of the services. Subparagraphs (a) to (c) apply only if supplies are furnished under this contract. Subparagraphs (d) to (f) apply only if services are performed under this contract.

(2) Adjustments of Price or Time for Performance. If any such change increases or decreases the contractor's cost of, or the time required for, performance of any part of the work under this contract, whether or not changed by the order, an adjustment shall be made in the contract price, the delivery schedule, or both, and the contract modified in writing accordingly. Any adjustment in contract price made pursuant to this clause shall be determined in accordance with the Price Adjustment Clause of this contract. Failure of the parties to agree to an adjustment shall not excuse the contractor from proceeding with the contract as changed, provided that the District promptly and duly make such provisional adjustments in payment or time for performance as may be reasonable. By proceeding with the work, the contractor shall not be deemed to have prejudiced any claim for additional compensation, or an extension of time for completion.

(3) Time Period for Claim. Within 30 days after receipt of a written contract modification under Paragraph (1) of this clause, unless such period is extended by the Procurement Officer in writing, the contractor shall file notice of intent to assert a claim for an adjustment. Later notification shall not bar the contractor's claim unless the District is prejudiced by the delay in notification.

(4) Claim Barred After Final Payment. No claim by the contractor for an adjustment hereunder shall be allowed if notice is not given prior to final payment under this contract.

[07-7B025-1]

## CISG (JAN 2006)

The parties expressly agree that the UN Convention on the International Sale of Goods shall not apply to this agreement. [07-7B030-1]

## CONTRACT LIMITATIONS (JAN 2006)

No sales may be made pursuant to this contract for any item or service that is not expressly listed. No sales may be made pursuant to this contract after expiration of this contract. Violation of this provision may result in termination of this contract and may subject contractor to suspension or debarment. [07-7B045-1]

## CONTRACTOR PERSONNEL (JAN 2006):

The Contractor shall enforce strict discipline and good order among the Contractor’s employees and other persons carrying out the Contract. The Contractor shall not permit employment of unfit persons or persons not skilled in tasks assigned to them. [07-7B060-1]

## CONTRACTOR’S OBLIGATION – GENERAL (JAN 2006):

The contractor shall provide and pay for all materials, tools, equipment, labor and professional and non-professional services, and shall perform all other acts and supply all other things necessary, to fully and properly perform and complete the work. The contractor must act as the prime contractor and assume full responsibility for any subcontractor’s performance. The contractor will be considered the sole point of contact with regard to all situations, including payment of all charges and the meeting of all other requirements. [07-7B065-1]

## DEFAULT (JAN 2006)

(a) (1) The District may, subject to paragraphs (c) and (d) of this clause, by written notice of default to the Contractor, terminate this contract in whole or in part if the Contractor fails to:

(i) Deliver the supplies or to perform the services within the time specified in this contract or any extension;

(ii) Make progress, so as to endanger performance of this contract (but see paragraph (a)(2) of this clause); or

(iii) Perform any of the other material provisions of this contract (but see paragraph (a)(2) of this clause).

(2) The District's right to terminate this contract under subdivisions (a)(1)(ii) and (1)(iii) of this clause, may be exercised if the Contractor does not cure such failure within 10 days (or more if authorized in writing by the Procurement Officer) after receipt of the notice from the Procurement Officer specifying the failure.

(b) If the District terminates this contract in whole or in part, it may acquire, under the terms and in the manner the Procurement Officer considers appropriate, supplies or services similar to those terminated, and the Contractor will be liable to the District for any excess costs for those supplies or services. However, the Contractor shall continue the work not terminated.

(c) Except for defaults of subcontractors at any tier, the Contractor shall not be liable for any excess costs if the failure to perform the contract arises from causes beyond the control and without the fault or negligence of the Contractor. Examples of such causes include (1) acts of God or of the public enemy, (2) acts of the District in either its sovereign or contractual capacity, (3) fires, (4) floods, (5) epidemics, (6) quarantine restrictions, (7) strikes, (8) freight embargoes, and (9) unusually severe weather. In each instance the failure to perform must be beyond the control and without the fault or negligence of the Contractor.

(d) If the failure to perform is caused by the default of a subcontractor at any tier, and if the cause of the default is beyond the control of both the Contractor and subcontractor, and without the fault or negligence of either, the Contractor shall not be liable for any excess costs for failure to perform, unless the subcontracted supplies or services were obtainable from other sources in sufficient time for the Contractor to meet the required delivery schedule.

(e) If this contract is terminated for default, the District may require the Contractor to transfer title and deliver to the District, as directed by the Procurement Officer, any (1) completed supplies, and (2) partially completed supplies and materials, parts, tools, dies, jigs, fixtures, plans, drawings, information, and contract rights (collectively referred to as "manufacturing materials" in this clause) that the Contractor has specifically produced or acquired for the terminated portion of this contract. Upon direction of the Procurement Officer, the Contractor shall also protect and preserve property in its possession in which the District has an interest.

(f) The District shall pay contract price for completed supplies delivered and accepted. The Contractor and Procurement Officer shall agree on the amount of payment for manufacturing materials delivered and accepted and for the protection and preservation of the property; if the parties fail to agree, the Procurement Officer shall set an amount subject to the Contractor's rights under the Disputes clause. Failure to agree will be a dispute under the Disputes clause. The District may withhold from these amounts any sum the Procurement Officer determines to be necessary to protect the District against loss because of outstanding liens or claims of former lien holders.

(g) If, after termination, it is determined that the Contractor was not in default, or that the default was excusable, the rights and obligations of the parties shall, if the contract contains a clause providing for termination for convenience of the District, be the same as if the termination had been issued for the convenience of the District. If, in the preceding circumstances, this contract does not contain a clause providing for termination for convenience of the District, the contract shall be adjusted to compensate for such termination and the contract modified accordingly subject to the contractor's rights under the Disputes clause.

(h) The rights and remedies of the District in this clause are in addition to any other rights and remedies provided by law or under this contract. [07-7B075-1]

## DISPOSAL OF PACKAGING (JAN 2006)

Contractor shall dispose of all wrappings, crating, and other disposable materials about this contract at the end of each working day and upon completion of installation. Material must be disposed of off-site and may not be disposed of in district maintained waste containers.

## ESTIMATED QUANTITY -- PURCHASES FROM OTHER SOURCES (JAN 2006)

The District may bid separately any unusual requirements or large quantities of supplies covered by this contract. [07-7B090-1]

## ESTIMATED QUANTITY -- UNKNOWN (JAN 2006)

The total quantity of purchases of any individual item on the contract is not known. The District does not guarantee that the District will buy any specified item or total amount. The omission of an estimated purchase quantity does not indicate a lack of need but rather a lack of historical information. [07-7B095-1]

## ILLEGAL IMMIGRATION (NOV 2008):

(An overview is available at www.procurement.sc.gov) By signing your offer, you certify that you will comply with the applicable requirements of Title 8, Chapter 14 of the South Carolina Code of Laws and agree to provide to the District upon request any documentation required to establish either: (a) that Title 8, Chapter 14 is inapplicable to you and your subcontractors or sub-subcontractors; or (b) that you and your subcontractors or sub-subcontractors are in compliance with Title 8, Chapter 14. Pursuant to Section 8-14-60, “A person who knowingly makes or files any false, fictitious, or fraudulent document, statement, or report pursuant to this chapter is guilty of a felony, and, upon conviction, must be fined within the discretion of the court or imprisoned for not more than five years, or both.” You agree to include in any contracts with your subcontractor’s language requiring your subcontractors to (a) comply with the applicable requirements of Title 8, Chapter 14, and (b) include in their contracts with the sub-subcontractor’s language requiring the sub-subcontractors to comply with the applicable requirements of Title 8, Chapter 14. [07-7B097-1]

INDEMNIFICATION-THIRD PARTY CLAIMS – GENERAL (NOV 2011):

Notwithstanding any limitation in this agreement, and to the fullest extent permitted by law, Contractor shall defend and hold harmless Indemnitees for and against any and all suits or claims of any character (and all related damages, settlement payments, attorneys’ fees, costs, expenses, losses or liabilities) by a third party which are attributable to bodily injury, sickness, disease or death, or to injury to or destruction of tangible property arising out of or in connection with the goods or services acquired hereunder or caused in whole or in part by any act or omission of contractor, its subcontractors, their employees, workmen, servants, agents, or anyone directly or indirectly employed by them or anyone for whose acts any of them may be liable, regardless of whether or not caused in part by an Indemnitee, and whether or not such claims are made by a third party or an Indemnitee; however, if an Indemnitee’s negligent act or omission is subsequently determined to be the sole proximate cause of a suit or claim, the Indemnitee shall not be entitled to indemnification hereunder. Contractor shall be given timely written notice of any suit or claim. Contractor’s obligations hereunder are in no way limited by any protection afforded under workers’ compensation acts, disability benefits acts, or other employee benefit acts. This clause shall not negate, abridge, or reduce any other rights or obligations of indemnity which would otherwise exist. The obligations of this paragraph shall survive termination, cancelation, or expiration of the parties’ agreement. This provision shall be construed fairly and reasonably, neither strongly for nor against either party, and without regard to any clause regarding insurance. As used in this clause, “Indemnitees” means the School District Five of Lexington and Richland Counties, its instrumentalities, agencies, departments, boards, political subdivisions and all their respective officers, agents and employees. [07-7B100-2]

## LICENSES AND PERMITS (JAN 2006):

During the term of the contract, the Contractor shall be responsible for obtaining, and maintaining in good standing, all licenses (including professional licenses, if any), permits, inspections and related fees for each or any such licenses, permits and /or inspections required by the State, county, city or other government entity or unit to accomplish the work specified in this solicitation and the contract. [07-7B115-1]

## MATERIAL AND WORKMANSHIP (JAN 2006):

Unless otherwise specifically provided in this contract, all equipment, material, and articles incorporated in the work covered by this contract are to be new and of the most suitable grade for the purpose intended. [07-7B120-1]

## PRICE ADJUSTMENTS (JAN 2006)

(1) Method of Adjustment. Any adjustment in the contract price made pursuant to a clause in this contract shall be consistent with this Contract and shall be arrived at through whichever one of the following ways is the most valid approximation of the actual cost to the Contractor (including profit, if otherwise allowed):

(a) by agreement on a fixed price adjustment before commencement of the pertinent performance or as soon thereafter as practicable;

(b) by unit prices specified in the Contract or subsequently agreed upon;

(c) by the costs attributable to the event or situation covered by the relevant clause, including profit if otherwise allowed, all as specified in the Contract; or subsequently agreed upon;

(d) in such other manner as the parties may mutually agree; or,

(e) In the absence of agreement by the parties, through a unilateral initial written determination by the Procurement Officer of the costs attributable to the event or situation covered by the clause, including profit if otherwise allowed, all as computed by the Procurement Officer in accordance with generally accepted accounting principles, subject to the provisions of Title 11, Chapter 35, Article 17 of the S.C. Code of Laws.

(2) Submission of Price or Cost Data. Upon request of the Procurement Officer, the contractor shall provide reasonably available factual information to substantiate that the price or cost offered, for any price adjustments is reasonable, consistent with the provisions of Section 11-35-1830.

[07-7B160-1]

## PRICE ADJUSTMENT - LIMITED -- AFTER INITIAL TERM ONLY (JAN 2006)

Upon approval of the Procurement Officer, prices may be adjusted for any renewal term. Prices shall not be increased during the initial term. Any request for a price increase must be received by the Procurement Officer at least one hundred and twenty (120) days prior to the expiration of the applicable term and must be accompanied by sufficient documentation to justify the increase. If approved, a price increase becomes effective starting with the term beginning after approval. A price increase must be executed as a change order. Contractor may terminate this contract at the end of the then current term if a price increase request is denied. Notice of termination pursuant to this paragraph must be received by the Procurement Officer no later than fifteen (15) days after the Procurement Officer sends contractor notice rejecting the requested price increase. [07-7B165-1]

## PRICE ADJUSTMENTS -- LIMITED BY PPI (JAN 2006)

Upon request and adequate justification, the Procurement Officer may grant a price increase up to, but not to exceed, the unadjusted percent change for the most recent 12 months for which data is available, that is not subject to revision, in the Producer Price Indexes (PPI) for the applicable commodity, as determined by the Procurement Officer. The Bureau of Labor and Statistics publishes this information on the web at www.bls.gov  (.) [07-7B180-1]

## PRICING DATA -- AUDIT -- INSPECTION (JAN 2006)

(a) Cost or Pricing Data. Upon Procurement Officer's request, you shall submit cost or pricing data, as defined by 48 C.F.R. Section 2.101 (2004), prior to either (1) any award to contractor pursuant to 11-35-1530 or 11-35-1560, if the total contract price exceeds $500,000, or (2) execution of a change order or contract modification with contractor which exceeds $100,000. Your price, including profit or fee, shall be adjusted to exclude any significant sums by which the District finds that such price was increased because you furnished cost or pricing data that was inaccurate, incomplete, or not current as of the date agreed upon between parties. (b) Records Retention. You shall maintain your records for three years from the date of final payment, or longer if requested by the chief Procurement Officer. The District may audit your records at reasonable times and places. As used in this subparagraph (b), the term "records" means any books or records that relate to cost or pricing data submitted pursuant to this clause. In addition to the obligation stated in this subparagraph (b), you shall retain all records and allow any audits provided for by 11-35-2220(2). (c) Inspection. At reasonable times, the District may inspect any part of your place of business which is related to performance of the work. (d) Instructions Certification. When you submit data pursuant to subparagraph (a), you shall (1) do so in accordance with the instructions appearing in Table 15-2 of 48 C.F.R. Section 15.408 (2004) (adapted as necessary for the District context), and (2) submit a Certificate of Current Cost or Pricing Data, as prescribed by 48 CFR Section 15.406-2(a) (adapted as necessary for the District context). (e) Subcontracts. You shall include the above text of this clause in all of your subcontracts. (f) Nothing in this clause limits any other rights of the District imposed on the Using Governmental Unit either by law or as a condition of using state or federal assistance, grant, or contract funds, or (ii) for the Using Governmental Unit to impose organizational, operational, or technical security measures designed to protect the integrity, availability, or confidentiality of the Using Governmental Unit's data. Contractor may decline to honor a purchase order including additional contract terms.

(g) If the contractor is suspended or debarred pursuant to Section 11-35-4220 or a corresponding sction of the District Procurement Code, the District may, without prejudice to any other remedy available to the District, take any one or more of the following actions: (1) order the contractor to not accept any further orders under the contract until the suspension or debarment has been lifted; (2) terminate this contract; (3) order the contractor to not accept any further orders under any other District contract; or (4) terminate the contractor's award of any separate District contract.

## TERM OF CONTRACT -- EFFECTIVE DATE / INITIAL CONTRACT PERIOD (JAN 2006)

The effective date of this contract is the first day of the Maximum Contract Period as specified on the final statement of award. The initial term of this agreement is three years from the effective date. Regardless, this contract expires no later than the last date stated on the final statement of award. [07-7B240-1]

## TERM OF CONTRACT -- OPTION TO RENEW (JAN 2015)

(a) At the end of the initial term, and at the end of each renewal term, this contract shall automatically renew for a period of 1 year, unless contractor receives notice that the District elects not to renew the contract at least thirty (30) days prior to the date of renewal. Regardless, this contract expires no later than the last date stated on the final statement of award.

(b) Contractor acknowledges that, unless excused by Section 11-57-320, if the contractor is on the then-current Iran Divestment Act List as of the date of any contract renewal, the renewal will be void ab initio. [07-7B245-2]

## TERM OF CONTRACT -- TERMINATION BY CONTRACTOR (JAN 2006)

Contractor may terminate this contract at the end of the initial term, or any renewal term, by providing the Procurement Officer notice of its election to terminate under this clause at least 100 days prior to the expiration of the then current term. [07-7B250-1]

## TERMINATION FOR CONVENIENCE -- INDEFINITE DELIVERY / INDEFINITE QUANTITY CONTRACTS (JAN 2006)

Unless the termination so provides, a termination for convenience shall not operate to terminate any purchase orders issued prior to the effective date of termination. [07-7B255-1]

## TERMINATION FOR CONVENIENCE (JAN 2006)

(1) Termination. The Procurement Officer may terminate this contract in whole or in part, for the convenience of the District. The Procurement Officer shall give written notice of the termination to the contractor specifying the part of the contract terminated and when termination becomes effective.

(2) Contractor's Obligations. The contractor shall incur no further obligations in connection with the terminated work and on the date set in the notice of termination the contractor will stop work to the extent specified. The contractor shall also terminate outstanding orders and subcontracts as they relate to the terminated work. The contractor shall settle the liabilities and claims arising out of the termination of subcontracts and orders connected with the terminated work. The Procurement Officer may direct the contractor to assign the contractor's right, title, and interest under terminated orders or subcontracts to the District. The contractor must still complete the work not terminated by the notice of termination and may incur obligations as are necessary to do so.

(3) Right to Supplies. The Procurement Officer may require the contractor to transfer title and deliver to the District in the manner and to the extent directed by the Procurement Officer: (a) any completed supplies; and (b) such partially completed supplies and materials, parts, tools, dies, jigs, fixtures, plans, drawings, information, and contract rights (hereinafter called "manufacturing material") as the contractor has specifically produced or specially acquired for the performance of the terminated part of this contract. The contractor shall, upon direction of the Procurement Officer, protect and preserve property in the possession of the contractor in which the District has an interest. If the Procurement Officer does not exercise this right, the contractor shall use best efforts to sell such supplies and manufacturing materials in accordance with the standards of Uniform Commercial Code Section 2-706. Utilization of this Section in no way implies that the District has breached the contract by exercise of the Termination for Convenience Clause.

(4) Compensation.

(a) The contractor shall submit a termination claim specifying the amounts due because of the termination for convenience together with cost or pricing data required by Section 11-35-1830 bearing on such claim. If the contractor fails to file a termination claim within one year from the effective date of termination, the Procurement Officer may pay the contractor, if at all, an amount set in accordance with Subparagraph (c) of this Paragraph.

(b) The Procurement Officer and the contractor may agree to a settlement and that the settlement does not exceed the total contract price plus settlement costs reduced by payments previously made by the District, the proceeds of any sales of supplies and manufacturing materials under Paragraph (3) of this clause, and the contract price of the work not terminated;

(c) Absent complete agreement under Subparagraph (b) of this Paragraph, the Procurement Officer shall pay the contractor the following amounts, provided payments agreed to under Subparagraph (b) shall not duplicate payments under this Subparagraph:

(i) contract prices for supplies or services accepted under the contract;

(ii) costs reasonably incurred in performing the terminated portion of the work less amounts paid or to be paid for accepted supplies or services;

(iii) reasonable costs of settling and paying claims arising out of the termination of subcontracts or orders pursuant to Paragraph (2) of this clause. These costs must not include costs paid in accordance with Subparagraph (c)(ii) of this paragraph;

(iv) any other reasonable costs that have resulted from the termination. The total sum to be paid the contractor under this Subparagraph shall not exceed the total contract price plus the reasonable settlement costs of the contractor reduced by the amount of payments otherwise made, the proceeds of any sales of supplies and manufacturing materials under Subparagraph (b) of this Paragraph, and the contract price of work not terminated.

(d) Contractor must demonstrate any costs claimed, agreed to, or established under Subparagraphs (b) and (c) of this Paragraph using its standard record keeping system, provided such system is consistent with any applicable Generally Accepted Accounting Principles.

(5) Contractor's failure to include an appropriate termination for convenience clause in any subcontract shall not (i) affect the District's right to require the termination of a subcontract, or (ii) increase the obligation of the District beyond what it would have been if the subcontract had contained an appropriate clause.

## WARRANTY -- STANDARD (MODIFIED)

Warranty shall be three (3) years for parts and repair.

Maximum warranty response time shall be (from time of first contact) four (4) hours by phone and on-site within 48 hours. Response time is based on normal working hours of Monday-Friday, 8:00 am to 2:00 pm.

The bidder agrees to provide a service log (service history on the equipment) on any piece of equipment as part of this bid when requested by the district director or supervisor.  The service history will contain the cause of the breakdown and the length of time the equipment is non-functioning. If the down time is determined to be operator error, misuse, or abuse, the down time will not be considered in accessing satisfactory equipment.

SAP

ATTACHMENT A

SITE VISIT LOG

The form is to be fully completed and submitted with your bid response.

I certify that I have visited each of the following facilities:

Ballentine Elementary

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

Chapin Elementary

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

Dutch Fork Elementary

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

Harbison West Elementary

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

H.E. Corley Elementary

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

Irmo Elementary

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

Lake Murray Elementary

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

Leaphart Elementary

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

SITE VISIT (cont.)

Nursery Road Elementary

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

Oak Pointe Elementary School

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

River Springs Elementary

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

Seven Oaks Elementary

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

Chapin Intermediate School

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

CrossRoads Intermediate School

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

Chapin Middle

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

Dutch Fork Middle

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

Irmo Middle

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

SITE VISIT (cont.)

Chapin High

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

Dutch Fork High

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

Irmo High

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

Spring Hill High

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

Center for Advanced Technical Studies

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

District Administration

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

Chapin Transportation Office

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

Dutch Fork Transportation Offices

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

Irmo Transportation Offices

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

SITE VISIT (cont.)

Gibbes Street Annex Office

Person(s) attending____________________________________________

Date of visit_____________________________

Name of person(s) visited_______________________________________

Signature of Authorized Official: ______________________________________________               Print name and Title: _______________________________________________________

ATTACHMENT B

MINORITY PARTICIPATION AFFIDAVIT

Is the bidder a South Carolina Certified Minority Business? [ ] Yes [ ] No

Is the bidder a Minority Business certified by another governmental entity? [ ] Yes [ ] No

If so, please list the certifying governmental entity: _________________________

Will any of the work under this contract be performed by a SC certified Minority Business as a subcontractor? [ ] Yes [ ] No

If so, what percentage of the total value of the contract will be performed by a SC certified Minority Business as a subcontractor? _____________

Will any of the work under this contract be performed by a minority business certified by another governmental entity as a subcontractor? [ ] Yes [ ] No

If so, what percentage of the total value of the contract will be performed by a minority business certified by another governmental entity as a subcontractor? _____________

If a certified Minority Business is participating in this contract, please indicate all categories for which the Business is certified:

[ ] Traditional minority

[ ] Traditional minority, but female

[ ] Women (Caucasian females)

[ ] Hispanic minorities

[ ] DOT referral (Traditional minority)

[ ] DOT referral (Caucasian female)

[ ] Temporary certification

[ ] SBA 8 (a) certification referral

[ ] Other minorities (Native American, Asian, etc.)

(If more than one minority contractor will be utilized in the performance of this contract, please provide the information above for each minority business.)

The Department of Administration, Division of Small and Minority Business Contracting and Certification, publishes a list of certified minority firms. The Minority Business Directory is available at the following URL: http://osmba.sc.gov/directory.html

[04-4015-3]

SAP

SAP

P

ATTACHMENT C

OFFEROR’S CHECKLIST

AVOID COMMON MISTAKES!

(Review this checklist prior to submitting your offer)

- COMPLETED & SIGNED ALL REQUIRED DOCUMENTS.

- DO NOT INCLUDE ANY OF YOUR STANDARD CONTRACT FORMS!

- UNLESS EXPRESSLY REQUIRED, DO NOT INCLUDE ANY ADDITIONAL BOILERPLATE CONTRACT CLAUSES!

- MAKE SURE YOUR OFFER DOES NOT TAKE EXCEPTION TO ANY OF THE DISTRICT’S MANDATORY REQUIREMENTS!

- MAKE SURE YOU HAVE PROPERLY MARKED ALL PROTECTED, CONFIDENTIAL OR TRADE SECRET INFORMATION IN ACCORDANCE WITH THE INSTRUCTIONS: “SUBMITTING CONFIDENTIAL INFORMATION.”  DO NOT MARK YOUR ENTIRE RESPONSE AS CONFIDENTIAL, TRADE SECRET OR PROTECTED!  DO NOT INCLUDE A LEGEND ON THE COVER STATING THAT YOUR ENTIRE RESPONSE IS NOT TO BE RELEASED!

- PROPERLY ACKNOWLEDGED ALL AMENDMENTS?

- MAKE SURE THAT YOUR OFFER INCLUDES THE SOLICITATION COVER PAGE.  MAKE SURE THE COVER PAGE IS SIGNED BY A PERSON THAT IS AUTHORIZED TO CONTRACTUALLY BIND YOUR BUSINESS.

- MAKE SURE YOUR OFFER INCLUDES THE NUMBER OF COPIES REQUESTED.

- CHECK TO ENSURE YOUR OFFER INCLUDES EVERYTHING REQUESTED!

- IF YOU HAVE CONCERNS ABOUT THE SOLICITATION, DO NOT RAISE THOSE CONCERNS IN YOUR RESPONSE!  AFTER OPENING, IT IS TOO LATE!  IF THIS SOLICITATION INCLUDES A QUESTION & ANSWER PERIOD OR A PRE-SOLICITATION CONFERENCE, RAISE YOUR QUESTIONS AS PART OF THAT PROCESS.

This checklist is included only as a reminder to help offerors avoid common mistakes.  Responsiveness will be evaluated against the solicitation, not against this checklist.  You do not need to return this checklist with your offer.