
                  ESCAMBIA COUNTY CDBG HOUSING REHABILITATION
	OWNER:
	Starr M. Hopkins
	
	JOB #:
	C-R-2019-2

	ADDRESS:
	4770 Cerny Road
	
	DATE PREPARED:
	01/08/2019

	
	Pensacola, Florida, 32526
	
	OPENING DATE:
	01/25/2019

	PHONE: 
	850-346-0713
	
	CLOSING DATE:
	02/08/2019

	
	
	
	CLOSING TIME:
	Noon


I/(we) certify that I/(we) have carefully examined the Housing Rehabilitation Specifications, Associated Lead Based Paint Specifications (if applicable), General Conditions and Insurance/Bid Requirements, and I/we have also examined the site on which proposed work is to be performed. On the basis of these examinations, I (we) propose to furnish all materials, tools, machinery and labor necessary to complete the work in a professional workmanship manner and to complete the work at the price listed. 

	$
	
	

	REHABILITATION COST
	
	CONTRACTOR’S SIGNATURE

	$
	
	

	ASSOCIATED LEAD BASED PAINT COST
	
	TITLE

	
	
	

	$
	
	FIRM

	TOTAL JOB COST
	
	

	
	
	FIRM PHONE NUMBER

	BID OPENING DATE:
	
	
	

	 FORMCHECKBOX 
 ACCEPTED
	 FORMCHECKBOX 
 REJECTED
	
	

	
	
	
	

	
	
	
	

	BID COMMITTEE REPRESENTATIVE
	
	



REQUIRED PERMITS AND INSPECTIONS: Plumbing, Electrical, Mechanical, Roofing, Windows and Doors

	Type of Construction:
	Wood Framing
	Outside Dimensions:
	48'x24'+14'x4'

	Home was built in 1960                                                   
	

	Family Room:
	12'x12'8”x8'
	  Bedroom 1:
	9’x9’6”+3’x3’+cl2'x3x8'

	Living room:
	12’8”x12’+cl2’x3’x8’
	  Bedroom 2:
	10’x10’4”+2’8”x2’4”+cl3’x2’x8’

	Dining Room:
	12'8”x10’x8'
	  Bedroom 3:
	10’x10’ + cl3’x2’x8’

	Kitchen:
	6’x10'x8'
	  Laundry/utility:
	11’8”x10’x8'

	Hallway:
	11'8”x3’+3’4”x3’6”x8'
	  Roof:
	49’x15’x2+3’x10x2

	Heater Closet:
	3’x3’6”x8'
	  Vent-a-ridge:
	40 lineal feet

	Bath:
	5’x7’x8’
	  Ridge:
	22 lineal 

	3’x3’6”x8'

Roof:
49’x15’x2+3’x10x2



       All measurements are for reference only and should be confirmed by the bidder
Mandatory on-Site Pre-Bid Conference: February 01, 2019 at 8:30 a.m.
                                               INSTRUCTIONS TO BIDDERS
Submit COVER SHEET AND ALL NUMBERED PAGES OF BID with signature of Contractor and bid price in ink. Specifications in pencil will be rejected.  Bids must be in a sealed envelope and hand-delivered to Neighborhood Enterprise Division Office, 221 Palafox Place (Ernie Lee Magaha Government Building), Suite 200, Pensacola, FL 32502 office by 12:00 noon at the closing date specified. NO email or fax submissions will be accepted. 

The bids will be opened by the Bid Committee and bid will be awarded based upon the lowest eligible bidder with the most reasonable combined bid for the work specified. Itemized pricing may be used for negotiation in the event of a change in the scope of work as described within the Specifications.

Labor, overhead, permits, insurance, and profit must be included into each itemized price and not listed as a separate itemized price or listed under “miscellaneous.” Non-compliance will result in rejection of bid.

All repair work performed must be inspected (rough and final) and conform to County Ordinances, State Laws, and Florida Building Code.

The Contractor is responsible for proper reattachment/hook-up of any/all of the following that apply: appliances, existing coaxial cable, telephone and interface, electric, water, and sewage.

HOMEOWNER’S RESPONSIBILITIES AND OBLIGATIONS
The Homeowner is responsible for maintaining existing utilities for the Contractor’s use during the rehabilitation period.

The Homeowner is responsible for the removal of all belongings/furnishings from the designated work areas prior to the start date.  The Contractor is not responsible for removal of Homeowner’s trash and/or discarded belongings or furnishings. Items left within the unit, which are to be removed/replaced by the Contractor become the property of the Contractor.
PAYMENT SCHEDULE
Payment will be lump sum at project completion for bids $15,000.00 and under.  For bids over $15,000.00, contractor will be eligible for a 40% draw once all required permit applications are in place and 50% of the work is completed as determined by the itemized costs for the job.
The Contractor will be eligible for Final Payment after the following conditions have been fulfilled:



Completion of Write-Up



Inspection/Sign-off by Building Inspections and/or Health Department



Acceptance by the Homeowner (Homeowner’s Release & Warranty) 
        Warranty packet for all covered items provided to NED Staff



Premises free from all construction debris



Submission of RRP Checklist Form & Contractor’s Final Affidavit


Original Invoice from Contractor
         Surety’s Consent to Final Payment if applicable

LEAD BASED PAINT (LBP)/RRP REQUIREMENTS

Abatement of LBP, at or above the LSHR hazardous level, will be performed by a certified Lead Abatement Contractor, with no rehab work to begin until the Abatement Contractor has achieved clearance.

The subject housing unit was built prior to 1978 and is therefore a “targeted property” under the EPA’s RRP rule, as some painted surfaces may be disturbed.  Therefore, “Safe work practices” is required along with submittal by the RRP Contractor of “Renovation Record-Keeping Checklist” form.
COMPLETION DATE

There is a SIXTY (60) day time limit on each rehabilitation job. For every day worked in excess of the SIXTY DAY contract period, a FIFTY DOLLAR ($50.00) per day penalty will be assessed.

A Notice to Proceed will be issued once the homeowner has vacated the property and will take into account LBP remediation to be performed by a certified Lead Abatement Contractor if applicable to the property.

ESCAMBIA COUNTY NEIGHBORHOOD ENTERPRISE DIVISION

HOUSING REPAIR PROGRAMS
CONTRACTOR REQUIREMENTS
If your firm is awarded the bid for housing repair (SHIP or HUD programs) the following items must be current and on file in order to issue a Purchase Order. 


*Current W9 (less than one year old)

*County Vendor Information sheet (less than one year old)

*Worker’s Compensation as required by State Law OR exemption form.


*Commercial General Liability ($1,000,000 coverage) listing Escambia County as Certificate Holder and 
additional insured. 

*Automobile Liability ($1,000,000 coverage) listing Escambia County as Certificate Holder and additional 
insured. 

GL and Auto Liability Certificates must state the following under the Additional Interest: 

                                                                 Escambia County

C/O Neighborhood Enterprise Division

221 Palafox Place, Suite 200

Pensacola, FL 32502-5844

All correspondence should be directed to Neighborhood Enterprise Division, 221 Palafox Place, Suite 200, Pensacola, FL 32502 for review.






*For jobs valued at $25,000 or higher, 100% Performance and Payment Bonds will be required. Performance and Payment Bond format will be provided.
Refer to BCC Office of Purchasing Risk Management Guidelines Procedure No: PP-180 (Performance and Payment Bonds) and PP-185 (Risk Management Guidelines) for further details. [http://www.myescambia.com/business/purchasing-policies-and-procedures]
Additionally, Neighborhood Enterprise Division will maintain the following info in the Contractor’s file:


*Contractor may not be federally debarred from participating in programs as per www.sam.gov 

*State registered or State Certified Contractor License

*Escambia County Competency Board License

*Escambia County Business/Occupational License 

*EPA RRP Renovator and Firm Certifications

Firms bidding on Lead Based Paint Abatement jobs must also submit proof of Lead Abatement firm certification.    

All information must be current at time of award. IF INFORMATION CANNOT BE PRODUCED IN A TIMELY MANNER, THE COUNTY RESERVES THE RIGHT TO AWARD THE BID TO THE NEXT 
MOST RESPONSIVE BIDDER.
                                                                                                                                                       CDBG Rehabilitation Program
Starr M. Hopkins 
4770 Cerny Road

Pensacola, Florida, 32526
PAGE 1

GENERAL:  

· The subject Housing Unit was built prior to 1978 and therefore is a “targeted property” under the EPA’s RRP Rule, as some painted surfaces may be disturbed. Therefore, the implementation of “safe work practices” is required along with submittal by the RRP Contractor of “Renovation Record keeping Checklist” form. 

· Federal funds (Escambia County CDBG) are being used to renovate this property 

· Contracts will only be awarded to an EPA Certified Renovation firm with a Certified Renovator since the property was constructed prior to 1978. A copy of the firm’s certification must be submitted prior to entering contract with said contractor. 
· The Homeowner will have the following sample choices, where applicable:
· Roof color                                                                                1 choice
· Cabinet style and color                                                            1 choice 

· Cabinet pulls and knobs style and color                                  1 choice

· Counter top color                                                                     1 choice

· Interior Trim, Satin or Semi-Gloss Latex
                                1 choice

· Interior Walls, Eggshell Latex

                                             1 choice
MECHANICAL: 

Install new heat pump system with air handler using existing space in hall with new duct system and new registers and returns.                                                                                                                                  

Heater space will need to be modified including platform and door unit to meet Escambia County Code.

Return air grill is to be removable filter type with filter installed.

Heater closet and new unit are to meet current Escambia County Code.

All units installed during rehabilitation must meet state energy efficiency rating guidelines.

Install a new digital thermostat control.    

All interior doors of heated rooms must have ½” clearance from top of finished floor covering to bottom of door for return air.

Mechanical Contractor to provide NED with a Manual J to support unit size installed.

Install new exhaust fan rated at a minimum of 70 CFM and Energy Star Qualified in

bathroom vented to the atmosphere as per Escambia County code.                                                           Install new dryer exhaust vented to the atmosphere as per Escambia County code.
Detach and reset existing Micro-hood and exhaust to atmosphere, this may require an adapter from hood to duct. There will be no implied warranty on the Micro-hood unit.
Mechanical total $______________
CDBG Rehabilitation Program

Starr M. Hopkins
4770 Cerny Road
Pensacola, Florida, 32526
PAGE 2

ELECTRICAL:                                                                                                                          Remove existing electrical wiring and metal boxes. Re-wire total house to conform to the national electrical code as per Escambia County Electrical Inspection Department. This may require additional switches and outlets to be added if existing space does not meet code requirements. 
A new meter base/power pack and riser may be required. A new breaker panel may be required. 
Install disconnects at equipment and appliances where required by Escambia County Code.                                                                                                                                     
All smoke detectors shall be hardwired with battery back-up as required per Escambia County Code.  
All receptacles, switches and cover plates shall be new devices.
All existing and new appliances will have new pigtails installed to match new receptacles.
Unit shall have 2 exterior receptacles, one on front and one on the back, consult homeowner for location.
In each new light fixture install 60-watt equivalent led light bulbs. Install a light fixture at all locations where there is an existing light fixture, these may be new or existing fixtures.
Blocking for ceiling fans will be required and a separate switch is required to operate the fan and light kit at all locations where there are existing fans. If there aren’t any existing fans, the above-mentioned blocking and switches are to be installed in all bedrooms and living room.
Install receptacle and switch for future disposal and dishwasher.
Install a new doorbell with a new button at front door.
Install new lighting fixtures at the exterior entries as required by Escambia County Code.
Contractor is to allow a $300.00 lighting/fan allowance for the Homeowner. 

Smoke detectors and light bulbs are not included in the lighting allowance.

Existing light fixtures and fans may be reset by agreement between Homeowner and Contractor if fixtures are in working and safe condition.                                                                                                                                  

A lighting allowance is a value placed upon the purchase of light fixtures selected by the Homeowner and to be installed by the Contractor in homes rehabilitated or reconstructed.                                                            The value placed upon these goods does not include sales tax or bulbs.                                                     The Contractor is responsible for the purchase and installation of LED bulbs 

(which are to be installed in each open socket) of the fixtures. The Homeowner may utilize any recognized electrical material or construction material supplier of their choosing, as long as the fixture is “underwriters-laboratory” approved and labeled for the location it is to be placed.            Note to Homeowner: If more than Four (4) fans are selected for installation the homeowner will be responsible for any additional charges by the electrician for assembly and installation of the additional fans.
Electrical total $_______________
CDBG Rehabilitation Program

Starr M. Hopkins
4770 Cerny Road
Pensacola, Florida, 32526
PAGE 3
PLUMBING: 
Replace fresh water supply lines going to fixtures and appliances, also to include two ¼ turn sill cocks on exterior of home as required as per Escambia County Code.

Install a new 40 gallon electric Water Heater. New heater will be located in the laundry room. 

Main supply line from meter to house is to be replaced if required with 160 psi PVC pipe.                

Install new washer box as per Escambia County Code.

Install new ice maker line and box as per Escambia County Code.

Install a new Delta vanity sink faucets with pop up drain model 520-MPU-DST or equivalent.                                                                                                                                                                                                                                                                            
Install 1 new Delta tub/shower faucet with valve model 144910 or equivalent.
Install a new double bowl stainless steel sink with minimum 7” deep bowls.                                                                                                                                            Install a new Delta kitchen faucet with sprayer model 400-DST or equivalent.                                                                                              Install new all metal Stainless steel sink baskets with strainers.                                                  

Install all new ¼ turn brass valves as required per Escambia County Code. Hot water valve at kitchen sink should be a 3-way for future dishwasher connection. 
Install all new drain assemblies from fixtures to waste.

Install new braided supply lines to toilets, bath and kitchen sinks.

Clear main drain of tree roots.
Plumbing total $_______________

KITCHEN:
Remove existing drywall on walls as required, install R-13 craft backed insulation on exterior wall.

Install drywall on walls and texture to match surrounding area.

Remove existing ceiling exhaust fan and repair drywall and texture to match surrounding area.

Kitchen total $_____________

INTERIOR DOORS:

Replace interior door units with new 6 panel hollow core door units with trim and lock sets on all bedroom entries, closets, bathroom and laundry.
All interior doors of heated rooms must have ½” clearance from top of finished floor covering to bottom of door for return air.
Interior door total $_______________
CDBG Rehabilitation Program

Starr M. Hopkins
4770 Cerny
Pensacola, Florida, 32526
PAGE 4

INTERIOR TRIM AND CASEMENT WORK:
Install all missing and damaged wood base (approximately 175 lineal feet), trim molding and case work to match existing throughout home as close as possible.
Interior trim and casement work total $_____________ 

CABINETRY:
Remove upper and lower cabinets in kitchen and dispose.                  

Install approximately 20 linear feet of upper with duct chase and lower cabinets with at least 1 drawer stack.
In lieu of a cabinet install cabinet panel for dishwasher. Homeowner to install dishwasher later.
Install approximately 14 linear feet of new standard grade post formed counter top with an incorporated back splash and caps and or end splashes in kitchen. Homeowner is to select color of top.

Cabinetry will be of like, kind and quality as example below.                                                                                    

Cabinetry will be stained and finished or painted with the homeowner selecting the color.

Install knobs and pulls on new cabinets with the homeowner selecting the style.     

Cabinetry will be constructed of plywood with ½” plywood top, bottom and sides. 

Back is to be of 3/16” plywood with ½” hanger rails. Toe kick is ½” plywood. Stile and rails will be of solid wood. Doors can be plywood construction and drawer fronts solid wood.
Cabinetry total $_______________
INTERIOR WALLS:                                                                                                                       

Repair all drywall surfaces that are damaged due to code up-grades and existing surfaces that are damaged or incomplete. Repaired areas are to match as close as possible to existing surrounding area, then prep and prime as required. Detach and reset paneling and trim as required to perform upgrades.
Interior wall repairs and prep work total $______________
INTERIOR CEILINGS:
Repair all ceiling surfaces that are damaged due to code up-grades and existing surfaces that are 

damaged or incomplete. Repaired areas are to match as close as possible to existing then prep and prime as required.
Interior ceiling repair and prep work total $_______________
CDBG Rehabilitation Program

Starr M. Hopkins
4770 Cerny Road
Pensacola, Florida, 32526
PAGE 5

INTERIOR PAINTING:
Painting of the interior of the house is to include all walls, trim, openings, doors and ceilings (all painted surfaces). Walls will be one color in all rooms and will have a latex egg shell finish and the woodwork may be a contrasting color with a latex satin or semi-gloss finish.                                Colors are to be selected by Homeowner.   

Ceilings are to be white.                                                                                                                       Painting is to include closets.
Interior painting total $____________
WINDOWS AND EXTERIOR DOORS:
There are nine (9) existing openings with windows that are to be replaced with new retrofit custom windows (windows that are built specifically to fit existing openings).                               
The new windows are to be vinyl framed, insulated (double glazed) single hung window units with low E glazing fitted with screens.                                                                                                       

Windows in the bedrooms are to meet egress requirements as per Escambia County Code. 
Replace front entry door unit with metal clad insulated 6 panel colonial door unit

with peep hole, threshold, weather stripping and trim on hurricane rated unit.
Install new dead bolt and lock set that are keyed alike on new exterior door unit. 

Paint exterior of new door unit white with exterior grade paint. 

Install new vinyl insulated (double glazed) sliding glass door unit complete with trim, low-e glass,

screen and required hardware.
Install hurricane protection on windows and doors as per Escambia County Code.

Protection may be of the metal or fabric type.
Window and door total $_____________
CDBG Rehabilitation Program

Starr Hopkins

4770 Cerny Road

Pensacola, Florida, 32526

PAGE 6

ROOF REPLACEMENT: 

Remove existing roof covering and install as per Escambia County Building Code and certify decking attachment as per Escambia County Building Code.
Replace deteriorated decking with like, kind and quality approximately 120 square feet.
Install peel and stick secondary water barrier as per Escambia County Building Code.

Install new metal drip edge.

Install 30 year shingle roof as per manufacturer’s specifications.

Install 40 Lineal foot of shingle over ridge vent.

Replace all boots with new lead or METAL/EPDM boots. Replace electrical riser boot with new split type if applicable. 
Replace slant back vents.
Remove satellite dish and old gas vents, home is all electric and dish is not being reinstalled.
Roof replacement total $______________
NORTHWEST ELEVATION:
Weatherproof wall where cmu block meets slab. This may be done by cleaning surface and installing flashing imbedded in sealant approved for application or cleaning surface and applying sealant designed for the sealing of foundations.  
Northwest elevation total $______________
TOTAL REHABILITATION COST: 










$_______________________  














                                            
          (TO FRONT COVER)

ASSOCIATED LBP REPAIRS:
Replace wood base in living room, hallway, bedrooms and closet (approximately 200 lineal feet).

Caulk prep and paint approximately 200 lineal feet of base.  
Associated LBP Total $______________
TOTAL ASSOCIATED LBP COST:                                                $_______________                                               (TO FRONT COVER)
TOTAL JOB COST:                                                                         $_______________                                                                                                (TO FRONT COVER)
