| # Georgetown County School District Business Services Procurement Office 2018 Church Street Georgetown, S.C. 29440 Phone (843) 436-7000 | Solicitation Type: Solicitation Number: Date Issued: Procurement Officer: Phone: E-Mail Address: | Invitation for Bid 1908010 3/25/2018 Vicki Williams (843) 436-7184 vwilliams@gcsd.k12.sc.us |
| --- | --- | --- |

DESCRIPTION: Modular Building(s) - PURCHASE

The Term "Offer" Means Your "Bid" or "Proposal"

| SUBMIT OFFER BY (Opening Date/Time): 4/16/2019 at 3:00 p.m. (EST) (See "Deadline for Submission of Offer" provision) QUESTIONS MUST BE RECEIVED BY(Date/Time): 4/9/2019 at 2:00 p.m. (EST) (See "Questions from Offerors" provision) SUBMIT QUESTIONS TO: vwilliams @gcsd.k12.sc.us NUMBER OF COPIES TO BE SUBMITTED: SEE PAGE 3 Initial here _____ if NO redacted copy is necessary Offers must be submitted in a sealed package. Solicitation Number & Opening Date must appear on package exterior. SUBMIT YOUR SEALED OFFER TO EITHER OF THE FOLLOWING ADDRESSES BELOW: |
| --- |
| PHYSICAL ADDRESS: Georgetown County School District Office of Procurement Services Attn: Vicki Williams Solicitation # 1908010 2018 Church Street Georgetown, South Carolina 29440 | MAILING ADDRESS: Georgetown County School District Office of Procurement Services Attn: Vicki Williams Solicitation # 1908010 2018 Church Street Georgetown, South Carolina 29440 |

| CONFERENCE TYPE: MANDATORY NOT MANDATORY N/A DATE & TIME: Click or tap to enter a date. at (EST) As appropriate, see "Conferences - Pre-Bid/Proposal" & "Site Visit" provisions |  |  |  | LOCATION: |  |
| --- | --- | --- | --- | --- | --- |
| AWARD & AMENDMENTS | Notice of Award and any addendums to the solicitation will be posted on the GCSD website at: http://www.gcsd.k12.sc.us/?DivisionID=14195&DepartmentID=14702&SubDepartmentID=6626 Go to Departments/ Business Services/Procurement/Awards |  |  |  |  |
| You must submit a signed copy of this form with Your Offer. By submitting a bid or proposal, You agree to be bound by the terms of the Solicitation. You agree to hold Your Offer open for a minimum of ( ) calendar days after the Opening Date. (See “Signing Your Offer” provisions) |  |  |  |  |  |
| NAME OF OFFEROR (Full legal name of business submitting the offer) |  |  |  |  | OFFEROR'S TYPE OF ENTITY: (Check one) Sole Proprietorship Partnership Corporation (tax-exempt) Corporate entity (not tax-exempt) Government entity (federal, state, or local) Other _____________________ (See "Signing Your Offer" provision.) |
| AUTHORIZED SIGNATURE (Person signing must be authorized to submit binding offer to enter contract on behalf of Offeror named above.) |  |  |  |  |  |
| TITLE (Business title of person signing above) |  |  |  |  |  |
| PRINTED NAME (Printed name of person signing above) |  | DATE SIGNED |  |  |  |
| Instructions regarding Offeror's name: Any award issued will be issued to, and the contract will be formed with, the entity identified as the Offeror above. An offer may be submitted by only one legal entity. The entity named as the Offeror must be a single and distinct legal entity. Do not use the name of a branch office or a division of a larger entity if the branch or division is not a separate legal entity, i.e., a separate corporation, partnership, sole proprietorship, etc. |  |  |  |  |  |
| STATE OF INCORPORATION (If Offeror is a corporation, identify the state of Incorporation.) |  |  | TAXPAYER IDENTIFICATION NO. (See “Taxpayer Identification Number” provision) |  |  |

COVER PAGE GCSD (AUGUST 2018)

PAGE TWO

(Return Page Two with Your Offer)

| HOME OFFICE ADDRESS (Address for Offeror's home office / principal place of business) |  |  |  |  |  | NOTICE ADDRESS (Address to which all procurement and contract related notices should be sent.) (See "Notice" clause) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Area Code: | Number: |  |  | Extension: |  | Facsimile: |  |
|  |  |  |  |  |  | E-Mail Address: |  |  |  |  |  |  |  |
| PAYMENT ADDRESS (Address to which payments will be sent.) (See "Payment" clause) Payment Address same as Home Office Address Payment Address same as Notice Address (check only one) |  |  |  |  |  | ORDER ADDRESS (Address to which purchase orders will be sent) (See "Purchase Orders and "Contract Documents" clauses) |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Order E-Mail Address: |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Order Address same as Home Office Address Order Address same as Notice Address (check only one) |  |  |  |  |  |  |  |
| ACKNOWLEDGMENT OF AMENDMENTS: Offerors acknowledges receipt of amendments by indicating amendment number and its date of issue. (See "Amendments to Solicitation" Provision) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Amendment No. | Amendment Issue Date | Amendment No. |  | Amendment Issue Date |  | Amendment No. |  | Amendment Issue Date | Amendment No. |  |  |  | Amendment Issue Date |
| DISCOUNT FOR PROMPT PAYMENT (See "Discount for Prompt Payment" clause) |  |  | 10 Calendar Days (%) |  | 20 Calendar Days (%) |  |  | 30 Calendar Days (%) |  |  | Calendar Days (%) |  |  |
| MINORITY PARTICIPATION |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Please answer the following questions: - Are you certified as a MOB/WOB (minority-owned business/woman-owned business) by the State of South Carolina? Yes No If yes, provide certification number: . If no, would you qualify as a MOB/WOB based on the District’s requirement of at least fifty-one percent (51%) ownership by a woman or person of ethnic (non-white) origin? Minority-owned Woman-owned |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PROCUREMENT CARD Do you accept purchasing (Mastercard) cards to facilitate ordering and payment? Yes No |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ACKNOWLEDGEMENT |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Have you clearly listed any deviations from the requested specifications and fully explained such deviations? Yes No Failed projects, suspensions, debarments, and significant litigation exist. None exist Yes If yes, below is a list of failed projects, suspensions, debarments, and significant litigation exist. |  |  |  |  |  |  |  |  |  |  |  |  |  |

PAGE TWO (AUGUST 2018)				End of Page Two

PAGE THREE

NUMBER OF COPIES Offerors will need to follow these instructions carefully when responding to the solicitation. At least one (1) copy of the Offeror should contain original signatures; that copy shall be clearly marked or differentiated from the other copies of the Offeror by notation in the lower left corner of the cover of each Offeror with the words “ORIGINAL”. This signed original copy will be retained for incorporation by reference in any contract resulting from this solicitation. Offerors shall be signed by only those Company officials or agents duly authorized to sign bid/ proposals or contracts on behalf of their respective organizations. Each additional copy must be separated. Additionally, if Offeror is submitting confidential information, one complete copy of your offer from which you have removed any information that you marked as exempt, i.e., a redacted copy. The information redacted should mirror in every detail the information marked as exempt from public disclosure. The redacted copy should (i) reflect the same pagination as the original, (ii) show the empty space from which information was redacted, and (iii) be submitted on magnetic media. Return all with boxes checked: (1) Original hard copy of complete offer; (1) Original hard copy and copies (marked ‘copy’); (1) Original submitted electronically on USB Flash Drive; (1) Original and copies submitted electronically on USB Flash Drive; (1) Redacted copy (marked ‘redacted’) submitted electronically on USB Flash Drive IF you are submitting confidential information; Other: (see Section II A “Submitting Confidential Information”) (see Section II B “Electronic Copies – Required Media and Format”) (see Section IV “Submitting Redacted Offerors provision)

PAGE THREE (AUGUST 2018)			End of Page Three

TABLE OF CONTENTS

I. 	Scope of Solicitation

II.	Instructions to Offerors

A.	General Instructions

B.	Special Instructions

III.	Scope of Work / Specifications

IV.	Information for Offerors to Submit

V.	Qualifications

VI.	Award Criteria

VII.	Terms and Conditions

A.	General

B.	Special

VIII.	Bidding Schedule / Cost Proposal

IX.	Attachments to Solicitation

# I. Scope of Solicitation

The purpose of this solicitation is for Georgetown County School District (GCSD) to solicit offers from qualified sources to  provide modular buildings in accordance with all requirements stated herein.

ACQUIRE SERVICES & SUPPLIES / EQUIPMENT: The purpose of this solicitation is to acquire services and supplies or equipment complying with the enclosed description and/or specifications and conditions.

## MAXIMUM CONTRACT PERIOD – (ESTIMATED):  Start date: 05/01/2019 End date: 04/30/2024.

## Dates provided are estimates only. Any resulting contract will begin on the date specified in the notice of award. See clause entitled "Term of Contract – Effective Date / Initial Contract Period".

The contract resulting from this solicitation will be a one (1) year contract with four (4) additional one-year renewal options.  The maximum potential contract life is five years.  The Superintendent may extend this contract for an additional two (2) years through 04/30/2026.

II. Instructions To Offerors – A. General Instructions:

DEFINITIONS, CAPITALIZATION, AND HEADINGS

CLAUSE HEADINGS USED IN THIS SOLICITATION ARE FOR CONVENIENCE ONLY AND SHALL NOT BE USED TO CONSTRUE MEANING OR INTENT. EVEN IF NOT CAPITALIZED, EXCEPT AS OTHERWISE PROVIDED HEREIN, THE FOLLOWING DEFINITIONS ARE APPLICABLE TO ALL PARTS OF THE SOLICITATION UNLESS EXPRESSLY PROVIDED OTHERWISE

- ADDENDUM means a document issued to supplement or revise the original solicitation document.

- AMENDMENT means an agreed addition to, deletion from, correction, or modification of a document or contract.

- BOARD means the Georgetown County School District’s Board of Education; the governing body of the District.

BUSINESS means any corporation, partnership, individual, sole proprietorship, joint stock company, joint venture, or any other legal entity

- BUYER means the purchaser or procurer of products and services.

- CHANGE ORDER means any written alteration that is issued to modify or amend a contract or purchase order.  A bilateral (agreed to by all parties) or unilateral (government orders a contract change without the consent of the Contractor) request that directs the Contractor to make changes to the contracted scope of work or specifications. In reference to construction contracts, it relates primarily to changes caused by unanticipated conditions encountered during construction not covered by the drawings, plans, or specifications of the project.

- CONTRACT means all types of Georgetown County School District’s agreements, regardless of what they may be called, for the procurement or disposal of supplies, services, equipment or construction.

- CONTRACT MODIFICATION means a written alteration in specifications, delivery point, frequency of delivery, period of performance, price, quantity, or other provisions of the contract, accomplished by mutual agreement of the parties to the contract.

- CONTRACTOR means the Offeror receiving an award as a result of this solicitation.

COOPERATIVE PURCHASING means procurement conducted by, or on behalf of, more than (1) public procurement unit.

DAYS means calendar days.

DISTRICT means a governmental entity governed by an elected Board of Education, which appoints a Superintendent to carry out policies established by the Board. This refers to the Georgetown County School District hereinafter referred to as the “District”.

GEORGETOWN COUNTY SCHOOL DISTRICT (GCSD) is a public-school district serving Georgetown County, South Carolina.

- OFFER means the bid or proposal submitted in response this solicitation. The terms Bid and Proposal are used interchangeably with the term Offer.

- OFFEROR means the single legal entity submitting the offer. The term Bidder is used interchangeably with the term Offeror. See bidding provisions entitled Signing Your Offer and Bid/Proposal as Offer to Contract.

- PROCUREMENT COORDINATOR means the individual who is responsible for the daily procurement activities of the District.

- PROCUREMENT OFFICER means any person acting within the scope of his/her authority and duly authorized by Georgetown County School District to enter into and administer contracts and make written determinations and findings with respect thereto, as identified as such on either the Cover Page, an amendment, or an award notice.

- SOLICITATION means this document, including all its parts, attachments, and any Addendums.

- SUBCONTRACTOR means any person you contract with to perform or provide any part of the Work.

- US or WE means Georgetown County School District.

- WORK means all labor, materials, equipment, services, or property of any type, provided or to be provided by the Contractor to fulfill the Contractor's obligations under the Contract.

- YOU and YOUR means Offeror.

- ADDENDUMS TO SOLICITATION: Addenda shall be issued prior to the bid opening date and time for the purposes of modifying or interpreting the Contract Documents through additions, deletions, clarifications or corrections. No addendum shall be issued later than four (4) days prior to the bid opening date except to a) withdraw the Invitation for Bids, or b) to postpone the bid opening date and time. When an addendum is issued for the purposes of postponing the bid opening date and time, the addendum shall establish the new bid opening date and time no earlier than five (5) days after the addendum issue date. A Bidder shall acknowledge receipt of all addenda issued by identifying the addendum number and the date of issuance with the Bidder’s initials in the spaces provided on the Cover Page – Page 2 or the bid shall be found non-responsive in accordance with the District’s Procurement Code. If this solicitation is amended, then all terms and conditions which are not modified remain unchanged.

- AUTHORIZED AGENT: All authority regarding this procurement is vested solely with the responsible Procurement Officer. Unless specifically delegated in writing, the Procurement Officer or designee is the only Georgetown County School District’s official authorized to bind the District with regard to this procurement or the resulting contract.

## AWARD NOTIFICATION:  Notice regarding any award, cancellation of award, or extension of award will be posted at the location specified on the Cover Page, or if applicable, any notice of extension of award. Should the contract resulting from this Solicitation have a total or potential value of fifty thousand dollars or more, such notice will be sent to all Offerors responding to the Solicitation and any award will not be effective until the eleventh day after such notice is given.

- BID/PROPOSAL AS OFFER TO CONTRACT: By submitting Your Bid or Proposal, You are offering to enter into a contract with Georgetown County School District. Without further action by either party, a binding contract shall result upon final award. Any award issued will be issued to, and the contract will be formed with, the entity identified as the Offeror on the Cover Page. An Offer may be submitted by only one legal entity; "joint bids" are not allowed.

## BID ACCEPTANCE PERIOD: In order to withdraw Your Offer after the minimum period specified on the Cover Page, You must notify the Procurement Officer in writing, documenting the fact(s) of Offeror’s error.

- BID IN ENGLISH and DOLLARS: Offers submitted in response to this solicitation shall be in the English language and in US dollars, unless otherwise permitted by the Solicitation.

- BOARD AS PROCUREMENT AGENT: The Procurement Officer is an employee of the Board acting on behalf of the Georgetown County School District pursuant to the District’s Procurement Code. Any contracts awarded as a result of this procurement are between the Contractor and the District. The Board is not a party to such contracts and bears no liability for any party’s losses arising out of or relating in any way to the contract.

- CERTIFICATE OF INDEPENDENT PRICE DETERMINATION: GIVING FALSE, MISLEADING, OR INCOMPLETE INFORMATION ON THIS CERTIFICATION MAY RENDER YOU SUBJECT TO PROSECUTION UNDER SECTION 16-9-10 OF THE SOUTH CAROLINA CODE OF LAWS AND OTHER APPLICABLE LAWS.

- (a) By submitting an offer, the Offeror certifies that:

- (1) The prices in this offer have been arrived at independently, without, for the purpose of restricting competition, any consultation, communication, or agreement with any other Offeror or competitor relating to:

  - (i) Those prices;

  - (ii) The intention to submit an offer; or

  - (iii) The methods or factors used to calculate the prices offered.

- (2) The prices in this offer have not been and will not be knowingly disclosed by the Offeror, directly or indirectly, to any other Offeror or competitor before bid opening (in the case of a sealed bid solicitation) or contract award (in the case of a negotiated solicitation) unless otherwise required by law; and

- (3) No attempt has been made or will be made by the Offeror to induce any other concern to submit or not to submit an offer for the purpose of restricting competition.

- (b) Each signature on the offer is considered to be a certification by the signatory that the signatory:

- (1) Is the person in the Offeror's organization responsible for determining the prices being offered in this bid or proposal, and that the signatory has not participated and will not participate in any action contrary to paragraphs (a)(1) through (a)(3) of this certification; or

- (2)(i) Has been authorized, in writing, to act as agent for the Offeror's principals in certifying that those principals have not participated, and will not participate in any action contrary to paragraphs (a)(1) through (a)(3) of this certification [As used in this subdivision (b)(2)(i), the term "principals" means the person(s) in the Offeror's organization responsible for determining the prices offered in this bid or proposal];

- (ii) As an authorized agent, does certify that the principals referenced in subdivision (b)(2)(i) of this certification have not participated, and will not participate, in any action contrary to paragraphs (a)(1) through (a)(3) of this certification; and

- (iii) As an agent, has not personally participated, and will not participate, in any action contrary to paragraphs (a)(1) through (a)(3) of this certification.

- (c) If the Offeror deletes or modifies paragraph (a)(2) of this certification, the Offeror must furnish with its offer a signed statement setting forth in detail the circumstances of the disclosure.

- CERTIFICATION REGARDING DEBARMENT AND OTHER RESPONSIBILITY MATTERS:

- (a)

- (1) By submitting an Offer, Offeror certifies, to the best of its knowledge and belief, that-

  - (i) Offeror and/or any of its Principals

    - (A) Are not presently debarred, suspended, proposed for debarment, or declared ineligible for the award of contracts by any state or federal agency;

    - (B) Have not, within a three-year period preceding this offer, been convicted of or had a civil judgment rendered against them for: commission of fraud or a criminal offense in connection with obtaining, attempting to obtain, or performing a public (Federal, state, or local) contract or subcontract; violation of Federal or state antitrust statutes relating to the submission of offers; or commission of embezzlement, theft, forgery, bribery, falsification or destruction of records, making false statements, tax evasion, or receiving stolen property; and

    - (C) Are not presently indicted for, or otherwise criminally or civilly charged by a governmental entity with, commission of any of the offenses enumerated in paragraph (a)(1)(i)(B) of this provision.

  - (ii) Offeror has not, within a three-year period preceding this offer, had one or more contracts terminated for default by any public (Federal, state, or local) entity.

- (2) "Principals," for the purposes of this certification, means officers; directors; owners; partners; and, persons having primary management or supervisory responsibilities within a business entity (e.g., general manager; plant manager; head of a subsidiary, division, or business segment, and similar positions).

- (b) Offeror shall provide immediate written notice to the Procurement Officer if, at any time prior to contract award, Offeror learns that its certification was erroneous when submitted or has become erroneous by reason of changed circumstances.

- (c) If Offeror is unable to certify the representations stated in paragraphs (a)(1), Offer must submit a written explanation regarding its inability to make the certification. The certification will be considered in connection with a review of the Offeror's responsibility. Failure of the Offeror to furnish additional information as requested by the Procurement Officer may render the Offeror non-responsible.

- (d) Nothing contained in the foregoing shall be construed to require establishment of a system of records in order to render, in good faith, the certification required by paragraph (a) of this provision. The knowledge and information of an Offeror is not required to exceed that which is normally possessed by a prudent person in the ordinary course of business dealings.

- (e) The certification in paragraph (a) of this provision is a material representation of fact upon which reliance was placed when making award. If it is later determined that the Offeror knowingly or in bad faith rendered an erroneous certification, in addition to other remedies available to Georgetown County School District, the Procurement Officer may terminate the contract resulting from this solicitation for default.

CODE OF LAWS AVAILABLE (MODIFIED):   The Georgetown County School District’s Procurement Code is available at: http://www.gcsd.k12.sc.us/?PN=Pages&SubP=Level1Page&L=3&DivisionID=14195&DepartmentID=14702&SubDepartmentID=6626&PageID=23930

- COMPLETION OF FORMS/CORRECTION OF ERRORS: All prices and notations should be printed in ink or typewritten.  Errors should be crossed out, corrections entered and initialed by the person signing the bid.  Do not modify the solicitation document itself (including bid schedule).

- DEADLINE FOR SUBMISSION OF OFFER: Any offer received after the Procurement Officer of Georgetown County School District or  designee has declared that the time set for opening has arrived, shall be rejected unless the offer has been delivered to the designated Georgetown County School District’s Office of Procurement as instructed on the Cover page prior to the bid opening or the District’s mail room which services that purchasing office prior to the opening.

DISCLOSURE OF CONFLICTS OF INTEREST OR UNFAIR COMPETITIVE ADVANTAGE: You warrant and represent that your offer identifies and explains any unfair competitive advantage you may have in competing for the proposed contract and any actual or potential conflicts of interest that may arise from your participation in this competition or your receipt of an award. The two underlying principles are (a) preventing the existence of conflicting roles that might bias a Contractor’s judgment, and (b) preventing an unfair competitive advantage. If you have an unfair competitive advantage or a conflict of interest, Georgetown County School District may withhold award. Before withholding award on these grounds, an Offeror will be notified of the concerns and provided a reasonable opportunity to respond. Efforts to avoid or mitigate such concerns, including restrictions on future activities, may be considered. Without limiting the foregoing, you represent that your offer identifies any services that relate to either this solicitation or the work and that has already been performed by you, a proposed subcontractor, or an affiliated business of either.

## DRUG FREE WORK PLACE CERTIFICATION:  By submitting an Offer, Contractor certifies that, if awarded a contract, Contractor will comply with all applicable provisions of The Drug-free Workplace Act, Title 44, Chapter 107 of the South Carolina Code of Laws, as amended.

DUTY TO INQUIRE: Offeror, by submitting an Offer, represents that it has read and understands the Solicitation and that its Offer is made in compliance with the Solicitation.  Offerors are expected to examine the Solicitation thoroughly and should request an explanation of any ambiguities, discrepancies, errors, omissions, or conflicting statements in the Solicitation.  Failure to do so will be at the Offeror's risk.  All ambiguities, discrepancies, errors, omissions, or conflicting statements in the Solicitation shall be interpreted to require the better quality or greater quantity of work and/or materials, unless otherwise directed by addendum. Offeror assumes responsibility for any patent ambiguity in the Solicitation that Offeror does not bring to the District’s attention See clause entitled “Questions from Offerors.”

ETHICS CERTIFICATE:  By submitting an offer, the Offeror certifies that the Offeror has and will comply with, and has not, and will not, induce a person to violate Title 8, Chapter 13 of the South Carolina Code of Laws, as amended (ethics act). The following statutes require special attention: Section 8-13-700, regarding use of official position for financial gain; Section 8-13-705, regarding gifts to influence action of public official; Section 8-13-720, regarding offering money for advice or assistance of public official; Sections 8-13-755 and 8-13-760, regarding restrictions on employment by former public official; Section 8-13-775, prohibiting public official with economic interests from acting on contracts; Section 8-13-790, regarding recovery of kickbacks; Section 8-13-1150, regarding statements to be filed by consultants; and Section 8-13-1342, regarding restrictions on contributions by Contractor to candidate who participated in awarding of contract. The district may rescind any contract and recover all amounts expended as a result of any action taken in violation of this provision. If Contractor participates, directly or indirectly, in the evaluation or award of public contracts, including without limitation, change orders or task orders regarding a public contract, Contractor shall, if required by law to file such a statement, provide the statement required by Section 8-13-1150 to the Procurement Officer at the same time the law requires the statement to be filed.

- OMIT TAXES FROM PRICE: Do not include any sales or use taxes in your price that Georgetown County School District may be required to pay.

OPEN TRADE REPRESENTATION: By submitting an Offer, Offeror represents that Offeror is not currently engaged in the boycott of a person or an entity based in or doing business with a jurisdiction with whom South Carolina can enjoy open trade, as defined in SC Code Section 11-35-5300.

- PROTESTS: Any prospective bidder, Offeror, Contractor, or subcontractor who is aggrieved in connection with the solicitation of a contract shall protest within fifteen days of the date of issuance of the applicable solicitation document at issue.  Any actual bidder, Offeror, Contractor, or subcontractor who is aggrieved in connection with the intended award or award of a contract shall protest within fifteen days of the date notification of award is posted in accordance with this code.  A protest shall be in writing, shall set forth the grounds of the protest and the relief requested with enough particularity to give notice of the issues to be decided, and must be received by the Chief Procurement Officer within the time provided.  See clause entitled “Protest-CPO”.  [Section 11-35-4210]

PROHIBITED COMMUNICATIONS AND DONATIONS: Violation of these restrictions may result in disqualification of your offer, suspension or debarment, and may constitute a violation of law.

(a) During the period between publication of the solicitation and final award, you must not communicate, directly or indirectly, with Georgetown County School District or its employees, agents or officials regarding any aspect of this procurement activity, unless otherwise approved in writing by the Procurement Officer. All communications must be solely with the Procurement Officer.] [R. 19-445.2010]

(b) You are advised to familiarize yourself with Regulation 19-445.2165, which restricts donations to a governmental entity with whom you have or seek to have a contract. You represent that your offer discloses any gifts made, directly or through an intermediary, by you or your named subcontractors to or for the benefit of the District during the period beginning eighteen months prior to the Opening Date.

- PUBLIC OPENING: Offers will be publicly opened at the date/time and at the location identified on the Cover Page, or last Addendum, whichever is applicable.

- QUESTIONS FROM OFFERORS: (a) Any prospective Offeror desiring an explanation or interpretation of the solicitation, drawings, specifications, etc., must request it in writing.  Questions regarding the original solicitation or any addendum must be received by the Procurement Officer no later than five (5) days prior to opening unless an earlier date is stated on the Cover Page.  Label any communication regarding your questions with the name of the Procurement Officer, and the solicitation's title and number.  Oral explanations or instructions will not be binding.  Any information given a prospective Offeror concerning a solicitation will be furnished promptly to all other prospective Offerors as an Addendum to the solicitation, if that information is necessary for submitting offers or if the lack of it would be prejudicial to other prospective Offerors.  See clause entitled “Duty to Inquire.” We will not identify you in our answer to your question. (b) Georgetown County School District seeks to permit maximum practicable competition. Offerors are urged to advise the Procurement Officer -- as soon as possible -- regarding any aspect of this procurement, including any aspect of the Solicitation, that unnecessarily or inappropriately limits full and open competition

All questions should be received no later than the “QUESTIONS MUST BE RECEIVED BY” date/time as noted on the cover paged. The preferred method of receiving questions is via e-mail with the subject “QUESTIONS in reference to Solicitation # 1908010 and a Microsoft Word attachment using the following format:

| Question Number | IFB Section Reference | IFB Page Number | Question |
| --- | --- | --- | --- |

- REJECTION/CANCELLATION: Georgetown County School District may cancel this solicitation in whole or in part. Georgetown County School District may reject any or all proposals in whole or in part.  [SC Code Section 11-35-1710 & R.19-445.2065.]

- RESPONSIVENESS/IMPROPER OFFERS: (a) Bid as Specified.  Offers for supplies or services other than those specified will not be considered unless authorized by the Solicitation.

- (b) Multiple Offers.  Offerors may submit more than one Offer, provided that each Offer has significant differences other than price.  Each separate Offer must satisfy all Solicitation requirements. If this solicitation is an Invitation for Bids, each separate offer must be submitted as a separate document.  If this solicitation is a Request for Proposals, multiple offers may be submitted as one document, provided that you clearly differentiate between each offer and you submit a separate cost proposal for each offer, if applicable.

- (c) Responsiveness.  Any Offer which fails to conform to the material requirements of the Solicitation may be rejected as nonresponsive. Offers which impose conditions that modify material requirements of the Solicitation may be rejected.  If a fixed price is required, an Offer will be rejected if the total possible cost to the District cannot be determined.  Offerors will not be given an opportunity to correct any material nonconformity.  Any deficiency resulting from a minor informality may be cured or waived at the sole discretion of the Procurement Officer.  [R.19-445.2070 and Section 11-35-1520(13)]

- (d) Price Reasonableness:  Any offer may be rejected if the Procurement Officer determines in writing that it is unreasonable as to price.  [R. 19-445.2070].

- (e) Unbalanced Bidding.  GCSD may reject an Offer as nonresponsive if the prices bid are materially unbalanced between line items or subline items.  A bid is materially unbalanced when it is based on prices significantly less than cost for some work and prices which are significantly overstated in relation to cost for other work, and if there is a reasonable doubt that the bid will result in the lowest overall cost to the District even though it may be the low evaluated bid, or if it is so unbalanced as to be tantamount to allowing an advance payment.

(f) Do not submit bid samples or descriptive literature unless expressly requested. Unsolicited bid samples or descriptive literature will not be examined or tested, will not be used to determine responsiveness, and will not be deemed to vary any of the provisions of the solicitation. S.C. Code Ann. Reg. 19-445.2077(D).

- SIGNING YOUR OFFER: Every Offer must be signed by an individual with actual authority to bind the Offeror.  (a) If the Offeror is an individual, the Offer must be signed by that individual.  If the Offeror is an individual doing business as a firm, the Offer must be submitted in the firm name, signed by the individual, and state that the individual is doing business as a firm.  (b) If the Offeror is a partnership, the Offer must be submitted in the partnership name, followed by the words by its Partner, and signed by a general partner.  (c) If the Offeror is a corporation, the Offer must be submitted in the corporate name, followed by the signature and title of the person authorized to sign.  (d) An Offer may be submitted by a joint venture involving any combination of individuals, partnerships, or corporations.  If the Offeror is a joint venture, the Offer must be submitted in the name of the Joint Venture and signed by every participant in the joint venture in the manner prescribed in paragraphs (a) through (c) above for each type of participant.  (e) If an Offer is signed by an agent, other than as stated in subparagraphs (a) through (d) above, the Offer must state that is has been signed by an Agent.  Upon request, Offeror must provide proof of the agent's authorization to bind the principal.

SCHOOLS – GEORGETOWN COUNTY SCHOOL DISTRICT’S OFFICE OF PROCUREMENT SERVICES CLOSINGS: If an emergency or unanticipated event interrupts normal processes so that offers cannot be received at Georgetown County School District’s Office of Procurement as designated for receipt of bids by the exact time specified in the solicitation, the time specified for receipt of offers will be deemed to be extended to the same time of day specified in the solicitation on the first work day on which normal processes resume.  In lieu of an automatic extension, an Addendum may be issued to reschedule bid opening.  If Georgetown County School District offices are closed at the time a pre-bid or pre-proposal conference is scheduled, an Addendum will be issued to reschedule the conference.

- SUBMITTING CONFIDENTIAL INFORMATION: (An overview is available at https://procurement.sc.gov/legal/general-info) For every document Offeror submits in response to or with regard to this solicitation or request, Offeror must separately mark with the word "CONFIDENTIAL" every page, or portion thereof, that Offeror contends contains information that is exempt from public disclosure because it is either (a) a trade secret or (b) privileged and confidential.  For every document Offeror submits in response to or with regard to this solicitation or request, Offeror must separately mark with the words "TRADE SECRET" every page, or portion thereof, that Offeror contends contains a trade secret as that term is defined by Section 39-8-20 of the Trade Secrets Act.  For every document Offeror submits in response to or with regard to this solicitation or request, Offeror must separately mark with the word "PROTECTED" every page, or portion thereof, that Offeror contends is protected by Section 11-35-1810.  All markings must be conspicuous; use color, bold, underlining, or some other method in order to conspicuously distinguish the mark from the other text.  Do not mark your entire response (bid, proposal, quote, etc.) as confidential, trade secret, or protected.  If your response, or any part thereof, is improperly marked as confidential or trade secret or protected, Georgetown County School District may, in its sole discretion, determine it nonresponsive.  If only portions of a page are subject to some protection, do not mark the entire page.  By submitting a response to this solicitation or request, Offeror (1) agrees to the public disclosure of every page of every document regarding this solicitation or request that was submitted at any time prior to entering into a contract (including, but not limited to, documents contained in a response, documents submitted to clarify a response, and documents submitted during negotiations), unless the page is conspicuously marked "TRADE SECRET" or "CONFIDENTIAL" or "PROTECTED", (2) agrees that any information not marked, as required by these bidding instructions, as a "Trade Secret" is not a trade secret as defined by the Trade Secrets Act, and (3) agrees that, notwithstanding any claims or markings otherwise, any prices, commissions, discounts, or other financial figures used to determine the award, as well as the final contract amount, are subject to public disclosure. In determining whether to release documents, Georgetown County School District will detrimentally rely on Offeror's marking of documents, as required by these bidding instructions, as being either "Confidential" or "Trade Secret" or "PROTECTED".  By submitting a response, Offeror agrees to defend, indemnify and hold harmless Georgetown County School District, its officers and employees, from every claim, demand, loss, expense, cost, damage or injury, including attorney's fees, arising out of or resulting from withholding information by Georgetown County School District that Offeror marked as "confidential" or "trade secret" or "PROTECTED".  (All references to S.C. Code of Laws.)

- SUBMITTING YOUR OFFER OR MODIFICATION: (a) Offers and offer modifications shall be submitted in sealed envelopes or packages (unless submitted by electronic means) - (1) Addressed to the Office of Procurement Services as specified in the Solicitation; and (2) Showing the time and date specified for opening, the solicitation number, and the name and address of the bidder.  (b) If you are responding to more than one solicitation, each offer must be submitted in a different envelope or package.  (c) Each Offeror must submit the number of copies indicated on the Cover Page.  (d) Offerors using commercial carrier services shall ensure that the Offer is addressed and marked on the outermost envelope or wrapper as prescribed in paragraphs (a)(1) and (2) of this provision when delivered to the office specified in the Solicitation.  (e) Facsimile or e-mail offers, modifications, or withdrawals, will not be considered unless authorized by the Solicitation.  (f) Offers submitted by electronic commerce shall be considered only if the electronic commerce method was specifically stipulated or permitted by the solicitation.

TAX CREDIT FOR SUBCONTRACTING WITH DISADVANTAGED SMALL BUSINESSES: Pursuant to Section 12-6-3350, a taxpayer having a contract with this State who subcontracts with a socially and economically disadvantaged small business is eligible for an income tax credit equal to four percent of the payments to that subcontractor for work pursuant to the contract.  The subcontractor must be certified as a socially and economically disadvantaged small business as defined in Section 11-35-5010 and regulations pursuant to it.  The credit is limited to a maximum of fifty thousand dollars annually.  A taxpayer is eligible to claim the credit for ten consecutive taxable years beginning with the taxable year in which the first payment is made to the subcontractor that qualifies for the credit.  After the above ten consecutive taxable years, the taxpayer is no longer eligible for the credit.  A taxpayer claiming the credit shall maintain evidence of work performed for the contract by the subcontractor.  The credit may be claimed on Form TC-2, "Minority Business Credit."  A copy of the subcontractor's certificate from the Governor's Office of Small and Minority Business (OSMBA) is to be attached to the Contractor's income tax return.  Questions regarding the tax credit and how to file are to be referred to:  SC Department of Revenue, Research and Review, Phone: (803) 898-5786, Fax: (803) 898-5888.  Questions regarding subcontractor certification are to be referred to:  Governor's Office of Small and Minority Business Assistance, Phone: (803) 734-0657, Fax: (803) 734-2498.

- TAXPAYER IDENTIFICATION NUMBER: (a) If Offeror is owned or controlled by a common parent as defined in paragraph (b) of this provision, Offeror shall submit with its Offer the name and TIN of common parent.

- (b) Definitions:  "Common parent," as used in this provision, means that corporate entity that owns or controls an affiliated group of corporations that files its Federal income tax returns on a consolidated basis, and of which the Offeror is a member.  "Taxpayer Identification Number (TIN)," as used in this provision, means the number required by the Internal Revenue Service (IRS) to be used by the Offeror in reporting income tax and other returns.  The TIN may be either a Social Security Number or an Employer Identification Number.

- (c) If Offeror does not have a TIN, Offeror shall indicate if either a TIN has been applied for or a TIN is not required.  If a TIN is not required, indicate whether (i) Offeror is a nonresident alien, foreign corporation, or foreign partnership that does not have income effectively connected with the conduct of a trade or business in the United States and does not have an office or place of business or a fiscal paying agent in the United States; (ii) Offeror is an agency or instrumentality of a state or local government; (iii) Offeror is an agency or instrumentality of a foreign government; or (iv) Offeror is an agency or instrumentality of the Federal Government.

## VENDOR REGISTRATION:  Offerors who have not provided products/services to Georgetown County School District in the past or have not updated your companies profile with the District via of a completed vendor application and W-9 within the past three (3) years, please complete the vendor application along with the W-9 and submit with your offer.

- WITHDRAWAL OR CORRECTION OF OFFER: Offers may be withdrawn by written notice received at any time before the exact time set for opening.  If the Solicitation authorizes facsimile offers, offers may be withdrawn via facsimile received at any time before the exact time set for opening.  A bid may be withdrawn in person by a bidder or its authorized representative if, before the exact time set for opening, the identity of the person requesting withdrawal is established and the person signs a receipt for the bid.

II. Instructions To Offerors – B. Special Instructions

BID BOND: Your offer must include either a bid bond issued by a surety or sureties licensed in South Carolina or a certified check.  The amount of surety shall be five per cent (5%) of the total bid amount.  This bid bond penalty may be expressed in terms of a percentage of the bid price or may be expressed in dollars and cents.  If a certified check is submitted in lieu of a bid bond, it must be made payable to Georgetown County School District.

BOARD APPROVAL REQUIRED: Any award is subject to prior approval by the Georgetown County School District Board of Trustees.  Board meetings are normally held on the first Tuesday of each month.

## CLARIFICATION: Pursuant to Section 11-35-1520(8), the Procurement Officer may elect to communicate with you after opening for the purpose of clarifying either your offer or the requirements of the solicitation. Such communications may be conducted only with Offerors who have submitted an offer which obviously conforms in all material aspects to the solicitation. Clarification of an offer must be documented in writing and included with the offer. Clarifications may not be used to revise an offer or the solicitation.

## MAIL PICKUP: The District’s mail is delivered from the US Postal Service once daily before noon (excluding weekends and holidays.  Mail is routed internally at non-specific times. The risk of being delivered late is placed upon the Offeror. See provision entitled Deadline for Submission of Offer.

PROTEST-CPO – GCSD ADDRESS: Any protest must be addressed to the Mrs. Lisa Johnson, Chief Procurement Officer, Georgetown County School District, and submitted in writing     (a) by email to vwilliams@gcsd.k12.sc.us ,     (b) by post or delivery to 2018 Church Street, Georgetown, SC 29440.

UNIT PRICES REQUIRED: Unit price to be shown for each item.

III. Scope of Work / Specifications:

INTRODUCTION: Georgetown County School District is coextensive with the county and is located on the southern end of South Carolina’s “Grand Strand”. The District is bordered on the east by the Atlantic Ocean, the south by Charleston County, the west by Williamsburg County and the north by Horry County. The land area of the District encompasses 812 square miles. Our District serves students in the towns of Georgetown, Andrews, Pawleys Island, and the rural areas in Georgetown County. The school district is comprised of 19 schools with approximately 10,000 students in grades pre-K through 12. Currently, there are nine (9) elementary schools, four (4) middle schools, and four (4) high schools, as well as the Howard Adult Center (that serves approximately 500 participants) and JB Beck Education Center in GCSD.

For more information about Georgetown County School District, please view our District website at www.gcsd.k12.sc.us.

SCOPE OF WORK: Georgetown County School District is seeking a source for factory-built modular/portable buildings designed for educational use as classroom(s) and/or offices. All units shall be code compliant, reviewed and approved by the Office of School Facilities (OSF). The Contractor shall provide complete turnkey services to include design and engineering, construction of the building, delivery and erection on various locations within Georgetown County, SC as well as site development and project management.

The District plans to purchase two (2) modular units to be installed as soon as possible. One unit will be designed as a single classroom with a unisex bathroom and the other unit will be designed as an office with a unisex restroom. We anticipate there may be more units needed over the term of the contract but cannot guarantee. We would like a contract to utilize on an “as needed” basis.

DEFINITIONS

Definitions as applicable to this solicitation:

1. Architect/Engineer: Any individual or entity legally qualified to practice architecture or engineering in South Carolina with whom the District has a contractual agreement to provide services pertaining to construction that members of this profession or those in their employ may justifiably perform. The Architect/Engineer serves as the District’s authorized representative to the extent of the contractual agreement between the Architect/Engineer and the District. Any reference to Architect/Engineer also includes any representatives, agents or employees of the Architect/Engineer.

2. Access: A passageway or means of approach to a room or building; a corridor between rooms; also a term used in building construction referring to points at which concealed equipment may be reached for inspection and repair.

3. Accessibility: The condition resulting from the inclusion of appropriate architectural elements to permit unrestricted entrance to, exit from, and use of building and facilities.

4. Anchor: 1) In pre-stressed concrete, to lock the stressed tendon in position so that it will retain its stressed condition; in pre-cast concrete construction, to attach the pre-cast units to the building frame; in slabs on grade or walls, to fasten to rock or adjacent structures to prevent movement of the slab or wall with respect to the foundation, adjacent structure or rock. 2) That bolt or fastening device which attaches to the anchorage.

5. Bid: Completed and properly signed offer for the price(s) stipulated on the District’s Official Bid Form to do the work specified in the Contract Documents and in accordance with the Bid Instructions.

6. Bid Addendum: Written or graphic instrument issued by the District prior to the receipt of bids which modifies or interprets the Contract Documents by additions, deletions, clarifications or corrections. The addendum may reference any specification, drawing, or other document as being incorporated therein.

7. Bid Bond: Form of bid security in the amount of five percent (5%) of the sum total of the base bid and all alternate bids and executed by the Bidder as principal and by a Surety as guarantor that the Bidder, if awarded a contract, shall enter into a contract within the specified time and furnish any required performance and payment bonds, insurance certificate(s) or other documents required by the Notice of Intent to Award or risk forfeiture of the bond. (Also see Bid Security.)

8. Bid Opening Date and Time: The date and time established by the District in the Invitation for Bids, as amended by any addendum, for receipt and opening of bids. Bids received after the established bid opening date and time are not acceptable and shall not be considered. The bid opening will occur immediately following.

9. Bid Security: A certified cashier’s check or a bid bond submitted with a bid and serving to guarantee to the District that the Bidder, if awarded the contract, shall execute such contract in accordance with the Contract Documents requirements. No other forms of security are acceptable. Failure to execute the contract may result in forfeiture of the certified cashier’s check or the bid bond to the District. (See District’s Procurement Code for additional bid security requirements.)

10. Bidder: An individual or entity who submits a bid to do the work specified in the Contract Documents as a prime contractor and who is licensed to submit a bid and to perform such work in the State of South Carolina. A Bidder does not become a Contractor for purposes of the Contract Documents until a contract is executed.

11. Bidding Schedule: A form furnished by the District to be completed and signed by an authorized representative of the bidding entity and submitted by the bid opening date and time, which constitutes the Bidder’s offer to furnish all materials and labor to accomplish the work at the offered prices in the time frame established by the District.

12. Canopy: An ornamental roof-like covering supported by posts or suspended from a wall; a sheltering member, as over a niche or doorway.

13. Change Order: Any written alteration in specifications, delivery point, rate of delivery, period of performance, price, quantity, or other provisions of any contract accomplished by mutual agreement of the parties to the contract.

14. Construction Work: Additions, repairs, upgrading or renovating an existing District structure or the erecting of new structures and facilities. It includes the total scope of activities to be performed as provided in the Contract Documents whether performed by one or more contractors, subcontractors, the District, or any combination thereof. The scope of activities includes all labor, materials, and equipment to be provided by the Contractor to fulfill the obligations of the Contract Documents. (Also referred to as the “project.”)

15. Contract Agreement: The solicitation becomes the Contract Agreement between the District and the Contractor for purposes of performing the work identified at the agreed upon contract price during the agreed upon contract time. Upon award to the Contractor, the solicitation/Contract Agreement supersedes any prior negotiations, representations, or agreements, whether written or oral, unless incorporated in the Contract Agreement by reference to supplementary documents, or through execution of a Change Order. The contract between the District and the Contractor is not to be construed as an agreement between the District and any subcontractor, material or equipment supplier, or any other individuals or entities enjoined to the Contractor for purposes of contract execution.

16. Contract Documents: Documents including all terms and conditions and forms contained in the Contract Documents as originally published as well as any published bid addenda, any referenced drawings and specifications related to the project and integral to the performance of the work, and any Change Order (or directive) executed after contract execution.

17. Contractor’s License Number: License number issued by the South Carolina Contractors’ Licensing Board and required for all general contractors (as prime contractors) and all mechanical contractors (as prime contractors or subcontractors) performing construction in excess of $5,000. (For information contact the South Carolina Contractors’ Licensing Board at 803-896-4686.)

18. Contractor’s Group Number: A designation by the South Carolina Contractors Licensing Board from one (1) to five (5) indicating a specific dollar value limitation on construction licenses for prime contractors and mechanical contractors. Such licensure designation limits the Contractor’s or subcontractor’s ability to bid on or perform the work designated in the Contract Documents.

19. Cove Base: Made of vinyl, rubber, tile and/or metal in a variety of heights and shapes for a wide range of sheet goods and tile installations.

20. Debarred: The disqualification of an individual or entity from bidding on or being awarded a contract by the State of South Carolina or any other governmental entity for a specified period of time commensurate with the seriousness of the offense or the failure or inadequacy of performance. Any individual or entity debarred by the State of South Carolina or other governmental entity is ineligible to bid on or accept any contracts with the District under the debarred name or any other name.

21. District: Georgetown County School District as represented by its Board of Education, Superintendent, management staff, procurement officials, employees, or other authorized representatives or agents. The District’s Office of Procurement Services has the authority to contract for architectural and construction services and administration of the resulting contracts in accordance with the District’s Procurement Code and the directives of the Board of Education.

22. District Bid Contact Person: Designee of the District Procurement Coordinator assigned to officiate the bid process for construction work or other related services.

23. District Procurement Officer: The District’s Procurement official assigned to oversee procurement processes to ensure conformance to the District’s Procurement Code and to facilitate protests and claims.

24. Duct: Usually round or rectangular metal or insulated pipe for distributing conditioned air to rooms from a conditioning device.

25. Entity: Any business, corporation, partnership, sole proprietorship, joint stock company, joint venture, or any other legally formed organization.

26. Informality or Irregularity: A bidding requirement not fully complied with by the Bidder, waived by the District or allowed to be corrected when it is merely a matter of form or an immaterial variation from the exact requirements of the Bid Instructions having no effect or negligible effect on total bid price, quality, quantity or delivery of supplies or performance of the contract and for which the waiver or correction would not be prejudicial to the relative standing of the other bidders.

27. Installation: Means the assembly of modular building structures on-site and the process of affixing modular building related components to land, a foundation, footings, utilities, or an existing building.

28. Invitation for Bids: A written and published solicitation document issued by the District for the procurement of service, supplies, equipment or construction work, which shall ordinarily result in a contract awarded to the lowest responsive and responsible Bidder.

29. May: The word “may” or other such words or phrases used anywhere in the Contract Documents indicates a recommendation that is adhered to by the Bidder, Contractor, Architect/Engineer or District at his/her choice.

30. Minority or Woman Owned Business: Means a small business concern that is at least fifty-one percent (51%) unconditionally owned by one or more individuals who are both socially and economically disadvantaged or are women or a publicly owned business having at least fifty-one percent (51%) of its stock unconditionally owned by one or more socially and economically disadvantaged individuals or by women.

31. Modular Building Unit: Means any building of closed construction, regardless of type of construction or occupancy classification, other than a mobile or manufactured home, constructed off-site in accordance with the applicable codes, and transported to the point of use for installation or erection.

32. Notice of Intent to Award: A written notice of the District’s acceptance of a Bidder’s bid and the intention to award a contract. The Notice of Intent to Award is emailed to all bidders. The Notice of Intent to Award is not an authorization for commencement of work but only serves as a notice of the District’s intention to enter into a contract. Such Notice of Intent to Award may be cancelled prior to the execution of a contract.

33. Payment Bond: A bond provided by the Contractor in which a Surety guarantees to the District that the Contractor shall pay subcontractors and suppliers providing work or materials under the contract. (See District’s Procurement Code for additional payment bond requirements.)

34. Performance Bond: A bond provided by the Contractor in which a Surety guarantees to the District that the work under the contract shall be performed in accordance with the Contract Documents and in the time established as may be amended by any Change Order. (See District’s Procurement Code for additional performance bond requirements.)

35. Point of Manufacture: Means the place of business at which machinery, equipment, and other capital goods are assembled and operated for the purpose of fabricating, construction, or assembling modular building units.

36. Pre-bid Conference: A meeting, generally conducted at the worksite location if there is an existing structure, prior to the bid opening date and time for potential bidders, the Architect/Engineer, and District representatives to view and/or discuss the conditions under which the work is to be performed and to provide clarification of the Contract Documents, which shall be confirmed in a subsequent Bid Addendum. Normally the pre-bid conference is voluntary (non-mandatory) unless otherwise stated in the Invitation for Bids; however, Bidders are responsible for getting the issued addendum following the conference. If the pre-bid conference is designated as mandatory in the Invitation for Bids, only those bids from those bidders represented at the mandatory conference shall be considered.

37. Principal: Officers, directors, owners, partners, and individuals having primary management or supervisory responsibilities within a business entity, including project directors, financial officers or other such key personnel.

38. Product Data: Standard prepared data including such information as project specifications and installation instructions, catalog cuts, product photographs, operating and maintenance instructions, and indicating other general or standard manufacturing or fabrication characteristics.

39. Project: The total scope of work to be performed as provided in the Contract Documents whether performed by one or more contractors, subcontractors or the District itself. (Also referred to as the “work,” the “work to be performed” or other such terms.)

40. Project Manager: The Contractor’s designated representative to manage the flow of materials to the worksite and the timely sequencing of all sub-contracted work to ensure the continual progress of the work to meet the substantial and final completion dates established as may be amended by any Change Order.

41. Representative: An authorized designee of an individual or entity with formal responsibilities as specified by contract or employment agreement.

42. Shall: The word “shall” or “must” or other such words or phrases used anywhere in the Contract Documents indicates a mandate that must be adhered to by the Bidder, Contractor, Architect/Engineer or District.

43. Skirting: A lower wall extension installed to enclose the underside of a building that spans from the floor framing to the ground.

44. Special Conditions: A part of the Contract Documents which supplements, modifies, changes, adds or deletes from the requirements of the Bid Instructions, the provisions of the General Contract Conditions, or other Contract Documents and specifies terms and conditions specific to the work to be performed.

45. Specifications: A written description of the physical, functional, or performance characteristics, or the nature of the materials, equipment, processes, construction, or work to be performed. It includes, as appropriate, construction standards, technical data, workmanship, inspection and testing requirements.

46. Sprinkler: An arrangement of overhead pipes equipped with sprinkler heads or nozzles. In case of fire, these nozzles automatically release sprays of water.

47. Subcontractor: An individual or entity, who is properly licensed to do business in the State of South Carolina, having a direct contract with the Contractor to perform a portion of the work described in the Contract Documents. Any reference to subcontractor also includes any representatives, agents, or employees of the subcontractor or any other entity enjoined to the subcontractor to perform any work in relation to the project.

48. Surety: An individual or entity who promises, in writing, to make good the debt or default of a Bidder, Contractor or other entity.

49. Suspension: Disqualification of an entity to submit a bid or receive an award of a contract from the State of South Carolina or other governmental entity for a designated period of time pending the completion of an investigation and any legal proceedings that may ensue because the entity is suspected, upon probable cause, of engaging in criminal, fraudulent, seriously improper conduct or the failure or inadequacy of performance.

50. Taxpayer Identification Number (TIN): Means the number required by the Internal Revenue Service to be used by the Bidder or Contractor in reporting income tax and other returns. (A Federal Identification Number or Social Security Number.)

51. Trivial or Negligible Effect: An increase in the amount of the base bid or a decrease in the Contractor’s cost not to exceed one percent (1%).

52. Worksite: The actual location(s) where the scope of work as identified in the Contract Documents is to be performed by the Contractor.

53. Worksite Superintendent: Contractor’s representative at the worksite who is responsible for continuous field supervision, coordination, and completion of the work and for the enforcement of safety regulations. The worksite superintendent performs no other duties or trade work. A secondary worksite superintendent may be required, who may or may not perform additional duties in addition to worksite superintendent activities.

SPECIFICATIONS -  A. GENERAL

1. 	DESIGN. The contracted services are to meet or exceed all applicable federal, state, local and industry standards, codes and regulations. It shall be the Contractor’s responsibility to familiarize themselves with the relevant laws adopted by Georgetown County and the State of South Carolina. The 2018 OSF Guide along with the 2015 IBC Codes are anticipated to be in force for this Contract. The Contractor shall indemnify and save harmless the District against any claims arising from the violation of any such laws, ordinances and regulations. The Contractor shall also satisfy all authorities having jurisdiction and, where necessary, obtain such permits as may be required. Time delays or additional costs caused by compliance with any law or regulation shall not be cause for time extension or extra payment by District.

Modular buildings must be certified by the South Carolina Building Codes Council, as complying with the South Carolina Code of Laws, Title 23, Chapter 43, Modular Buildings Construction Act and the regulations promulgated by authority of same chapter, if they have been manufactured in accordance with approved building systems and passed inspection in accordance with an approved compliance assurance program in Section 23-43-90. Certification is evidenced by the attachment to each modular unit, a label issued by the council. Certification labels can only be attached to a modular building by the manufacturer under supervision of the approved inspection agency.

2. 	The Contractor shall be responsible for the design, engineering, permitting, fabrication, site assembly, installation, and associated walkways, steps, ramps, canopies, utility connections, etc. as required in 2018 OSF Guide, §106, 107, 108 and 109.

3. 	The Contractor shall be responsible for providing and maintaining an on-site, full-time supervision accountable for the coordination of all project related tasks for the Unit(s) until the Certificate of Occupancy has been issued.

4. 	The Contractor shall coordinate and cooperate with the District’s personnel and/or Contractor’s being utilized under separate contracts, who may also be on-site working concurrently.

5.  	The Contractor shall obtain the services of a licensed engineer registered with the State of South Carolina to design:

a. 	The foundation system and tie down system in accordance with 2015 IBC;

b. 	Concrete walks;

c. 	ADA Compliant Alum Ramps;

d. 	ADA Compliant Alum Steps;

e. 	Canopies.

6.   	Project Allowance: Include in your project cost a Site Allowance (negotiated for each specific Purchase Order to include:

a. 	Obtaining the services of a Civil Engineer (that is familiar with Georgetown County School District) to develop an overall site plan showing:

- The existing school, and proposed modular(s) location and supporting walks, steps, ramps, canopies,     etc.;

ii.	Utility connection points, and connection services;

iii.	Emergency access roads and relative information;

iv.	Code Analysis to show, Building Area, Plumbing fixture count calculations, and other Code rated information necessary to show Code compliance;

v.	Contractor access, lay down area, and site security if needed.

7. 	 Provide a complete construction document set to show all required work.

a. 	Submit the plans to GCSD Project Manager for approval;

b.	Submit the plans to OSF for review and acceptance;

c. 	Submit and obtain Planning approval.

8. 	Code Compliance: The Contractor shall provide evidence of a complete Code analysis to verify the Code compliance for the planned work at each site. This Code analysis to include plumbing count and analysis, building area and building type calculations. The plumbing and area calculations must take into account the existing building.

9.  Transportation: The Contractor shall be responsible for obtaining all transportation permits and pay for all transportation  fees required by the South Carolina Department of Transportation (SCDOT) and/or municipal agencies.

10.  	Subcontractors and Professionals: The Contractor shall use fully licensed Subcontractors and professionals for all site   work, including foundations, installation and set-up.

11.  	3rd Party Inspections:

- The Contractor is responsible for obtaining an OSF approved 3rd party inspection firm that will inspect and approve the modular classrooms during construction at the factory, during the setup, and at completion of the setup.

b.	The Contractor will supply GCSD with a copy of each report prior to the final inspections by OSF being scheduled.

c.	This OSF approved 3rd party inspection firm is in addition to the manufacturer’s SC LLR approved 3rd party  inspection report.

12.	The Contractor is responsible for connecting the Unit’s electrical, water and sewer utilities to the Public utility systems, or the District’s utilities on site, as agreed for each Purchase Order.

13. 	Delivery and Placement of Unit(s): The Contractor shall provide the District with a detailed schedule outlining each activity and its relationship to other activities within five (5) calendar days of a new Unit being approved. Included in the proposal are the site visits to help the District determine the placement of the modular classroom(s) as it relates to site accessibility and layout.

14. 	Installation/Set-up: The Contractor shall complete installation/set-up of Unit(s) within five (5) calendar days from the date the Unit is delivered to the established site.

15. 	Materials, Labor, and Equipment: All materials and equipment incorporated into any work covered by the Contract shall be new and, where not specified, of the most suitable grade of their respective kinds for their intended use and all workmanship shall be in accordance with best construction practices acceptable and subject to the inspection and acceptance of the District. The Contractor expressly warrants to GCSD that all materials, labor and equipment furnished from all faults and defects are in conformance with requirements of the Contract. If within one (1) year of the date of acceptance by GCSD, of the work, or such longer time period as may be prescribed by law or by the terms of any special warranty set forth in the Contract, any work is found to be defective or not in accordance with the Contract, the Contractor shall correct it promptly after receipt of notice from GCSD.

16. Warranty: Warranty begins at time of Substantial Completion, which is the date that OSF issues the Certificate of Occupancy and NOT upon delivery. Contractor warrants that, for twelve (12) months from the date of Acceptance by GCSD, the Modular Unit(s) shall be free from defects in materials and workmanship in normal use and operations and shall comply with all drawings and specifications as approved by District. Equipment and accessory items not manufactured by Contractor shall not be subject to the foregoing warranty, but shall carry the applicable warranty of the manufacturer, which Contractor shall assign to District to the extent transferable.

a. 	The Contractor is responsible for hiring a General Contractor (that is familiar with Georgetown County School District) licensed in South Carolina with a building classification/cost of work limitations not less than the cost of the project to:

i. Perform all repairs during the contractor’s warranty period;

ii. Provide service and maintenance during the contractor’s warranty period.

17.  Construction Schedule: After a purchase order is issued for a project, the Contractor, shall immediately prepare and submit to District for approval a progress schedule that will insure the completion of the project within the time specified. Adequate equipment and forces shall be made available by the Contractor to start work immediately upon order of District and carry out the schedule to completions of the Contract within the time specified. If schedule is delayed by the District, the Contractor and District must mutually determine if the project deadline will be changed.

18.	The Contractor is responsible for hiring a licensed General Contractor able to respond to service calls, punch lists and general issued during the installation and warranty period within a timely manner.

19.	The Contractor is responsible for removing and properly disposing of all construction related debris from work site at the end of each working day.

20. 	Title: Title to the Unit(s) shall pass to GCSD when entire Purchase Price has been paid to Contractor. Upon Contractor’s receipt of payment in full of the Purchase Price, title to the Unit(s) shall transfer to GCSD, free and clear of all encumbrances arising by or through Contractor.

21. 	Purchase Price: Owner agrees to pay Contractor twenty-five percent (25%) upon execution of a Purchase Order; twenty-   five percent (25%) no fewer than five (5) days after delivery date; and the remaining fifty percent (50%) within thirty (30) days of Acceptance. Purchase Price includes such charges as are attributable to circumstances related to the delivery and setup  of Unit(s). Sales Tax will be paid at a rate of 7%.

22.	 	Georgetown County School District’s Responsibilities:

a.	GCSD will provide the Contractor with the as-builts’ showing the approximate locations for connection to the facilities’ water, sewer, and electrical systems;

b.	GCSD will install the low voltage electrical wire (IT), fire and security systems within the Contractor provided conduit and boxes.

SPECIFICATIONS – B. SPECIAL

Each UNIT shall adhere to the subsequent specifications, including but not limited to the following:

Modular Building Installation: Provide and install foundation system. Provide and install utility rough in / connections. Install modular building; level and anchor with code-compliant anchoring system. Join units at mate lines, fit and finish all components as required to finish modular building. Install building skirting to close space between ground and floor structure.

Construct aluminum pre-assembled ramps and stairs with platforms, as required at exit doors in conformance with accessibility requirements.

Construct sidewalks and canopies, or other site related work as agreed to and as a part of the allowance included on the Purchase Order.

Provide the final utility connections to either the public utility system or the building systems as agreed to and as a part of the allowance included on the Purchase Order.

Arrange for and attend Final Inspection by The Office of School Facilities and possibly the State Fire Marshall. Resolve all punch list items and obtain the Certificate of Occupancy

| DESCRIPTION | CLASSROOM | OFFICE |
| --- | --- | --- |
| Construction Type | Wood | Wood |
| Size | Single; Approximately 700 to 900 SF | Single; Approximately 700 to 900 SF |
| Aluminum Steps (ADA) | Minimum 48” wide; 4’ x 4’ landing; assume 36” FFE above final grade | Minimum 48” wide; 4’ x 4’ landing; assume 36” FFE above final grade |
| Aluminum Ramp w/Landing | Assume 36” FFE above final grade | Assume 36” FFE above final grade |
| Door(s) | Two (2) Single Exterior Door w/Vision Panel | Two (2) Single Exterior Door w/Vision Panel |
| Window(s) | One (1) Window | Two (2) to Four (4) Windows |
| Storage Closet | One (1) Storage Closet | One (1) Storage Closet |
| Data Closet | One (1) 36” x 36” Data Closet | One (1) 36” x 36” Data Closet |
| Ceilings | 8 ft. | 8 ft. |
| Rooms | One (1) Classroom | Two (2) Offices (1 on each end of unit) |
| Restroom | One (1) Unisex Restroom | One (1) Unisex Restroom |
| Wind Speed Design | 140 to 150 mph | 140 to 150 mph |
| Seismic Design Category | C, Do & D1 | C, Do & D1 |
| Heating / Cooling | Central HVAC | Central HVAC |
| Gutters | Standard Drip Rail Gutter | Standard Drip Rail Gutter |
| Lighting | Fluorescent Ceiling Lights | Fluorescent Ceiling Lights |

MATERIALS. All materials and equipment incorporated into any work covered by the contract shall be new and, where not specified, of the most suitable grade of their respective kinds for their intended use and all workmanship shall be in accordance with best construction practices acceptable and subject to the inspection and acceptance of GCSD. The Contractor expressly warrants to GCSD that all materials, labor and equipment furnished from all faults and defects are in conformance with requirements of the contract. If within year of the date of acceptance of the work by GCSD, or such longer time period as may be prescribed by law or by the terms of any special warranty set forth in the contract, any work is found to be defective or not in accordance with the contract, the Contractor shall correct it promptly after receipt of notice from GCSD.

SITE.

- Rough grading;

- Utility rough-ins /connections;

- Low voltage utility rough in / connection;

- ADA Complaint Ramps and Steps;

- All Disturbed areas are to be sodded with non-mesh backed sod;

- Connect gutter downspouts to the existing storm drain system. (Per PO and allowance);

- 4” thick 4000 psi concrete sidewalks. (Per PO and allowance);

- Pre-finished canopies. (Per PO and allowance).

EXTERIOR WALLS, SEPARATION WALLS AND CONNECTION WALLS.

a. 	Designed and constructed as 1-hr rated walls per 2015 IBC code;

b.	Studs. 2 x 4 or 2 x 6 #2 SPF @ 16” On Center, single top plate and single bottom plate;

c.	Interior. ½” Gypsum;

d.	Covering. Vinyl Covered Wall Paper applied to the gypsum;

e. 	Insulation. Krafted Fiberglas (thickness per code);

f.	Structural Sheathing. 7/16” OSB;

g.	Moisture Sheathing. Building wrap;

h.	Exterior Siding. Hardi Panel 8” groove / Flat / or Stucco;

i.	  Skirting. Skirting is to be new T1-11 Hardi paneling skirting with edge molding and wood blocking as specified by the manufacturer. Skirting shall be installed to close space between ground and floor structure of Unit. All fasteners are to be Stainless Steel;

l. 	Exterior color to be Kelly Moore low sheen enamel: Sandpebble #171, Trim # 27 Bone. Final paint coat to be applied after the units are assembled on Owner site.

INTERIOR WALLS.

a. 	Designed and constructed as 1-hr rated Fire/Smoke walls per 2015 IBC code;

c. 	All walls to have acoustic insulation full height for sound reduction;

d. 	Interior finish to be 5/8” Type X Vinyl covered gypsum - color as selected by District;

e. 	FRP panels over gypsum in restrooms and data closet;

f. 	Interior base trim to be manufacturers standard 4" Vinyl Cove Base.

INSULATION.

- R-20 Floor insulation;

- R-19 Interior wall insulation;

- R-19 Exterior wall insulation;

- d. R-30 Roof insulation;

- e. NOTE: INSULATION IS FORMALDEHYDE FREE.

EXTERIOR WINDOWS.

a.	46" x 60"non-operable (Double Pane, Low E / Impact rated) Wintech: DP-50 / 26000R (1 per classroom);

b. 	Moiststop PF to be installed around all windows;

c. 	Window frames: white aluminum;

d. 	Install drip caps;

e. 	Must have the window labeling left on the windows until the buildings have been issued a Certificate of Occupancy;

f. 	Designed to meet the Wind Born Criteria for the coastal region of Georgetown County in accordance with the 2015 IBC.

EXTERIOR DOORS.

a. 	72" x 80" FRP doors with knockdown steel frames;

b.	Provide 6”x30”view blocks in all exterior doors - Glass to be Impact and Fire Rated as required by code Moiststop

c. 	Install drip cap;

d. 	Must have the lite labeling left on the windows until the buildings have been issued a Certificate of Occupancy;

e. 	Designed to meet the Wind Born Criteria for the coastal region of Georgetown County in accordance with the 2015 IBC.

INTERIOR WOOD DOORS.

a. 	36"x 80" Solid Core Wood Doors. Color- Imperial Oak;

b.	Fire rated doors as required;

c.	6’’x 33’’ view glass. (Classrooms doors). Glass to be Tempered and Fire Rated as required by code. No Wire Glass to be used in lights;

d.	Timely or Redi-Frames. Color- Bronze;

e.	All interior doors must have smoke seals installed on frames;

f.	Must have the light labeling left on the windows until the buildings have been issued a Certificate of Occupancy.

ROOF.

a. 	Live Load – Per the Code – most stringent requirement for any part of Georgetown County, SC;

b.	Roof structure to be Manufacturer’s standard and as required to meet Code;

c.	Provide Hurricane straps and anchors as required to meet the most stringent wind loads as applicable to Georgetown County, SC;

d.	Roof slope to direct water to ends;

e. 	Provide Aluminum gutter and downspouts.

f.	Roof Covering: 60 mil. White EPDM Cool Roof over Dens Deck and 7/16 OSB;

g.	20-year manufacture warranty;

h. 	12"peel & stick mate-line tape.

FINISHES.

a. 	VCT in Restrooms, Data closets and Mechanical spaces;

b. 	(16 oz. to 23 oz.) minimum face weight carpet tiles (by Shaw, Mohawk or Tandus) in classrooms, office spaces and hallways; provide LokDot, FlexLok or Tandus Tape;

c. 	Suspended 2’x2’ ACT Ceiling. Armstrong # 2822, USG # 88135 or approved equal.

i. 	Seismic Design category C, Do, & D1;

d. 	Provide Markerboard and Tackboards:

i. 	One (1) each to be installed in each classroom; 4’ x 16’ (No top map rail);

ii. 	Two (2) each to be installed in each classroom; 4’ x 4’ (No top map rail).

FIRE EXTINGUISHERS.

a. 	4A:80BC multi-purpose type portable fire-extinguisher and cabinet;

i. 	One for each classroom; mount in recessed FEC cabinet in corridor;

ii. 	For single classroom Units, install one (1) fire extinguisher and recessed mounted cabinet.

b. 	FEC to be 1 HR rated Semi-recessed 1 ½” - full clear acrylic door; sized per the extinguisher.

DATA CLOSET.

a.	All single classroom buildings to have a 36”x36 closet;

b.	All other buildings to have Data closet as called for;

c.	Install 2 each 4” sleeve through the floor;

d.	Install 2 each 2” fire rated sleeve through the walls and into the corridors.

DOOR HARDWARE.

a. General

i. 	The Contractor shall furnish two (2) construction access keys and temporary cores for each UNIT’s doors for use by multiple parties during set-up, prior to final inspection by applicable governing authorities;

ii. 	All hardware used on labeled fire or smoke rated openings shall be listed for those types of openings and bear the identifying label or mark indicating UL (Underwriter's Laboratories) or Warnock Hersey (WHI) approved for fire. Non-labeled openings to be listed for panic application. All hardware applications used on labeled fire or smoke rated openings shall be in compliance with the Positive Pressure Fire Test: UL10C and with UBC7-2 1997;

iii.	Corbin Russwin Hardware Lever handles – CL3100 Series;

iv. 	Corbin Russwin Series Keyed interior doors locks;

v. 	Push Pull hardware sets on multi-station restroom;

vi. 	Furnish finish hardware with all necessary screws, bolts and other fasteners of suitable size and type to anchor the hardware in position for a long life under hard use;

vii. 	Furnish fastenings where necessary with expansion shields, toggle bolts and other anchors, and according to the material to which the hardware is to be applied and the recommendations of the hardware manufacturer. Generally, furnish fasteners for machine screw installation. Do not provide hardware which has been prepared for self-tapping sheet metal screws, except as specifically indicated. Closer and Exit Device Mounting: At FRP Doors, thru-bolt mount closer and exit device. At Wood Doors, thru-bolt mount closer and exit device. All thresholds shall be fastened with provided screws and anchors. Where specified in the hardware sets, security type fasteners of the type called for are to be supplied. Where brackets are specified in the hardware sets, furnish brackets only as manufactured by the product manufacturer specified.

viii. 	Design of all fastenings shall harmonize with the hardware as to material and finish.

b.	Lock Cylinders and Keying.

i. 	All locks and cylinders shall be furnished with temporary keyed construction cores for the Contractor’s use during the construction period of the project. Construction control and operating keys and cores shall not be part of the District’s permanent keying system, or furnished on the same keyway as the District’s permanent keying system. Permanent cores and keys shall be keyed to the approved keying schedule. Specifier’s Note: All cylinder housings shall be specified as Corbin-Russwin. Keyed Permanent Cores shall be CorbinRusswin 6-pin, small format.

ii. 	All cylinders shall be rim or mortise type with interchangeable cores. All cylinder components shall be constructed of extruded brass. All cylinders, cores, and housings shall match the lock finish.

c.	Locks, Latches, and Bolts.

i.	Mortise Lock and Latches shall be mortise type, ANSI A156.13, series 1000. Mortise Sets shall be Grade 1 operational and security, UL Listed for 3-hour fire door. Trim Design shall be tubular lever with return to within ½” of door face. Finish shall be 626 (US26D) unless otherwise noted. Furnish latch bolts with ¾" minimum throw. Deadbolts shall have 1” throw. All strikes shall be curved lip, furnished with dust box as standard. Locksets furnished on additions to existing schools shall match the existing locks and trim, unless otherwise specified in the hardware sets;

ii. 	District approval required to match existing.

d.	Closers.

- One manufacturer for all closer units throughout the Project Work;

- Acceptable manufacturers: Corbin Russwin DC600 Series (DC6210);

- Size of Units: Except as otherwise specifically indicated, comply with the manufacturer’s recommendations for size of door control unit, depending upon size of door, exposure to weather and anticipated frequency of use; shall be accommodated in one closer body. Closing shall be controlled by two valves – one to control closing speed and one to control latching speed. Valves shall be concealed against unauthorized adjustment and be non-critical with “O” ring seals.

iv. 	Door Closers shall be heavy-duty type, Grade 1;

v. 	Door Closers shall be or rack and pinion construction with a cold headed heat-treated steel spindle and a steel piston precision machined and heat treated. The case shall be of cast iron with seamless cold-headed steel spring tube. A two-piece or seamed spring tube shall not be acceptable. Springs shall be tempered chrome silicon. Closers shall have a heavy-duty, forged steel main arm.;

vi. 	Door Closers shall have an adjustable delayed action feature, controlled by a separate valve.

vii. 	All closers shall have “all-weather” hydraulics to operate in temperatures from – 30 degrees to 120 degrees F without valve adjustments and conforms to positive pressure fire test standards UL10C & UBC 7-2;

viii. 	Pressure Relief Valves shall not be acceptable;

ix. 	Spring power shall be continuously adjustable and allow for reduced opening force for the physically handicapped, where applicable. At exterior doors, closers shall be adjusted for ADA, but shall also be required to reliably allow the door to close and latch. The Contractor shall notify the GCSD Project Manager if both ADA compliance, and reliable closing and latching of exterior doors cannot be achieved from the manufacturer’s available spring power adjustment;

x. 	Units shall be stamped with date-of-manufacture code;

xi. 	Closers shall be available in architectural finishes to match corresponding door hardware;

xii.	 	Provide plates, brackets, and special templating as specified and per the manufacturer’s recommendation;

xiii. 	All exterior surface mount door closers shall be located on the interior side of the door, and shall include a heavy duty forged parallel arm, mounted for maximum possible swing. Parallel arm mounting is preferred.

e.	Exit Devices.

i.	All devices shall be the products of one manufacturer to provide for proper installation and servicing;

ii. 	Devices shall be furnished non-handed and capable of direct field conversion of all available trim functions. All devices shall carry a three-year warranty against manufacturing defects and workmanship;

iii. 	Furnish all devices with stainless steel touch bars;

iv. 	Furnish all exit devices with deadlocking latch bolts or guarded latch (GL) feature;

v. 	Furnish all non-label devices with keyed cylinder dogging;

vi. 	Furnish all exit devices with cast metal end caps;

vii. 	Furnish roller strikes with all exit devices;

viii.	Mullions: furnish mullion stabilizers and mullion keyed locking feature with all removable mullions;

ix. 	All Exit Devices and Mullions shall be from one manufacturer;

x. 	Lever trim shall be solid cast material with a break-away feature to limit damage to the unit from vandalism;

xi. 	Acceptable Manufacturers: Corbin Russwin;

f.	Miscellaneous.

i.	Provide door stops or controls at each door leaf; provide wall, floor, or stops and holders a specified. Approved Manufacturers: Ives/Trimco/Rockwood/Burns.

g.	Thresholds / Weatherstrip.

i.	General: Except as otherwise indicated, provide continuous weather stripping at each edge of every exterior door leaf. Provide type, size and profiles shown or specified. Provide non-corrosive fasteners as recommended by manufacturer for application intended. Except as otherwise indicated provide ADA standard aluminum thresholds of type, size and profile specified;

ii.	Replaceable Seal Strips: Provide only those units where resilient or flexible seal strip is easily replaceable and readily available from manufacturers stock;

iii. 	Acceptable Manufactures: National Guard/Pemko/Zero /Reese;

iv. 	Provide thresholds that are 1” wider than frame depth. Unless return closed ends are specified, furnish thresholds 2” longer than the opening width for notching around the frame. Hardware installer shall be responsible for notching thresholds to the frame by field measuring after the door opening assembly is installed.

h.	Door Silencers.

i.	At all hollow frames, furnish three (3) gray resilient rubber silencers.

TOILET ACCESSORIES.

a.	20''x18'' standard mirror;

b. 	Stainless Steel Satin Finish Grab Bar; ADA compliant;

c. 	Paper Towel Dispenser provided by District;

d. 	Toilet Tissue Dispenser provided by District;

e. 	Soap dispenser provided by District;

f.	Floor mounted urinal.

ALUMINUM RAMPS AND STEPS.

a.	Provide ADA and Code compliant pre-fabricated aluminum ramps and steps, complete with slip resistant steps and ramps, 4’ x 4’ landing, handrails, connections, supports, etc.

b.  Ramps and stair sections shall be rigid, free span design

c. 	Provide clear anodized aluminum finish

d. 	Acceptable manufacturers:

i.   Sapa Extrusions, Inc. (REED Team ) Magnolia, Arkansas 1-800-779-5509;

ii.   Compliant Access Products, LLC Cleves, Ohio 1-513-518-1435;

iii.   Or approved equal.

PLUMBING.

a.	Floor mounted lavatories; ADA compliant;

b. 	Lever-operated faucet; ADA compliant;

c. 	Stainless Steel grab bars; ADA compliant;

d.	Water closets, handicap accessible with ADA compliant grab bars;

e. 	Wall-hung urinals; ADA compliant;

f. 	Electric water cooler, Halsey-Taylor HVR8-Child ADA;

g. 	Water Heater; 40 gallon;

h. 	1 PVC utility sink with legs;

i. 	Supply lines are CPVC;

j. 	Drain/Waste lines are PVC;

k. 	All Supply lines are to be supported and insulated in accordance with the 2015 IBC.

ELECTRICAL.

a.	150 AMP subpanels mounted on interior wall mount with 2-extra breaker spaces no “wafer breaker” allowed;

b.  Standard "T-Grid type" 240 fluorescent lights (T-5 Bulbs);

c. 	Dual head emergency lights – battery;

d. 	Combination dual head emergency light / exit signs;

e. 	2" x 4" junction box with 1" conduit – minimum for data, fire alarm and security; boxes to be stubbed into the attic cavity for data, monitoring, alarms & security systems by others;

f. 	100 CFM exhaust fan in toilets and janitor closet; control with switch;

g. 	110 Volt receptacles @ approximately 12' O.C. on perimeter walls;

h. 	Receptacles, switches and covers are to be white;

i. 	GFI receptacles as required;

j. 	1 GFI receptacle under each double building section for plumbing heat-tape; install in weather proof enclosure;

k.   Exterior GFI outlets with weather-proof covers;

l.    Raceway: M.C. cable wiring throughout;

m.  Emergency Egress light is to be installed at each exit of the modular bldg. Connected to a photo-cell.

n.  The Contractor is responsible for connecting the modular unit(s) to a site located main electrical service entrance. Service entrance to be weather rated, sized to handle the modular unit loads, meter base and shall be the main disconnect for the modular units.

o.  The primary service to the service entrance shall be by the Contractor and will be included in each Purchase Order via an allowance.

LOW VOLTAGE (connection to existing building).

a. 	Contractor is responsible for providing and installing 2ea 2” PVC conduits ( one for fire and one for Data ) from the Modular Unit to nearest connection point. Assume 250’ to the closest connection point; for distances greater than 250’, a unit price per foot will be included in the proposal.

i.   Provide Sch 40 conduit. Minimum of 2’ of cover;

ii.   Provide long sweep elbows;

iii. 	Provide 6”x6” pull box mounted on the face of the existing building at 18” above grade;

iv. 	Provide 2” LB fittings at all entrances into the existing building; core drill masonry as required;

v. 	Conduit exposed to sunlight to be UV Treated;

vi.  Provide pull string.

b. 	GCSD will be responsible for the conductors associated with the low voltage connectivity;

c. 	Contractor is responsible for providing and installing the empty conduit for Data, Security and Fire Alarm within the Modular Unit. Minimum 1” conduit, 2” x 4” box. Stubbed from location to attic cavity above the corridor “cap”. Install pull wire.

HVAC.

a.	3.5 ton BARD wall mounted heat pumps with 10kw auxiliary strips;

b.  Model # W42H1DA10RXXXE; 3.5 Ton Heat Pump, Dehumidification, 10 Kw;

c.  Heat, 230-1-60, ERV, Low Ambient Kit -HVAC: Located on the HITCH ENDS;

d.  Fiberglass supply duct;

e.  Return Duct with Grilles;

f.   Shoemaker 14”x8” 3-way adjustable curved blade supply air registers;

g.  Ducted return air with plenum walls;

h.  10" x 10" fire and smoke dampers as necessary;

i.   CS-2000 energy management systems, humid-stat, (Complete Stat).

FIRE AND SECURITY.

a.	The District shall be responsible fore the installation of the fire and security system(s);

b.	Contractor shall provide all required conduit and boxes.

SUBSTITUTIONS.

The standards contained in these specifications are minimums. Any substitutions at time of project completion must, without exception, be manufactured of the same basic materials, meet or exceed all specification requirements of structural, functional, dimensional and appearance without deviation. Georgetown County School District reserves the right to reject any and all substitutions.

DELIVERY TIME:   All items and associated services shall be made between the hours of 8:00 am and 5:00 pm EST, Monday through Friday, except for District closures, unless the Contractor and District mutually agree upon another time frame.

DELIVERY / PERFORMANCE LOCATION – PURCHASE ORDER:  After award, all deliveries shall be made, and all services provided to the location specified by the GCSD school/location in its purchase order.

QUALITY – NEW: All items must be new.

IV. Information For Offerors To Submit:

## INFORMATION FOR OFFERORS TO SUBMIT – GENERAL: Offeror shall submit a signed Cover Page and Page Two. Offeror should submit all other information and documents requested in this part and in parts II.B. Special Instructions; III. Scope of Work; V. Qualifications; VIII. Bidding Schedule/Price Proposal; and any appropriate attachments addressed in section IX. Attachments to Solicitations. You should submit a summary of all insurance policies you have or plan to acquire to comply with the insurance requirements stated herein, if any, including policy types; coverage types; limits, sub-limits, and deductibles for each policy and coverage type; the carrier’s A.M. Best rating; and whether the policy is written on an occurrence or claims-made basis.

OFFSHORE CONTRACTING PROHIBITED:  No part of the resulting contract from this solicitation may be performed offshore of the United States by persons located offshore of the United State or by means, methods, or communications that, in whole or in part, take place offshore of the United States.

SUBMITTING REDACTED OFFERS: If your offer includes any information that you marked as “Confidential,” “Trade Secret,” or “Protected” in accordance with the clause entitled “Submitting Confidential Information,” you must also submit one complete copy of your offer from which you have removed or concealed such information (the redacted copy). The redacted copy should (i) reflect the same pagination as the original, (ii) show the empty space from which information was redacted, and (iii) be submitted on a USB flash drive. Except for the information removed or concealed, the redacted copy must be identical to your original offer, and the Procurement Officer must be able to view, search, copy and print the redacted copy without a password. If your offer does not contain “Confidential Information”, a redacted copy is not required. V V. QUALIFICATIONS.

QUALIFICATION OF OFFEROR: (1) To be eligible for award, you must have the capability in all respects to perform fully the contract requirements and the integrity and reliability which will assure good faith performance. We may also consider a documented commitment from a satisfactory source that will provide you with a capability. We may consider information from any source at any time prior to award. We may elect to consider (i) key personnel, any predecessor business, and any key personnel of any predecessor business, including any facts arising prior to the date a business was established, and/or (ii) any subcontractor you identify. (2) You must promptly furnish satisfactory evidence of responsibility upon request. Unreasonable failure to supply requested information is grounds for rejection. (3) Corporate subsidiaries are cautioned that the financial capability of an affiliated or parent company will not be considered in determining financial capability; however, we may elect to consider any security, e.g., letter of credit, performance bond, parent company corporate guaranty, that you offer to provide.

QUALIFICATIONS – REQUIRED INFORMATION: Submit the following information or documentation for you and for any subcontractor (at any tier level) that you identify pursuant to the clause titled Subcontractor – Identification. Err on the side of inclusion. You represent that the information provided is complete. (a) The general history and experience of the business in providing work of similar size and scope. (b) Information reflecting the current financial position. Include the most current financial statement and financial statements for the last two fiscal years. If the financial statements have been audited in accordance with the following requirements, provide the audited version of those statements. [Reference Statement of Financial Accounting Concepts No. 5 (FASB, December 1984), as amended.] (c) A detailed, narrative statement listing the three most recent, comparable contracts (including contact information) which have been performed. For each contract, describe how the supplies or services provided are similar to those requested by this solicitation, and how they differ. (d) A list of every business for which supplies or services substantially similar to those sought with this solicitation have been provided, at any time during the past three years. (e) A list of every South Carolina school district for which supplies, or services have been provided at any time during the past three years, if any. (f) List of failed projects, suspensions, debarments, and significant litigation.

QUALIFICATIONS – MINIMUM REQUIRED: The District reserves the right to reject any Bidder as non-responsible if the evidence submitted by the Bidder or any investigation of the Bidder fails to satisfy the District of the responsibility factors in the previous paragraph and, by way of illustration and not limitation, the following:

A. The Bidder’s experience, skill, and ability, to perform the work required as well as the experience, skill, and ability of key personnel. At least one principal of the business shall have a minimum of ten (10) years of documented commercial construction experience or an equivalent of five (5) years of documented school construction experience. The Contractor’s project manager and worksite superintendents as well as all subcontractors shall each have a minimum of five (5) years of documented commercial construction experience or as required in the Contract Agreement.

The Project Manager (and Project Superintendents) are to be 100% assignable to this Georgetown County School District project. The proposed Manager and Superintendent must have worked a minimum of two (2) years for the General Contractor naming them in their bid. Both must have experience working on construction projects in close proximity to and/or within occupied and operating facilities.

The District understands the importance of good planning and management. As such, the qualifications for both the Project Manager and the Superintendent will be a significant portion of the Contractor evaluation in determining “responsibility” as it relates to the selection process of the selected General Contractor.

The District requirements for staffing the project listed in the Contract Agreement are to be considered the minimum amount of key supervisory staff assigned to the project. The Contractor, with his in-depth knowledge of building facilities projects must allocate the necessary personnel to deliver the project in a timely, safe, and quality manner.

B. The Bidder and subcontractors having and maintaining a valid Contractor’s license with the South Carolina Contractors’ Licensing and Regulations Board at an appropriate level for the project being bid or the portion of work to be performed, as may be required. Contractors and subcontractors shall have been licensed by the South Carolina Contractors’ Licensing Board (or contractors’ licensing agency of another state, in equivalent categories) for a minimum of five (5) consecutive years immediately prior to the bid submission in the construction field or discipline the Contractor or subcontractor will be performing.

C. The Bidders’ ability to meet the required insurance and bonding requirements. The Contractor shall have a minimum aggregate available bonding capacity of at least twice the value of the project being bid and shall provide proof of such available bonding capacity as part of the bid submission. The insurance coverage shall be specific to the project as stated in the Contract Agreement with the District and Architect/Engineer listed as additionally insured. The Contractor must also have an experience modifier rate (EMR) not greater than 1.00 unless allowed by the District determines to waive these requirements.

D. The demonstrated ability of the Bidder and the listed subcontractors to perform construction work promptly within the time specified, without delay or potential default.

E. The character, integrity, reputation, judgment, experience, and efficiency of the Bidder and the listed subcontractors and their key employees, owners, directors, officers or others associated with them.

F. The quality of the Bidder’s and listed subcontractors’ past and present performance on other contracts entered into and the Bidder’s experience with projects similar to the one identified in the Contract Documents.

G. Any current contract between the District and the Bidder or any listed subcontractor in compliance with all terms and conditions of the contract.

H. The Bidder or any listed subcontractor not currently debarred from doing business with the State of South Carolina, the District or any other governmental entity.

I. Any amounts due and payable to the District by the Bidder or any listed subcontractor paid in full prior to the bid submission.

SUBCONTRACTOR – IDENTIFICATION: If you intend to subcontract, at any tier level, with another business for any portion of the work and that portion either (1) exceeds 10% of your cost, (2) involves access to any “District information,” as defined in the clause entitled “Information Security - Definitions,” if included, or (3) otherwise involves services critical to your performance of the work (err on the side of inclusion), your offer must identify that business and the portion of work which they are to perform. Identify potential subcontractors by providing the business’ name, address, phone, taxpayer identification number, and point of contact. In determining your responsibility, the District may evaluate your proposed subcontractors.

VI. Award Criteria:

Award Criteria – bids: Award will be made to the lowest responsible and responsive bidder(s).

AWARD TO ONE OFFEROR:  Award will be made to one Offeror.

## UNIT PRICE GOVERNS: In determining award, unit prices will govern over extended prices unless otherwise stated.

VII. Terms and Conditions – A. General:

ASSIGNMENT, NOVATION AND CHANGE OF NAME, IDENTITY, OR STRUCTURE: (a) Contractor shall not assign this contract, or its rights, obligations, or any other interest arising from this contract, or delegate any of its performance obligations, without the express written consent of the responsible Procurement Officer. The foregoing restriction does not apply to a transfer that occurs by operation of law (e.g., bankruptcy; corporate reorganizations and consolidations, but not including partial asset sales). Notwithstanding the foregoing, Contractor may assign monies receivable under the contract provided that the District shall have no obligation to make payment to an assignee until thirty days after Contractor (not the assignee) has provided the responsible Procurement Officer with (i) proof of the assignment, (ii) the identity (by contract number) of the specific contract to which the assignment applies, and (iii) the name of the assignee and the exact address or account information to which assigned payments should be made. (b) If Contractor amends, modifies, or otherwise changes its name, its identity (including its trade name), or its corporate, partnership or other structure, or its FEIN, Contractor shall provide the Procurement Officer prompt written notice of such change. (c) Any name change, transfer, assignment, or novation is subject to the conditions and approval required by Regulation 19-445.2180, which does not restrict transfers by operation of law.

CHOICE-OF-LAW: The Agreement, any dispute, claim, or controversy relating to the Agreement, and all the rights and obligations of the parties shall, in all respects, be interpreted, construed, enforced and governed by and under the laws of the State of South Carolina, except its choice of law rules. As used in this paragraph, the term "Agreement" means any transaction or agreement arising out of, relating to, or contemplated by the solicitation.

CONTRACT DOCUMENTS & ORDER OF PRECEDENCE: (a) Any contract resulting from this solicitation shall consist of the following documents:  (1)  a Record of Negotiations, if any, executed by you and the Procurement Officer, (2) the solicitation, as amended, , (3) documentation of clarifications or discussions of an offer, if applicable, (4) your offer, (5) any statement reflecting GCSD’s final acceptance (a/k/a “award”), and (6) purchase orders. These documents shall be read to be consistent and complimentary. Any conflict among these documents shall be resolved by giving priority to these documents in the order listed above. (b) The terms and conditions of documents (1) through (5) above shall apply notwithstanding any additional or different terms and conditions in any other document, including without limitation (i) a purchase order or other instrument submitted by GCSD or (ii) any invoice or other document submitted by Contractor, or (iii) any privacy policy, terms of use, or end user agreement. Except as otherwise allowed herein, the terms and conditions of all such documents shall be void and of no effect. (c) No contract, license, or other agreement containing contractual terms and conditions will be signed by GCSD. Any document signed or otherwise agreed to by persons other than the Procurement Officer of record shall be void and of no effect.

DISCOUNT FOR PROMPT PAYMENT: (a) Discounts for prompt payment will not be considered in the evaluation of offers. However, any offered discount will form a part of the award and will be taken if payment is made within the discount period indicated in the offer by the Offeror. As an alternative to offering a discount for prompt payment in conjunction with the offer, Offerors awarded contracts may include discounts for prompt payment on individual invoices. (b) In connection with any discount offered for prompt payment, time shall be computed from the date of the invoice. If the Contractor has not placed a date on the invoice, the due date shall be calculated from the date the designated billing office receives a proper invoice, provided GCSD annotates such invoice with the date of receipt at the time of receipt. For the purpose of computing the discount earned, payment shall be considered to have been made on the date that appears on the payment check or, for an electronic funds transfer, the specified payment date. When the discount date falls on a Saturday, Sunday, or a legal holiday when Federal Government offices are closed, and Government business is not expected to be conducted, payment may be made on the following business day.

## DISPUTES: (1) Choice-of-Forum. All disputes, claims, or controversies relating to the Agreement shall be resolved exclusively by the District’s Chief Procurement Officer in accordance with Title 11, Chapter 35, Article 17 of the South Carolina Code of Laws, or in the absence of jurisdiction, only in the Court of Common Pleas for, or a federal court located in, Florence County, State of South Carolina. As used in this paragraph, the term "Agreement" means any transaction or agreement arising out of, relating to, or contemplated by the solicitation.  (2) Service of Process. Contractor consents that any papers, notices, or process necessary or proper for the initiation or continuation of any disputes, claims, or controversies relating to the Agreement; for any court action in connection therewith; or for the entry of judgment on any award made, may be served on Contractor by certified mail (return receipt requested) addressed to Contractor at the address provided as the Notice Address on Page Two or by personal service or by any other manner that is permitted by law, in or outside South Carolina. Notice by certified mail is deemed duly given upon deposit in the United States mail.

## FALSE CLAIMS: According to the S.C. Code of Laws § 16-13-240, "a person who by false pretense or representation obtains the signature of a person to a written instrument or obtains from another person any chattel, money, valuable security, or other property, real or personal, with intent to cheat and defraud a person of that property is guilty" of a crime.

## FIXED PRICING REQUIRED: Any pricing provided by Contractor shall include all costs for performing the work associated with that price. Contractor’s price shall be fixed for the duration of this contract, including option terms, except as otherwise provided in this solicitation. This clause does not prohibit Contractor from offering lower pricing after award.

## NO INDEMNITY OR DEFENSE:  Any term or condition is void to the extent it requires GCSD to indemnify, defend, or pay attorney’s fees to anyone for any reason.

## NOTICE: (A) After award, any notices shall be in writing and shall be deemed duly given (1) upon actual delivery, if delivery is by hand, (2) upon receipt by the transmitting party of automated confirmation or answer back from the recipient's device if delivery is by telex, telegram, facsimile, or electronic mail, or (3) upon deposit into the United States mail, if postage is prepaid, a return receipt is requested, and either registered or certified mail is used. (B) Notice to Contractor shall be to the address identified on Cover Page. Notice to GCSD shall be to the Procurement Officer 's address on the Cover Page. Either party may designate a different address for notice by giving notice in accordance with this paragraph.

OPEN TRADE: During the contract term, including any renewals or extensions, Contractor will not engage in the boycott of a person or an entity based in or doing business with a jurisdiction with whom South Carolina can enjoy open trade, as defined in SC Code Section 11-35-5300.

PAYMENT & INTEREST: GCSD shall pay the Contractor, after the submission of proper invoices or vouchers, the prices stipulated in this contract for supplies delivered and accepted or services rendered and accepted, less any deductions provided in this contract. Unless otherwise specified herein, including the purchase order, payment shall not be made on partial deliveries accepted by GCSD. (b) Unless otherwise provided herein, including the purchase order, payment will be made by check mailed to the payment address on “Page Two.” (c) Notwithstanding any other provision, payment shall be made in accordance with S.C. Code Section 11-35-45, or Chapter 6 of Title 29 (real property improvements) when applicable, which provides the Contractor's exclusive means of recovering any type of interest from the Owner. Contractor waives imposition of an interest penalty unless the invoice submitted specifies that the late penalty is applicable. Except as set forth in this paragraph, GCSD shall not be liable for the payment of interest on any debt or claim arising out of or related to this contract for any reason. (d) Amounts due to GCSD shall bear interest at the rate of interest established by the South Carolina Comptroller General pursuant to Section 11-35-45 ("an amount not to exceed fifteen percent each year"), as amended, unless otherwise required by Section 29-6-30. (e) Any other basis for interest, including but not limited to general (pre- and post-judgment) or specific interest statutes, including S.C. Code Ann. § 34-31-20, are expressly waived by both parties. If a court, despite this agreement and waiver, requires that interest be paid on any debt by either party other than as provided by items (c) and (d) above, the parties further agree that the applicable interest rate for any given calendar year shall be the lowest prime rate as listed in the first edition of the Wall Street Journal published for each year, applied as simple interest without compounding. (f) The District shall have all its common law equitable and statutory rights of set-off.

## PAYMENT WITH PROPER INVOICE:  Invoices submitted for payment for goods or services provided under this contract shall contain, as a minimum, the following information:

- Name of business;

- Contract number or other authorization for delivery of service or property;

- Complete description per individual line item;

- Price and quantity of property or service delivered or executed;

- Shipping and payment terms;

- Name where applicable;

- Title, telephone number and complete mailing address of responsible official to whom payment is to be sent; and

- Other substantiating documentation of information as required by the contract;

Invoices shall be provided to Georgetown County School District at the address below. An itemized invoice shall be provided even if payment is made with a District purchasing card.

Georgetown County School District

Attn: Accounts Payable

2018 Church Street

Georgetown, SC 29440

During the term of the contract, if the District identifies items that have been overcharged, the Contractor shall reimburse the District the difference in the overcharge(s) plus an additional ten percent of the overages.  Repeated instances of overcharging the District may result in the contract being terminated.

PUBLICITY: Contractor shall not publish any comments or quotes GCSD employees, or include GCSD in either news releases or a published list of customers, without the prior written approval of the Procurement Officer.

PURCHASE ORDERS: Contractor shall not perform any work prior to the receipt of a purchase order from GEORGETOWN COUTNY SCHOOL DISTRICT. The District shall order any supplies or services to be furnished under this contract by issuing a purchase order. Purchase orders may be used to elect any options available under this contract, e.g., quantity, item, delivery date, payment method, but are subject to all terms and conditions of this contract. Purchase orders may be electronic. No form is required. An order placed pursuant to the purchasing card provision qualifies as a purchase order.

SURVIVAL OF OBLIGATIONS: The Parties' rights and obligations which, by their nature, would continue beyond the termination, cancellation, rejection, or expiration of this contract shall survive such termination, cancellation, rejection, or expiration, including, but not limited to, the rights and obligations created by the following clauses: Indemnification - Third Party Claims, Intellectual Property Indemnification, and any provisions regarding warranty or audit.

## TAXES: Any tax the Contractor may be required to collect or pay upon the sale, use or delivery of the products shall be paid by GCSD, and such sums shall be due and payable to the Contractor upon acceptance.  Any personal property taxes levied after delivery shall be paid by GCSD.  It shall be solely GCSD’s obligation, after payment to Contractor, to challenge the applicability of any tax by negotiation with, or action against, the taxing authority.  Contractor agrees to refund any tax collected, which is subsequently determined not to be proper and for which a refund has been paid to Contractor by the taxing authority. If the Contractor fails to pay, or delays in paying, to any taxing authorities, sums paid by GCSD to Contractor, Contractor shall be liable to GCSD for any loss (such as the assessment of additional interest) caused by virtue of this failure or delay. Taxes based on Contractor’s net income or assets shall be the sole responsibility of the Contractor.

## TERMINATION DUE TO UNAVAILABILITY OF FUNDS:  Payment and performance obligations for succeeding fiscal periods shall be subject to the availability and appropriation of funds therefore. When funds are not appropriated or otherwise made available to support continuation of performance in a subsequent fiscal period, the contract shall be canceled. In the event of a cancellation pursuant to this paragraph, Contractor will be reimbursed the resulting unamortized, reasonably incurred, nonrecurring costs. Contractor will not be reimbursed any costs amortized beyond the initial contract term.

## THIRD PARTY BENEFICIARY: This Contract is made solely and specifically among and for the benefit of the parties hereto, and their respective successors and assigns, and no other person will have any rights, interest, or claims hereunder or be entitled to any benefits under or because of this Contract as a third-party beneficiary or otherwise.

## WAIVER: GCSD does not waive any prior or subsequent breach of the terms of the Contract by making payments on the Contract, by failing to terminate the Contract for lack of performance, or by failing to strictly or promptly insist upon any term of the Contract. Only the acting Procurement Officer has actual authority to waive any of GCSD’s rights under this Contract. Any waiver must be in writing.

VII. Terms and Conditions – B. Special

## CHANGES: (1) Contract Modification. By a written order, at any time, and without notice to any surety, the Procurement Officer may, subject to all appropriate adjustments, make changes within the general scope of this contract in any one or more of the following:

(a) Drawings, designs, or specifications, if the supplies to be furnished are to be specially manufactured for GCSD in accordance therewith;

(b) Method of shipment or packing;

(c) Place of delivery;

(d) Description of services to be performed;

(e) Time of performance (i.e., hours of the day, days of the week, etc.); or,

(f) Place of performance of the services.

(g) Product upgrades and new products that are offered by manufacturer.

Subparagraphs (a) to (c) apply only if supplies are furnished under this contract. Subparagraphs (d) to (f) apply only if services are performed under this contract.

(2) Adjustments of Price or Time for Performance. If any such change increases or decreases the Contractor's cost of, or the time required for, performance of any part of the work under this contract, whether changed by the order, an adjustment shall be made in the contract price, the delivery schedule, or both, and the contract modified in writing accordingly. Any adjustment in contract price made pursuant to this clause shall be determined in accordance with the Price Adjustment Clause of this contract. Failure of the parties to agree to an adjustment shall not excuse the Contractor from proceeding with the contract as changed, provided that the District promptly and duly make such provisional adjustments in payment or time for performance as may be reasonable. By proceeding with the work, the Contractor shall not be deemed to have prejudiced any claim for additional compensation, or an extension of time for completion.

(3) Time Period for Claim. Within 30 days after receipt of a written contract modification under Paragraph (1) of this clause, unless such period is extended by the Procurement Officer in writing, the Contractor shall file notice of intent to assert a claim for an adjustment. Later notification shall not bar the Contractor's claim unless the District is prejudiced by the delay in notification.

(4) Claim Barred After Final Payment. No claim by the Contractor for an adjustment hereunder shall be allowed if notice is not given prior to final payment under this contract.

CISG:  The parties expressly agree that the UN Convention on the International Sale of Goods shall not apply to this agreement.

## COMPLIANCE WITH LAWS: During the term of the contract, Contractor shall comply with all applicable provisions of laws, codes, ordinances, rules, regulations, and tariffs.

## CONFERENCE – PRE-PERFORMANCE: Unless waived by the Procurement Officer, a pre-performance conference shall be held at a location selected by the District within five (5) days after final award, and prior to commencement of work under the contract. The responsibilities of all parties involved will be discussed to assure a meeting of the minds of all concerned. The successful Contractor or his duly authorized representative shall be required to attend at Contractor's expense.

CONTRACTOR'S LIABILITY INSURANCE – GENERAL (MODIFIED):(a) Without limiting any of the obligations or liabilities of Contractor, Contractor shall procure from a company or companies lawfully authorized to do business in South Carolina and with a current A.M. Best rating of no less than A: VII, and maintain for the duration of the contract, insurance against claims for injuries to persons or damages to property which may arise from or in connection with the performance of the work and the results of that work by the Contractor, his agents, representatives, employees or subcontractors.

(b) Coverage shall be at least as broad as:

(1) Commercial General Liability (CGL): Insurance Services Office (ISO) Form CG 00 01 12 07 covering CGL on an "occurrence" basis, including products-completed operations, personal and advertising injury, with limits no less than $1,000,000 per occurrence. If a general aggregate limit applies, the general aggregate limit shall be twice the required occurrence limit. This contract shall be an "insured contract" as defined in the policy.

(2) Auto Liability: ISO Form Number CA 00 01 covering any auto (Code 1), or if Contractor has no owned autos, hired, (Code 8) and non-owned autos (Code 9), with limits no less than $1,000,000 per accident for bodily injury and property damage.

(3) Worker's Compensation: As required by the State of South Carolina, with Statutory Limits, and Employer's Liability Insurance with limit of no less than $1,000,000 per accident for bodily injury or disease.

(c) Georgetown County School District, and the officers, officials, employees and volunteers, must be covered as additional insureds on the CGL policy with respect to liability arising out of work or operations performed by or on behalf of the Contractor including materials, parts or equipment furnished in connection with such work or operations. General liability coverage can be provided in the form of an endorsement to the Contractor's insurance at least as broad as ISO Form CG 20 10 11 85 or if not available, through the addition of both CG 20 10 and CG 20 37 if a later edition is used.

(d) For any claims related to this contract, the Contractor's insurance coverage shall be primary insurance as respects the District, and the officers, officials, employees and volunteers. Any insurance or self-insurance maintained by the District, or the officers, officials, employees and volunteers, shall be excess of the Contractor's insurance and shall not contribute with it.

(e) Prior to commencement of the work, the Contractor shall furnish the District if requested with original certificates and amendatory endorsements or copies of the applicable policy language effecting coverage required by this section. However, failure to obtain the required documents prior to the work beginning shall not waive the Contractor's obligation to provide them. The District reserves the right to require complete, certified copies of all required insurance policies, including endorsements required by this section, at any time.

(f) Should any of the above described policies be cancelled before the expiration date thereof, notice will be delivered in accordance with the policy provisions. In addition, the Contractor shall notify the District immediately upon receiving any information that any of the coverages required by this section are or will be changed, cancelled, or replaced.

(g) Contractor hereby grants to the District a waiver of any right to subrogation which any insurer of said Contractor may acquire against the District by virtue of the payment of any loss under such insurance.  Contractor agrees to obtain any endorsement that may be necessary to affect this waiver of subrogation, but this provision applies regardless of whether the District has received a waiver of subrogation endorsement from the insurer.

(h) Any deductibles or self-insured retentions must be declared to and approved by the District. The District may require the Contractor to purchase coverage with a lower deductible or retention or provide proof of ability to pay losses and related investigations, claim administration, and defense expenses within the retention.

(i) The District reserves the right to modify these requirements, including limits, based on the nature of the risk, prior experience, insurer, coverage, or other special circumstances.

CONTRACTOR PERSONNEL - OBLIGATION: Contractors are responsible for the conduct of their employees, representatives, agents and for their subcontractors’ as well as for their sub-subcontractor’s employees, representative and agents.  Suppliers are considered Contractors, subcontractors or sub-subcontractors when the performance of their work (including deliveries) is conducted on District property.  The Contractor shall enforce strict discipline and good order among all persons, regardless of their title, hired to carry out the Contract. The Contractor shall not permit employment of unfit persons or persons not skilled in tasks assigned to them.

Contractors are to ensure that their subcontractors, sub-subcontractors, as well as suppliers who meet the “Contractor, subcontractor or sub-subcontractor” definition above are advised of these requirements and comply with them.  These are mandatory conditions for doing business (whether directly or indirectly) with Georgetown County School District.  The District, at its discretion, may perform random compliance checks.  Any Contractor, subcontractor, sub-subcontractor, or supplier found not to be in compliance with these requirements shall result in termination of any existing contract or non-award of a contract.

- No drugs, alcohol, tobacco products, knives, firearms or other weapons on District property.

- No fraternizing with, threats to, use of abusive or profane language or improper attire or actions while on District property or adjacent thereto.

- Take all necessary precautions to ensure the safety of children and employees when performing contracted work or making/accepting deliveries on District property.

- Secure SLED (State Law Enforcement Division) criminal background checks on every employee, representative and agent performing work, making deliveries or in any other way conducting business on District property.  Ensure that no person having been convicted of violent crimes, crimes against children, illegal drug distribution, or other crimes of moral turpitude is assigned or performs work on District property.  SLED background checks shall be maintained on file at the main office of the Contractor and made available to District personnel or the District’s legal counsel immediately upon request. Awarded Contractor shall provide SLED background checks on all employees and/or subcontractors assigned to work on this project while on GCSD property within ten (10) days of Notice of Intent to Award.

- Not employ or contract with, during the performance of the contract, any illegal alien workers or otherwise violate the provisions of the federal Immigration Reform and Control Act of 1986, as may be amended.

- Not violate the provisions of the South Carolina Illegal Immigration Reform Act, as may be amended, beginning January 1, 2009, and abide by this Act regardless of the number of employees employed.  Participation in E-Verify through the Dept. of Homeland Security is required by the District regardless of the number of employees you employ.

- Provide picture ID badges for all persons performing work on District property and ensure they are always worn .  The ID shall include the name of the individual, his/her picture and the name of their employer.

## CONTRACTOR'S OBLIGATION – GENERAL: The Contractor shall provide and pay for all materials, tools, equipment, labor and professional and non-professional services, and shall perform all other acts and supply all other things necessary, to fully and properly perform and complete the work. The Contractor must act as the prime Contractor and assume full responsibility for any subcontractor’s performance.  The Contractor will be considered the sole point of contact regarding all situations, including payment of all charges and the meeting of all other requirements.

## CONTRACTOR’S USE OF DISTRICT PROPERTY: Upon termination of the contract for any reason, GCSD shall have the right, upon demand, to obtain access to, and possession of, all GCSD properties, including, but not limited to, current copies of all GCSD application programs and necessary documentation, all data, files, intermediate materials and supplies held by the Contractor. Contractor shall not use, reproduce, distribute, display, or sell any data, material, or documentation owned exclusively by GCSD without the written consent of the Procurement Officer, except to the extent necessary to carry out the work.

## DEFAULT:  (a)(1) GCSD may, subject to paragraphs (c) and (d) of this clause, by written notice of default to the Contractor, terminate this contract in whole or in part if the Contractor fails to-(i) Deliver the supplies or to perform the services within the time specified in this contract or any extension; (ii) Make progress, so as to endanger performance of this contract (but see paragraph (a)(2) of this clause); or (iii) Perform any of the other material provisions of this contract (but see paragraph (a)(2) of this clause). (2) The District's right to terminate this contract under subdivisions (a)(1)(ii) and (1)(iii) of this clause, may be exercised if the Contractor does not cure such failure within 10 days (or more if authorized in writing by the Procurement Officer) after receipt of the notice from the Procurement Officer specifying the failure.

(b) If GCSD terminates this contract in whole or in part, it may acquire, under the terms and in the manner the Procurement Officer considers appropriate, supplies or services similar to those terminated, and the Contractor will be liable to the District for any excess costs for those supplies or services. However, the Contractor shall continue the work not terminated.

(c) Except for defaults of subcontractors at any tier, the Contractor shall not be liable for any excess costs if the failure to perform the contract arises from causes beyond the control and without the fault or negligence of the Contractor. Examples of such causes include (1) acts of God or of the public enemy, (2) acts of the State in either its sovereign or contractual capacity, (3) fires, (4) floods, (5) epidemics, (6) quarantine restrictions, (7) strikes, (8) freight embargoes, and (9) unusually severe weather. In each instance the failure to perform must be beyond the control and without the fault or negligence of the Contractor.

(d) If the failure to perform is caused by the default of a subcontractor at any tier, and if the cause of the default is beyond the control of both the Contractor and subcontractor, and without the fault or negligence of either, the Contractor shall not be liable for any excess costs for failure to perform, unless the subcontracted supplies or services were obtainable from other sources in sufficient time for the Contractor to meet the required delivery schedule.

(e) If this contract is terminated for default, GCSD may require the Contractor to transfer title and deliver to the District, as directed by the Procurement Officer, any (1) completed supplies, and (2) partially completed supplies and materials, parts, tools, dies, jigs, fixtures, plans, drawings, information, and contract rights (collectively referred to as "manufacturing materials" in this clause) that the Contractor has specifically produced or acquired for the terminated portion of this contract. Upon direction of the Procurement Officer, the Contractor shall also protect and preserve property in its possession in which GCSD has an interest.

(f) GCSD shall pay contract price for completed supplies delivered and accepted. The Contractor and Procurement Officer shall agree on the amount of payment for manufacturing materials delivered and accepted and for the protection and preservation of the property; if the parties fail to agree, the Procurement Officer shall set an amount subject to the Contractor’s rights under the Disputes clause. Failure to agree will be a dispute under the Disputes clause. GCSD may withhold from these amounts any sum the Procurement Officer determines to be necessary to protect the District against loss because of outstanding liens or claims of former lien holders.

(g) If, after termination, it is determined that the Contractor was not in default, or that the default was excusable, the rights and obligations of the parties shall, if the contract contains a clause providing for termination for convenience of GCSD, be the same as if the termination had been issued for the convenience of GCSD. If, in the foregoing circumstances, this contract does not contain a clause providing for termination for convenience of GCSD, the contract shall be adjusted to compensate for such termination and the contract modified accordingly subject to the Contractor’s rights under the Disputes clause.

(h) The rights and remedies of GCSD in this clause are in addition to any other rights and remedies provided by law or under this contract.

## ILLEGAL IMMIGRATION:  (An overview is available at www.procurement.sc.gov)  By signing your offer, you certify that you will comply with the applicable requirements of Title 8, Chapter 14 of the South Carolina Code of Laws and agree to provide to the District upon request any documentation required to establish either:

## (a) that Title 8, Chapter 14 is inapplicable to you and your subcontractors or sub-subcontractors; or

## (b) that you and your subcontractors or sub-subcontractors are in compliance with Title 8, Chapter 14. Pursuant to Section 8-14-60, "A person who knowingly makes or files any false, fictitious, or fraudulent document, statement, or report pursuant to this chapter is guilty of a felony, and, upon conviction, must be fined within the discretion of the court or imprisoned for not more than five years, or both."  You agree to include in any contracts with your subcontractor’s language requiring your subcontractors to (a) comply with the applicable requirements of Title 8, Chapter 14, and (b) include in their contracts with the sub-subcontractor’s language requiring the sub-subcontractors to comply with the applicable requirements of Title 8, Chapter 14.

INDEMNIFICATION - THIRD PARTY CLAIMS - GENERAL: Notwithstanding any limitation in this agreement, and to the fullest extent permitted by law, Contractor shall defend and hold harmless Indemnitees for and against any and all suits or claims of any character (and all related damages, settlement payments, attorneys' fees, costs, expenses, losses or liabilities) by a third party which are attributable to bodily injury, sickness, disease or death, or to injury to or destruction of tangible property arising out of or in connection with the goods or services acquired hereunder or caused in whole or in part by any act or omission of Contractor, its subcontractors, their employees, workmen, servants, agents, or anyone directly or indirectly employed by them or anyone for whose acts any of them may be liable, regardless of whether or not caused in part by an Indemnitee, and whether or not such claims are made by a third party or an Indemnitee; however, if an Indemnitee’s negligent act or omission is subsequently determined to be the sole proximate cause of a suit or claim, the Indemnitee shall not be entitled to indemnification hereunder. Contractor shall be given timely written notice of any suit or claim. Contractor’s obligations hereunder are in no way limited by any protection afforded under workers’ compensation acts, disability benefits acts, or other employee benefit acts. This clause shall not negate, abridge, or reduce any other rights or obligations of indemnity which would otherwise exist. The obligations of this paragraph shall survive termination, cancelation, or expiration of the parties' agreement. This provision shall be construed fairly and reasonably, neither strongly for nor against either party, and without regard to any clause regarding insurance. As used in this clause, “Indemnitees” means Georgetown County School District, its instrumentalities, agencies, departments, boards, and all their respective officers, agents and employees.

LICENSES AND PERMITS: During the term of the contract, the Contractor shall be responsible for obtaining, and maintaining in good standing, all licenses (including professional licenses, if any), permits, inspections and related fees for each or any such licenses, permits and /or inspections required by the state, county, city or other government entity or unit to accomplish the work specified in this solicitation and the contract.

## MATERIAL AND WORKMANSHIP: Unless otherwise specifically provided in this contract, all equipment, material, and articles incorporated in the work covered by this contract are to be new and of the most suitable grade for the purpose intended.

## OWNERSHIP OF DATA & MATERIALS: All data, material and documentation either prepared for GCSD pursuant to this contract shall belong exclusively to GCSD.

## PERFORMANCE BOND REQUIRED:   Within ten (10) days after award, Contractor shall provide a performance bond in the full amount of the contract sum, issued by a surety company licensed in South Carolina, with an "A" minimum rating of performance as stated in the most current publication of "best's key rating guide, property liability" which shall show a financial strength rating of at least five (5) times the contract amount.  Each bond must be accompanied by a "power of attorney" authorizing the attorney in fact to bind the surety and certified to include the date of the performance bond.

## PRICE ADJUSTMENTS: (1) Method of Adjustment. Any adjustment in the contract price made pursuant to a clause in this contract shall be consistent with this Contract and shall be arrived at through whichever one of the following ways is the most valid approximation of the actual cost to the Contractor (including profit, if otherwise allowed):

(a) By agreement on a fixed price adjustment before commencement of the pertinent performance or as soon thereafter as practicable;

(b) By unit prices specified in the Contract or subsequently agreed upon;

(c) by the costs attributable to the event or situation covered by the relevant clause, including profit if otherwise allowed, all as specified in the Contract; or subsequently agreed upon;

(d) in such other manner as the parties may mutually agree; or,

(e) in the absence of agreement by the parties, through a unilateral initial written determination by the Procurement Officer of the costs attributable to the event or situation covered by the clause, including profit if otherwise allowed, all as computed by the Procurement Officer in accordance with generally accepted accounting principles, subject to the provisions of Title 11, Chapter 35, Article 17 of the S.C. Code of Laws.

(2)  Submission of Price or Cost Data. Upon request of the Procurement Officer, the Contractor shall provide reasonably available factual information to substantiate that the price or cost offered, for any price adjustments is reasonable, consistent with the provisions of Section 11-35-1830.

## PURCHASING CARD: Contractor agrees to accept payment by the Georgetown County School District Purchasing Card for no extra charge. The Purchasing Card is issued by Wells Fargo Bank. The purchasing card allows the District to make authorized purchases from a vendor without the requirement to issue a purchase order.

## RELATIONSHIP OF THE PARTIES: Neither party is an employee, agent, partner, or joint venture of the other. Neither party has the right or ability to bind the other to any agreement with a third party or to incur any obligation or liability on behalf of the other party.

RESTRICTIONS ON PRESENTING TERMS OF USE OR OFFERING ADDITIONAL SERVICES: (a) Citizens, as well as public employees (acting in their individual capacity), should not be unnecessarily required to agree to or provide consent to policies or contractual terms in order to access services acquired by the District pursuant to this contract (hereinafter “applicable services”) or, in the case of public employees, to perform their job duties; accordingly, in performing the work, Contractor shall not require or invite any citizen or public employee to agree to or provide consent to any end user contract, privacy policy, or other terms of use (hereinafter “terms of use”) not previously approved in writing by the Procurement Officer. Contractor agrees that any terms of use regarding applicable services are void and of no effect.

(b) Unless expressly provided in the solicitation, public contracts are not intended to provide Contractors an opportunity to market additional products and services; accordingly, in performing the work, Contractor shall not – for itself or on behalf of any third party – offer citizens or public employees (other than the Procurement Officer) any additional products or services not required by the contract.

(c) Any reference to Contractor in items (a) or (b) also includes any subcontractor at any tier. Contractor is responsible for compliance with these obligations by any person or entity that Contractor authorizes to take any action related to the work.

(d) Any violation of this clause is a material breach of contract. The parties acknowledge the difficulties inherent in determining the damage from any breach of these restrictions. Contractor shall pay the District liquidated damages of $1,000 for each contact with a citizen or end user that violates this restriction.

STORAGE OF MATERIALS: Absent approval of the District, Contractor shall not store items on the premises of the District prior to the time set for installation.

## TERM OF CONTRACT – EFFECTIVE DATE / INITIAL CONTRACT PERIOD: The effective date of this contract is the first day of the Maximum Contract Period as specified on the final statement of award. The initial term of this agreement is one (1) year from the effective date. Regardless, this contract expires no later than the last date stated on the final statement of award.

TERM OF CONTRACT – OPTION TO RENEW: (a) At the end of the initial term, and at the end of each renewal term, this contract shall automatically renew for a period of one (1) year, unless Contractor receives notice that the District elects not to renew the contract at least thirty (30) days prior to the date of renewal. Regardless, this contract expires no later than the last date stated on the final statement of award. (b) Contractor acknowledges that, unless excused by Section 11-57-320, if the Contractor is on the then-current Iran Divestment Act List as of the date of any contract renewal, the renewal will be void ab initio.

## TERM OF CONTRACT – TERMINATION BY CONTRACTOR: Contractor may terminate this contract at the end of the initial term, or any renewal term, by providing the Procurement Officer notice of its election to terminate under this clause at least ninety (90) days prior to the expiration of the then current term.

TERMINATION FOR CONVENIENCE: (1) Termination.  The Procurement Officer may terminate this contract in whole or in part, for the convenience of the District.  The Procurement Officer shall give written notice of the termination to the Contractor specifying the part of the contract terminated and when termination becomes effective.

(2) Contractor's Obligations.  The Contractor shall incur no further obligations in connection with the terminated work and on the date set in the notice of termination the Contractor will stop work to the extent specified.  The Contractor shall also terminate outstanding orders and subcontracts as they relate to the terminated work.  The Contractor shall settle the liabilities and claims arising out of the termination of subcontracts and orders connected with the terminated work.  The Procurement Officer may direct the Contractor to assign the Contractor's right, title, and interest under terminated orders or subcontracts to the District.  The Contractor must still complete the work not terminated by the notice of termination and may incur obligations as are necessary to do so.

(3) Right to Supplies.  The Procurement Officer may require the Contractor to transfer title and deliver to the District in the manner and to the extent directed by the Procurement Officer:  (a) any completed supplies; and (b) such partially completed supplies and materials, parts, tools, dies, jigs, fixtures, plans, drawings, information, and contract rights (hereinafter called "manufacturing material") as the Contractor has specifically produced or specially acquired for the performance of the terminated part of this contract.  The Contractor shall, upon direction of the Procurement Officer, protect and preserve property in the possession of the Contractor in which the District has an interest.  If the Procurement Officer does not exercise this right, the Contractor shall use best efforts to sell such supplies and manufacturing materials in accordance with the standards of Uniform Commercial Code Section 2-706.  Utilization of this Section in no way implies that the District has breached the contract by exercise of the Termination for Convenience Clause.

(4) Compensation.  (a) The Contractor shall submit a termination claim specifying the amounts due because of the termination for convenience together with cost or pricing data required by Section 11-35-1830 bearing on such claim.  If the Contractor fails to file a termination claim within one year from the effective date of termination, the Procurement Officer may pay the Contractor, if at all, an amount set in accordance with Subparagraph (c) of this Paragraph.

(b) The Procurement Officer and the Contractor may agree to a settlement and that the settlement does not exceed the total contract price plus settlement costs reduced by payments previously made by the District, the proceeds of any sales of supplies and manufacturing materials under Paragraph (3) of this clause, and the contract price of the work not terminated;

(c) Absent complete agreement under Subparagraph (b) of this Paragraph, the Procurement Officer shall pay the Contractor the following amounts, provided payments agreed to under Subparagraph (b) shall not duplicate payments under this Subparagraph:

(i) contract prices for supplies or services accepted under the contract;

(ii) costs reasonably incurred in performing the terminated portion of the work less amounts paid or to be paid for accepted supplies or services;

(iii) reasonable costs of settling and paying claims arising out of the termination of subcontracts or orders pursuant to Paragraph (2) of this clause.  These costs must not include costs paid in accordance with Subparagraph (c)(ii) of this paragraph;

(iv) any other reasonable costs that have resulted from the termination.  The total sum to be paid the Contractor under this Subparagraph shall not exceed the total contract price plus the reasonable settlement costs of the Contractor reduced by the amount of payments otherwise made, the proceeds of any sales of supplies and manufacturing materials under Subparagraph (b) of this Paragraph, and the contract price of work not terminated.

(d) Contractor must demonstrate any costs claimed, agreed to, or established under Subparagraphs (b) and (c) of this Paragraph using its standard record keeping system, provided such system is consistent with any applicable Generally Accepted Accounting Principles.

(5) Contractor's failure to include an appropriate termination for convenience clause in any subcontract shall not (i) affect the District's right to require the termination of a subcontract, or (ii) increase the obligation of the District beyond what it would have been if the subcontract had contained an appropriate clause.

VIII. Bidding Schedule / Price-Business Proposal: 1908010

BIDDING SCHEDULE (IFB): Submit the following price information on the follow document:

Name of Offeror as identified on the cover page:                              __________

(Full legal name of business submitting the offer)

Authorized Signature:

(Person signing must be authorized to submit binding offer to enter contract on behalf of Offeror named above.)

| Item | Quantity | Unit of Measure | Unit Price | Extended Price |
| --- | --- | --- | --- | --- |
| 1 | 1 | each | $ | $ |
| Manufacturer: |  |  |  |  |
| Item Description: Modular Classroom with unisex restroom; approximately 700 to 900 SF; turn-key as specified in IFB #1908010; Unit will be set-up and installed at Waccamaw Elementary School, 1364 Waverly Road, Pawleys Island, SC 29585. include your company’s standard Quote/Proposal that includes unit pricing for building, ramp, ADA steps, block & level building, delivery, drawings (wet stamped), SC Engineer of Record/OSF submittals, installation, skirting, cement board, labor to install awning, electrical connection, plumbing connection, Project Management per hour and Site Allowance. |  |  |  |  |

| Item | Quantity | Unit of Measure | Unit Price | Extended Price |
| --- | --- | --- | --- | --- |
| 2 | 1 | each | $ | $ |
| Manufacturer: |  |  |  |  |
| Item Description: Modular Office Building with unisex restroom; approximately 700 to 900 SF; turn-key as specified in IFB #1908010; Unit will be set-up and installed at an address in Pawleys Island TBD (lot was just purchased and address has not been assigned); include your company’s standard Quote/Proposal that includes unit pricing for building, ramp, ADA steps, block & level building, delivery, drawings (wet stamped), SC Engineer of Record/OSF submittals, installation, skirting, cement board, labor to install awning, electrical connection, plumbing connection, Project Management per hour and Site Allowance. |  |  |  |  |

IX. Attachments To Solicitation – LIST OF ATTACHMENTS

The following documents are attached to this solicitation:

GCSD VENDOR APPLICATION FORM

OFFEROR’S CHECKLIST

REQUIRED SUBMITTALS

“SEALED BID” LABELS

VENDOR PROFILE & QUESTIONNAIRE

Attachments To Solicitation –  “SEALED BID” LABELS

Cut along the outer border and affix this label to your envelope to identify it as a “Sealed Bid/Proposal”.  Be sure to include the name of the business submitting the offer.

| SEALED BID/PROPOSAL – DO NOT OPEN Solicitation No: 1908010 DELIVER TO: GEORGETOWN COUNTY SCHOOL DISTRICT Office of Procurement Services 2018 CHURCH STREET GEORGETOWN, SC 29440 Submitted by: NAME OF OFFEROR (Full legal name of business submitting the offer) |  |
| --- | --- |

| SEALED BID/PROPOSAL – DO NOT OPEN Solicitation No: 1908010 DELIVER TO: GEORGETOWN COUNTY SCHOOL DISTRICT Office of Procurement Services 2018 CHURCH STREET GEORGETOWN, SC 29440 Submitted by: NAME OF OFFEROR (Full legal name of business submitting the offer) |  |
| --- | --- |

VENDOR PROFILE & QUESTIONNAIRE

The Offeror must complete this profile & questionnaire which may be used in the evaluation process to help determine if an Offeror is responsible.

| Vendor Name |  |  |
| --- | --- | --- |
| Years in business under this name |  |  |
| Current licenses: |  |  |

REFERENCES

The references provided below should reflect services of similar scope and size within the last 3 years.

Reference #1

| Company Name |  |  |  |
| --- | --- | --- | --- |
| Address |  |  |  |
| City, State, Zip |  |  |  |
| Contact Name |  | Title |  |
| Contact Phone |  | E-Mail |  |
| Description & Date of Services |  |  |  |

Reference #2

| Company Name |  |  |  |
| --- | --- | --- | --- |
| Address |  |  |  |
| City, State, Zip |  |  |  |
| Contact Name |  | Title |  |
| Contact Phone |  | E-Mail |  |
| Description & Date of Services |  |  |  |

Reference #3

| Company Name |  |  |  |
| --- | --- | --- | --- |
| Address |  |  |  |
| City, State, Zip |  |  |  |
| Contact Name |  | Title |  |
| Contact Phone |  | E-Mail |  |
| Description & Date of Services |  |  |  |

| Procurement Office Use Only |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| VENODR ID # |  |  |  |  |  |  |  |  | INITIALS |  |  |  | DATE |
| GEORGETOWN COUNTY SCHOOL DISTRICT VENDOR APPLICATION FORM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BUSINESS FULL LEGAL NAME & ADDRESS: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | REMITTANCE ADDRESS (Attach a blank copy of your invoice.): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PHONE: |  |  |  |  |  |  |  |  |  | FAX: |  |  |  |  |  |  |  |  |  | PHONE: |  |  |  |  |  |  |  |  |  | FAX: |  |  |  |  |  |  |  |
| TOLL: |  |  |  |  |  |  |  |  |  | CELL: |  |  |  |  |  |  |  |  |  | TOLL: |  |  |  |  |  |  |  |  |  | CELL: |  |  |  |  |  |  |  |
| WEBSITE ADDRESS: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| EMAIL ADDRESS FOR ELECTRONIC PURCHASE ORDER TRANSMITTALS TO BE EMAILED: NAMES OF OWNERS, OFFICERS, PARTNERS AUTHORIZED TO BIND THE COMPANY: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| OWNER/PRESIDENT: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | PHONE: |  |  |  |  |  |  |  |  | FAX: |  |  |  |  |  |  |
| EMAIL ADDRESS FOR OWNER / PRESIDENT: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PARTNER: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | PHONE: |  |  |  |  |  |  |  |  |  |  | FAX: |  |  |  |  |  |
| SALES REPRESENTATIVE: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | PHONE: |  |  |  |  |  |  |  |  |  |  | FAX: |  |  |  |  |  |
| EMAIL ADDRESS FOR MAIN SALES CONTACT: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| INFORMATION ABOUT TYPE OF BUSINESS: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | INFORMATION ABOUT PRODUCTS / SERVICES: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TYPE: |  |  | Attorney |  |  |  |  |  |  |  |  |  |  | Partnership (LLP) |  |  |  |  |  | (Find “best fit” category(ies). Check all that apply.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (Check all that apply) |  |  | Construction (Inc.) |  |  |  |  |  |  |  |  |  |  | Partnership (not Inc.) |  |  |  |  |  |  |  |  | Books & Similar Materials |  |  |  |  |  |  |  |  | Furniture |  |  |  |  |  |
|  |  |  | Construction (not Inc.) |  |  |  |  |  |  |  |  |  |  | Research & Dev |  |  |  |  |  |  |  |  | Computer Hdwr / Software |  |  |  |  |  |  |  |  | Landscaping / Lawn Maint. |  |  |  |  |  |
|  |  |  | Corporation (Inc.) |  |  |  |  |  |  |  |  |  |  | Sales & Service |  |  |  |  |  |  |  |  | Construction (Specify Below) |  |  |  |  |  |  |  |  | Printing |  |  |  |  |  |
|  |  |  | Distributor / Dealer |  |  |  |  |  |  |  |  |  |  | Sales (only) |  |  |  |  |  |  |  |  |  | Electrical |  |  |  |  |  |  |  | Rentals (specify) Repairs(specify) |  |  |  |  |  |
|  |  |  | Governmental |  |  |  |  |  |  |  |  |  |  | #### Service Provider |  |  |  |  |  |  |  |  |  | Masonry |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Individual |  |  |  |  |  |  |  |  |  |  | #### Small Business |  |  |  |  |  |  |  |  |  | Mechanical / HVAC |  |  |  |  |  |  |  | Services (specify) |  |  |  |  |  |
|  |  |  | Manufacturer |  |  |  |  |  |  |  |  |  |  | Wholesaler / Retailer |  |  |  |  |  |  |  |  |  | Painting |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Medical Services |  |  |  |  |  |  |  |  |  |  | Other |  |  |  |  |  |  |  |  |  | Plumbing |  |  |  |  |  |  |  | Supplies (specify) |  |  |  |  |  |
| Are you subject to IRS 1099 reporting for income tax purposes? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Roofing |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Yes |  |  | No |  |  |  |  |  |  | I don’t know |  |  |  |  |  |  |  |  |  |  | Other (specify) |  |  |  |  |  |  |  | Telecommunications |  |  |  |  |  |
| STATUS: |  |  |  | Minority Owned * |  |  |  |  |  |  |  |  |  |  | Woman Owned * |  |  |  |  |  |  |  | Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| *Must be at least 51% owned/controlled by minorities (non-whites) or women. Check all that apply even if not State certified. SC Certification #: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Food Products |  |  |  |  |  |  |  |  | Vehicles / Trucks |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Other (specify) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| IDENTIFICATION AND CERTIFICATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| In compliance with Internal Revenue Service and State of South Carolina regulations, please provide us with the following taxpayer identification information. We are required by law to obtain this information when making a reportable payment to you. Failure to provide the information may subject future payments to a 31% backup withholding and $50 penalty. ** This serves as a substitute Federal W-9** |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| For individuals, enter social security number (SSN): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| For sole proprietors, enter owner’s SSN or Federal Employer’s Identification Number (FEIN): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| For partnerships, corporations or others, enter FEIN: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| For verification of sales tax collection authority, enter State of SC Sales Tax License Number: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Under penalties of perjury, I certify that the numbers provided above are true and correct and I am not subject to backup withholding because: (a) I am exempt, or (b) I have not been notified by the IRS that I am subject to backup withholding as a result of failure to report all interest or dividends, or (c) the IRS has notified me that I am no longer subject to backup withholding. I further certify that all information supplied herein is correct and the applicant nor anyone in connection with the applicant as a principal or officer, so far as is known, is now debarred, suspended or otherwise declared ineligible to do business with any agency of the State of South Carolina, the Federal government or Georgetown County School District. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Authorized Signatory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Print Name & Title |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Date Completed |  |  |  |

# BIDDER'S CHECKLIST

AVOID COMMON MISTAKES

Review this checklist prior to submitting your bid. Failure to follow this checklist may risk having your bid rejected.

- Do not include any of your standard contract forms or additional boilerplate contract clauses. Georgetown county school district will not recognize or sign alternate or substitute contracts. the terms and conditions stated in this solicitation becomes the contract after award!

- Make sure your bid does not contain any additions, deletions, or conditions.

- Make sure you have properly marked all protected, confidential, or trade secret information in accordance with the instructions entitled: SUBMITTING CONFIDENTIAL INFORMATION. do not mark your entire bid as confidential, trade secret, or protected!

- All corrections made by bidder must be initialed by the bidder prior to submitting.

- Have you properly acknowledged all amendments?

- Have you completed the vendor application?

- Make sure your bid includes a copy of the solicitation cover page and is signed (in ink) by a person that is authorized to contractually bind your business.

- Make sure your Bid includes the correct number of copies requested.

- Make sure your Bid includes everything requested!

- If this solicitation includes a pre-bid/proposal conference or a question & answer period, raise your questions as a part of that process!  After opening, it is too late!  Please see instructions under the heading "submission of questions" and any provisions regarding pre-bid conferences.

This checklist is included only as a reminder to help Bidders avoid common mistakes. Responsiveness will be evaluated against the solicitation, not against this checklist.

You do not need to return this checklist with your response.

END OF SOLICITATION