City of Lebanon

Request for Proposals
RFP # 18-LED LIGHTING 2/15
*City of Lebanon reserves the right to reject all or any part of any RFP*

The City of Lebanon is exempt from State Tax and Federal Exercise Tax.

NO PROPOSALS RECEIVED AFTER CLOSING WILL BE ACCEPTED.

The City of Lebanon invites sealed bids for LED lighting, in accordance with the specifications and bidding instructions set forth in this Request for Proposals. Bids will be received by the Purchasing Department, 200 N. Castle Heights Avenue, Lebanon, Tennessee 37087, until 10:00 a.m. local time, February 15, 2018, at which time they will be opened and read aloud.

Please identify as a sealed proposal with stamped on the outside of the envelope “RFP #18-LED LIGHTING 2/15”

Any questions in regard to this proposal should be directed to Lisa Lane, Purchasing Agent, (615) 443-2802.

A copy of the bid tabulation will be available upon written request to the Purchasing Department.

Any manufacturers’ names, trade names, brand names, or catalog numbers used in the specifications are for the purpose of describing and establishing general quality levels.  Such references are not intended to be restrictive.  Since the “City” does not wish to rule out other competition and equal brands or makes, please remember “ANY APPROVED EQUAL”.  HOWEVER, IF A PRODUCT OTHER THAN SPECIFIED IS BID, IT IS THE VENDORS RESPONSIBILITY TO PROVE TO THE “CITY” THAT SAID PRODUCT IS EQUAL TO OR EXCEEDS THE QUALITY OF THE SPECIFICATIONS LISTED FOR ANY ITEM.

The City of Lebanon is an equal opportunity entity and does not discriminate on the basis of age, race, sex, national origin, religion or disability in admission to, access to, or operations of its programs, services, activities, or in its awarding of such bids.

1. SCOPE AND CLASSIFICATION

1.1 Scope:  The intent of this Request for Proposal and resulting contract is to provide the City of Lebanon with information concerning LED lighting.

1.2 Classification:  The LED lighting specifications shall be of the following types either “equal to “or “better than”.

2. SPECIFICATIONS

SPECIFICATIONS

(17)-LED Mongoose Comparison Part Number: MGLED54KAHMHVGAO RFD246777
· MGLED, 5 Modules

· 4000K CCT

· Auto-Sensing (347-480V)

· Medium Roadway

· High 27 to 45 Degrees

· Vertical Arm

· Vitracoat Super Durable Gray with Field Adjustable Output

LED High Mast:  (12) HMLED3 Pk3 40K HVolt G AW AO
· HMAO LED III (HMLED3):  HMLED3,

· 63,000 lumens

· 4000K

· Autosensing 347V-480V

· Grey Super Durable

· Area wide

· Field Adjustable Output

LED Teardrop: (8) MPL2 P20S 40K AS BK TG 3 P R PCLL

· Memphis Tear Drop Teardrop LED 2 Series (MPL2)

· 10,000 lumens

· 3 COBs

· 4000K CCT

· Auto-sensing voltage (120 thru 277)

· 50/60 HZ

· Black

· Teardrop glass and door

· Type 3 Asymmetric Distribution

· Threaded top opening

· 1.50IN NPT

· NEMA Twist Lock Photocontrol Receptacle (3 pin)

· Extended life option with AS (120-277v only)

QUANTITY


UNIT COST

TOTAL
17-Mongoose


$_____________
$_____________

12-LED High Mast

$_____________
$_____________

8-LED Teardrop

$_____________
$_____________

1-Freight Charges

$_____________
$_____________
Total






$_____________

Price all items delivered to our location*

3. WARRANTY 

Bidders shall state the warranty period on the bid pricing form.  

4. DELIVERY

The vendor must state their delivery.

5. EXCEPTIONS

The above are minimum specifications.  If there are any exceptions to these specifications, please make any notations to the right of that spec. and the exceptions will have to be approved by the department.  

6. BID PRICE

TOTAL MATERIAL BID $_______________________

_________________________                      

Brand & Model Number
Fixture




      
6.2    Delivery  _____________________

Warranty ___________________________________

Company Name and Authorized Representative

Address and Contact Phone Number  

