# Invitation to Bid – Five Row Bleachers

# November 2, 2016

# Solicitation # 444-1116-16

Bids , subject to the technical specifications and conditions contained herein and attached hereto, will be received in the City Manager’s Office, City Hall, until, but no later than 2:00 P.M.CST November 24, 2016, and then publicly opened for a Bleacher Project.

If you are an individual with a disability and require a reasonable accommodation or have additional questions regarding this invitation, please notify the Assistant Finance Director, Danny King at (931) 560-1580.

# Bid Proposal Instructions

The bid shall contain an acknowledgement of receipt of all Addenda (the numbers of which shall be filled in on the BID Form). All addenda will be posted online at www.columbiatn.com/government/finance/purchasing/. It shall be the bidders responsibility to check the website for addenda.

Bids shall be submitted at the time and place indicated above and shall be in a sealed envelope, marked:

# Project title. Five Row Bleacher

# For bidders submitting bids for both fabrication and onsite assembly

Bid envelopes must conform to the requirements of T.C.A.  62-6-119; whereas,   the total or aggregate bid on all properties equals or exceeds $25,000 the outside of the bid envelope shall display the name of the contractor, their license number, the date of license expiration and the license classification. Bid envelopes not containing all of the following information shall be rejected as non- compliant.

Bidder's name and address.

Bidder's Tennessee Contractor’s  License Number.

Bidder's License Expiration Date.

Bidder's License Classification.

- GENERAL SCOPE

The City of Columbia is seeking bids from qualified firms or individuals to furnish non-elevated five row bleachers.  The bleachers will be non- anchored and resting on firm, flat, level ground. Each bleacher section shall accommodate 90 – 100 people. The City anticipates purchasing seven such bleacher sections; however, the City reserves the right to change the quantity purchased upon award.

Installation and erection of the bleachers may be performed by City employees; however, an alternate add to the bid for assembly and erection of the bleachers is requested.

2.       GENERAL CONDITIONS

  - Acceptance of Bids: The City of Columbia reserves the right to reject any and all bids, to waive any informal technicalities or defects, the scope and nature of which it shall be the sole judge, in any bid, insofar as such technicality or defects do not legally, materially or substantially change such bid. The said City, unless otherwise specified by the bidder, reserves the right to accept any item on bid.

    - If the bidder fails to state the time within which a bid must be accepted, it is understood and agreed that said City shall have ninety (90) days from bid opening date in which to accept bid.

  - Error in Bid: In case of error in the extension prices in the bid, the unit price governs. No bid shall be altered, amended or withdraw, unless the acceptance date has expired, after the opening date of bids. Negligence on the part of the bidder in preparing the bid confers no right for withdrawal of the bid after it has been opened.

2.3	Discount Period: Time in connection with discount offered will be computed from   the date of delivery, or from the date correct invoices are received, whichever date is later. Discount other than “Time Discounts” shall be shown on the face of the proposal sheet under “Terms”.

2.4	Sample of Materials: Samples of items, when requested, must be furnished free of expense to the City, at the time bids are opened or later if such are called for after the bids have been opened, and if such samples are not destroyed in the process of sampling, they will be returned at the bidder’s expense.

2.5	Signatures on Bids: Each bid must contain the full name and business address of the bidder. Any person signing a proposal sheet for himself or as agent, employee or officer of another must show his title and, if requested by the City shall furnish proof of his authority to make such proposal.

2.6	Alternate Bids: Alternate bids will be considered proving such items that appear on such bids meet specifications. Where equivalent items are bid upon, said City reserves the sole right in determining whether they meet specifications.

2.7	Proposal Sheets: Bidders shall use the proposal sheets furnished by the City. Failure to submit this sheet as required shall render the proposal invalid. Proposal sheets must contain prices on per unit and aggregate basis and the total amount of the bid must be stated on the proposal sheet.

2.8	Federal or State Sales, Excise or Use Tax: Every bid shall separately state and set forth, therein the amount of any and all Federal and State sales, excise or use taxes included in the bid prices. If any such taxes are included in the prices bid, the City reserves the right in making the award to deduct any amount of such taxes thereof. Where labor is required, the bidder shall state separately the amount of labor and materials.

2.9	Delivery: The number of calendar days in which delivery will be made after contract is executed and purchase order placed shall be stated in the bid. When the bidder states no time delivery, it is understood and agreed that delivery is to be made within fifteen (15) days after receipt of order, unless otherwise stated in the specifications.

2.10 	Compliance: Contractor shall abide by all federal, state and local laws and statues and obtain all permits required in number seventeen (17) of these conditions.

2.11	 Specifications: It is understood that reference to attached specifications shall be sufficient to make the terms of such specifications binding on the contractor. In some instances, the name of the manufacturer, a special brand, or make of an item is used in describing the item or items desired; but this does not restrict the bidder to that manufacturer or specific article, this means being used simply to indicate the character or quality of the article or service desired; but the articles or service on which the proposal are submitted must be equal to that specified, and a statement to that effect shall be made a part of the proposal. Where conflict occurs between the requirement or the General Conditions and the specifications, the requirements of the specifications will govern.

2.12	Inspection: Final inspection and acceptance or rejection will be made at the time of delivery, but all products and workmanship shall be subject to inspection and test at all times and places. The right is reserved to reject articles that contain defective material and workmanship. Rejected materials shall be removed by and at the expense of the contractor promptly after notification of rejection. The City shall not be obligated to pay the full price for any items that do not meet specifications; however, payment may be made at a proper reduction in price.

2.13	Bid Opening: Bids may be mailed or delivered to the Purchasing Agent, City Manager’s Office of the City of Columbia, Tennessee. All bids will be opened and publicly read at a time specified on the Proposal Sheet. Bids received after the specified time for opening, as shown on the invitation to bid, will not be accepted.

2.14	Cancellation: The City reserves the right to cancel an accepted bid or contract in whole or in part due to nonperformance or defective products.

2.15	Permit Requirements: Successful bidder will be responsible for securing any necessary permits for complying with all required inspections whether local state or federal.

2.16	Multi-Year Contracts: The City reserves the right to enter into multi –year contracts and further has the right to terminate multi year contracts due to non-appropriation of funds.

2.17	Financial Statements: Financial statements will be submitted upon request.

2.18	Term of Payment: Payment will be made in full after the satisfactory receipt of goods, materials, supplies, and equipment. Payment will be made in full upon satisfactory completion of all contractual services, public improvements and/or construction. Executed contracts must specifically state if there is any partial payment or other deviation from this method of payment.

  - Complaints – Vendors

    - Vendors shall have the right to present a complaint, dispute or grievance concerning unfair treatment, contracts, deliveries, payments, restrictions, and other incidents. The following steps are intended to provide uniform procedures for a vendor to express a problem and obtain remedy.

      - Step One – Vendor must file a grievance with the Purchasing Agent no later than seven (7) calendar days after the occurrence of the dispute or incident. The complaint must be in writing and include all supporting data and desired solution or remedy. The Purchasing Agent will review the complaint with the user department and provide a written reply within thirty (30) days to the vendor.

      - Step Two – If the vendor is not satisfied wit the Purchasing Agent’s response, the vendor may appeal in writing to the City Manger, who shall with the advice of the Purchasing Agent and/or City Attorney, make a written determination to all parties involved. The City Manager’s decision shall be final.

- INSURANCE AND BONDS

The awarded Proposer shall purchase and maintain in force, at his own expense, such insurance as will protect him and the City from claims which may arise out of or result from the execution of the work, whether such execution be by himself, his employees, agents, subcontractors, or by anyone for whose acts any of them may be liable. The insurance coverage shall be such as to fully protect the Owner, the City and the general public from any and all claims for injury and damage resulting by any actions on the part of the contractor or his forces as enumerated above.

The awarded Proposer shall furnish prior to bid award a copy of an original Certificate of Insurance, naming City of Columbia as an additional insured. Should any of the policies be cancelled before the expiration date, the issuing company will mail 30 days written notice to the certificate holder.

The awarded Proposer shall furnish proof of insurance in satisfactory limits, and on forms and of companies that are acceptable to the City of Columbia and shall require and show evidence of insurance coverage on behalf of any subcontractors (if applicable), before entering into any agreement to sublet any part of the work to be done as a result of awarding this bid.

The following insurance requirements are the minimum that will be acceptable:

Worker’s Compensation Insurance – State statutory limits.

Commercial General Liability – Including products and completed operations coverage and contractual liability on the amount of $1,000,000 CSL (combined single limit).

Commercial Automobile Liability including owned, non-owned and hired car in the amount of $1,000,000 CSL.

5. LAWS, TAXES AND INDEMINIFACTION

The awarded Proposer shall comply with all applicable local, State and Federal laws. The awarded Proposer is further responsible for all taxes, including employment taxes, associated with providing services under any resulting contract. The awarded Proposer agrees to hold harmless and indemnify the City for any and all losses the City may sustain as a results of the actions of the awarded proposer, his employees, or any subcontractors hired under any resulting award.

6. 	TIME IS OF THE ESSENCE – Time is of the essence in the performance of a resulting bid award. Repeated delays shall be interpreted as failure to meet obligations and shall be cause for cancellation of any purchase orders issued or contracts that may be executed as a result of a bid award. It is expected that work be completed on this project within 60 days after the NOTICE TO PROCEED is issued.

7.    PAYMENT – Payments will be made within fifteen days after:

a. Completion and acceptance of all work

b. Inspection by a City of Columbia representative to be named.

c. Presentation of a proper invoice

8. INTERPRETATIONS

All questions about the meaning or intent of the Contract Documents shall be submitted to PURCHASING AGENT in writing.  Replies will be issued by Addendum mailed or delivered to all parties recorded by PURCHASING AGENT as having received the Bidding Documents.  Questions received less than ten days prior to the date for opening of BIDs will not be answered.  Only questions answered by formal written Addenda will be binding.  Oral and other interpretations or clarifications will be without legal effect.

9. EVALUATION OF BIDS

a. Experience, reputation and financial stability of the bidder – 20 %

b. Compliance with specifications – 20%

c.  Installation timeline – 20%

d. Costs – 40%

e.  Total costs delivered or total cost erected will be considered by the City at the time of bid opening. The City reserves the right to award the bid to the lowest, compliant, responsible bidder based upon the decision to erect or not erect with in-house personnel.

The awarded vendor will be required to execute an agreement incorporating the terms and conditions of this invitation to bid and the bidders response.

## PART 1	Non-elevated Five Row Bleachers

1.01	Scope of Work

Design and fabricate non-elevated angle frame bleachers sections as described herein. Furnish and ship completed sections and all hardware required for final erection to the worksite. Provide written manufacturer’s instruction and shop drawings for bleacher sections.

Alternate bid is also requested to complete the assembly and erections of the bleacher onsite.

  - Submittals

Bidders with any deviation from the specifications must submit along with the bid a written explanation of any and all deviations.  Failure to comply with this requirement is subject to immediate rejection of said bid.

- Seating plan indicating aisles, walkways, seating sections. – All bidders

- End elevation indicating riser and row depth, deck configuration, railings, size of framing members. – All bidders

- Bid Form as furnished – All bidders

- Non- Collusion Statement – All bidders

- Drug Free Workplace Affidavit – Only if onsite assembly is bid)

- Insurance Certificate as required

  - Design Criteria

- Applicable Codes:

  - International Building Codes (IBC) 2012 Edition

- Seating Capacity :

  - 5 row , 33 foot bleacher

  - Net seating capacity 98

- Design Loads:

Live Load	       100 psf	uniform load to structural member

120 plf	seatboards

120 plf	footboards (individually)

Horizontal  Wind Speed    150 mph

Sway	         24 plf	parallel to seat run

10 plf	perpendicular to seats

Guardrail Loads 	       100 plf  uniform vertical

50 plf  uniform horizontal load

200 lbs concentrated horizontal load

- Understructure Criteria:

  - Welded aluminum angle frames spaced at no more than 6 ft 0 inches and joined by aluminum sway braces of allow 6061-T6 , mil finish.

  - Each frame consist of vertical members and adequate diagonals braces and horizontal members to form an 8” rise and a 24” back to back spacing between seat rows.

  - All welded connections shall be by a certified aluminum welder and welded on all sides to assure adequate strength.

  - After fabrication all steel shall be hot dipped galvanized to ASTM a-1 23 specifications.

- Seating and Decking Criteria:

  - Seats shall be 2” x 10” nominal extruded 6063-T6 anodized aluminum alloy with raised fluted non-slip surface and anodized end caps.

  - Seat planks shall have one internal support leg designed to rest on a seat support with a minimum bearing surface of 8 ½ “.

  - Risers boards for rows 2-4 shall be nominal 1” x 6” mil finished aluminum extrusions, allow 6063-T6

  - Risers boards for row 5 shall be nominal 2” x 10” mil finished aluminum extrusions, allow 6063-T6

  - Seat height shall be 17” above respective tread.

  - Rise and Depth Dimensions – 8” vertical rise and 24” tread depth.

  - One 54 “ wide aisle located within the bleachers with aisle stiffners angles to strengthen aisle steps

  - First seat board shall be 17” off grade.

- Guardrail Criteria

  - Rails shall be 1 ¼” schedule 40,anodized aluminum alloy 6105-T5 tubing with end plugs and elbows as required.

  - All plugs and fittings shall be cast aluminum

  - Rear and side railing support member shall be aluminum channel.

  - Chain link fencing to be 9 gauge , 2”mesh galvanized chain link fabric

  - Hardware

- All required structural hardware necessary for the erection of the bleachers described herein shall be included.

- All nuts and bolts shall be hot-dipped galvanized or stainless steel.

- Hold down clips assemblies shall be aluminum alloy 6063-T6 mil finish

- Channel end caps shall be aluminum alloy 6063-T6 clear anodized 204R1

- Chain link system shall include heavy duty tension bands, tension bars, brace bands, wire ties and combo rail endcaps.

  - Quality Assurance

A.	Manufacturer:  Company specializing in spectator seating with a minimum of 10 years’ experience in manufacturing bleacher seating.

- Warranty:  Structural components shall be guaranteed for one year (1) year against defects in materials and workmanship and three (3) years on the finish of plank extrusions.

- Detailed Certificate of Insurance, including products/completed operations liability insurance, shall be provided.

B I D

CITY OF COLUMBIA, TENNESSEE

700 NO GARDEN STREET

COLUMBIA, TENNESSEE  38401

Five Row Bleacher Purchase

Solicitation 444-1016-16

BIDDER hereby agrees to perform all Work required to complete the contract  as specified in detail in these specifications for Price indicated below, complete including all incidentals and appurtenances thereto.

I further acknowledge addenda _____. ____,_____,_____

BIDDER: _________________________________________________________

Fabricate and deliver non-elevated bleachers  (per section ) $ _________________

Total Bid    (section price times 7)                                             $ __________________

Alternate Bid 1. Onsite erection of fabricated

and delivered bleachers ( per section)                   	               $_________________

Type / Brand of System Bid: __________________________________________

Signature : ________________________________________________________

Title : ____________________________________________________________

Date: _________________________

STATEMENT OF NON-COLLUSION

Five Row Bleachers

Solicitation 444-1116-16

I, _____________________________________, being first duly sworn deposes and says:

As a partner, owner  or officer of the firm of, etc.) the party making the foregoing bid, that such bid is genuine and not collusive or sham; that said bidder has not colluded, conspired, connived or agreed directly or indirectly, with any bidder or person, to put in a sham bid or to refrain from bidding, and has not in any manner, directly or indirectly, sought by agreement or collusion, or communication or conference, with any person, to fix the bid price of affiant or of any other bidder, or to fix any overhead, profit or cost element of said price, or of that of any other bidder, or to secure any advantage against the City of Columbia Tennessee  or any person interested in the proposed contract; and that all statements in said bid are true.

By ______________________________________________

Title:____________________________________________

(Affix Corporate Seal if required)

Subscribed and sworn before me this _______ day of ________________, __________.

My commission expires

_______________________________________________

Notary Public

DRUG-FREE WORKPLACE AFFIDAVIT

The undersigned, principal officer of ___________________________________

an employer of five (5) or more employees contracting with the City of Columbia Tennessee to provide construction services, hereby states under oath as follows:

1. The undersigned is a principal officer of ________________________________________________________________

(hereinafter referred to as the “Company”), and is duly authorized to execute this

Affidavit on behalf of the Company.

2. The Company submits the Affidavit pursuant to T.C.A. § 50-9-113, which requires each employer with no less than five (5) employees receiving pay who contracts with the state or any local government to provide construction services to submit an affidavit stating that such employer has a drug-free workplace program that complies with Title 50, Chapter 9, of the Tennessee Code Annotated.

3. The Company is in compliance with T.C.A. § 50-9-113.

Further affiant saith not.

__________________________________________________

Principal Officer

STATE OF ________________________________

COUNTY OF ______________________________

Before me personally appeared __________________________________, with whom I am personally acquainted (or proved to me on the basis of satisfactory evidence), and who acknowledged that such person executed the foregoing affidavit for the purposes therein contained. Witness my hand and seal at office this _____________ day of _______________,20____.

_________________________________________

Notary Public

My commission expires: ____________________________