[image: image1.png]



REQUEST FOR PROPOSALS

BACKFLOW PREVENTER 
ELIZABETHTON BOYS AND GIRLS CLUB
APRIL 9, 2018
Request For Proposals:
The City of Elizabethton, Tennessee is requesting proposals for installation of a backflow preventer device on a fire line. Evaluations will be based on compliance with specifications, cost, service, warranty, vendor experience, and performance. Location of work will be:
Elizabethton Boys and Girls Club
104 Hudson Drive

Elizabethton, TN 37643

General Description:
Provide labor and all material for the installation for the following:
1. The City of Elizabethton Water Resources Department requires the backflow prevention device to be a Reduced Pressure Principal Detector Assembly of a manufacturer and design approved by the University of Southern California Foundation for Cross-Connection Control and Hydraulic Research and sized appropriate to the fire protection system installed by the facility.

2. Excavate and Expose the six (6) inch fire sprinkler line located between the main road and the CVS Pharmacy parking lot.

3. Form and pour a concrete support at both locations of the piping to be cut.

4. Cut the piping and stub up each end, install the backflow preventer, backfill and compact the excavated area, form and pour a concrete pad for the hot box.

5. Furnish and install a Non-Heated Hot Box.

6. Test and certify the backflow preventer.

7. Contractor shall maintain either/or a mechanical contractor’s license or a contractor’s license.  A copy shall be submitted with the bid.

Miscellaneous:
· All proposals should explain any exceptions and/or additions to the specifications 
required or desired in order to allow the City to properly evaluate all proposals.

· Successful bidder to state proposed time of project to begin and finish based on when purchase order and approval to perform work is given.
· Vendor must include with proposal, on a separate sheet a minimum of three references where similar work has been performed, listing name, address, telephone number, and contact person.                                                  

Bidder Requirements:
· Contractor and Subcontractor’s public liability, workman’s Compensation, vehicle liability and property damage insurance will be required after determining winning bid. 

· Contractor must be properly licensed and bonded in accordance with the laws, rules and regulations of the State of Tennessee, Carter County, and the City of Elizabethton to perform the work within the scope of the described project.
Insurance Requirements:
The contractor shall procure and maintain for the duration of the contract, at his/her own cost and expense, insurance against claims for injuries to persons or damages to property including contractual liability that may arise in connection with the performance of the work by the contractor, his agents, representatives, 
employees or subcontractors under this agreement. The insurance carrier(s) must be licensed to conduct business in the state of Tennessee. The insurance will be evidenced by certificates of insurance. The certificate shall include wording that 

states the City be notified thirty days prior to cancellation of the coverage or a 
major change in the coverage provided. The contractor will either verify the listed coverage(s) for all subcontractors hired by the contractor to assist with the project, or the contractor will assume total financial responsibility for uninsured claims of the subcontractor.  The City shall be held harmless for any injuries, claims or judgments against the subcontractor. Certificates for liability coverages shall name the City as an additional insured. The following coverages may be required by successful bidder prior to work being performed.
___
Workers' compensation:  a certificate shall be provided that indicates the contractor provides workers' compensation coverage in compliance with the state laws of Tennessee.

___
General Liability Insurance with a minimum limit of $1,000,000 per occurrence with $1,000,000 annual aggregate.  This insurance shall indicate on the certificate of insurance the following coverages:

Broad Form Contractual

Independent Contractor and sub-contractors

Premises-Operations

Additional coverages and limits may be required based upon the particular services contracted. If such additional coverages and limits are required for a specific contract, those requirements will be described in the special conditions of the contract specifications.  Further, it is highly 
recommended that the City require the contractor to secure a standard endorsement to their (the contractor’s) general liability policy that makes the coverage limits apply PER PROJECT.

___
Automobile Liability Insurance with minimum limits of $1,000,000 per occurrence unless otherwise indicated in the "special conditions" of the contract specifications.  This insurance shall include bodily injury and property damage for the following coverages:

owned automobiles

hired automobiles

non-owned automobiles

Submitting Requirements:
Proposals will be received in the Purchasing Director’s Office of the City of Elizabethton, 136 South Sycamore Street, Elizabethton, Tennessee 37643, until 11:00 AM on May 2nd, 2018.  Any proposals received after this date will not be considered. Proposal must be submitted on company letterhead. The proposal is to be signed and dated by a person authorized by the firm to submit bids and proposals. Return envelopes to be marked in the lower left hand corner “Backflow Preventer, Due Date May 2, 2018.”

Cancellation and/or Rejection Policy:
The City of Elizabethton reserves the right to reject any or all proposals, to waive informalities and to accept the proposal or proposals in its judgment is in the best interest of the City.  The City of Elizabethton does not discriminate on the basis of race, creed, color, national origin, sex, religion, age or disability status in employment or the provision of services.

Contact Person:
Jonathan Pleasant 423-297-4736
Greg Workman 423-542-1505

� EMBED AcroExch.Document.7  ���








2
1

[image: image2.png]


_1244633238.pdf





