SHIP HOUSING REPAIR

ESCAMBIA COUNTY

	OWNER:
	Emmet Heape
	
	JOB #:
	S-R-2019-1

	ADDRESS:
	215 Hermey Avenue
	
	DATE PREPARED:
	11-19-2018

	
	
	
	OPENING DATE:
	11-21-2018

	PHONE: 
	850-602-3646
	
	CLOSING DATE:
	12-07-2018

	
	
	
	CLOSING TIME:
	12:00 noon


I/(we) certify that I/(we) have carefully examined the Housing Repair Specifications and Contractor Requirements related to the above referenced job, as furnished by Escambia County, and I/(we) have also examined the site on which the proposed work is to be performed. On the basis of these examinations, I (we) propose to furnish all materials, tools, machinery and labor necessary to complete the work in a professional, workmanship manner and to complete the work at the prices listed.

	$
	
	

	TOTAL JOB COST
	
	CONTRACTOR’S SIGNATURE

	
	
	
	

	
	
	
	TITLE

	
	
	
	

	BID OPENING DATE:
	
	
	FIRM

	 FORMCHECKBOX 
 ACCEPTED
	 FORMCHECKBOX 
 REJECTED
	
	

	
	
	
	FIRM PHONE NUMBER

	
	
	
	

	BID COMMITTEE REPRESENTATIVE
	
	


REQUIRED PERMITS AND INSPECTIONS:                                                                                            Siding and Windows  
	Type of Construction:
	Wood frame
	Year Built: 1948

	


All measurements are for reference only and should be confirmed by the bidder

Mandatory on Site Pre-Bid Conference: Friday, November 30, 2018 at 8:30 a.m.
INSTRUCTIONS TO BIDDERS
Submit COVER SHEET AND ALL NUMBERED PAGES OF SPECIFICATIONS with signature of Contractor and bid price in ink. Specifications in pencil will be rejected.  Bids must be in a sealed envelope and hand-delivered to Neighborhood Enterprise Division Office, 221 Palafox Place (Ernie Lee Magaha Government Building), Suite 200, Pensacola, FL 32502 office by 12:00 noon at the closing date specified. NO email or fax submissions will be accepted. 

The bids will be opened by the Bid Committee and bid will be awarded based upon the lowest eligible bidder with the most reasonable combined bid for the work specified. Itemized pricing may be used for negotiation in the event of a change in the scope of work as described within the Specifications.

Labor, overhead, permits, insurance, and profit must be included into each itemized price and not listed as a separate itemized price or listed under “miscellaneous.” Non-compliance will result in rejection of bid.

All repair work performed must be inspected (rough and final) and conform to County Ordinances, State Laws, and Florida Building Code.

The Contractor is responsible for proper reattachment/hook-up of any/all of the following that apply: appliances, existing coaxial cable, telephone and interface, electric, water, and sewage.

HOMEOWNER’S RESPONSIBILITIES AND OBLIGATIONS

The Homeowner is responsible for maintaining existing utilities for the Contractor’s use during the rehabilitation period.

The Homeowner is responsible for the removal of all belongings/furnishings from the designated work areas prior to the start date.  The Contractor is not responsible for removal of Homeowner’s trash and/or discarded belongings or furnishings.

PAYMENT SCHEDULE

Payment will be lump sum at project completion for bids $15,000.00 and under.  For bids over $15,000.00, contractor will be eligible for a 40% draw once 50% of the work is completed as determined by the itemized costs for the job.

The Contractor will be eligible for Final Payment after the following conditions have been fulfilled:


Completion of Write-Up



Inspection/Sign-off by Building Inspections and/or Health Department



Acceptance by the Homeowner (Homeowner’s Release & Warranty) 



Warranty Paper provided to the Homeowner 



Premises free from all construction debris



Submission of RRP Checklist Form & Contractor’s Final Affidavit


Original Invoice from Contractor
                        Surety’s Consent to Final Payment if applicable

COMPLETION DATE

There is a THIRTY (30) day time limit on each rehabilitation job. For every day worked in excess of the THIRTY (30) day contract period, a FIFTY DOLLAR ($50.00) per day penalty will be assessed.

ESCAMBIA COUNTY NEIGHBORHOOD ENTERPRISE DIVISION

HOUSING REPAIR PROGRAMS

CONTRACTOR REQUIREMENTS

If your firm is awarded the bid for housing repair (SHIP or HUD programs), the following items must be current and on file in order to issue a Purchase Order. 


*Current W9 (less than one year old).

*County Vendor Information sheet (less than one year old).

*Worker’s Compensation as required by State Law OR exemption form.


*Commercial General Liability ($1,000,000 coverage) listing Escambia County as 
Certificate Holder and additional insured. 

*Automobile Liability ($1,000,000 coverage) listing Escambia County as Certificate 
Holder and additional insured. 

GL and Auto Liability Certificates must state the following under the Additional Interest: 

Escambia County

C/O Neighborhood Enterprise Division

221 Palafox Place 

Suite 200

Pensacola, FL 32502-5844
All correspondence should be directed to Neighborhood Enterprise Division, 221 Palafox Place, Suite 200, Pensacola, FL 32502 for review.






*For jobs valued at $25,000 or higher, 100% Performance and Payment Bonds will be required. Performance and Payment Bond format will be provided. 

Contractor will be responsible for the recording of all bonds with Pam Childers, Clerk of The Circuit Court of Escambia County Florida.
Refer to BCC Office of Purchasing Risk Management Guidelines Procedure No: PP-180 (Performance and Payment Bonds) and PP-185 (Risk Management Guidelines) for further details. [http://www.myescambia.com/business/purchasing-policies-and-procedures]
Additionally, Neighborhood Enterprise Division will maintain the following info in the Contractor’s file:


*Contractor may not be federally debarred from participating in programs as per 
www.sam.gov 

*State registered or State Certified Contractor License

*Escambia County Competency Board License

*Escambia County Business/Occupational License 

*EPA RRP Renovator and Firm Certifications

Firms bidding on Lead Based Paint Abatement jobs must also submit proof of Lead Abatement firm certification.    

All information must be current at time of award. IF INFORMATION CANNOT BE PRODUCED IN A TIMELY MANNER, THE COUNTY RESERVES THE RIGHT TO AWARD THE BID TO THE NEXT MOST RESPONSIVE BIDDER.
                                                                                                                                                SHIP Housing Repair Program Specifications
Emmet Heape
215 Hermey Avenue
Pensacola, FL 32507
PAGE 1
GENERAL:
▪ The subject Housing Unit was built prior to 1978 and therefore is a “targeted property” under the EPA’s RRP Rule, as some painted surfaces may be disturbed.                                   Therefore the implementation of “safe work practices” is required along with submittal by the RRP Contractor of “Renovation Recordkeeping Checklist” form
▪ There is no Federal Funding on this project. 

GENERAL EXTERIOR REPAIRS:
Remove 5 existing windows, reframe openings to fit new windows, install new windows, windows are to be furnished by homeowner. There will not be any implied warranty on windows.

Install window sealing tape around windows as required.

Install house wrap as required, approximately 650 square feet.
Install fiber cement siding to match existing siding with associated trim approximately 1400 square feet, detach and reset electrical and low voltage as required.

Prep, prime and paint with one finish coat the exterior of the house including siding, cornice and trim work, H.O. has paint colors.
Replace base trim on front porch post. 

Complete cornice system including soffit vent and associated trim, approximately 70 lineal feet on the perimeter of the house.
Open ridges and install approximately 30 lineal feet of shingle over ridge vent.                   Note: homeowner has shingles.

Re-glaze broken insulated upper sash in window on front of house 

Remove old building material debris from back yard, there is approximately 2 pickup loads.
General exterior repair total $___________________
ADDENDUM 1 WINDOW AND DOOR PROTECTION

Install hurricane protection on windows and doors as per Escambia County Code.
Protection maybe metal or fabric type.

Window and door protection total $_______________

TOTAL JOB COST $__________________________
(TO FRONT COVER)
