City of Lebanon

Request for Proposal

RFP # 17-ODOR CONTROL 04/11
*City of Lebanon reserves the right to reject all or any part of any RFP*

The City of Lebanon is exempt from State Tax and Federal Exercise Tax.

NO PROPOSALS RECEIVED AFTER CLOSING WILL BE ACCEPTED.

The City of Lebanon invites sealed proposals to provide odor control, in accordance with the specifications and bidding instructions set forth in this Request for Proposals. Bids will be received by the Purchasing Department, 200 N. Castle Heights Avenue, Lebanon, Tennessee 37087, until 10:00 a.m. local time, April 11, 2017, at which time they will be opened and read aloud.

Please identify as a sealed proposal with stamped on the outside of the envelope RFP #17-ODOR CONTROL 04/11”

Any questions in regard to this proposal should be directed to Lisa Lane, Purchasing Agent, (615) 443-2802.

A copy of the bid tabulation will be available upon written request to the Purchasing Department.

Any manufacturers’ names, trade names, brand names, or catalog numbers used in the specifications are for the purpose of describing and establishing general quality levels.  Such references are not intended to be restrictive.  Since the “City” does not wish to rule out other competition and equal brands or makes, please remember “ANY APPROVED EQUAL”.  HOWEVER, IF A PRODUCT OTHER THAN SPECIFIED IS BID, IT IS THE VENDORS RESPONSIBILITY TO PROVE TO THE “CITY” THAT SAID PRODUCT IS EQUAL TO OR EXCEEDS THE QUALITY OF THE SPECIFICATIONS LISTED FOR ANY ITEM.

The City of Lebanon is an equal opportunity entity and does not discriminate on the basis of age, race, sex, national origin, religion or disability in admission to, access to, or operations of its programs, services, activities, or in its awarding of such bids. All vendors must be incompliance with all City Codes and current with all City fees and taxes in order to be considered as a responsive bidder or participant in this process.
1. SCOPE AND CLASSIFICATION

1.1 Scope:  The intent of this Request for Proposals and resulting contract is to provide the City of Lebanon with information concerning odor control.

1.2 Classification:  The odor control specifications shall be of the following types either “equal to “or “better than”.

2. SPECIFICATIONS

LOCATION:

To provide odor control services to Leeville Pike Pump Station, and the gravity line located down stream of it; Summercrest #6, Stewarts Ferry (Gladeville) #39 and the Plantation South #31 pump stations locations. 

NOTES:

1. Proposal shall be either chemical provide or by on-site generation of an odor control agent.

2. Bid will awarded by the price, past history of equipment reliability and vendor, service, and delivery of this.  All categories will be a factor of this bid.  Bid must be returned on our bid forms.  All forms must be returned with the bid sheets.  Additional brochures may accompany our bid sheets for additional clarification and information.

SPECIFICATIONS:

LEEVILLE PIKE:

1. The odor control shall provide H²S Control at the pump station on a monthly average of 2ppm measured at the fence of the front entrance.

2. It shall be capable of having a dissolved sulfide of below .5ppm on a weekly average and H²S of less than 1ppm on a weekly average.  The measuring location of these standards is a manhole @ 2930 Leeville Pike. 
3. The company will be responsible for monitoring H²S on a minimum of a monthly basis to prove compliance.

4. A monthly report shall be provided to the Water/Sewer Manager or Operations Superintendent.

5. The company will be responsible for operation and maintenance of all equipment for a period of five (5) years.

6. Failure to meet standards for two (2) consecutive weeks can result in the cancellation of the contract with a 30 day notice.  Cancellation of the contract for the non-performance shall be solely the decision of the Sewer Collection Manager. 

7. The company must provide either odor control chemicals or by on-site generation of an odor control agent.
SPECIFICATIONS:

PLANTATION SOUTH:

ScrubDry SD-100 single vessel unit must include:

· Single Vessel:  polyethylene, cylinder drum with the fan placed before the vessel, forcing the odorous air into each vessel
· Each vessel dimensions=22”D x 34” H

· Fan & Motor Setup:  100 cfm @5” wg

· ½ hp electric TEFC motor, power requirement:

· 115/1/60, max amps=10

· Piping system setup: 4” pickup on pump station

· 4” piping to fan, 4” piping into single vessel, 3” piping outlet

· System weight: approximately 400 lbs.

· (Two of these per year) Drum shall contain approximately 6 ft³ of ScrubDry carbon media;

· 3 ft³ of SulfurCarb media

· 3 ft³ of SewerCarb media

· Note:  Any product that is equal to or exceeds the above specifications.
STEWARTS FERRY

STX system will include:

· One chemical feed pump skid with one pump for STX catalyst and one for H202.

· One single wall HDPE tank (220 gals) for STX Catalyst and one double walled tank (405 gals) for the H202.

· Miscellaneous materials and installation.

· Note:  Any product that is equal to or exceeds the above specifications.
SUMMER CREST


STX system will include:

· One chemical feed pump skid with one pump for STX catalyst and one for H202.

· One single wall HDPE tank (550 gals) for STX Catalyst and one double walled tank (550 gals) for the H202.

· Miscellaneous materials and installation.

· Note:  Any product that is equal to or exceeds the above specifications.
ADDITIONAL ITEMS NEEDED:

1. Copy of Liability & Worker’s Comp. Insurance

2. Drug Free Workplace Letter

3. Non-hiring of illegal immigrants letter

4. Copy of business license

5. Copy of three references from previous customers

Any questions you can contact Jim Creswell (Sewer Department Operations Superintendent) (615) 444-0825 ext. 5120.
Specify Which:
Name of Chemical(s) being used _____________________________




Or 

Name of on-site generation of an odor control agent being used 


___________________________________ 
Vendor must supply to the department all MSDS sheets for chemical or odor being used at site.

COST:


Leeville Pike Monthly:
$__________________________


Plantation South Monthly:
$__________________________

(includes to units of carbon per year)


Additional unit of carbon
$__________________________


Stewarts Ferry Monthly:
$__________________________


Summer Crest Monthly:
$__________________________


TOTAL:


$__________________________

When entering ALL Pump Station, all safety precautions must be used in performing tasks.  Hard hats, safety goggles, safety harnesses, etc. must be worn on-site.

1. EXCEPTIONS

The above are minimum specifications.  If there are any exceptions to these specifications, please make any notations to the right of that spec. and the exceptions will have to be approved by the department.  

Company Name and Authorized Representative
______________________________________________________________

Address and Contract Phone Number 

______________________________________________________________

After hours emergency contact name and phone number  

