APENDIX – BSM	BID SCOPE MATERIALS or Equivalent

Roofing 		CertainTeed, Landmark

Flooring – LVP		Shaw, Torino Plus Floorte 500RG

Carpet			Shaw, Burghley 2 - 60oz. – 6lbs. Pad

Sink, Kitchen		Double bowl aluminum drop-in

Sink, Vanity		Round ceramic drop-in

Faucet, Kitchen	Delta, B4310lf-SS

Faucet, Bathroom	Delta, 520-SSMPU-DST

Faucet, Tub		Delta, T13420-SS

Faucet, Shower	Delta, T13220-SS

Tub			American Standard Solar, (60x30)

Tub Surround		Sterling, 61044100-0 (60x31.5) with corresponding tub

Shower		Aquatic, AX160304PS-WH

Toilet	American Standard Cadet 3, comfort height, elongated 1.28-GPF with new braded supply line

Hot Water Heater	A.O. Smith 100, 40 gallon

Kitchen Hood		Broan 40000, 160cfm

Bathroom Fan		Broan QK60s, 60cfm

Ceiling Fan		Hampton Bay, Glendale AM2120

Kitchen Light		Commercial Electric, 54663141

Bath Light		Hampton Bay, V1124-79

Hall Light		Hampton Bay, FZP8012-A

Coach Light		Newport Coastal, 7974-01B

Ext. Ceiling Light	Hampton Bay, WB0325

Light Bulbs		LED

Gutter			6” Aluminum with 4” downspouts