{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Crane Report 1-15-2019","Totals By Type","Mixer Jibs"],"not_rendered":{"defined_names":3,"pivot_tables":1},"read":"whole","date_system":"1900"}

{"sheet":"Crane Report 1-15-2019","index":0,"n_rows":184,"n_cols":13,"rows_kept":184,"merged":[[1,1,1,2]]}
[]
["·","as a general rule these cranes are in service 24/7 supporting operating equipment and cannot be load tested"]
[]
[]
["No.","Equipment Tag No.","Description","Serial No.","Location","Sub-location 1","Sub-location 2","Sub-location 3","Manufacturer","Model No.","Building Name","Address1","Type"]
[1,"ABWB-CRANE-01","CRANE, MONO, 2 TON HOIST FOR BWW PUMP","","AWT","ABWB","BACKWASH WASTE TANK NO. 1","EAST END OF TANK","YALE HOISTS","925-07400CF LTP2","BACKWASH BLDG.","3326 S. GLEBE RD.","MONO"]
[2,"ASE1-CRANE-BREAKER","LIFT HOIST,BREAKER, CUTLER HAMMER, 650 LB., MANUAL","A7529","SEC","ASE1","DC03","-","THERN","462","ASE1 PUMPING STATION","3462 S. GLEBE RD.","MOBILE LIFT DEVICE"]
[3,"ASE1-CRANE-BRIDGE-8TON","CRANE, BRIDGE, 8 TON, ASE L PUMPS, ELEC HOIST","004918","SEC","ASE1","FIRST","-","HARRINGTON","2153","ASE1 PUMPING STATION","3462 S. GLEBE RD.","BRIDGE"]
[4,"BIO-CRANE","CRANE, BRIDGE, 5 TON, BIO, ELEC, OVER PRESSES","1185","SL","BIO","PRESS","FIFTH","P+H","SBPN-8WH 5 TON","BIO SLUDGE PROC BLDG","538 S. 31ST ST.","BRIDGE"]
[5,"BIO-CRANE-HOIST-01","CRANE, MONO, HOIST #1,, BIO, ELEC TROLLEY 2 TON","AZ225352","SL","BIO","PRESS","FIFTH","YALE HOISTS","2 TON","BIO SLUDGE PROC BLDG","538 S. 31ST ST.","MONO"]
[6,"BIO-CRANE-HOIST-02","CRANE, MONO, HOIST #2, BIO, ELEC TROLLEY, 2 TON","JF290CND","SL","BIO","PRESS","FIFTH","COFFING","DUFF NORTON","BIO SLUDGE PROC BLDG","538 S. 31ST ST.","MONO"]
[7,"DON-CRANE-01","CRANE, 2 TON ELEC CHAIN HOIST & TROLLEY FOR MOTORS","PO # BH10019-4","LS","DON","CONTROL ROOM","-","HARRINGTON","ERG020LD","DONALDSON RUN STA.","2929 N. MILITARY RD.","HOIST"]
[8,"DON-CRANE-02","CRANE, 3 TON ELEC CHAIN HOIST & TROLLEY, FOR GEN","AT2-105-OE-2","LS","DON","GENERATOR ROOM","-","COFFING","3 TON","DONALDSON RUN STA.","2929 N. MILITARY RD.","HOIST"]
[9,"DON-CRANE-DAVIT-01","CRANE, DAVIT, SUMP PUMP #1","-","LS","DON","PUMP ROOM","NEAR SUMP ON NORTH WALL","HALLIDAY PRO","3/4\" SS","DONALDSON RUN STA.","2929 N. MILITARY RD.","JIB"]
[10,"DON-CRANE-DAVIT-02","CRANE, DAVIT, SUMP PUMP #4","-","LS","DON","PUMP ROOM","NEAR SUMP ON NORTH WALL","HALLIDAY PRO","3/4\" SS","DONALDSON RUN STA.","2929 N. MILITARY RD.","JIB"]
[11,"DON-CRANE-HOIST","CRANE, CHAIN FALL UNIT","-","LS","DON","PUMP ROOM","-","YALE HOISTS","-","DONALDSON RUN STA.","2929 N. MILITARY RD.","MOBILE LIFT DEVICE"]
[12,"DOV-CRANE-01","CRANE, 1 TON ELECT CHAIN HOIST & TROLLEY, PUMP RM","PO # BH10019-4","LS","DOV","PUMP ROOM","CEILING","HARRINGTON","ERG010SD","DOVER RUN PUMP STA.","2801 N. QUEBEC ST.","HOIST"]
[13,"DOV-CRANE-02","CRANE, ELECT MAN HOIST, CONTROL  RM","-","LS","DOV","CONTROL ROOM","CEILING - SOUTHWEST CORNER","BUDGIT","MANGUARD BEH0116","DOVER RUN PUMP STA.","2801 N. QUEBEC ST.","HOIST"]
[14,"DOV-CRANE-DAVIT-01","CRANE (HOIST) SUMP PUMP #1","-","LS","DOV","PUMP ROOM","NEAR SUMP","HALLIDAY PRO","3/4\" SS","DOVER RUN PUMP STA.","2801 N. QUEBEC ST.","HOIST"]
[15,"DOV-CRANE-DAVIT-02","CRANE (HOIST) SUMP PUMP #2","-","LS","DOV","PUMP ROOM","NEAR SUMP","HALLIDAY PRO","3/4\" SS","DOVER RUN PUMP STA.","2801 N. QUEBEC ST.","HOIST"]
[16,"DOV-CRANE-DAVIT-03","CRANE HOIST, 500 LB, WETWELL ACCESS ROOM","5010-56960","LS","DOV","WETWELL ACCESS ROOM","-","THERN","5122M1","DOVER RUN PUMP STA.","2801 N. QUEBEC ST.","HOIST"]
[17,"DWB-CRANE-BINBTTM-01A","CRANE, MONORAIL, 1900 LB, BINBOTTOM CONV #1A","","SL","DWB","BIN BOTTOM ROOM","SECOND","","MONORAIL LOW-HEAD TROLLEY","DEWATERING BLDG.","3208 S. EADS ST.","MONO"]
[18,"DWB-CRANE-BINBTTM-01B","CRANE, MONORAIL, 1900 LB, BINBOTTOM CONV #1B","","SL","DWB","BIN BOTTOM ROOM","SECOND","","MONORAIL LOW-HEAD TROLLEY","DEWATERING BLDG.","3208 S. EADS ST.","MONO"]
[19,"DWB-CRANE-BINBTTM-02A","CRANE, MONORAIL, 1900 LB, BINBOTTOM CONV #2A","","SL","DWB","BIN BOTTOM ROOM","SECOND","","MONORAIL LOW-HEAD TROLLEY","DEWATERING BLDG.","3208 S. EADS ST.","MONO"]
[20,"DWB-CRANE-BINBTTM-02B","CRANE, MONORAIL, 1900 LB, BINBOTTOM CONV #2B","","SL","DWB","BIN BOTTOM ROOM","SECOND","","MONORAIL LOW-HEAD TROLLEY","DEWATERING BLDG.","3208 S. EADS ST.","MONO"]
[21,"DWB-CRANE-BINBTTM-03A","CRANE, MONORAIL, 1900 LB, BINBOTTOM CONV #3A","","SL","DWB","BIN BOTTOM ROOM","SECOND","","MONORAIL LOW-HEAD TROLLEY","DEWATERING BLDG.","3208 S. EADS ST.","MONO"]
[22,"DWB-CRANE-BINBTTM-03B","CRANE, MONORAIL, 1900 LB, BINBOTTOM CONV #3B","","SL","DWB","BIN BOTTOM ROOM","SECOND","","MONORAIL LOW-HEAD TROLLEY","DEWATERING BLDG.","3208 S. EADS ST.","MONO"]
[23,"DWB-CRANE-BINBTTM-04A","CRANE, MONORAIL, 1900 LB, BINBOTTOM CONV #4A","","SL","DWB","BIN BOTTOM ROOM","SECOND","","MONORAIL LOW-HEAD TROLLEY","DEWATERING BLDG.","3208 S. EADS ST.","MONO"]
[24,"DWB-CRANE-BINBTTM-04B","CRANE, MONORAIL, 1900 LB, BINBOTTOM CONV #4B","","SL","DWB","BIN BOTTOM ROOM","SECOND","","MONORAIL LOW-HEAD TROLLEY","DEWATERING BLDG.","3208 S. EADS ST.","MONO"]
[25,"DWB-CRANE-CENT","CRANE, BRIDGE, 7.5 TON, DEWATERING CENTRIFUGE RM","W318580A","SL","DWB","CENTRIFUGE ROOM","FOURTH","ACCO CHAIN","TRDG-71/2,EEW7.5-71DM25/8D2","DEWATERING BLDG.","3208 S. EADS ST.","BRIDGE"]
[26,"DWB-CRANE-DRY","CRANE, 2 TON, DRY CHEM ROOM","N/A","SL","DWB","POLYMER ROOM","-","","N/A","DEWATERING BLDG.","3208 S. EADS ST.","HOIST"]
[27,"DWB-CRANE-DRYPOLY-01","CRANE, 2 TON, DEWATERING POLYMER DRY CHEM ROOM","K139622","SL","DWB","POLYMER ROOM","SECOND","YALE HOISTS","KEL2-28RT-11 /2 TON","DEWATERING BLDG.","3208 S. EADS ST.","HOIST"]
[28,"DWB-CRANE-DRYPOLY-02","CRANE, 2 TON, DEWATERING POLYMER DRY CHEM ROOM","K139062","SL","DWB","POLYMER ROOM","SECOND","YALE HOISTS","KEL2-28RT71/252","DEWATERING BLDG.","3208 S. EADS ST.","HOIST"]
[29,"DWB-CRANE-FLOOR-MOBIL","PORTABLE FLOOR CRANE, 1 TON","LD40982","SL","DWB","SECOND","SECOND","","50","DEWATERING BLDG.","3208 S. EADS ST.","MOBILE LIFT DEVICE"]
[30,"DWB-CRANE-HOIST-CF-01","MONORAIL MANUAL CHAIN HOIST","N/A","SL","DWB","SECOND","SECOND","CM HOISTS","622","DEWATERING BLDG.","3208 S. EADS ST.","MONO"]
[31,"DWB-CRANE-JIB-01","JIB CRANE with 1/2 TON hoist","58046721","PRI","DWB","FIRST FLOOR","-","KONECRANES","JIB","Dewatering Building","3208 S. Eads Street,","HOIST"]
[32,"DWB-CRANE-JIB-02","JIB CRANE with 1/2 TON hoist","58039789","PRI","DWB","FIRST FLOOR","-","KONECRANES","JIB","Dewatering Building","3208 S. Eads Street,","HOIST"]
[33,"DWB-CRANE-MOBIL-01","CRANE, MOBIL FLOOR, 1 TON","003051","SL","DWB","LIME STABLIZATION ROOM","SECOND","BEECH","B2000CW","DEWATERING BLDG.","3208 S. EADS ST.","MOBILE LIFT DEVICE"]
[34,"DWB-CRANE-MOBIL-02","CRANE, MOBIL FLOOR, 1/2 TON","LD40982","AWT","DWB","BOILER ROOM","SECOND","","50","DEWATERING BLDG.","3208 S. EADS ST.","MOBILE LIFT DEVICE"]
[35,"DWB-CRANE-MOBIL-03","MOBIL FLOOR CRANE, 1 TON","LD40982","SL","DWB","SECOND","SECOND","","50","DEWATERING BLDG.","3208 S. EADS ST.","MOBILE LIFT DEVICE"]
[36,"DWB-CRANE-WELLJIB","CRANE, DAVIT JIB OVER WELL MIXER, 1/2 TON","A8058","SL","DWB","SLUDGE WELL","-","THERN","M4022PB","DEWATERING BLDG.","3208 S. EADS ST.","JIB"]
[37,"EFDS-CRANE-MIXR-01","CRANE, SUBMERSIBLE MIXER, 400 LB.","","SEC","EFDS","SOUTHWEST CORNER OF STRUCTURE","-","THERN","M4312PB","E. FLOW DISTR STRUC","3422 S. GLEBE RD.","JIB"]
[38,"FADF-CRANE-01","CRANE, BRIDGE, 5 TON, FOR LIFTING BLOWERS","ID# BH9971","AWT","FADF","BLOWER ROOM","-","READING CRAN","UR/SG/DM W/YALE BEW5X26RT15S4","FILT & DISINFEC FAC.","3322 S. GLEBE RD.","BRIDGE"]
[39,"FADF-CRANE-02","CRANE, BRIDGE, 5 TON, FOR LIFTING BACKWASH PUMPS","ID# BH9971","AWT","FADF","PUMP ROOM","-","READING CRAN","UR/SG/DM W/YALE BEW5X26RT8S4","FILT & DISINFEC FAC.","3322 S. GLEBE RD.","BRIDGE"]
[40,"FADF-CRANE-03","CRANE,2 TON MONO,ELEC WIRE ROPE HOIST,MOTOR TROLLY","","AWT","FADF","FILTER BUILDING","PUMP ROOM","YALE HOISTS","BEW2-21RT14D2","FILT & DISINFEC FAC.","3322 S. GLEBE RD.","MONO"]
[41,"FADF-CRANE-04","CRANE,1.5 TON, ELEC CHAIN HOIST,MOTORIZED TROLLEY","","AWT","FADF","FILTER BUILDING","PIPE GALLERY","YALE HOISTS","BEW2X17RT16D2","FILT & DISINFEC FAC.","3322 S. GLEBE RD.","HOIST"]
[42,"FADF-CRANE-05","CRANE, 1/4 TON, DAVIT FOR HYPO MIXER #1","","AWT","FADF","-","-","MASTRRR","SS42-500","FILT & DISINFEC FAC.","3322 S. GLEBE RD.","JIB"]
[43,"FADF-CRANE-06","CRANE, 1/4 TON, DAVIT FOR HYPO MIXER #2","","AWT","FADF","-","-","MASTRRR","SS42-500","FILT & DISINFEC FAC.","3322 S. GLEBE RD.","JIB"]
[44,"FCPS-CRANE-01","CRANE, 2 TON MONO, ELECTRIC, FIRST FLOOR","","SEC","FCPS","-","-","-","","FOAM COLL PUMP STA","3420 S. GLEBE RD.","MONO"]
[45,"FCPS-CRANE-02","CRANE FOR FOAM PUMPS, 1 TON, MANUAL, BASEMENT","","SEC","FCPS","-","-","-","","FOAM COLL PUMP STA","3420 S. GLEBE RD.","MONO"]
[46,"FEQ1-CRANE-JIB","CRANE, JIB ATOP FEQ1 TANK, 1/4 TON","N/A","PRI","FEQ","-","-","","N/A","FLOW EQUAL PMP STA","3145 S. FERN ST.","JIB"]
[47,"FEQ2-CRANE-JIB","CRANE, JIB ATOP FEQ2 TANK, 1/4 TON","","PRI","FEQ2","FEQ TANK #2","-","GORBEL INC","FS300NP6","FLOW EQUAL TANK #2","3155 S. FERN ST.","JIB"]
[48,"FEQ3-CRANE-JIB","CRANE, JIB ATOP FEQ3 TANK, 1/4 TON","","PRI","FEQ3","FEQ TANK #3","-","GORBEL INC","FS300NP6","FLOW EQUAL TANK #3","3175 S. FERN ST.","JIB"]
[49,"FMRL-CRANE-01","CRANE, MONORAIL OUTSIDE, 2 TON, ELEC","LEW3-122-THD","PRI","FMRL","-","-","YALE HOISTS","LEW2-25CT21/7P2","FOUR MILE RUN STA","3115 S. FERN ST.","MONO"]
[50,"FMRL-CRANE-02","CRANE, MONORAIL OUTSIDE, 1/2 TON, ELEC","LEW3B-121-THD","PRI","FMRL","-","-","YALE HOISTS","LEW1-44NT28/P2","FOUR MILE RUN STA","3115 S. FERN ST.","MONO"]
[51,"FMRL-CRANE-GANTRY-CF-05","CRANE, GANTRY #5 MCC ROOM 60' LIFT, 2 TON","L3897ST","PRI","FMRL","MOTOR/MCC ROOM","THIRD","LODESTAR","LODESTAR 2 TON RR","FOUR MILE RUN STA","3115 S. FERN ST.","GANTRY"]
[52,"FMRL-CRANE-HOIST-CF-01","CRANE, CHAIN FALL UNIT #1 BAR SCREEN SIDE, 1/2 TON","04FU131","PRI","FMRL","WETWELL","-","BUDGIT","N/A","FOUR MILE RUN STA","3115 S. FERN ST.","MONO"]
[53,"FMRL-CRANE-HOIST-CF-02","CRANE, CHAIN FALL UNIT #2 BAR SCREEN SIDE, 1/2 TON","04FU132","PRI","FMRL","WETWELL","-","BUDGIT","N/A","FOUR MILE RUN STA","3115 S. FERN ST.","MONO"]
[54,"FMRL-CRANE-HOIST-CF-03","CRANE, CHAIN FALL UNIT #3 BAR SCREEN SIDE, 1/2 TON","04FU129","PRI","FMRL","WETWELL","-","BUDGIT","N/A","FOUR MILE RUN STA","3115 S. FERN ST.","MONO"]
[55,"FMRL-CRANE-HOIST-CF-04","CRANE, CHAIN FALL UNIT #4 BAR SCREEN SIDE, 1/2 TON","04FU130","PRI","FMRL","WETWELL","-","BUDGIT","N/A","FOUR MILE RUN STA","3115 S. FERN ST.","MONO"]
[56,"GRPS-CRANE-01","CRANE, 2 TON ELEC CHAIN HOIST & TROLLEY FOR MOTORS","00013302/PO # BH10019-4","LS","GRPS","CONTROL ROOM","-","HARRINGTON","ERG020LD","GULF RUN PUMP STA.","3611 N. MILITARY RD.","HOIST"]
[57,"GRPS-CRANE-02","CRANE,  CHAIN FALL, FOR PUMPS","","LS","GRPS","FIRST","-","DUTTON LAISO","DL-1800","GULF RUN PUMP STA.","3611 N. MILITARY RD.","MONO"]
[58,"GRPS-CRANE-03","CRANE, GENERATOR ROOM, 3 TON","30123","LS","GRPS","GENERATOR ROOM","-","HARRINGTON","NTH4-G","GULF RUN PUMP STA.","3611 N. MILITARY RD.","MONO"]
[59,"GRPS-CRANE-DAVIT-01","CRANE (HOIST) SUMP PUMP #1","-","LS","GRPS","DRY WELL","NEAR SUMP","HALLIDAY PRO","3/4\" SS","GULF RUN PUMP STA.","3611 N. MILITARY RD.","HOIST"]
[60,"GRPS-CRANE-DAVIT-02","CRANE (HOIST) SUMP PUMP #2","-","LS","GRPS","DRY WELL","NEAR SUMP","HALLIDAY PRO","3/4\" SS","GULF RUN PUMP STA.","3611 N. MILITARY RD.","HOIST"]
[61,"KWPS-CRANE-01","CRANE, 2 TON ELEC CHAIN HOIST & TROLLEY FOR MOTORS","PO # BH10019-4","LS","KWPS","CONTROL ROOM","-","HARRINGTON","ERG020LD","KIRKWOOD PUMP STA.","1616 KIRKWOOD RD.","HOIST"]
[62,"KWPS-CRANE-02","CRANE, CHAIN HOIST, 2 TON MANUAL & TROLLEY","PO# BH10019-3, MODEL RTPC-2000","LS","KWPS","PUMP ROOM","ABOVE PUMPS","R&M MATERIAL","LMMS2.00020TS0001018000AA","KIRKWOOD PUMP STA.","1616 KIRKWOOD RD.","HOIST"]
[63,"KWPS-CRANE-03","CRANE, CHAIN FALL GENERATOR ROOM, 2 TON","","LS","KWPS","GENERATOR ROOM","-","CM HOISTS","S","KIRKWOOD PUMP STA.","1616 KIRKWOOD RD.","MONO"]
[64,"KWPS-CRANE-HOIST","CRANE, 2 TON MANUAL CHAIN HOIST","-","LS","KWPS","PUMP ROOM","-","R&M MATERIAL","LMMS2.00020TS0001018000AA","KIRKWOOD PUMP STA.","1616 KIRKWOOD RD.","HOIST"]
[65,"MFF-CRANE-01","CRANE,1/2 TON,MANUAL CHAIN HOIST,PUST-PULL TROLLEY","","AWT","MFF","METHANOL FEED FACILITY","PUMP ROOM","BUDGIT","HOIST: 8311 SPX","METHANOL FEED FAC","3328 S. GLEBE RD.","HOIST"]
[66,"MFF-CRANE-02","CRANE,1/2 TON,MANUAL CHAIN HOIST,PUST-PULL TROLLEY","","AWT","MFF","METHANOL FEED FACILITY","PUMP ROOM","BUDGIT","HOIST: 8311 SPX","METHANOL FEED FAC","3328 S. GLEBE RD.","HOIST"]
[67,"MFF-CRANE-03","CRANE, 3 TON,ELEC  HOIST,MOTORIZED TROLLEY","","AWT","MFF","FIRE SUPPRESS/METER ACCESS RM","-","YALE HOISTS","BEW3X26RT16D2","METHANOL FEED FAC","3328 S. GLEBE RD.","HOIST"]
[68,"NFF-CRANE-01","CRANE,3 TON,ELEC CHAIN HOIST,MOTORIZED TROLLEY","","PRI","NFF","NORTH FERRIC FACILITY","-","YALE HOISTS","BEW3X17RT16D2","NORTH FERRIC FACILTY","3165 S. FERN ST.","HOIST"]
[69,"NFF-CRANE-02","CRANE,1/2 TON,MANUAL CHAIN HOIST,PUSH-PULL TROLLEY","","PRI","NFF","NORTH FERRIC FACILITY","-","BUDGIT","HOIST: 8311 SPX","NORTH FERRIC FACILTY","3165 S. FERN ST.","HOIST"]
[70,"NMB-CRANE-BRIDGE-01","CRANE, BRIDGE, MAINT. BLDG, 2 TON, NORTH SHOP","BB230759B","PRI","NMB","CM SHOP","THIRD","TWIN CITY","BEW2-27-ST14S2  / 2T","NEW MAINTENANCE BLDG","3111 S. FERN ST.","BRIDGE"]
[71,"NMB-CRANE-BRIDGE-02","CRANE, BRIDGE, MAINT. BLDG, 2 TON, SOUTH SHOP","24910","PRI","NMB","CM SHOP","THIRD","TC/AMERICAN","3C-4000-DM","NEW MAINTENANCE BLDG","3111 S. FERN ST.","BRIDGE"]
[72,"NMB-CRANE-HOIST-CA-02","CRANE, WIRE ROPE UNIT #2, MAINT. BLDG, 3/4 TON","VP1169","PRI","NMB","CM SHOP","THIRD","COFFING","LSB-A","NEW MAINTENANCE BLDG","3111 S. FERN ST.","MOBILE LIFT DEVICE"]
[73,"NMB-CRANE-HOIST-CA-04","CRANE, WIRE ROPE UNIT #4, MAINT. BLDG, 2 TON","AL0699","PRI","NMB","CM SHOP","THIRD","LUG ALL","N/A","NEW MAINTENANCE BLDG","3111 S. FERN ST.","MOBILE LIFT DEVICE"]
[74,"NMB-CRANE-HOIST-CA-06","CRANE, WIRE ROPE UNIT #6, MAINT. BLDG, 3 TON","MA-3-285-SM-2","PRI","NMB","CM SHOP","THIRD","COFFING","MA30","NEW MAINTENANCE BLDG","3111 S. FERN ST.","MOBILE LIFT DEVICE"]
[75,"NMB-CRANE-HOIST-CA-07","CRANE, WIRE ROPE UNIT #7, MAINT. BLDG, 3/4 TON","XN0010","PRI","NMB","CM SHOP","THIRD","COFFING","LSB-A","NEW MAINTENANCE BLDG","3111 S. FERN ST.","MOBILE LIFT DEVICE"]
[76,"NMB-CRANE-HOIST-CF-01","CRANE, CHAIN FALL UNIT #1, MAINT. BLDG, 1 TON","N/A","PRI","NMB","CM SHOP","THIRD","CM HOISTS","N/A","NEW MAINTENANCE BLDG","3111 S. FERN ST.","MOBILE LIFT DEVICE"]
[77,"NMB-CRANE-HOIST-CF-02","CRANE, CHAIN FALL UNIT #2, MAINT. BLDG, 1 TON","MT-B","PRI","NMB","CM SHOP","THIRD","CM HOISTS","622","NEW MAINTENANCE BLDG","3111 S. FERN ST.","MOBILE LIFT DEVICE"]
[78,"NMB-CRANE-HOIST-CF-03","CRANE, CHAIN FALL UNIT #3, MAINT. BLDG, 1 TON","A266MN","PRI","NMB","CM SHOP","THIRD","CM HOISTS","CYCLONE","NEW MAINTENANCE BLDG","3111 S. FERN ST.","MOBILE LIFT DEVICE"]
[79,"NMB-CRANE-HOIST-CF-04","CRANE, CHAIN FALL UNIT #4, MAINT. BLDG, 1 TON","N/A","PRI","NMB","CM SHOP","THIRD","CM HOISTS","622","NEW MAINTENANCE BLDG","3111 S. FERN ST.","MOBILE LIFT DEVICE"]
[80,"NMB-CRANE-HOIST-CF-05","CRANE, CHAIN FALL UNIT #4, MAINT. BLDG, 2 TON","N/A","PRI","NMB","CM SHOP","THIRD","CM HOISTS","622","NEW MAINTENANCE BLDG","3111 S. FERN ST.","MOBILE LIFT DEVICE"]
[81,"NMB-CRANE-HOIST-CF-06","CRANE, CHAIN FALL UNIT #6, MAINT. BLDG, 1 TON","56772-70-58","PRI","NMB","CM SHOP","THIRD","WESCO","622","NEW MAINTENANCE BLDG","3111 S. FERN ST.","MOBILE LIFT DEVICE"]
[82,"NMB-CRANE-HOIST-CF-07","CRANE, CHAIN FALL UNIT #7, MAINT. BLDG, 1 TON","MW-B","PRI","NMB","CM SHOP","THIRD","CM HOISTS","622","NEW MAINTENANCE BLDG","3111 S. FERN ST.","MOBILE LIFT DEVICE"]
[83,"NMB-CRANE-MOBIL-LIFT","FORK TRUCK, HYDRAULIC, MOBIL, OIL ROOM, 1/2 TON","0784","PRI","NMB","CM SHOP","THIRD","PRESTOLIFT","D886","NEW MAINTENANCE BLDG","3111 S. FERN ST.","MOBILE LIFT DEVICE"]
[84,"NMB-CRANE-VEH-CM-3621","CRANE, BOOM LIFT UNIT, CM VEHICLE 3621, 2.5 TON","03 B 05950-39","PRI","NMB","-","-","AUTO CRANE","P/N 449-05150-1","NEW MAINTENANCE BLDG","3111 S. FERN ST.","VEHICLE CRANE"]
[85,"NMB-CRANE-VEH-CM-3680","CRANE, BOOM LIFT UNIT, CM VEHICLE 3680, 1.6 TON","Y717W106","PRI","NMB","-","-","LIFTMOORE","3200REL","NEW MAINTENANCE BLDG","3111 S. FERN ST.","VEHICLE CRANE"]
[86,"PAF-CRANE-01","CRANE, MONO, ELEC WIRE ROPE HOIST, 3 TON","","AWT","PAF","BLOWER ROOM","-","YALE HOISTS","BEW3X26LG160","POST AERATION FACIL","3304 S. GLEBE RD.","MONO"]
[87,"PAF-CRANE-02","CRANE, BRIDGE, FOR PEW PUMPS, 3 TON","","AWT","PAF","PEW PUMP AREA","-","DEMAG","DCPro 16-3200","POST AERATION FACIL","3304 S. GLEBE RD.","BRIDGE"]
[88,"PAF-CRANE-03","CRANE,MANUAL CHAIN HOIST,PUSH-PULL TROLLEY,1/2 TON","","AWT","PAF","CHEMICAL PUMP ROOM","FIRST","BUDGIT","8311 SPX","POST AERATION FACIL","3304 S. GLEBE RD.","HOIST"]
[89,"PEPS-CRANE-01","CRANE, HOIST PRIMARY EFF. PUMPING STATION, 1 TON","NA","PRI","PEPS","FIRST","-","CM HOISTS","622","PRI EFFLUENT PUMP ST","3248 S. EADS ST.","HOIST"]
[90,"PEPS-CRANE-02","CRANE, HOIST PRIMARY EFF. PUMPING STATION, 1 TON","NA","PRI","PEPS","GROUND","FLUME","YALE HOISTS","NA","PRI EFFLUENT PUMP ST","3248 S. EADS ST.","HOIST"]
[91,"PIBS-CRANE-01","CRANE, STAINLESS STL, FOR SUMP PUMP-PIBS DRAIN PS","","PRI","PIBS","DRAIN PUMP STATION","-","HALLIDAY PRO","D1B","POTOMAC INT BKUP STR","3240 S. EADS ST.","JIB"]
[92,"PTB-CRANE","CRANE, MONO, PTB BLDG, 3 TON","1696809401","PRI","PTB","SECOND","-","R&M CRANE","DO-3-42","PRELIM TREATMNT BLDG","3139 S. FERN ST.","MONO"]
[93,"PYPS-CRANE-HOIST-01","CRANE HOIST, POTOMAC YARDS, 1 TON","","PRI","PYPS","GROUND FLOOR","-","","8262 W/ 82G TROLLEY - 1T","POTOMAC YARD STATION","3108 S. EADS ST.","HOIST"]
[94,"PYPS-CRANE-HOIST-02","CRANE HOIST, POTOMAC YARDS, 2 TON","329052","PRI","PYPS","GROUND FLOOR","-","BUDGIT","BEH0216-50-HG3 W/TROLLEY - 2TN","POTOMAC YARD STATION","3108 S. EADS ST.","HOIST"]
[95,"RRPS-CRANE-01","CRANE, 2 TON ELEC CHAIN HOIST & TROLLEY FOR MOTORS","PO # BH10019-4","LS","RRPS","CONTROL ROOM","-","HARRINGTON","ERG020LD","ROACHES RUN PUMP ST","550 LONG BRIDGE DR.","HOIST"]
[96,"RRPS-CRANE-02","CRANE (HOIST), SUMP PUMP #1","-","LS","RRPS","GENERATOR ROOM","ABOVE GENERATOR","CHESTERTON","ZEPHER/5 TON","ROACHES RUN PUMP ST","550 LONG BRIDGE DR.","HOIST"]
[97,"RRPS-CRANE-03","CRANE, 2 TON MANUAL CHAIN HOIST & TROLLEY","PO # BH10019-3, RTCP-2000/","LS","RRPS","PUMP ROOM","ABOVE PUMPS","R&M MATERIAL","LMMS2.00020TS0001018000AA","ROACHES RUN PUMP ST","550 LONG BRIDGE DR.","HOIST"]
[98,"RRPS-CRANE-04","CRANE, 2 TON, HOIST, SUMP PUMP #1","","LS","RRPS","PUMP ROOM","DISCHARGE OF SUMP PUMP #1","R&M MATERIAL","RTPC-2000","ROACHES RUN PUMP ST","550 LONG BRIDGE DR.","HOIST"]
[99,"SAT-CRANE-DAVIT-01","CRANE, DAVIT, FOR RETRIEVAL & RESCUE, 310 LB.","94108584","SEC","SAT","TANK","-","DBI/SALA","L-4030","SEC AERATION TANKS","3422 S. GLEBE RD.","JIB"]
[100,"SAT-CRANE-DAVIT-02","CRANE, DAVIT, FOR RETRIEVAL & RESCUE, 310 LB.","94108584","SEC","SAT","TANK","-","DBI/SALA","L-4030","SEC AERATION TANKS","3422 S. GLEBE RD.","JIB"]
[101,"SAT-CRANE-DAVIT-03","CRANE, DAVIT, FOR RETRIEVAL & RESCUE, 310 LB.","94108584","SEC","SAT","TANK","-","DBI/SALA","L-4030","SEC AERATION TANKS","3422 S. GLEBE RD.","JIB"]
[102,"SAT-CRANE-DAVIT-04","CRANE, DAVIT, FOR RETRIEVAL & RESCUE, 310 LB.","94108584","SEC","SAT","TANK","-","DBI/SALA","L-4030","SEC AERATION TANKS","3422 S. GLEBE RD.","JIB"]
[103,"SAT1-CRANE-MIXR-A4","CRANE, SUBMERSIBLE MIXER, 400 LB.","","SEC","SAT1","PASS A","ZONE 4","THERN","M4022PB","SEC AERATION TANK #1","3422 S. GLEBE RD.","JIB"]
[104,"SAT1-CRANE-MIXR-B4","CRANE, SUBMERSIBLE MIXER, 400 LB.","","SEC","SAT1","PASS B","ZONE 4","THERN","M4022PB","SEC AERATION TANK #1","3422 S. GLEBE RD.","JIB"]
[105,"SAT1-CRANE-MIXR-C4","CRANE, SUBMERSIBLE MIXER, 400 LB.","","SEC","SAT1","PASS C","ZONE 4","THERN","M4022PB","SEC AERATION TANK #1","3422 S. GLEBE RD.","JIB"]
[106,"SAT1-CRANE-MIXR-D1","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT1","PASS D","ZONE 1","THERN","M4312PB","SEC AERATION TANK #1","3422 S. GLEBE RD.","JIB"]
[107,"SAT1-CRANE-PUMP-IMLR","CRANE, INTERNAL MIXED LIQUOR RECYCLE PUMP, 1 TON","","SEC","SAT1","D PASS","SOUTH END OF TANK","THERN","M4312PB","SEC AERATION TANK #1","3422 S. GLEBE RD.","JIB"]
[108,"SAT2-CRANE-MIXR-A4","CRANE, SUBMERSIBLE MIXER, 400 LB.","","SEC","SAT2","PASS A","ZONE 4","THERN","M4022PB","SEC AERATION TANK #2","3422 S. GLEBE RD.","JIB"]
[109,"SAT2-CRANE-MIXR-B4","CRANE, SUBMERSIBLE MIXER, 400 LB.","","SEC","SAT2","PASS B","ZONE 4","THERN","M4022PB","SEC AERATION TANK #2","3422 S. GLEBE RD.","JIB"]
[110,"SAT2-CRANE-MIXR-C4","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT2","PASS C","ZONE 4","THERN","M4312PB","SEC AERATION TANK #2","3422 S. GLEBE RD.","JIB"]
[111,"SAT2-CRANE-MIXR-D1","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT2","PASS D","ZONE 1","THERN","M4312PB","SEC AERATION TANK #2","3422 S. GLEBE RD.","JIB"]
[112,"SAT2-CRANE-PUMP-IMLR","CRANE, INTERNAL MIXED LIQUOR RECYCLE PUMP, 1 TON","","SEC","SAT2","D PASS","SOUTH END OF TANK","THERN","M4312PB","SEC AERATION TANK #2","3422 S. GLEBE RD.","JIB"]
[113,"SAT3-CRANE-MIXR-A4","CRANE, SUBMERSIBLE MIXER, 400 LB.","","SEC","SAT3","PASS A","ZONE 4","THERN","M4022PB","SEC AERATION TANK #3","3422 S. GLEBE RD.","JIB"]
[114,"SAT3-CRANE-MIXR-B4","CRANE, SUBMERSIBLE MIXER, 400 LB.","","SEC","SAT3","PASS B","ZONE 4","THERN","M4022PB","SEC AERATION TANK #3","3422 S. GLEBE RD.","JIB"]
[115,"SAT3-CRANE-MIXR-C4","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT3","PASS C","ZONE 4","THERN","M4312PB","SEC AERATION TANK #3","3422 S. GLEBE RD.","JIB"]
[116,"SAT3-CRANE-MIXR-D1","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT3","PASS D","ZONE 1","THERN","M4312PB","SEC AERATION TANK #3","3422 S. GLEBE RD.","JIB"]
[117,"SAT3-CRANE-PUMP-IMLR","CRANE, INTERNAL MIXED LIQUOR RECYCLE PUMP, 1 TON","","SEC","SAT3","D PASS","SOUTH END OF TANK","THERN","M4312PB","SEC AERATION TANK #3","3422 S. GLEBE RD.","JIB"]
[118,"SAT4-CRANE-MIXR-A4","CRANE, SUBMERSIBLE MIXER, 400 LB.","","SEC","SAT4","PASS A","ZONE 4","THERN","M4022PB","SEC AERATION TANK #4","3422 S. GLEBE RD.","JIB"]
[119,"SAT4-CRANE-MIXR-B4","CRANE, SUBMERSIBLE MIXER, 400 LB.","","SEC","SAT4","PASS B","ZONE 4","THERN","M4022PB","SEC AERATION TANK #4","3422 S. GLEBE RD.","JIB"]
[120,"SAT4-CRANE-MIXR-C4","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT4","PASS C","ZONE 4","THERN","M4312PB","SEC AERATION TANK #4","3422 S. GLEBE RD.","JIB"]
[121,"SAT4-CRANE-MIXR-D1","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT4","PASS D","ZONE 1","THERN","M4312PB","SEC AERATION TANK #4","3422 S. GLEBE RD.","JIB"]
[122,"SAT4-CRANE-PUMP-IMLR","CRANE, INTERNAL MIXED LIQUOR RECYCLE PUMP, 1 TON","","SEC","SAT4","D PASS","SOUTH END OF TANK","THERN","M4312PB","SEC AERATION TANK #4","3422 S. GLEBE RD.","JIB"]
[123,"SAT5-CRANE-MIXR-A1","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT5","PASS A","ZONE 1","THERN","M4312PB","SEC AERATION TANK #5","3422 S. GLEBE RD.","JIB"]
[124,"SAT5-CRANE-MIXR-A2","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT5","PASS A","ZONE 2","THERN","M4312PB","SEC AERATION TANK #5","3422 S. GLEBE RD.","JIB"]
[125,"SAT5-CRANE-MIXR-A4","CRANE, SUBMERSIBLE MIXER, 400 LB.","","SEC","SAT5","PASS A","ZONE 4","THERN","M4022PB","SEC AERATION TANK #5","3422 S. GLEBE RD.","JIB"]
[126,"SAT5-CRANE-MIXR-B1","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT5","PASS B","ZONE 1","THERN","M4312PB","SEC AERATION TANK #5","3422 S. GLEBE RD.","JIB"]
[127,"SAT5-CRANE-MIXR-B2","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT5","PASS B","ZONE 2","THERN","M4312PB","SEC AERATION TANK #5","3422 S. GLEBE RD.","JIB"]
[128,"SAT5-CRANE-MIXR-B4","CRANE, SUBMERSIBLE MIXER, 400 LB.","","SEC","SAT5","PASS B","ZONE 4","THERN","M4022PB","SEC AERATION TANK #5","3422 S. GLEBE RD.","JIB"]
[129,"SAT5-CRANE-MIXR-C1","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT5","PASS C","ZONE 1","THERN","M4312PB","SEC AERATION TANK #5","3422 S. GLEBE RD.","JIB"]
[130,"SAT5-CRANE-MIXR-C2","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT5","PASS C","ZONE 2","THERN","M4312PB","SEC AERATION TANK #5","3422 S. GLEBE RD.","JIB"]
[131,"SAT5-CRANE-MIXR-C4","CRANE, SUBMERSIBLE MIXER, 400 LB.","","SEC","SAT5","PASS C","ZONE 4","THERN","M4022PB","SEC AERATION TANK #5","3422 S. GLEBE RD.","JIB"]
[132,"SAT5-CRANE-MIXR-D1","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT5","PASS D","ZONE 1","THERN","M4312PB","SEC AERATION TANK #5","3422 S. GLEBE RD.","JIB"]
[133,"SAT5-CRANE-PUMP-IMLR","CRANE, INTERNAL MIXED LIQUOR RECYCLE PUMP, 1 TON","","SEC","SAT5","D PASS","SOUTH END OF TANK","THERN","M4312PB","SEC AERATION TANK #5","3422 S. GLEBE RD.","JIB"]
[134,"SAT6-CRANE-MIXR-A1","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT6","PASS A","ZONE 1","THERN","M4312PB","SEC AERATION TANK #6","3422 S. GLEBE RD.","JIB"]
[135,"SAT6-CRANE-MIXR-A2","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT6","PASS A","ZONE 2","THERN","M4312PB","SEC AERATION TANK #6","3422 S. GLEBE RD.","JIB"]
[136,"SAT6-CRANE-MIXR-A4","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT6","PASS A","ZONE 4","THERN","M4312PB","SEC AERATION TANK #6","3422 S. GLEBE RD.","JIB"]
[137,"SAT6-CRANE-MIXR-B1","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT6","PASS B","ZONE 1","THERN","M4312PB","SEC AERATION TANK #6","3422 S. GLEBE RD.","JIB"]
[138,"SAT6-CRANE-MIXR-B2","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT6","PASS B","ZONE 2","THERN","M4312PB","SEC AERATION TANK #6","3422 S. GLEBE RD.","JIB"]
[139,"SAT6-CRANE-MIXR-B4","CRANE, SUBMERSIBLE MIXER, 400 LB.","","SEC","SAT6","PASS B","ZONE 4","THERN","M4022PB","SEC AERATION TANK #6","3422 S. GLEBE RD.","JIB"]
[140,"SAT6-CRANE-MIXR-C1","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT6","PASS C","ZONE 1","THERN","M4312PB","SEC AERATION TANK #6","3422 S. GLEBE RD.","JIB"]
[141,"SAT6-CRANE-MIXR-C2","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT6","PASS C","ZONE 2","THERN","M4312PB","SEC AERATION TANK #6","3422 S. GLEBE RD.","JIB"]
[142,"SAT6-CRANE-MIXR-C4","CRANE, SUBMERSIBLE MIXER, 400 LB.","","SEC","SAT6","PASS C","ZONE 4","THERN","M4022PB","SEC AERATION TANK #6","3422 S. GLEBE RD.","JIB"]
[143,"SAT6-CRANE-MIXR-D1","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","SAT6","PASS D","ZONE 1","THERN","M4312PB","SEC AERATION TANK #6","3422 S. GLEBE RD.","JIB"]
[144,"SAT6-CRANE-PUMP-IMLR","CRANE, INTERNAL MIXED LIQUOR RECYCLE PUMP, 1 TON","","SEC","SAT6","D PASS","SOUTH END OF TANK","THERN","M4312PB","SEC AERATION TANK #6","3422 S. GLEBE RD.","JIB"]
[145,"SBB-CRANE-EAST","CRANE, BRIDGE, SECONDARY BLOWER, 6 TON","T31467","SEC","SBB","FIRST","EAST","P+H","537K110/ 6 TON","SEC BLOWER BLDG.","3404 S. GLEBE RD.","BRIDGE"]
[146,"SBB-CRANE-WEST","CRANE, BRIDGE, SECONDARY BLOWER, 7.5 TON","534-08-3380/ CRANE#1170C","SEC","SBB","FIRST","WEST","WRIGHT","7.5 TON","SEC BLOWER BLDG.","3404 S. GLEBE RD.","BRIDGE"]
[147,"SCL-CRANE-DAVIT-01","CRANE, DAVIT, FOR RETRIEVAL & RESCUE, 310 LB.","94108584","SEC","SCL","TANK","-","DBI/SALA","L-4030","SEC CLARIFIERS","3440 S. GLEBE RD.","JIB"]
[148,"SCL1-CRANE-01","CRANE, STAINLS STEEL, FOR SCL1 SCUM PUMP, 300 LB.","","SEC","SCL1","TOP OF SCUM WETWELL","-","HALLIDAY PRO","D1B","SEC CLARIFIER #1","3440 S. GLEBE RD.","JIB"]
[149,"SCL2-CRANE-01","CRANE, STAINLS STEEL, FOR SCL2 SCUM PUMP, 300 LB.","","SEC","SCL2","TOP OF SCUM WETWELL","-","HALLIDAY PRO","D1B","SEC CLARIFIER #2","3440 S. GLEBE RD.","JIB"]
[150,"SCL3-CRANE-01","CRANE, STAINLS STEEL, FOR SCL3 SCUM PUMP, 300 LB.","","SEC","SCL3","TOP OF SCUM WETWELL","-","HALLIDAY PRO","D1B","SEC CLARIFIER #3","3440 S. GLEBE RD.","JIB"]
[151,"SCL4-CRANE-01","CRANE, STAINLS STEEL, FOR SCL4 SCUM PUMP, 300 LB.","","SEC","SCL4","TOP OF SCUM WETWELL","-","HALLIDAY PRO","D1B","SEC CLARIFIER #4","3440 S. GLEBE RD.","JIB"]
[152,"SCL5-CRANE-01","CRANE, STAINLS STEEL, FOR SCL5 SCUM PUMP, 300 LB.","","SEC","SCL5","TOP OF SCUM WETWELL","-","HALLIDAY PRO","D1B","SEC CLARIFIER #5","3440 S. GLEBE RD.","JIB"]
[153,"SCL6-CRANE-01","CRANE, STAINLS STEEL, FOR SCL6 SCUM PUMP, 300 LB.","","SEC","SCL6","TOP OF SCUM WETWELL","-","HALLIDAY PRO","D1B","SEC CLARIFIER #6","3440 S. GLEBE RD.","JIB"]
[154,"SGF-CRANE-01","CRANE, BRIDGE, ELEC, 20 TON","","SEC","SGF","GR FLR, GENERATOR RM","CEILING ABOVE GENERATORS","SQUARED","","STANDBY GEN FACILITY","3408 S. GLEBE RD.","BRIDGE"]
[155,"SGF-CRANE-LIFTTRUCK-01","CRANE, LIFT TRUCK, WINCH, MCC ROOM","019798","SEC","SGF","2ND FLR, SWITCHGEAR RM","-","BEECH","GW-2006","STANDBY GEN FACILITY","3408 S. GLEBE RD.","MOBILE LIFT DEVICE"]
[156,"SGF-CRANE-LIFTTRUCK-02","CRANE, LIFT TRUCK, WINCH, MCC ROOM","021043","SEC","SGF","2ND FLR, SWITCHGEAR RM","-","BEECH","SOD-32661","STANDBY GEN FACILITY","3408 S. GLEBE RD.","MOBILE LIFT DEVICE"]
[157,"SHF-CRANE-PUMP-HYPO","CRANE,MONO,ELEC WIRE ROPE HOIST,MOTOR TROLLY,1 TON","","AWT","SHF","FILTER BUILDING","PUMP ROOM","YALE HOISTS","BEW1-32RT14D2","SODIUM HYPO FACILITY","3320 S. GLEBE RD.","MONO"]
[158,"SPSB-CRANE-MOBIL-LIFT","MOBIL LIFT, HYDRAULIC, 1/2 TON","S206795","SEC","SPSB","CHEMICAL STORAGE ROOM","-","VERMETTE","1012A","SEC PUMP SERV BLDG","3440 S. GLEBE RD.","MOBILE LIFT DEVICE"]
[159,"SPSB-CRANE-POLYRM","HOIST, POWERED, WIRE ROPE, FOR POLYMER ROOM, 2 TON","Q0200995-2","SEC","SPSB","POLYMER ROOM","-","KONECRANES","CXT2410020P1M5FCL0F /2 TON","SEC PUMP SERV BLDG","3440 S. GLEBE RD.","HOIST"]
[160,"SPSB-CRANE-PUMPRM-01","CRANE, MONO #1, MANUAL, CHAIN, FOR PUMPS, 2 TON","","SEC","SPSB","LOWER LEVEL PUMP ROOM","-","KONECRANES","CXT2410020P1M5FCL0F /2 TON","SEC PUMP SERV BLDG","3440 S. GLEBE RD.","MONO"]
[161,"SPSB-CRANE-PUMPRM-02","CRANE, MONO #2, MANUAL, CHAIN, FOR PUMPS, 2 TON","","SEC","SPSB","LOWER LEVEL PUMP ROOM","-","KONECRANES","CXT2410020P1M5FCL0F /2 TON","SEC PUMP SERV BLDG","3440 S. GLEBE RD.","MONO"]
[162,"SPSB-CRANE-PUMPS","HOIST, POWERED, WIRE ROPE, FOR PUMPS, 2 TON","Q020095-1","SEC","SPSB","POLYMER ROOM","-","KONECRANES","CXT2410020P1M5FCL0F /2 TON","SEC PUMP SERV BLDG","3440 S. GLEBE RD.","HOIST"]
[163,"SST-CRANE-01","CRANE, DAVIT, SUBMERSIBLE MIXER, 1 TON","A7521","SL","SST","S1 TANK","ROOF","THERN","5124-M1","SLUDGE STORAGE TNKS","3240 S. EADS ST.","JIB"]
[164,"SST-CRANE-02","CRANE, DAVIT, SUBMERSIBLE MIXER, 1 TON","A7521","SL","SST","S1 TANK","ROOF","THERN","5124-M1","SLUDGE STORAGE TNKS","3240 S. EADS ST.","JIB"]
[165,"SST-CRANE-03","CRANE, DAVIT, SUBMERSIBLE MIXER, 1 TON","A7521","SL","SST","S2 TANK","ROOF","THERN","5124-M1","SLUDGE STORAGE TNKS","3240 S. EADS ST.","JIB"]
[166,"SST-CRANE-04","CRANE, DAVIT, SUBMERSIBLE MIXER, 1 TON","A7521","SL","SST","S2 TANK","ROOF","THERN","5124-M1","SLUDGE STORAGE TNKS","3240 S. EADS ST.","JIB"]
[167,"STAB-CRANE-MOBIL-LIFT","MOBILE LIFT, 3/4 TON","1200","PRI","STAB","TUNNEL","-","SUMMER","760","SOUTH TUNNEL ACCESS","3266 S. EADS ST.","MOBILE LIFT DEVICE"]
[168,"SWPS-CRANE-01","CRANE, ELECTRIC, FIRST FLOOR, 1 TON","","SEC","SWPS","FIRST FLOOR","-","-","","SURFACE WASTE PS","3430 S. GLEBE RD.","MONO"]
[169,"SWPS-CRANE-02","CRANE, MANUAL, BASEMENT,  1 TON","","SEC","SWPS","BASEMENT","PUMP ROOM","","","SURFACE WASTE PS","3430 S. GLEBE RD.","MONO"]
[170,"WFDS-CRANE-MIXR-01","CRANE, SUBMERSIBLE MIXER, 1 TON","","SEC","WFDS","NORTHWEST CORNER OF STRUCTURE","-","THERN","M4312PB","W. FLOW DISTR STRUC","3422 S. GLEBE RD.","JIB"]
[171,"WIN-CRANE-01","CRANE, 2 TON ELEC CHAIN HOIST & TROLLEY FOR MOTORS","PO # BH10019-4","LS","WIN","CONTROL ROOM","-","HARRINGTON","ERG020LD","WINDY RUN PUMP STAT","2500 N. KENMORE ST.","HOIST"]
[172,"WIN-CRANE-02","CRANE (HOIST), SUMP PUMP #1","","LS","WIN","PUMP ROOM","-","HALLIDAY PRO","3/4\" SS","WINDY RUN PUMP STAT","2500 N. KENMORE ST.","HOIST"]
[173,"WIN-CRANE-03","CRANE, 2 TON MANUAL CHAIN HOIST & TROLLEY","PO # BH10019-3/RTPC-2000","LS","WIN","PUMP ROOM","ABOVE PUMPS","R&M MATERIAL","LMMS2.00020TS0001018000AA","WINDY RUN PUMP STAT","2500 N. KENMORE ST.","HOIST"]
[174,"WSPSB-CRANE-01","CRANE, BRIDGE, ELEC, 2 TON","08A02815","SEC","WSPSB","LOWER LEVEL","PUMP ROOM","YALE HOISTS","Y80L02025D14","W SEC PUMP SERV BLDG","3340 S. GLEBE RD.","BRIDGE"]
[175,"WSPSB-CRANE-02","CRANE, ELECTRIC, FOR PUMP ROOM BASEMENT, 2 TON","","SEC","WSPSB","UPPER LEVEL","E. SIDE OF ELECTRICAL/VFD ROOM","","","W SEC PUMP SERV BLDG","3340 S. GLEBE RD.","BRIDGE"]
[176,"WWFF-CRANE-15TON","CRANE, BRIDGE, 15 TON, WWFF FOR CLEARWELL, ELEC","745-2640","AWT","WWFF","CLEARWELL","-","SHAW BOX","HOIST 38629","WET WEATHER FILT FAC","3324 S. GLEBE RD.","BRIDGE"]
[177,"WWFF-CRANE-5TON","CRANE, BRIDGE, 5 TON, WWFF INFLUENT CHAN, ELEC","745-2640","AWT","WWFF","EFFLUENT CHANNEL","-","SHAW BOX","HOIST 38630","WET WEATHER FILT FAC","3324 S. GLEBE RD.","BRIDGE"]
[178,"WWFF-CRANE-GANTRY-NORTH","CRANE, GANTRY NORTH SIDE, 3 TON, ELEC HOIST","L-6883RP","AWT","WWFF","GROUND","NORTH","CM HOISTS","RRT","WET WEATHER FILT FAC","3324 S. GLEBE RD.","GANTRY"]
[179,"WWFF-CRANE-GANTRY-SOUTH","CRANE, GANTRY SOUTH SIDE, 3 TON, ELEC HOIST","l-5352AB","AWT","WWFF","GROUND","SOUTH","CM HOISTS","RRT2","WET WEATHER FILT FAC","3324 S. GLEBE RD.","GANTRY"]

{"sheet":"Totals By Type","index":1,"n_rows":11,"n_cols":2,"rows_kept":11}
[]
[]
["Row Labels","Count of Type"]
["BRIDGE",15]
["GANTRY",3]
["HOIST",38]
["JIB",68]
["MOBILE LIFT DEVICE",22]
["MONO",31]
["VEHICLE CRANE",2]
["Grand Total",179]

{"sheet":"Mixer Jibs","index":2,"n_rows":48,"n_cols":1,"rows_kept":48}
[]
["JIB CRANES WHICH MAY CANNOT BE LOAD TESTED"]
["DWB-CRANE-WELLJIB"]
["EFDS-CRANE-MIXR-01"]
["FADF-CRANE-05"]
["FADF-CRANE-06"]
["SAT1-CRANE-MIXR-A4"]
["SAT1-CRANE-MIXR-B4"]
["SAT1-CRANE-MIXR-C4"]
["SAT1-CRANE-MIXR-D1"]
["SAT2-CRANE-MIXR-A4"]
["SAT2-CRANE-MIXR-B4"]
["SAT2-CRANE-MIXR-C4"]
["SAT2-CRANE-MIXR-D1"]
["SAT3-CRANE-MIXR-A4"]
["SAT3-CRANE-MIXR-B4"]
["SAT3-CRANE-MIXR-C4"]
["SAT3-CRANE-MIXR-D1"]
["SAT4-CRANE-MIXR-A4"]
["SAT4-CRANE-MIXR-B4"]
["SAT4-CRANE-MIXR-C4"]
["SAT4-CRANE-MIXR-D1"]
["SAT5-CRANE-MIXR-A1"]
["SAT5-CRANE-MIXR-A2"]
["SAT5-CRANE-MIXR-A4"]
["SAT5-CRANE-MIXR-B1"]
["SAT5-CRANE-MIXR-B2"]
["SAT5-CRANE-MIXR-B4"]
["SAT5-CRANE-MIXR-C1"]
["SAT5-CRANE-MIXR-C2"]
["SAT5-CRANE-MIXR-C4"]
["SAT5-CRANE-MIXR-D1"]
["SAT6-CRANE-MIXR-A1"]
["SAT6-CRANE-MIXR-A2"]
["SAT6-CRANE-MIXR-A4"]
["SAT6-CRANE-MIXR-B1"]
["SAT6-CRANE-MIXR-B2"]
["SAT6-CRANE-MIXR-B4"]
["SAT6-CRANE-MIXR-C1"]
["SAT6-CRANE-MIXR-C2"]
["SAT6-CRANE-MIXR-C4"]
["SAT6-CRANE-MIXR-D1"]
["SST-CRANE-01"]
["SST-CRANE-02"]
["SST-CRANE-03"]
["SST-CRANE-04"]
["WFDS-CRANE-MIXR-01"]
["TOTAL NUMBER 45"]