Bid Scope Materials List

Kitchen Sink		Double bowl aluminum drop-in

Kitchen Faucet	Delta, B4310lf-SS

Range			GE, JB645RKSS

Cooktop		GE, JP3030DJBB

Micro-Vented		GE, JVM3160RFSS

Hood Vent		Broan 40000, 160cfm

Refrigerator		GE, GTS22KYNRFS

Vanity Sink		Round ceramic drop-in

Bathroom Faucet	Delta, 520-SSMPU-DST

Tub Faucet		Delta, T13420-SS

Shower Faucet	Delta, T13220-SS

Tub			American Standard Solar, (60x30)

Tub Surround		Sterling, 61044100-0 (60x31.5) with corresponding tub

Shower		Aquatic, AX160304PS-WH

Toilet	American Standard Cadet 3, comfort height, elongated 1.28-GPF

Bathroom Fan		Broan QK60s, 60cfm

Flooring – LVP	Shaw, Torino Plus Floorte 500RG

Carpet			Shaw, Burghley 2 - 60oz. – 6lbs. Pad

Hot Water Heater	A.O. Smith 100, 40 gallon

Ceiling Fan		Hampton Bay, Glendale AM2120

Kitchen Light		Commercial Electric, 54663141

Bathroom Light	Hampton Bay, V1124-79

Hall Light		Hampton Bay, FZP8012-A

Coach Light		Hampton Bay, 245 746

Ext. Ceiling Light	Hampton Bay, WB0325

Light Bulbs		LED

Roofing 		CertainTeed, Landmark

Gutter			6” Aluminum with 4” downspouts

- When repairing or replacing plumbing fixtures always use new braded supply lines.

- When repairing or replacing trim always putty, caulk, and paint.

- When repairing or replacing drywall always tape, mud, texture, and paint.

- When repairing or replacing electrical wiring always repair the drywall.

- Counter tops are to be square-edged, laminate with a 4” backsplash.

- Cabinetry shall be constructed of ½” plywood or better with ¾” solid hardwood fronts and frames, no particle board. All exposed ends will be finished and have side-mounted drawer guides.

- Moving furniture is the contractor’s responsibility, its contents are the homeowners.

- All electrical appliances are to be EnergyStar approved.

“Contractors are obligated to use like, similar, or equal valued products”.