Addendum #1

Addressing questions posed as of October 8, 2020

The 70 feet is not long enough for the cages, we are doing one now in Atlanta similar to what you are wanting.  The width isn't wide enough either, three cages side by side 15 ft wide each gives you 2.5 feet on either end. At the top of those cages the tapered steel structure will be in the cage or close enough for a ricochet. There needs to be more space around the cages for safety with the net deflection. Also, there is no defined entry and exit point. Can you advise us on how to proceed?

The building will need to have 3-50’ clear span bays on 23.3’ column spacing. It will be an open sided building, there will not be any defined entry or exit points. The batting cages will be 12’ wide X 12’ high X 60’ long.

Are we providing and installing the cages?

No, this will be a separate bid.

Lighting, Emergency Lighting and or exit signs for the building are not mentioned.

All lighting will be installed but our facilities department, however, the contractor selected will be required to work with the facilities director to ensure that all conduit is in place prior to pouring the concrete foundation.

Are the permit fees waived since this is a county project?

Permits are required for this project, but the fees will be waived.

What is the site location address and location.?

The building will be located at 728 Ware Street, Blackshear, GA 31516 as stated in the bid document.

A State issued commercial GC license is required to bid on this project correct?

Yes

Roof Pitch needs to be higher for a screw down roof if you are requiring that vs a standing seam.

Please address this in your design proposal.

Spec F. This additional structure is not needed. The netting is suspended by the building structure itself. The building will have enough collateral load included.

Please address this in your design proposal.

When do you plan to award this project?

This project is expected to be awarded at the Board of Commissioner’s meeting scheduled for November 3, 2020 at 6:00 PM.

Are you only allowing vendors with a GA contractor’s license?

All submitted bids will be considered. Local and Georgia vendors will receive preference points in the selection process in accordance with Pierce County’s purchasing policy.

Page 3 states "The project must be completed within 30 days of the start of the contract". Does the mean that 30 days after construction begins, we need to be completed or does that mean that after we receive a signed contract or NTP, we need to have it completed within 30 days from that date?

The project needs to be completed 30 days from the actual start of the project which should begin on or before December 7, 2020.

Will an addendum be released answering questions?

Yes

Do you anticipate extending the bid due date? No

What additional details are you willing to provide, if any, beyond what is stated in bid documents concerning how you will identify the winning bid? The winning bid will be selected based on total cost, experience, references, and other related factors which may also include local vendor preference in accordance with Pierce County’s Purchasing policy. The Pierce County Board of Commissioners reserves the right to reject or suspend any bidding at its discretion.

Was this bid posted to the nationwide free bid notification website at www.mygovwatch.com/free? No, it was posted to Vendor Registry and Georgia Procurement Registry

Other than your own website, where was this bid posted? Please see the response above.