Pierce County Board of Commissioners

Recreation Department

Design and Construction of One (1) Steel Frame Building to Contain Three Parallel Batting Cages

BIDS DUE ON

October 23, 2020 at 10:00AM

FOR BID SPECS, CONTACT MAMIE JACKSON, FINANCE DEPARTMENT

312 NICHOLS ST., SUITE 5

BLACKSHEAR, GA 31516

GENERAL SPECIFICATIONS

It is the intent of these specifications to furnish the Pierce County Board of Commissioners with the following: DESIGN AND CONSTRUCTION OF ONE (1) STEEL FRAME BUILDING TO CONTAIN THREE (3) PARALLEL BATTING CAGES according to the attached. It is clearly understood that the following are minimum specifications and are made in order to show the exact specifications of the service proposed. All Bidders should contact Mamie Jackson, Finance Department at mamie.jackson@piercecountyga.gov or 912-449-2022.

The Pierce County Board of Commissioners reserves the right to accept any or all bids or to choose the bid considered to be in their best interest. The final decision of purchase will be made upon the award of the Pierce County Board of Commissioners Office.

NO BID WILL BE CONSIDERED IF RECEIVED AFTER THE DATE AND TIME SPECIFIED. NO FAXED OR ELECTRONIC BIDS WILL BE ACCEPTED.

Please put the Bid Name “Steel Frame Building-Rec Dept.” on the outside of your return envelope.

BIDS MAY BE DELIVERED OR MAILED TO:

PIERCE COUNTY FINANCE DEPARTMENT

ATTN: MAMIE JACKSON

312 NICHOLS STREET, SUITE 5

P.O. BOX 679

BLACKSHEAR, GA  31516

INTRODUCTION

Pierce County Board of Commissioners (“Board”) is seeking proposals to design and construct a red iron frame structure (50’ X 70’ X 14’) that will contain three (3) parallel batting cages. The building will be located at 728 Ware Street (Recreation Dept.).

INSTRUCTIONS TO BIDDERS

Proposals must be made upon the form of the proposal attached hereto and include: spec sheet for specific method of construction. They must be enclosed in a sealed plain envelope, with the bid name “Steel Frame Building-Rec Dept” written on the outside and endorsed with the title of the proposal. The specifications following represent the minimum characteristics desired in the service to be purchased. These requirements are not intended to prevent obtaining fair prices or to eliminate competition, but to insure, if possible, that all bids submitted should not be subject to correction or alteration after the bid has been filed, opened, and publicly read. The Pierce County Board of Commissioners reserves the right to evaluate any or all bids, particularly where there is a range in specifications.

It is expressly understood by the bidder that written notice of the award or purchase order by the Board will constitute an agreement and consummate the transaction and will serve together with the proposal, the advertisement, these instructions and the detailed specifications, as the entire form of contract between the parties.

Specifications referred to are minimum, therefore unless otherwise indicated by the bidder, the Board will assume proposals meet or exceed all specifications.

The award of the contract will be made to the lowest responsible & responsive bidder taking into consideration quality performance and the time specified in the proposals for the performance of the contract. The Board reserves the right to reject all bids as appears in its own best interest and to waive technicalities.

A.  Bids will be received until October 23, 2020 at 10:00 AM and will be opened at that time.

B.  Proposers taking exception to any part or section of this request for proposal shall indicate such exceptions on a separate sheet entitled “Exceptions to Specifications”.  Failure to indicate any exceptions shall be interpreted as the proposer’s intent to fully comply with the specifications as written.

C.   No bidder will be allowed to withdraw his proposal for any reason whatsoever after the bids have been opened.

D.  The bidder agrees that the Board reserves the right to reject any or all proposals, or to accept the part of the bid considered to be in the best interest of the Pierce County Board of Commissioners.

E.  The contractor must provide with proposal proof of General Liability Insurance, Worker’s Compensation, Property Damage Insurance, E Verify and a copy of the business’ current business license.  The same is required for any subcontractors on this project.

F.  Failure to complete all paper work will void the bid.

G.  All taxes or fees due to Pierce County must be paid and all claims against the business must be settled to be considered a qualified bidder.

PROJECT SCHEDULE

Project construction shall commence on or before December 7, 2020.

Bidders shall submit a complete proposed construction schedule with their bid, confirming their ability to start construction on or before December 7, 2020 and confirming a substantial completion date.

PERMITTING AND INSPECTIONS

Pierce County permit has been or will be obtained by Architect and/or the County prior to start of construction. There is no anticipated delay in proposed construction start date of December 7, 2020 in getting these permits.

All required construction trade permits are the responsibility of the Contractor.

PRE-BID MEETING

There will not be a pre-bid meeting.

The project must be completed within 30 days of the start of the contract.

Information Required in the Proposal

- Provide a copy of company’s Georgia State Contractor’s License number.

- Provide a copy of the company or individual’s business license

- Provide three reference projects of similar building type, scope and size completed by the bidder in the past five years with contact information for each project’s owner or owner’s representative.

- Provide a cost breakdown of labor and materials

- Provide an estimated time of completion for the project

- Provide an explanation, including length of time, of warranties for materials and labor

Specifications for Steel Frame Building

- Building with the following:

- Design and construction of a red iron frame structure.

- The structure shall be 50’ Wide x70’ Long x14’ High.

- Roof shall be 1/12 pitch and include gutters and downspouts.

- The structure shall be designed to contain three (3) parallel batting cages.

- 3-50’ clear span bays on 23.3’ column spacing.

- 2-post and beam end walls with added girt to attach batting cage nets.

- Galvalume (26 gauge) roof panels.

- Engineered stamped building drawings.

- Engineered stamped foundation drawings.

- Loads: Wind Load-117; Roof/Live Load-1/20; Exposure-20; Category-2; Collateral-1#

- Concrete Slab

- One (1) 4” concrete floors with anchor bolts.

- The slab foundation will have to conform to the engineered plans for the building.

Design and construction of one (1) Steel Frame Building

COMPANY NAME: ________________________________________________________

ADDDRESS: ______________________________________________________________

__________________________________________________________________________

PHONE: __________________________________________________________________

EMAIL: __________________________________________________________________

START DATE: _______________    ESTIMATED COMPLETION DATE: ________________

MATERIALS COST: ____________________    LABOR COST: ________________________

TOTAL COST: ____________________________________________

NAME: ___________________________________________________________________

TITLE: ___________________________________________________________________

SIGNATURE: _____________________________________________________________

DATE: ___________________________________________________________________

NOTICE TO DEALERS/VENDORS

Any prices bid by dealer/vendor on any items offered to the Pierce County Board of Commissioners shall be the price effective at the date of delivery.

The Pierce County Board of Commissioners reserves the right to accept alternate bids on any or all items where maximum delivery date as listed in the specifications is not met by dealer/vendor.

Signature below of authorized agent for dealer/vendor shall constitute recognition and acceptance of all conditions of the sale as listed above.

Dealer/Vendor ________________________________________________

Authorized Agent ______________________________________________