Addendum #1

Date: April 29, 2022

Rockwood School District – RFP No. RFP0522LHSSPK

Lafayette High School Gym Speaker Replacement

The Request for Proposals (RFP) for the above-named project is amended as noted in this Addendum. This Addendum consists of questions and Rockwood School District’s responses and an addition to the specifications.

- Are there any specifications for the speakers beyond ‘complete coverage’? Lafayette High School currently has at least (6) main speakers. There are (4) in the center that point out from center and (1) towards each end of the gym pointing down to the floor. The number of sufficient speakers will depend on the coverage pattern as well as the gym size in trying to ensure there is full coverage in the entire gym.

- Should remote power control modules (RPC) be included for powering the amps on/off? The system currently has remote power modules installed. As long as they are functioning properly they should be able to be reused.

- Will the school be able to provide a lift for use during installation, or should lift rental be included in our price? The selected contractor will be responsible for providing a lift during installation. The contractor should install proper floor protection when the lift is in use. Any costs associated with the lift should be included in your bid.

Specifications:

The existing paging system signal/input must routed to the replacement amps/speakers through the existing DSPs.

End of Addendum #1