{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["RFP0319FACSPR_ScheduleA"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"RFP0319FACSPR_ScheduleA","index":0,"n_rows":530,"n_cols":15,"rows_kept":530,"merged":[[0,0,0,14],[1,0,1,14],[2,0,2,14],[3,0,3,14],[4,1,4,2],[4,4,4,7],[4,9,4,14],[5,0,5,14],[6,0,6,14],[7,0,7,9],[7,10,7,14],[8,0,8,1],[9,0,9,1],[10,0,10,1],[11,0,11,1],[12,0,12,1],[13,0,13,1],[14,0,14,1],[15,0,15,1],[16,0,16,1],[17,0,17,1],[18,0,18,1],[19,0,19,1],[20,0,20,1],[21,0,21,1],[22,0,22,1],[23,0,23,1],[24,0,24,1],[25,0,25,1],[26,0,26,1],[27,0,27,1],[28,0,28,1],[29,0,29,1],[30,0,30,1],[31,0,31,1],[32,0,32,1],[33,0,33,1],[34,0,34,1],[35,0,35,1],[36,0,36,1],[37,0,37,1],[38,0,38,1],[39,0,39,1],[40,0,40,1],[41,0,41,1],[42,0,42,1],[43,0,43,1],[44,0,44,1],[45,0,45,1],[46,0,46,1],[47,0,47,1],[48,0,48,1],[49,0,49,1],[50,0,50,1],[51,0,51,1],[52,0,52,1],[53,0,53,1],[54,0,54,1],[55,0,55,1],[56,0,56,1],[57,0,57,1],[58,0,58,1],[59,0,59,1],[60,0,60,1],[61,0,61,1],[62,0,62,1],[63,0,63,1],[64,0,64,1],[65,0,65,1],[66,0,66,1],[67,0,67,1],[68,0,68,1],[69,0,69,1],[70,0,70,1],[71,0,71,1],[72,0,72,1],[73,0,73,1],[74,0,74,1],[75,0,75,1],[76,0,76,1],[77,0,77,1],[78,0,78,1],[79,0,79,1],[80,0,80,1],[81,0,81,1],[82,0,82,1],[83,0,83,1],[84,0,84,1],[85,0,85,1],[86,0,86,1],[87,0,87,1],[88,0,88,1],[89,0,89,1],[90,0,90,1],[91,0,91,1],[92,0,92,1],[93,0,93,1],[94,0,94,1],[95,0,95,1],[96,0,96,1],[98,0,98,1],[99,0,99,1],[100,0,100,1],[101,0,101,1],[102,0,102,1],[103,0,103,1],[104,0,104,1],[105,0,105,1],[106,0,106,1],[107,0,107,1],[108,0,108,1],[109,0,109,1],[110,0,110,1],[111,0,111,1],[112,0,112,1],[113,0,113,1],[114,0,114,1],[115,0,115,1],[116,0,116,1],[117,0,117,1],[118,0,118,1],[119,0,119,1],[120,0,120,1],[121,0,121,1],[122,0,122,1],[123,0,123,1],[124,0,124,1],[125,0,125,1],[126,0,126,1],[127,0,127,1],[128,0,128,1],[129,0,129,1],[130,0,130,1],[131,0,131,1],[132,0,132,1],[133,0,133,1],[134,0,134,1],[135,0,135,1],[136,0,136,1],[137,0,137,1],[138,0,138,1],[139,0,139,1],[140,0,140,1],[141,0,141,1],[142,0,142,1],[143,0,143,1],[144,0,144,1],[145,0,145,1],[146,0,146,1],[147,0,147,1],[148,0,148,1],[149,0,149,1],[150,0,150,1],[151,0,151,1],[152,0,152,1],[153,0,153,1],[154,0,154,1],[155,0,155,1],[156,0,156,1],[157,0,157,1],[158,0,158,1],[159,0,159,1],[160,0,160,1],[161,0,161,1],[162,0,162,1],[163,0,163,1],[164,0,164,1],[165,0,165,1],[166,0,166,1],[167,0,167,1],[168,0,168,1],[169,0,169,1],[170,0,170,1],[171,0,171,1],[172,0,172,1],[173,0,173,1],[174,0,174,1],[175,0,175,1],[176,0,176,1],[177,0,177,1],[178,0,178,1],[179,0,179,1],[180,0,180,1],[181,0,181,1],[182,0,182,1],[183,0,183,1],[184,0,184,1],[185,0,185,1],[186,0,186,1],[187,0,187,1],[188,0,188,1],[189,0,189,1],[190,0,190,1],[191,0,191,1],[192,0,192,1],[193,0,193,1],[194,0,194,1],[195,0,195,1],[196,0,196,1],[197,0,197,1],[198,0,198,1],[199,0,199,1],[200,0,200,1],[201,0,201,1],[202,0,202,1],[203,0,203,1],[204,0,204,1],[205,0,205,1],[206,0,206,1],[207,0,207,1],[208,0,208,1],[209,0,209,1],[210,0,210,1],[211,0,211,1],[212,0,212,1],[213,0,213,1],[214,0,214,1],[215,0,215,1],[216,0,216,1],[217,0,217,1],[218,0,218,1],[219,0,219,1],[220,0,220,1],[221,0,221,1],[222,0,222,1],[223,0,223,1],[224,0,224,1],[225,0,225,1],[226,0,226,1],[227,0,227,1],[228,0,228,1],[229,0,229,1],[230,0,230,1],[231,0,231,1],[232,0,232,1],[233,0,233,1],[234,0,234,1],[235,0,235,1],[236,0,236,1],[237,0,237,1],[238,0,238,1],[239,0,239,1],[240,0,240,1],[241,0,241,1],[242,0,242,1],[243,0,243,1],[244,0,244,1],[245,0,245,1],[246,0,246,1],[247,0,247,1],[248,0,248,1],[249,0,249,1],[250,0,250,1],[251,0,251,1],[252,0,252,1],[253,0,253,1],[254,0,254,1],[255,0,255,1],[256,0,256,1],[257,0,257,1],[258,0,258,1],[259,0,259,1],[260,0,260,1],[261,0,261,1],[262,0,262,1],[263,0,263,1],[264,0,264,1],[265,0,265,1],[266,0,266,1],[267,0,267,1],[268,0,268,1],[269,0,269,1],[270,0,270,1],[271,0,271,1],[272,0,272,1],[273,0,273,1],[274,0,274,1],[275,0,275,1],[276,0,276,1],[277,0,277,1],[278,0,278,1],[279,0,279,1],[280,0,280,1],[281,0,281,1],[282,0,282,1],[283,0,283,1],[284,0,284,1],[285,0,285,1],[286,0,286,1],[287,0,287,1],[288,0,288,1],[289,0,289,1],[290,0,290,1],[291,0,291,1],[292,0,292,1],[293,0,293,1],[294,0,294,1],[295,0,295,1],[296,0,296,1],[297,0,297,1],[298,0,298,1],[299,0,299,1],[300,0,300,1],[301,0,301,1],[302,0,302,1],[303,0,303,1],[304,0,304,1],[305,0,305,1],[306,0,306,1],[307,0,307,1],[308,0,308,1],[309,0,309,1],[310,0,310,1],[311,0,311,1],[312,0,312,1],[313,0,313,1],[314,0,314,1],[315,0,315,1],[316,0,316,1],[317,0,317,1],[318,0,318,1],[319,0,319,1],[320,0,320,1],[321,0,321,1],[322,0,322,1],[323,0,323,1],[324,0,324,1],[325,0,325,1],[326,0,326,1],[327,0,327,1],[328,0,328,1],[329,0,329,1],[330,0,330,1],[331,0,331,1],[332,0,332,1],[333,0,333,1],[334,0,334,1],[335,0,335,1],[336,0,336,1],[337,0,337,1],[338,0,338,1],[339,0,339,1],[340,0,340,1],[341,0,341,1],[342,0,342,1],[343,0,343,1],[344,0,344,1],[345,0,345,1],[346,0,346,1],[347,0,347,1],[348,0,348,1],[349,0,349,1],[350,0,350,1],[351,0,351,1],[352,0,352,1],[353,0,353,1],[354,0,354,1],[355,0,355,1],[356,0,356,1],[357,0,357,1],[358,0,358,1],[359,0,359,1],[360,0,360,1],[361,0,361,1],[362,0,362,1],[363,0,363,1],[364,0,364,1],[365,0,365,1],[366,0,366,1],[367,0,367,1],[368,0,368,1],[369,0,369,1],[370,0,370,1],[371,0,371,1],[372,0,372,1],[373,0,373,1],[374,0,374,1],[375,0,375,1],[376,0,376,1],[377,0,377,1],[378,0,378,1],[379,0,379,1],[380,0,380,1],[381,0,381,1],[382,0,382,1],[383,0,383,1],[384,0,384,1],[385,0,385,1],[386,0,386,1],[387,0,387,1],[388,0,388,1],[389,0,389,1],[390,0,390,1],[391,0,391,1],[392,0,392,1],[393,0,393,1],[394,0,394,1],[395,0,395,1],[396,0,396,1],[397,0,397,1],[398,0,398,1],[399,0,399,1],[400,0,400,1],[401,0,401,1],[402,0,402,1],[403,0,403,1],[404,0,404,1],[405,0,405,1],[406,0,406,1],[407,0,407,1],[408,0,408,1],[409,0,409,1],[410,0,410,1],[411,0,411,1],[412,0,412,1],[413,0,413,1],[414,0,414,1],[415,0,415,1],[416,0,416,1],[417,0,417,1],[418,0,418,1],[419,0,419,1],[420,0,420,1],[421,0,421,1],[422,0,422,1],[423,0,423,1],[424,0,424,1],[425,0,425,1],[426,0,426,1],[427,0,427,1],[428,0,428,1],[429,0,429,1],[430,0,430,1],[431,0,431,1],[432,0,432,1],[433,0,433,1],[434,0,434,1],[435,0,435,1],[436,0,436,1],[437,0,437,1],[438,0,438,1],[439,0,439,1],[440,0,440,1],[441,0,441,1],[442,0,442,1],[443,0,443,1],[444,0,444,1],[445,0,445,1],[446,0,446,1],[447,0,447,9],[448,0,448,9],[449,0,449,1],[450,0,450,14],[451,0,451,14],[452,1,452,2],[452,3,452,4],[452,6,452,14],[453,1,453,2],[453,3,453,4],[454,1,454,2],[454,3,454,4],[455,1,455,2],[455,3,455,4],[456,1,456,2],[456,3,456,8],[456,9,456,14],[457,1,457,2],[457,3,457,14],[458,3,458,4],[458,5,458,14],[459,3,459,4],[459,5,459,14],[460,3,460,4],[460,5,460,14],[461,3,461,4],[461,5,461,14],[462,3,462,4],[462,5,462,14],[463,3,463,4],[463,5,463,14],[464,3,464,4],[464,5,464,14],[465,3,465,4],[465,5,465,14],[466,3,466,4],[466,5,466,14],[467,3,467,4],[467,5,467,14],[468,3,468,4],[468,5,468,14],[469,1,469,2],[469,3,469,14],[470,1,470,2],[470,3,470,4],[470,5,470,14],[471,1,471,2],[471,3,471,4],[471,5,471,14],[472,1,472,2],[472,3,472,14],[473,1,473,2],[473,3,473,4],[473,5,473,14],[474,1,474,2],[474,3,474,4],[474,5,474,14],[475,1,475,2],[475,3,475,4],[475,6,475,14],[476,0,476,14],[477,1,477,4],[477,5,477,14],[478,0,478,14],[479,0,479,2],[479,3,479,4],[479,5,479,14],[480,1,480,2],[480,3,480,4],[480,5,480,14],[481,1,481,2],[481,3,481,4],[481,5,481,14],[482,1,482,2],[482,3,482,4],[482,5,482,14],[483,1,483,2],[483,3,483,4],[483,5,483,14],[484,1,484,2],[484,3,484,4],[484,5,484,14],[485,1,485,2],[485,3,485,4],[485,5,485,14],[486,1,486,2],[486,3,486,4],[486,5,486,14],[487,1,487,2],[487,3,487,4],[487,5,487,14],[488,1,488,2],[488,3,488,4],[488,5,488,14],[489,1,489,2],[489,3,489,4],[489,5,489,14],[490,0,490,14],[491,0,491,14],[493,2,493,4],[493,7,493,8],[493,9,493,14],[494,2,494,4],[494,7,494,8],[494,9,494,14],[495,2,495,4],[495,7,495,8],[495,9,495,14],[496,2,496,4],[496,7,496,8],[496,9,496,14],[497,2,497,4],[497,7,497,8],[497,9,497,14],[498,2,498,4],[498,7,498,8],[498,9,498,14],[499,0,499,14],[500,2,500,4],[500,7,500,8],[500,9,500,14],[501,2,501,4],[501,7,501,8],[501,9,501,14],[502,2,502,4],[502,7,502,8],[502,9,502,14],[503,2,503,4],[503,7,503,8],[503,9,503,14],[504,2,504,4],[504,7,504,8],[504,9,504,14],[505,2,505,4],[505,7,505,8],[505,9,505,14],[506,0,506,14],[507,2,507,4],[507,7,507,8],[507,9,507,14],[508,2,508,4],[508,7,508,8],[508,9,508,14],[509,2,509,4],[509,7,509,8],[509,9,509,14],[510,2,510,4],[510,7,510,8],[510,9,510,14],[511,2,511,4],[511,7,511,8],[511,9,511,14],[512,2,512,4],[512,7,512,8],[512,9,512,14],[513,0,513,14],[514,1,514,14],[515,5,515,14],[516,5,516,14],[517,0,517,14],[518,0,518,8],[518,10,518,14],[519,10,519,14],[520,1,520,8],[520,9,520,14],[521,1,521,8],[521,9,521,14],[522,1,522,8],[522,9,522,14],[523,1,523,8],[523,9,523,14],[524,1,524,8],[524,9,524,14],[525,1,525,8],[525,9,525,14],[526,1,526,8],[526,9,526,14],[527,0,527,14],[528,1,528,2],[528,4,528,6],[528,9,528,14],[529,1,529,2],[529,4,529,6],[529,9,529,14],[530,10,530,14]],"flags":["formulas_cached_only"]}
["Annual Inspections, Testing and Maintenance of Fire Protection Sprinkler Systems and Associated Equipment"]
["RFP0319FACSPR"]
["Schedule A"]
[]
["Vendor:",{"$nulls":3},"MDNR Approved Backflow Prevention Assembly Tester ID Number:"]
[]
["Instructions: Complete all yellow fields"]
["To see the detailed information for each Building, click on the \"+\" button to the left of each Building below\nTo expand all Building details, click the [2] above and to the left\nTo hide all Building details, click the [1] above and to the left",{"$nulls":9},"Inspection and Testing Fees Per Campus\n (Work to be performed during normal school hours, 7:00 am - 4:00 pm)"]
["Buildings and Addresses",null,"5-Year Obstruction Inspections","Wet Systems","Backflows","Hydrants","Locations","Fire Alarm Device ID","Description of Sprinkler Systems, Type of Backflow Preventers and Hydrants","Backflow Serial #","Summer 2019","Summer 2020","Summer 2021","Summer 2022\n(optional renewal)","Summer 2023\n(optional renewal)"]
["Babler Elementary School\n1955 Shepard Road\nWildwood, MO  63038-1431",null,"Two (2) Sprinkler Systems Due for 5-Year Obstruction Inspections during Summer 2019"]
[{"$nulls":3},1,null,null,"Lower Lvl Storage/Mech Room","M39 M38","Wet System #1 - 4\" Butterfly"]
[{"$nulls":3},1,null,null,"Lower Lvl Storage/Mech Room","M79 M78","Wet System #2 - 4\" Butterfly"]
[{"$nulls":3},1,null,null,"Lower Lvl Storage/Mech Room","M37 M36","Wet System #3 - 3\" Butterfly"]
[{"$nulls":4},1,null,"Lower Mechancial Room",null,"6\" Ames Colt 200 RP Valve","JA1003"]
[{"$nulls":6},"Art Room Near Gym Above Ceiling","L1M38","Inspector Test Valve 4\""]
[{"$nulls":6},"Cafe Storage Closet","L1M78","Inspector Test Valve 4\""]
[{"$nulls":6},"Lower Lvl Storage/Mech Room",null,"Main Drain"]
[{"$nulls":6},"Rear of School",null,"Piv Main Supply"]
[{"$nulls":5},1,"Front of School",null,"2009 American Dairling 5 1/4\""]
[{"$nulls":5},1,"Front of School by Bike Path",null,"Hydrant - 2006 Mueller 5 1/4\""]
[{"$nulls":5},1,"Rear of School by Baseball Field",null,"Hydrant - 1992 Mueller 4 1/2\""]
[{"$nulls":5},1,"Rear of School",null,"Hydrant - 2013 Mueller 5 1/4\""]
["Ballwin Elementary School\n400 Jefferson Avenue\nBallwin, MO  63021-4925",null,"-",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Custodial Closet Room 124",null,"1\" OS&Y Copper System with Flow Switch"]
[{"$nulls":6},"Custodial Closet Room 124",null,"Inspector Test Valve 1/2\" Ball Valve"]
[{"$nulls":6},"Custodial Closet Room 124",null,"Main Drain"]
[{"$nulls":5},1,"Right Rear Parking Lot Near Playground",null,"Hydrant - 2008 Mueller 4 1/2\""]
["Blevins Elemenatary School\n25 East North Street\nEureka, MO  63025-1206",null,"One (1) Sprinkler System Due for 5-Year Obstruction Inspections during Summer 2019",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Office Work Room/Copier Rm",22,"Wet System #1 - 4\" BFV"]
[{"$nulls":3},1,null,null,"Office Work/Copier Room",21,"Wet System #2 - 6\" BFV"]
[{"$nulls":4},1,null,"Office Work/Copier Room - Backflow Device","23 & 24","6\" Febco 850 - DC Valve",9902231517]
[{"$nulls":6},"East Custodial Closet",27,"Inspector Test Valve"]
[{"$nulls":6},"West Custodial Closet",26,"Inspector Test Valve"]
[{"$nulls":6},"Office Work/Copier Rm",null,"Main Drain"]
[{"$nulls":5},1,"Front Corner of School",null,"Hydrant - 1998 Mueller 5 1/4\""]
[{"$nulls":5},1,"Rear of School",null,"Hydrant - 1998 Mueller 5 1/4\""]
["Bowles Elementary School\n501 Bowles Avenue\nFenton, MO  63026-3820",null,"One (1) Sprinkler System Due for 5-Year Obstruction Inspections during Summer 2019",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Sprinkler Closet In Café","L1M43","Wet System #1 - 4\" GR BFV"]
[{"$nulls":3},1,null,null,"Sprinkler Closet In Café","L1M42","Wet System #2 - 4\" GR BFV"]
[{"$nulls":4},1,null,"Sprinkler Closet In Cafe - Backflow Device","L1M44","4\" Ames Colt 200 DCVA - DC Valve","EF0135"]
[{"$nulls":6},"NW Corner of The Gym","L1M40","Inspector Test Valve"]
[{"$nulls":6},"Sw Corner of The Gym In Store Room","L1M41","Inspector Test Valve"]
[{"$nulls":6},"Front of School",null,"PIV Main Supply"]
[{"$nulls":5},1,"Front Entrance",null,"Hydrant - 1985 American Foundry 4 1/2\""]
["Center for Creative Learning (CCL)\n265 Old State Road\nEllisville, MO 63021-5912",null,"-",{"$nulls":3},"",null,""]
[{"$nulls":5},1,"N Pkng Lot Across From Main Building Entrance",null,"Hydrant - 2007 Mueller 4 1/2\""]
[{"$nulls":5},1,"North Pkng Lot",null,"Hydrant - 2008 Mueller 4 1/2\""]
[{"$nulls":5},1,"North East Parking Lot By Turn Around",null,"Hydrant - N2008 Mueller 4 1/2\""]
[{"$nulls":5},1,"South West Corner of School",null,"Hydrant - 2008 Mueller 4 1/2\""]
["Chesterfield Elementary School\n17700 Wild Horse Creek Road\nChesterfield, MO  63005-3799",null,"-",{"$nulls":3},"",null,""]
[{"$nulls":3},3,null,null,"Kiln Room, Art Storage & Kitchen Storage",null,"Limit Area Copper Systems Supplied From Domestic Water","N/A"]
[{"$nulls":4},1,null,"Corridor 1st Flr Custodial Closet- Backflow Device","-","1\" Wilkins 950Xl - DC Valve",418272]
[{"$nulls":4},1,null,"Kitchen - Backflow Device","-","1\" Wilkins 950Xl - DC Valve",426041]
[{"$nulls":4},1,null,"Office Closet/Key Closet - Backflow Device","-","1 1/2\" Wilkins 950Xl - DC Valve",235182]
["Child Nutrition Services Warehouse\n     and Facilities\n17146 Manchester Road\nWildwood, MO  63040-1001",null,"One (1) Sprinkler System(s) Due for 5-Year Obstruction Inspections during Summer 2019",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Pump Room / Sprinkler Room",null,"4\" Riser With Flow Switch"]
[{"$nulls":3},1,null,null,"Pump Room / Sprinkler Room",null,"Fire Pump"]
[{"$nulls":6},"2nd Level Lobby Closet","M22","Inspector Test Valve"]
["Crestview Middle School\n16025 Clayton Road\nEllisville, MO  63011-2162",null,"Three (3) Sprinkler Systems Due for 5-Year Obstruction Inspections during Summer 2019",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Theater Bldg Lower Level Storage","L1M55","Wet System #1 - 4\" Sectional BFV"]
[{"$nulls":3},1,null,null,"Theater Bldg Lower Level Storage","L1M55","Wet System #2 - 4\" Sectional BFV"]
[{"$nulls":3},1,null,null,"Boiler Room NE Corner of Cafe Bldg","L1M63","Wet System #3 - 4\" Sectional OS&Y"]
[{"$nulls":3},1,null,null,"Room 501 Sprinkler Closet","L1M64","Wet System #4 - 4\" Sectional BFV"]
[{"$nulls":3},1,null,null,"Room 501 Sprinkler Closet","L1M64","Wet System #5 - 4\" Sectional BFV"]
[{"$nulls":4},1,null,"Room 501 Sprinkler Closet","L1M64","6\" Ames Colt 200 - DC Valve","LD0154"]
[{"$nulls":4},1,null,"Mechanical (Old Boiler) Room In Cafe Bldg","L1M63","4\" Febco 850 - DC Valve","F0407011345"]
[{"$nulls":4},1,null,"Lower Lvl Sprinkler Room","L1M55","4\" Ames Colt 200 - DC Valve","KL0485"]
[{"$nulls":6},"Theater Bldg Lower Level Storage","L1M56","Inspector Test Valve"]
[{"$nulls":6},"Theater Bldg Lower Level Storage","L1M57","Inspector Test Valve"]
[{"$nulls":6},"Room 501 Sprinkler Closet","L1M62","Inspector Test Valve"]
[{"$nulls":6},"Room 501 Sprinkler Closet","L1M63","Inspector Test Valve"]
[{"$nulls":6},"SW Corner of Room 413 - Access Panel",null,"Inspector Test Valve"]
[{"$nulls":6},"Boiler Room NE Corner of Cafe Bldg",null,"Main Drain"]
[{"$nulls":6},"Room 501 Sprinkler Closet",null,"Main Drain"]
[{"$nulls":5},1,"In Front of Early Childhood Center",null,"Hydrant - 2008 Mueller 5 1/4\""]
[{"$nulls":5},1,"Behind School By Grounds Shop",null,"Hydrant - 2009 Kennedy 5 1/4\""]
[{"$nulls":5},1,"Between Early Childhood and Crestview",null,"Hydrant - 2011 Mueller 5 1/4\""]
["Early Childhood Center\n     at Clarkson Valley\n2730 Valley Road\nChesterfield, MO 63005-6920",null,"One (1) Sprinkler Systems Due for 5-Year Obstruction Inspections during Summer 2019",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Room 1 Sprinkler Closet","L1M12","Wet System #1 - 4\" FL OS&Y"]
[{"$nulls":4},1,null,"Sprinkler Room/Cafeteria","L1M11","4\" Febco 850 - DC Valve","F0208270850"]
[{"$nulls":6},"",null,"4\" Control Valve OS&Y"]
[{"$nulls":6},"Room 16 - Access Panel","L1M10","Inspector Test Valve"]
[{"$nulls":6},"Room 1 Sprinkler Closet",null,"Main Drain"]
["Ellisville Elementary School\n1425 Froesel Drive\nEllisville, MO  63011-2132",null,"Two (2) Sprinkler Systems Due for 5-Year Obstruction Inspections during Summer 2020",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Ceiling Outside of Stem Room by Cafeteria","L1M51","Wet System #1 - 6\" Butterfly"]
[{"$nulls":3},1,null,null,"Ceiling Outside of Stem Room by Cafeteria","L1M52","Wet System #2 - 6\" Butterfly"]
[{"$nulls":4},1,null,"Stem Room Closet - Across From Cafeteria","L1M20","\"6 Ames Colt 200 - DC Valve","ID1771"]
[{"$nulls":6},"Above Lockers In Kitchen Ceiling",null,"Inspector Test Valve"]
[{"$nulls":6},"Rm 24 Mechanical Closet","L1M53","Inspector Test Valve"]
[{"$nulls":6},"Stem Room Closet - Across From Cafeteria",null,"Main Drain"]
[{"$nulls":6},"Stem Room Closet - Across From Cafeteria","L1M19","Waterflow Switch"]
[{"$nulls":6},"Yard on West Side of School - Irene Dr","L1M21","Post Indicator Valve"]
[{"$nulls":5},1,"Rear of School along Irene Dr",null,"Hydrant - 2008 Mueller 4 1/2\""]
["Eureka Elementary School\n(Current location - Summer 2019)\n442 West Fourth Street\nEureka, MO  63025-1804",null,"-",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Storage Rooms",null,"Limited Area Copper Systems Supplied From Domestic Water"]
["Eureka Elementary School\n(Future location - Summer 2020)\n5350 Rockwood Arbor Drive\nEureka, MO  63025",null,"Three (3) Sprinkler Systems Due for 5-Year Obstruction Inspections during Summer 2024",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Main Mechanical Room",null,"Watts LF909 - RP Valve (Spec'd)"]
[{"$nulls":3},1,null,null,"Main Mechanical Room",null,"Watts LF709 - DC Valve (Spec'd)"]
[{"$nulls":3},1,null,null,"Main Mechanical Room",null,"Watts LF909 - RP Valve (Spec'd)"]
[{"$nulls":3},1,null,null,"Gym Mechanical Room"]
["Eureka High School\n(New addition construction - Summer 2019)\n4525 Highway 109\nEureka, MO  63025-1248",null," Five (5) Sprinkler Systems Due for 5-Year Obstruction Inspections during Summer 2019",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Sprinkler Closet by Kitchen","L4M41","Wet System #1 - 4\" Sec FL OS&Y (Serves 100 Wing)"]
[{"$nulls":3},1,null,null,"Sprinkler Closet by Kitchen","L4M41","Wet System #2 - 4\" Sec FL OS&Y (Serves Kitchen & Commons)"]
[{"$nulls":3},1,null,null,"Sprinkler Closet by Kitchen","L4M45","Wet System #3 - 4\" Sec FL OS&Y (Serves 300 Wing)"]
[{"$nulls":3},1,null,null,"Sprinkler Closet by Kitchen","L4M46","Wet System #4 - Sec FL OS&Y (200 & 700 Wing)"]
[{"$nulls":3},1,null,null,"Sprinkler Closet by Kitchen","L4M49","Main Feed To Wet System #5 - 4\" Sec GR BFV"]
[{"$nulls":3},1,null,null,"Sprinkler Room on Small Theater Stage","L2M44","Wet System #6 - 4\" Sec GR BFV (Serves Band Room)"]
[{"$nulls":3},1,null,null,"Sprinkler Room on Small Theater Stage","L2M45","Wet System #7 - 4\" Sec GR BFV (Serves Orchestra Room)"]
[{"$nulls":3},1,null,null,"Gym A Sprinkler Closet","L1M53","Wet System #8 - 4\" Sec GR BFV (Serves Gym A)"]
[{"$nulls":3},1,null,null,"Gym A Sprinkler Closet","L1M53","Wet System #9 - 4\" Sec GR BFV (Serves Gym B)"]
[{"$nulls":4},1,null,"Props Storage Room In Small Theater",null,"4\" Febco 850 - DC Valve",106140638]
[{"$nulls":4},1,null,"Athletic Complex/Gym Entrance",null,"4\" Febco 850 - DC Valve","F0210151430"]
[{"$nulls":4},1,null,"Storage Room",null,"6\" Febco 870V - DC Valve",103191311]
[{"$nulls":6},"Proposed New Construction",null,"2\""]
[{"$nulls":6},"Proposed New Construction",null,"3\" Non Pottable Water - Mechanical Electrical Room A16"]
[{"$nulls":6},"Gym A Sprinkler Closet","L1M51","CV 1 BFP 3 - 4\" Con FL OS&Y"]
[{"$nulls":6},"Gym A Sprinkler Closet","L1M51","CV 2 BFP 3 - 4\" Con FL OS&Y"]
[{"$nulls":6},"1st Flr Locker Room Bldg Mechanical Room","L1M43","CV - 2 1/2\" Sectional GRV BFV"]
[{"$nulls":6},"Gym B Boiler Rm","L1M45","CV BVP 1 - 3\" Control GRV BFV"]
[{"$nulls":6},"Gym B Boiler Rm","L1M47","CV BFP 2 - 3\" Control GRV BFV"]
[{"$nulls":6},"Sprinkler Closet by Kitchen","L4M41","CV 1 BFP 2 - 6\" Con FL OS&Y"]
[{"$nulls":6},"Sprinkler Closet by Kitchen","L4M41","CV 2 BFP 2 - 6\" Con FL OS&Y"]
[{"$nulls":6},"Sprinkler Room on Small Theater Stage","L2M45","CV 1 BFP 1 - 4 Con FL OS&Y"]
[{"$nulls":6},"Sprinkler Room on Small Theater Stage","L2M45","CV 2 BFP 1 - 4 Con FL OS&Y"]
[{"$nulls":6},"1st Flr Locker Room Garage Bay","L1M40","Inspector Test Valve - Locker Rm Bldg"]
[{"$nulls":6},"Above Ceiling at Main Entrance of Commons","L4M43","Inspector Test Valve - Wet System 2"]
[{"$nulls":6},"Closet Room 203","L4M47","Inspector Test Valve - Wet System 4"]
[{"$nulls":6},"Custodial Closet by Room 314","L4M44","Inspector Test Valve - Wet System 3"]
[{"$nulls":6},"Hall Ceiling by Gym A Team Room","L1M50","Inspector Test Valve - Wet System 8"]
[{"$nulls":6},"Above Ceiling - Room 808","L2M42","Inspector Test Valve - Wet System 6 (Band Rm)"]
[{"$nulls":6},"Above Ceiling - Room 808","L2M43","Inspector Test Valve - Wet System 7 (Orchestra Rm)"]
[{"$nulls":6},"Sprinkler Closet by Kitchen","L4M48","Inspector Test Valve - Wet System 5"]
[{"$nulls":6},"Sprinkler Closet by Kitchen","L4M42","Inspector Test Valve - Wet System 1"]
[{"$nulls":6},"Gym A Sprinkler Closet",null,"Main Drain"]
[{"$nulls":6},"Sprinkler Closet by Kitchen",null,"Main Drain"]
[{"$nulls":6},"Gym A Sprinkler Closet","L1M52","Water Flow Switch"]
[{"$nulls":6},"Gym B Boiler Rm","L1M44","Water Flow Switch"]
["Fairway Elementary School\n480 Old Fairway Drive\nWildwood, MO  63040-1569",null,"One (1) Sprinkler System Due for 5-Year Obstruction Inspections during Summer 2020",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Fire Sprinkler Room #26 In Office Area","M23","Wet System #1 - 4\" Butterfly"]
[{"$nulls":3},1,null,null,"Fire Sprinkler Room #26 In Office Area","M23",""]
[{"$nulls":4},1,null,"Fire Sprinkler Room #26 In Office Area","M26","4\" Ames Colt 200 - DC Valve","EF0121"]
[{"$nulls":6},"Fire Sprinkler Room #26 In Office Area","M24","Inspector Test Valve - Wet System 1"]
[{"$nulls":6},"Fire Sprinkler Room #26 In Office Area","M25","Inspector Test Valve - Wet System 2"]
[{"$nulls":6},"Fire Sprinkler Room #26 In Office Area",null,"Main Drain"]
[{"$nulls":5},1,"Front of School North",null,"Hydrant - 2004 American Darling 5 1/4\""]
[{"$nulls":5},1,"Front of School Middle",null,"Hydrant - 2004 American Darling 5 1/4\""]
[{"$nulls":5},1,"Front of School South",null,"Hydrant - 2004 American Darling 5 1/4\""]
[{"$nulls":5},1,"Rear of School North",null,"Hydrant - 2004 American Darling 5 1/4\""]
[{"$nulls":5},1,"Rear of School Middle",null,"Hydrant - 2004 American Darling 5 1/4\""]
[{"$nulls":5},1,"Rear of School South",null,"Hydrant - 2004 American Darling 5 1/4\""]
["Geggie Elementary School\n430 Bald Hill Road\nEureka, MO  63025-2043",null,"Two (2) Sprinkler Systems Due for 5-Year Obstruction Inspections during Summer 2019",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Sprinkler Closet Inside Room 45","M53","Wet System #1 - 6\" BFV"]
[{"$nulls":3},1,null,null,"Sprinkler Closet Inside Room 45","M51","Wet System #2 - 2 1/2\" BFV"]
[{"$nulls":4},1,null,"Sprinkler Closet Inside Room 45","M32","\"6 Ames Colt 200 - DC Valve","ID1765"]
[{"$nulls":6},"Sprinkler Closet Inside Room 45","M31","Inspector Test Valve"]
[{"$nulls":6},"Sprinkler Closet Inside Room 45","M50","Inspector Test Valve"]
[{"$nulls":6},"Sprinkler Closet Inside Room 45",null,"Main Drain - 2\""]
[{"$nulls":6},"West Drive","M32","PIV Main Supply"]
["Green Pines Elementary School\n16543 Green Pines Drive\nWildwood, MO  63011-1869",null,"One (1) Sprinkler System Due for 5-Year Obstruction Inspections during Summer 2020",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Sprinkler Closet by Southwest Entry (Door #2)","M28","Wet System - 4\" Control BFV"]
[{"$nulls":4},1,null,"Southwest Entry Door",null,"4\"Ames Colt 200 - DC Valve","GF1297"]
[{"$nulls":6},"Sprinkler Closet by Southwest Entry (Door #2)","M28","CV 1 BFP - 4\" Control BFV"]
[{"$nulls":6},"Sprinkler Closet by Southwest Entry (Door #2)","M28","CV 2 BFP - 4\" Control BFV"]
[{"$nulls":6},"Cafe Storage","M27","Inspector Test Valve"]
[{"$nulls":6},"Sprinkler Closet by Southwest Entry (Door #2)",null,"Main Drain"]
[{"$nulls":5},1,"Left Side of School Near Turnaround",null,"Hydrant - M&H 5 1/4\""]
["Kehrs Mill Elementary School\n2650 Kehrs Mill Road\nChesterfield, MO 63017-7322",null,"One (1) Sprinkler System Due for 5-Year Obstruction Inspections during Summer 2020",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Sprinkler Closet Inside Staff Lounge","L1M35","Wet System - East - 4\" Sectional BFV"]
[{"$nulls":3},1,null,null,"Sprinkler Closet Inside Staff Lounge","L1M33","Wet System - West- 4\" Sectional BFV"]
[{"$nulls":4},1,null,"Teacher's Lounge Sprinkler Room",null,"4\" Ames Colt 200 - DC Valve","KE2591"]
[{"$nulls":6},"Sprinkler Closet Inside Staff Lounge","L1M34","CV 1 - 4\" Control BFV"]
[{"$nulls":6},"Sprinkler Closet Inside Staff Lounge","L1M34","CV 2 - 4\" Control BFV"]
[{"$nulls":6},"Sprinkler Closet Inside Staff Lounge","L1M30","Inspector Test Valve"]
[{"$nulls":6},"Sprinkler Closet Inside Staff Lounge","L1M32","Inspector Test Valve"]
[{"$nulls":6},"Sprinkler Closet Inside Staff Lounge",null,"Main Drain"]
[{"$nulls":6},"Front of School Sest Side","L1M31","Post Indicator Valve"]
[{"$nulls":5},1,"Front of School East Side",null,"Hydrant - 1988 M&H 929 5 1/4\""]
[{"$nulls":5},1,"Front of School West Side",null,"2008 Mueller 4 1/2\""]
[{"$nulls":5},1,"Rear of Building",null,"Hydrant - 1988 M&H 929 5 1/4\""]
["Kellison Elementary School\n1626 Hawkins Road\nFenton, MO  63026-2600",null,"One (1) Sprinkler System Due for 5-Year Obstruction Inspections during Summer 2019",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Sprinkler Closet In Café","L1M35","Wet System #1 - CV 3 - 4\" GR BFV"]
[{"$nulls":3},1,null,null,"Sprinkler Closet In Café","L1M35","Wet System #2 - CV 4 - 4\" GR BFV"]
[{"$nulls":4},1,null,"Sprinkler Outside Mechanical Room",null,"4\" Ames Colt 200 - DC Valve","ED0214"]
[{"$nulls":6},"Sprinkler Closet In Café","L1M34","CV 1 BFP - 4\" GR BFV"]
[{"$nulls":6},"Sprinkler Closet In Café","L1M34","CV 2 BFP - 4\" GR BFV"]
[{"$nulls":6},"Sprinkler Closet In Café","L1M33","Inspector Test Valve - Wet System 1"]
[{"$nulls":6},"Sprinkler Closet In Café","L1M32","Inspector Test Valve - Wet System 2"]
[{"$nulls":6},"Sprinkler Closet In Café",null,"Main Drain"]
[{"$nulls":6},"West Side of Building By Hydrant","L1M31","Post Indicator Valve"]
[{"$nulls":5},1,"Front Middle of Building",null,"Hydrant - American Foundry"]
[{"$nulls":5},1,"Rear of Building Behind Cafeteria",null,"Hydrant - 1972 American Foundry 4 1/2\""]
[{"$nulls":5},1,"West Side of Building by PIV",null,"Hydrant - 1972 American Foundry 4 1/2\""]
["Lafayette High School\n17050 Clayton Road\nWildwood, MO  63011-1794",null,"Three (3) Sprinkler Systems Due for 5-Year Obstruction Inspections during Summer 2020",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Mechanical Room Above Gym",null,"Wet System #1 - 4\" Butterfly"]
[{"$nulls":3},1,null,null,"2nd Flr Sprinkler Room","L2M40","Wet System #2 - 3\" Butterfly"]
[{"$nulls":3},1,null,null,"North Stairwell Lower Level",null,"Wet System #3 - 3\" Butterfly"]
[{"$nulls":3},1,null,null,"2nd Flr Sprinkler Room","L2M46","Wet System #4 - 4\" Butterfly"]
[{"$nulls":3},1,null,null,"1st Flr Stair Between Rms 143 & 144",null,"Wet System #5 - 4\" Butterfly"]
[{"$nulls":3},1,null,null,"2nd Flr Sprinkler Room","L2M40","Wet System #6 - 3\" Butterfly"]
[{"$nulls":3},1,null,null,"1st Flr Stairwell Near Pool Entrance",null,"Wet System #7 - 3\" Butterfly"]
[{"$nulls":3},1,null,null,"1st Flr Stair Between Rms 132 & 133",null,"Wet System #8 - 4\" Butterfly"]
[{"$nulls":3},1,null,null,"2nd Flr Center Stair by Rm 246",null,"Wet System #9 - 4\" Butterfly Above Ceiling"]
[{"$nulls":3},1,null,null,"Multi-Purpose Rm Storage",null,"Wet System #10 - 3\" Butterfly"]
[{"$nulls":4},1,null,"Sprinkler Pit Outside Mechanical Room",null,"6\" Ames 2000 - DC Valve",108016]
[{"$nulls":4},1,null,"2nd Floor Closet New Wing by Room 281",null,"4\" Febco 850 - DC Valve",2181027]
[{"$nulls":6},"Sprinkler Pit Outside of Mechanical Room",null,"CV 1 BFP 1 - 6\" DCVA"]
[{"$nulls":6},"Sprinkler Pit Outside of Mechanical Room",null,"CV 2 BFP 1"]
[{"$nulls":6},"2nd Flr Sprinkler Rm",null,"CV 1 BFP 2 - 4\""]
[{"$nulls":6},"2nd Flr Sprinkler Rm",null,"CV 2 BFP 2"]
[{"$nulls":6},"2nd Flr East Stair","L2M34","Wet System #4 - 4\" BFV"]
[{"$nulls":6},"Room 99 South Wall",null,"Inspector Test Valve - Wet System 1"]
[{"$nulls":6},"Men's Restroom by Rm 180 (Above Ceiling)","L2M43","Inspector Test Valve - Wet System 2 - 1 1/2\" Globe Valve"]
[{"$nulls":6},"Boiler Room / Pool Maintenance",null,"Inspector Test Valve - Wet System 3 - 3\" Sectional BFV"]
[{"$nulls":6},"Custodial Closet Across From Rm 233","L2M35","Inspector Test Valve - Wet System 4 - 1\" Ball Valve"]
[{"$nulls":6},"Custodial Closet Across From Rm 140",null,"Inspector Test Valve - Wet System 5 - 1\" Globe Valve"]
[{"$nulls":6},"Rm 285 Access Panel","L2M42","Inspector Test Valve - Wet System 6 - 3\" BFV"]
[{"$nulls":6},"Custodial Closet Across From Rm 233","L2M40","Inspector Test Valve -Main Supply To East & West Stair"]
[{"$nulls":6},"Custodial Closet Across From Rm 233","L2M35","Inspector Test Valve - Wet System"]
[{"$nulls":6},"Fire Pump Room In Pool Area",null,"Inspector Test Valve - Wet System 7 - 1\" Ball Valve"]
[{"$nulls":6},"Custodial Closet Across From Rm 133",null,"Inspector Test Valve - Wet System 8"]
[{"$nulls":6},"2nd Flr Center Stair By Rm 246",null,"Inspector Test Valve System 9 (Need Hose And Trash Can)"]
[{"$nulls":6},"Wrestling Rm Above Ceiling",null,"Wet System 10"]
[{"$nulls":6},"Fire Pump Room In Pool Area","L1M52","Fire Pump CV 1 - FP Suction"]
[{"$nulls":6},"Fire Pump Room In Pool Area","L1M52","Fire Pump CV 2 - FP Discharge"]
[{"$nulls":6},"Fire Pump Room In Pool Area","L1M52","CV 3 By-Pass 1 - 6\" Butterfly"]
[{"$nulls":6},"Fire Pump Room In Pool Area","L1M52","CV 4 By-Pass 2 - 6\" Butterfly"]
[{"$nulls":6},"Fire Pump Room In Pool Area",null,"Main Drain"]
[{"$nulls":6},"Front Main Driveway",null,"Post Indicator Valve"]
[{"$nulls":6},"Fire Pump Room In Pool Area","L1M48","Tamper Switch Pump Power Loss"]
[{"$nulls":6},"Fire Pump Room In Pool Area","L1M49","Tamper Switch Pump Running"]
[{"$nulls":5},1,"Service Drive West Entry - Near Gate & Electric Panels",null,"Hydrant - 1989 Mueller 5 1/4\""]
[{"$nulls":5},1,"Near Stadium Entrance",null,"Hydrant - 1988 Mueller 5 1/4\""]
[{"$nulls":5},1,"Rear Driveway Across From Loading Dock",null,"Hydrant - Mueller 5 1/4\""]
[{"$nulls":5},1,"Right Side of Building Near Sidewalk",null,"Hydrant - Mueller 5 1/4\""]
[{"$nulls":5},1,"Driveway Near Recycle Bins",null,"Hydrant - 1988 Mueller 5 1/4\""]
["LaSalle Springs Middle School\n3300 Highway 109\nWildwood, MO  63038-2201",null,"Two (2) Sprinkler Systems Due for 5-Year Obstruction Inspections during Summer 2019",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Sprinkler Closet In Café","M50","Wet System #1 - 3\" Sectional OS&Y"]
[{"$nulls":3},1,null,null,"Sprinkler Closet In Café","M49","Wet System #2 - 2 1/2\" Sectional OS&Y"]
[{"$nulls":3},1,null,null,"Sprinkler Closet In Café","M48","Wet System #3 - 2 1/2\" Sectional OS&Y"]
[{"$nulls":4},1,null,"Sprinkler Room by Front Entrance",null,"4\" Hersey 2 - DC Valve",9201290]
[{"$nulls":6},"Sprinkler Closet In Café","M52","CV 1 BFP - 4\" FL OS&Y"]
[{"$nulls":6},"Sprinkler Closet In Café","M51","CV 2 BFP - 4\" FL OS&Y"]
[{"$nulls":6},"Room 410 (PE/Activities Room)","M30","Inspector Test Valve - Wet System 1"]
[{"$nulls":6},"Room 612 Above Ceiling","M04","Inspector Test Valve - Wet System 2"]
[{"$nulls":6},"Room 812 Above Ceiling","M10","Inspector Test Valve - Wet System 3"]
[{"$nulls":6},"Sprinkler Closet In Café",null,"Main Drain"]
[{"$nulls":5},1,"Southwest Front Lot",null,"Hydrant - 1992 Clow 5 1/4\""]
[{"$nulls":5},1,"Northeast Front Lot",null,"Hydrant - 1992 Clow 5 1/4\""]
[{"$nulls":5},1,"Rear Lot",null,"Hydrant - 1992 Clow 5 1/4\""]
["Marquette High School\n2351 Clarkson Road\nChesterfield, MO  63017-7122",null,"Seven (7) Sprinkler Systems Due for 5-Year Obstruction Inspections during Summer 2023",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Boiler Room","L2M33","6\" OS&Y Main Water Supply"]
[{"$nulls":3},1,null,null,"1st Flr Area D Stairwell Near Roll Up Door","L1M33","Wet System #1 - 4\" Butterfly (Need 12' Ladder)"]
[{"$nulls":3},1,null,null,"2nd Floor North Stairwell - Access Panel","L3M31","Wet System #2 - 3\" Butterfly"]
[{"$nulls":3},1,null,null,"3rd Floor North Stairwell - Access Panel","L4M31","Wet System #3 - 2.5\" Butterball"]
[{"$nulls":3},1,null,null,"Near Room 108 In Ceiling - Access Panel","L2M43","Wet System #4 - 3\" Butterfly"]
[{"$nulls":3},1,null,null,"Hallway Near Flex Room - Access Panel","L3M37","Wet System #5 - 2.5\" Butterfly"]
[{"$nulls":3},1,null,null,"East Stairwell Across From Rm 106 - Access Panel","L2M41","Wet System #6 - 2.5\" Butterball"]
[{"$nulls":3},1,null,null,"2nd Flr Stairwell Near Flex Room - Access Panel","L3M35","Wet System #7 - 3\" Butterfly"]
[{"$nulls":3},1,null,null,"3rd Flr Se Stairwell - Access Panel","L4M33","Wet System #8 - 2.5\" Butterball"]
[{"$nulls":3},1,null,null,"Near Room 108 In Ceiling - Access Panel","L2M45","Wet System #9 - 2.5\" Butterfly"]
[{"$nulls":3},1,null,null,"Lower Level Weight Room Facing Field","L1M35","Wet System #10 - 3\" Butterfly"]
[{"$nulls":3},1,null,null,"Area D Stairwell - Access Panel","L1M31","Wet System #11 - 2.5\" Butterball"]
[{"$nulls":3},1,null,null,"North Stairwell - Access Panel","L2M31","Wet System #12 - 2.5\" Butterfly"]
[{"$nulls":3},1,null,null,"2nd Floor Commons Stairwell - Access Panel","L3M33","System #13 - 3\" Butterfly (Feeds Bldg B Water Curtain)"]
[{"$nulls":3},1,null,null,"North Stairwell - Access Panel","L2M32","CV Riser Sectional - 4\" Butterfly"]
[{"$nulls":3},1,null,null,"Theater, Rear Of Stage",null,"2\" OS&Y - CV, Preaction System"]
[{"$nulls":4},1,null,"Sprinkler Pit Kehrs Mill Entrance",null,"8\" Ames 3000DC - DC Valve","1118H05"]
[{"$nulls":4},1,null,"Sprinkler Pit Kehrs Mill Entrance",null,"0.75\" Watts 007MI1 - DC Valve",12154]
[{"$nulls":6},"Pit - Kehrs Mill Entrance",null,"CV 1 BFP - 8\" OS&Y"]
[{"$nulls":6},"Pit - Kehrs Mill Entrance",null,"CV 1 BFP 2 - 3/4\" Ball Valve"]
[{"$nulls":6},"Pit - Kehrs Mill Entrance",null,"CV 2 BFP - 8\" OS&Y"]
[{"$nulls":6},"Pit - Kehrs Mill Entrance",null,"CV 2 BFP 2 - 3/4\" Ball Valve"]
[{"$nulls":6},"Mechanical Room 194","L1M32","Inspector Test Valve - Wet System 1"]
[{"$nulls":6},"2nd Flr North Stairwell","L3M30","Inspector Test Valve - Wet System 2"]
[{"$nulls":6},"3rd Floor North Stairwell","L4M30","Inspector Test Valve - Wet System 3"]
[{"$nulls":6},"Rear Left Corner of Stage","L2M42","Inspector Test Valve - Wet System 4"]
[{"$nulls":6},"East Stairwell Across From Rm 106 - Access Panel","L1M32","Inspector Test Valve - Wet System 6"]
[{"$nulls":6},"2nd Flr Stairwell Near Flex Room","L3M34","Inspector Test Valve - Wet System 7"]
[{"$nulls":6},"3rd Flr Se Stairwell","L4M32","Inspector Test Valve - Wet System 8"]
[{"$nulls":6},"Rear Stage Of Theater Next To Pre-Action","L2M44","Inspector Test Valve - Wet System 9"]
[{"$nulls":6},"Lower Level Weight Room Facing Field","L1M34","Inspector Test Valve - Wet System 10 - East Wall"]
[{"$nulls":6},"Pool Pump Room","L1M30","Inspector Test Valve - Wet System 11"]
[{"$nulls":6},"North Stairwell - Access Panel","L2M30","Inspector Test Valve - Wet System 12"]
[{"$nulls":6},"2nd Flr Commons Stairwell","L3M32","Inspector Test Valve - Wet System 13"]
[{"$nulls":6},"Mechanical Room Near Main Fire Panel",null,"Main Drain All Systems"]
["Pond Elementary School\n17200 Manchester Road\nWildwood, MO  63040-1000",null,"-",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Lower Hallway Ceiling Near Room 1",null,"CV 1 BFP 1 - 1 1/2\" Ball Valve (Height is 13' 8\") Copper System"]
[{"$nulls":3},1,null,null,"Lower Hallway Ceiling Near Room 1",null,"CV 1 BFP 1 - 1 1/2\" Ball Valve (Need Ladder)"]
[{"$nulls":4},1,null,"Lower Hallway Ceiling Near Room 1",null,"1.5\" Wilkens 950 - DC Valve",47437]
[{"$nulls":4},1,null,"Storage Room Teacher's Lounge",null,"1\" Wilkens 950 - DC Valve",48444]
[{"$nulls":6},"Staff Lounge Storage Rm",null,"CV 2 BFP 2 - 1\" Ball Valve - Copper System"]
[{"$nulls":6},"Staff Lounge Storage Rm",null,"CV 1 BFP 2 - 1\" Ball Valve"]
["Ridge Meadows Elementary School\n777 Ridge Road\nEllisville, MO  63021-5956",null,"-",{"$nulls":3},"",null,""]
[{"$nulls":3},7,null,null,"Storage Rooms",null,"Limited Area Systems Fed From Domestic Copper"]
[{"$nulls":5},1,"Front Drive",null,"Hydrant - 1999 Mueller 4 1/2\""]
["Rockwood South Middle School\n1628 Hawkins Raod\nFenton, MO  63026-2629",null,"Two (2) Sprinkler Systems Due for 5-Year Obstruction Inspections during Summer 2021",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Sprinkler Closet In Room 501","L1M35","Wet System #1 - 6\" Butterfly"]
[{"$nulls":3},1,null,null,"Sprinkler Closet In Room 501","L1M35","Wet System #2 - 6\" Butterfly"]
[{"$nulls":3},1,null,null,"Sprinkler Closet In Room 501","L1M35","Wet System #3 - 6\" Butterfly"]
[{"$nulls":4},1,null,"Sprinkler Room SW Corner Orchestra Room",null,"6\" Ames Colt 200 - DC Valve","GI0685"]
[{"$nulls":6},"Sprinkler Closet In Room 501","L1M35","CV 1 BFP - 6\" Butterfly"]
[{"$nulls":6},"Sprinkler Closet In Room 501","L1M35","CV 2 BFP - 6\" Butterfly"]
[{"$nulls":6},"Sprinkler Closet In Room 501","L1M34","Inspector Test Valve - Wet System 1"]
[{"$nulls":6},"Sprinkler Closet In Room 501","L1M33","Inspector Test Valve - Wet System 2"]
[{"$nulls":6},"Sprinkler Closet In Room 501","L1M32","Inspector Test Valve - Wet System 3"]
[{"$nulls":6},"Sprinkler Closet In Room 501",null,"Main Drain"]
[{"$nulls":6},"Front of School","L1M43","Post Indicator Valve"]
[{"$nulls":5},1,"East Gravel Drive Near Rear of Building",null,"Hydrant - 1996 American Foundry 4 1/2\""]
[{"$nulls":5},1,"Front of School",null,"Hydrant - American Foundry 5 1/4\""]
[{"$nulls":5},1,"NW Rear of Building",null,"Hydrant - American Foundry"]
[{"$nulls":5},1,"Rear of Building Across From Dumpsters",null,"Hydrant - 1979 American Foundry 5 1/4\""]
["Rockwood Summit High School\n1780 Hawkins Road\nFenton, MO 63026-2650",null,"Three (3) Sprinkler Systems Due for 5-Year Obstruction Inspections during Summer 2023",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Bottom of Stair F (1)","L2M35","CV Wet System #1 Sectional, BFV 2.5\""]
[{"$nulls":3},1,null,null,"Access Panel By Rm 116 (2)","L2M31","CV Wet System #2 Sectional, BFV 2.5\""]
[{"$nulls":3},1,null,null,"Above Doors Under Mezz (3)","L1M39","CV Wet System #3 Sectional, BFV 2.5\""]
[{"$nulls":3},1,null,null,"Access Panel by Library Stairs (4)","L1M35","CV Wet System #4 Sectional, BFV 2.5\""]
[{"$nulls":3},1,null,null,"Above Ceiling by Room 510 (5)","L1M43","CV Wet System #5 Sectional, BFV 2.5\""]
[{"$nulls":3},1,null,null,"Room 600 Closet (5,6,11)","L2M51","CV Wet System #6 Sectional, BFV 6\""]
[{"$nulls":3},1,null,null,"Above Ceiling Outside Room 600 (7)","L2M52","CV Wet System #7 Sectional, BFV 2.5\""]
[{"$nulls":3},1,null,null,"Top of Stairs by Wrestling Room (8,9)","L1M37","CV Wet System #8 Sectional, BFV 2.5\""]
[{"$nulls":3},1,null,null,"Top of Stairs by Wrestling Room (8,9)","L1M41","CV Wet System #9 Sectional, BFV 3\""]
[{"$nulls":3},1,null,null,"Top of Stair F (10)","L1M37","CV Wet System #10 Sectional, BFV 3\""]
[{"$nulls":3},1,null,null,"Top of Commons","L1M31","CV Wet System #11 Sectional, BFV 2.5\""]
[{"$nulls":3},1,null,null,"Top of Library Stairs","L1M45","CV Wet System #12 Sectional, BFV 3\""]
[{"$nulls":4},1,null,"Boiler Room",null,"","2C10401"]
[{"$nulls":6},"Room 411 Mechanical","L2M38","CV 1 BFP Control, OS&Y 6\""]
[{"$nulls":6},"Room 411 Mechanical","L2M38","CV 2 BFP Control, OS&Y 6\""]
[{"$nulls":6},"Room 411 Mechanical","L2M38","CV - Bldg A Control, BFV 4\""]
[{"$nulls":6},"Room 411 Mechanical","L2M38","CV - Bldg B Control, BFV 6\""]
[{"$nulls":6},"Room 411 Mechanical","L2M38","CV - Bldg C Control, BFV 4\""]
[{"$nulls":6},"Room 411 Mechanical","L2M38","CV - Bldg D & E Control, BFV 4\""]
[{"$nulls":6},"Room 430 Jan. Closet (1)","L2M34","Inspector Valve Wet System 1"]
[{"$nulls":6},"Jan. Closet 181 (2)","L2M30","Inspector Valve Wet System 2"]
[{"$nulls":6},"Jan. Closet 002C By Dock (3)","L2M38","Inspector Valve Wet System 3"]
[{"$nulls":6},"Jan Closet 281 (4)",null,"Inspector Valve Wet System 4"]
[{"$nulls":6},"Room 600 Closet (5,6,11)","L1M42","Inspector Valve Wet System 5"]
[{"$nulls":6},"Room 600 Closet (5,6,11)","L2M50","Inspector Valve Wet System 6"]
[{"$nulls":6},"NE Theater Exit (7)","L2M52","Inspector Valve Wet System 7"]
[{"$nulls":6},"Lower Gym (8)","L1M46","Inspector Valve Wet System 8"]
[{"$nulls":6},"Top of Stairs by Wrestling Room (8,9)","L1M40","Inspector Valve Wet System 9"]
[{"$nulls":6},"Weight Room (10)","L1M36","Inspector Valve Wet System 10"]
[{"$nulls":6},"Room 600 Closet (5,6,11)","L1M31","Inspector Valve Wet System 11"]
[{"$nulls":6},"Jan. Closet 381 (2)","L1M44","Inspector Valve Wet System 11"]
[{"$nulls":6},"Top of Stairs by Wrestling Room","L1M40","Flow System - Globe Valve 2\""]
[{"$nulls":6},"Room 411 Mechanical",null,"Main Drain - Globe Valve 2\""]
[{"$nulls":5},1,"Southwest Corner",null,"Hydrant 1 - Am Darling 4 1/2\""]
[{"$nulls":5},1,"Southeast Corner",null,"Hydrant 2 - Am Darling 4 1/2\""]
[{"$nulls":5},1,"West Side of Softball Field",null,"Hydrant 3 - Am Darling 4 1/2\""]
[{"$nulls":5},1,"North Center by Football Field",null,"Hydrant 4 - Am Darling 4 1/2\""]
[{"$nulls":5},1,"Northeast Corner",null,"Hydrant 5 - 1998 Mueller 4 1/2\""]
[{"$nulls":5},1,"Front of School",null,"Hydrant 6 - 2008 Mueller 5 1/4\""]
["Rockwood Valley Middle School\n1220 Babler Park Drive\nWildwood, MO  63038-1359",null,"Two (2) Sprinkler Systems Due for 5-Year Obstruction Inspections during Summer 2019",{"$nulls":3},"",null,""]
[{"$nulls":6},"Boiler Room","M28","CV Main Supply BFV 4\""]
[{"$nulls":3},1,null,null,"Boiler Room 1st Fl By Loading Dock","M26","CV Wet System 1 - BFV 4\""]
[{"$nulls":3},1,null,null,"Boiler Room 1st Fl By Loading Dock","M26","CV Wet System 2 - BFV 4\""]
[{"$nulls":3},1,null,null,"Boiler Room 1st Fl By Loading Dock","M26","CV Wet System 3 - BFV 4\""]
[{"$nulls":6},"Employee Break Room Closet","L1M18","CV Elevator - 1.25\" Butterball"]
[{"$nulls":4},1,null,"Fire Pump Vault",null,"1.5\" Wilkens 950 - DC Valve",66167]
[{"$nulls":6},"Fire Pump Vault",null,"CV 1 BFP - Wilkens 950 1.5\" - 1 1/2\" Ball Valve"]
[{"$nulls":6},"Fire Pump Vault",null,"CV 1 - FP Suction 1500 GPM OS&Y 8\""]
[{"$nulls":6},"Fire Pump Vault",null,"CV 2 FP BFP 1 1/2\" Ball Valve"]
[{"$nulls":6},"Fire Pump Vault",null,"CV 2 FP Discharge BFV 8\""]
[{"$nulls":6},"Fire Pump Vault",null,"CV 3 Flow Meter 1 BFV 8\""]
[{"$nulls":6},"Fire Pump Vault",null,"CV 4 Flow Meter 2 BFV 8\""]
[{"$nulls":6},"Fire Pump Vault",null,"CV Jockey Pump Discharge 1 1/4\" Butterball"]
[{"$nulls":6},"Weight Room by Gym Door Next to Exit","M25","Inspector Test Valve Wet System 1"]
[{"$nulls":6},"2nd Floor Fire Escape on 1st Flr by Man Door In Ceiling","M24","Inspector Test Valve Wet System 2"]
[{"$nulls":6},"Room 1903 In Access Panel","M23","Inspector Test Valve Wet System 3"]
[{"$nulls":6},"Fire Pump Vault","L1M32","Tamper Switch - Pump Power"]
[{"$nulls":6},"Boiler Room 1st Fl By Loading Dock",null,"Main Drain Wet System"]
[{"$nulls":5},1,"Front of Building by Main Entrance",null,"Hydrant 1 - 1992 Mueller 5 1/4\""]
[{"$nulls":5},1,"Back of Building by Loading Dock",null,"Hydrant 2 - 1992 Mueller 5 1/4\""]
[{"$nulls":5},1,"Back of Building at End by Track",null,"Hydrant 3 - 1992 Mueller 5 1/4\""]
["Selvidge Middle School\n235 New Ballwin Road,\nBallwin, MO  63021-4799",null,"Two (2) Sprinkler Systems Due for 5-Year Obstruction Inspections during Summer 2020",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Computer Storage Room 7th Grade Wing","L1M45","CV Wet System 1 (Copper System) - Above Ceiling - OS&Y 2\""]
[{"$nulls":3},1,null,null,"Library Closet/Sprinkler Room","L1M47","Inspector Test Valve Wet System 1 1/2\" Ball Valve"]
[{"$nulls":6},"Library Closet/Sprinkler Room","L1M46","Inspector Test Valve Wet System 2 1/2\" Test & Drain 2\""]
[{"$nulls":6},"Front Left of Entrance","L1M43","Post Indicator Valve"]
[{"$nulls":4},1,null,"Computer Storage Room",null,"2\" Febco 850 - DC Valve",21330]
[{"$nulls":4},1,null,"FACS Storage Room",null,"1\" Watts 007MI-QT",360651]
[{"$nulls":4},1,null,"Multi-Purpose Gym Storage",null,"1\" Watts 007Mi-Qt",357604]
[{"$nulls":4},1,null,"Library Closet",null,"4\" Ames Colt 200A -DC Valve","KD1489"]
[{"$nulls":6},"Computer Storage Room 7th Grade Wing","L1M44","Main Drain"]
[{"$nulls":5},1,"Front of School South Side",null,"Hydrant 1 - 1967 Am Foundry 5 1/4\""]
[{"$nulls":5},1,"Rear of School by Fields",null,"Hydrant 2 - 1967 Am Foundry 5 1/4\""]
[{"$nulls":5},1,"Rear of School by School",null,"Hydrant 3 - 1967 Am Foundry 5 1/4\""]
["Stanton Elementary School\n1430 Flora Del Drive\nFenton, MO  63026-3213",null,"One (1) Sprinkler Systems Due for 5-Year Obstruction Inspections during Summer 2019",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Sprinkler Room In Teacher's Lounge RR",null,"Wet System #1 - 4\""]
[{"$nulls":3},1,null,null,"Sprinkler Room In Teacher's Lounge RR",null,"Wet System #2 - 4\""]
[{"$nulls":4},1,null,"Sprinkler Room by Teacher's Lounge",null,"2\" Febco 850 - DC Valve",21330]
[{"$nulls":4},1,null,"Plumbing",null,"",118425]
[{"$nulls":6},"Sprinkler Room In Teacher's Lounge RR","L1M22","CV 1 BFP GR BFV 6\""]
[{"$nulls":6},"Sprinkler Room In Teacher's Lounge RR","L1M23","CV 2 BFP GR BFV 6\""]
[{"$nulls":6},"Sprinkler Room In Teacher's Lounge RR","L1M27","CV 3 Existing Bldg GR BFV 4\""]
[{"$nulls":6},"Sprinkler Room In Teacher's Lounge RR","L1M27","CV 4 New Addition GR BFV 4\""]
[{"$nulls":6},"North End of Building In Gym Office","L1M24","Inspector Test Valve Sectional BFV 4\""]
[{"$nulls":6},"Sprinkler Room In Teacher's Lounge RR","L1M24","Inspector Test Valve New Addition - Test & Drain 2\""]
[{"$nulls":6},"Yard Outside Teacher's Lounge","L1M25","Post Indicator Valve"]
[{"$nulls":6},"Sprinkler Room In Teacher's Lounge RR",null,"Main Drain Wet System"]
[{"$nulls":5},1,"East Entrance Near PIV",null,"Hydrant 1 - 1999 Mueller 5 1/4\""]
["Uthoff Valley Elementary School\n1600 Uthoff Drive\nFenton, MO  63026-2322",null,"One (1) Sprinkler Systems Due for 5-Year Obstruction Inspections during Summer 2019",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Sprinkler Closet In Library","L1M24","CV Wet System 1 Sec GR BFV 3\""]
[{"$nulls":3},1,null,null,"Sprinkler Closet In Library","L1M24","CV Wet System 2 Sec GR BFV 3\""]
[{"$nulls":4},1,null,"Library/Storage",null,"4\" Ames Colt 200 - DC Valve","ED1810"]
[{"$nulls":6},"Sprinkler Closet In Library","L1M24","CV 1 BFP Con GR BFV 4\""]
[{"$nulls":6},"Sprinkler Closet In Library","L1M24","CV 2 BFP Con GR BFV 4\""]
[{"$nulls":6},"Front NW (By Main Entrance)","L1M27","Post Indicator Valve"]
[{"$nulls":6},"Sprinkler Closet In Library",null,"Main Drain Wet System"]
[{"$nulls":5},1,"Front NW (By Main Entrance)",null,"Hydrant 1 - 1989 Mueller 4 1/2\""]
[{"$nulls":5},1,"Front SW Corner (By Entrance #4)",null,"Hydrant 2 - 1989 Mueller 4 1/2\""]
[{"$nulls":5},1,"Rear NE",null,"Hydrant 3 - 2015 Mueller 5 1/4\""]
[{"$nulls":5},1,"Rear SE",null,"Hydrant 4 - 1989 Mueller 4 1/2\""]
["Westridge Elementary School\n908 Crestland Drive\nBallwin, MO  63011-3110",null,"One (1) Sprinkler Systems Due for 5-Year Obstruction Inspections during Summer 2019",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Sprinkler Room North Side of Cafe",null,"CV 1 BFP - Butterfly 4\""]
[{"$nulls":3},1,null,null,"Sprinkler Room North Side of Cafe",null,"CV 2 BFP - Butterfly 4\""]
[{"$nulls":6},"Sprinkler Room North Side of Cafe","L1M56","Inspector Test Valve Wet System - Test & Drain"]
[{"$nulls":6},"Sprinkler Room North Side of Cafe",null,"Main Drain Wet System"]
[{"$nulls":4},1,null,"Sprinkler Room North Side of Building",null,"4\" Ames Colt 200 - DC Valve","HD1787"]
["Wild Horse Elementary School\n16695 Wild Horse Creek Road\nChesterfield, MO  63005-1627",null,"One (1) Sprinkler Systems Due for 5-Year Obstruction Inspections during Summer 2019",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Sprinkler Hall - By Kitchen Entrance","M24","CV 1 Wet System 1 - Sectional BFV 4\""]
[{"$nulls":3},1,null,null,"Sprinkler Hall - By Kitchen Entrance","M25","CV 1 Wet System 2 - Sectional BFV 4\""]
[{"$nulls":6},"Sprinkler Hall - By Kitchen Entrance","M23","CV 1 BFP Control OS&Y 6\""]
[{"$nulls":6},"Sprinkler Hall - By Kitchen Entrance","M22","CV 2 BFP Control OS&Y 6\""]
[{"$nulls":4},1,null,"Sprinkler Hall - By Kitchen Entrance",null,"6\" Ames Colt 200 - 2000SS DS Valve","21M1043"]
[{"$nulls":6},"Custodian Closet by Room 10","M20","Inspector Test Valve Wet System 2 - Test & Drain"]
[{"$nulls":6},"Custodian Closet by Room 36","M21","Inspector Test Valve Wet System 1 - Test & Drain"]
[{"$nulls":6},"Sprinkler Room Next To Room 31",null,"Main Drain Wet System"]
["Wildwood Middle School\n17401 Manchester Road\nWildwood, MO  63038-1906",null,"Two (2) Sprinkler Systems Due for 5-Year Obstruction Inspections during Summer 2019",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Boiler Room","L1M29","CV Wet System 1 - 6\" Butterfly"]
[{"$nulls":3},1,null,null,"Boiler Room","L1M29","CV Wet System 2 - 6\" Butterfly"]
[{"$nulls":3},1,null,null,"Boiler Room","L1M29","CV Wet System 3 - 6\" Butterfly"]
[{"$nulls":4},1,null,"Boiler Room","L1M29","6\" Febco 850 DC Valve",102261344]
[{"$nulls":4},1,null,"Gym Storage Room (Anti-Freeze)",null,"2\" Ames 4000B RP Valve",2621]
[{"$nulls":6},"Room 704 Closet","L1M26","Inspector Test Valve - Wet System 1"]
[{"$nulls":6},"Boys Locker Room","L1M27","Inspector Test Valve - Wet System 2"]
[{"$nulls":6},"Boiler Room Near Loading Dock","L1M28","Inspector Test Valve - Wet System 3"]
[{"$nulls":5},1,"Front Parking Lot Across From Flagpole",null,"Hydrant 1 - 2000 American Darling - 4 1/2\""]
[{"$nulls":5},1,"Front Right of Entry - Driveway",null,"Hydrant 2 - 2000 American Darling - 4 1/2\""]
[{"$nulls":5},1,"East Driveway Rear",null,"Hydrant 3 - 2000 American Darling - 4 1/2\""]
[{"$nulls":5},1,"Rear of Building",null,"Hydrant 4 - 1999 American Darling - 4 1/2\""]
[{"$nulls":5},1,"West Rear Drive",null,"Hydrant 5 - 1999 American Darling - 4 1/2\""]
[{"$nulls":5},1,"Front Left of Entry",null,"Hydrant 6 - 2008 Mueller - 4 1/2\""]
["Woerther Elementary School\n314 New Ballwin Road\nBallwin, MO  63021-6199",null,"One (1) Sprinkler Systems Due for 5-Year Obstruction Inspections during Summer 2019",{"$nulls":3},"",null,""]
[{"$nulls":3},1,null,null,"Sprinkler Rm at South End of Main Corridor","M21","Wet System Sectional - 4\" Butterfly"]
[{"$nulls":4},1,null,"Sprinkler Rm at South End of Main Corridor","M23","4\" Ames Colt 200 DC Valve","HB1594"]
[{"$nulls":6},"Sprinkler Rm at South End of Main Corridor","M20","Inspector Test Valve - Wet System"]
[{"$nulls":5},1,"East Side of School",null,"Hydrant - 1964 American Foundry 4 1/2\""]
["Campus Subtotals (A-G)",{"$nulls":9},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"}]
["Campus Subtotals (K-W)",{"$nulls":9},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"}]
[" Campus Totals",null,"2019: 28 Systems\n2020: 10 Systems\n2021: 2 Systems\n2023: 10 Systems",114,41,66,{"$nulls":4},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"}]
[]
["Unit Prices"]
["A.","Hourly rate for repair work (if any required) outside the scope of inspeciton, testin, cleaning and minor adjustments",{"$nulls":3},"per hour"]
["B. ","Overtime hourly rate for emergency repair work (if any required) outside the scope of inspection, testing, cleaning, and minor adjustments",{"$nulls":3},"per hour"]
["C.","Cost formula of parts (if any required in comparison to manufacturer's list price"]
[null,"Discount offered on manugacturers listed reail price",{"$nulls":3},"%"]
[null,"Cost Formula"]
["D.","Backflow Devices - Inspection Fee per Device"]
[null,"1/2\""]
[null,"3/4\""]
[null,"1\""]
[null,"1-1/4\""]
[null,"1-1/2\""]
[null,"2\""]
[null,"2-1/2\""]
[null,"3\""]
[null,"4\""]
[null,"6\""]
[null,"8\""]
["E.","Procesing Fee for submitting Backflow Test Reports"]
[null,"St Louis County"]
[null,"Other municipalities (as required)"]
["F.","Plumbing Permit Fees"]
[null,"Backflow Removal"]
[null,"Backflow Instalation"]
["G.","Estimated increase in unit prices per year",{"$nulls":3},"%"]
[]
[null,"Please note that inspection fees, repair costs, and time and materials labor rates will remain in effect for the entire contract term."]
[]
["Vendor Certification",null,null,"Yes/No"]
["A.","Is Contractor a member in good standing of the American Society of Sanitary Engineering (ASSE) International?"]
["B.","Does Contractor and/or Contractor's backflow tester hold current certification as a Backflow Prevention Assembly Tester from either the American Backflow Prevention Association (ABPA) or the American Society of Sanitary Engineering (ASSE)?"]
["C.","Does Contractor have a minimum of five (5) years' experience in the inspections, testing and maintenance of fire hydrants, fire protection sprinkler systems, fire pumps and specific associated equipment with previous experience working in a school environment?"]
["D.","Does each Contractor employee have a minimum of two (2) years' experience in inspections, testing and maintenance of fire hydrants, fire protection sprinkler systems, fire pumps and specific associated equipment with previous experience working in a school environment? "]
["E.","Will Contractor use only manufacturer-specific and factory original replacement parts in the inspections, testing and maintenance of fire hydrants, fire protection sprinkler systems, fire pumps and specific associated equipment?"]
["F.","Will Contractor be able to provide evidence of the minimum amounts of required insurance as outlined in the RFP?"]
["G.","Does Contractor have a business phone number that is answered live during the weekday hours of 7:30 am through 5:00 pm?"]
["H.","Does Contractor have an afterhours telephone number for a 24-hour per day emergency service?"]
["I.","Has Contractor included a list of references (in section below)?"]
["J.","Does Contractor agree to comply with all other specifications and requirements included in the RFP?"]
[]
["References - Must provide a minimum of five (5) references"]
[]
[null,"Company Name:",{"$nulls":4},"Company Name:"]
[null,"Contact:",{"$nulls":4},"Contact:"]
[null,"Address:",{"$nulls":4},"Address:"]
[]
[]
[null,"Phone Number:",{"$nulls":4},"Phone Number:"]
[]
[null,"Company Name:",{"$nulls":4},"Company Name:"]
[null,"Contact:",{"$nulls":4},"Contact:"]
[null,"Address:",{"$nulls":4},"Address:"]
[]
[]
[null,"Phone Number:",{"$nulls":4},"Phone Number:"]
[]
[null,"Company Name:",{"$nulls":4},"Company Name:"]
[null,"Contact:",{"$nulls":4},"Contact:"]
[null,"Address:",{"$nulls":4},"Address:"]
[]
[]
[null,"Phone Number:",{"$nulls":4},"Phone Number:"]
[]
["Addenda","Acknowledge below receipt of Addenda issued, if any."]
[null,"Addendum Number",null,"dated"]
[null,"Addendum Number",null,"dated"]
[]
["The undersigned certifies that the bid price contained in this proposal has been carefully checked and is submitted as correct and final. The undersigned certifies that he/she has the authority to submit a bona fide bid for said firm."]
[]
["Firm Name:"]
["Address:"]
["Contact:"]
["Title:"]
["Phone:"]
["Fax:"]
["Email:"]
[]
[]
[null,"Printed Name",null,null,"Signature of Officer",{"$nulls":3},"Date"]