City of Lebanon

Request for Proposal

RFP # 16-POOL REPAIR 6/14
*City of Lebanon reserves the right to reject all or any part of any RFP*

The City of Lebanon is exempt from State Tax and Federal Exercise Tax.

NO PROPOSALS RECEIVED AFTER CLOSING WILL BE ACCEPTED.

The City of Lebanon invites sealed proposals for the wading pool repair, in accordance with the specifications and bidding instructions set forth in this Request for Proposals. Bids will be received by the Purchasing Department, 200 N. Castle Heights Avenue, Lebanon, Tennessee 37087, until 10:00 a.m. local time, June 14, 2017, at which time they will be opened and read aloud.

Please identify as a sealed proposal with stamped on the outside of the envelope “RFP #16-POOL REPAIR 6/14”

Any questions in regard to this proposal should be directed to Lisa Lane, Purchasing Agent, (615) 443-2802.

A copy of the bid tabulation will be available upon written request to the Purchasing Department.

Any manufacturers’ names, trade names, brand names, or catalog numbers used in the specifications are for the purpose of describing and establishing general quality levels.  Such references are not intended to be restrictive.  Since the “City” does not wish to rule out other competition and equal brands or makes, please remember “ANY APPROVED EQUAL”.  HOWEVER, IF A PRODUCT OTHER THAN SPECIFIED IS BID, IT IS THE VENDORS RESPONSIBILITY TO PROVE TO THE “CITY” THAT SAID PRODUCT IS EQUAL TO OR EXCEEDS THE QUALITY OF THE SPECIFICATIONS LISTED FOR ANY ITEM.

The City of Lebanon is an equal opportunity entity and does not discriminate on the basis of age, race, sex, national origin, religion or disability in admission to, access to, or operations of its programs, services, activities, or in its awarding of such bids. All vendors must be incompliance with all City Codes and current with all City fees and taxes in order to be considered as a responsive bidder or participant in this process.
1. SCOPE AND CLASSIFICATION

1.1 Scope:  The intent of this Request for Proposals and resulting contract is to provide the City of Lebanon with information concerning wading pool repair.

1.2 Classification:  The pool repair specifications shall be of the following types either “equal to “or “better than”.

2. SPECIFICATIONS

SPECIFICATIONS

Proposal to drain the small amount of water from the wading pool.
Remove all wading pool fixtures (mushroom, fire hydrants, etc.) this also includes the removal of the liner.

Saw out all cracks and repair. Sand out and remove any hollow areas in existing plaster to prevent cracking or damage to new surface when applied.  Clean up and remove all debris from pool and pool area.
Acid wash pool using muriatic acid to clean and etch the surface, apply sealant to all fittings, apply scratch kote bonding agent to pool by using an air powered concrete sprayer.

Plaster pool with Krystal CRETE (white with blue specks).  Plaster will be mixed and sprayed onto pool surface using a air powered concrete pump with a hydraulic mixer, trowel finish the new plaster 3/8 to 5/8 inches thick.

All re-plastering work must meet or exceed industry standards in the pool industry.  All work must have at least a 1 year warranty.  Must use the white plaster with expectancy life of 8-10 years with proper water and chemistry levels being maintained by owner.

Check tile from the bottom of deck to plaster.  Remove and replace tile that surrounds the 60’ diameter of the pool.  Coordinate the tile with the Director before install. 

All existing water features are to be reinstalled after the work is complete.

Arrangements to begin work will needed to be coordinated with Tim Hill, Director.

All bidders must be able to start work on June 15, 2017 and must be able to complete the work within two weeks (weather permitting).
Price must include all labor, material, removal of all debris, cleanup, shipping of material, etc. 

After the work is completed, fill pool and check by Health Department will be required..

If you have any questions or would like to visit the site, contact Tim Hill, Director (615) 564-0217 before the bid opening date.
Note:  The wading pool measures @ 2920 sq. ft. of plaster or 60 foot round diameter pool.
Please include a copy of your business license, liability insurance, drug and alcohol free workplace certificate or letter, and a certificate of non-illegal immigrant use or letter.
QUANTITY
DESCRIPTION

UNIT COST

TOTAL

1 

Pool Repair


$_____________
$_____________

EXCEPTIONS

The above are minimum specifications.  If there are any exceptions to these specifications, please make any notations to the right of that spec. and the exceptions will have to be approved by the department.  

BID PRICE

TOTAL BID $_______________________

Company Name and Authorized Representative

Address

Phone Number/Contact Information
