INVITATION FOR BIDS

CITY OF CONROE BID #0103-2025 

PUBLIC WORKS GENERATORS

GRANT DR-4586

[image: image1.emf]


CITY OF CONROE

P.O. BOX 3066

CONROE, TEXAS 77305

RESPONSES DUE JANUARY 3, 2025, BY 2:00 PM

CITY OF CONROE PURCHASING DEPARTMENT

NOTICE TO BIDDERS

The City of Conroe will receive sealed bids electronically through Vendor Registry or in duplicate for Public Works Generators. The proposals shall be appropriately marked “Bid # 0103-2025 – Public Works Generators/FEMA GRANT #DR-4586” and delivered to the Assistant Director of Purchasing, 401 Sgt Ed Holcomb Blvd, Conroe, Texas 77304. Bids will be publicly opened and read on January 3, 2025, at 2:00 p.m. in the Towery Service Center Conference Room, 401 Sgt. Ed Holcomb Blvd. 77304. 

Specifications and bidding documents may be secured from www.cityofconroe.org, departments, purchasing, Vendor Registry.

No proposal may in any way qualify, modify, substitute or change any part of the specifications contained herein.

The City of Conroe reserves the right to reject any and all offers, award parts of bids, award to multiple vendors and to waive informalities in submission of bids.  The City of Conroe also reserves the right to award this proposal to the lowest most qualified responsible bidder meeting all the specifications or to the bidder who provides goods or services at the best value for the City. 

CC: 12/9/24

       12/16/24

       12/30/24








CITY OF CONROE, TEXAS
CITY OF CONROE PUBLIC WORKS GENERATOR BID # 0103-2025
FEMA GRANT # DR-4586  

PROJECT OVERVIEW

This specification describes the requirements to provide one (1) Stand-By Generator Diesel 500KW, two (2) Stand-By Generators 60KW Natural Gas or Propane and one (1) Mobile Stand-By Generator Diesel 600KW for delivery to various locations in the City of Conroe as specified in the Invitation for Bid (IFB).

SCOPE OF SERVICES/ SPECIFICATIONS/ PRICING
The project consists of the purchase of stand-by generators and one mobile generator to be delivered to the following locations in the City of Conroe:

1. 500 KW Diesel Stand-By Generator at Water Well #12: located at 1913 Northampton Drive, Conroe Texas Latitude: 30.3465, Longitude: -95.438.
· UL 2200/UL Certified

· 120/240V, Single Phase

· Controller

· Standard Limited Warranty

· Corrosion-proof sound enclosure

· Runs on Diesel

· Delivery to generator site location, offload and placement

· Startup, onsite testing, owner training, warranty initiation and installation at designated location
· Battery and Battery Installation

Generator Brand _______________________  
Model # _______________________

Price for (1) 500 KW Diesel Stand-By Generator as per Spec #1.: $_________________

· (1) Automatic Transfer Switch – 800 Amps

· delivery, installation, and startup of ATS
Automatic Transfer Switch:  Brand ________________ 
Model # ___________________

Price for (1) automatic transfer switch, connect to existing Generac ATS, already mounted and wired to service as per Spec #1.: $_________________

TOTAL SPEC #1: GENERATOR AND TRANSFER SWITCH: 
$ _____________
Company Name 






2. 60 KW Stand-By Generator at Crighton Woods 1 Lift Station: located at Rose Canyon Drive Conroe Texas Latitude: 30.267011 Longitude: -95.428208.
· UL 2200/UL Certified

· 120/240V, Single Phase

· Controller

· Standard Limited Warranty

· Corrosion-proof sound enclosure

· Runs on Natural Gas or Propane
· Delivery to generator site location, offload and placement

· Startup, onsite testing, owner training, warranty initiation and installation at designated location

· Battery and Battery Installation

Generator Brand _______________________ 
Model # _______________________

Price for (1) 60 KW Natural Gas or Propane Stand-By Generator as per Spec #2.: $_________________

· (1) Automatic Transfer Switch – 260 Amps

· delivery, installation, and startup of ATS
Automatic Transfer Switch:  Brand ________________  
Model # ___________________

Price for (1) automatic transfer switch, connect to existing Generac ATS, already mounted and wired to service as per Spec #2.: $_________________

TOTAL SPEC #2: GENERATOR AND TRANSFER SWITCH: 
$ _____________

Company Name 







3. 60 KW Stand-By Generator at Crighton Woods 2 Lift Station: located at 13105 Autumn Ash Drive, Conroe Texas Latitude: 30.27225 Longitude: -95.423444.

· UL 2200/UL Certified

· 120/240V, Single Phase

· Controller

· Standard Limited Warranty

· Corrosion-proof sound enclosure

· Runs on Natural Gas or Propane
· Delivery to generator site location, offload and placement

· Startup, onsite testing, owner training, warranty initiation and installation at designated location

· Battery and Battery Installation

Generator Brand _______________________  
Model # _______________________

Price for (1) 60 KW Natural Gas or Propane Stand-By Generator as per Spec #3.: $_________________

· (1) Automatic Transfer Switch – 260 Amps

· delivery, installation, and startup of ATS

Automatic Transfer Switch:  Brand ________________  
Model # ___________________

Price for (1) automatic transfer switch, connect to existing Generac ATS, already mounted and wired to service as per Spec #3.: $_________________

TOTAL SPEC #3: GENERATOR AND TRANSFER SWITCH: 
$ _____________

Company Name 







4. Mobile, 600 KW Diesel Stand-By Generator at Mobile Generator Storage: located at 401 Sgt. Ed Holcomb Blvd, Conroe Texas Latitude: 30.302906 Longitude: -95.481767.

· UL 2200/UL Certified

· 120/240V, Single Phase

· Controller

· Standard Limited Warranty

· Corrosion-proof sound enclosure

· Runs on Diesel

· Delivery to generator site location, offload and placement

· Startup, onsite testing, owner training, warranty initiation and installation at designated location

· Battery and Battery Installation

Generator Brand _______________________  
Model # _______________________

Price for (1) 500 KW Diesel Stand-By Generator as per Spec #4.: $_________________

(1) Trailer 3 Axel with pintle eye coupler
· GVWR – 34,000 LBS

3 Axel Trailer:  Brand ________________  
Model # ___________________

Price for (1), 3 Axel Trailer as per Spec #4: $_________________

TOTAL SPEC #4: MOBILE GENERATOR AND TRAILER: $ _____________

GRAND TOTAL SPEC #1-#4   $ 




Company Name 








MATERIAL WARRANTY
Parts furnished under the purchase order shall be the latest improved models in current production, as offered to commercial trade, and shall be of quality material.  USED, SHOPWORN, DEMONSTRATOR, PROTOTYPE, RECONDITIONED OR DISCONTINUED MODELS OR MATERIALS ARE NOT ACCEPTABLE.  The warranty period for respondent provided materials shall be for a period of one year after completion of the installation or within the manufacturers’ warranty, whichever is the later period.  The warranty period shall commence upon date of acceptance by City of Conroe.  Respondent shall provide the authorized City of Conroe representative with all manufacturers’ warranty documents upon completion of installation and prior to leaving the job site.

AWARD EVALUATION
City of Conroe reserves the right to award parts of bids, reject any or all bids and to waive technical irregularities in the bids. The award will be made to the low bidder who provides the most responsive and responsible bid to the City. An evaluation team will be assembled to review the bid responses and score each response according to the bid prices.
Name of Vendor: 





Federal ID Number:  





A Corporation of the State of: 




 
Telephone Number: 





Email:







Website: 






Mailing Address: 





City/State/Zip: 








Authorized Signature: 










Printed Name: 





TERMS, CONDITIONS AND CLAUSES
1.0
Owner - The City reserves the right to award parts of bids, reject any or all bids and to waive technical irregularities in the bids. The award will be made to the low bidder who provides the most responsive and responsible bid to the City.


2.0
Questions and Inquires -Bidder’s desiring further information or interpretation must request such information in the questions section of Vendor Registry. 

3.0 Submission of Bids - Submit electronically through Vendor Registry or deliver one original sealed bid and one sealed copy to the Purchasing Department.
Contact Address: 
Kristina Colville, Asst. Director of Purchasing



Dean Towery Service Center, Purchasing Department




401 Sgt. Ed Holcomb Blvd. Conroe Tx. 77304

4.0
Information Clarification - All questions shall be asked through Vendor Registry. Should a Bidder discover a discrepancy or an omission in the plans or specifications, he should at once notify the Purchasing Department so that an addendum can be issued.  No explanation or interpretation other than an addendum issued by the City will be considered official or binding.

5.0
Substitutions - Where materials or equipment are specified by a trade or brand name, it is not the intention of the Owner to discriminate against an equal product of another manufacturer, but to set a definite standard of quality or performance, and to establish an equal basis for the evaluation of bids.  In preparing his bid, each bidder is expected to include in his base bid the cost of the items so specified.

6.0
References - The City of Conroe may request bidders to supply, with this Invitation to Bid, a list of at least five (5) references where like services have been supplied by their firm.  Include name of firm, contact person, address, telephone number and fax number.  
7.0
Materials and Services - The Bidder warrants that goods, materials or services delivered to the City will meet the minimum specifications set forth therein.  Bidder shall furnish all data pertinent to specifications and warranties, which apply to items in the bid.
8.0
Price of Materials and Sales Tax- Prices for all goods or services shall remain firm for the duration of this contract and shall be stated on the bid sheet.  Prices shall be all inclusive.  Any price not shown on the bid sheet will not be honored by invoice.  No price changes, additions or subsequent qualifications will be honored during the course of this contract.  All prices must be written in ink or typewritten.  Transportation, freight or other charges are to be prepaid by the bidder and included in the bid price.  If there are additional charges of any kind, other than those mentioned above, specified or unspecified, Bidder must indicate both items required and attendant cost or forfeit the right to payment. 

This Contract is issued by an organization, which qualifies for exemption pursuant to the provisions of Article 20.04 (F) of the Texas Limited Sales, Excise and Use Tax Act.

9.0
Antitrust Affirmation - The undersigned affirms under penalty of perjury of the laws of the State of Texas that (1) in connection with this Response, neither I nor any representative of the Contractor have violated any provision of the Texas Free Enterprise and Antitrust Act, Tex. Bus. & Comm. Code Chapter 15; (2) in connection with this Response, neither I nor any representative of the Contractor have violated any federal antitrust law; and (3) neither I nor any representative of the Contractor have directly or indirectly communicated any of the contents of this Response to a competitor of the Contractor or any other company, corporation, firm, partnership or individual engaged in the same line of business as the Contractor.
10.0
Assignment - Contractor shall not assign its rights under the contract or delegate the performance of its duties under the contract without prior written approval from the Agency. Any attempted assignment in violation of this provision is void and without effect.
11.0
Buy Texas Affirmation – In accordance with Section 2155.4441 of the Texas Government Code, Contractor agrees that during the performance of a contract for services it shall purchase products and materials produced in Texas when they are available at a price and time comparable to products and materials produced outside this state.
12.0
Child Support Obligation Affirmation - Under Section 231.006 of the Family Code, the vendor or applicant certifies that the individual or business entity named in this contract, bid or application is not ineligible to receive the specified grant, loan, or payment and acknowledges that this contract may be terminated and payment may be withheld if this certification is inaccurate in addition to other remedies set out in 231.006(f).
13.0
Contracting Information Responsibilities - In accordance with Section 552.372 of the Texas Government Code, Contractor agrees to (1) preserve all contracting information related to the contract as provided by the records retention requirements applicable to the Agency for the duration of the contract, (2) promptly provide to the Agency any contracting information related to the contract that is in the custody or possession of the Contractor on request of the Agency, and (3) on termination or expiration of the contract, either provide at no cost to the Agency all contracting information related to the contract that is in the custody or possession of the Contractor or preserve the contracting information related to the contract as provided by the records retention requirements applicable to the Agency. Except as provided by Section 552.374(c) of the Texas Government Code, the requirements of Subchapter J, Chapter 552, Government Code, may apply to the contract and the Contractor agrees that the contract can be terminated if the Contractor knowingly or intentionally fails to comply with a requirement of that subchapter.

14.0
COVID-19 Vaccine Passport Prohibition - Contractor certifies that it does not require its customers to provide any documentation certifying the customer’s COVID-19 vaccination or post-transmission recovery on entry to, to gain access to, or to receive service from the Contractor’s business. Contractor acknowledges that such a vaccine or recovery requirement would make Contractor ineligible for a city-funded contract.
15.0
Data Management and Security Controls - In accordance with Section 2054.138 of the Texas Government Code, Contractor certifies that it will comply with the security controls required under this contract and will maintain records and make them available to the City of Conroe as evidence of Contractor’s compliance with the required controls.
16.0
Dealings with Public Servants Affirmation   - Contractor has not given, offered to give, nor intends to give at any time hereafter any economic opportunity, future employment, gift, loan, gratuity, special discount, trip, favor, or service to a public servant in connection with the submitted Response.
17.0
Debts and Delinquencies Affirmation - Contractor agrees that any payments due under the contract shall be applied towards any debt or delinquency that is owed to the City of Conroe, Montgomery County, State of Texas.
18.0
Disaster Recovery Plan - In accordance with 13 TAC § 6.94(a)(9), Contractor shall provide to Agency the descriptions of its business continuity and disaster recovery plans.
19.0
Dispute Resolution (General) - The dispute resolution process provided for in Chapter 2260 of the Texas Government Code must be used to attempt to resolve any dispute arising under the contract.
20.0
Energy Company Boycotts - If Contractor is required to make a verification pursuant to Section 2276.002 of the Texas Government Code, Contractor verifies that Contractor does not boycott energy companies and will not boycott energy companies during the term of the Contract. If Contractor does not make that verification, Contractor must so indicate in its Response and state why the verification is not required.

21.0
Entities that Boycott Israel - If Contractor is required to make a certification pursuant to Section 2271.001 of the Texas Government Code, Contractor certifies that Contractor does not boycott Israel and will not boycott Israel during the term of the contract resulting from this solicitation. If Contractor does not make that certification, Contractor must indicate that in its Response and state why the certification is not required.

22.0
Excess Obligations Prohibited:  - The contract is subject to termination or cancellation, without penalty to the City, either in whole or in part, subject to the availability of City funds.
23.0
Excluded Parties:  - Contractor certifies that it is not listed in the prohibited vendors list authorized by Executive Order No. 13224, “Blocking Property and Prohibiting Transactions with Persons Who Commit, Threaten to Commit, or Support Terrorism”, published by the United States Department of the Treasury, Office of Foreign Assets Control
24.0
False Statements - Contractor represents and warrants that all statements and information prepared and submitted in this document are current, complete, true, and accurate. Submitting a Response with a false statement or material misrepresentations made during the performance of a contract is a material breach of contract and may void the submitted Response and any resulting contract
25.0
Financial Participation Prohibited - Contractor certifies that the individual or business entity named in this Response or contract is not ineligible to receive the specified contract and acknowledges that the contract may be terminated and payment withheld if this certification is inaccurate.

26.0
Foreign Terrorist Organizations - Contractor represents and warrants that it is not engaged in business with Iran, Sudan, or a foreign terrorist organization, as prohibited by Section 2252.152 of the Texas Government Code. 
27.0
Firearm Entities and Trade Associations Discrimination - If Contractor is required to make a verification pursuant to Section 2274.002 of the Texas Government Code, Contractor verifies that it (1) does not have a practice, policy, guidance, or directive that discriminates against a firearm entity or firearm trade association and (2) will not discriminate during the term of the contract against a firearm entity or firearm trade association. If Contractor does not make that verification, Contractor must so indicate in its Response and state why the verification is not required.
28.0 
Governing Law and Venue - The contract shall be governed by and construed in accordance with the laws of the State of Texas, without regard to the conflicts of law provisions. The venue of any suit arising under the contract is fixed in any court of competent jurisdiction of Montgomery County, Texas, unless the specific venue is otherwise identified in a statute which directly names or otherwise identifies its applicability to the contracting Agency.
29.0
Human Trafficking Prohibition - Prohibition Under Section 2155.0061 of the Texas Government Code, the Contractor certifies that the individual or business entity named in this Response or contract is not ineligible to receive the specified contract and acknowledges that this contract may be terminated and payment withheld if this certification is inaccurate
30.0
Indemnification: BIDDER SHALL DEFEND, INDEMNIFY AND HOLD HARMLESS THE CITY OF CONROE, AND/OR THEIR OFFICERS, AGENTS, EMPLOYEES, REPRESENTATIVES, CONTRACTORS, ASSIGNEES, AND/OR DESIGNEES FROM ANY AND ALL LIABILITY, ACTIONS, CLAIMS, DEMANDS, OR SUITS, AND ALL RELATED COSTS, ATTORNEY FEES, AND EXPENSES ARISING OUT OF, OR RESULTING FROM ANY ACTS OR OMISSIONS OF BIDDER OR ITS AGENTS, EMPLOYEES, SUBCONTRACTORS, ORDER FULFILLERS, OR SUPPLIERS OF SUBCONTRACTORS IN THE EXECUTION OR PERFORMANCE OF THE CONTRACT AND ANY PURCHASE ORDERS ISSUED UNDER THE CONTRACT. THE DEFENSE SHALL BE COORDINATED BY BIDDER WITH THE OFFICE OF THE CITY ATTORNEY  WHEN THE CITY IS NAMED DEFENDANT IN ANY LAWSUIT AND BIDDER MAY NOT AGREE TO ANY SETTLEMENT WITHOUT FIRST OBTAINING THE CONCURRENCE FROM THE OFFICE OF THE CITY ATTORNEY. BIDDER AND CITY AGREE TO FURNISH TIMELY WRITTEN NOTICE TO EACH OTHER OF ANY SUCH CLAIM.
31.0
No Conflict of Interest - Contractor represents and warrants that the provision of goods and services or other performance under the contract will not constitute an actual or potential conflict of interest or reasonably create an appearance of impropriety.
32.0
Prior Disaster Relief Contract Violation - Under Sections 2155.006 and 2261.053 of the Texas Government Code, the Contractor certifies that the individual or business entity named in this Response or contract is not ineligible to receive the specified contract and acknowledges that this contract may be terminated and payment withheld if this certification is inaccurate.
33.0
Public Information Act - Information, documentation, and other material in connection with this Solicitation or any resulting contract may be subject to public disclosure pursuant to Chapter 552 of the Texas Government Code (the “Public Information Act”). In accordance with Section 2252.907 of the Texas Government Code, Contractor is required to make any information created or exchanged with the city pursuant to the contract, and not otherwise excepted from disclosure under the Texas Public Information Act, available in a format that is accessible by the public at no additional charge to the City.
34.0
Signature Authority - By submitting the Response, Bidder represents and warrants that the individual submitting this document and the documents made part of this Response is authorized to sign such documents on behalf of the Contractor and to bind the Contractor under any contract that may result from the submission of this Response. 
35.0
City’s Right to Audit - The City may appoint an auditor to conduct an audit or investigation of any entity receiving funds from the City directly under the contract or indirectly through a subcontract under the contract. The acceptance of funds directly under the contract or indirectly through a subcontract under the contract acts as acceptance of the authority of the City auditor, under the direction of the City Council, to conduct an audit or investigation in connection with those funds. Under the direction of the City Council, an entity that is the subject of an audit or investigation by the City auditor must provide the City auditor with access to any information the City auditor considers relevant to the investigation or audit.
36.0
Terms and Conditions Attached to Response - Any terms and conditions attached to a Response will not be considered unless specifically referred to in the Response.
37.0
Texas Bidder Affirmation - Contractor certifies that if a Texas address is shown as the address of the Contractor on this Response, Contractor qualifies as a Texas Bidder as defined in Section 2155.444(c) of the Texas Government Code.
38.0
Americans with Disabilities Act - Contractor represents and warrants its compliance with the requirements of the Americans With Disabilities Act (ADA) and its implementing regulations, as each may be amended.
39.0
Change in Law and Compliance with Laws - Any alterations, additions, or deletions to the terms of the contract that are required by changes in federal or state law or regulations are automatically incorporated into the contract without written amendment hereto, and shall become effective on the date designated by such law or by regulation.
40.0
Disclosure of Interested Parties - Contractor represents and warrants that if selected for award of a contract as a result of the Solicitation, Contractor will submit to the City of Conroe a Certificate of Interested Parties prior to contract execution in accordance with Section 2252.908 of the Texas Government Code.
41.0
Discounts - If Contractor at any time during the term of the contract provides a discount on the final contract costs, Contractor will notify City in writing ten (10) calendar days prior to effective date of discount. Agency will generate a Purchase Order Change Notice and send a revised Purchase Order to Contractor.
42.0
Force Majeure - Neither Contractor nor City shall be liable to the other for any delay in, or failure of performance, of any requirement included in the contract caused by force majeure. The existence of such causes of delay or failure shall extend the period of performance until after the causes of delay or failure have been removed provided the non-performing party exercises all reasonable due diligence to perform. Force majeure is defined as acts of God, war, fires, explosions, hurricanes, floods, failure of transportation, or other causes that are beyond the reasonable control of either party and that by exercise of due foresight such party could not reasonably have been expected to avoid, and which, by the exercise of all reasonable due diligence, such party is unable to overcome.
43.0
Immigration - Contractor represents and warrants that it shall comply with the requirements of the Immigration and Nationality Act (8 U.S.C.§ 1101 et seq.) and all subsequent immigration laws and amendments. 
44.0
Independent Contractor - Contractor acknowledges and agrees that it is furnishing products and services in the capacity of an independent contractor and that Contractor and its personnel are not employees of the City.
45.0
Legal and regulatory actions - Contractor represents and warrants that it is not aware of and has received no notice of any court or governmental agency actions, proceedings or investigations, etc., pending or threatened against Contractor or any of the individuals or entities included in the Response within the five (5) calendar years immediately preceding the submission of the Response that would or could impair Contractor’s performance under the contract, relate to the solicited or similar goods or services, or otherwise be relevant to Agency’s consideration of the Response. If Contractor is unable to make the preceding representation and warranty, then Contractor instead represents and warrants that it has included as a detailed attachment in its Response a complete disclosure of any such court or governmental agency actions, proceedings or investigations, etc. that would or could impair Contractor’s performance under the contract, relate to the solicited or similar goods or services, or otherwise be relevant to Agency’s consideration of the Response. In addition, Contractor represents and warrants that it shall notify Agency in writing within five (5) business days of any changes to the representations or warranties in this clause and understands that failure to so timely update Agency shall constitute breach of contract and may result in immediate termination of the contract
46.0
Limitation on Authority - Contractor shall have no authority to act for or on behalf of City except as expressly provided for in the contract; no other authority, power or use is granted or implied. Contractor may not incur any debt, obligation, expense or liability of any kind on behalf of the City.
47.0
Lobbying Prohibition - Contractor represents and warrants that City’s payments to Contractor and Contractor’s receipt of appropriated or other funds under the contract are not prohibited by Sections 556.005 or 556.0055 of the Texas Government Code.

48.0
No Implied Waiver - The failure of a Party to insist at any time upon the strict performance of any covenant or agreement or to exercise any option, right, power, or remedy contained in the contract shall not be construed as a waiver or a relinquishment thereof for the future.
49.0
No Quantity Guarantees - Agency makes no express or implied warranty whatsoever that any minimum compensation or minimum quantity will be guaranteed under the contract.
50.0
No Third- Party Beneficiaries - The contract is made solely and specifically among and 
for the benefit of the parties named herein and their respective successors and assigns, and no other person shall have any right, interest, or claims hereunder or be entitled to any benefits pursuant to or on account of the contract as a third-party beneficiary or otherwise.

51.0
Record Retention - Contractor shall maintain and retain all records relating to the performance of the contract including supporting fiscal documents adequate to ensure that claims for contract funds are in accordance with applicable State of Texas requirements. These records will be maintained and retained by Contractor for a period of seven (7) years after the contract expiration date or until all audit, claim, and litigation matters are resolved, whichever is later.
52.0
Refund - Contractor will promptly refund or credit within thirty (30) calendar days any funds erroneously paid by Agency which are not expressly authorized under the contract.
53.0
Severability - If any provision of the contract is construed to be illegal or invalid, such construction will not affect the legality or validity of any of its other provisions. The illegal or invalid provision will be deemed severable and stricken from the contract as if it had never been incorporated herein, but all other provisions will continue in full force and effect. 
54.0
Sovereign Immunity - The Parties expressly agree that no provision of the contract is in any way intended to constitute a waiver by the City of any immunities from suit or from liability that the City may have by operation of law.
55.0
Subcontractors - Contractor may not subcontract any or all of the work and/or obligations due under the contract without prior written approval of the Agency. Subcontracts, if any, entered into by the Contractor shall be in writing and be subject to the requirements of the contract. Should Contractor subcontract any of the services required in the contract, Contractor expressly understands and acknowledges that in entering into such subcontract(s), Agency is in no manner liable to any subcontractor(s) of Contractor. In no event shall this provision relieve Contractor of the responsibility for ensuring that the services performed under all subcontracts are rendered in compliance with the contract.
56.0
Survival - Expiration or termination of the contract for any reason does not release Contractor from any liability or obligation set forth in the contract that is expressly stated to survive any such expiration or termination, that by its nature would be intended to be applicable following any such expiration or termination, or that is necessary to fulfill the essential purpose of the contract, including without limitation the provisions regarding warranty, indemnification, confidentiality, and rights and remedies upon termination.
57.0
Insurance Requirements:

NO BID WILL BE CONSIDERED FOR AWARD IF THE VENDOR HAS NOT SUBMITTED AN INSURANCE FORM ALONG WITH THE BID
The Bidder shall procure and maintain, at its expense, during the term of this bid, at least the following insurance, covering work performed.


COVERAGE




LIMITS

A.
Worker’s Compensation


- As required by Texas Law

B.
Employer’s Liability



- $ 500,000 each occurrence

C.
Public Liability (Bodily injury)

- $1,000,000 combined single limit

D. 
Public Liability (Property damage)

- $1,000,000 combined single limit

E.
Automobile Liability (Bodily injury)

- $ 200,000 each person

F. 
Automobile Liability (Property damage)
- $ 50,000 each occurrence

The Bidder agrees to furnish insurance certificates, showing the bidders compliance with this section if required by the City.

58.0
Conditions of Work - Bidders are expected to be fully informed of construction and labor conditions under which the work will be performed, and to have thoroughly reviewed the plans, contract documents and specifications.  Failure to do so will not relieve a successful bidder of any obligations to furnish material and labor necessary to complete the project.

59.0
Conditions of Conduct - At all times any agent, officer, or employee of Bidder shall be present upon property owned by the City of Conroe, the terms and conditions of the Drug and Alcohol Policy currently adopted by the City of Conroe, shall be deemed applicable to such persons.  Violations of terms and conditions while present on the premises owned by the City of Conroe shall be grounds for termination of any contract between the City and Bidder.  
60.0
Alternate Items - No alternate bids or bid items will be considered unless they are specifically requested by the proposal.

61.0
Unit Prices - The unit price of each of the bid items in the bid proposal shall include it pro-rata share of overhead so that the sum of the products obtained by multiplying the quantity shown for each item by the unit price bid represents the total bid.  Any bid not conforming to the condition may be rejected.  The unit prices will be used to determine the amount of any change orders resulting from an increase or decrease in quantities.

62.0
Corrections - Erasures or other corrections in the bid must be noted over the signature of the bidder.
63.0
Withdrawal of Bids - Bids may be withdrawn by written request dispatched for delivery in the normal course of business prior the bid opening.  The bid guaranty of any bidder withdrawing his bid in accordance with the above will be returned promptly.

64.0
Award of / Rejection of Bids - The City reserves the right to consider as unqualified to do the work, any bidder who does not habitually perform with his own forces, the major portions of the work involved in construction of the improvements embraced in this contract.

65.0
Change Orders - The Owner may, at any time or from time to time, order additions, deletions or revisions to the Work; such changes will be authorized by written Change Order to be prepared by the PARKS SUPERINTENDENT for execution by the OWNER and the CONTRACTOR.  The Change Order shall set forth the basis for any change in contract price as hereinafter set forth for Extra Work, and any change in contract time which may result from the change.

Any request by the CONTRACTOR for a change in Contract Price shall be made prior to beginning the work covered by the proposed change.
It is agreed that the basis of compensation to the CONTRACTOR for Work either added or deleted by a Change Order of for which a claim for Extra Work is made shall be determined by one or more of the following methods:


Method (A) - 
By agreed unit prices; or


Method (B) - 
By agreed lump sum; or

Method (C) - 
Actual field cost of the work, plus fifteen (15) percent.

66.0
Payment - The Utility Billing Manager shall review all Contractors’ application for payment and supporting data to determine the amount owed to the Contractor.  Once approved payment will be scheduled within thirty (30) days upon complete delivery and acceptance of all equipment/material and receipt of an original invoice for the equipment/material complying with the terms and conditions of the award. The City reserves the right to withhold up to ten percent (10%) of the purchase price in the event there is a conditional acceptance.
ADDITIONAL CLAUSES REQUIRED FOR PURCHASE THROUGH  FEMA GRANT DR-4586:
1.0 Remedies - Contracts for more than the federal simplified acquisition threshold (SAT), the dollar amount below which an NFE may purchase property or services using small purchase methods, currently set at $250,000 for procurements made on or after June 20, 2018,4 must address administrative, contractual, or legal remedies in instances where contractors violate or breach contract terms, and must provide for sanctions and penalties as appropriate.5
2.0 Termination for Cause and Convenience -
2.1 Termination for Default [Breach or Cause]. If the Respondent/Contractor does not deliver supplies in accordance with the contract delivery schedule, or, if the contract is for services, the Respondent/Contractor fails to perform in the manner called for in the contract, or if the Respondent/Contractor fails to comply with any other provisions of the contract, the Owner may terminate this contract for default.  Termination shall be affected by serving a notice of termination on the Respondent/Contractor setting forth the manner in which the Respondent/Contractor is in default.  The Respondent/Contractor will only be paid the contract price for supplies delivered and accepted, or services performed in accordance with the manner of performance set forth in the contract.
If it is later determined by the Owner that the Respondent/Contractor had an excusable reason for not performing, such as a strike, fire, or flood, events which are not the fault of or are beyond the control of the Respondent/Contractor, the Owner, after setting up a new delivery of performance schedule, may allow the Respondent/Contractor to continue work, or treat the termination as a termination for convenience.
2.2 Opportunity to Cure. The Owner in its sole discretion may, in the case of a termination for breach or default, allow the Respondent/Contractor ten (10) calendar days in which to cure the defect.  In such case, the notice of termination will state the time period in which cure is permitted and other appropriate conditions. Any such notice is presumed to have been received on the third business day following mailing unless an earlier date of actual receipt is documented. 
If Respondent/Contractor fails to remedy to the Owner's satisfaction the breach or default of any of the terms, covenants, or conditions of this Contract within ten (10) days after receipt by Respondent/Contractor of written notice from the Owner setting forth the nature of said breach or default, the Owner shall have the right to terminate the Contract without any further obligation to Respondent/Contractor.  Any such termination for default shall not in any way operate to preclude the Owner from also pursuing all available remedies against Respondent/Contractor and its sureties for said breach or default.
2.3 Waiver of Remedies for any Breach. In the event that the Owner elects to waive its remedies for any breach by the Respondent/Contractor of any covenant, term or condition of this Contract, such waiver by the Owner shall not limit the Owner's remedies for any succeeding breach of that or of any other term, covenant, or condition of this Contract.
2.4 Termination for Convenience. The Owner may terminate this contract, in whole or in part, when it is in the Government's interest by giving Contractor written notice of termination at least 90 days in advance fo the proposed termination date.  If this contract is terminated for convenience, the Owner shall be liable only for payment under the payment provisions of this contract for services rendered before the effective date of termination.
2.5 The Respondent/Contractor also agrees to include these requirements in each subcontract exceeding $10,000 financed in whole or in part with Federal assistance provided by FTA.
3.0
Equal Employment Opportunity - During the performance of the contract, the contractor agrees as follows: 

A. The contractor will not discriminate against any employee or applicant for employment because of race, color, religion, sex, sexual orientation, gender identity, or national origin. The contractor will take affirmative action to ensure that applicants are employed, and that employees are treated during employment without regard to race, color, religion, sex, sexual orientation, gender identity, or national origin. Such action shall include, but not be limited to the following:

Employment, upgrading, demotion, or transfer; recruitment or recruitment advertising; layoff or termination; rates of pay or other forms of compensation; and selection for training, including apprenticeship. The contractor agrees to post in conspicuous places, available to employees and applicants for employment, notices to be provided setting forth the provisions of this nondiscrimination clause.

B. The contractor will, in all solicitations or advertisements for employees placed by or on behalf of the contractor, state that all qualified applicants will receive consideration for employment without regard to race, color, religion, sex, sexual orientation, gender identity, or national origin.

C. The contractor will not discharge or in any other manner discriminate against any employee or applicant for employment because such employee or applicant has inquired about, discussed, or disclosed the compensation of the employee or applicant or another employee or applicant. This provision shall not apply to instances in which an employee who has access to the compensation information of other employees or applicants as a part of such employee's essential job functions discloses the compensation of such other employees or applicants to individuals who do not otherwise have access to such information, unless such disclosure is in response to a formal complaint or charge, in furtherance of an investigation, proceeding, hearing, or action, including an investigation conducted by the employer, or is consistent with the contractor's legal duty to furnish information. 

D. The contractor will send to each labor union or representative of workers with which he has a collective bargaining agreement or other contract or understanding, a notice to be provided advising the said labor union or workers' representatives of the contractor's commitments under this section, and shall post copies of the notice in conspicuous places available to employees and applicants for employment. 

E. The contractor will comply with all provisions of Executive Order 11246 of September 24, 1965, and of the rules, regulations, and relevant orders of the Secretary of Labor. 

F. The contractor will furnish all information and reports required by Executive Order 11246 of September 24, 1965, and by rules, regulations, and orders of the Secretary of Labor, or pursuant thereto, and will permit access to his books, records, and accounts by the administering agency and the Secretary of Labor for purposes of investigation to ascertain compliance with such rules, regulations, and orders. 

G. In the event of the contractor's noncompliance with the nondiscrimination clauses of this contract or with any of the said rules, regulations, or orders, this contract may be canceled, terminated, or suspended in whole or in part and the contractor may be declared ineligible for further Government contracts or federally assisted construction contracts in accordance with procedures 

H. The contractor will include the portion of the sentence immediately preceding paragraph (1) and the provisions of paragraphs (1) through (8) in every subcontract or purchase order unless exempted by rules, regulations, or orders of the Secretary of Labor issued pursuant to section 204 of Executive Order 11246 of September 24, 1965, so that such provisions will be binding upon each subcontractor or vendor. The contractor will take such action with respect to any subcontract or purchase order as the administering agency may direct as a means of enforcing such provisions, including sanctions for noncompliance: 

Provided, however, that in the event a contractor becomes involved in, or is threatened with, litigation with a subcontractor or vendor as a result of such direction by the administering agency, the contractor may request the United States to enter into such litigation to protect the interests of the United States. 

The applicant further agrees that it will be bound by the above equal opportunity clause with respect to its own employment practices when it participates in federally assisted construction work: Provided, That if the applicant so participating is a State or local government, the above equal opportunity clause is not applicable to any agency, instrumentality or subdivision of such government which does not participate in work on or under the contract. 

The applicant agrees that it will assist and cooperate actively with the administering agency and the Secretary of Labor in obtaining the compliance of contractors and subcontractors with the equal opportunity clause and the rules, regulations, and relevant orders of the Secretary of Labor, that it will furnish the administering agency and the Secretary of Labor such information as they may require for the supervision of such compliance, and that it will otherwise assist the administering agency in the discharge of the agency's primary responsibility for securing compliance. 

The applicant further agrees that it will refrain from entering into any contract or contract modification subject to Executive Order 11246 of September 24, 1965, with a contractor debarred from, or who has not demonstrated eligibility for, Government contracts and federally assisted construction contracts pursuant to the Executive Order and will carry out such sanctions and penalties for violation of the equal opportunity clause as may be imposed upon contractors and subcontractors by the administering agency or the Secretary of Labor pursuant to Part II, Subpart D of the Executive Order. In addition, the applicant agrees that if it fails or refuses to comply with these undertakings, the administering agency may take any or all of the following actions: Cancel, terminate, or suspend in whole or in part this grant (contract, loan, insurance, guarantee); refrain from extending any further assistance to the applicant under the program with respect to which the failure or refund occurred until satisfactory assurance of future compliance has been received from such applicant; and refer the case to the Department of Justice for appropriate legal proceedings.
4.0
Davis Bacon Act- Compliance with Davis Bacon Act: Only applies to EMPG, HSGP, NSGP, THSGP, PSGP, IPR, HHPD and TSGP
a.  All transactions regarding this contract shall be done in compliance with the Davis-Bacon Act (40 U.S.C. 3141- 3144, and 3146-3148) and the requirements of 29 C.F.R. pt. 5 as may be applicable. The contractor shall comply with 40 U.S.C. 3141-3144, and 3146-3148 and the requirements of 29 C.F.R. pt. 5 as applicable. 

b. Contractors are required to pay wages to laborers and mechanics at a rate not less than the prevailing wages specified in a wage determination made by the Secretary of Labor. 

c. Additionally, contractors are required to pay wages not less than once a week. 
5.0
Copeland “Anti-Kickback” Act –  Only applies of Davis Bacon Act also applies
a. Contractor. The contractor shall comply with 18 U.S.C. § 874, 40 U.S.C. § 3145, and the requirements of 29 C.F.R. pt. 3 as may be applicable, which are incorporated by reference into this contract. 

b. Subcontracts. The contractor or subcontractor shall insert in any subcontracts the clause above and such other clauses as FEMA may by appropriate instructions require, and also a clause requiring the subcontractors to include these clauses in any lower tier subcontracts. The prime contractor shall be responsible for the compliance by any subcontractor or lower tier subcontractor with all of these contract clauses. 

c. Breach. A breach of the contract clauses above may be grounds for termination of the contract, and for debarment as a contractor and subcontractor as provided in 29 C.F.R. § 5.12.”
6.0
Rights to Inventions Made Under a Contract or Agreement – If applicable,  This contract provision outlines the rules governing the ownership of inventions created using federal funds. If the FEMA award meets the definition of funding agreement39 and the NFE enters into any contract involving substitution of parties, assignment or performance of experimental, developmental, or research work under that funding agreement, then the NFE must comply with the requirements of 37 C.F.R. Part 401 and any implementing regulations issued by FEMA.  39 Funding agreement definition found under 37 C.F.R. § 401.2(a).
7.0
Contract Work Hours and Safety Standards Act – Only applies if the contract involves employment of mechanics or laborers and exceeds $100,000.00 The regulation at 29 C.F.R. § 5.5(b) provides contract clause language concerning compliance with the Contract Work Hours and Safety Standards Act. FEMA suggests including the following contract clause: 

1) Overtime requirements. No contractor or subcontractor contracting for any part of the contract work which may require or involve the employment of laborers or mechanics shall require or permit any such laborer or mechanic in any workweek in which he or she is employed on such work to work in excess of forty hours in such workweek unless such laborer or mechanic receives compensation at a rate not less than one and one-half times the basic rate of pay for all hours worked in excess of forty hours in such workweek. 

2) Violation; liability for unpaid wages; liquidated damages. In the event of any violation of the clause set forth in paragraph (b)(1) of this section the contractor and any subcontractor responsible therefor shall be liable for the unpaid wages. In addition, such contractor and subcontractor shall be liable to the United States (in the case of work done under contract for the District of Columbia or a territory, to such District or to such territory), for liquidated damages. Such liquidated damages shall be computed with respect to each individual laborer or mechanic, including watchmen and guards, employed in violation of the clause set forth in paragraph (b)(1) of this section, in the sum of $27 for each calendar day on which such individual was required or permitted to work in excess of the standard workweek of forty hours without payment of the overtime wages required by the clause set forth in paragraph (b)(1) of this section. 

3) Withholding for unpaid wages and liquidated damages. The (write in the name of the Federal agency or the loan or grant recipient) shall upon its own action or upon written request of an authorized representative of the Department of Labor withhold or cause to be withheld, from any moneys payable on account of work performed by the contractor or subcontractor under any such contract or any other Federal contract with the same prime contractor, or any other federally-assisted contract subject to the Contract Work Hours and Safety Standards Act, which is held by the same prime contractor, such sums as may be determined to be necessary to satisfy any liabilities of such contractor or subcontractor for unpaid wages and liquidated damages as provided in the clause set forth in paragraph (b)(2) of this section. 

4) (4) Subcontracts. The contractor or subcontractor shall insert in any subcontracts the clauses set forth in paragraph (b)(1) through (4) of this section and also a clause requiring the subcontractors to include these clauses in any lower tier subcontracts. The prime contractor shall be responsible for compliance by any subcontractor or lower tier subcontractor with the clauses set forth in paragraphs (b)(1) through (4) of this section. 
8.0

Clean Air Act and Federal Water Pollution Control Act – 
Clean Air Act:

1. The contractor agrees to comply with all applicable standards, orders or regulations issued pursuant to the Clean Air Act, as amended, 42 U.S.C. § 7401 et seq. 

2. The contractor agrees to report each violation to the (name of applicant entering into the contract) and understands and agrees that the (name of the applicant entering into the contract) will, in turn, report each violation as required to assure notification to the Federal Emergency Management Agency, and the appropriate Environmental Protection Agency Regional Office. 

3. The contractor agrees to include these requirements in each subcontract exceeding $150,000 financed in whole or in part with Federal assistance provided by FEMA. 

Federal Water Pollution Control Act:

1. The contractor agrees to comply with all applicable standards, orders, or regulations issued pursuant to the Federal Water Pollution Control Act, as amended, 33 U.S.C. 1251 et seq. 

2. The contractor agrees to report each violation to the (name of the applicant entering into the contract) and understands and agrees that the (name of the applicant entering into the contract) will, in turn, report each violation as required to assure notification to the Federal Emergency Management Agency, and the appropriate Environmental Protection Agency Regional Office. 

3. The contractor agrees to include these requirements in each subcontract exceeding $150,000 financed in whole or in part with Federal assistance provided by FEMA. 

9.0
Suspension and Debarment - Contractor certifies that it and its principals are not suspended or debarred from doing business with the state or federal government as listed on the State of Texas Debarred Vendor List maintained by the Texas Comptroller of Public Accounts and the System for Award Management (SAM) maintained by the General Services Administration.
10.0
Byrd Anti-Lobbying Certification Required Certification – If applicable, contractors must sign and submit the following certification to the NFE with each bid or offer exceeding $100,000:  “APPENDIX A, 44 C.F.R. PART 18 – CERTIFICATION REGARDING LOBBYING

 Certification for Contracts, Grants, Loans, and Cooperative Agreements

 The undersigned certifies, to the best of his or her knowledge and belief, that: No federal appropriated funds have been paid or will be paid, by or on behalf of the undersigned, to any person for influencing or attempting to influence an officer or employee of an agency, a Member of Congress, an officer or employee of Congress, or an employee of a Member of Congress in connection with the awarding of any federal contract, the making of any federal grant, the making of any federal loan, the entering into of any cooperative agreement, and the extension, continuation, renewal, amendment, or modification of any federal contract, grant, loan, or cooperative agreement.  

If any funds other than federal appropriated funds have been paid or will be paid to any person for influencing or attempting to influence an officer or employee of any agency, a Member of Congress, an officer or employee of Congress, or an employee of a Member of Congress in connection with this federal contract, grant, loan, or cooperative agreement, the undersigned shall complete and submit Standard Form-LLL, “Disclosure Form to Report Lobbying,” in accordance with its instructions.  

The undersigned shall require that the language of this certification be included in the award documents for all subawards at all tiers (including subcontracts, subgrants, and contracts under grants, loans, and cooperative agreements) and that all subrecipients shall certify and disclose accordingly.  

This certification is a material representation of fact upon which reliance was placed when this transaction was made or entered into. Submission of this certification is a prerequisite for making or entering into this transaction imposed by section 1352, Title 31, U.S.C. Any person who fails to file the required certification shall be subject to a civil penalty of not less than $10,000 and not more than $100,000 for each such failure.” 

“The Contractor, _______________, certifies or affirms the truthfulness and accuracy of each statement of its certification and disclosure, if any. In addition, the Contractor understands and agrees that the provisions of 31 U.S.C. Chap. 38, Administrative Remedies for False Claims and Statements, apply to this certification and disclosure, if any. 
Signature of Contractor’s Authorized Official 

Name and Title of Contractor’s Authorized Official 

Date

11.0
Recovered Material Clause - In the performance of this contract, the Contractor shall make maximum use of products containing recovered materials that are EPA-designated items unless the product cannot be acquired competitively within a timeframe providing for compliance with the contract performance schedule; meeting contract performance requirements; or at a reasonable price. Information about this requirement, along with the list of EPA-designated items, is available at EPA’s Comprehensive Procurement Guidelines webpage: https://www.epa.gov/smm/comprehensive- procurement-guideline-cpg-program. The Contractor also agrees to comply with all other applicable requirements of Section 6002 of the Solid Waste Disposal Act.
12.0
Prohibition on Contracting for Covered Telecommunications Equipment or Services -  (a) Definitions. As used in this clause, the terms backhaul; covered foreign country; covered telecommunications equipment or services; interconnection arrangements; roaming; substantial or essential component; and telecommunications equipment or services have the meaning as defined in FEMA Policy 405-143-1, Prohibitions on Expending FEMA Award Funds for Covered Telecommunications Equipment or Services (Interim), as used in this clause— 
(b) Prohibitions.  
(1) Section 889(b) of the John S. McCain National Defense Authorization Act for Fiscal Year 2019, Pub. L. No. 115-232, and 2 C.F.R. § 200.216 prohibit the head of an executive agency on or after Aug.13, 2020, from obligating or expending grant, cooperative agreement, loan, or loan guarantee funds on certain telecommunications products or from certain entities for national security reasons.
  (2) Unless an exception in paragraph (c) of this clause applies, the contractor and its subcontractors may not use grant, cooperative agreement, loan, or loan guarantee funds from the Federal Emergency Management Agency to: 
(i) Procure or obtain any equipment, system, or service that uses covered telecommunications equipment or services as a substantial or essential component of any system, or as critical technology of any system; 
(ii) Enter into, extend, or renew a contract to procure or obtain any equipment, system, or service that uses covered telecommunications equipment or services as a substantial or essential component of any system, or as critical technology of any system;   
(iii) Enter into, extend, or renew contracts with entities that use covered telecommunications equipment or services as a substantial or essential component of any system, or as critical technology as part of any system; or 
(iv) Provide, as part of its performance of this contract, subcontract, or other contractual instrument, any equipment, system, or service that uses covered telecommunications equipment or services as a substantial or essential component of any system, or as critical technology as part of any system. 
(c) Exceptions.  
(1) This clause does not prohibit contractors from providing— 
(i) A service that connects to the facilities of a third-party, such as backhaul, roaming, or interconnection arrangements; or 27 Contract Provisions Guide 
(ii) Telecommunications equipment that cannot route or redirect user data traffic or permit visibility into any user data or packets that such equipment transmits or otherwise handles. 
(2) By necessary implication and regulation, the prohibitions also do not apply to: 
(i) Covered telecommunications equipment or services that: 
i. Are not used as a substantial or essential component of any system; and 
ii. Are not used as critical technology of any system. 
(ii) Other telecommunications equipment or services that are not considered covered telecommunications equipment or services. 
(d) Reporting requirement.  
(1) In the event the contractor identifies covered telecommunications equipment or services used as a substantial or essential component of any system, or as critical technology as part of any system, during contract performance, or the contractor is notified of such by a subcontractor at any tier or by any other source, the contractor shall report the information in paragraph (d)(2) of this clause to the recipient or subrecipient, unless elsewhere in this contract are established procedures for reporting the information. 
(2) The Contractor shall report the following information pursuant to paragraph (d)(1) of this clause: 
(i) Within one business day from the date of such identification or notification: The contract number; the order number(s), if applicable; supplier name; supplier unique entity identifier (if known); supplier Commercial and Government Entity (CAGE) code (if known); brand; model number (original equipment manufacturer number, manufacturer part number, or wholesaler number); item description; and any readily available information about mitigation actions undertaken or recommended. 
(ii) Within 10 business days of submitting the information in paragraph (d)(2)(i) of this clause: Any further available information about mitigation actions undertaken or recommended. In addition, the contractor shall describe the efforts it undertook to prevent use or submission of covered telecommunications equipment or services, and any additional efforts that will be incorporated to prevent future use or submission of covered telecommunications equipment or services. 
(e) Subcontracts. The Contractor shall insert the substance of this clause, including this paragraph (e), in all subcontracts and other contractual instruments.”
13.0
Domestic Preference - Domestic Preference for Procurements As appropriate, and to the extent consistent with law, the contractor should, to the greatest extent practicable, provide a preference for the purchase, acquisition, or use of goods, products, or materials produced in the United States. This includes, but is not limited to iron, aluminum, steel, cement, and other manufactured products. For purposes of this clause: Produced in the United States means, for iron and steel products, that all manufacturing processes, from the initial melting stage through the application of coatings, occurred in the United States. Manufactured products mean items and construction materials composed in whole or in part of non-ferrous metals such as aluminum; plastics and polymer-based products such as polyvinyl chloride pipe; aggregates such as concrete; glass, including optical fiber; and lumber.
14.0
Changes - To be allowable under a FEMA grant or cooperative agreement award, the cost of any contract change, modification, amendment, addendum, change order, or constructive change must be necessary, allocable, within the scope of the grant or cooperative agreement, reasonable for the scope of work, and otherwise allowable.
15.0
Compliance with Federal Law, Regulations, And Executive Orders and Acknowledgement of Federal Funding
- This is an acknowledgement that FEMA financial assistance will be used to fund all or a portion of the contract. The contractor will comply with all applicable federal law, regulations, executive orders, FEMA policies, procedures, and directives.
16.0
No Obligation by Federal Government - The federal government is not a party to this contract and is not subject to any obligations or liabilities to the non-federal entity, contractor, or any other party pertaining to any matter resulting from the contract.
17.0
Program Fraud and False or Fraudulent Statements or Related Acts - The contractor acknowledges that 31 U.S.C. Chap. 38 (Administrative Remedies for False Claims and Statements) applies to the contractor’s actions pertaining to this contract.
18.0
Affirmative Socioeconomic Steps -If subcontracts are to be let, the prime contractor is required to take all necessary steps identified in 2 C.F.R. § 200.321(b)(1)-(5) to ensure that small and minority businesses, women’s business enterprises, and labor surplus area firms are used when possible.
19.0
Copyright and Data Rights – If Applicable: License and Delivery of Works Subject to Copyright and Data Rights: The Contractor grants to the City of Conroe, a paid-up, royalty-free, nonexclusive, irrevocable, worldwide license in data first produced in the performance of this contract to reproduce, publish, or otherwise use, including prepare derivative works, distribute copies to the public, and perform publicly and display publicly such data. For data required by the contract but not first produced in the performance of this contract, the Contractor will identify such data and grant to the (insert name of the non-federal entity) or acquires on its behalf a license of the same scope as for data first produced in the performance of this contract. Data, as used herein, shall include any work subject to copyright under 17 U.S.C. § 102, for example, any written reports or literary works, software and/or source code, music, choreography, pictures or images, graphics, sculptures, videos, motion pictures or other audiovisual works, sound and/or video recordings, and architectural works. Upon or before the completion of this contract, the Contractor will deliver to the (insert name of the non-federal entity) data first produced in the performance of this contract and data required by the contract but not first produced in the performance of this contract in formats acceptable by the City of Conroe.

20.0
Default - The City reserves the right to terminate the contract immediately for failure to meet delivery or completion schedules, or otherwise perform in accordance with the general conditions of this proposal.

Bid Agreement and Certification:

The Undersigned Agrees That:


A.
No Federal, State, County or Municipal taxes have been included in the quoted prices and none will be added.

B.
Prices in this proposal have not knowingly been disclosed with any other provider and will not be prior to award.

C.
Prices in this proposal have been arrived at independently, without consultation, communication or agreement for the purpose of restricting competition.

D.
No attempt has been made nor will be to induce any other person or firm to submit a proposal for the purpose of restricting competition.

E.
The individual signing this proposal certifies that he/she is a legal agent of the bidder, authorized to represent the bidder and is legally responsible for the offer with regard to supporting documentation and prices provided.

By my signature below I agree to comply with all the following specifications, terms and conditions and all clauses pertaining to this Bid.

(Company Name)




(Name of Authorized Agent – Printed)

(Street Address / P.O. Box)
(Authorized Agent Signature)

(City / State / Zip Code)
(Date)

(Phone)

Page 

2 | Page

