ROCKWOOD SCHOOL DISTRICT

REQUEST FOR BID

RFB No.: RFB0123CCTVMHS

Title:  Technology CCTV Cable and Installation – Marquette High School

Issue Date:  January 31, 2023

This document constitutes Rockwood School District’s (hereafter called the “District” or “RSD”) Request for Bids ("RFB") soliciting bids from qualified individuals, firms or organizations to provide CCTV cable installation services as described in this RFB.

SEALED BIDS MUST BE RECEIVED NO LATER THAN: 1:00 PM (CDT) ON  MARCH 28, 2023. Bids submitted after that time and date will be rejected.

BIDS SHALL BE SUBMITTED TO:

Coordinator of Purchasing

Rockwood School District

111 East North Street

Eureka, Missouri 63025

All inquiries for information regarding Bid Preparation and Submission Requirements shall be in writing and shall be directed to:

Scott Rhodes

Technology Customer Service Supervisor

Rockwood School District

1955-A Shepard Rd

Wildwood, MO 63038

rhodesscott@rsdmo.org

636.891.6993

All other communications and questions regarding this RFB must be directed to the above individual. No other contact with any members of the Rockwood School Board, any administrators, staff or employees of the District is permitted before or after completion of the RFB process. Failure to follow this directive or any attempt to contact or to influence any such person may result in rejection or disqualification of a Bid.

Any and all responses to written requests for information and questions will be in writing and will be sent to all known interested parties. Any oral responses will be considered unauthorized and non-binding on the District.

Important Dates

RFB Issue Date	January 31, 2023

Pre-Bid Meeting	February 17, 2023 @ 9:45 AM

Deadline for RFB Clarification	March 16, 2023

Bid Due Date	March 28, 2023 at 1:00 PM CDT

Award Recommendation Submitted to BOE	April 1, 2023

Expected BOE Approval Date	April 13, 2023

Contract Term	April 14, 2023 - June 30, 2023

[REMAINDER OF PAGE INTENTIONALLY LEFT BLANK]

I. RFB INSTRUCTIONS AND CONDITIONS

- INTRODUCTION

The District is a nationally recognized, diverse community of learners. Currently the District serves nearly 20,000 students, made up of four high schools, six middle schools, and nineteen elementary schools, a talented and gifted campus, and a school for at-risk high school students. The District employs over 3,500 people, and covers 150 square miles in much of western St. Louis and northern Jefferson counties. The District has consistently earned the accreditation of Distinction in Performance by the Missouri Department of Education. Additional detailed information about the District may be found at www.rsdmo.org.

The Rockwood School District invites you to submit a bid according to requirements contained herein for providing and installing a fully compliant data network cabling system (“Products”) and (“Services”). The Products and Services are described more fully below in this RFB. It is anticipated that the delivery of the Products and the Services would begin by April 14, 2023 and must be completed and invoices no later than June 30, 2023.

A public bid opening will be held at 1:00 p.m. on March 28, 2023, at 111 East North Street, Eureka, MO 63025.

- BID PREPARATION AND SUBMISSION REQUIREMENTS

A.	In order to be considered, bidders must submit two (2) hard copies of the bid and one electronic copy. Bids shall be signed and printed or type written, submitted sealed with the envelope plainly marked with the title and RFB No.: RFB0123CCTVMHS . Bids shall be delivered to:

Coordinator Purchasing

Rockwood School District

RFB0123CCTVMHS

111 East North Street

Eureka, Missouri 63025

SEALED BIDS MUST BE RECEIVED NO LATER THAN: 1:00 PM (CDT) ON  MARCH 28, 2023. Bids submitted after that time and date will be rejected.

B.	Bids shall be prepared simply, but completely, providing a straightforward, concise description of capabilities to satisfy the requirements of the RFB. Emphasis should be on completeness and clarity of content. At the same time, bids should be as thorough and detailed as possible so that the District may properly evaluate the Bidder's capabilities to provide the required services.

Electronic or facsimile bids alone will not be considered in response to this RFB, nor will modifications by electronic or facsimile notice be accepted.

C.	Bidders must include at least the following information, data and responses labeled accordingly in their bids (i.e. C1, D, E. etc.):

(1)	Bidder’s full name and principal office address, and descriptions of the type of business entity (e.g., publicly held corporation, private non-profit, proprietorship, partnership, etc.).

(2)	If Bidder is incorporated, include the state in which it is incorporated, and list the name and occupation of those individuals servicing on the board of directors, along with the name of any entity or person owning 10% or more of the corporation.

(3)	The name, title, mailing address, telephone number, fax number, and email address of the contact person for this RFB and the bid.

(4)	A summary description or work plan which describes how Bidder intends to perform the required services and include a description of any involvement and responsibilities which would be required of the District.

(5)	Description of the manner by which Bidder proposes to be compensated for the services to be provided, including a listing or schedule of fees, commissions, costs and expenses, including reimbursable costs and Bidder’s total cost for the services to be provided.

- Indicate if proposed pricing includes the acceptance of payment with a procurement card (p-card) or credit card in lieu of a check. If Bidder agrees, no additional fees shall be charged to the District for card acceptance.

- Indicate if proposed pricing could be offered to other Missouri school districts of similar size and order volumes.

D.	Bidders must provide a description or evidence of their experience and qualifications to undertake and to provide the services described in this RFB with a particular emphasis upon experience and services provided to Missouri K-12 school districts.

E.	Bidders must provide evidence or information as to their financial condition and stability.

F. 	Bidder must provide a Certificate of Good Standing indicating they have filed all

reports and paid the necessary fees to the Secretary of State’s office in the state they are licensed in.

G.	Bidders must provide a minimum of five (5) references with names, addresses and phone numbers, and including specifically any governmental entities and school districts for which each Bidder has provided services.

H.	Bidder must state whether they have been involved in any litigation during the last five years, and if so, describe any such litigation.

- PRE-BID MEETING

A pre-bid meeting will be held for all interested bidders on Friday, February 17, 2023, at 9:45 AM at Marquette High School located at 2351 Clarkson Road, Chesterfield, MO 63017. At that time any questions or issued related to the RFB will be addressed. Attendance by Bidders is encouraged, but attendance is not mandatory or required.

- BID BOND REQUIRED

A bid to be entertained must be accompanied by a cashier’s or certified check or a bid bond, payable to Rockwood R-VI School District, in an amount of $6,000.00, which is based on ten percent (10%) of $60,000.00, the estimated contract value, as a guarantee that, if awarded the contract, the Bidder will promptly enter into a contact and execute such bonds as required. Failure to submit bid security is sufficient cause to reject the bid.

Should the successful Bidder fail to enter into a contract within sixty (60) days after bid due date, Bidder’s check or bond will be forfeited to the District. The successful Bidder’s check will be returned immediately after entering into a contract and receipt of payment and performance bonds as required by contract.

Unsuccessful Bidders’ checks will be returned to Bidders in full within five (5) working days after the above-mentioned period. If all bids are rejected, all checks will be returned within five (5) working days. Bid bonds will only be returned upon written request and after the same conditions are met for return of checks.

- AWARD

Award(s) will be made to the lowest, responsive and responsible Bidder(s) whose bid(s) is deemed to be most advantageous to the District, considering overall content of the bid, cost, overall bid, experience and qualifications of the firm and staff assigned and quality and content of the manner in which the services are proposed to be performed. The District reserves the right to split the award or to make multiple awards, and to make award on a part or portion of a bid. The District may request additional information and/or an interview with some or all Bidders as part of the selection process. In no event shall the District be required to explain the evaluation process or award selection to any Bidder.

- RIGHT TO REJECT

The District reserves the right to accept any bid, to reject any and all bids, and to waive any irregularities or informalities in any bids. Conditional bids will not be accepted.

- BIDS FINAL

All Bids shall be deemed final, conclusive and irrevocable, and no Bid shall be subject to correction or amendment for any error or miscalculation.

- COST OF PREPARATION

The cost of preparing and submitting a response to this RFB will be assumed solely by each Bidder, whether or not any agreement is signed as a result of this RFB.

- OWNERSHIP OF SUBMITTALS

All completed Bids submitted in response to this RFB become the property of the District upon submission. The District may use the bid for any purpose deemed appropriate. The bid material may become part of any contract between the successful Bidder and the District.

- RFB INTERPRETATION

Interpretation of the wording of this RFB will be the responsibility of the District and that interpretation will be final and binding.

- PRICE

Bidders are cautioned that services must be furnished at the fees, costs and/or rates submitted and proposed unless otherwise stated. No increase in costs will be permitted during the term of the contract.

- CONTRACT

The Rockwood Board of Education must formally approve the award of any contract(s) or agreement to purchase with approval anticipated to be received no later than April 13, 2023. The successful Bidder will be required to enter into a written contract with the District which will include, but not be limited to, the scope of services described herein and the contract provisions included herein. It is anticipated the contract term will commence on April 14, 2023 and continue through June 30, 2023.

- BILLING AND PAYMENT

Invoices shall be submitted directly to the Rockwood School District via email at accountspayable@rsdmo.org or mailed to the District’s Finance Office at 111 E. North St., Eureka, MO 63025. Each invoice should contain the District purchase order number, date of shipment, quantity, price and items(s) shipped. Invoices will not become due and payable until all times listed on the invoice are received complete.

Rockwood School District’s payment terms are Net 45.

- PREVAILING WAGE/OTHER LABOR REQUIREMENTS

- This bid solicitation, the project(s) being proposed, and the resulting contract are subject to prevailing wage requirements under applicable Missouri Law. Not less than the prevailing hourly rate of wages, as set out in the annual wage order attached to and made part of this bid solicitation, must be paid to all workers performing work pursuant to any contract awarded for the project. All Bidders must familiarize themselves with the current hourly rate of wages pursuant to said wage order before submitting their bids in response to this bid solicitation. Each Contractor awarded a contract will be held responsible for paying the prevailing wages. The Contractor will forfeit as a penalty to the Rockwood School District the amount of $100 per calendar day (or portion thereof) for each worker who is paid less than the prevailing rate for any work performed under the contract by the Contractor or by any Subcontractor.

- In all Contractors’ bonds, the Contractor shall include such provisions as will guarantee the faithful performance of the prevailing hourly wage clause as provided by contract.

- Contractor and their Subcontractors shall be required to submit weekly payroll sheets with their monthly invoices showing compliance to the above Prevailing Wage Standard.

- Accurate records pertaining to wages paid all workers employed on the contract shall be kept within the state by the Contactor and each Subcontractor for a period of one-year following completion of the public work.

- Rockwood School District encourages Bidder to employ St. Louis City and St. Louis County residents for these projects.

- PAYMENT AND PERFORMANCE BOND

- If the bid is over $50,000.00, the District will require the successful Bidder to furnish bonds covering the faithful performance of the maximum contract value of $60,000.00 and the payment of all obligations in the amount of One Hundred Percent (100%). The cost of the bonds shall be included in Bid.

- In all Contractors’ bonds, the Contractor shall include such provisions as will guarantee the faithful performance of the prevailing hourly wage clause as provided by contract.

- LIEN WAIVERS

Lien Waivers shall be submitted with Contractor’s invoices.

- INSURANCE

The successful Bidder will be expected to provide the following types of insurance with the described limits:

Comprehensive General Liability	$ 1,000,000	 per person per occurrence

(Including Contractual Liability)

$ 1,000,000	 property damage per occurrence

$ 1,000,000	 aggregate all claims per occurrence

Workers' Compensation	As required by applicable law

Employer's Liability	$ 1,000,000	 per occurrence

Automotive Liability	$ 1,000,000	 per occurrence

The District shall be listed as certificate holder and as Additional Insured for the commercial general liability and the automobile general liability coverage.

- TAXES

Bidders shall NOT INCLUDE FEDERAL EXCISE TAX, TRANSPORTATION TAX, or STATE RETAIL SALES TAX in their cost bid, as these taxes do not apply to the District.

- NO PARTICIPATION

The successful Bidder shall not directly or indirectly participate as a bidder, or subcontractor to a bidder or bidder on any bids or request for bids to be designed, or services to be provided, as part of the projects contemplated by this RFB.

- EXCEPTIONS

If a Bidder takes exception to any part of these specifications as written, or as amended by any addenda subsequently issued, or the Agreement, they must do so in writing. Said exceptions must be submitted with the bid. Failure to do so will be construed as acceptance of all items of the specification and the Agreement.

- USE OF INFORMATION

A.	Any specifications, drawings, sketches, models, samples, data, computer programs or documentation or other technical or business information (“Information”) furnished or disclosed to interested parties under this RFB, or as the result of this RFB, shall remain the property of the District and, when in tangible form, all copies of such information shall be returned to the District upon request. Unless such information was previously known to a party, free of any obligation to keep it confidential, or has been or is subsequently made public by the District or a third party, it shall be held in confidence by such party, shall be used only for the purposes of this RFB, and may not be used for other purposes except upon such terms and conditions as may be mutually agreed upon in writing.

B.	No specifications, drawings, sketches, models, samples, tools, or other apparatus programs, technical information or data, written, oral or otherwise, furnished by any interested party to the District under this RFB shall be considered to be confidential or proprietary.

- OSHA TRAINING

The Contractor and each Subcontractor to perform work on the project must provide a ten-hour Occupational Safety and Health Administration (OSHA) construction safety program consistent with Section 292.675, Missouri Revised Statutes, for their onsite employees, and any employees who have not previously completed the construction safety program shall complete the program within sixty (60) days of beginning work on the project. For projects with a cost of $100,000 or more, all onsite employees must have completed the safety program prior to beginning work on the project.

- TOBACCO-FREE DISTRICT

The Rockwood School District Board of Education has adopted a policy to provide a tobacco-free environment within Rockwood School District’s boundaries, including buildings, facilities, grounds, parking lots, etc. The use of any tobacco products by any visitor, including employees of Contractors and Subcontracts, is prohibited at all times. The complete District policy can be found at:

www.rsdmo.org/departments/boe/policiesandregulations/Pages/Policy1410-Tobacco-FreeDistrict

[REMAINDER OF PAGE INTENTIONALLY LEFT BLANK]

II. SCOPE OF WORK

Through this RFB, the District is seeking to obtain bids from qualified and experienced persons, organizations, companies or firms to provide data network cabling for sixty-eight (68) cameras at Marquette High School located at 2351 Clarkson Road, Chesterfield, MO 63017.

The successful bidder will undertake and provide:

- Fully compliant data network cabling (structured cabling system)

- Obtain necessary low voltage electrical permits

- Label and mount provided camera hardware according to layout and/or approved locations.

- Removal of Analog Camera System cable and components (Optional Bid)

- Slim type patch cables for patching

Rockwood School District will provide:

- Camera’s

- Camera specific mounting hardware

- Power over ethernet network switches

- Technical staff to program cameras

- Recording and storage of video.

- Remote assistance with fine aiming of camera’s out of reach of an 8ft ladder.

- Fine aiming of interior cameras within reach of a 6ft ladder

Camera Installation

- Single Cat6A data drop will be installed (run) from an IDF or MDF network closets to the

agreed upon locations.

- Service loops are required: 5 feet at device/camera and 10 feet at IDF/MDF

- Wires must be fished through the wall when possible.

- Plenum rated Velcro (cable straps) should be used to secure cables.

- All components must meet the District’s standards. See Appendix A for components.

- Field termination can be in the form of direct attach 6a connectors.

- All finished copper drops must be tested to meet Cat6A specifications, recorded and results

provided to the district. Must be tested using a Fluke Networks DSX-5000Qi or equivalent.

- All terminations labeled (cable jacket near field termination, exterior of camera, PatchPannel)

- Cleanup of work area in each room and closet at the end of each work shift

- Provide As-Built drawings on a clearly marked map of cable path to make it easy later to

analyze and diagnose any issues that may arise.

- Cat6a drops should only terminate in an approved IDF location.

- Provide (T-Bars, Electrical Boxes, Conduit, etc.)

- Aim camera in general direction of layout

- All exterior cameras to be mounted using a wall mount and to be sealed to prevent water

from entering camera housing or building.

- Patch in cameras once installed and document what camera/unit gets installed at each

location.

- Provide best effort aiming for camera’s reached with 8 ft ladder.

- Provide exact aiming for all other cameras

IDF Racks and Cabinets

- Patch Panels Must be labeled with the appropriate letter for each. (ex: Patch-Panel-A)

- Label All IDF Closets on the Rack or Cabinet with a minimum 1” Label

Removal of Analog Camera System (Alternate)

- Contractor to remove existing analog cameras

- Removal of all low voltage cabling and power supplies related to analog CCTV video cable to

be removed from camera headend to camera location.

- Box all old equipment up for electronic recycling

- When exterior cameras are called for removal. Areas should be patched and sealed with like

color caulk/seal

- If the existing system is removed prior to installing the new cameras should be working and

connected to the network within 2 school days of removal of analog cameras.

Camera mounting hardware to be provided for individual cameras. Mounts include a wall mounted

pendant with junction box to be used for exterior installs. A wall mount junction box to be used for wall

mount installations. The Cameras Can be Directly Mounted to Drywall or using junction box.

The parts list (Appendix A) specifying acceptable structured data cabling/data wiring components is at

the end of this document and the expectation of the bidder is to provide and utilize the specified

components. Any deviation from the specifications must be clearly noted and fully explained on the

bid document. Rockwood School District shall determine in its sole discretion whether substitution or

modifications of the requested specifications are comparable to those contained within the Request

for Bid. If Rockwood School District determines that the modifications or deviations from the

specifications are not in compliance; the District may reject the bid.

All Bidders are expected to comply fully with all local building and safety codes and obtain all

required permits before work begins. Examples of code requirements may include but are not limited

to, utilizing J- Hooks attached at specified intervals or use of cable trays to support the above the

ceiling wiring, utilizing proper cable housing for exposed wiring, etc.

Scheduled work hours are required to be after school releases (4:00pm) to 11:30 p.m. When school

is not in session, hours may be adjusted to begin as early as 7:00am; weekend hours may be

available. All work is expected to be finished and billed June 30th, 2023

.

The main evaluation considerations are price, industry experience, and qualifications. The evaluation

criteria include, but are not necessarily limited to, the following:

- Overall best pricing for product and services

- Total cost of implementation

- Bidder’s experience with Rockwood and other school districts

- Vendor’s proximity (business location) to the District

- Vendor’s overall performance record, including responsiveness and reputation based upon

feedback from available references

- Perceived quality of the vendor’s response, including completeness, accuracy and appropriateness

- Stability/risk of the vendor, including assessment of risk that they may not be able to fulfill responsibilities

In awarding the bid(s), price, availability, past vendor experience, qualifications, references, and

compliance of the bid with specifications and requirements, will be determining factors.

No invoice will be processed for payment until such time as all contractual obligations have been met

and/or items ordered have been received and approved by the District’s authorized representative.

Bid Response Table

| Building | Count of New Data/Camera | Count of Analog Removal | Price – Cable and Mount | Price – Removal of Analog CCTV |
| --- | --- | --- | --- | --- |
| Marquette High School | 68 | Approximately 113 |  |  |

Building layouts will be available at walk-through or by appointment at 1955-A Shepard Rd, Wildwood, MO. Appointments can be made by contacting Scott Rhodes at shodesscott@rsdmo.org.

|  | Appendix A |  |
| --- | --- | --- |
| Berk-Tek | LANmark-10G Cat 6A Plenum | 10137385 |
| Belden | 10GX System UTP Cable | 10GX130042500 |
| Superior Essex | Superior Essex 10Gain+Cat 6A | CMP 6B-246-6B / CMP 6B-272-6B |
| Ortronics | HDJ Series 24 Port 1RU Standard Density | OR-PHDHJU24 |
| Ortronics | HDJ Series 48 Port 2RU Standard Density | OR-PSDHJU48 |
| Ortronics | Clarity Cat6a High Density jack RJ45 | OR-HDJ6A-36 – High Density Jack-Blue |
| Ortronics | Direct Attach 6A - 5Pack | FTPUC6A-5pk-Used to connect IP cameras |
| Panduit | LDWH6-A | Nonmetallic raceway 6&#39; L x 1.01&quot; H- LD5 Adhesive |

III. CONTRACT TERMS AND CONDITIONS

INTRODUCTION TO THIS SECTION

The successful Bidder will be expected to enter into a written contract with the District. The terms and conditions in this section are expected to be incorporated into any contract awarded as a result of this RFB. In submitting a bid, the Bidder agrees to the terms and conditions in this section, unless a statement is made to the contrary. Acceptance of alternate language, terms and conditions is at the sole discretion of the District. While the exact term of the contract is subject to final determination, the successful Bidder would be expected to commence the services on or about April 14, 2023 and complete the services as mutually agreed. The following terms and conditions are not to be considered complete, and other terms and conditions will be included in any resulting contract.

WARRANTY FOR SERVICES

Contractor warrants and represents to the District that Contractor possesses the background, experience, expertise and qualifications to undertake and to carry out the Services. Contractor further warrants and represents that the Services will be performed in a professional, good, thorough and workmanlike manner, and consistent with accepted industry standards.

INSURANCE

A.	Contractor shall maintain occurrence-based insurance including comprehensive general liability, automotive liability, and if applicable, workers’ compensation and employers' liability in the amounts described herein. Such insurance shall be provided by insurance companies authorized to do business in the State of Missouri.

B.	The District shall be included as an additional insured on all required insurance policies, except Workers’ Compensation and Employers' Liability, with respect to the liability arising out of the performance of Contractor's Services under this Agreement.

C.	Certificates of insurance of Contractor's insurance coverage shall be furnished to the District at the time of commencement of the Services.

D.	All such insurance shall provide for notice to the District of cancellation of insurance policies thirty (30) days before such cancellation is to take effect.

TERMINATION

District may terminate this Agreement and cease payment of all or a portion of the remaining payments not dispersed to date if (i) District, in its sole discretion, is not satisfied with the quality of the work achieved under this Agreement; (ii) Contractor fails to meet the conditions set forth in this Agreement; or (iii) District or any reason, provides seven (7) business days’ advance written notice to Contractor of its intention to terminate this Agreement. If this agreement is terminated in accordance with this paragraph, District shall only be required to pay Contractor for goods or services delivered to District prior to the termination and not otherwise returned in accordance with District’s return policy. If District has paid Contractor for goods or services not yet provided as of the date termination, Contractor shall immediately refund such payments.

FORCE MAJEURE

In the event either party is unable, as a result of a Force Majeure Event, to perform Services as set forth in this Agreement, neither party shall have any liability under this Agreement with respect to one another. Neither party shall be liable to the other for any additional costs, expenses or damages arising out of the rescheduling or cancellation of the Services pursuant to this Section. "Force Majeure Event" means unforeseeable causes beyond the parties' control and without their fault or negligence, including but not limited to, governmental action or inaction, war, acts of God or of the public enemy, riots, fires, floods, earthquakes, pandemics, epidemics, coronavirus, COVID-19, or any other deadly and communicable virus or disease, quarantines, strikes, lockouts, freight embargoes, electrical outage, computer or communication failures.

INDEMNITY

Contractor agrees to indemnify and hold harmless the District and the members of the Rockwood Board of Education, and the District’s officers, employees, servants and agents from and against any and all liabilities, losses, damages, costs and expenses of any kind (including, without limitation, reasonable legal fees and expenses in connection with any investigative, administrative or judicial proceeding, whether or not designated a party thereto) which may be suffered by, incurred by or threatened against the District or any members, officers, employees, servants or agents of the District on account of or resulting from injury, or claim of injury, to person or property arising from Contractor’s actions or omissions relating to this Agreement, or arising out of Contractor’s breach or failure to perform any term, covenant, condition or agreement herein provided to be performed by Contractor.

GOVERNING LAW - JURISDICTION

This Agreement shall be governed, construed and interpreted under Missouri law, and shall be deemed to be executed and performed in the County of St. Louis, Missouri. Any legal action arising out of, or relating to this Agreement shall be governed by the laws of the State of Missouri, and the parties agree to the exclusive exercise of jurisdiction and venue over them by a court of competent jurisdiction located in the County of St. Louis, Missouri.

REPORTING

During the term of this Agreement, Contractor shall report to, and confer with, the District’s Director of Facilities and/or their designee on a regular basis, and as may be reasonably requested, concerning the Services performed by Contractor and issues related to the Services. Contractor also agrees to meet and confer with other District administrators, officers and employees as directed, or as may be necessary or appropriate.

RECORD RETENTION

The selected Bidder must maintain all required records for three years after final payment and all other opening matters are closed for all contracts. Duly authorized representatives of the Local Education Agency, State Agency, United States Department of Agriculture, or Comptroller General must have access to any books, documents, papers and records of the Bidder which are directly pertinent to all negotiated contracts.

ASSIGNMENT

Contractor agrees, for Contractor and on behalf of Contractor’s successors, heirs, executors, administrators, and any person or persons claiming under Contractor, that this Agreement and the obligations, rights, interests, and benefits hereunder cannot be assigned, transferred, pledged, or hypothecated in any way and shall not be subject to execution, attachment, or similar process, without the express written consent of the District. Any attempt to do so, contrary to these terms, shall be null and void and shall relieve the District of any and all obligations or liability hereunder.

LICENSES AND PERMITS

Contractor shall obtain at Contractor’s expense all licenses and permits necessary to perform the Services.

CONTRACTOR REPRESENTATIONS

Contractor acknowledges and represents that (i) Contractor is legally authorized to transact business in the State of Missouri and to provide the Services required hereunder, (ii) the entering into this Agreement has been duly approved by the Contractor, (iii) the undersigned is duly authorized to execute this Agreement on behalf of Contractor and to bind Contractor to the terms hereof, and (iv) Contractor will comply with all State, federal and local statutes, regulations and ordinances, including civil rights and employment laws, and agrees not to discriminate against any employee or applicant for employment or in the provision of Services on the basis of race, color, national origin, sex, sexual orientation, age or disability. Contractor also agrees to abide by all applicable District policies and regulations.

Contractor agrees that any employee acting on behalf of the contractor and performing duties on District property will adhere to District policies related to staff conduct, including but not limited to:  banning the use of tobacco on District property, drug-free workplace and activities that could be viewed as unethical or a conflict of interest. Contractors whose staff will regularly enter school buildings will perform background screening on each staff member to ensure that they are not on a sexual offender or predator list. A complete list of District policies can be found at:

www.rsdmo.org/departments/boe/policiesandregulations

INDEPENDENT CONTRACTOR

The District and Contractor agree that Contractor will act for all purposes as an independent contractor and not as an employee, in the performance of Contractor’s duties under this Agreement. Accordingly, Contractor shall be responsible for payment of all taxes, including federal, state and local taxes arising out of Contractor’s Services, including by way of illustration but not limitation, federal and state income tax, Social Security tax, Unemployment Insurance taxes, and any other taxes. In addition, Contractor and Contractor’s employees shall not be entitled to any vacation, insurance, health, welfare, or other fringe benefits provided by the District. Contractor shall have no authority to assume or incur any obligation or responsibility, nor make any warranty for or on behalf of the District or to attempt to bind the District.

NON-DISCRIMINATION

The District actively follows a policy of nondiscrimination on the basis of age, race, color, religion, sex, national origin, sexual orientation, marital status, disability, and Vietnam-Era-veteran-status. The District also complies with the following laws and implementing regulations: Title VI and Title VII of the Civil Rights Act of 1964 regarding race, color, national origin, religious and sex discrimination; Title IX of the Education Amendments Act of 1972 regarding sex discrimination; the Americans with Disabilities Act, as amended by the ADA Amendments Act; the Missouri Humans Rights Act; Section 504 of the Rehabilitation Act of 1973 regarding discrimination based on disabilities and handicaps; the Age Discrimination in Employment Act; the Missouri Anti-Discrimination Against Israel Act; and other state and federal laws and regulations.

In accordance with Federal civil rights law, all U.S. Departments, including the U.S. Department of Agriculture (USDA) civil rights regulations and policies, the USDA, its Agencies, offices, and employees, and institutions participating in or administering USDA programs are prohibited from discriminating based on race, color, national origin, religion, sex, gender identity (including gender expression), sexual orientation, disability, age, marital status, family/parental status, income derived from a public assistance program, political beliefs, or reprisal or retaliation for prior civil rights activity, in any program or activity conducted or funded by USDA (not all bases apply to all programs). Remedies and complaint filing deadlines vary by program or incident.

Persons with disabilities who require alternative means of communication for program information (e.g., Braille, large print, audiotape, American Sign Language, etc.) should contact the responsible Agency or USDA's TARGET Center at (202) 720-2600 (voice and TTY) or contact USDA through the Federal Relay Service at (800) 877-8339. Additionally, program information may be made available in languages other than English.

To file a program discrimination complaint, complete the USDA Program Discrimination Complaint Form, AD-3027, found online at How to File a Program Discrimination Complaint and at any USDA office or write a letter addressed to USDA and provide in the letter all of the information requested in the form. To request a copy of the complaint form, call (866) 632-9992. Submit your completed form or letter to USDA by: (1) mail: U.S. Department of Agriculture, Office of the Assistant Secretary for Civil Rights, 1400 Independence Avenue, SW, Washington, D.C. 20250-9410; (2) fax: (202) 690-7442; or (3) email: program.intake@usda.gov.

(Title VI of the Education Amendments of 1972; Section 504 of the Rehabilitation Act of 1973; the Age Discrimination Act of 1975; Title 7 CFR Parts 15, 15a, and 15b; the Americans with Disabilities Act; and FNS Instruction 113-1, Civil Rights Compliance and Enforcement – Nutrition Programs and Activities)

All U.S. Departments, including the USDA are equal opportunity provider, employer, and lender.

By entering into this Agreement, Contractor agrees to be bound by all aforementioned laws and regulations. Contractor shall also comply with all legal requirements of the Americans with Disabilities Act and the Missouri Human Rights Act regarding accessibility of facilities and programs, as may apply. Further, Contractor certifies that it is not currently engaged in and shall not, for the duration of this Agreement, engage in a boycott of goods or services from the State of Israel; companies authorized by, licensed by, or organized under the laws of the State of Israel; or companies, persons, or entities doing business in or with the State of Israel.

FEDERAL WORK AUTHORIZATION PROGRAM

As an independent contractor of the District, Contractor will provide documentation and a sworn affidavit that all employees of Contractor are not considered unauthorized aliens as defined by Federal law and are enrolled in and actively participate in a federal work authorization program (FWAP) used to verify citizenship information of newly hired employees under the Immigration Reform and Control Act of 1986.

Pursuant to section 285.530, RSMo, if the Contractor meets the section 285.525, RSMo, definition of a “business entity” (http://revisor.mo.gov/main/PageSelect.aspx?section=285.530) the Contractor must affirm the Contractor’s enrollment and participation in the E-Verify federal work authorization program with respect to the employees hired after enrollment in the program who are proposed to work in connection with the services requested herein. The Contractor should complete applicable portions of Appendix A, Business Entity Certification, Enrollment Documentation, and Affidavit of Work Authorization. The applicable portions of Appendix A must be submitted prior to an award of a contract.

- CONTRACTOR’S PERSONNEL

The Contractor shall only employ personnel authorized to work in the United States in accordance with applicable federal and state laws. This includes but is not limited to the Illegal Immigration Reform and Immigrant Responsibility Act (IIRIRA) and INA Section 274A.

If the Contractor is found to be in violation of this requirement or the applicable state, federal and local laws and regulations, and if the State of Missouri has reasonable cause to believe that the Contractor has knowingly employed individuals who are not eligible to work in the United States, the state shall have the right to cancel the contract immediately without penalty or recourse and suspend or debar the Contractor from doing business with the state. The state may also withhold up to twenty-five percent of the total amount due to the Contractor.

The Contractor shall agree to fully cooperate with any audit or investigation from federal, state or local law enforcement agencies.

If the Contractor meets the definition of a business entity as defined in section 285.525, RSMo, pertaining to section 285.530, RSMo, the Contractor shall maintain enrollment and participation in the E-Verify federal work authorization program with respect to the employees hired after enrollment in the program who are proposed to work in connection with the contracted services included herein. If the Contractor’s business status changes during the life of the contract to become a business entity as defined in section 285.525, RSMo, pertaining to section 285.530, RSMo, then the Contractor shall, prior to the performance of any services as a business entity under the contract:

- Enroll and participate in the E-Verify federal work authorization program with respect to the employees hired after enrollment in the program who are proposed to work in connection with the services required herein; AND

- Provide to the District the documentation required in the appendix titled, Business Entity Certification, Enrollment Documentation, and Affidavit of Work Authorization affirming said company’s/individual’s enrollment and participation in the E-Verify federal work authorization program; AND

- Submit to the District a completed, notarized Affidavit of Work Authorization provided in the appendix titled, Business Entity Certification, Enrollment Documentation, and Affidavit of Work Authorization.

In accordance with subsection 2 of section 285.530, RSMo, the Contractor should renew their Affidavit of Work Authorization annually. A valid Affidavit of Work Authorization is necessary to award any new contracts.

- SUBCONTRACTORS

Any subcontracts for the services described herein must include appropriate provisions and contractual obligations to ensure the successful fulfillment of all contractual obligations agreed to by the Contractor and the State of Missouri and to ensure that the State of Missouri is indemnified, saved, and held harmless from and against any and all claims of damage, loss, and cost (including attorney fees) of any kind related to a subcontract in those matters described in the contract between the State of Missouri and the Contractor. The Contractor shall expressly understand and agree that he/she shall assume and be solely responsible for all legal and financial responsibilities related to the execution of a subcontract. The Contractor shall agree and understand that utilization of a subcontractor to provide any of the services in the contract shall in no way relieve the Contractor of the responsibility for providing the services as described and set forth herein. The Contractor must obtain the approval of the State of Missouri prior to establishing any new subcontracting arrangements and before changing any subcontractors. The approval shall not be arbitrarily withheld.

Pursuant to subsection 1 of section 285.530, RSMo, no contractor or subcontractor shall knowingly employ, hire for employment, or continue to employ an unauthorized alien to perform work within the state of Missouri. In accordance with sections 285.525 to 285.550, RSMo, a general contractor or subcontractor of any tier shall not be liable when such contractor or subcontractor contracts with its direct subcontractor who violates subsection 1 of section 285.530, RSMo, if the contract binding the contractor and subcontractor affirmatively states that

- the direct subcontractor is not knowingly in violation of subsection 1 of section 285.530, RSMo, and

- shall not henceforth be in such violation and

- the contractor or subcontractor receives a sworn affidavit under the penalty of perjury attesting to the fact that the direct subcontractor’s employees are lawfully present in the United States.

[REMAINDER OF PAGE INTENTIONALLY LEFT BLANK]

EXHIBIT A

BUSINESS ENTITY CERTIFICATION, ENROLLMENT DOCUMENTATION,

AND AFFIDAVIT OF WORK AUTHORIZATION

BUSINESS ENTITY CERTIFICATION:

The Bidder must certify their current business status by completing either Box A or Box B or Box C on this Exhibit.

BOX A: To be completed by a non-business entity as defined below. BOX B: To be completed by a business entity who has not yet completed and submitted documentation pertaining to the federal work authorization program as described at www.e-verify.gov/. BOX C: To be completed by a business entity who has current work authorization documentation on file with a Missouri state agency including Division of Purchasing and Materials Management.

Business entity, as defined in section 285.525, RSMo, pertaining to section 285.530, RSMo, is any person or group of persons performing or engaging in any activity, enterprise, profession, or occupation for gain, benefit, advantage, or livelihood. The term “business entity” shall include but not be limited to self-employed individuals, partnerships, corporations, contractors, and subcontractors. The term “business entity” shall include any business entity that possesses a business permit, license, or tax certificate issued by the state, any business entity that is exempt by law from obtaining such a business permit, and any business entity that is operating unlawfully without such a business permit. The term “business entity” shall not include a self-employed individual with no employees or entities utilizing the services of direct sellers as defined in subdivision (17) of subsection 12 of section 288.034, RSMo.

Note:  Regarding governmental entities, business entity includes Missouri schools, Missouri universities (other than stated in Box C), out of state agencies, out of state schools, out of state universities, and political subdivisions. A business entity does not include Missouri state agencies and federal government entities.

| BOX A – CURRENTLY NOT A BUSINESS ENTITY |  |  |  |  |
| --- | --- | --- | --- | --- |
| I certify that _________________________ (Company/Individual Name) DOES NOT CURRENTLY MEET the definition of a business entity, as defined in section 285.525, RSMo pertaining to section 285.530, RSMo as stated above, because: (check the applicable business status that applies below) - I am a self-employed individual with no employees; OR - The company that I represent employs the services of direct sellers as defined in subdivision (17) of subsection 12 of section 288.034, RSMo. I certify that I am not an alien unlawfully present in the United States and if ____________________ (Company/Individual Name) is awarded a contract for the services requested herein under ________________ (RFB/RFQ Number) and if the business status changes during the life of the contract to become a business entity as defined in section 285.525, RSMo, pertaining to section 285.530, RSMo, then, prior to the performance of any services as a business entity, ____________________ (Company/Individual Name) agrees to complete Box B, comply with the requirements stated in Box B and provide Rockwood School District with all documentation required in Box B of this document. |  |  |  |  |
|  | Authorized Representative’s Name (Please Print) |  | Authorized Representative’s Signature |  |
|  | Company Name (if applicable) |  | Date |  |

EXHIBIT A, continued

(Complete the following if you DO NOT have the E-Verify documentation and a current Affidavit of Work Authorization already on file with the State of Missouri. If completing Box B, do not complete Box C.)

| BOX B – CURRENT BUSINESS ENTITY STATUS |  |  |  |  |
| --- | --- | --- | --- | --- |
| I certify that _________________________ (Business Entity Name) MEETS the definition of a business entity as defined in section 285.525, RSMo, pertaining to section 285.530. |  |  |  |  |
|  | Authorized Business Entity Representative’s Name (Please Print) |  | Authorized Business Entity Representative’s Signature |  |
|  | Business Entity Name |  | Date |  |
|  | E-Mail Address |  |  |  |
| As a business entity, the consultant/contractor must perform/provide each of the following. The consultant/contractor should check each to verify completion/submission of all of the following: - Enroll and participate in the E-Verify federal work authorization program (Website: www.e-verify.gov; Phone: 888-464-4218; Email: e-verify@dhs.gov) with respect to the employees hired after enrollment in the program who are proposed to work in connection with the services required herein; AND - Provide documentation affirming said company’s/individual’s enrollment and participation in the E-Verify federal work authorization program. Documentation shall include EITHER the E-Verify Employment Eligibility Verification page listing the consultant’s/contractor’s name and company ID OR a page from the E-Verify Memorandum of Understanding (MOU) listing the consultant’s/contractor’s name and the MOU signature page completed and signed, at minimum, by the consultant/contractor and the Department of Homeland Security – Verification Division. If the signature page of the MOU lists the consultant’s/contractor’s name and company ID, then no additional pages of the MOU must be submitted; AND - Submit a completed, notarized Affidavit of Work Authorization provided on the next page of this document. |  |  |  |  |

EXHIBIT A, continued

AFFIDAVIT OF WORK AUTHORIZATION:

The consultant/contractor who meets the section 285.525, RSMo, definition of a business entity must complete and return the following Affidavit of Work Authorization.

Comes now _________________________ (Name of Business Entity Authorized Representative) as _________________________ (Position/Title) first being duly sworn on my oath, affirm ___________________________________ (Business Entity Name) is enrolled and will continue to participate in the E-Verify federal work authorization program with respect to employees hired after enrollment in the program who are proposed to work in connection with the services related to contract(s) with the State of Missouri for the duration of the contract(s), if awarded in accordance with subsection 2 of section 285.530, RSMo. I also affirm that ___________________________________ (Business Entity Name) does not and will not knowingly employ a person who is an unauthorized alien in connection with the contracted services provided under the contract(s) for the duration of the contract(s), if awarded.

In Affirmation thereof, the facts stated above are true and correct. (The undersigned understands that false statements made in this filing are subject to the penalties provided under section 575.040, RSMo.)

| Authorized Representative’s Signature |  | Printed Name |
| --- | --- | --- |
| Title |  | Date |
| E-Mail Address |  | E-Verify Company ID Number |

Subscribed and sworn to before me this ____________ of ________________________. I am

(DAY)	(MONTH, YEAR)

commissioned as a notary public within the County of _________________________, State of

(NAME OF COUNTY)

_______________________, and my commission expires on ____________________.

(NAME OF STATE)	(DATE)

| Signature of Notary |  | Date |
| --- | --- | --- |

EXHIBIT A, continued

(Complete the following if you have the E-Verify documentation and a current Affidavit of Work Authorization already on file with the State of Missouri. If completing Box C, do not complete Box B.)

| BOX C – AFFIDAVIT ON FILE - CURRENT BUSINESS ENTITY STATUS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| I certify that _________________________ (Business Entity Name) MEETS the definition of a business entity as defined in section 285.525, RSMo, pertaining to section 285.530, RSMo, and have enrolled and currently participates in the E-Verify federal work authorization program with respect to the employees hired after enrollment in the program who are proposed to work in connection with the services related to contract(s) with the State of Missouri. We have previously provided documentation to a Missouri state agency or public university that affirms enrollment and participation in the E-Verify federal work authorization program. The documentation that was previously provided included the following. - The E-Verify Employment Eligibility Verification page OR a page from the E-Verify Memorandum of Understanding (MOU) listing the consultant’s/contractor’s name and the MOU signature page completed and signed by the consultant/contractor and the Department of Homeland Security – Verification Division - A current, notarized Affidavit of Work Authorization (must be completed, signed, and notarized within the past twelve months). Name of Missouri State Agency or Public University* to Which Previous E-Verify Documentation Submitted: _____________________________________________________________________ (*Public University includes the following five schools under chapter 34, RSMo: Harris-Stowe State University – St. Louis; Missouri Southern State University – Joplin; Missouri Western State University – St. Joseph; Northwest Missouri State University – Maryville; Southeast Missouri State University – Cape Girardeau.) Date of Previous E-Verify Documentation Submission: ______________________ Previous RFB/RFQ Number for Which Previous E-Verify Documentation Submitted: ___________________ (if known) |  |  |  |  |  |  |
|  | Authorized Business Entity Representative’s Name (Please Print) |  | Authorized Business Entity Representative’s Signature |  |  |  |
|  | E-Verify MOU Company ID Number |  | E-Mail Address |  |  |  |
|  | Business Entity Name |  | Date |  |  |  |
| FOR STATE USE ONLY |  |  |  |  |  |  |
| Documentation Verification Completed By: |  |  |  |  |  |  |
|  | Buyer |  | Date |  |  |  |

EXHIBIT B

ELECTRICAL and COMMUNICATIONS TRAINING REQUIREMENTS FOR CONTRACTORS DOING WORK FOR ROCKWOOD SCHOOL DISTRICT

(Complete and return as part of your bid)

Use this Document when a list of separately bound drawings is required for inclusion in the Project Manual, or to include a coordinating reference to a separate listing of separately bound drawings. Coordinate with the Owner/Contractor Agreement, which typically incorporates an enumeration of the Contract Documents.

Coordinate List of Drawings, if incorporated here, with subsequent Addenda and Contract modifications.

      - APPRENTICESHIP AND TRAINING REQUIREMENTS

          - Provide registration through the U.S. Department of Labor.

          - Describe apprenticeship training program requirements which may include one or more of the following:

            - National Electrical Contractors Association (NECA)

            - National Joint Apprenticeship and Training committee (NJATC)

            - Electrical Industry Training Center (EITC)

            - St. Louis Electrical Industry Training Center (STLEJATC)

            - Associated Electrical Contractors of Greater St. Louis (AECG)

            - Ranken Technical College

            - Other (include description of program and supervising agency or authority)

      - STAFFING THE PROJECT

          - Apprentices

            - Provide copy of the Apprenticeship Agreement.

            - Complete the Electrical Training Program Summary below with workers expected to staff the project.

| Electrical Training Program Summary |  |  |
| --- | --- | --- |
| Description | Apprentice | Journeyman |
| 1. Percentage of workers currently enrolled in a Training Program |  |  |
| 2. Average hours completed in the Training Program |  |  |
| 3. Percentage of workers who have completed a Training Program |  |  |
| 4. Percentage of workers expected on the project (percentages must equal 100%) |  |  |

      - PROJECT VERIFICATION

          - The Contractor will provide a written verification program to ensure compliance with staffing requirements listed above.

          - The Contractor will provide documentation that all apprentices are registered through the U.S. Department of Labor and identify for each individual their respective stages within the apprenticeship program.

EXHIBIT C

ACKNOWLEDGEMENT FORM

(Complete and return as part of your bid)

The Bidder hereby declares understanding, agreement and certification of compliance to provide the items and/or services, at the prices quoted, in accordance with all terms and conditions, requirements and specifications of the original Request for Bid (RFB) and as modified by any addenda.

Company Name 	Representative's Name	Title

Address	City/State/Zip	Telephone #	Fax #

E-mail Address

Years in Operation	Years under current structure and/or under previous structure

- Name of Company’s Officers:

| NAME |  | TITLE |
| --- | --- | --- |

- The undersigned hereby acknowledges the receipt of the following addenda:

| Addendum Number |  | Date Issued |  | Date Acknowledged |  | Signature |
| --- | --- | --- | --- | --- | --- | --- |

- The undersigned hereby acknowledges that the Company has read and agrees to the terms and conditions set forth in the RFB, and that the terms and conditions set forth in the Bid will remain open for at least 90 days from the deadline for submission of Bids

|  | Company Officer’s Name |
| --- | --- |
|  | Signature Date |