BID SPECIFICATIONS


Size: as needed

CONTACT: JESSICA (337-6979)             Run 1 time
INVITATION TO BIDDERS

The City of Sweetwater, Tennessee will be accepting bids for several projects under the Sweetwater Main Street CDBG Façade Grant.  A bidder is not required to bid on all of the Projects.  All projects should be priced as tax-exempt and include a 90-day price guarantee.

All bidders must be licensed General Contractors as required by the Contractor’s Licensing Act of 1994 of the General Assembly of the State of TN, and qualified for the type of construction being bid upon. Attention of bidders is particularly called to the requirements as to conditions of Davis Bacon employment to be observed and minimum wage rates to be paid under the contract, Section 3, Segregated Facility, Section 109 and E.O. 11246.

Bid specifications are available at the Recorder’s office, City Hall, 203 Monroe Street, Sweetwater, TN  37874 or by emailing jmorgan@sweetwatertn.net.  Bids will be taken until Monday, August 26, 2019 at 4 p.m.  A pre-bid meeting will be held on Tuesday, August 13 at 10 a.m. at City Hall, which is not mandatory but recommended.  Bids will be opened in a Committee meeting on Monday, August 26, 2019 at 5 p.m. Bids will be presented and likely awarded on Monday, August 26, 2019 at 5 p.m. during the workshop of the Mayor and Board of Commissioners.

Questions may be directed to Jessica Morgan at 423-337-6979.

The City of Sweetwater reserves the right to reject any and all bids and to waive formalities.  

Grant Project 1: Oddfellows Building at 117 N Main Street, Sweetwater:
BID FOR SERVICES: Window replacement: Replace the existing six (6) windows with six (6) new originally-designed, arched glass windows, as presented in Photo 2 below. The new, historically accurate, windows are to be energy efficient double pane windows. Price should contain all considerations for installation including, but not limited to, replacing the trim work with outdoor painted wood or vinyl covering and the anticipated labor costs. Historical considerations may be required. Considerations of Davis Bacon wages may apply. Warranty, as specified.  
[image: image1.jpg]



Photo 1- Current: Windows are rectangular with a wooden panel at the top.
Photo 2- Six (6) windows with the original arched glass design
[image: image2.emf]
Grant Project 2:  Woodrow McCoy LLC at 111 N Main Street, Sweetwater:
BID FOR SERVICES:  Façade Improvements (Letters A-E), Rendering with Specs is included
A.) Windows: Replace seven (7) existing windows, utilizing the existing window opening size, fabricate a new wood interior aluminum clad exterior white window matching all existing detail, mutton and mullion sizing TYP all. (See Specifications rendering under #1). All dimensions shall be field verified to match existing openings. All labor and materials for complete installation, trim and painting required shall be part of the bid costs. Considerations of Davis Bacon wages apply.  
Current Photo: Windows to be replaced
[image: image3.jpg]



B.) [image: image4.jpg]


Paint Brick: Repaint front brick, footage of two (2) areas that are 25’-2 ½” by 2’-1 ½, and two (2) areas that are 25’-2 ½” by 1’-10” and top area of building at 44’-10” by 4’-4 ½” at its largest area. (See Specifications rendering under #2). Mortar color and sample shall be approved by the building owner prior to work commences TYP all areas. All labor and materials for complete installation shall be part of bid costs. Considerations of Davis Bacon wages apply.  
C.) Front Door and Transom Window: Replace one (1) existing door (7’x 3’) and two (2), transom windows, (3’x16” and 3’x 36”) to be replaced with new aluminum storefront material with one inch (1”) insulation panel system. (See Specifications rendering under #3). All dimensions shall be field verified to match existing openings. All labor and materials for complete installation, trim and any paint required shall be part of the costs. Considerations of Davis Bacon wages apply.  
[image: image5.jpg]g il
! |





D.1.) Addition of three (3) storefront decorative elements: Replicate identical decorative element that is located on the right side of the building (when facing building) to be added to the left side of the building (See Specifications rendering under #4) and two (2) additional, identical decorative elements to be added to the middle of the storefront ((See Specifications rendering under #5). All labor and materials for complete installation, trim and any painting required shall be part of the bid costs. Considerations of Davis Bacon wages apply.  

D.2.) Addition of cornice: Decorative cornice to be fabricated for the entire length of the storefront. (See Specifications rendering under #6). Dental to match existing dental sizing, verified exact dimension in field before fabrication. (See Specifications rendering under #7).  All labor and materials, including pressure treated blocking and galvanized fasteners, for complete installation, trim and any painting required shall be part of the bid costs. Considerations of Davis Bacon wages apply.  

[image: image6.png]



D.3.) Additional requirement - Flashing: Provide within cost a 24 gauge cap flashing continuous from wall flashing to edge of cornice to shed all water, dirt and grim from street traffic below. (See Specifications rendering under #8). All labor and materials for complete installation, trim and any painting required shall be part of the bid costs. Considerations of Davis Bacon wages apply.  
Dimensions of the gauge cap 
[image: image7.png]27AT,

Transom o
8

Transom





E.) Stucco and brick work: Provide bid cost for 3-coat stucco system to be installed on area of building shown at South (1,900SF) and West (430SF) elevation, along with brick work required to seal existing building to exterior elements. (See Specifications rendering under #9 and #10). Verify all brick repair work required in field. 
[image: image8.png]5





Grant Project 4: Michaels Building at 701 N Oak Street, Sweetwater:
BID FOR SERVICES: Construct and Install Stairs and Stair Rails- Fabricate, paint, and install one (1) set of steps, four feet wide, approximately 24 feet long with two platforms. Installation also includes a concrete pad 5 feet x 5 feet for the foundation of the steps. Handrail on steps to match other metal on building, steps and platform made from diamond plate. Color match paint to existing rail and to be approved by building owner. All labor and materials for complete installation, trim and any painting required shall be part of the itemized bid costs. Considerations of Davis Bacon wages apply.  

[image: image9.png]Current Photo:

Addition of decorative elements

|

... ||

Addition of decorative cornice

77.

"





Current photo: Stairs and Stair Rails to match current design of the home
Grant Project 5: Scruggs Building at 101 E. Morris Street, Sweetwater:

BID FOR SERVICES: Window replacement: Replace eleven (11) windows with double pane energy efficient windows.  Price should include installation including replacing the trim work with outdoor painted wood or vinyl covering and the anticipated labor costs.  All labor and materials for complete installation, trim and any painting required shall be part of the itemized bid costs. Considerations of Davis Bacon wages apply.  Warranty specified.  
[image: image10.png](3"\WOODY MC BUILDING - SOUTH SIDE ELEVATION [ \WOODY MC BUILDING - WEST SIDE ELEVATION




Current Photo: 
Coordination of work with others:

All work shall be arranged through the City of Sweetwater Recorder and City Planner and property owner. No work is allowed without approval from the City. Plans and specifications will require preapproval processes from the State of Tennessee. No work conducted prior to these required approvals will be reimbursed. Pricing should be guaranteed for 180 days.  Work shall be completed within 180 days from issuance of notice to proceed to contractor.  

This project will require a pre-construction meeting once the bid has been awarded and the State has approved the project Plans and Specifications.  Reimbursements for approved work may be made monthly and due by the last day of the month to the Recorder’s office.  Reimbursements will require authorized signatures from the City Planner prior to payment issuance. 

Bid Details:
All bid envelopes must be noted on outside of envelope as bid quote for 2018 CDBG Façade Grant, City of Sweetwater Project. No bidder may withdraw his bid within 60 days after the actual date of the opening thereof. 

Bids shall be sealed and submitted with completed Bid Cover Sheet (attached)

Mayor Doyle F. Lowe

P.O. Box 267

203 Monroe Street

Sweetwater, TN  37874

Bids will be accepted until 4:00 p.m. on Monday, August 26, 2019
Bids shall include the following:

· Attached Bid Cover Sheet

· Firm Name

· Your Name, Contact phone number

· Firm address

· Any deviations from these specifications.

· One year warranty for all work from date of completion.

· Complete and itemized price per project.

· Applicable Bid Packet Documents completed

· Prior to beginning construction, the successful bidder will be required to provide a Title VI certification statement; and provide a copy of a fully executed Certificate of Insurance. For further information regarding these specifications please contact Jessica Morgan at 423-337-6979 or via email at jmorgan@sweetwatertn.net.  

“By submission of this bid, each bidder and each person signing on behalf of any bidder certifies, and in the case of a joint bid each party thereto certifies as to its own organization, under penalty of perjury, that to the best of its knowledge and belief that each bidder is not on the list created pursuant to §12-12-106.”

Bid Envelope Cover




“Bid Package For Sweetwater CDBG Façade grant”

Sealed bids will be received by Mayor Doyle F. Lowe

City of Sweetwater

203 Monroe Street

P.O. Box 267

Sweetwater, TN 37874

Bid date: Monday, August 26, 2019
Bid time:  4 p.m.

Bidder:_________________________________________________________________

Address:________________________________________________________________

TN Contractors License #:__________________ Expiration: ____________________

License Classification: ________________________ Limit: _____________________

DUNS #:______________________________

Subcontractors to be used on this project (if applicable, as required by state law):

Plumbing:_________________________  License #:________________________

Address: ____________________________________________________________

Classification: ______________________ Expiration: _______________________

HVAC :_________________________  License #:________________________

Address: ____________________________________________________________

Classification: ______________________ Expiration: _______________________

Electrical:   ________________________  License #:________________________

Address: ____________________________________________________________

Classification: ______________________ Expiration: _______________________

Other:_________________________  License #:___________________________

Address: ____________________________________________________________

Classification: ______________________ Expiration: _______________________

I acknowledge receipt of the following Addendas by signing here:

Addenda 1

Addenda 2







____________________________








Signature

                                                                                    _____________________________

Print Name

THIS COVER SHEET MUST BE PLACED ON THE OUTSIDE OF YOUR SEALED BID.
