Matilija Middle School

Library Refresh Project 2021-1617

Addendum 1a`

11/29/21

A question was asked about the ceiling inside the room in the NW corner that gets demo’d.

The question related to how to treat the wall demo, ceiling and rebuilding a portion of the wall.

Here is our architects response:

Drawing 2/Sheet A-104 notes the existing ceiling at +/-9’-2”.  Drawing 9/Sheet A-201 calls out the header to be +/-7’-10”.

The driving factor is that the header height should be just low enough to accept the acoustic panels high on the wall facing the library.  I’m envisioning just replacing the tiles in there with something nicer as specified in Keynote 1/Drawing A-104. It has a little texture to it that looked to me like it matches the library well.

Here is a link to an example of a panel that could work.

https://www.armstrongceilings.com/residential/en-us/suspended-ceiling-systems/textured-look-ceiling-tiles/item/1135.html