
                  ESCAMBIA COUNTY CDBG HOUSING REHABILITATION
	OWNER:
	Veronika N. Spencer
	
	JOB #:
	C-R-2019-4

	ADDRESS:
	417 North 57th Avenue
	
	DATE PREPARED:
	12/14/2018

	
	Pensacola, Florida, 32506
	
	OPENING DATE:
	12/28/2018

	PHONE: 
	850-346-2749
	
	CLOSING DATE:
	01/11/2019

	
	
	
	CLOSING TIME:
	Noon


I/(we) certify that I/(we) have carefully examined the Housing Rehabilitation Specifications, Associated Lead Based Paint Specifications (if applicable), General Conditions and Insurance/Bid Requirements, and I/we have also examined the site on which proposed work is to be performed. On the basis of these examinations, I (we) propose to furnish all materials, tools, machinery and labor necessary to complete the work in a professional workmanship manner and to complete the work at the price listed. 

	$
	
	

	REHABILITATION COST
	
	CONTRACTOR’S SIGNATURE

	
	
	

	                    
	
	TITLE

	
	
	

	$
	
	FIRM

	TOTAL JOB COST
	
	

	
	
	FIRM PHONE NUMBER

	BID OPENING DATE:
	
	
	

	 FORMCHECKBOX 
 ACCEPTED
	 FORMCHECKBOX 
 REJECTED
	
	

	
	
	
	

	
	
	
	

	BID COMMITTEE REPRESENTATIVE
	
	



REQUIRED PERMITS AND INSPECTIONS: Plumbing, Electrical, Mechanical, Roof, Windows and Doors

	Type of Construction:
	Wood Frame
	Outside Dimensions:
	28’x48’

	Home was built in 2006                                                   
	

	Roof:
	50’x16’x2+17’x2’x1
	Ridge Vent:  
	35 Lineal Foot

	

	


       All measurements are for reference only and should be confirmed by the bidder
Mandatory on-Site Pre-Bid Conference: January 3, 2019 at 9:30 a.m.
                                               INSTRUCTIONS TO BIDDERS
Submit COVER SHEET AND ALL NUMBERED PAGES OF BID with signature of Contractor and bid price in ink. Specifications in pencil will be rejected.  Bids must be in a sealed envelope and hand-delivered to Neighborhood Enterprise Division Office, 221 Palafox Place (Ernie Lee Magaha Government Building), Suite 200, Pensacola, FL 32502 office by 12:00 noon at the closing date specified. NO email or fax submissions will be accepted. 

The bids will be opened by the Bid Committee and bid will be awarded based upon the lowest eligible bidder with the most reasonable combined bid for the work specified. Itemized pricing may be used for negotiation in the event of a change in the scope of work as described within the Specifications.

Labor, overhead, permits, insurance, and profit must be included into each itemized price and not listed as a separate itemized price or listed under “miscellaneous.” Non-compliance will result in rejection of bid.

All repair work performed must be inspected (rough and final) and conform to County Ordinances, State Laws, and Florida Building Code.

The Contractor is responsible for proper reattachment/hook-up of any/all of the following that apply: appliances, existing coaxial cable, telephone and interface, electric, water, and sewage.

HOMEOWNER’S RESPONSIBILITIES AND OBLIGATIONS
The Homeowner is responsible for maintaining existing utilities for the Contractor’s use during the rehabilitation period.

The Homeowner is responsible for the removal of all belongings/furnishings from the designated work areas prior to the start date.  The Contractor is not responsible for removal of Homeowner’s trash and/or discarded belongings or furnishings. Items left within the unit, which are to be removed/replaced by the Contractor become the property of the Contractor.
PAYMENT SCHEDULE
Payment will be lump sum at project completion for bids $15,000.00 and under.  For bids over $15,000.00, contractor will be eligible for a 40% draw once all required permit applications are in place and 50% of the work is completed as determined by the itemized costs for the job.
The Contractor will be eligible for Final Payment after the following conditions have been fulfilled:



Completion of Write-Up



Inspection/Sign-off by Building Inspections and/or Health Department



Acceptance by the Homeowner (Homeowner’s Release & Warranty) 
        Warranty packet for all covered items provided to NED Staff



Premises free from all construction debris



Submission of RRP Checklist Form & Contractor’s Final Affidavit


Original Invoice from Contractor
         Surety’s Consent to Final Payment if applicable

LEAD BASED PAINT (LBP)/RRP REQUIREMENTS

 “Safe work practices” is required along with submittal by the RRP Contractor of “Renovation Record-Keeping Checklist” form.
COMPLETION DATE

There is a FOURTY-FIVE (45) day time limit on each rehabilitation job. For every day worked in excess of the FOURTY-FIVE DAY contract period, a FIFTY DOLLAR ($50.00) per day penalty will be assessed.

A Notice to Proceed will be issued at closing.
ESCAMBIA COUNTY NEIGHBORHOOD ENTERPRISE DIVISION

HOUSING REPAIR PROGRAMS
CONTRACTOR REQUIREMENTS
If your firm is awarded the bid for housing repair (SHIP or HUD programs) the following items must be current and on file in order to issue a Purchase Order. 


*Current W9 (less than one year old)

*County Vendor Information sheet (less than one year old)

*Worker’s Compensation as required by State Law OR exemption form.


*Commercial General Liability ($1,000,000 coverage) listing Escambia County as Certificate Holder and 
additional insured. 

*Automobile Liability ($1,000,000 coverage) listing Escambia County as Certificate Holder and additional 
insured. 

GL and Auto Liability Certificates must state the following under the Additional Interest: 

                                                                 Escambia County

C/O Neighborhood Enterprise Division

221 Palafox Place, Suite 200

Pensacola, FL 32502-5844

All correspondence should be directed to Neighborhood Enterprise Division, 221 Palafox Place, Suite 200, Pensacola, FL 32502 for review.






*For jobs valued at $25,000 or higher, 100% Performance and Payment Bonds will be required. Performance and Payment Bond format will be provided.
Refer to BCC Office of Purchasing Risk Management Guidelines Procedure No: PP-180 (Performance and Payment Bonds) and PP-185 (Risk Management Guidelines) for further details. [http://www.myescambia.com/business/purchasing-policies-and-procedures]
Additionally, Neighborhood Enterprise Division will maintain the following info in the Contractor’s file:


*Contractor may not be federally debarred from participating in programs as per www.sam.gov 

*State registered or State Certified Contractor License

*Escambia County Competency Board License

*Escambia County Business/Occupational License 

*EPA RRP Renovator and Firm Certifications

Firms bidding on Lead Based Paint Abatement jobs must also submit proof of Lead Abatement firm certification.    

All information must be current at time of award. IF INFORMATION CANNOT BE PRODUCED IN A TIMELY MANNER, THE COUNTY RESERVES THE RIGHT TO AWARD THE BID TO THE NEXT 
MOST RESPONSIVE BIDDER.
                                                                                                                                                       CDBG Rehabilitation Program
Veronika N. Spencer
417 N. 57th Avenue
Pensacola, Florida, 32506
PAGE 1

GENERAL:  

· Federal funds (Escambia County CDBG) are being used to renovate this property 
· The Homeowner will have the following sample choices, where applicable:
· Roof Color                                                                               1 choice

· Gutter Color                                                                             1 choice

· Counter top Color                                                                    1 choice

MECHANICAL: 

Install new heat pump system with air handler using existing space and existing duct system.                                                                                                                                  

Heater space may need to be modified to meet Escambia County Code.

Return air grill is to be removable filter type with filter installed.

Heater closet and new unit are to meet current Escambia County Code.

All units installed during rehabilitation must meet state energy efficiency rating guidelines.

Install a new digital thermostat control.    

All interior doors of heated rooms must have ½” clearance from top of finished floor covering to bottom of door for return air.

Mechanical Contractor to provide NED with a Manual J to support unit size installed.

Install new dryer exhaust vented to the atmosphere as per Escambia County code.

Install new Broan 40000 series 30” vented range hood or equivalent with duct chase and vented to atmosphere as per Escambia County Code. Color to match existing appliances.  
Mechanical total $______________
ELECTRICAL: 
Reinstall electrical breaker panel cover.

Test all breakers and GFI’s and replace as required.
Replace GFI’s and receptacles in kitchen area.

Replace two  2 bulb light fixtures in kitchen with LED fixtures of same size.

Replace one 2 bulb light fixture in laundry with LED fixture of same size.

Replace receptacle in middle bedroom.

Replace 2 lighting fixtures at entries with like kind and quality and install 60 watt equivalent LED bulbs.
Replace hard wired smoke alarm in hallway.

Electrical total $_______________
CDBG Rehabilitation Program
Veronika N. Spencer

417 N. 57th Avenue

Pensacola, Florida, 32506

PAGE 2

INSULATION

Add blown type insulation in attic to bring the R-rating to R-38.
 Insulation total $______________
PLUMBING: 
Replace existing water heater with a 40 gallon electric water heater as per Escambia County Code.

Install 1 new comfort height American Standard 1.28-GPF toilet model Champion 4 in white or Delta 1.28-GPF toilet model Riosa in white or equivalent with new seat in back bath.                                                                                                                                  Install 2 new Delta vanity sink faucets with pop up drains model 520-MPU-DST or equivalent.

Install a new double bowl stainless steel sink with minimum 7” deep bowls.                                                                                                                                            Install a new Delta kitchen faucet with sprayer model 400-DST or equivalent.                                                                                              Install new all metal Stainless steel sink baskets with strainers.                                                   

Install a new drain assembly in kitchen from fixture to waste.

Install new braided supply lines to new toilet, vanities and kitchen sink.
Plumbing total $_______________

CABINETRY AND INTERIOR WOODWORK:
Replace pantry door and paint to match existing.
Reinstall base behind toilet in back bath.
Remove and replace kitchen sink base cabinet with like kind and quality to match existing as close as possible.
Install approximately 17 linear feet of new standard grade post formed counter top with an incorporated back splash and end splashes in kitchen. Homeowner is to select color of top.

Cabinetry and interior woodwork total $_______________
ROOF REPLACEMENT: 

Remove existing roof covering to the decking and replace any deteriorated or damaged decking with like, kind and quality of existing materials (figure 96 sq. ft.).
Refasten and certify decking attachment as per Escambia County Building Code.

Install peel and stick secondary water barrier as per Escambia County Building Code.

Install new metal drip edge.

Install 30 year shingle roof as per manufacturer’s specifications.

Install 35 Lineal foot of shingle over ridge vent.

Replace all boots with new lead or metal/EPDM boots.

Replace electrical riser boot with new split type boot.
Roof replacement total $______________

CDBG Rehabilitation Program
Veronika N. Spencer

417 N. 57th Avenue

Pensacola, Florida, 32506

PAGE 2

GUTTER AND DOWN PIPES AND GENERAL EXTERIOR
Install approximately 100 lineal foot of new seamless gutters with down pipes and splash pads to move rain water away from foundation of house. Install full cover type (not wire mesh) leaf guards on gutters.

Replace porch column with like kind and quality. Paint column to match existing.

Gutter and down pipe total $_____________
WINDOWS AND EXTERIOR DOORS:
There are seven (7) existing openings with windows that are to be replaced with new retrofit custom windows (windows that are built specifically to fit existing openings).                               
The new windows are to be vinyl framed, insulated (double glazed) single hung window units with low E impact rated glazing fitted with screens.                                                                                                      New windows are to match existing living room windows in style and color as close as possible. 

Windows in the bedrooms are to meet egress requirements as per Escambia County Code. 
Replace two (2) entry door units and one (1) storage entry door unit with metal clad insulated 6 panel colonial door units with peep hole in front entry unit.
with thresholds, weather stripping and trim on all units.                                                                       
New units will need to be hurricane rated.
Install new dead bolt and lock sets that are keyed alike on all new exterior door units. 

Paint new door units inside and out.                                                                                                       

Window and door total $_____________
TOTAL REHABILITATION COST: 










$_______________________  














                                            
          (TO FRONT COVER)
