Daphne Utilities

Flygt pumps lift station

RFB 22-06

Bid Specifications

The scope of work shall consist of supplying six (6) pumps and accessories as specified below to Daphne Utilities Wastewater Collections Department as part of a project to improve lift stations in our system:

2 each Flygt NP3153.185-273 pumps (23HP, 230/3/60 FLS)

1 each duplex control panel

2 each S40 normally open roto-float

Price	$______________________

2 each Flygt NP3202.185-456 pumps (60HP, 460/3/60 FLS)

1 each duplex control panel

2 each 5 ½” x 6” discharge connection

8 each ¾” stud anchor bolt

8 each stud capsules

2 each 3UGBBX 3”

4 each 3” stainless steel guide rails

2 each 5/16” 316SS chain 20” sections with lock

Price	$______________________

2 each Flygt NP3153.185-462 pumps (20HP, 230/3/60 FLS)

1 each duplex control panel

2 each S40 normally open roto-float

Price	$______________________

It is the intent of Daphne Utilities to award this contract based on unit prices. Each pump will include a hard iron propeller/insert ring and 50 feet of electrical cable. The pump will mate to the existing discharge elbow and guide rail system. All prices must include delivery and one day of startup assistance. Delivered items will not be considered “accepted” until an authorized agent of Daphne Utilities has determined they fully comply with the specifications.

The vendor must comply with standard record keeping and reporting requirements. Payment will be made by Daphne Utilities after the goods and services have been received, accepted, and properly invoiced with the purchase order number.  Any defects in the work performed or product delivered must be corrected before invoices are eligible for payment. Payment terms shall be net 30 days.

Daphne Utilities

Flygt pumps lift station

RFB 22-06

Bid Form

I have read and understood the terms and conditions and the bid specifications of this bid.

Submitted by: __________________________________________________________			Company name of bidder

_________________________________________________________________________________________

By:  company officer name

_________________________________________________________________________________________

Signature

__________________________________________		________________________________		Title							Date

_________________________________________________________________________________________

Company address, city, state, zip

___________________________________________		________________________________

Phone							EIN / tax id number

___________________________________________		________________________________

Point of contact name					Point of contact phone