Daphne Utilities

Request for Bid

Relocate Sewer Line

Spaniel Drive

RFB 22-02

Scope of Work

The scope of work shall consist of the relocation of approximately 300 feet of sewer line in the Spaniel Drive area. A drawing of the area with approximate locations and figures is attached.

| ITEM | DESCRIPTION | QUANTITY | UNIT | UNIT PRICE | TOTAL |
| --- | --- | --- | --- | --- | --- |
| 1 | Mobilization | 1 | LOT | $ | $ |
| 2 | Install 8” sewer line (owner supplied pipe) | 300 | FT | $ | $ |
| 3 | Purchase and set manholes | 4 | EA | $ | $ |
| 4 | Remove existing gravity system | 150 | FT | $ | $ |
| 5 | Remove existing manhole | 1 | EA | $ | $ |
| 6 | Erosion control (seeding/mulching/sodding) | 1/2 | Acre | $ | $ |
| 7 | Concrete | 10 | YD | $ | $ |
| 8 | Dirt and/or rock | 60 | YD | $ | $ |
|  | TOTAL |  |  | $ | $ |

The contractor must comply with all record keeping and reporting requirements which includes the documentation and use of appropriate best management practices. All work must be incompliance with ALDOT specs and drawings.

Contractor must begin work within seven (7) days from bid award and work continuously until project completion unless weather or other unforeseen site circumstances interferes with work. Daphne Utilities will supply the sewer pipe; contractor to supply manholes, labor, equipment and other materials needed. Weather delays must be documented and approved by Daphne Utilities General Manager or his designee.

Change orders shall be mutually agreed upon and based upon written authorization from Daphne Utilities General Manager or his designee. Any defects in the work performed must be corrected before the project is eligible for payment.

Daphne Utilities

Request for Bid

Relocate Sewer Line

Spaniel Drive

RFB 22-02

I have read and understood the terms and conditions and the bid specifications of this bid.  I have provided or will provide at the appropriate time, all documentation required.  Omission of any required documentation may result in the bid being deemed unresponsive by Daphne Utilities.

Under penalty of perjury, bidder certifies that this bid has been arrived at by the bidder independently and has been submitted without collusion with any other vendor of materials or services for the type described in this invitation to bid.

Submitted by: __________________________________________________________			Company name of bidder

_________________________________________________________________________________________

By:  company officer name

_________________________________________________________________________________________

Signature

__________________________________________		________________________________		Title							Date

_________________________________________________________________________________________

Company address, city, state, zip

___________________________________________		________________________________

Phone							EIN / tax id number

___________________________________________		________________________________

Point of contact name					Point of contact phone

___________________________________________

Point of contact email