City of Lebanon

Request for Proposal

RFP #15--BLEACHERS 12/21
*City of Lebanon reserves the right to reject all or any part of any RFP*

The City of Lebanon is exempt from State Tax and Federal Exercise Tax.

NO PROPOSALS RECEIVED AFTER CLOSING WILL BE ACCEPTED.

The City of Lebanon invites sealed proposals for bleachers, in accordance with the specifications and bidding instructions set forth in this Request for Proposals. Bids will be received by the Purchasing Department, 200 N. Castle Heights Avenue, Lebanon, Tennessee 37087, until 10:30 a.m. local time, December 21, 2015, at which time they will be opened and read aloud.

Please identify as a sealed proposal with stamped on the outside of the envelope “RFP #15-BLEACHERS 12/21”

Any questions in regard to this proposal should be directed to Lisa Lane, Purchasing Agent, (615) 443-2802.

A copy of the bid tabulation will be available upon written request to the Purchasing Department.

Any manufacturers’ names, trade names, brand names, or catalog numbers used in the specifications are for the purpose of describing and establishing general quality levels.  Such references are not intended to be restrictive.  Since the “City” does not wish to rule out other competition and equal brands or makes, please remember “ANY APPROVED EQUAL”.  HOWEVER, IF A PRODUCT OTHER THAN SPECIFIED IS BID, IT IS THE VENDORS RESPONSIBILITY TO PROVE TO THE “CITY” THAT SAID PRODUCT IS EQUAL TO OR EXCEEDS THE QUALITY OF THE SPECIFICATIONS LISTED FOR ANY ITEM.

The City of Lebanon is an equal opportunity entity and does not discriminate on the basis of age, race, sex, national origin, religion or disability in admission to, access to, or operations of its programs, services, activities, or in its awarding of such bids.

1. SCOPE AND CLASSIFICATION

1.1 Scope:  The intent of this Request for Proposals and resulting contract is to provide the City of Lebanon with information concerning bleachers.

1.2 Classification:  The bleachers specifications shall be of the following types either “equal to “or “better than”.

2. SPECIFICATIONS

SPECIFICATIONS:
DESIGN:

The bleachers shall be designed to support, in addition to their own weight, a uniformly distributed live load of not less than 100 psf of gross horizontal projection of the bleachers.  All seat and foot plank members shall be designed to accommodate 200 plf across 6’ span with a maximum deflection of 9/16”.  The bleachers shall be designed to resist, with or without a live load, a horizontal wind load of 30 psf of gross vertical projection.  In addition to the live load, the direction parallel to the length of the seat, and (2) 10 plf of seat plank in a direction perpendicular to the length of the seat.  Under these loads, stresses in aluminum members and connections shall not exceed those specified for Building Type Structures by the Aluminum Association.

CONSTRUCTION:

The understructure, including cross-bracing, shall be of a welded, aluminum angle (6061-T6 alloy, mill finish) construction.  The understructure of each unit shall consist of frames spaced at 6’ centers joined by cross-bracing at adequate points to comply with the design loads.

DIMENSIONS:

The rise per row shall be 7”, seat height 16” above respective tread, and tread depth per row of 24”.  Overall depth of unit is 2’9-5/8”.  Clear width of unit is 15’.  Top row seat height is 1’-11”.  

FRAME MEMBER SIZES:

Seat Posts:

3” x 2” x 3/16” min. (Row 2)



1-3/4” x 1-3/4” x 3/16” min. (All other rows)

Foot Brackets:

2” x 2” x 3/16” min.

Crossbracing:

1-1/2” x 1-1/2” x 3/16” min.

Bottom Runners:
2” X 2” X 3/16” min.

SEAT PLANKS:

Seat planks shall be 2” x 10” nominal, extruded 6063-T6 aluminum alloy with a clear anodized finish and end cap.  (Finished size shall be 1-3/4” x 9-5/8”, .075” wall with two internal legs).

TREAD PLANKS:

Tread planks shall be of one 2” x 10” nominal, extruded 6063-T6 aluminum alloy with a mill finish and end cap.  (Finished size shall be 1-3/4” x 9-5/8”, .075 wall with two internal legs).

PLANK HARDWARE:

Tie-down assemblies consisting of a four-way adjustable aluminum clip, with galvanized bolt with nut and washer shall be provided for each connection point at each support.

ADDITIONAL SPECIFICATIONS #1:

· Bleacher, 5 Row x 15’-0”L, (10” Nominal Seat Planks, 10” Nominal Tread Planks, 17” Front Row Seat Height, 8” Rise, 24” Tread), Aluminum frame, Single Footboards on Rows 2 & 3, Double Footboards & Riser On Row 4 & Higher.

· Quantity:  4

ADDITIONAL SPECIFICATIONS #2:

· Bleacher, 5 Row x 21’-0”L, (10” Nominal Seat Planks, 10” Nominal Tread Planks, 10” Nominal Tread Planks, 17” Front Row Seat Height, 8” Rise, 24” Tread), Aluminum Frame, Single Footboards on Rows 2 & 3, Double Footboards & Riser On Row 4 & Higher
· Quantity:  4
ADDITIONAL SPECIFICATIONS #3:
· Bleacher, 10 Row x 21’-0”L, (10” Nominal Seat Planks, 10” Nominal Tread Planks, 17” Front Row Seat Height, 8” Rise, 24” Tread), Aluminum Frame, Single Footboards On Rows 2 & 3, Double Footboards & Riser On Row 4 & Higher, Chain-Link Guardrial

· Quantity:  4

ADDITIONAL SPECIFICATIONS #4:

· Bleacher, 10 Row x 15’-0”L, (10” Nominal Seat Planks, 10” Nominal Tread Planks, 17” Front Row Seat Height, 8” Rise, 24” Tread), Aluminum Frame, Single Footboards on Rows 2 & 3, Double Footboards & Riser on Row 4 & Higher, Chain-Link Guardrail.
· Quantity:  1

SPECIFICATIONS FOR ALL BLEACHERS:
· All seat and foot planks accommodate 200 plf across a 6’ span with a maximum deflection of 9/16”.

· Designed to support, addition to their own weight, a uniformly distributed live load of not less than 100 psf of gross horizontal projection of the bleachers.

· Designed to resist, with or without a live load, a horizontal wind load of 30 psf of gross vertical projection

· In addition to the live load, designed to resist sway forces of 24 plf of seat plank in 
· Quality bleachers must offer a stationary, economical bleacher seating option perfect for large or small crows.  This bleacher must feature a double footboards on rows 4 and up for extra footing safety and comfort at higher levels.  Chainlink, aluminum guardrails available on 4 row units and up for maximum safety and ADA compliance.
QUANTITY
DESCRIPTION

UNIT COST

TOTAL
4 

#1 Bleachers 5 Row 15’
$_____________
$_____________

4

#2 Bleachers 5 Row 21’
$_____________
$_____________

4

#3 Bleachers 10 Row 21’
$_____________
$_____________
1

#4 Bleachers 10 Row 15’
$_____________
$_____________

1

Shipping


$__________________



Total



$____________________

3. WARRANTY 

Bidders shall state the warranty period on the bid pricing form.  

4. DELIVERY

The vendor must state their estimated time of delivery.  
5. EXCEPTIONS

The above are minimum specifications.  If there are any exceptions to these specifications, please make any notations to the right of that spec. and the exceptions will have to be approved by the department.  

6. BID PRICE

TOTAL BID $_______________________

     
6.2    Delivery   (ARO) _____________________

Company Name and Authorized Representative

______________________________________________________________

Address and Contact Phone Number

PAGE  
3

