{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["EXHIBIT A"],"not_rendered":{"comments":1},"read":"whole","date_system":"1900"}

{"sheet":"EXHIBIT A","index":0,"n_rows":677,"n_cols":7,"rows_kept":677,"merged":[[0,0,2,6],[3,0,3,6],[4,0,4,6],[7,0,7,6],[8,0,8,6],[10,0,11,0],[10,1,11,1],[10,2,11,2],[10,3,11,3],[10,4,11,4],[10,5,11,5],[12,0,13,0],[12,1,13,1],[12,2,13,2],[12,3,13,3],[12,4,13,4],[12,5,13,5],[14,0,15,0],[14,1,15,1],[14,2,15,2],[14,3,15,3],[14,4,15,4],[14,5,15,5],[16,0,17,0],[16,1,17,1],[16,2,17,2],[16,3,17,3],[16,4,17,4],[16,5,17,5],[18,0,19,0],[18,1,19,1],[18,2,19,2],[18,3,19,3],[18,4,19,4],[18,5,19,5],[20,0,21,0],[20,1,21,1],[20,2,21,2],[20,3,21,3],[20,4,21,4],[20,5,21,5],[22,0,23,0],[22,1,23,1],[22,2,23,2],[22,3,23,3],[22,4,23,4],[22,5,23,5],[24,0,25,0],[24,1,25,1],[24,2,25,2],[24,3,25,3],[24,4,25,4],[24,5,25,5],[36,0,36,6],[37,0,37,6],[45,0,45,6],[46,0,46,6],[47,0,48,0],[47,1,48,1],[47,2,48,2],[47,3,48,3],[47,4,48,4],[47,5,48,5],[47,6,48,6],[74,0,74,6],[75,0,75,6],[83,0,83,6],[84,0,84,6],[203,0,203,6],[204,0,204,6],[255,0,255,6],[256,0,256,6],[260,0,260,6],[261,0,261,6],[268,0,268,6],[269,0,269,6],[355,0,355,6],[356,0,356,6],[362,0,362,6],[363,0,363,6],[390,0,390,6],[391,0,391,6],[412,0,412,6],[413,0,413,6],[428,0,428,6],[429,0,429,6],[433,0,433,6],[434,0,434,6],[446,0,446,6],[447,0,447,6],[459,0,459,6],[460,0,460,6],[465,0,465,6],[466,0,466,6],[474,0,474,6],[475,0,475,6],[482,0,482,6],[483,0,483,6],[530,0,530,6],[531,0,531,6],[549,0,549,6],[550,0,550,6],[557,0,557,6],[558,0,558,6],[569,0,569,6],[570,0,570,6],[577,0,577,6],[578,0,578,6],[586,0,586,6],[587,0,587,6],[590,0,590,6],[591,0,591,6],[612,0,612,6],[613,0,613,6],[637,0,637,6],[638,0,638,6]]}
["ATTACHMENT A- NORTH OF ROUTE 50 FACILITIES-HVAC EQUIPMENT LIST"]
[]
[]
["ARGUS HOUSE"]
["1527 Clarendon Blvd."]
["NO.","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,2,"ERV","Mitshubishi Electric-LOSSNAY / LGH-F300RX5-E1","N/A","2nd floor attic",4]
["ARLINGTON ARTS CENTER"]
["3550 WILSON BLVD"]
["NO.","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,2,"Boiler","TRIANGLE, PRESTIGE-SOLO","PT008816","Mechanical room"]
[{"$nulls":6},1]
[2,1,"Air Handler Unit","Carrier, 781897","2403F37069","AHU"]
[{"$nulls":6},4]
[3,1,"Air Handler Unit","Carrier, 781897","2403F37070","AHU-2"]
[{"$nulls":6},4]
[4,2,"Pump","Taco, KV2007AE2HCA569M","N/A","Heating Water"]
[{"$nulls":6},2]
[5,2,"Pump","Taco","N/A","Chilled Water"]
[{"$nulls":6},2]
[6,1,"Air Conditioner","Dataaire, DTCU-0232","2003-1458-A","N/A"]
[{"$nulls":6},4]
[7,1,"Air Conditioner","Dataaire, DACU-0932","2003-1459-A","N/A"]
[{"$nulls":6},4]
[8,2,"Air Conditioner","Dataaire, DTCU-0432","2003-1460-A, 2003-1461-A","N/A"]
[{"$nulls":6},4]
[9,2,"Air Conditioner","Dataaire, OAPC-0432","2003-14603, 2003-14642","N/A",4]
[10,1,"Air Conditioner","Dataaire, DAPC-0432-P","2003-1464-A","N/A",4]
[11,27,"Fan Coil Unit","Carrier, 42VBA04D?RCYSAHYY","2179958/11036","N/A",2]
[12,1,"Cabinet Unit Heater # 29","Modine/ CW-02-58","38214103-4881","Uppel level shower room",1]
[13,1,"Cabinet Unit Heater # 30","Modine/ CW-02-58","3821043-2943","Main level Tiffany room",1]
[14,1,"Cabinet Unit Heater # 31","Modine/ CW-02-58 ","382043-2940","Main level Tiffany room",1]
[15,1,"Cabinet Unit Heater # 32","Modine/CW-02-58","*","Lower level stairway",1]
[16,1,"DOMESTIC HOT WATER Heaters","CC-240A-NG",8495499086,"N/A",1]
[17,3,"Heaters Electric","N/A","N/A","N/A",1]
[18,5,"Exhaust Fans","N/A","N/A","N/A",1]
["ARLINGTON CHILD CARE CENTER"]
["1915 NORTH UHLE STREET"]
["NO.","QTY","EQUIPMENT TYPLE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Heat Pump","Trane","N/A","Roof",3]
[2,1,"Heat Pump","Trane","N/A","Roof",3]
[3,1,"Heat Pump","Trane","N/A","Roof",3]
[4,1,"Air Handling Unit","Trane","N/A","Inside space",4]
[5,1,"Air Handling Unit","Trane","N/A","Inside space",4]
[6,1,"Air Handling Unit","Trane","N/A","Inside space",4]
["CENTRAL LIBRARY"]
["1015 NORTH QUINCY STREET"]
["NO.","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[]
[1,1,"AHU-1","Carrier, 39ED577","4031T33604","AHU-1",4]
[{"$f":"A50+1","v":2},1,"AHU-2","Carrier, 39ED48","0592T35143","AHU-2",4]
[{"$f":"A51+1","v":3},1,"AHU-3 w/ Condenser (4)","Carrier, 39ED11","N/A","AHU-3",4]
[{"$f":"A52+1","v":4},1,"AHU-4","CARRIER, 11110408041","42BHB20","Auditorium ",4]
[5,1,"AHU-5","CARRIER, 11110408041","42BHB20BQ4L620","Auditorium ",4]
[6,1,"Air Handling Unit #6","Carrier/39LC1081AB1126-R","0192T20984\r\n","2800 CFM, KITCHEN AHU'S,BELT B-31 Air filter (3) 16x25x1\"",4]
[7,2,"HRU-7","Diakin","N/A","1st floor by loading dock",4]
[8,11,"Exhaust fan","N/A","N/A","ROOF FRACTIONAL HP HOOD TYPE",1]
[9,7,"Garage fans","N/A","N/A","GARAGE FANS, BELT DRIVEN",2]
[10,3,"Exhaust fan","N/A","N/A","ELEVATOR ROOM, WALL MOUNTED, FRACTIONAL HP",1]
[11,3,"Chill Water Pumps P4, P5, P6","Bell and Gossett","P4 C162351-02A31, P5 C162351-01A31, P6 C162351-03A31","N/A",2]
[12,3,"Condenser Pumps 7, 8, and 9","B & G/ SIZE e-1510 SSFSW 9.5 3BD","C246962-03G71, C246962-02G71, C246962-01G73","PENTHOUSE",2]
[13,1,"Strainer","Thompson Strainer, Miller Leaman Inc.","8-1461","For Tower Loop",1]
[14,16,"Cabinet Unit Heater","Reed, W1060-03","N/A","Fan Powered",1]
[15,9,"Ceiling Unit Heater","N/A","N/A","N/A",1]
[16,2,"Air Separator","Amtrol","N/A","N/A",1]
[17,2,"Expansion Tank","Amtrol","N/A","N/A",1]
[18,1,"Condensing Unit","Carrier, 38AE-014-600","N/A","AIR COOLED",4]
[19,1,"Cooling Tower","BAC, FXT-115C","91400506 AND 91400505","PENTHOUSE ROOF, 2 CELL TOWER\n2 Cleanings",2]
[20,1,"Split System","Sanyo C2432, Trane XE800","N/A","2 TONS, COOLING ONLY",4]
[21,1,"Humidifier for AHU#3 ","Daysteam","V21237","Inspection before October 15 ",1]
[22,2,"Humidifier for AHU#2","Daysteam","V21234, V21214","Inspection before October 15 ",1]
[23,2,"Humidifier for AHU#1","Daysteam","V21235, V21813","Inspection before October 15 ",1]
[24,5,"Fan Coil Units","TRANE","N/A","Stairwell",2]
[25,27,"Fan Power VAV boxes","Continental/ LDTP","*","First and 2nd floors by the windows",1]
["CHERRYDALE LIBRARY"]
["2190 MILITARY ROAD"]
["NO.","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Heat Pump","Carrier, 38BQ006410","M876626","N/A",3]
[2,1,"Air Handling Unit","Carrier, 40FS220300","A002297","N/A",4]
[3,1,"Heat Pump","Carrier, 38BQ00641","M876623","N/A",3]
[4,1,"Air Handling Unit","Carrier, 40FS220300","A002299","N/A",4]
[5,1,"Heat Pump","Carrier, 38BQ006410","G914801","N/A",3]
[6,1,"Air Handling Unit","Carrier, 40FS920300E11","E98559","N/A",4]
["COURT POLICE FACILITY"]
["1425 N. COURT HOUSE"]
["NO.","QTY","EQUIPMENT TYPE","MODEL","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Air Handler Unit #1","Buffalo Forge, 200-K","S062740000001","1st floor mech room",5]
[2,1,"Air Handler Unit #2","Buffalo Forge, 180-K",5062740000002,"2nd floor mech room",5]
[3,1,"Air Handler Unit #3","Buffalo Forge, 300-K",5062740000003,"3rd floor mech room",5]
[4,1,"Return Fan RF# 3","Buffalo Forge, 4389","N/A","3rd floor mech room",5]
[5,1,"Air Handler Unit #4","Buffalo Forge, 105-K",5062740000000,"Ground floor mech room",5]
[6,1,"Return Fan RF# 4","Buffalo Forge, 2248",5088530000000,"Ground floor mech room",5]
[7,1,"Air Handler Unit #5","Buffalo Forge, K-200","S0627400000005","5th floor mech room",5]
[8,1,"Air Handler Unit #6","Buffalo Forge, K-155","S08853000002","6th floor mech room",5]
[9,1,"Air Handler Unit #7","Buffalo Forge, K-155","$06274-007","7th floor mech room",5]
[10,1,"Air Handler Unit #8","BUFFALO FORGE, 1801K","$06274-008","8th floor mech room",5]
[11,1,"Air Handler Unit #9","BUFFALO FORGE, 180K","S06274-09","9th floor mech room",5]
[12,1,"Air Handler Unit #10","Buffalo Forge, 2401-K","S06274000001","10th floor mech room",5]
[13,1,"Return Fan RF# 10","Buffalo Forge, 3AB4",5088550000000,"10th floor mech room",5]
[14,1,"Air Handler Unit #11","Buffalo Forge, 155-K","S06274000001","12th floor mech room",5]
[15,1,"Split Air Conditioning Unit","COND . 38BNB024311","2005V07016","5205 Computer room",4]
[16,1,"CAHU 1 Liebert Unit","LIEBERT, BF071WDADE15965","NllG740131 #2","7th floor Computer room",6]
[17,1,"CAHU 2 Liebert Unit","LIEBERT, BF071WDADE15965","NllG740131 #2","7th floor Computer room",6]
[18,1,"CAHU 1","N/A","N/A","8th floor Sever RM 8205",6]
[19,1,"CAHU 2","N/A","N/A","8th floor Sever RM 8205",6]
[20,1,"Smoke Exhaust SEF #1","Buffalo Forge, 25A9 type",5083530000000,"Ground floor mech room",2]
[21,1,"Staircase Pressure Fan SF1","300ABICW, 13thfl ceiling","4XD00104","Pent House",2]
[22,1,"Staircase Pressure Fan SF2","300ABICW, 13thfl ceiling","4XD00104","Pent House",2]
[23,1,"Staircase Pressure Fan SF3","300ABICW, 13thfl ceiling","4XD00104","Pent House",2]
[24,1,"Staircase Pressure Fan SF4","300ABICW, 13thfl ceiling","4XD00104","Pent House",2]
[25,1,"Exhaust Fan EF # 13","Stanley, DGE10","N/A","P1 Level Elev. ",1]
[26,1,"Garage Supply Fan GSF # 1","SQ-300-75","92B01305","Garage level",2]
[27,1,"Garage Supply Fan GSF # 2","Snyder General, 270AFV","4YA00425","Garage level",2]
[28,1,"Exhaust fan EF -P1-1","DOE10 1/29HP 4820T","FE 6-1 STANLEY FAN","Garage P2 Elev. Lobby",1]
[29,1,"Exhaust fan EF-P2-2","CWD-080A","9YA0513001","Garage P2 Elev. Lobby",1]
[30,1,"Exhaust fan EF-P2-3","DG E10 1/29 HP","4B207: CF12-1","Garage P2 Elev. Lobby",1]
[31,1,"Exhaust fan EF-P2-4","N/A","N/A","Garage P2 Elev. Lobby",1]
[32,1,"Exhaust fan EF-P2-5","DG E10 1/29HP 48207","EF7-1 STANLEY FAN","Garage P1 Elev. Lobby",1]
[33,1,"Exhaust fan EF-1","Snyder General, BSI-120A","9YA0511301","1st floor Toilet exhuast",1]
[34,1,"Exhaust fan EF-1-1","Stanley, DGE-10","N/A","1st floor Comm. Exhaust",1]
[35,1,"Exhaust fan EF-2","Snyder General, BSI-120A","9YA0511401","2nd floor Toilet exhuast",1]
[36,1,"Exhaust fan EF-2-1","Dayton, 4C361F","N/A","2nd floor Comm. Exhaust",1]
[37,1,"Exhaust fan EF-3-1","Snyder General, BSI-120A","9YA0511601","3rd floor Toilet exhuast",1]
[38,1,"Exhaust fan EF-3-2","Snyder General, BSI-120A","9YA0512801","3rd floor Toilet exhuast",1]
[39,1,"Exhaust fan EF-3-3","DG E10 1/29HP 48207","EF 5-1 STANLEY FAN","3rd floor Comm. Exhaust",1]
[40,1,"Exhaust fan EF-4","Snyder General, BSI-140A","9YA0511801","4th floor Toilet exhuast",1]
[41,1,"Exhaust fan EF-5","Snyder General, BSI-120A","9YA0511501","5th floor Toilet exhuast",1]
[42,1,"Exhaust fan EF-5-1","Stanley, DGElO","N/A","5th floor Comm. Exhaust",1]
[43,1,"Exhaust fan EF-6","Snyder General, BSI120A","9YA0511901","6th floor Toilet exhuast",1]
[44,1,"Exhaust fan EF-6-1","Stanley, DGElO",48207,"6th floor Comm. Exhaust",1]
[45,1,"Exhaust fan EF-7","Green Heck, CSP-A1050-QD",10854388,"7th floor Toilet exhuast",1]
[46,1,"Exhaust fan EF-7-1","Stanley, DGE10","N/A","7th floor Comm. Exhaust",1]
[47,1,"Exhaust fan EF-8","Snyder General, BSI-120A","9YA0512101","8th floor Toilet exhuast",1]
[48,1,"Exhaust fan EF-8-1","Z-81","N/A","8th floor Toilet exhuast",1]
[49,1,"Exhaust fan EF-8-2","Stanley, DGE10","N/A","8th floor Comm. Exhaust",1]
[50,1,"Exhaust fan EF-9-1","Snyder General, BSI-120A","9YA0512201","9th floor Toilet & Locker exhaust",1]
[51,1,"Exhaust fan EF-9-2","Quietaire, QIBKlO-Ml",9605,"9th floor-Dark Rm exhaust",1]
[52,1,"Exhaust fan EF-9-3","Quietaire, QIBKlO-Ml",9605,"9th floor-Photo Pro Exhaust",1]
[53,1,"Exhaust fan EF-9-4","Stanley, DGElO","N/A","9th floor Comm Exhaust",1]
[54,1,"Exhaust fan EF-9-5","Snyder General, 9AHCW","4YD00106","Level 13-Chem Pro (RM9400) Ex",1]
[55,1,"Exhaust fan EF-10","Snyder General, BSI-120A","9YA0512301","10th floor Toilet exhuast",1]
[56,1,"Exhaust fan EF-11-1","Snyder General, BSI-120A","9YA0512401","11th floor Toilet/ Holding exhuast",1]
[57,1,"Exhaust fan EF-11-2","Snyder General, BSI-120A","9YA012501","11th floor Toilet/ Holding exhuast",1]
[58,1,"Exhaust fan EF-12","Zephyr, Z-12HTDA","N/A","12th floor Toilet exhuast",1]
[59,1,"Exhaust fan EF-12-1","Stanley Fans Inc., DGElO","N/A","12th floor Comm Exhaust",1]
[60,1,"Exhaust fan EF-14","DGE14 1/8 HP 48047","N/A","P-1 Fire Pump room exhaust",1]
[61,1,"Exhaust fan EF-15","Stanley, LE425HP","N/A","P-2 Garage Exhaust-Garage",1]
[62,1,"Exhaust fan EF-16","Stanley, LE425HP","N/A","P-2 Garage Exhaust-Garage ",1]
[63,1,"Exhaust fan EF-17","Stanley, LE425HP","N/A","P-2 Garage Exhaust-Gas  meter RM",1]
[64,1,"Exhaust fan EF-18","Stanley, LE425HP","N/A","P-2 Garage Exhaust",1]
[65,1,"Exhaust fan EF-19","Soler &    Palau, DB84",100066069,"Atrium Roof Exhaust",1]
[66,1,"Exhaust fan EF-20","N/A","N/A","Atrium Roof Exhaust",1]
[67,1,"Exhaust fan EF-21","Snyder General, CWD-101A","QXA0513301","Pent House Elev Room Exhaust",1]
[68,1,"Exhaust fan EF-22","9YA0513401 SNYDER ","CWD-101A","Pent House Elev Room Exhaust",1]
[69,1,"Exhaust fan EF-23","Snyder General, CWD-lOlA","9YA0513403","Pent House Elev Room Exhaust",1]
[70,1,"Exhaust fan EF-24","9YA0513401 SNYDER ","CWD-101A","P1 Level Elev. Room Exhaust",1]
[71,1,"Exhaust fan EF-25","Dayton","N/A","Pent House Elev Room Exhaust",1]
[72,1,"Exhaust fan EF-26","HIGH CEILING","0081BV11U273Rl2F","Pent House Mech Room Exhaust",1]
[73,1,"Exhaust fan EF-27","US Electric, F106","N/A","Pent House Elev Room Exhaust",1]
[74,1,"Exhaust fan EF-28","Magnatech, CAT4-E200","PART#355641","Pent House Elev Room Exhaust",1]
[75,1,"Exhaust fan EF-29","Snyder General, CWD-101A","QX40513201","P1-Electrical room Exhaust",1]
[76,1,"Exhaust fan EF-30","Quietaire, C1BK27","N/A","Ground Toilets/Locker exhaust",1]
[77,1,"Exhaust fan EF-31","Snyder General, BSI-120A","9YA0512801","Riot Equip Work Rm Exhaust",1]
[78,1,"Exhaust fan EF-32","Quietaire","N/A","Flare Exhaust",1]
[79,1,"Exhaust fan EF-33","Quietaire, Q1BK08-L1",9605,"Dry Rm Exhaust",1]
[80,1,"Exhaust fan EF-G-1","Stanley, DGElO","N/A","Ground Floor Comm Exhaust",1]
[81,1,"Exhaust fan EF-34","9YAD511201","BSI-300A ","13th floor Warehouse Exhaust",1]
[82,1,"Exhaust fan EF-35","NO INFORMATION ","N/A","13th floor Office Smoke Exhaust-IN CUSTODIAN OFFICE",1]
[83,1,"Exhaust Fan for Generator Rm","210SQNB LOREN COOK","2130897-1 1/2HP","13th floor Generator Room",1]
[84,1,"Fan Coil Unit FCU-1","TRANE, LC34A01906","S93A01906","Level 13th floor Office Space",1]
[85,1,"Fan Coil Unit FCU-2","TRANE, RC34AL02U","S93A01909","Level 13th floor Shop Space",1]
[86,1,"Cooling Tower CT-1","N/A","N/A","Level 13th floor",2]
[87,1,"Cooling Tower CT-2","N/A","N/A","Level 13th floor",2]
[88,1,"Boiler B-1","Fulton Condensate ","N/A","13th floor mech room",1]
[89,1,"Boiler B-2","Fulton Condensate ","N/A","13th floor mech room",1]
[90,2,"Chiller Water Pump CHW 1 & 2","N/A","N/A","13th floor mech room",2]
[91,2,"Condenser Pumps CW 1 & 2","N/A","N/A","13th floor mech room",2]
[93,1,"Solid Filter","Lakos TBI-0232-ABV","1010521-001","13th floor mech room",2]
[94,2,"Hot Water Pumps ","N/A","N/A","13th floor mech room",2]
[95,2,"Hot Water loop Circulating pumps ","N/A","N/A","13th floor mech room",2]
[96,2,"Condenser Pump 8 & 9 for 7th/8th ","N/A","N/A","13th floor mech room",2]
[97,2,"Domestic HW Circulating Pump","N/A","N/A","13th floor mech room",2]
[98,1,"Unit Heater Custodian Office area","5.0-RMT-12X10-2-2771",274695,"13th floor mech room",1]
[99,1,"Unit Heater Elevator Lobby","Trane, UHSA-042W-26-AAC","D92L14486","13th floor elevator lobby area",1]
[100,2,"Unit Heaters in Mech Room","VHSA-042W-2C-AAC","D922L4488","13th floor main mech room",1]
[101,1,"Unit Heater in Generator RM","VHSA-042W-2C-AAC","D922L4489","13th floor Generator Room",1]
[102,1,"Duct Heater ","Indeeco, 140-187567","C090563-1","13th floor mech room",1]
[103,1,"Duct Heater above Radio room","US5A-042W-2C-AAC","D92L14493","13th floor electrical gear room",1]
[104,2,"Split Air Conditioning Unit","Large Inverter Unit, LSN360HV2","30T219664, 302KAXV00098","Elev machine room 14th floor",3]
[105,1,"Split A/C for Housekeeping Office","Carrier, 38CK060670","3605E26555","13th floor mech room",3]
[106,2,"CHW Coil Unit for Elev. Machine RM","Carrier, 38YCB036600","0697E18604","13th floor mech room",2]
[107,1,"Air Compressor AC-1 for Dry Pipe","EMGLO K2530S",805289190,"P1-Fire Pump Room",1]
[108,1,"HW Fan Coil Unit","Trane UHSA042WZDAAC","A95010823","Ground floor mech room",1]
[109,1,"HW Fan Coil Unit","TRANE, UHSA042WZDAAC","A93K010824","3rd floor mech room",1]
[110,1,"HW Fan Coil Unit","TRANE UHSA042W2DAAC","A93K010825","10th floor mech room",1]
[111,2,"HW FCU in stairwell ","NO INFORMATION ","N/A","P1 Stairwell #3 & 4 each",1]
[112,1,"HW Heating Unit ","Trane, UHSA04W2DAAC","A93K010826","P1-Fire pump room",1]
[113,1,"Heat Pump","Carrier, F134ANF042","2097A15929","13TH FL,1/2HP, MECH RM. 1307",3]
[114,1,"Exhaust Fan","Quietaire, C/BK21","N/A","G FLOOR, 3HP, EF-30, MECII ROOM G003",2]
[115,1,"Exhaust Fan","DHE141","8HP 148047","SEWER PUMP RM, EF-14 C/P PUMP",2]
[116,1,"Mitsubishi Split","TBD","TBD","Computer Room 7th Floor",4]
[117,2,"Heat Exchanger","N/A","N/A","13th floor mech room",2]
[118,2,"Hot Water Tank","N/A","N/A","13th floor mech room",1]
["COURT SQUARE WEST"]
["1400 N. UHLE STREET"]
["NO.","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Dry Cooler/Condenser","Carrier, 38AKS016520","0702F36468","5™ FLOOR, ECC DRY COOLER, ROOF TOP UNIT, 1HP",4]
[{"$f":"A207+1","v":2},1,"Air Handling Unit","Trane","K96809358","7TH FLOOR, 2 PIPE SYSTEM, SHP",4]
[3,1,"Air Handling Unit","Trane, 30F03","K96B09047","6™ FLOOR, 2HP",4]
[{"$f":"A209+1","v":4},1,"Air Handling Unit","Carrier, 39181152HA5031E","4591T20125","5TH FLOOR",4]
[5,1,"Air Handling Unit","Trane, 030F03","K96809146","2ND FLOOR, 5HP",4]
[6,1,"Air Handling Unit","Trane, 030F03","K96B09161 )","3RD FLOOR, 5HP",4]
[7,1,"Air Handling Unit","Trane, NUF457701030F03","K89609117","1ST FLOOR, 5HP",4]
[8,1,"Air Handling Unit","Trane, MCCA01CK","K96A08743","1ST FLOOR, 2 PIPE SYSTEM, 31!P",4]
[9,1,"Air Handling Unit","Y8K-0240004","86F6690","1/2 HP, 1ST FLOOR",4]
[10,1,"Air Handling Unit","TRANE MCCA010","K96B09146","4th floor ",4]
[11,1,"Air Handling Unit","Worthington Corp, YBK-024000U","86F66D-9","MAIN LOBBY AHU",4]
[12,1,"Split System","Sanyo, CC1852",4611,"PHONE ROOM, SPLIT UNIT",3]
[13,1,"Split Unit","American Standard, TWE060A30088","L073STMSH","SPLIT UNIT, FEED STORE, 3/4HP",3]
[14,1,"Humidifier","CAREL","HUMISTEAM  XPLUS","5th Fl Mech Rm\nHeating Season Only\n (Inspection Months: 9, 11, 1, 3) ",1]
[15,2,"DUCT HEATER","REDD-I, RPA",334028,"5TH FLOOR MEC ROOM ",1]
[16,1,"Exhaust Fan","N/A","N/A","120V",1]
[17,156,"Fan Coil Unit","Trane FC80301KEOAOG20AC2M","196C33004","FLOORS 1,2,3,4,5,6,7, 1HP",2]
[18,1,"Fan Coil Unit","Worthington Corp","N/A","FAN llSVI      l.SA",2]
[19,4,"Garage fans","Greenheck","N/A","EX FAN B1, B2, B3, B4 (115V)",2]
[20,2,"Exhaust Fan","N/A","N/A","ELEVATOR ROOM EXHAUST FAN",1]
[21,1,"Dry Cooler","DAFC-0512","91-1595A","PENTHOUSE, MOTOR:HP, rOR 5TH FLOOR ECC AT ROOF",4]
[22,1,"Dry Cooler","DAFC","91-1593","PENTHOUSE, FOR sTH  FLOOR ECC AT ROOF",4]
[23,1,"Dry Cooler","DAFC-0632","91-1591A","PENTHOUSE, FOR STH FLOOR ECC AT ROOF",4]
[24,1,"Heat Pump","Trane, WCD0606300BC","K471005420","PENTHOUSE, FOR 6th FLOOR AT ROOF",3]
[25,1,"Roof Top Unit","Carrier, 38AK5016520","K471005420","PENTHOUSE, ECC MAIN A/C",4]
[26,1,"Exhaust Fan","N/A","N/A","PENTHOUSE, BATHROOM EXHAUST FAN",1]
[27,2,"Exhaust Fan","Trane CUBA131FAA2AOBOA2B6DE","NUE457701","PENTHOUSE",1]
[28,1,"Exhaust Fan","N/A","N/A","PENTHOUSE",1]
[29,1,"Cooling Tower","Evapco, AT8-79B",960505,"15HP\n2 Cleanings",2]
[30,1,"Exhaust Fan","N/A","N/A","PENTHOUSE",1]
[31,1,"Unit Heater","Reznor, X1105-3","AHF3183U668","PENTHOUSE",1]
[32,1,"Elevator Room AC","Split system",null,"PENTHOUSE",3]
[33,3,"Pump","Aurora, 99-08265","344A-BF","BOILER ROOM, CONDENSER, CHILL/HOT WATER CIRCULATION & STANDBY PUMP AT 1>1ECH ROOM",2]
[34,1,"Roof Top Unit","Trane CUBA131FAA2AOBOA2BCDE","NUE457701","LOWER ROOF",4]
[35,1,"Split System","Sanyo, KS1872",6009361,"208V/1PH, INCLUDES INDOOR AND OUTDOOR SECTIONS",3]
[36,2,"Heat Pump","Trane, TWA060C300AZ","N/A","LOWER ROOF, INCLUDES INDOOR AND OUTDOOR SECTIONS",3]
[37,1,"Exhaust Fan","Trane, FCRA13500A1EA00A","A95M48786","LOWER ROOF, SERVES PRINT SHOP",1]
[38,1,"5111   Floor Comp Room","Data Aire, DTGU-0332","91-1590A","N/A",4]
[39,1,"5th Floo Telephone Room","N/A","N/A","N/A",4]
[{"$f":"A245+1","v":40},1,"5th Floor Radio Room","Data Aire, DAGU-0632","91-1592A","N/A",4]
[{"$f":"A246+1","v":41},1,"68-7RFAC02","CARRIER, 38AK-028---5","4371F76738","N/A",4]
[42,1,"AHU-1B","TRANE, TWE060A300BB","K424TPLP54","N/A",4]
[43,1,"AHU-8","TRANE, 39LB1152HA5031-D","4591L720125","N/A",4]
[44,1,"AHU-Ductless Unit","MITSUBISHI","N/A","Printshop",4]
[45,1,"AHU-2","TRANE, NCCA010GAL","KB960917","N/A",4]
[46,1,"AIR COND Ductless","SAMSUNG, AQV36JAX","F826PA0C700363P","N/A",4]
[47,1,"AIR COND -4","MITSUBISHI","MXZ4A36NA","N/A",4]
[48,1,"RESTROOM EXHAUST FAN","45426-M","222-ABC","N/A",1]
[49,1,"Exhaust Fan-7","CENTER MASTE, PX163F6","PQF159401","N/A",1]
["CULPEPPER"]
["2217 N. CULPEPPER STREET"]
["NO.","QTY","EQUIPMENT TYPE","MODEL","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Furnace","Goodman ","N/A","Mechanical room",2]
[2,1,"Condenser","Goodman ","N/A","Mechanical room",4]
["DAWSON TERRACE"]
["2133 NORTH TAFT STREET"]
["NO.","QTY","EQUIPMENT TYPE","MANUFACTURER, MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,7,"VRF Cassetts","Mitsubishi","N/A","Different areas in the building",4]
[{"$f":"A264+1","v":2},1,"VRF Condenser","Mitsubishi/PURY-P72TLMU-A","58W00087","Outside Front of the building",4]
[{"$f":"A265+1","v":3},1,"Cabinet heater","Airhitt","*","First floor entrance hallway",1]
[{"$f":"A266+1","v":4},1,"Bathroom EXHAUST FAN ","PVD LB252","N/A","ROOF",1]
[5,1,"RTU","Carrier","50TCQD12A2A5A1AOAO","3610G20710",4]
["DENTENTION CENTER FACILITY"]
["1435 N. COURT HOUSE"]
["NO.","QTY","EQUIPMENT TYPE","MODEL","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Air Handler Unit AHU #1","Trane CCDBA1P","K91K41318","Ground floor mech room",5]
[2,1,"Return Fan #1","BSQ-240-50","92BO1304","Ground floor mech room",5]
[3,1,"Air Handler Unit AHU #2","N/A","N/A","Ground floor mech room",5]
[4,1,"Return Fan #3","Greenheck B5Q240-20",92801303,"Ground floor mech room",5]
[5,1,"Air Handler Unit AHU #4","Trane MCCA021MAB","K91K04513","2nd floor mech room",5]
[6,1,"Return Fan #4","N/A","N/A","2nd floor mech room",5]
[7,1,"Air Handler Unit AHU #5","Trane CCDB35HNIM","K91K41319","4th floor mech room",5]
[8,1,"Return Fan #5","Greenheck","N/A","4th floor mech room",5]
[9,1,"Air Handler Unit AHU #6","Trane CODB35LINM","K91K41320","6th floor mech room",5]
[10,1,"Return Fan #6","Greenheck SWB-27-3","N/A","6th floor mech room",5]
[11,1,"Air Handler Unit AHU #7","Trane CCDB35LNIM","K91K41321","8th floor mech room",5]
[12,1,"Return Fan #7","Greenheck SWP-27-3U",92801344,"8th floor mech room",5]
[13,1,"Air Handler Unit AHU #8","Trane CC0835LNIM","K91K41322","10th floor mech room",5]
[14,1,"Return Fan #8","Greenheck SWB-27-3C","N/A","10th floor mech room",5]
[15,1,"Air Handler Unit AHU #9","Trane MCCAU30 Gas","K91K40521","12th floor mech room",5]
[16,1,"Return Fan #9","Greenheck S-JB-27-30","92B0134","12th floor mech room",5]
[17,1,"Exhaust fan EF1","Marathon Elect, XF 256TT0570766","N/A","Parking Level",1]
[18,1,"Exhaust fan EF2","Marathon Elect, XF 256TT0570766","N/A","Parking Level",1]
[19,1,"Exhaust fan EF3","Marathon Elect, XF 256TT0570766","N/A","Parking Level",1]
[20,1,"Exhaust fan EF4","Marathon Elect, XF 256TT0570766","N/A","Parking Level",1]
[21,1,"Exhaust fan EF41","General Electric SK458G8004","N/A","Parking Level Mech room",2]
[22,1,"Exhaust fan EF9","Greenheck SPFE-24-7",9280133,"Ground level-Sally port",2]
[23,1,"Exhaust fan EF10","Greenheck, BPSE-30-016-294","92B01134A","Ground floor Loading Dock",2]
[24,2,"HW Fan Coil Units","Trane, UHSA-0905-BC-88E","N/A","Ground floor Loading Dock",1]
[25,1,"ERV #12","Munters, PV-MZP 8715-PVE","N/A","Roof",12]
[26,1,"ERV #13","Munters, PV-MZP 8715-PVE","N/A","Roof",12]
[27,1,"ERV #14","Munters, PV-MZP 8715-PVE","N/A","Roof",12]
[28,1,"ERV #15","Munters, PV-MZP 8715-PVE","N/A","Roof",12]
[29,1,"Exhaust fan EF16","N/A","N/A","Roof ",2]
[30,1,"Exhaust fan EF17","Power Ventilator, 44x95","N/A","Roof ",2]
[31,1,"Exhaust fan EF18","Greenheck, CUBC-HP-300-20X",92801320,"Roof",2]
[32,1,"Exhaust fan EF19","Greenheck CUBC-HP-180-10X",92801318,"Roof",2]
[33,1,"Exhaust fan EF20","Greenheck 850-200-15","92D013012","Ground floor mech room",2]
[34,1,"Exhaust Fan for elevator machine","Greenheck, SDF 8 24-D/EX",94810887,"13th floor elevator machine room",1]
[35,1,"Electriacl Heater EH-1","Indeeco GUA 00800 012 000X010 000","N/A","Parking Level 1 Zone A",1]
[36,1,"Electriacl Heater EH-2","Indeeco GUA 00800 012 000X010 000","N/A","Parking Level 2 Zone A",1]
[37,1,"Electrical Heater EH-3","Indeeco GUA 00800 012 000X010 000","N/A","Elevator machine rm Pent house",1]
[38,2,"Cooling towers 1 & 2","Evapco LSTA 8-187","917926LHRH","Roof",2]
[39,5,"Pressurizing fans for stairs","Greenheck 30BISW-10-CW-BH-I","92801337/38/39/40/41","Roof",2]
[40,2,"Condenser Water pumps P1 & P2","Taco FM5010 98BEMD Taco FM5010-9.8","N/A","Parking Level Mech Room",1]
[41,4,"Chiller Water pumps P3 to P6","N/A","N/A","Parking Level Mech Room",1]
[42,4,"Hot Water Circulating pumps P7 to P9","N/A","N/A","Parking Level Mech Room",2]
[43,8,"Electric Unit Heater ","Trane","2 Need to be added into your existing list","Various locations ",1]
[44,4,"Cabinet Unit Heaters","LD16A002W","N/A","Stairwells ",1]
[45,16,"HW  Coil Heating Units","TRANE UNITS-UHSA-0205-2C-AAA","ALL INSTALLED AT 3/4TH FLOOR VACANT AREA FOR HEATING THE SPACE","P-1-005, P1-004, 2 IN ELECT SWITCH GEAR, P1-001, P1-ELV MACHINE RM. P1-007, P1-006",1]
[46,2,"Air Compressor AC1 & AC2","Quincy MOC05020DA",5096735,"Ground floor Mech room (24/7 Operation)",2]
[47,1,"GSF-1","Greenheck B5Q300 75","N/A","Garage level",2]
[48,1,"GSF-2","Greenheck B5Q300 75","N/A","Garage level",2]
[49,1,"Exhaust Fan #21","Greenheck","N/A","Roof",2]
[50,1,"Exhaust Fan #22","DX-168 ","N/A","Roof",2]
[51,1,"Exhaust Fan #23","Dayton 4YY16A","12839960 1205","Roof",2]
[52,1,"Exhaust Fan #24","Greenheck B5Q240-20",92801304,"Parking Level",1]
[53,1,"Exhaust Fan #25","Greenheck, SPBE-CA24-620-7A",92801332,"Parking Level Electric Gear RM",1]
[54,1,"Exhaust Fan #26","Greenheck, SPBE-CA24-620-7A",92801332,"Parking Level Electric Gear RM",1]
[55,1,"Exhaust Fan #27","Greenheck 850-90-7",92801371,"6th floor mech room",1]
[56,1,"Exhaust Fan #28","Greenheck 850-90-7",92801310,"8th floor mech room",1]
[57,1,"Exhaust Fan #29","Greenheck 8 50 90-2",92801311,"10th floor mech room",1]
[58,1,"Exhaust Fan #30","Greenheck B50-90-7",92801312,"12th floor mech room",1]
[59,1,"Exhaust Fan #31","463131 1/40 HP","N/A","Bulk Storge Parking Level ",1]
[60,1,"Exhaust Fan #32","463131 1/40 HP","N/A","Dead Files RM Parking level",1]
[61,1,"Exhaust Fan #33","463131 1/40 HP","N/A","Parking Level ",1]
[62,1,"Exhaust Fan #35","SDP-20-21C",92501330,"Pent House Elev. Machine room",1]
[63,1,"Booster Fan BF-1","N/A","N/A","Level 2",2]
[64,1,"Exhaust Fan #36","463B1 1/40 HP","N/A","Storage RM Parking Level 1",1]
[65,1,"Exhaust Fan #37","Greenheck BSQ-90-70",92801309,"4th floor mech room",1]
[66,1,"Exhaust Fan #38","MSDF-8.24",921301321,"Parking Level 2 Gas Meter RM",1]
[67,1,"Exhaust Fan #39","463B1 1/40 HP","N/A","Storage Parking Level 2 ",1]
[68,1,"Exhaust Fan #40","REMOVED OUT","N/A","Security Room 4007",1]
[69,1,"In line fan CF-1","Greenheck, BCF-TH-106-4",92801298,"Parking Level-Elev lobby",1]
[70,1,"In line fan CF-2","Greenheck, 8CF-TH-106-4 ",928801299,"Parking Level-Elev lobby",1]
[71,1,"Split A/C Unit for 11A Secuirty Tower","4029005 T","N/A","11th floor-11A Security room",3]
[72,1,"Split A/C Unit for ASAP RM","CARRIER FM4NF060","0319X29702","1st Floor - store front Office",3]
[73,2,"ACC1 & ACC2","Trane, 2TTA0036A40000AA\nAmerican Standard, TTA036A400B0","4444XG3F","Parking Level 1-Telephone rm",3]
[74,2,"ACU-1 and ACU-2","TWH0368140AO","N/A","Parking Level 1-Telephone rm",3]
[75,1,"Fan","Greenheck B5Q240-20",92801304,"N/A",1]
[76,1,"Exhaust Fan","SQ-95-G","92B10335","EF-42 Kitchen Storage",1]
[77,2,"Condenser Opened Loop Water Pumps","Baldor Reliance","VEJMM3116T","4th floor mech room - for IT Room",1]
[78,2,"chilled water circulating pumps","Baldor Reliance","VEJMM3116T","4th floor mech room - for IT Room",1]
[79,2,"CRAC Units (in row)","Alfa Laval","N/A","4th floor mech room - for IT Room",4]
[80,2,"In row units","Vertiv","N/A","4th IT Room.",4]
[81,3,"Heat Exchanger","N/A","N/A","N/A",1]
[82,4,"Boiler","Fulton Condensate ","N/A","N/A",1]
[83,2,"Hot Water Pumps ","N/A","N/A","Ground floor Mech RM",2]
[84,4,"Hot Water Tank","N/A","N/A","Ground floor Mech RM",1]
["FIRE STATION #2"]
["4805 WILSON BLVD"]
["NO. ","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,4,"Roof Top Unit","Carrier, 48HJE006-531HE","5099G20259, 5099G20260, 5099G20255, 5099G20258","Roof",4]
[2,1,"Exhaust Fan","Carnes, VEBK21R1B1UA20SPCX",661745003,"Roof",1]
[3,1,"Exhaust Fan","Leeson, N215T34FB49B","G15015960","Roof",1]
[4,2,"Water Heater","N/A","N/A","N/A",1]
["FIRE STATION #3"]
["4100 OLD DOMINION DRIVE"]
["NO.","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,13,"Heat Pumps","Trane",null,null,3]
[{"$f":"A366+1","v":2},3,"Heat Pump 10,13,7B ","GEHE0241","N/A","2 Ton Ceiling Plenum Mounted",3]
[{"$f":"A367+1","v":3},5,"Heat Pump 3,11,12,20,21 ","GEHE0151","N/A","1.5 Ton Ceiling Plenum Mounted",3]
[4,1,"Heat Pump 5 ","GEHE0481","N/A","5 Ton Ceiling Plenum Mounted",3]
[5,1,"Heat Pump 6 ","GEHE0601","N/A","6 Ton Ceiling Plenum Mounted",3]
[6,1,"Split System","38mhrc18a-3","1117V14763","1.8 Ton Ceiling Plenum Mounted",3]
[7,1,"0/S Air Heat Recovery Unit","Innovent, 5000-1C-4600-AC/HG  N/A","N/A","7.5 Ton Roof Mounted",12]
[8,1,"Evaporative Cooling Tower ","BAC, FXV-L422","N/A","Rear of Bldg.\n2 Cleaning Inspections",2]
[9,2,"Boilers B1,B2","Lochinvar, KB-150 ","N/A","150 MBH - Mechanical Room",1]
[10,8,"HW Unit Heater UH-A","Trane, UHS-AOB","N/A ","Mechanical Room",1]
[11,1,"HW Unit Heater UH-B ","Trane, UHS-36","N/A","Mechanical Room",1]
[12,5,"EF 1-5 ","Greenheck, SE-1-8-440 ","N/A ","1/30 HP App Bay &  Aux areas",1]
[13,2,"EF 6,7 ","Greenheck, SP-125 ","N/A","Fractional HP - App Bay and Aux Areas",1]
[14,1,"EF 8","Greenheack, GB-161-7","N/A","HP - Apparatus Bay",1]
[15,1,"EF 9","Greenheck, SP-A510 ","N/A","Fractional HP - Dishwasher",1]
[16,1,"EF 10 ","Greenheck, SWB-208-15","N/A","1.5 HP Hood",1]
[17,1,"EF 11","Greenheck, Plymovent","N/A","5 HP - Vehicle Exhaust",1]
[18,2,"EF 12, 13 ","Greenheck, SP-B110","N/A","Fractional HP - Storage",1]
[19,2,"Condenser Water Pumps P1 & P2","Bell & Gossett 1-1/4BC","N/A","5 HP - Mechanical Room",1]
[20,2,"Hot Water Pumps","Bell & Gossett PL55","N/A","2/3 HP Mechanical Room",1]
[21,1,"Computer Room AC Unit AC 1","MMD12E+PFC014A","N/A","1.1 Ton - Comm Room",4]
[22,1,"Electric Unit Heater","Trane UHWA-03","N/A","3 KW - Stairwell",1]
[23,4,"Infrared heater GB1-5","Vantage CTHN-80N","N/A","80,000 BTU/hr - Engine Bay",4]
[24,2,"Hot Water Heater","N/A","N/A","N/A",1]
[25,2,"Hot Water Heater","N/A","N/A","N/A",1]
["FIRE STATION #4"]
["3121 N 10th street"]
["NO. ","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Chiller","TRANE/CGAM 40A 2W03 AXD2 A1A1 A1AX XA1C1A4XXXX XAXA 3A1D 1XXL XX","J21A84664","Penthouse\nInspection before april 15 and midsummer",2]
[2,1,"Boiler","CLEAVER BROOK, FLX","BT-9491","Penthouse",1]
[3,2,"Pump","N/A","N/A",null,2]
[4,1,"Air Handler Unit-1","BRYANT, 340AAV060080","4911A02329","Basement",4]
[{"$f":"A397+1","v":5},1,"AHU-3","Trane/BCVB1201EDOR1300B7M","R96M1726","Serves the 2nd floor",4]
[{"$f":"A398+1","v":6},1,"Condenser Unit","BRYANT, 24ABB360A520","3313E01101","Lower Roof",4]
[7,1,"Rooftop Unit","AAON, RN-013-8-0-EBOA-3F9","201209-ANGK24779","Lower Roof",4]
[8,1,"Rooftop Unit","AAON, RQ-003-8-V-EA09-319","201209-AYGC04019","Lower Roof",4]
[9,1,"Rooftop Unit","AAON, RQ-003-8-V-EA09-319","201209-AYGC04020","Lower Roof",4]
[10,1,"Heat Pump","TRANE, 2TWB0018A1000AB","43514B94F","Locker Room Ceiling",3]
[11,1,"Heat Pump - Condenser","TRANE, 2TWB0018A1000AB","43514B94F","Carport",3]
[12,27,"Fan Coil Units","MCQUAY F-TSF-503-AAOOB-30-AS-15-ZIBI",776752020,"(1) 2nd Fl,  (13) 3rd Fl, (13) 4th Fl",2]
[13,6,"Hydronic Unit Heaters","MCQUAY F-TSF-503-AAOOB-30-AS-15-ZIBI",776752020,"Engine Bay - Ceiling Hung",4]
[14,1,"Server Rm  Split System","CARRIER","N/A","Basement",3]
[15,1,"Server Rm  Split - Condenser","CARRIER","N/A","Wall Mtd. - rear of Bldg.",3]
[16,8,"Exhaust Fans","N/A","N/A","1 thru 4 Lower Roof, 5-Engine Bay Roof, 6 & 7 Upper Roof, 8-Penthouse Roof",2]
[17,1,"DHN Heater","CAMUS DYNAMAX 100","N/A","Penthouse",1]
[18,1,"Dehumidifier","N/A","N/A","Basement\nWinter Inspection",1]
[19,1,"Hot Water Heater","N/A","N/A","N/A",1]
["FIRE STATION #6"]
["6950 LITTLE FALLS STREET"]
["NO.","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,4,"Exhaust Fans","Various","N/A","N/A - Kitchen Existing (not replaced)",1]
[2,6,"Unit Heaters","Various","N/A","N/A",1]
[3,5,"Wall Heaters","Various","N/A","N/A - Existing (not replaced)",1]
[4,5,"Infraheaters and Thermostats","Various","N/A","N/A - Existing (not replaced)",4]
[5,1,"Expansion Tank","BX-1","N/A","Mechanical room",1]
[6,2,"Domestic Hot Water Heater","Various","N/A","Mechanical room",1]
[8,43,"VRV Cassette Units - Ceiling","Daikin","N/A","(20) 1st floor - (23)2nd Floor",4]
[9,2,"VRV FCU Units - Wall","Daikin","N/A","2nd Floor Hallway",4]
[10,1,"Split System - 1.5 Ton","Daikin","N/A","1st Floor IT Room",4]
[11,4,"Heat Recovery Ventilator - HRV","American Aldes","N/A","(2) 1st floor - (2)2nd Floor",12]
[12,4,"Condensing Unit - CU","AAON","N/A","Outside rear of building",4]
[14,4,"AHU","AAON","N/A","(2) 1st floor - (2)2nd Floor",4]
[15,1,"Dehumidifier - DH","Daikin","N/A","Gear room",1]
["FIRE STATION #8"]
["4845 LEE HIGHWAY"]
["NO.","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[{"$nulls":4},"TBD"]
[]
["FIRE STATION #10 "]
["1791 N. QUINN ST."]
["NO. ","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,{"$nulls":3},"TBD"]
[2]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10,{"$nulls":3},"N/A","N/A",1]
["FORT C.F. SMITH"]
["2411 NORTH 24TH STREET"]
["NO.","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Boiler","Burnham, SIN9LNS-LEZ","N/A","280,000 BTU",1]
[2,2,"Heat Pump","Carrier, A61-15 REV C","N/A","INDOOR",3]
[3,2,"Heat Pump","Carrier, CPKE60-1B","N/A",null,3]
[4,4,"Air Handler Unit","Rheem, RBHA-2400NFAA","N/A","CONDENSING UNIT",4]
[5,1,"Condensing Unit","Rheem, RAKA-060JAZ","N/A","Different places in the building",4]
[6,1,"Roof Top Unit","Lennox, CHA15-411-3P",5489600166,null,4]
[7,2,"VRF AHUs 1 & 2","Trane","N/A","Barn",4]
[8,1,"VRF Condenser  ","Trane","N/A","FOR COTTAGE",4]
[9,2,"Heater","Marley electric heating/ AWH4408D","Typical","WALL ELECTRIC HEATER IN BATHROOMS",1]
[10,2,"Condensing Unit","Carrier, 38YCC060320, 38YCC036340","2105E23854, 3804E68482","N/A",4]
["GULF BRANCH NATURE CENTER"]
["3608 NORTH MILITARY ROAD"]
["NO. ","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Split System","Carrier, 38HDL024311","N/A","1.5 TON",3]
[2,1,"Split System","Carrier, 39HDL0184311","N/A","1.5 TON",3]
[3,1,"Boiler","Weil McLain, EG-65-P1","N/A","HOT WATER",1]
["INDEPENDENCE CARE"]
["1723 N. FAIRFAX DRIVE"]
["NO. ","QTY","EQUIPMENT TYPE","MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Mini Split Systems","N/A","N/A","N/A",3]
[{"$f":"A469+1","v":2},4,"Air Handlers","N/A","N/A","ROOF",4]
[{"$f":"A470+1","v":3},18,"Fan Coils","N/A","N/A","N/A",2]
[{"$f":"A471+1","v":4},2,"Exhaust Fans","N/A","N/A","N/A",1]
[{"$f":"A472+1","v":5},1,"Rooftop Unit","VALENT","N/A","ROOF",4]
[{"$f":"A473+1","v":6},22,"Condensing Units","N/A","N/A","ROOF",4]
["LEE COMMUNITY CENTER"]
["5722 LEE HIGHWAY"]
["NO.","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Roof Top Unit","York, D2CG189N24025ECE","(S)NHJM107880","Roof",4]
[2,1,"Roof Top Unit","York, DM150N20P2AAA1A","NHJM204002","Roof",4]
[3,1,"Roof Top Unit","York, D2CG300N32025ECA","(S)NGJM098776","Roof",4]
[4,4,"Exhaust ran","ILG, CRBCA080Dll51D2","062600M105190","Roof",1]
[5,1,"Exhaust ran","Carnes, VEDK10J3A1UA20SPCX",710271.002,"Roof",1]
["LUBBER RUN"]
["300 N. PARK DRIVE"]
["NO.","QTY","EQUIPMENT","MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"OA-1","CSAA021","K19G61043 Trane","Basement Mech. Room 003",2]
[2,1,"AC-2","CM12","08180015C12 MOVIN COOL","COURTYARD LEVEL- STORAGE 138A",4]
[3,1,"AC-1","CM12","08180123C12 MOVIN COOL","COURTYARD LEVEL- MECH CLOSET 111",4]
[4,1,"0-1 VHP-024","DXVF0244ID03ASTLF0J010140000000000B","W19G16073 TRANE","ELECTRICAL ROOM 005",3]
[5,1,"1-1 VHP-060","DXVF06041D03ASTRF0J01014000000000B","W19G16219 TRANE","COURTYARD LEVEL- 120",3]
[6,1,"1-10 VHP-024","DXVF0244ID03ASTLF0J010140000000000B","W19G16075","COURTYARD LEVEL- MECH CLOSET 111",3]
[7,1,"1-11 VHP-024","DXVF0244ID03ASTLF0J010140000000000B","W19G16216","ELECTRICAL ROOM 005",3]
[8,1,"1-12 VHP-012","EXVF01271D23ASTRF0J010140000000000B","W19G16220","MECHANICAL ROOM 003",3]
[9,1,"1-13A VHP-090","GEVE09041F0CASTFF0J010040000000000","W19G16102","MECHANICAL ROOM 003",3]
[10,1,"1-13B VHP-090","GEVE09041F2CASTFF0J010040000000000","W19G16103","MECHANICAL ROOM 003",3]
[11,1,"1-15 VHP-012","EXVF01271D03ASTRF0J010140000000000B","W19G16071","Mechanical Room 137A",3]
[12,1,"1-16 VHP-006","EXVF00671D03ASTLF0J010140000000000B","W19G16214","Mechanical Room 137A",3]
[13,1,"1-17 VHP-006","EXVF00671D03ASTLF0J010140000000000B","W19G16066","Mechanical Room 137A",3]
[14,1,"1-18 VHP-006","EXVF00671D03ASTLF0J010140000000000B","W19G16064","Mechanical Room 137A",3]
[15,1,"1-19 VHP-036","DXVF03641D03AATLF0J010140000000000B","W19G16078","Mechanical Room 137A",3]
[16,1,"1-2 VHP-036","DXVF03641D03AATLF0J010140000000000B","W19G16217","COURTYARD LEVEL- MECH CLOSET 125",3]
[17,1,"1-3 VHP-024","DXVF0244ID03ASTLF0J010140000000000B","W19G16074","ELEVATOR E1",3]
[18,1,"1-4 VHP-024","DXVF0244ID03ASTLF0J010140000000000B","W19G16076","COURTYARD LEVEL- MECH CLOSET 111",3]
[19,1,"1-5 VHP-036","DXVF03641D03AATLF0J010140000000000B","W19G16077","COURTYARD LEVEL- MECH CLOSET 111",3]
[20,1,"1-6 VHP-036","DXVF03641D03AATLF0J010140000000000B","W19G16222","COURTYARD LEVEL- MECH CLOSET 111",3]
[21,1,"1-7 VHP-024","DXVF02441D03ASTLF0J010140000000000B","W19G16221","Mechanical room 117",3]
[22,1,"1-9 VHP-012","EXVF01271D03ASTRF0J010140000000000B","W19G16070","COURTYARD LEVEL- MECH CLOSET 111",3]
[23,1,"2-1 VHP-060","DXVF06041D03ASTRF0J01014000000000B","W19G16219","COURTYARD LEVEL- 120",3]
[24,1,"2-2 VHP-012","EXVF01271D03ASTRF0J010140000000000B","W19G16215","ELECTRICAL ROOM 005",3]
[25,1,"2-3 VHP-012","EXVF01271D03ASTRF0J010140000000000B","W19G16072","Mechanical Room 137A",3]
[26,1,"2-4 VHP-006","EXVF00671D03ASTRF0J010140000000000B","W19G16069","Mechanical Room 137A",3]
[27,1,"2-5 VHP-006","EXVF01271D03ASTRF0J010140000000000B","W19G16","Mechanical Room 137A",3]
[28,1,"2-6 VHP-006","EXVF00671D03ASTRF0J010140000000000B","W19G16067","Mechanical Room 137A",3]
[29,1,"2-7 VHP-006","EXVF00671D03ASTRF0J010140000000000B","W19G16065","Mechanical Room 137A",3]
[30,1,"2-8 VHP-006","EXVF00671D03ASTRF0J010140000000000B","W19G16079","Mechanical Room 137A",3]
[31,1,"P-1A","e-1510 2.5BB","C283766-01F91 BELL & GOSSETT","MECHANICAL LEVEL- MECH ROOM 003",2]
[32,1,"P-1B","e-1510 2.5BB","C283766-02F91","MECHANICAL LEVEL- MECH ROOM 003",2]
[33,1,"P-2","e-90 2AAC","C283765-01","MECHANICAL LEVEL- MECH ROOM 003",2]
[34,1,"P-3A","XL 70-145",20181205,"MECHANICAL LEVEL- MECH ROOM 003",2]
[35,1,"P-3B","XL 70-145",20181205,"MECHANICAL LEVEL- MECH ROOM 003",2]
[36,1,"WWHP-1","MR030XN1H1R0AAC-R410A","AI 09-021 TRANE","MECHANICAL LEVEL- MECH ROOM 003",3]
[null,null,"Garage Jet Fans "]
[37,1,"JF-1A","IV 50 SYSTEMAIR","NA","Parking Garage ",1]
[38,1,"JF-1B","IV 50","NA","Parking Garage ",1]
[39,1,"JF-1C","IV 50","NA","Parking Garage ",1]
[40,1,"JF-1D","IV 50","NA","Parking Garage ",1]
[41,1,"JF-1E","IV 50","NA","Parking Garage ",1]
[42,1,"JF-1F","IV 50","NA","Parking Garage ",1]
[43,1,"JF-1G","IV 50","NA","Parking Garage ",1]
[44,1,"JF-1H","IV 50","NA","Parking Garage ",1]
["MADISON CENTER"]
["3829 NORTH STAFFORD STREET"]
["NO. ","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Condensing Unit","Trane","N/A ","AIR COOLED, 15 TON",4]
[2,1,"Roof Top Unit","York, EBU182-A ","N/A","3HP",4]
[3,4,"Roof Top Unit","York, D3CE036S25","N/A ","3 TON",4]
[4,1,"Roof Top Unit","York, D3PS30A06A","N/A","2.5 TON",4]
[5,1,"Roof Top Unit","York, D2CE048A25C","N/A","4 TON",4]
[6,1,"Air Compressor ","N/A","N/A","WITH AIR DRYER",1]
[7,2,"Roof Top Unit","Carrier, 50DJ0045","N/A","N/A",4]
[8,7,"Exhaust rans","LC Dynafan","N/A ","FROM 1130 2600 CfM",1]
[9,7,"Exhaust Fans ","Domex ","N/A","FROM 1565 4350 CFM",1]
[11,1,"Air Handling Unit","Trane",null,"N/A",4]
[12,1,"Boiler A ","Prestige Solo 399US, 05624192","09/0053359","N/A",1]
[13,1,"Boiler B ","Prestige Solo 399US, 05624192","09/0053322","N/A",1]
[14,1,"Boiler c ","Prestige Solo 399US, 05624192","09/0053330","N/A",1]
[15,1,"Boiler D ","Prestige Solo 399US, 05624192","09/0053335","N/A",1]
[16,1,"Boiler E","Prestige Solo 399US, 05624192","09/0053325","N/A",1]
[17,2,"Heating Pump","Paco Pump","N/A","3HP Baldor Motor",2]
["QUINCY I"]
["1425 QUINCY ST"]
["NO.","QTY","EQUIPMENT TYPE","MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"RTU","TRANE/YCD180B3L0FA","Z41100501D","Roof",4]
[2,1,"RTU","TRANE/YSD180G3RLA0XD","195110509D","Roof",4]
[3,1,"RTU","TRANE/YSD180G3RLA0XD","195110510D","Roof",4]
[4,1,"RTU","CARRIER/50XZ-060","0609G11564","Roof",4]
[5,1,"RTU","CARRIER","N/A","Roof",4]
["QUINCY II"]
["1429 QUINCY ST"]
["NO.","QTY","EQUIPMENT TYPE","MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"RTU","CARRIER/48EYD038","0701F64005","Roof",4]
[2,1,"RTU","CARRIER/48EYD024","N/A","Roof",4]
[{"$f":"A562+1","v":3},1,"RTU","CARRIER/48HJE012","4900G30424","Roof",4]
[4,1,"RTU","N/A","N/A","Roof",4]
[5,1,"ERV","RENEWAIRE","N/A","Roof",4]
[6,1,"Split System","N/A","N/A","TBD",3]
[7,1,"Split System INDOOR UNIT","N/A","N/A","TBD",3]
[8,1,"Split System INDOOR UNIT","N/A","N/A","TBD",3]
[9,1,"Split System INDOOR UNIT","N/A","N/A","TBD",3]
["QUINCY III"]
["1435 QUINCY ST"]
["No.","TYPE","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[null,null,"RTUS","CARRIER"]
[1,1,"RTU","CARRIER/48TFE012","3201G32425","Roof",4]
[2,1,"RTU","CARRIER/48TJF016","2201F87436","Roof",4]
[3,1,"RTU","CARRIER/48TJF016","3701F10986","Roof",4]
[4,1,"RTU","CARRIER/LGA102H2BHY","L0794750060","Roof",4]
["QUINCY IV"]
["1439 N. QUINCY ST"]
["No.","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[null,null,"RTUS"]
[1,1,"RTU","CARRIER/48AJE025","2205F15880","Roof",4]
[2,1,"RTU","CARRIER/48AJE030","2205F15884","Roof",4]
[3,1,"RTU","CARRIER/48AJE030","2205F15881","Roof",4]
[4,1,"RTU","CARRIER/48AJE040","2205F15883","Roof",4]
[5,1,"SPLIT","N/A","N/A","N/A",3]
["SULLIVAN HOUSE"]
["3103 9TH ROAD"]
["NO. ","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Boiler","Weil-McLain","N/A","210 MBH INOUT, NATURAL GAS",1]
["THOMAS BUILDING  -  HOMELESS SHELTER"]
["2020 14TH STREET NORTH"]
["NO.","QTY","EQUIPMENT TYPE","MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Outside Air Make up unit ERU","DAIKIN","CAH010GVGC","Third Floor Mechanical room",12]
[{"$f":"A594+1","v":2},2,"Boiler","N/A","N/A","penthouse",1]
[{"$f":"A595+1","v":3},6,"Exhaust Fans","0B18/5KH32GN140GX","typical","3 on Roof and 3 in Garage",2]
[4,3,"Supply Fans",52702,"N/A","penthouse",2]
[5,1,"Cooling Tower","BAC/PT2-0809A-3K","U107019501 (8)","penthouse",1]
[6,4,"Air Handlers","TRANE/FB4BNF060000AAA","TYPICAL","4th, 5th, 6th and 7th mechanical rooms",4]
[7,24,"Fan Coil Units","FXY04/UFW1544A","TYPICAL","4th floor",2]
[8,37,"Fan Coil Units","FXY04/UFW1544A","TYPICAL","5th floor",2]
[9,40,"Fan Coil Units","FXYO4/UFW1544A","TYPICAL","6th floor ",2]
[10,41,"Fan Coil Units","FXY03/UFW1544A","TYPICAL","7th floor",2]
[11,1,"Blower Coils","Magic Aire/60-8HW-4-A",980139936,"Cooling for Penthouse",1]
[12,1,"Blower Coils","SE-0HU-18","64A66D-35","Fresh air and heat for the penthouse",1]
[13,1,"MUA","GREENHECK","DGX-100-112-UR","2nd floor",12]
[14,8,"Hot Water Heater","N/A","RU981","3rd floor Mech room/shelter",1]
[15,1,"Domestic hot water heater","SBD65251NEA118","1547M000946","penthouse",1]
[16,1,"Lobby AHU Condenser","0396E14274","*","2nd floor roof",4]
[17,72,"VRF Cassettes","Daikin/FXZQ","*","garage, 1st, 2nd and 3rd floors",4]
[18,1,"ERU","Daikin/CAH010GVGC","FB0U150501753","3rd floor Mech room/shelter",12]
[19,1,"IT Mini Split w/ 4 Indoor Units","N/A","N/A","N/A",2]
["WESTOVER LIBRARY"]
["1644 N. MCKINLEY STREET"]
["NO.","QTY ","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"PARALLEL VAV","TRANE, VPEF ","N/A","Children's Reading Room",1]
[{"$f":"A616+1","v":2},1,"PARALLEL VAV","TRANE, VPEF","N/A","Children's Reading Room",1]
[{"$f":"A617+1","v":3},1,"PARALLEL VAV","TRANE, VPEF ","N/A","Group Study",1]
[4,1,"PARALLEL VAV","TRANE, VPEF ","N/A","Lobby Corridor",1]
[5,1,"PARALLEL VAV","TRANE, VPEF ","N/A","Lobby Corridor",1]
[6,1,"PARALLEL VAV","TRANE, VPEF","N/A","Reading Room",1]
[7,1,"PARALLEL VAV","TRANE, VPEF","N/A","Reading Room",1]
[8,1,"PARALLEL VAV","TRANE, VPEF","N/A","Reading Room",1]
[9,1,"PARALLEL VAV","TRANE, VPEF","N/A","Technology",1]
[10,1,"PARALLEL VAV","TRANE, VPEF","N/A","Library",1]
[11,1,"PARALLEL VAV","TRANE, VPEF","N/A","Library",1]
[12,1,"PARALLEL VAV","TRANE, VPEF ","N/A","Staff Lounge",1]
[13,1,"PARALLEL VAV","TRANE, VPEF ","N/A","Staff Lounge",1]
[14,1,"PARALLEL VAV","TRANE, VPEf'","N/A","Mgt Room",1]
[15,1,"PARALLEL VAV","TRANE, VPEF ","N/A","Staff Lounge",1]
[16,1,"Ductless Split ","MITSUBISHI, PKA-A18 NHA ","N/A","Network Room",3]
[17,1,"Air Cooled Condenser  MITSUBISHI, PUY-Al8 NHA","MITSUBISHI/ PUY-A18 NHA ","A18HAZ","ROOF/SERVES THE NETWORK TELEPHONE ROOM",4]
[18,1,"Exhaust Fan # 11","PENN BARRYI     GC-720 Zl2S ","N/A","Mechanical Room, EF-11",1]
[19,1,"Exhaust Fan # 2","PENN BARRY, SX100BC","A09L274351","Mechanical/Bathroom, EF-2",1]
[20,1,"Exhaust Fan # 1","PENN ZYPHER, 71902904 ","N/A ","Electrical Room, EF-01",1]
[21,1,"Exhaust Fan ","PENN BARRY, FX14B ","A09L266881","Roof, EF-8",1]
[22,1,"Exhaust Fan # 9","PENN BARRY, FX08B ","A09L266877","Roof, EF-9",1]
["WOODMONT CENTER"]
["2422 NORTH FILMORE STREET"]
["NO. ","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Mini Split Systems","Carrier 40QHW","2500Y401140","Basement",3]
[{"$f":"A641+1","v":2},1,"Roof Top Unit","CARRIER, 48PGNC14BD150-QQ","1910G40026","Roof/ serves the gym",4]
[{"$f":"A642+1","v":3},1,"AHU # 1","CARRIER, FE4ANB006",13184914,"Ground floor/voters area",4]
[4,1,"AHU # 2","CARRIER, FE4ANB006","1310A84910","Ground floor/voters area",4]
[5,1,"AHU # 3","CARRIER, FE4ANB006","1310A84911","Ground floor/library",4]
[6,1,"AHU # 4","CARRIER, FE4AN003","5009A68750","Ground floor/library",4]
[7,1,"AHU # 5","CARRIER, FE4ANF002",1710486844,"1st floor staff lounge",4]
[8,1,"AHU # 6","CARRIER, FE4ANF003","5009A68713","1st floor conference room",4]
[9,1,"AHU # 7","CARRIER, FE4NF003","5009A68749","1st floor office",4]
[10,1,"AHU # 8","CARRIER, FE4ANF05","1310A88319","1st floor library space",4]
[11,1,"AHU # 9","CARRIER, FE4ANF002","1710A86847","1st floor library space",4]
[12,1,"AHU # 10","CARRIER, FE4ANF003","5009A68711","1st floor training room 2",4]
[13,1,"AHU # 11","CARRIER, FE4ANF003","5009A68714","1st floor training room 2",4]
[14,1,"AHU # 12","CARRIER, FE4ANF003","5009A8717","Second floor",4]
[15,1,"AHU # 13","CARRIER, FE4NB006","1310A84909","1st floor training room 1",4]
[16,1,"AHU # 14","CARRIER, FE4NB006","1310A84904","1st floor training room 1",4]
[17,1,"AHU # 15","CARRIER, FE4NF003","5009A68756","1st floor multipurpose room",4]
[18,1,"AHU # 16","CARRIER, FE4AF003","5009A68756","1st floor multipurpose room",4]
[19,1,"Heat Pump # 1","CARRIER, 25HNA960A330","101E12786","Ground floor behind the building",3]
[20,1,"Heat Pump # 2","CARRIER, 25HNA960A0033030","1010E12777","Ground floor behind the building",3]
[21,1,"Heat Pump # 3","CARRIER, 25HNA960A0033030","1010E12780","Ground floor behind the building",3]
[22,1,"Heat Pump # 4","CARRIER, 25HNA936A0032030","1710E25724","Ground floor under the steps",3]
[23,1,"Heat Pump # 5","CARRIER, 25HNA924A0032030","1710E16921","Ground floor under the steps",3]
[24,1,"Heat Pump # 6","CARRIER, 25HNA936A0032030","1710E25723","Ground floor under the steps",3]
[25,1,"Heat Pump # 7","CARRIER, 25HNA948A0032030","1710E25726","Ground floor under the steps",3]
[26,1,"Heat Pump # 8","CARRIER, 25HNA948A0032030","1710E24081","Ground floor behind the building",3]
[27,1,"Heat Pump # 9","CARRIER, 25HNA924A0032030","1710E16927","Ground floor behind the building",3]
[28,1,"Heat Pump # 10","CARRIER, 25HNA936A0032030","1710E25719","Ground floor behind the building",3]
[29,1,"Heat Pump # 11","CARRIER, 25HNA936A0032030","1710E25728","Ground floor behind the building",3]
[30,1,"Heat Pump # 12","CARRIER, 25HNA936A0032030","1710E25720","Roof",3]
[31,1,"Heat Pump # 13","CARRIER, 25HN960A0330","1010E12774","First floor outside",3]
[32,1,"Heat Pump # 14","CARRIER, 25HN960A0330","1010E12779","First floor outside",3]
[33,1,"Heat Pump # 15","CARRIER, 25HNA936A320","1710E25721","First floor outside",3]
[34,1,"Heat Pump # 16","CARRIER, 25HNA936A320","1710E25725","First floor outside",3]
[35,1,"Mini-split","SAMSUNG","N/A","1.5 Tons",3]
[36,1,"Mini-split","SAMSUNG","N/A","1.5 Tons",3]
[37,1,"Hot Water Heater","N/A","N/A","N/A",1]