{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["EXHIBIT B"],"read":"whole","date_system":"1900"}

{"sheet":"EXHIBIT B","index":0,"n_rows":773,"n_cols":7,"rows_kept":773,"merged":[[0,0,2,6],[3,0,3,6],[4,0,4,6],[110,0,110,6],[111,0,111,6],[113,2,114,2],[113,5,114,5],[115,2,116,2],[115,5,116,5],[120,1,121,1],[120,2,121,2],[120,3,121,3],[120,4,121,4],[122,0,123,0],[122,1,123,1],[122,2,123,2],[122,3,123,3],[122,4,123,4],[125,0,125,6],[126,0,126,6],[139,0,139,6],[140,0,140,6],[158,0,158,6],[159,0,159,6],[174,0,174,6],[175,0,175,6],[180,0,180,6],[181,0,181,6],[197,0,197,6],[198,0,198,6],[238,0,238,6],[239,0,239,6],[291,0,291,6],[292,0,292,6],[306,0,306,6],[307,0,307,6],[356,0,356,6],[357,0,357,6],[361,0,361,6],[362,0,362,6],[384,0,384,6],[385,0,385,6],[413,0,413,6],[414,0,414,6],[423,0,423,6],[424,0,424,6],[450,0,450,6],[451,0,451,6],[477,0,477,6],[478,0,478,6],[497,0,497,6],[498,0,498,6],[584,0,584,6],[585,0,585,6],[620,0,620,6],[621,0,621,6],[624,0,624,6],[625,0,625,6],[645,0,645,6],[706,0,706,6],[707,0,707,6],[710,0,710,6],[711,0,711,6],[719,0,719,6],[720,0,720,6],[724,0,724,6],[726,0,727,0],[726,1,727,1],[726,2,727,2],[726,5,727,5],[732,0,733,0],[732,1,733,1],[732,2,733,2],[732,5,733,5],[744,0,744,6],[745,0,745,6],[757,0,757,6],[758,0,758,6],[761,0,762,0],[761,1,762,1],[761,2,762,2],[761,5,762,5],[761,6,762,6],[766,0,766,6],[767,0,767,6]]}
["ATTACHMENT B- South Of Route 50 Facilities HVAC Equipment list"]
[]
[]
["ARLINGTON MILLS"]
["909 S. DINWIDDIE STREET"]
["NO.","QTY","EQUIPMENT TYPE","MODEL","SERIAL NO.","LOCATION/REMARKS","# OF INSPECTIONS"]
[null,null,"Heaters"]
[1,1,"J-1","UHSB0841TAA","F12G3385B","RM G07 (G2 Level)",1]
[{"$f":"A8+1","v":2},1,"J-2","UHSB0841TAA","No Access","RM G07 (G2 Level)",1]
[3,1,"J-3","UHSB0841TAA","F12G33590","RM G07 (G2 Level)",1]
[4,1,"J-4","UHSB0841TAA","F12G33587","RM G03 (G2 Level)",1]
[5,1,"J-5","UHSB0841TAA","F12G33589","RM G03 (G2 Level)",1]
[6,1,"J-6","UHSB0841TAA","F12G33591","RM G06 (G2 Level)",1]
[7,1,"J-7","MUH0571","N/A","Storage Room (G2 Level)",1]
[8,1,"J-8","MUH0571","N/A","Storage Room (G2 Level)",1]
[9,1,"J-9","MUH0571","N/A","Storage Room (G2 Level)",1]
[10,1,"J-10","MUH0571","N/A","Storage Room (G2 Level)",1]
[11,1,"J-11","MUH0571","N/A","Storage Room (G2 Level)",1]
[12,1,"J-12","MUH0571","N/A","Storage Room (G2 Level)",1]
[13,1,"J-13","MUH0571","N/A","Storage Room (G2 Level)",1]
[14,1,"J-14","MUH0571","N/A","Storage Room (G2 Level)",1]
[null,null,"VAV Boxes"]
[15,15,"PIU","Trane/VPW/VPWF","Typical","5th floor",2]
[16,12,"PIU","Trane/VPW/VPWF","Typical","4th floor",2]
[17,14,"PIU","Trane/VPW/VPWF","Typical","3rd floor",2]
[18,10,"PIU","Trane/VPW/VPWF","Typical","2nd floor",2]
[null,null,"Boilers"]
[19,1,"B-1","PHW-2000",2951,"Penthouse",1]
[20,1,"B-2","PHW-2000",2785,"Penthouse",1]
[null,null,"Water to Water Heat Exchanger"]
[21,1,"HEX-1","NT100TBYF-150","ENA120/50218",null,1]
[null,null,"Exhaust Fans"]
[22,1,"GEF-APL","No Access","No Access","PL Garage",2]
[23,1,"GEF-B1PL","No Access","No Access","PL Garage",2]
[24,1,"GEF-B2PL","No Access","No Access","PL Garage",2]
[25,1,"GSF-C","54XLWHS","143SE22629-02","G2 Garage",2]
[26,1,"GEF-C","No Access","No Access","G2 Garage",2]
[27,1,"GEF-A","No Access","No Access","G2 Garage",2]
[28,1,"GEF-B1","No Access","No Access","G2 Garage",2]
[29,1,"GEF-B2","No Access","No Access","G2 Garage",2]
[30,1,"GSF-D","300XLWS30XL","143SE22629-02","G2 Garage",2]
[31,1,"GSF-B1","480XLWHS","143SE22629-02","G2 Garage",2]
[32,1,"GSF-B2","GSF480XLW","143SE22629-02","G2 Garage",2]
[33,1,"GSF-A","240XLWS","143SE22629-S","G2 Garage",2]
[34,1,"EF-1","200XLP 20XLP","143SE22629-02","Loading Dock Elec. Rm",1]
[35,1,"EF-2","120SW 12S15D","143SE22629-02","Loading Dock Elec. Rm",1]
[36,1,"EF-3","210S0N","143SE22629-01","Loading Dock",1]
[37,1,"EF-4","120SW 12S15D","143SE22629-01","Rm G13 (G2 Garage)",1]
[38,1,"EF-5","300CPF-3000CPFB","143SE22629-02","Roof",1]
[39,1,"EF-6","No Access","No Access","Rm 144 (kitchen)",1]
[40,1,"EF-7","No Access","No Access","Rm 124",1]
[41,1,"EF-8","No Access","No Access","Rm 208",1]
[42,1,"EF-9","No Access","No Access","Rm 303",1]
[43,1,"EF-10","No Access","No Access","Rm 408",1]
[44,1,"EF-11","No Access","No Access","Rm 509",1]
[45,1,"EF-12","No Access","No Access","Rm G03",1]
[46,1,"KEF-1","165VCRH","143SE22629-01","Roof",1]
[null,null,"Air Handler Units"]
[47,1,"AHU-1","CSAA017UAC00","K12F59580","1st Floor",4]
[48,1,"AHU-2","CSAA030UCA00","K12F59559","2nd Floor",4]
[49,1,"AHU-3","CSAA025UAC00","K12F59573","3rd Floor",4]
[{"$f":"A61+1","v":50},1,"AHU-4","CSAA021UAC00","K12F59566","4th Floor",4]
[{"$f":"A62+1","v":51},1,"AHU-5","CSAA025UAC00","K12G67116","Roof",4]
[52,1,"AHU-8","BVE40-2W-4W","W120958340","P.H.",4]
[{"$f":"A64+1","v":53},1,"OAU-1","PCDH-65","09127771A","Roof",12]
[null,null,"Split Systems"]
[54,1,"CU-1","PUZA24NHA4","19U01913D","Garage 2",3]
[55,1,"CU-2","PUZA24NHA4","19U01876D","Garage 2",3]
[56,1,"CU-3","PUZA24NHA4","19U01930D","Garage 2",3]
[{"$f":"A69+1","v":57},1,"CU-4","PUZA24NHA4","19U01929D","Garage 2",3]
[58,1,"CU-5","PUZA24NHA4","19U01907D","Garage 2",3]
[59,1,"CU-6","PUY-A18NHA4","24U05833C","Roof",3]
[60,1,"CU-7","PUY-A18NHA4","25U06108C","Roof",3]
[61,1,"CU-8","PUY-A18NHA4","25U06109C","Roof",3]
[62,1,"CU-9","PUY-A18NHA4","25U06175C","Roof",3]
[63,1,"CU-10","PUY-A18NHA4","25U05834C","Roof",3]
[64,1,"AHU-11","PKA-A24KA4","21M01003","G-22",4]
[65,1,"AHU-12","PKA-A24KA4","21M01007","G-04",4]
[66,1,"AHU-13","PKA-A24KA4","21M01006","G-05",4]
[67,1,"AHU-14","PLA-A24BA4","12A01858B","G2 Lobby",4]
[68,1,"AHU-15","PKA-A24KA4","23M01309","G-12",4]
[69,1,"AHU-16","PKA-A18HA4","26A06446C","RM 118",4]
[70,1,"AHU-17","PKA-A18HA4","26A06480C","RM 207",4]
[71,1,"AHU-18","PKA-A18HA4","26A06489C","RM 302",4]
[72,1,"AHU-19","PKA-A18HA4","26A06460C","RM 405",4]
[73,1,"AHU-20","PKA-A18HA4","26A06449C","RM 506",4]
[null,null,"Fan Coil Units"]
[74,1,"FCU-1","FCDB0601LA","T12G37334","Stair A. 1st Floor",2]
[75,1,"FCU-2","FCDB0601LA","T12G37335","Stair A. 3rd Floor",2]
[{"$f":"A89+1","v":76},1,"FCU-3","FCDB0601LA","T12G37336","Stair A. 5th Floor",2]
[{"$f":"A90+1","v":77},1,"FCU-4","FCDB0601LA","T12G37333","Stair C. 5th Floor",2]
[{"$f":"A91+1","v":78},1,"FCU-5","FCDB0601LA","T12G37330","Stair C. 3rd Floor",2]
[{"$f":"A92+1","v":79},1,"FCU-6","FCDB0601LA","T12G37332","Stair C. 1st Floor",2]
[{"$f":"A93+1","v":80},1,"FCU-7","FCDB0601LA","T12G37331`","Eng. Officer G-2",2]
[null,null,"Cooling tower"]
[81,1,"CT-1","PT2-0709A-2J2","U123902202-01","Roof",2]
[null,null,"Cooling tower circulating pump"]
[82,1,"CTP-1","TC1-0100-SRV","59290-001","Roof",2]
[null,null,"Chiller water pumps"]
[83,1,"CHWP-1","01580T3E254TC",1016381876,"Penthouse",2]
[84,1,"CHWP-2","01580T3E254TC",1016381878,"Penthouse",2]
[85,1,"CHWP-3","01580T3E254TC",1016396471,"Penthouse",2]
[null,null,"Condenser water pumps"]
[86,1,"CWP-1","010180T3E215TC",1016137333,"Penthouse",2]
[87,1,"CWP-2","010180T3E215TC",1016279296,"Penthouse",2]
[88,1,"CWP-3","010180T3E215TC",1016279293,"Penthouse",2]
[null,null,"Boiler pumps"]
[89,1,"HWP-1","3X2X10 4030",711125,"Penthouse",2]
[90,1,"HWP-2","3X2X10 4030",711126,"Penthouse",2]
[91,1,"HWP-3","3X2X10 4030",711127,"Penthouse",2]
["ARLINGTON RAPID TRANSPORTATION (ART HOUSE III BUILDING)"]
["2900 S. EADS ST."]
["NO.","QTY","EQUIPMENT TYPE","MODEL/SERIAL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[null,null,"RTU-1","RN-008-8-0-EA09-329",null,"Building-Roof(8 RTUs but we only service 2",4]
[1,1,null,"(AAON)","201209-ANGH"]
[null,null,"RTU-2","RN-011-8-0-EB0A-3F9",null,"Building-Roof(8 RTUs but we only service 2",4]
[2,1,null,"(AAON)","201209-ANGZ24H"]
[3,1,"EF-1","BROAN - N/A","N/A","Building",1]
[4,1,"EF-2","BROAN - N/A","N/A","Building",1]
[5,1,"EF-3","BROAN - N/A","N/A","Building",1]
[null,1,"UH-1","TP1 - N/A","N/A"]
[6,{"$nulls":4},"Main Entrance",1]
[7,10,"VAV Boxes","Titus","896392-"]
[{"$nulls":5},"101 area & Dispatch",2]
[8,1,"Water Heater","N/A","N/A","N/A",1]
["ART LIGHT MAINTENANCE BUILIDNG"]
["3201 S. EADS ST."]
["NO.","QTY","EQUIPMENT TYPE","MODEL","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"RTU-1","YHC036E4RXA1RDOB1A1","162610001L","ROOF",4]
[{"$f":"A129+1","v":2},1,"MAU-1","A2-D.500-G15",23039010,"ROOF",12]
[{"$f":"A130+1","v":3},1,"MAU-2","A2-D.500-G15",23039010,"ROOF",12]
[4,2,"B-1 & B-2","LOCHINVAR LWHN110","N/A","1ST FLOOR",1]
[5,5,"FIN TUBE RADIATORS","JVB-S","N/A","2ND FLOOR",1]
[6,1,"MINI-SPLIT AC-1/CU-1","4MYW6509A10N0BA","14040178X","1TCLOSET/2ND FLOOR",3]
[7,4,"Unit heater","UHSBA181TAA100A0000","N/A","1ST FLOOR",1]
[8,1,"CONVECTOR HEATER CV-1","FS-A-20","N/A","STAIRWELL 106",1]
[9,1,"CUH-1","N/A","T17F27819","ELEVATOR VESTIBULE",1]
[10,4,"EXHAUSF FAN","P12RA","N/A",110,3]
[11,4,"EXHAUSF FAN","A46-166DA-ALFCEC","N/A",109,3]
["AURORA HILLS AND FIRE LOGISTICS"]
["735 S. 18TH STREET"]
["No.","QTY","EQUIPMENT TYPE","MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Cooling tower # 1","BAC/NXF-0403N- CS2TS-H1","N/A","Roof 208-230v, 3ph",2]
[{"$f":"A143+1","v":2},1,"Dual Pump Package","Vertiv/D2Y","N/A","Roof/DGPP",2]
[3,2,"Pump 1 and 1A","Grundfoss/TP 50-80/2 A","N/A","Boiler room",2]
[4,1,"Pump 2","Grundfoss/TP 32-80/2 A","N/A","Boiler room",2]
[5,1,"Pump 3","Grundfoss/TP 40-80/2 A","N/A","Boiler room",2]
[6,1,"Exhaust Fans","Greenheck G-95-D-X","97K13625","Roof - 115v., 1ph., 3.2a",1]
[7,1,"Exhaust Fans","Greenheck G-60-D-X","97K13546","Roof - 115v., 1ph., 1s",1]
[8,1,"Exhaust Fans","BDCR 20 FloAire","N/A","Roof - 115v., 1ph., 13a",1]
[9,1,"Exhaust Fans","BDCR 20 FloAire","N/A","Roof - 115v., 1ph., 13a",1]
[10,1,"Exhaust Fans","n/a 20 FloAire","N/A","Roof",1]
[11,4,"Unit Heater","Trane/UHPB2521T","N/A","VUH1-through VUH4",1]
[12,8,"WSHP-1 through WSHP-8","TRANE/GECE01211-0","N/A","N/A",4]
[13,1,"WSHP-9","TRANE/EXHF0091","N/A","N/A",4]
[14,1,"WSHP-10\nthrough WSHP- 12","TRANE/EXHF0301","N/A","N/A",4]
[15,1,"BOILER","VIESSMANN/Vitodens 200-W B2HA-112","N/A","Boiler room",1]
[{"$f":"A157+1","v":16},1,"Hot Water Heater","N/A","N/A","N/A",1]
["BARCROFT SPORTS COMPLEX"]
["4200 S. FOUR MILE RUN DRIVE"]
["NO.","QTY","EQUIPMENT TYPE","MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,null,"Power Roof Ventilator","Greenheck/G-60-D-X","TYPICAL","Roof",2]
[2,1,"Daikin RTU","MPS040FG","FB0U170201195","Roof/serves GYM ROOM 120 \n*Pre-filters two changes per month and unit filters one time per month","12 Insp - Change filters on 15th of every month"]
[3,1,"Daikin RTU","MPS040FG","FB0U170201196","Roof/GYM ROOM 119\n*Pre-filters two changes per month and unit filters one time per month","12 Insp - Change filters on 15th of every month"]
[4,1,"Daikin RTU","DPS012AHM","FB0U170500068","Lower Roof/ serves Boxing area",4]
[5,1,"Daikin Split System Outdoor Unit","RZR24PVJU","A003250","1st floor IT room",4]
[6,1,"Daikin Condenser","Daikin","*","lower roof Outside",4]
[7,1,"Daikin AHU","Daikin","FB0U170401016","1st floor serves aerobics and weight rooms",4]
[8,1,"Exhaust Fan","DX13VSR","*","Roof",1]
[9,1,"Exhaust Fan","BX30B","*","Roof",1]
[10,1,"Exhaust Fan","DX12B","*","Roof",1]
[11,1,"Exhaust Fan","DX11B","*","Roof",1]
[12,1,"Exhaust Fan","DX11B","*","Roof",1]
[13,16,"VAV","PRICE/FDCLP2-20","*","OFFICES",1]
["CARLYN HALL"]
["5711 S. 4TH STREET"]
["NO. ","QTY","EQUIPMENT","MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Boiler Triangle","Prestige Excellence","PS54659","Basement",1]
[2,1,"Condensing Carrier","24ANB136A300","1912E32417","N/A",4]
[4,1,"Air Handling Unit","Carrier, FE4ANB006","1812A89953","N/A",4]
["DPW GARAGE BAY"]
["4251 S. 28TH STREET"]
["NO.","QTY.","EQUIPMENT TYPE","MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[null,null,"Radiant Heaters"]
[{"$f":"A184+1","v":1},1,"UH-1","FS60 NED",10001862,"Fosterix / Bay 1",1]
[{"$f":"A185+1","v":2},1,"UH-2","FS100 NED",10002067,"Fosterix / Bay 1",1]
[3,1,"UH-3","FS60 NED",10001864,"Fosterix / Bay 1",1]
[4,1,"UH-4","FS60 NED",10001863,"Fosterix / Bay 1",1]
[5,1,"UH-5","5VD63","03101000008B","Dayton / Bay 2",1]
[6,1,"UH-6","5VD63","060920-000013A","American Infrared / Bay 3",1]
[null,null,"Space heaters (fan powered)"]
[7,1,"UH-7","PA130 A",5011011080,"Modine / Bay 6",1]
[8,1,"UH-8","F200-E","BFK6603N33188X","Reznor / Bay 6",1]
[9,1,"UH-9","N/A","N/A","Reznor / Bay 8",1]
[10,1,"UH-10","F125-E","BFL66M4N35837X","Reznor / Bay 7",1]
[11,1,"UH-11","CF-60","C8530248","Sterling / Bay 7",1]
[12,1,"EXHAUST FAN EF-1","SVF-10EXP",1278,"Basement",1]
["EQUIPMENT DIVISON"]
["2701 S. TAYLOR STREET"]
["NO.","QTY","EQUIPMENT TYPE","MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Heater","Reznor ","N/A",null,1]
[2,1,"Exhaust Fan","Belt","N/A","Roof Mounted",6]
[3,1,"Exhaust Fan-1","120v        D.D","N/A","Roof Mounted",6]
[4,1,"Exhaust Fan-2","480v 165BRE 8F ","N/A","Roof Mounted",6]
[5,1,"Exhaust Fan-3","120v 200BRE 8D AX-24","N/A","Roof Mounted",6]
[6,1,"Exhaust Fan-4","120v 122DRE 8B AX-20","N/A","Roof Mounted",6]
[7,1,"Exhaust Fan-5","120v       AX-30","N/A","Roof Mounted",6]
[8,1,"Exhaust Fan-6","480v 365BRE 8K AX-44","N/A","Roof Mounted",6]
[9,1,"Exhaust Fan-7","120v 524BAE 8F AX-30","N/A","Roof Mounted",6]
[10,1,"Exhaust Fan-8","120v 524BAE 8F AX-29","N/A","Roof Mounted",6]
[11,1,"Exhaust Fan-9","120v 200BRE 8D AX-24","N/A","Roof Mounted",6]
[12,1,"Exhaust Fan-10","120v 524BAE 8F AX-30","N/A","Roof Mounted",6]
[13,1,"Exhaust Fan-11","120v ","N/A","Roof Mounted",6]
[14,1,"Exhaust Fan-12","480v 445BRE 8Q 2-AX-44","N/A","Roof Mounted",6]
[15,1,"Exhaust Fan-13","480v      2-AX-47","N/A","Roof Mounted",6]
[16,2,"Fan Power Line","M/N 245DIC 811","N/A","585 RPM, 2400 CFM, 3/4 Hp, 460 V",6]
[17,8,"Radiant Heater","Robert Fordon Econo Ray","N/A","N/A",1]
[18,1,"Energy Recovery Unit-Annex Air","ERP-E-04-FP-HG-TB","S/N 2267-02-0914","N/A",12]
[19,1,"Energy Recovery Units-Annex Air","ERP-E-04-FP-HG-TB","S/N 2267-03-0914","N/A",12]
[20,1,"Energy Recovery Units","ERP-3-12-FP-HG-TB","S/N 2267-04-0914","N/A",12]
[21,1,"Roof Top Unit - Annex Air","ERP-E-02-FP-C-HR-AM12-TD","S/N 2267-01-0714","N/A",12]
[null,null,"CASSETTES"]
[22,1,"VRV002","DAIKIN","N/A","MAIN LOBBY",4]
[23,1,"VRV003","DAIKIN","N/A","MAIN LOBBY",4]
[24,1,"VRV004","DAIKIN","N/A","ROOM 122, 122A",4]
[25,1,"VRV005","DAIKIN","N/A","ROOM 109A",4]
[26,1,"VRV006","DAIKIN","N/A","ROOM 115 LUNCH ROOM",4]
[27,1,"VRV007","DAIKIN","N/A","ROOM 118 LOCKER ROOM",4]
[28,1,"VRV008","DAIKIN","N/A","ROOM  201 OPEN AREA",4]
[29,1,"VRV009","DAIKIN","N/A","ROOM 201 OPEN AREA",4]
[30,1,"VRV010","DAIKIN","N/A","ROOM 203, 204",4]
[31,1,"VRV011","DAIKIN","N/A","ROOM 205, 207, 208",4]
[32,1,"VRV012","DAIKIN","N/A","ROOM 210 and 112",4]
[33,1,"VRV013","DAIKIN","N/A","ROOM 215",4]
[34,1,"VRV014","DAIKIN","N/A","ROOM 215",4]
[35,1,"VRV015","DAIKIN","N/A","ROOM 217",4]
[36,1,"VRV016","DAIKIN","N/A","2nd FLOOR KITCHEN",4]
[37,1,"VRV017","DAIKIN","N/A","ROOM 105",4]
["FAIRLINGTON COMMUNITY CENTER"]
["3308 S. STAFFORD STREET"]
["NO.","QTY","UNIT","MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Splits - X01","PKA-A18 GA","63A02076B","Rm. 126A",3]
[{"$f":"A242+1","v":2},1,"Splits - MA2","PUY-A18 NHA","74U90127C","Center ROOF, R-410A",3]
[{"$f":"A243+1","v":3},1,"VAV X03","Gemini",700,"Store rm. 106",1]
[4,1,"VAV X04","Gemini",800,"Corridor o/s rm.107",1]
[5,1,"VAV X05","Gemini",140,"Corridor o/s rm.116A",1]
[6,1,"VAV X06","Gemini",800,"Corridor o/s rm.132",1]
[7,1,"VAV X07","Gemini",700,"Store rm. 129A",1]
[8,1,"VAV X08","Gemini",500,"Rm. 141",1]
[9,1,"VAV X09","Gemini","N/A","Rm. 143",1]
[10,1,"VAV X10","N/A","N/A","Ceiling, Store rm. 145",1]
[11,1,"VAV X11","165 VCRH 165VH6B","00/0003601","Roof",1]
[12,1,"VAV X12","245 SON 245SON-B","00/0001901","Attic",1]
[13,1,"VAV X13","245 SON 245SON-B","00/0001902","Attic",1]
[14,1,"VAV X14","245 SON 245SON-B","00/0001903","Attic",1]
[15,1,"VAV X15","Gemini",500,"Store rm. 127A",1]
[16,1,"VAV X16","Gemini",700,"Rm. 127",1]
[17,1,"VAV X17","Gemini",700,"Rm. 140, fitness ",1]
[18,1,"VAV X18","Gemini",700,"Gym, 14' 8\" to ceiling",1]
[19,1,"VAV X19","Gemini",700,"Sprinkler Rm., next to Boiler rm.",1]
[20,1,"VAV X42","Gemini",700,"Boiler rm.",1]
[21,1,"VAV X43","150 VCRH 150VH5B","143S994282","O/S Rear Wall of Kitchen",1]
[22,1,"VAV X44","N/A","N/A","Ceiling, RM. 143",1]
[23,1,"VAV X45","N/A","N/A","Ceiling, RM. 143",1]
[24,1,"J01 Boiler","PNB 0501-M13","G07H00199480","input 500,000 BTUH, Filter 12x16x1",1]
[25,1,"JO2 Boiler","PNB 0501-M13","G07H00199479","input 500,000 BTUH, Filter 12x16x1",1]
[26,1,"T01 Pumps","1510 BF 8.25 2BC","C045927-01 G70","208-230v., 20.6-19.8a.,1760rpm",2]
[27,1,"T02 Pumps","1510 BF 8.25 2BC","C045927-02 G70",null,2]
[28,1,"X02 Expansion Tank","D269V",168339,"Nat'l Brd. #168339, yr. 2007",1]
[29,1,"X20 Fan Coil","FFBB0301KAAA","T07E40679","Console, L.L. Entrance",2]
[30,1,"X21 Fan Coil","FFBB0301KAAA","T07E40678","Console, Storage rm. 118C",2]
[31,1," X22 Fan Coil","FFBB0301KAAA","T07E40685","Console, Storage rm. 118D",2]
[32,1,"X23 Fan Coil","FFBB0301KAAA","T07E40682","Console, Vestibule 130A",2]
[33,1," X24 Fan Coil","FFBB0301KAAA","T07E40686","Console, Restroom, Kitchen",2]
[34,1,"X25 Fan Coil","FFBB0301KAAA","T07E40681","Console,Mech. Rm. 143",2]
[35,1,"X26 Fan Coil","FFHB0301KAAA","T07E40683","In-wall, Vestibule 115A",2]
[36,1,"X27 Heater","UHSB0361TAA","F07J39642","Boiler rm.",1]
[37,1," X28 Heater","UHSB0361TAA","F07J39643","Mezzanine Mech. Rm.",1]
[38,1,"X29 Heater ","Radiator","N/A","#1 Stairwell",1]
[39,1,"X30 Heater","UHAAO31ATAD","None Available","O/S RESTROOM 004",1]
[40,1,"X31 Heater","UHAAO31ATAD","N/A","O/S RESTROOM 005",1]
[41,1," X32 Heater","UHAAO31ATAD","N/A","Office #107A",1]
[42,1,"X33 Heater","UHAAO31ATAD","N/A","Office #107B",1]
[43,1,"X34 Heater","UHAAO31ATAD","N/A","Office #112",1]
[44,1," X35 Heater","UHAAO31ATAD","N/A","Office #113",1]
[45,1,"X36 Heater","UHAAO31ATAD","N/A","Office #114",1]
[46,1,"X37 Heater","UHAAO31ATAD","N/A","Office #122",1]
[47,1,"X38 Heater","UHAAO31ATAD","N/A","Office #123",1]
[48,1," X39 Heater","UHAAO31ATAD","N/A","Office #141",1]
[49,1," X40 Heater","UHAAO31ATAD","N/A","Office #144",1]
[50,1,"X41 Heater","UHAAO31ATAD","N/A","Office #145",1]
["FIRE STATION #1"]
["500 S. GLEBE ROAD"]
["NO.","QTY","EQUIPMENT TYPE","MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"AC-1","VR5-12","R15-80409","Storage Room",4]
[2,1,"EF-1","G-150-BX-OD","98I09779","Roof",1]
[3,1,"EF-3","4HZ29","N/A","Roof",1]
[4,1,"EF-4","G-120-AX-OD","98J01478","Roof",1]
[5,1,"EF-5","DB1210","N/A","Roof",1]
[6,1,"EF-6","D1210","N/A","Roof",1]
[7,1,"EF-7","RED08","N/A","Roof",1]
[8,1,"EF-8","DB1809","N/A","Roof",1]
[9,1,"BH-1","FTH/FUTG0N",30003544,"Bay/Winter Only",1]
[10,1,"BH-2","FTH/FUTG0N",30003545,"Bay/Winter Only",1]
[11,1,"BH-3","FTH/FUTG0N",30003546,"Bay/Winter Only",1]
[12,1,"BH-4","FTH/FUTG0N",30003543,"Bay/Winter Only",1]
["FIRE STATION #5"]
["1750 S Hayes Street"]
["No. ","Qty.","EQUIPMENT TYPE","MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"RTU-1","48HGD016CC-5H5F",5004200064,"Roof",4]
[{"$f":"A310+1","v":2},1,"RTU-2",59016,"2005-A MGD14808","Roof",4]
[{"$f":"A311+1","v":3},1,"RTU-3","48HJDOO5G0551","4704G40376","Roof",4]
[4,1,"RTU-4","HFP225TMRHN4002","1015104-3217","Roof",4]
[null,null,"Electric fans "]
[5,1,"EF-3","Modine/13E800AMPC","38100917090613-P106","Sprinkler Room",1]
[6,1,"EF-4","FSBT6D","40955-Z","Roof",1]
[7,1,"EF-5","100 CPS 100 CPS","14357955500 20002901","Roof",1]
[8,1,"EF-6","60 CPF CP6D17","143579553007 004301","Roof",1]
[9,1,"EF-8","100 CPF 100 CPFB","143579555002 0005401","Roof",1]
[10,1,"EF-10","100 CPF CP10D08","1435795550-02","Roof",1]
[11,1,"EF-11","90CPF CP9D11","14357955500-20001809","Roof",1]
[12,1,"EF-12","180 ACE 180C7B","1435795550-01","Roof",1]
[13,1,"EF-13","180 ACE 180C7B","1435795550-01","Roof",1]
[null,null,"Unit Heaters"]
[15,1,"UH-1","CO306","38212105-6343",null,1]
[16,1,"UH-2","CW98","N/A","N/A",1]
[17,1,"UH #1/X-17","MUH0581","N/A","Bay",1]
[null,null,"Unit"]
[18,1,"Boiler #1","GT215A",124,"Mech. Room",1]
[19,1,"Boiler #2","GT215A",125,"Mech. Room",1]
[20,1,"P-1","PL-30B","1BL013","Mech. Room",2]
[21,1,"P-2","BGC48517D67","N/A","Mech. Room",2]
[22,1,"P-3","GTV-TT","N/A","Mech. Room",2]
[23,1,"P-4","GTV-TT","N/A","Mech. Room",2]
[24,1,"P-5","GTV-TT","N/A","Mech. Room",2]
[null,null,"Unit"]
[30,1,"AHU-1","FA4BNF024","4304A81896","Second Floor Hallway",4]
[{"$f":"A337+1","v":31},1,"AHU-2","FA4BNF024","4304A81857","Second Floor Hallway",4]
[{"$f":"A338+1","v":32},1,"AHU-3","FA4BNF036","4304A75166","Second Floor Hallway",4]
[33,1,"AHU-4","FA4BNF036","4304A75170","Second Floor Hallway",4]
[34,1,"AHU-5","FA4BNF024","4304A81890","Second Floor Hallway",4]
[35,1,"AHU-6","FA4BNF024","4304A81897","Second Floor Hallway",4]
[null,null,"Condenser Units"]
[36,1,"CU-1","38CK024340","1304E42936","Roof",4]
[{"$f":"A344+1","v":37},1,"CU-2","38CK024340","1304E42930","Roof",4]
[{"$f":"A345+1","v":38},1,"CU-3","38CK5036300","4404E40397","Roof",4]
[39,1,"CU-4","38CK5036300","4404E40394","Roof",4]
[40,1,"CU-5","38CK024340","1304E42940","Roof",4]
[41,1,"CU-6","38CK024340","1304E42938","Roof",4]
[null,null,"Unit"]
[42,1,"EUH #1","WH4404","N/A","Sprinkler Room",1]
[43,1,"EUH #3","WH4404","N/A",null,1]
[null,null,"Radiant heaterUnit"]
[44,1,"RH #1/X-14","ET(US) 150N5",272335,"Bay",1]
[45,1,"RH #2/X-15","ET(US) 160N5",272333,"Bay",1]
[46,1,"RH #3/X-16","ET(US) 160N5",272336,"Bay",1]
["FIRE STATION #7"]
["3116 S. ABINGDON ST."]
["No.","Qty.","EQUIPMENT TYPE","MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[{"$nulls":3},"TBD"]
[]
["FIRE STATION #9"]
["1900 WALTER REED DRIVE"]
["No.","QTY.","EQUIPMENT TYPE","MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[null,null,"EXHAUST FANS"]
[1,1,"Carnes ","M/N VEBK08L1A1UA20SPC","S/N 497804001","Roof",1]
[{"$f":"A366+1","v":2},1,"Carnes","VEBK08L1A1UA20SPC","S/N 497804003","N/A",1]
[3,1,"Carnes","VEBK08L1A1UA20SPC","S/N 497804002","N/A",1]
[4,1,"Kitchen Exhaust","VUBK08L12R1B1UA20S_CX","S/N 497804-004","N/A",1]
[{"$f":"A369+1","v":5},1,"Exhaust Fan","N/A","N/A","N/A"]
[null,null,"CONDENSING UNITS"]
[6,1," Trane","4TTZ0060A1000","13171NUS1F","Outdoor\nInspection Months: 3, 5, 7, 9",4]
[7,1,"Trane","4TTZ0060A1000","13164J1G1F","Outdoor\nInspection Months: 3, 5, 7, 9",4]
[8,1,"Trane","4TTZ0060A1000","1313157C1F","Outdoor\nInspection Months: 3, 5, 7, 9",4]
[9,1,"Trane","4TTZ0060A1000","12252PCJ1F","Outdoor\nInspection Months: 3, 5, 7, 9",4]
[10,1,"Trane","4TTZ0048B1000","1317355J1F","Outdoor\nInspection Months: 3, 5, 7, 9",4]
[null,null,"AIR HANDLERS"]
[11,1,"Trane","4TXCC060BC3","131921PX5G","N/A",4]
[12,1,"Trane","4TXCC060BC3","131921HD5G","N/A",4]
[13,1,"Trane","4TXCC060BC3H","131915W15G","N/A",4]
[14,1,"Trane","4TXCC060BC3H","131921GT5G","N/A",4]
[15,1,"Trane","4TXCC008CC","13155H5K5G","N/A",4]
[16,1,"UNIT HEATER","REZNOR/RPB300-8-2","BMG94X3N31786X","Gas-fired, serves Engine Bay",1]
[17,5,"5 dehumidifiers",null,null,"Mechanical room\nInspection Month: Before april 15",1]
["FIRE TRAINING CENTER"]
["2800 S. TAYLOR STREET"]
["No.","Qty.","EQUIPMENT TYPE","MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"HP1","Trane/4TWZ0024A1000","92533GH1F","Outdoor\nInspection Months: 3, 5, 7, 9",3]
[{"$f":"A388+1","v":2},1,"HP2","Trane/4TWZ0024A1000","10095WG11F","Outdoor\nInspection Months: 3, 5, 7, 9",3]
[{"$f":"A389+1","v":3},1,"HP3","Trane/4TWZ0024A1000","92533H71F","Outdoor\nInspection Months: 3, 5, 7, 9",3]
[4,1,"HP4","Trane/4TWZ0024A1000","1026523L1F","Outdoor\nInspection Months: 3, 5, 7, 9",3]
[5,1,"HP5","Trane/4TWZ0024A1000","10492LKY1F","Outdoor\nInspection Months: 3, 5, 7, 9",3]
[6,1,"HP6","Trane/4TWZ0024A1000","92544801F","Outdoor\nInspection Months: 3, 5, 7, 9",3]
[7,1,"HP7","Trane/4TWZ0024A1000","10095W4J1F","Outdoor\nInspection Months: 3, 5, 7, 9",3]
[8,1,"HP8","Trane/4TWZ0036A1000","92544801F","Outdoor\nInspection Months: 3, 5, 7, 9",3]
[9,1,"HP9","M. Slim/ PUZ-A18NHA4","0ZU00571A","Outdoor\nInspection Months: 3, 5, 7, 9",3]
[10,1,"HP10","Trane/4TWA3036A3000","11143MHD2F","Outdoor\nInspection Months: 3, 5, 7, 9",3]
[null,null,"Type"]
[11,"AH 1","AH 1","Trane/4TEE3C03A1000","10286M931V","N/A",4]
[{"$f":"A399+1","v":12},"AH 2","AH 2","Trane/4TEE3C03A1000","10286M921V","N/A",4]
[{"$f":"A400+1","v":13},"AH 3","AH 3","Trane/4TEE3C03A1000","10274KW61V","N/A",4]
[14,"AH 4","AH 4","Trane/4TEE3C03A1000","10253STT1V","N/A",4]
[15,"AH 5","AH 5","Trane/4TEE3C03A1000","10253STS1V","N/A",4]
[16,"AH 6","AH 6","Trane/4TEE3C03A1000","10253STN1V","N/A",4]
[17,"AH 7","AH 7","Trane/4TEE3C03A1000","104220N71V","N/A",4]
[18,"AH 8","AH 8","Trane/4TEE3C03A1000","10253STM1V","N/A",4]
[19,"AH 9","AH 9","Trane/4TEE3C03A1000","02A01077A","N/A",4]
[20,"AH 10","AH 10","Trane/4TEE3C03A1000","11133T8K1V","N/A",4]
[null,null,"Type"]
[21,1,"Heat recovery Unit","ALDIS/E110RI","E1100-RI190301","Mechanical room.",4]
[null,null,"Type"]
[22,1,"Domestic hot water heater","AO SMITH/BTH199200","1516M000406","Mechanical room",1]
[23,1,"Unit Heater","REZNOR/ UDAP-30","BRG306205238","Mechanical room",1]
["GLEN CARLYN LIBRARY"]
["300 S Kensington St"]
["No.","Qty.","UNIT","MODEL NO.","SERIAL NO.","LOCATION","INSPECTION #'S"]
[1,1,"HEAT PUMP","TRANE/ 4TWX8036C ","15185PF42F","Out door",3]
[2,1,"HEAT PUMP","TRANE/ 4TWX8060A ","15174NMM2F","Out door",3]
[3,1,"HEAT PUMP","TRANE/ 4TWX8060A ","1513472A2F","Out door",3]
[null,null,"Unit"]
[4,1,"AIR HANDLER","TRANE/TAM7AOC36","143016JJAV","Attic",4]
[5,1,"AIR HANDLER","TRANE/TAM7BOC60H51SC","14403NARAV","Attic",4]
[6,1,"AIR HANDLER","TRANE/TAM7BOC60H51SC","N/A","Attic",4]
["HEAD START BUILIDNG"]
["2920 S. GLEBE ROAD"]
["NO.","QTY","EQUIPMENT TYPE","MODEL","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"FC-1/JV-Mitsubishi Ductless Split (MXZ) Indoor Unit","SLZ-KA12NAR1.TH","N/A","N/A",3]
[{"$f":"A427+1","v":2},1,"HP-1/JV-Mitsubishi Ductless Split (MXZ) Indoor Unit","SUZ-KA12NAR1.TH","N/A","N/A",3]
[{"$f":"A428+1","v":3},1,"JV-Mitsubishi Ductless Split (MXZ) Indoor Unit","PAR-33MAA-J","N/A","N/A",3]
[4,12,"UH 1-12 Indeeco Register Wall Heater","930U01500BW-D3T1","N/A","Garage Plenum",1]
[5,1,"EF1/Greenheck Series 21 Inclined Single Width","CSW-12-BI-21-10-015","N/A","N/A",1]
[6,1,"EF-1/Greenheck Direct Drive Centrifugal Utility Fan","USDF-115-BI","N/A","N/A",1]
[null,null,"VAV Fan Powered Terminal Unit","TRANE",null,"LOW HEIGHT "]
[7,1,"VAV 2-1","LPEF 1409","N/A","Classroom 209",1]
[8,1,"VAV 2-2","LPEF 1409","N/A","Classroom 207",1]
[9,1,"VAV 2-3","LPEF 0809","N/A","Classroom 210",1]
[10,1,"VAV 2-5 ","LPEF 1409","N/A","Resource 212",1]
[11,1,"VAV 2-7","LPEF 0809","N/A","Classroom 218",1]
[12,1,"VAV 2-9 ","LPEF 1409","N/A","Classroom 221",1]
[13,1,"VAV 2-10","LPEF 1409","N/A","Classroom 223",1]
[14,1,"VAV 2-11","N/A","N/A","Corridor 200",1]
[15,1,"VAV 3-1","LPEF 1409","N/A","Classroom 309",1]
[16,1,"VAV 3-2","LPEF 1409","N/A","Classroom 307",1]
[17,1,"VAV 3-3","LPEF 0809","N/A","Classroom 310",1]
[18,1,"VAV 3-5","LPEF 0809","N/A","Teach Lounge 312",1]
[19,1,"VAV 3-6","LPEF 0809","N/A","Classroom 318",1]
[20,1,"VAV 3-8","LPEF 1409","N/A","Classroom 321",1]
[21,1,"VAV 3-9","LPEF 1409","N/A","Classroom 323",1]
[22,1,"RTU-1","Trane/50A3C025-N521FF","N/A","Roof, 25 ton",4]
[23,1,"RTU-2","Trane/50A3C025-L-521FF","N/A","Roof, 25 ton",4]
["IMPOUND LOT"]
["4250 29TH STREET"]
["No.","Qty.","UNIT","MODEL NO.","SERIAL NO.","LOCATION","INSPECTION #'S"]
[1,1,"M-1/AHU","TRANE/4TEC3F36B1000AA","73318511V","Bay 1",4]
[{"$f":"A454+1","v":2},1,"M-2/AHU","TRANE/4TEC3F36B1000AA","7332AJJ1V","Bay 2",4]
[{"$f":"A455+1","v":3},1,"M-3/AHU","TRANE/4TEC3F24B1000AA","73315UX1V","Bay 3",4]
[4,1,"M-4/AHU","TRANE/4TEC3F24B1000AA","7331N4R2V","Bay 4",4]
[5,1,"M-5/AHU","TRANE/4TEC3F24B1000AA","73315UX1V","Bay 5",4]
[6,1,"M-6/Condenser","TRANE/4TTB3036A1000AA","6342P1G1F","Bay 1",4]
[7,1,"M-7/Condenser","TRANE/4TTB3036A1000AA","7171P1263F","Bay 2",4]
[8,1,"M-8/Condenser","TRANE/4TTB3024A1000AA","7025TF01F","Bay 3",4]
[9,1,"M-9/Condenser","TRANE/4TTB3U24A1000AA","70250GW1F","Bay 4",4]
[10,1,"M-10/Condenser","TRANE/4TTB3024A1000AA","70250HX1F","Bay 5",4]
[11,1,"M-11","LP123HD3A","001KAPW02328","Office",4]
[12,1,"J-1/Heater","QVF-60S","H04312541000018","Bay 1",1]
[13,1,"J-2/Heater","QVF-60S","H04312541000012","Bay 2",1]
[14,1,"J-3/Heater","SSUB-P10601AN2AA110","H04312541000011","Bay 3",1]
[15,1,"J-4/Heater","QVF-60S","H04312541000009","Bay 4",1]
[16,1,"J-5/Heater",null,"H04312541000013","Bay 5",1]
[null,null,"EXHAUST FANS"]
[17,1,"X-1","Greenback","N/A","Bay 1",1]
[18,1,"X-2","Greenback","N/A","Bay 2",1]
[19,1,"X-3","Greenback","N/A","Bay 3",1]
[20,1,"X-4","Greenback","N/A","Bay 4",1]
[21,1,"X-5","Greenback","N/A","Bay 5",1]
[22,1,"X-6/Lab Hood Exhaust","Greenback","N/A","Bay 1",1]
[23,1,"X-7","Broan","N/A","Office Bathroom",1]
["LONG BRANCH NATURE CENTER"]
["625 S. CARLIN SPRING"]
["No.","Qty.","EQUIPMENT","MODEL NO.","SERIAL NO.","LOCATION","INSPECTION #'S"]
[null,null,"Split System "]
[1,1,"ACU-1","FE4ANB006","5111A84893","Lg. mtg. rm.",4]
[{"$f":"A482+1","v":2},1,"ACU-2","FE4ANB003","3411A84301","Attic",4]
[{"$f":"A483+1","v":3},1,"ACU-3","ASU24RLF","KTA006900","Attic",4]
[4,1,"ACCU-1","25HNB960A300","0112E07369","Rear of bldg.",4]
[5,1,"ACCU-2","25HNB936A300","3711E13979","Rear of bldg.",4]
[6,1,"ACCU-3","AOU24RLXFW","KTN005566","Front of bldg.",4]
[null,null,"EXHAUST FANS"]
[7,1,"EF-1","Broan/B490","Typical","Rear Bldg.",1]
[8,1,"EF-2","Broan/B490","Typical","Rear Bldg.",1]
[9,1,"EF-3","Broan/8170","Typical","Kitchen",1]
[10,1,"EF-4","Broan/B490","Typical","Far side of Bldg.",1]
[11,1,"EF-5","Broan/B490","Typical","Women's rm.",1]
[12,1,"EF-6","Broan/B490","Typical","Men's rm.",1]
[null,null,"Unit Heaters "]
[13,1,"UH-1","Electromode/WJA-12","Typical","Women's rm.",1]
[14,1,"UH-2","Electromode/WJA-12","Typical","Men's rm.",1]
["PRCR"]
["2700 S. TAYLOR STREET"]
["NO.","QTY","EQUIPMENT TYPE","MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"AHU 1","MCCB017UAO","NONE","Upper Mech. Rm.",4]
[2,1,"AHU-2","MCCB014UAO","K05H97603","Upper Mech. Rm.",4]
[3,1,"AHU-3","BCHC018G2A","T04H52319","(last shop)",4]
[4,1,"AHU-4","BCHC024G2A","(burned off)","(next to last shop)",4]
[5,1,"AHU-5","BCHC018G2A","T04H52320","Mech. Shop",4]
[6,1,"AHU-6","BCHC024G2A","T04H52328","Wood Shop",4]
[7,1,"AHU-7","BCHC018G2A","T04H52327","Plumbing/Elec. Shop",4]
[8,1,"AHU-8","BCHC018G2A","T04H52324","Paint Shop",4]
[9,1,"AHU-9","BCHC054G2A","T04K60590","Carpentry Shop",4]
[10,1,"AHU-10","BCHC036G2A","T04K60591","Parks Mgmt. Shop Rm.129",4]
[11,1,"AHU-11","BCHC054G2A","T04H52329","Landscaping Storage Rm. 131a",4]
[12,1,"AHU-12","TRANE/BCH024A1C0A1M1F000000B04FC2EB2000B0300","TOAD26130","Park mgmt Room 130 ",4]
[13,1,"MUA-1","BCHC018G2A","T04H52325","Mech. Shop Storage",4]
[14,1,"ACU-1","PK12FK3","41A01245B","Rm. 116",4]
[15,1,"ACU-2","PK12FK3","4ZG00196A","Rm.207",4]
[16,1,"ACU-3","MITSUBISHI/PKA-A12HA7","6ZA02206A","Phone closet",4]
[17,1,"ACCU-1","PU12EK","4ZU01708A","Rear of Bldg.",4]
[18,1,"ACCU-2","PU12EK","56U00516C","Rear of Bldg.",4]
[19,1,"ACCU-3 ","MITSUBISHI/PKA-A12NK7","PUT-A12NKA7","Rear of Bldg.",4]
[20,1,"Exhaust Fans","Greenheck","none","Elec. Rm. 113 (L.L.)",1]
[21,1,"Exhaust Fans","80DB 80DB-2","00/0007901","Mech. Rm. 114",1]
[22,1,"Exhaust Fans","120SW 12S15D","00/0010301","Control Area Rm. 100",1]
[23,1,"Exhaust Fans","GEMINI",140,"Toilet 103",1]
[24,1,"Exhaust Fans","GEMINI",140,"Toilet 106",1]
[25,1,"Exhaust Fans","150SONH 150SONH1","00/0012902","Welding Shop",1]
[26,1,"Exhaust Fans","GEMINI",140,"Toilet 109",1]
[27,1,"Exhaust Fans","150SONH 150SONH1","00/0012901","Paint Shop",1]
[28,1,"Exhaust Fans","GEMINI",160,"Elev. Mech. Rm. 112",1]
[29,1,"Exhaust Fans","120SQN 120SQN-B","00/0000701","Women's Rm. 118",1]
[30,1,"Exhaust Fans","GEMINI",160,"Elev. Mech. Rm. 132",1]
[31,1,"Exhaust Fans","GEMINI",140,"H/C Toilet 133",1]
[32,1,"Exhaust Fans","GEMINI",160,"Kitchen 124",1]
[33,1,"Exhaust Fans","80SON 80SON-B","00/0001901","Storage Rm. 233",1]
[34,1,"Exhaust Fans","80 DB-80DB-8","00/0003101","Upper Mech. Rm. 201",1]
[35,1,"Exhaust Fans","100 SON-100SON-B","00/0004301","Men's Rm. 209",1]
[36,1,"Exhaust Fans","GEMINI",160,"Kitchen 211",1]
[37,1,"Exhaust Fans","150SONH 150SONH1","00/0005501","Mech. Shop Storage",1]
[38,1,"Exhaust Fans","70SON 70SON-B","00/0006701","Landscaping Storage",1]
[39,1,"Exhaust Fans","GEMINI",140,"H/C Toilet 225",1]
[40,1,"Exhaust Fans","GEMINI",140,"Storage Rm. 111",1]
[41,1,"Unit Heaters UH-1","UNPA 042 P4","F05H38094","Main Elec. Rm.",1]
[42,1,"Unit Heaters UH-2","UNPA 042 P4","F05H38095","Control Rm.100",1]
[43,1,"Unit Heaters UH-3","FFEB0301JAAD","TO5H42460","Hall o\\s Rm. 114",1]
[44,1,"Unit Heaters UH-4","FFHB0201AAAC","TO5L58216","Stairwell",1]
[45,1,"Unit Heaters UH-5","FFEB0301JAAD","TO5H42459","MEN'S ROOM #117",1]
[46,1,"Unit Heaters UH-6","FFEB0301JAAD","TO5H42457","WOMEN'S RM. #118",1]
[47,1,"Unit Heaters UH-7","FFHB0201AAAC","TO5L58215","H\\C Restroom 133",1]
[48,1,"Unit Heaters UH-8","FFHB0201AAAC","TO5H42440","H\\C Restroom 225",1]
[49,1,"Unit Heaters UH-9","FFHB0201AAAC","TO5L58217","Stairwell",1]
[50,1,"Unit Heaters UH-10","FFEB0301JAAD","TO5H42458","MEN'S ROOM #209",1]
[51,1,"Unit Heaters UH-11","FFEB0301JAAD","TO5L58214","WOMEN'S RM. #208",1]
[52,1,"Unit Heaters UH-12","FFEB0301JAAD","TO5H42461","Elevator Lobby",1]
[53,1,"Unit Heaters UH-13","FFEB0301JAAD","TO5H42461","Women’s Rm. Elev. Lobby",1]
[54,1,"Unit Heaters UH-14","FFEB0301JAAD","TO5L61889","Men’s Rm. Elev. Lobby",1]
[55,1,"Unit Heaters UH-15","FFEB0301JAAD","TO5L61890","Lower Elev. Lobby",1]
[56,1,"Unit Heaters UH-16","UNPA 042 P4","F05H38093","Main Mech. Rm. ",1]
[57,"?","Unit Heaters UH-17","UHEC 033DACA","N/A",null,1]
[58,1,"Radiator FTR-1","*","N/A","Toilet Rm. 103",1]
[59,1,"Radiator FTR-1A","*","N/A","Toilet Rm. 106",1]
[60,1,"Radiator FTR-2","*","N/A","Toilet Rm. 109",1]
[61,1,"Radiator FTR-3","*","N/A","Lobby Rm. 134",1]
[62,1,"Boiler B-1","Fulton/PHW-750",98647,"1st floor mechanical room",1]
[63,1,"Boiler B-2","Fulton/PHW-750",98645,"1st floor mechanical room",1]
[64,1,"Boiler B-3","Fulton/PHW-750",98648,"1st floor mechanical room",1]
[65,1,"Cooling Tower CT-1","VTL-079","U0414411C1",null,2]
[66,1,"Pumps P-1","1510BF 7.625 2.5BB","C001918-02F50","Chiller Rm.",2]
[67,1,"Pumps P-2","1510BF 7.625 2.5BB","C001918-01F50","Chiller Rm.",2]
[68,1,"Pumps P-3","1510BF 9 - 2.5BB","C001920-02F50","Chiller Rm.",2]
[69,1,"Pumps P-4","1510BF 9 - 2.5BB","C001920-01F50","Chiller Rm.",2]
[70,1,"Pumps P-5","1510BF 8.625 2BC","C001921-01F50","Chiller Rm.",2]
[71,1,"Pumps P-6","1510BF 8.625 2BC","C001921-02F50","Chiller Rm.",2]
[1,1,"Pumps P-10","PL30 1BL012","F60","AHU-1",2]
[73,1,"Pumps P-11","PL30 1BL012","F60","AHU-2",2]
[74,1,"Pumps P-12","PL30 1BL012","F60","AHU-3",2]
[75,1,"Pumps P-13","PL30 1BL012","F60","AHU-4",2]
[76,1,"Pumps P-14","PL30 1BL012","F60","AHU-5",2]
[77,1,"Pumps P-15","PL30 1BL012","F60","AHU-6",2]
[78,1,"Pumps P-16","PL30 1BL012","F60","AHU-7",2]
[79,1,"Pumps P-17","PL30 1BL012","F60","AHU-8",2]
[80,1,"Pumps P-18","PL30 1BL012","F60","AHU-9",2]
[81,1,"Pumps P-19","PL30 1BL012","F60","AHU-10",2]
[82,1,"Pumps P-20","PL30 1BL012","F60","AHU-11",2]
[83,1,"Pumps P-21","PL30 1BL012","F60","MAU-1",2]
[84,1,"Refrigerant Monitor","RMWERP411D01001AD","L05H03628","Chiller Rm.\nSummer Insp",2]
["RESIDENTIAL PROGRAM CENTER (RPC)"]
["1554 COLUMBIA PIKE"]
["NO.","QTY.","EQUIPMENT","MODEL NO.","SERIAL NO. ","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"AHU-1","Trane/BCHD012A1**A3N 02Z000000A09EA\n200000","N/A","N/A",4]
[2,2,"AHU-2,3","Trane","N/A","Inspections Plus Filter Changes",4]
[3,1,"AHU-4","TRANE/BCHD018A1**A3N 02Z000000A09EA\n200000","N/A","Inspections Plus Filter Changes",4]
[4,2,"AHU-5,9","TRANE/BCHD024A1**A3M 02Z000000A09EA\n200000","N/A","Inspections Plus Filter Changes",4]
[5,2,"AHU-6,7","TRANE/BCHD024A1**A3N 02Z000000A09EA\n200000","N/A","Inspections Plus Filter Changes",4]
[6,1,"AHU-8","TRANE/BCHD054G1**A3 M04Z000000AA9E A200002","N/A","Inspections Plus Filter Changes",4]
[7,1,"AHU-10","TRANE/BCHD012A1**A3N 02Z000000A09EA\n200000","N/A","Inspections Plus Filter Changes",4]
[8,1,"AHU-11","TRANE/BCHD036A1**A3M 02Z000000A09EA\n200000","N/A","Inspections Plus Filter Changes",4]
[9,2,"FCU-2","TRANE/FCJB0201J**A0H1 0AC3M00--\n01J0FM7000200","N/A","Inspections Plus Filter Changes",2]
[10,32,"FCU-3","TRANE/FCJB0301J**A0H1 0AC3M00--\n01J0FM7000200","N/A","Inspections Plus Filter Changes",2]
[11,11,"FCU-4","TRANE\\FCJB0401J**A0H1 0AC3M00--\n01J0FM7000200","N/A","Inspections Plus Filter Changes",2]
[12,3,"FCU-6","TRANE/FCJB0601J**A0H1 0AC3M00--\n01L0FM7000200","N/A","Inspections Plus Filter Changes",2]
[13,1,"FCU-8","TRANE/FCJB0801J**A0H1 0AC3M00--\n01L0FM7000200","N/A","Inspections Plus Filter Changes",2]
[14,1,"FCU-10","TRANE/FCJB0801J**A0H1 0AC3M00--\n01L0FM7000200","N/A","Inspections Plus Filter Changes",2]
[15,1,"SS-1","TRANE/4TWR4024G1\noutdoor unit TEM4A0B24S21S\nindoor unit","N/A","Inspections Plus Filter Changes",4]
[16,1,"HUH-1","TRANE/UHSBA181T*A101 A0000","N/A","N/A",1]
[17,1,"HUH-2","TRANE/UHSBA251T*A101 A0000","N/A","N/A",1]
[18,1,"HUH-3","TRANE/UHSB0481T*A101 A0000","N/A","N/A",1]
[19,1,"EH-1","TRANE/UHEC031CACA","N/A","N/A",1]
[20,3,"EH-2,3,7","TRANE/UHCA021C8A","N/A","N/A",1]
[21,3,"EH-4,5,6","TRANE/UHAA******","N/A","N/A",1]
[22,1,"FCU-EB1","Trane","N/A","FCEB0401J\n(serving basement Electrical room)",1]
[23,1,"EF#3","Greenheck/SPA190","N/A","N/A",1]
[24,1,"EF#4","Greenheck/SPA190","N/A","N/A",1]
[25,1,"EF#5","Greenheck/CSPA250","N/A","N/A",1]
[26,1,"EF#6","Greenheck/CSPA250","N/A","N/A",1]
[27,1,"EF#7","Greenheck/CSPA290","N/A","N/A",1]
[28,1,"EF#8","Greenheck/CSPA410","N/A","N/A",1]
[29,1,"EF#9","Greenheck/CSPA410","N/A","N/A",1]
[30,1,"EF#11","Greenheck/CSPA700","N/A","N/A",1]
[31,1,"EF#12","Greenheck/CSPA700","N/A","N/A",1]
[32,1,"EF#21","Greenheck/SPA90","N/A","N/A",1]
[33,2,"Dual Temperature Pumps P-1, P-2","Grundfos/PACO15959-4P LCS","N/A","N/A",2]
["SHIRLINGTON BUS STATION "]
["2975 S. QUINCY ST."]
["NO.","QTY.","UNIT","MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Selft Contained Unit","VA8G3A",712073,"Serves The Entire Building-Clean Condenser Two Times",12]
["SHIRLINGTON LIBRARY/SIGNATURE THEATRE"]
["4200 CAMPBELL AVENUE"]
["NO.","QTY","EQUIPMENT TYPE","MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Air Handling Unit","Temtrol","N/A","AHU-1, 12,000 CFM, cooling and heating coil",4]
[2,1,"Air Handling Unit","Temtrol","N/A","AHU-2, 6,000 CFM, cooling and heating coil ",4]
[3,1,"Air Handling Unit","Temtrol","N/A","AHU-3, 21,000 CFM, cooling and heating coil",4]
[4,1,"Air Handling Unit","Temtrol","N/A","AHU-4, 12,000 CFM, cooling and heating coil",4]
[5,1,"Air Handling Unit","Temtrol","N/A","AHU-5, 15,500 CFM, cooling and heating coil",4]
[6,1,"Air Handling Unit","Temtrol","N/A","AHU-6, 2,500 CFM, cooling and heating coil",4]
[7,1,"Cooling Tower","Baltimore Aircoil VTL227/OX","U052215801","CLEAN 2 TIMES",2]
[8,2,"Pump","B&G/ 3G","SERIES 1510","Chilled water, end suction, 20 Hp",2]
[9,2,"Pump","B&G/2G","SERIES 1510","Heating water, end suction, 7.5 Hp",2]
[10,2,"Pump","B&G/5E","SERIES 1510","Condenser water, end suction, 10 Hp",2]
[11,6,"Pump","B&G","N/A","In-line circulators, serves AHUs",2]
[19,7,"Exhaust Fan","ACME","N/A","EF-1, EF-2, EF-5, EF-6, EF-7, EF-8, EF-9",1]
[20,2,"Exhaust Fan","ACME/ECG72P","N/A","EF-3, EF-4, smoke purge, 40,800 CFM, 7.5 Hp",1]
[21,2,"Expansion Tank","B&G","N/A","ET-1, ET-2",1]
[22,3,"Unit Heater","Qmark","N/A","Electric heater",1]
[23,1,"Split System","Mistubushi","N/A","N/A",3]
[24,1,"Split System","M/N Mr. Slim","N/A","N/A",3]
[25,1,"Hot Water Heater",null,"N/A","N/A",1]
["SOLID WASTE/TRAFFIC DIVISION BUILDING 4300 S. 29TH STREET"]
["No.","Qty.","EQUIPMENT ","MODEL NO.","SERIAL NO.","LOCATION","INSPECTION #'S"]
[1,1,"HEATER H-7",285458700,"AUBA425294","Garage. McQuay",1]
[2,1,"HEATER H-8","HE0623H","BHD72942","Garage. AP Energy Systems",1]
[null,null,"Unit"]
[3,1,"Ex. Fan #1","*","*","Roof",1]
[4,1,"Ex. Fan #2","*","*","Roof",1]
[5,1,"Ex. Fan #3","*","*","Roof",1]
[6,1,"Boiler",null,null,"Mechanical Room. Peerless",1]
[7,1,"HX","UX-216-HJ-37","P14973 H ","Mechanical Room. Superchanger",1]
[8,1,"Cooling Tower",null,null,"Outside",2]
[9,1,"HP-1","CW09R011CMNBSSD","09060164D","Workshop",4]
[10,1,"Computer Lab AC","CW09R011CMNBSSD",90601641,"Workshop",4]
[{"$f":"A658+1","v":11},1,"AC-1","GEHE06031A0100BRO","W09H08358","Operations Room. Trane",4]
[{"$f":"A659+1","v":12},1,"AC-2","WCH52060","AUBA425293","Workshop",4]
[13,1,"AC-3","50H0A019","5294V25083","Workshop",4]
[14,1,"AC-4","HG060",70303088,"Workshop",4]
[15,1,"AC-5","WCH51090","AUBA378921","Workshop",4]
[16,1,"AC-6","WCH51036","AWBA425220","Workshop",4]
[17,1,"AC-9","CCH/HWH030",580022806,"Room 104",4]
[18,1,"AC-10","HSD24GS","H10404127","Main Office/Hallway",4]
[19,1,"AC-11","H5030G521G8C5B","H17325764","Main Office/Hallway",4]
[20,1,"Fan Coil #5","McQuay/TSF-061C-A","HH02087-02","Men's Bathroom",2]
[21,1,"Fan Coil #6","TSF-061C-A","HH02770-02","Men's Bathroom",2]
[22,1,"Fan Coil","WWMF2019E200U12AA","AUBU071200976","Room 115",2]
[23,1,"Fan Coil","WWMF2019E200U12AA","AUBU071200974","Room 107",2]
[24,1,"Fan Coil","CS007GROBASS0A","94K025722","Room 112",2]
[25,1,"Fan Coil/J-10","*","*","Boiler Room",2]
[26,1,"J-3/Heater","5VX678","TYPICAL","Garage",1]
[27,1,"J-4/Heater","5VX678","TYPICAL","Garage",1]
[28,1,"Boiler Pump #1","5K43MG5813H","N/A","Mechanical Room",2]
[29,1,"Boiler Pump #2","5K43MG5813H","N/A","Mechanical Room",2]
[30,1,"Cond. Pump/P5","M3218T","N/A","Mechanical Room. Baldor",2]
[31,1,"Stand By/P4","M3218T","N/A","Mechanical Room. Baldor",2]
[32,1,"PUMP P3","Baldor","M3218T","Mechanical Room. Baldor",2]
[33,1,"Boiler","Peerless 211A-04-W/S","S/N 426223-200303","N/A",1]
[34,1,"Cooling Tower","Baltimore AirCoil/M/N VTO-041-J","S/N 4040176901","3 Hp",2]
[35,1,"Pump","Taco/1616C","N/A","1 Hp, in-line",2]
[36,1,"Pump","Taco/SB2508-7","N/A","0.95 Hp, base mounted",1]
[37,4,"Exhaust Fan","Penn Domex","N/A","N/A",1]
[38,9,"Exhaust Fan","Carnes Domex","N/A","N/A",1]
[39,1,"Heat Exchanger","SuperCharger/4X-216-HJ-37"," P14973H","N/A",1]
[40,2,"Heat Pump","FHP/HE 062-3HZ","N/A","N/A",3]
[41,1,"Heat Pump","McQuay/ CCH/HWH030 CNFS","N/A","N/A",3]
[42,1,"Heat Pump","Carrier M/N 50HQ0192EC301","N/A","N/A",3]
[43,1,"Heat Pump","Carrier M/N 50H0D060SMC501","N/A","N/A",3]
[44,4,"Heat Pump","Friedrich M/N H-62-32",null,"5 Hp",3]
[45,1,"Heat Pump","Friedrich M/N 800-07G",null,"1/2 Hp",3]
[46,5,"Heat Pump","McQuay M/N WMHO19CMGR","N/A","N/A",3]
[47,1,"Heat Pump","Friedrich M/N 800-12G","N/A","N/A",3]
[48,1,"Heat Pump","McQuay M/N WE750C50","N/A","N/A",3]
[49,1,"Heat Pump","McQuay M/N TSF061C","N/A","Heating only",3]
[50,1,"Heat Pump ","Climate Master M/N CS007GR0BASSD5A","S/N 94K025722","N/A",3]
[51,1,"Heat Pump","McQuay M/N TSB031C","N/A","Heating only",3]
[52,1,"Heat Pump","McQuay M/N TSF081C","N/A","Heating only",3]
[53,5,"Heat Pump","McQuay M/N TSC151C","N/A","Heating only",3]
[54,2,"Heat Pump","McQuay/ WWMF2019EZ00U12AA14AIA2","N/A","N/A",3]
[55,1,"Heat Pump","Friedrich/800-09G-D2L-013",900431,"N/A",3]
[56,6,"Heat Pump","McQuay/WCMS1036FZ00Z00AC12ZZAI","N/A","N/A",3]
[57,1,"Heat Pump","Climate Master HS060HSZZLZGCSA","H10303088","N/A",3]
[58,2,"Heat Pump","Climate Master M/N HS024GSZSLSGCSB"," H10404127","N/A",3]
["TRADES CENTER PARKING GARAGE"]
["2881 S, TAYLOR ST."]
["NO.","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Electric unit heater","FIFVH",3003,"SPRINKLER ROOM",1]
["TRAFFIC ENGINEERING WAREHOUSE"]
["4280 S. 29TH STREET"]
["No.","Qty.","EQUIPMENT ","MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"H-1/AC","HE019-1HZC","BH072941D","Second Floor",1]
[2,1,"Radiant Heater J-1/Heater","N/A","N/A","First Floor",1]
[3,2,"Radiant heater J-2/Heater","N/A","N/A","First Floor",1]
[4,1,"Water Heater","DEL30110","1149M002889","ENG. WAREHOUSE 2",1]
[5,2,"EUH","CH2724-3B",null,"ENG. WAREHOUSE 2",1]
[6,1,"HEAT PUMP","WMR10BC0H21503G",17110538,"OFFICE",3]
["VEHICLE WASH STATION"]
["4260 S. 28TH ST."]
["NO.","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Heat Pump","A42HC09K","XXEXA60","Break room",3]
[2,2,"Box Heater","N/A","N/A","N/A",1]
["WALTER REED COMMUNITY CENTER 2909 S. 16TH STREET"]
["NO.","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL/SERIAL NO.","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,4,"VAV Box","Titus",null,"N/A"]
[{"$nulls":3},"M/N DESV","N/A",null,2]
[2,11,"Fan Powered VAV","Titus","N/A","Parallel",2]
[3,7,"Fan Powered VAV","Titus/DTQS","N/A","N/A",2]
[4,1,"Fan Coil Unit","McQuay/ TSC","N/A","FCU-1",2]
[5,4,"Unit Heater","McQuay/UH","N/A","340 CFM, heating coil",1]
[6,2,"Boiler","Thermal Solutions","N/A","Gas-fired, 880 MBH output"]
[{"$nulls":3},"M/N EVH-1000","N/A",null,1]
[6,2,"Pump","Taco","N/A","Heating water pumps",2]
[7,2,"Pump","Taco","N/A","Chilled water pumps",2]
[8,3,"Roof Top Unit","Aaon","N/A","Contains heat wheel, 20-ton",12]
[9,2,"Roof Top Unit","Aaon","N/A","Contains heat wheel, 26-ton",12]
[10,1,"Chiller","McQuay/AGS","N/A","Air-cooled, screw compressors",2]
[11,1,"Split System","Mitsubishi/PKA-A12HA7","63A03334B","Communications room",4]
[12,1,"Kitchen Exhaust","Greenheck/CUE","N/A","KEF-1, 850 CFM, upblast",1]
[13,6,"Exhaust Fan","Greenheck","N/A","EF-1 through EF-6",1]
[14,4,"Unit Heaters","TPI","Typical","Vestibule and mechanical rooms",1]
[15,2,"Boiler","N/A","N/A","N/A",1]
["WATER/SEWER/MAINTENANCE AND WAREHOUSE"]
["4202 S. 28TH STREET"]
["NO.","QTY","EQUIPMENT TYPE","MANUFACTUER/MODEL","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"CONDENSER UNIT","4TTA3060D","12194JGB4F","OUTSIDE",4]
[{"$f":"A748+1","v":2},1,"CONDENSER UNIT","4TTA3060D","12134TDN4F","OUTSIDE",4]
[{"$f":"A749+1","v":3},1,"HEAT PUMP","MUZGEIZNA","N/A","N/A",3]
[4,1,"SPLIT SYSTEM HP","MSZGERNA","N/A","N/A",3]
[5,1,"AHU","4TXCDD061","11383PHJ5G","GENERATOR ROOM",4]
[6,1,"AHU","4TXCDD061","11464XMSJG","GENERATOR ROOM",4]
[7,1,"WATER HEATER","GS650YBRT","0912A0165126","GENERATOR ROOM",1]
[8,1,"AHU","H2B1216","200404-CBCB01751","2ND FLOOR",4]
[9,1,"GAS FURNACE","QVD-1256","E0447338001001","2ND FLOOR",1]
[10,1,"Exhaust Fan","120CPF",1435782960,"ROOR",1]
["WATER/SEWER/STREETS ADMINISTRATION"]
["4200 S. 28TH STREET"]
["NO.","QTY","EQUIPMENT TYPE","MANUFACTUER/MODEL","SERIAL NO.","LOCATION/REMARKS","INSPECTION #'S"]
[1,1,"Split System","Trane Chiller Air Cool Chiller/RAUJC40EEB03ABDF00000--TRANE/ AHU-1/CSAA021UAC00","C11G04018/K11G77542","The chiller provides the cooling to the AHU-1 which serves all the VAV's for the entire building",3]
[2,1,"Split System","SAMSUNG/ INDOOR UNIT MN: AQV09NSD","Production date 2011.03","Serves server closet/LAN ROOM on top floor",3]
[{"$nulls":3},"SAMSUNG/ OUTDOOR UNIT/MN: AQV09NSDX","Production date 2011.03"]
[3,2,"AC","BARD MANUFACTORING CO./ M36A-2-A16","*","Trailer",4]
[4,2,"Boilers","Weil-McLain/ULTRA 550 SERIES 1","*","MECHANICAL ROOM",1]
[5,1,"Hot Water  Unit Heater","Trane/UHSBA361TAA10100A00","F11G34286","MECHANICAL ROOM",1]
["WETA BUILDING"]
["3700 S. FOUR MILE RUN"]
["NO","QTY","EQUIPMENT TYPE","MANUFACTURER/MODEL","SERIAL NO.","LOCATION REMARKS","INSPECTION #'S"]
[1,1,"Heat Pump","Trane M/N TWE030C140B0","S/N Z133TEY1V","2 ton",3]
[2,3,"Power Roof Ventilator","Greenheck M/N G-131-BX-QD M/N G-080-DGEX-QD M/N G-141-BX-QD","N/A","restroom\n",1]
[3,2,"Boiler","Burnham M/N 4FW-127-40-G-GP","N/A","Three pass",1]
[4,2,"Hot water pumps","N/A","N/A","N/A",2]