Daphne Utilities

Flygt pumps lift stations

RFB 22-01

Bid Specifications

The scope of work shall consist of supplying approximately ten (10) of the following pumps to Daphne Utilities Water Reclamation Department:

Flygt NP3153 HT3 submersible pumps (20HP, 230/3/60, FLS)

Pumps must be brand specific to work with the mechanics of the

lift station system already in place.

$___________________ per pump     $____________________ TOTAL pumps

It is the intent of Daphne Utilities to award this contract based on unit prices. Each pump will include a hard iron propeller/insert ring and 50 feet of electrical cable. The pump will mate to the existing discharge elbow and guide rail system. All prices must include delivery and one day of startup assistance. Bid is for equipment only; pumps will be installed by Daphne Utilities’ personnel.

The scope of work shall further consist of approximately four (4) duplex control panels

to control the above referenced pumps in a pump down mode.

$ _______________ per panel     $ _____________________TOTAL control panels

Delivered items will not be considered “accepted” until an authorized agent of Daphne Utilities has determined they fully comply with the specifications.

The vendor must comply with standard record keeping and reporting requirements. Payment will be made by Daphne Utilities after the goods and services have been received, accepted, and properly invoiced with the purchase order number.  Any defects in the work performed or product delivered must be corrected before invoices are eligible for payment. Payment terms shall be net 30 days.

Daphne Utilities

Flygt pumps lift stations

RFB 22-01

Bid Form

I have read and understood the terms and conditions and the bid specifications of this bid.

Submitted by: __________________________________________________________			Company name of bidder

_________________________________________________________________________________________

By:  company officer name

_________________________________________________________________________________________

Signature

__________________________________________		________________________________		Title							Date

_________________________________________________________________________________________

Company address, city, state, zip

___________________________________________		________________________________

Phone							EIN / tax id number

___________________________________________		________________________________

Point of contact name					Point of contact phone

___________________________________________

Point of contact email