## Job Details for Animal Control, 1314 Industrial Drive, Hartselle, AL  35640

- Remove existing roof-top, gas package unit.

- Install curb adapter to existing roof curb to fit footprint of new equipment.

- Re-pipe existing gas line to fit new unit.

- Install New American Standard 5 ton gas-package unit or equal to or better.

Equipment Specs:

- 14 SEER energy rating

- 410 A refrigerant

- 208/230  single phase electrical power

- 1 -  20% Manual fresh air intake with filter frames

- 5 year compressor warranty

- 1 year parts warranty

- 1 year labor warranty

Contractor shall inspect the site prior to placing a bid.  Contact Darren Tucker, Animal Control Director at 256-560-6148 or 256-773-2934, to coordinate site inspections.  A bid from a contractor not inspecting the site will be grounds for the bid being rejected.