





Job Details for Animal Control, 1314 Industrial Drive, Hartselle, AL  35640

· Remove existing roof-top, gas package unit.	
· Install curb adapter to existing roof curb to fit footprint of new equipment.
· Re-pipe existing gas line to fit new unit.
· Install New American Standard 5 ton gas-package unit or equal to or better.         

Equipment Specs:

· 14 SEER energy rating
· [bookmark: _GoBack]410 A refrigerant
· 208/230  single phase electrical power
· 1 -  20% Manual fresh air intake with filter frames
· 5 year compressor warranty
· 1 year parts warranty
· 1 year labor warranty

Contractor shall inspect the site prior to placing a bid.  Contact Darren Tucker, Animal Control Director at 256-560-6148 or 256-773-2934, to coordinate site inspections.  A bid from a contractor not inspecting the site will be grounds for the bid being rejected.  



Bidders Initials:  __________

