REQUEST FOR PROPOSAL (RFP)

RFP Number:			005-18

Date Issued: 			September 25, 2017

Questions Deadline: 	 	October 9, 2017
Closing Date: 			October 23, 2017

Procurement Officer:		Kaylee Wood

Mailing Address:		Emporia State University Purchasing Office

1 Kellogg Circle, Box 4021, Plumb Hall 103M, Emporia, KS 66801

Telephone:		620-341-5145

E-Mail Address:		purchaseorders@emporia.edu

Fax:				620-341-5073

Item: 				Video Surveillance

Agency:			Emporia State University (ESU)

Location(s): 			Emporia, KS 66801

Period of Contract: 		Contract award through project completion.

Guarantee:			Indefinite Quantity Contract:  This Request is for an open-ended contract between a Contractor and ESU to furnish an undetermined quantity of a good or service in a given period of time.  The quantities ordered will be those actually required during the contract period, and the Contractor will deliver only such quantities as may be ordered.  No guarantee of volume is made.

Scope of Work: ESU is issuing this RFP to obtain competitive responses from suppliers to provide Video Surveillance for ESU, per the attached specifications. Any additional specifications and addenda available online at: https://vrapp.vendorregistry.com/Bids/View/BidsList?BuyerId=cc49dc6a-03ac-4446-b53d-24aed14468a5

Drawings:  Scaled drawings are available upon request and are required to prepare a complete bid (see specifications). Contact Ryan Kurtenbach for a secure document transfer at rkurtenb@emporia.edu

Questions/Addenda: Questions and requests for clarification of the RFP must be submitted by email to the attention of the ESU Purchasing at purchaseorders@emporia.edu by October 9, 2017, at 2:00 p.m.

Pre-Bid Conference: A pre-bid conference tour will be held October 2, 2017 at 1:00 p.m.

Emporia State University

Information Technology

Cremer Hall

Emporia KS 66801

Attendance is required at the pre-bid conference tour.  Due to space limitations, suppliers should attend with no more than two representatives. If scheduling conflicts occur, additional tour dates and times can be scheduled. Contact Purchasing at purchaseorders@emporia.edu to schedule another time.

Impromptu questions may be permitted and spontaneous unofficial answers provided, however bidders should understand that the only official answer or position of Emporia State University will be in writing.

Failure to notify the ESU Purchasing Office of any conflicts or ambiguities in the RFP may result in items being resolved in the best interest of ESU. Any modification to this RFP as a result of the pre-proposal conference, as well as written answers to written questions, shall be made in writing by addendum. Only written communications are binding.

Answers to questions will be available in the form of an addendum on the Vendor Registry bidding website: https://vrapp.vendorregistry.com/Bids/View/BidsList?BuyerId=cc49dc6a-03ac-4446-b53d-24aed14468a5. It shall be the responsibility of all participating suppliers to acquire any and all addenda and additional information as it is made available from the website cited above. Suppliers are required to check the website on a regular basis for any additional information, addenda, or instructions.

Failure to abide by all of the conditions of this Request for Proposal (RFP) may result in the rejection of a bid. Inquiries about this RFP should indicate the RFP number and be directed to the Emporia State University Purchasing Office.

READ THIS REQUEST CAREFULLY

Failure to abide by all of the conditions of this Request may result in the rejection of a bid.

TABLE OF CONTENTS								PAGE

Signature Sheet									4

Tax Clearance								   	5

Certification Regarding Immigration Reform and Control			   	6

References										7

Supplier Response Check - List						   	8

Section I – Instructions					      		 	9

Section II – Proposal Response						 	12

Section III – Terms and Conditions							14

Section IV – Specifications 						 		23

ESU DA-146(a) (Rev. 07-17)							26

SIGNATURE SHEET

Item:	Video Surveillance

Agency:	Emporia State University

Location:	Plumb Hall 105

Closing Date:	October 23, 2017 2:00 p.m. CST

By submission of a bid and the signatures affixed thereto, the bidder certifies all products and services proposed in the bid meet or exceed all requirements of this specification as set forth in the request and that all exceptions are clearly identified.

Legal Name of Person, Firm or Corporation

Mailing Address 	  City & State	Zip

Toll Free Telephone	Local	  Cell:  		Fax

Tax Number

E-Mail

Signature	Date

Typed Name  	Title

In the event the contact for the bidding process is different from above, indicate contact information below.

Bidding Process Contact Name

Mailing Address 	  City & State	Zip

Toll Free Telephone	Local	  Cell:  		Fax

E-Mail

If awarded, contract and purchase orders are to be directed to an address other than above, indicate mailing address and telephone number below.

Award Contact Name

Mailing Address 	  City & State	Zip

Toll Free Telephone	Local	  Cell:  		Fax

E-Mail

Emporia State University may use the Business Procurement Card for contract purchases.     Yes ____      No ___

(Refusal will not be a determining factor in award of this contract.)

Would this contract be available to other political subdivisions of the State of Kansas?  Yes ____   No ____

(Award will not be based on accepting or declining)

TAX CLEARANCE

Emporia State University strongly supports the State of Kansas Tax Clearance Process. Suppliers submitting bids or proposals which exceed $10,000 over the term of the contract shall include a copy of a Tax Clearance Certification Form with their submittal. Failure to provide this information may be cause for rejection of supplier’s bid or proposal.

A “Tax Clearance” is a comprehensive tax account review to determine and ensure that the account is compliant with all primary Kansas Tax Laws administered by the Kansas Department of Revenue (KDOR) Director of Taxation. Information pertaining to a Tax Clearance is subject to change(s), which may arise as a result of a State Tax Audit, Federal Revenue Agent Report, or other lawful adjustment(s).

To obtain a Tax Clearance Certificate, you must:

- Go to http://www.ksrevenue.org/taxclearance.html to request a Tax Clearance Certificate

- Return to the website the following working day to see if KDOR will issue the certificate

- If issued an official certificate, print it and attach it to your bid response

- If denied a certificate, engage KDOR in a discussion about why a certificate wasn’t issued

Bidders (and their subcontractors) are expected to submit a current Tax Clearance Certificate with every event response.

Please Note: Individual and business applications are available. For applications entered prior to 5:00 PM Monday through Friday, results typically will be available the following business day. Tax clearance requests may be denied if the request includes incomplete or incorrect information.

Please Note: You will need to sign back into the KDOR website to view and print the official tax clearance certificate.

A copy of the Certification of Tax Clearance form received from the Kansas Department of Revenue should be sent along with the bid response(s)

Failure to provide this information may be cause for rejection of supplier's bid or proposal.

Information about Tax Registration can be found at the following website: http://www.ksrevenue.org/busregistration.html

The ESU Purchasing Office reserves the right to confirm tax status of all potential contractors and subcontractors prior to the release of a purchase order or contract award.

In the event that a current tax certificate is unavailable, the ESU Purchasing Office reserves the right to notify a bidder (one that has submitted a timely event response) that they have to provide a current Tax Clearance Certificate within ten (10) calendar days, or ESU may proceed with an award to the next lowest responsive bidder, whichever is determined by the Purchasing Director to be in the best interest of ESU and the State.

CERTIFICATION REGARDING 
IMMIGRATION REFORM & CONTROL

All Contractors are expected to comply with the Immigration and Reform Control Act of 1986 (IRCA), as may be amended from time to time.  This Act, with certain limitations, requires the verification of the employment status of all individuals who were hired on or after November 6, 1986, by the Contractor as well as any subcontractor or sub-subcontractor. The usual method of verification is through the Employment Verification (I-9) Form.  With the submission of this bid, the Contractor hereby certifies without exception that Contractor has complied with all federal and state laws relating to immigration and reform. Any misrepresentation in this regard or any employment of persons not authorized to work in the United States constitutes a material breach and, at the State’s option, may subject the contract to termination and any applicable damages.

Contractor certifies that, should it be awarded a contract by the State, Contractor will comply with all applicable federal and state laws, standards, orders and regulations affecting a person’s participation and eligibility in any program or activity undertaken by the Contractor pursuant to this contract.  Contractor further certifies that it will remain in compliance throughout the term of the contract.

At the State’s request, Contractor is expected to produce to the State any documentation or other such evidence to verify Contractor’s compliance with any provision, duty, certification, or the like under the contract.

Contractor agrees to include this Certification in contracts between itself and any subcontractors in connection with the services performed under this contract.

_____________________________________________________________________________________________

Signature, Title of Contractor 									    Date

REFERENCES

Provide four (4) references.  References shall have purchased similar items/services from the supplier in the last year.  Supplier employees and ESU shall not be shown as references.

- NAME:		___________________________________________________________________

COMPANY:	___________________________________________________________________

ADDRESS:	___________________________________________________________________

TELEPHONE:	___________________________________________________________________

EMAIL:	___________________________________________________________________

- NAME:		___________________________________________________________________

COMPANY:	___________________________________________________________________

ADDRESS:	___________________________________________________________________

TELEPHONE:	___________________________________________________________________

EMAIL:	___________________________________________________________________

- NAME:		___________________________________________________________________

COMPANY:	___________________________________________________________________

ADDRESS:	___________________________________________________________________

TELEPHONE:	___________________________________________________________________

EMAIL:	___________________________________________________________________

- NAME:		___________________________________________________________________

COMPANY:	___________________________________________________________________

ADDRESS:	___________________________________________________________________

TELEPHONE:	___________________________________________________________________

EMAIL:	___________________________________________________________________

Duplicate as needed

SUPPLIER RESPONSE CHECK-LIST

The following items are provided to assist bidders in ensuring all requirements are met and all required submissions are included with the bid.  Suppliers are instructed to utilize this list, including Addenda Acknowledgement, and include it with their bid submission. In order to ensure fair and accurate evaluation, page numbers indicating the location of your response within your bid shall be included, where indicated.

Technical and cost proposals, including other supporting documents:

_____ 	Signature Sheet 								(Page 4)

_____ 	Copy of the Tax Clearance Certificate received from the		 		(Page 5)

Kansas Department of Revenue.

_____	Signed Certification Regarding Immigration Reform & Control Form 		(Page 6)

_____	References									(Page 7)

_____	Technical Proposal 								(Page 12)

_____	Cost Proposal 									(Page 23)

_____  W-9 (form can be found at http://www.irs.gov/)

Addenda Acknowledgement:  Bidder acknowledges receipt of the following addenda:

Addendum No.	_______, _______, _______, _______, _______.

___________________________________________________________________

Signature acknowledging receipt of addenda				Date

Questions/Addenda: Questions and requests for clarification of the RFP must be submitted by email to the attention of the ESU Purchasing Office at purchaseorders@emporia.edu by October 9, 2017 at 2:00 p.m. Each question or clarification should reference the appropriate RFP section.

Supplier’s bid response: must be submitted no later than 2:00 p.m., Central Standard Time, on or before October 23, 2017.

Please submit bid responses by the way of ESU’s Vendor Registry e-Bidding Portal by registering your business then submitting the bid document(s) at:

https://vrapp.vendorregistry.com/Bids/View/BidsList?BuyerId=cc49dc6a-03ac-4446-b53d-24aed14468a5

Technical assistance will be provided by contacting Vendor Registry at 844-802-9202 or cservice@vendorregistry.com

If complications continue to arise, email or carrier mailed submissions will also be accepted (below). Please allow ample time for submissions as late proposals are not considered.

Emailed bid submissions:	Mailed submissions are also acceptable to:

Emporia State University Purchasing Office 					Emporia State University Purchasing Office

purchaseorders@emporia.edu  						1 Kellogg Circle

RFP# 005-18								Campus Box 4021

October 23, 2017	Emporia, KS 66801

Bid Opening will be at: Emporia State University Purchasing Office, Plumb Hall 103O, 1 Kellogg Circle, Emporia, KS 66801, following bid closing.

SECTION 1 - INSTRUCTIONS

- Proposal Reference Number:  The RFP number, indicated in the header of this document, as well as on the first page of this proposal, has been assigned to this RFP and MUST be shown on all correspondence or other documents associated with this RFP and MUST be referred to in all verbal communications. All inquiries, written or verbal, shall be directed only to the Emporia State University Purchasing Office reflected on Page 1 of this proposal.  There shall be no communication with any other Emporia State University employee regarding this RFP except with designated Emporia State University participants in attendance ONLY DURING:

Negotiations 
Contract Signing
as otherwise specified in this RFP.

Violations of this provision by supplier or ESU personnel may result in the rejection of the proposal.

- Negotiated Procurement:  This is a negotiated procurement pursuant to K.S.A. 75-37,102. Final evaluation and award will be made by The Procurement Negotiation Committee (PNC) composed of individuals from appropriate departments or their designees with the Director of Purchasing as the Chair of the PNC.

- Appearance Before Committee:  Any, all or no suppliers may be required to appear before the PNC to explain the supplier’s understanding and approach to the project and/or respond to questions from the PNC concerning the proposal; or, the PNC may award without conducting negotiations, based on the initial proposal. The PNC reserves the right to request information from suppliers as needed. If information is requested, the PNC is not required to request the information of all suppliers.

Suppliers selected to participate in negotiations may be given an opportunity to submit a revised technical and/or cost proposal to the PNC, subject to a specified cut off time for submittal of revisions.  Meetings before the PNC are not subject to the Open Meetings Act. Suppliers are prohibited from electronically recording these meetings. All information received prior to the cut-off time will be considered part of the supplier’s revised offer.

No additional revisions shall be made after the specified cut-off time unless requested by the PNC.

- Cost of Preparing Proposal: The cost of developing and submitting the proposal is entirely the responsibility of the supplier. This includes costs to determine the nature of the engagement, preparation of the proposal, submitting the proposal, negotiating for the contract and other costs associated with this RFP.

- Tax Clearance:  ESU strongly supports the State of Kansas Tax Clearance Process. Suppliers submitting bids or proposals which exceed $10,000 over the term of the contract shall include a copy of a Tax Clearance Certification Form with their submittal. Failure to provide this information may be cause for rejection of supplier’s bid or proposal. Tax Clearances may be obtained at the following website: http://www.ksrevenue.org/taxclearance.html.

- Preparation of Proposal: The PNC has the right to rely on any price quotes provided by suppliers. The supplier shall be responsible for any mathematical error in price quotes. The PNC reserves the right to reject proposals which contain errors.

A proposal shall not be considered for award if the price in the proposal was not arrived at independently and without collusion, consultation, communication or agreement as to any matter related to price with any other supplier, competitor or public officer/employee.

Technical proposals shall contain a concise description of supplier's capabilities to satisfy the requirements of this RFP with emphasis on completeness and clarity of content. Repetition of terms and conditions of the RFP without additional clarification shall not be considered responsive.

- Signature of Proposals: Each proposal shall give the complete mailing address of the supplier and be signed by an authorized representative by original signature with his or her name and legal title typed below the signature line.  If the contract’s contact will be a different entity, indicate that individual’s contact information for communication purposes. Each proposal shall include the supplier's tax number.

- Acknowledgment of Addenda:  All suppliers shall acknowledge receipt of any addenda to this RFP by filling out and signing the supplier response check-list page, including the Addenda Acknowledgement, and returning it with their bid.  Failure to acknowledge receipt of any addenda may render the proposal to be non-responsive. Only the ESU Purchasing Office shall issue changes to this RFP, which will be in writing.

- Modification of Proposals: A supplier may modify a proposal by letter format to purchaseorders@emporia.edu or mail at any time prior to the closing date and time for receipt of proposals.

- Withdrawal of Proposals:  A proposal may be withdrawn on written request attachment from the supplier to the ESU Purchasing Office at purchaseorders@emporia.edu (or mail) prior to the closing date.

- Competition:  The purpose of this RFP is to seek competition. The supplier shall advise the ESU Purchasing Office if any specification, language or other requirement inadvertently restricts or limits bidding to a single source. Notification shall be in writing and must be received by the ESU Purchasing Office no later than five (5) business days prior to the bid closing date. The ESU Purchasing Office reserves the right to waive minor deviations in the specifications which do not hinder the intent of this RFP.

- Evaluation of Proposals: Award shall be made in the best interest of Emporia State University as determined by the PNC or their designees. Although no weighted value is assigned, consideration may focus toward but is not limited to:

- Cost (suppliers are not to inflate prices in the initial proposal as cost is a factor in determining who may receive an award or be invited to formal negotiations. ESU reserves the right to award to the lowest responsive bid without conducting formal negotiations, if authorized by the PNC.)

- Adequacy and completeness of proposal

- Supplier's understanding of the project

- Compliance with the terms and conditions of the RFP

- Experience in providing like services

- Qualified staff

- Methodology to accomplish tasks

- Response format as required by this RFP

- Acceptance or Rejection:  The Committee reserves the right to accept or reject any or all proposals or part of a proposal; to waive any informalities or technicalities; clarify any ambiguities in proposals; modify any criteria in this RFP; and unless otherwise specified, to accept any item in a proposal.

- Proposal Disclosures: At the time of closing, only the names of those who submitted proposals shall be made public information. No price information will be released.

Bid results will not be given to individuals over the telephone. Results may be obtained after contract finalization by obtaining a bid tabulation from the ESU Purchasing Office by sending (do not include with bid):

- A check for $3.00, payable to Emporia State University

- A self -addressed, stamped envelope

- RFP Number

Send Request for Bid Tabulation to:

Emporia State University Purchasing Office

1 Kellogg Circle, Campus Box 4021

Emporia, KS 66801

Copies of individual proposals may be obtained under the Kansas Open Records Act.  ESU’s KORA Policy is available at: http://www.emporia.edu/about/kora.pdf. Please see below for instructions to request an estimate of the cost to reproduce the documents. Upon receipt of the funds, the documents will be mailed. You may also request to review the proposal file. Please contact the Custodian of Records indicated below to set up an appointment. Information in proposal files shall not be released until a contract has been executed or all proposals have been rejected.

Emporia State University asks that you submit a written request to obtain public records. Please include your name, contact information, and a specific description of the records you are requesting. Make your request as specific as possible to expedite the process.

Mail your request(s) to:

General Counsel and ESU KORA Custodian of Records

Office of General Counsel

1 Kellogg Circle, Box 4001

Emporia, KS 66801

kora@emporia.edu

- Disclosure of Proposal Content and Proprietary Information:  All proposals become the property of

Emporia State University. The Kansas Open Records Act (K.S.A. 45-205 et. seq.) of the State of Kansas requires public information be placed in the public domain at the conclusion of the selection process, and be available for examination by all interested parties. (See: http://da.ks.gov/purch/KSOpenRecAct.doc and http://www.emporia.edu/about/kora.pdf). No proposals shall be disclosed until after a contract award has been issued. ESU reserves the right to destroy all proposals if the RFP is withdrawn, a contract award is withdrawn, or in accordance with Kansas law. Late proposals will be retained unopened in the file and not receive consideration or returned to the bidder.

Trade secrets or proprietary information legally recognized as such and protected by law may be requested to be withheld if clearly labeled “Proprietary” on each individual page and provided as separate from the main proposal. Pricing information is not considered proprietary and the supplier’s entire proposal response package will not be considered proprietary.

All information requested to be handled as “Proprietary” shall be submitted separately from the main proposal and clearly labeled, in a separate envelope or clipped apart from all other documentation. The supplier shall provide detailed written documentation justifying why this material should be considered “Proprietary.” The ESU Purchasing Office reserves the right to accept, amend or deny such requests for maintaining information as proprietary in accordance with Kansas law.

Emporia State University does not guarantee protection of any information which is not submitted as required.

- Exceptions: By submission of a response, the supplier acknowledges and accepts all terms and conditions of the RFP unless clearly avowed and wholly documented in a separate section of the proposal to be entitled:  “Exceptions”.

- Notice of Award: An award is made on execution of the written contract by all parties.

- News Releases: Only Emporia State University is authorized to issue news releases relating to this RFP, its evaluation, award and/or performance of the contract.

SECTION II - PROPOSAL RESPONSE

- Submission of Proposals: Supplier’s proposal shall consist of:

- Technical Proposal;

- Cost Proposal (Price Sheet);

- Completion of supplier response check list;

- Signature sheet;

- Tax Clearance Certificate;

- Certification regarding immigration reform & control;

- W-9

Supplier's proposal shall be received no later than 2:00 p.m., Central Time, on the closing date indicated on Page 1:

Emporia State University Purchasing Office 			Emporia State University Purchasing Office

purchaseorders@emporia.edu  				1 Kellogg Circle

RFP# 005-18							Campus Box 4021

October 23, 2017	Emporia, KS 66801

Bid opening will be at: Emporia State University Purchasing Office, 1 Kellogg Circle, Plumb Hall 103O, Emporia, KS 66801 following bid closing.

Faxed, e-mailed or telephoned proposals are not acceptable unless otherwise specified.

Proposals received prior to the closing date shall be kept secured and sealed until closing. Emporia State University shall not be responsible for the premature opening of a proposal or for the rejection of a proposal that was not received prior to the closing date because it was not properly identified on the outside of the envelope or container. Late proposals will be retained unopened in the file and not receive consideration.

It is the supplier’s responsibility to ensure bids are received by the closing date and time.  Delays in mail delivery or any other means of transmittal, including couriers or agents of the issuing entity shall not excuse late bid submissions.

- Proposal Format: Suppliers are encouraged to prepare their Technical Proposal following the same sequence as this RFP.

3.	Transmittal Letter: All bidders shall respond to the following statements:

- The supplier is the prime contractor and identifying all subcontractors? ________________________________________________________________________________________

- The supplier is a corporation or other legal entity?

________________________________________________________________________________________

- Has an attempt been made or will be made to induce any other person or firm to submit or not to submit a proposal?

________________________________________________________________________________________

- The supplier does not discriminate in employment practices with regard to race, color, religion, age (except as provided by law), sex, marital status, political affiliation, national origin or disability?

________________________________________________________________________________________

- Has cost or pricing information has been included in the transmittal letter or the Technical Proposal?

________________________________________________________________________________________

- The supplier presently has no interest, direct or indirect, which would conflict with the performance of services under this contract and shall not employ, in the performance of this contract, any person having a conflict?

________________________________________________________________________________________

- The person signing the proposal is authorized to make decisions as to pricing quoted and has not participated, and will not participate, in any action contrary to the above-statements?

________________________________________________________________________________________

- Supplier agrees that any lost or reduced state or federal matching money resulting from unacceptable performance in a contractor task or responsibility defined in the RFP, contract or modification shall be accompanied by reductions in ESU payments to Contractor?

________________________________________________________________________________________

- The supplier has not been retained, nor has it retained a person to solicit or secure a state contract on an agreement or understanding for a commission, percentage, brokerage or contingent fee, except for retention of bona fide employees or bona fide established commercial selling agencies maintained by the supplier for the purpose of securing business. For breach of this provision, the Committee shall have the right to reject the proposal, terminate the contract and/or deduct from the contract price or otherwise recover the full amount of such commission, percentage, brokerage or contingent fee or other benefit. Accept or Reject _____________

Disclaimer: There is a reasonable probability that the supplier is or will be associated with any parent, affiliate or subsidiary organization, either formally or informally, in supplying any service or furnishing any supplies or 	equipment to the supplier which would relate to the performance of this contract.  If the statement is in the affirmative, the supplier is  required to submit with the proposal, written certification and authorization from the parent, affiliate or subsidiary organization granting the State and/or the federal government the right to examine any directly pertinent books, documents, papers and records involving such transactions related to the contract.  Further, if at any time after a proposal is submitted, such an association arises, the supplier will obtain a similar certification and authorization and failure to do so will constitute grounds for termination for cause of the contract at the option of the ESU. Accept or Reject _____________

- Supplier Information:  The supplier must include a narrative of the supplier's corporation and each subcontractor if any. The narrative shall include the following:

a.	date established;

b.	ownership (public, partnership, subsidiary, etc.);

c.	number of personnel, full and part-time, assigned to this project by function and job title;

d.	resources assigned to this project and the extent they are dedicated to other matters;

e.	organizational chart;

f. 	financial statement may be required.

- Qualifications:  A description of the supplier’s qualifications and experience providing the requested or similar service, including resumes of personnel assigned to the project stating their education and work experience, shall be submitted with the Technical Proposal.  The supplier must be an established firm recognized for its capacity to perform.  The supplier must have sufficient personnel to meet the deadlines specified in the RFP.

- Timeline:  A timeline for implementing services must be submitted with the bid.

- Methodology:  Bidders shall submit with the bid, a detailed explanation of the methodology for implementing services.

- Technical Literature:  All bids shall include specifications and technical literature sufficient to allow Emporia State University to determine that the equipment/services meet(s) all requirements. If a requirement is not addressed in the technical literature, it must be supported by additional documentation and included with the bid. Bid responses without sufficient technical documentation may be rejected.

- Procurement Card (P-Card):  Presently, Emporia State University uses a State of Kansas Business Procurement Card (Visa-branded) in lieu of a state warrant to pay for some of its purchases. No additional charges will be allowed for using the card.  Please indicate on the Signature Sheet if you will accept the Business Procurement Card for payment.

SECTION III -	 TERMS AND CONDITIONS

- Documents: This RFP, any amendments, the response and any response amendments of the Contractor, and the ESU DA-146a (Rev. 07-17) Contractual Provision Attachment shall be incorporated into the written contract, which shall compose the complete understanding of the parties.

In the event of a conflict in terms of language among the documents, the following order of precedence shall govern:

- Form ESU DA-146a (Rev. 07-17) (attached);

- written modifications to the executed contract;

- written contract signed by all parties

- this RFP including any and all addenda;

- any supporting manuals/documents that have been incorporated in this Request; and

- contractor's written proposal submitted in response to this Request as finalized

- Contract: The successful supplier will be required to enter into a written contract with ESU. The supplier agrees to accept the provisions of ESU DA-146a (Rev. 07-17) Contractual Provision Attachment which is incorporated into all contracts with ESU and is attached to this RFP.

- Contract Formation: No contract shall be considered to have been entered into by ESU until all statutorily required signatures and certifications have been rendered and a written contract has been signed by the successful supplier.

- Notices:  All notices, demands, requests, approvals, reports, instructions, consents or other communications (collectively "notices") which may be required or desired to be given by either party to the other shall be IN LETTER FORMAT as an attachment to an email (or mail) and addressed as follows:

Purchasing Office

Emporia State University

RFP# 005-18

Video Surveillance

purchaseorders@emporia.edu

or to any other persons or addresses as may be designated by notice from one party to the other.

- Termination for Cause: Emporia State University and/or its Purchasing Office may terminate this contract, or any part of this contract, for cause under any one of the following circumstances:

- the Contractor fails to make delivery of goods or services as specified in this contract;

- the Contractor provides substandard quality and/or workmanship;

- the Contractor fails to perform any of the provisions of this contract, or

- the Contractor fails to make progress as to endanger performance of this contract in accordance with its terms.

ESU shall provide Contractor with written notice of the conditions endangering performance.  If the Contractor fails to remedy the conditions within ten (10) days from the receipt of the notice (or such longer period as ESU may authorize in writing), ESU shall issue the Contractor an order to stop work immediately.  Receipt of the notice shall be presumed to have occurred within three (3) days of the date of the notice.

If it is determined, after notice of termination for cause, that Contractor's failure was due to causes beyond the control of or negligence of the Contractor, the termination shall be a termination for convenience.

- Termination for Convenience: Emporia State University may terminate performance of work under this contract in whole or in part whenever, for any reason, it is determined that the termination is in the best interest of ESU. In the event that ESU elects to terminate this contract pursuant to this provision, it shall provide the Contractor written notice at least 30 days prior to the termination date.  The termination shall be effective as of the date specified in the notice. The Contractor shall continue to perform any part of the work that may have not been terminated by the notice.

If it is determined, after notice of termination for cause, that Contractor's failure was due to causes beyond the control of or negligence of the Contractor, the termination shall be a termination for convenience.

- Debarment of University Contractors: Any Contractor who defaults on delivery or does not perform in a satisfactory manner as defined in this contract may be barred for a period up to three (3) years, pursuant to KSA 75-37,103, or have their work evaluated for pre-qualification purposes pursuant to K.S.A 75-37,104.

- Rights and Remedies: If this contract is terminated, ESU, in addition to any other rights provided for in this contract, may require the Contractor to transfer title and deliver to ESU in the manner and to the extent directed, any completed materials. ESU shall be obligated only for those services and materials rendered and accepted prior to the date of termination.

In the event of termination, the Contractor shall receive payment prorated for that portion of the contract period services were provided to and/or goods were accepted by ESU subject to any offset by ESU for actual damages including loss of state or federal matching funds.

The rights and remedies of ESU provided for in this contract shall not be exclusive and are in addition to any other rights and remedies provided by law.

- Force Majeure:  The Contractor shall not be held liable if the failure to perform under this contract arises out of causes beyond the control of the Contractor. Causes may include, but are not limited to, acts of nature, fires, tornadoes, quarantine, strikes other than by Contractor's employees, and freight embargoes, etc.

- Waiver:  Waiver of any breach of any provision in this contract shall not be a waiver of any prior or subsequent breach. Any waiver shall be in writing and any forbearance or indulgence in any other form or manner by ESU shall not constitute a waiver.

- Independent Contractor:  Both parties, in the performance of this contract, shall be acting in their individual capacity and not as agents, employees, partners, joint ventures or associates of one another. The employees or agents of one party shall not be construed to be the employees or agents of the other party for any purpose whatsoever.

The Contractor accepts full responsibility for payment of unemployment insurance, workers compensation and social security as well as all income tax deductions and any other taxes or payroll deductions required by law for its employees engaged in work authorized by this contract.

- Staff Qualifications:  The Contractor shall warrant that all persons assigned by it to the performance of this contract shall be employees of the Contractor (or specified Subcontractor) and shall be fully qualified to perform the work required. The Contractor shall include a similar provision in any contract with any Subcontractor selected to perform work under this contract.

Failure of the Contractor to provide qualified staffing at the level required by the contract specifications may result in termination of this contract and/or damages.

- Subcontractors:  The Contractor shall be the sole source of contact for the contract. ESU will not subcontract any work under the contract to any other firm and will not deal with any subcontractors. The Contractor is totally responsible for all actions and work performed by its subcontractors. All terms, conditions and requirements of the contract shall apply without qualification to any services performed or goods provided by any subcontractor.

- Proof of Insurance: Upon request, the Contractor shall present an affidavit of Worker's Compensation, Public Liability, and Property Damage Insurance to the ESU Purchasing Office or other designated ESU office.

- Conflict of Interest: The Contractor shall not knowingly employ, during the period of this contract or any extensions to it, any professional personnel who are also in the employ of the ESU and who are providing services involving this contract or services similar in nature to the scope of this contract to ESU. Furthermore, the Contractor shall not knowingly employ, during the period of this contract or any extensions to it, any ESU employee who has participated in the making of this contract until at least two years after his/her termination of employment with ESU.

- Confidentiality:  The Contractor may have access to private or confidential data maintained by ESU to the extent necessary to carry out its responsibilities under this contract. Contractor must comply with all the requirements of the Kansas Open Records Act in providing services under this contract. Contractor shall accept full responsibility for providing adequate supervision and training to its agents and employees to ensure compliance with the Act. Contractor may be required to agree to additional confidentiality terms and execute related documentation. No private or confidential data collected, maintained or used in the course of performance of this contract shall be disseminated by either party except as authorized by statute, either during the period of the contract or thereafter. Contractor must agree to return any or all data furnished by ESU promptly at the request of ESU in whatever form it is maintained by Contractor. On the termination or expiration of this contract, Contractor will not use any of such data or any material derived from the data for any purpose and, where so instructed by ESU, will destroy or render it unreadable.

- Nondiscrimination and Workplace Safety:  The Contractor agrees to abide by all federal, state and local laws, rules and regulations prohibiting discrimination in employment and controlling workplace safety. Any violations of applicable laws, rules and regulations may result in termination of this contract.

- Environmental Protection:  The Contractor shall abide by all federal, state and local laws, rules and regulations regarding the protection of the environment. The Contractor shall report any violations to the applicable governmental agency. A violation of applicable laws, rule or regulations may result in termination of this contract for cause.

- Hold Harmless: The Contractor shall indemnify ESU against any and all loss or damage to the extent arising out of the Contractor’s negligence in the performance of services under this contract and for infringement of any copyright or patent occurring in connection with or in any way incidental to or arising out of the occupancy, use, service, operations or performance of work under this contract.

ESU shall not be precluded from receiving the benefits of any insurance the Contractor may carry which provides for indemnification for any loss or damage to property in the Contractor's custody and control, where such loss or destruction is to State property. The Contractor shall do nothing to prejudice ESU's right to recover against third parties for any loss, destruction or damage to State property.

- Care of State Property: The Contractor shall be responsible for the proper care and custody of any state-owned personal tangible property and real property furnished for Contractor's use in connection with the performance of this contract.  The Contractor will reimburse ESU for such property's loss or damage caused by Contractor, normal wear and tear excepted.

- Prohibition of Gratuities: Neither the Contractor nor any person, firm or corporation employed by the Contractor in the performance of this contract shall offer or give any gift, money or anything of value or any promise for future reward or compensation to any ESU employee at any time.

- Retention of Records: Unless ESU specifies in writing a different period of time, the Contractor agrees to preserve and make available all of its books, documents, papers, records and other evidence involving transactions related to this contract for a period of five (5) years from the date of the expiration or termination of this contract.

Matters involving litigation shall be kept for one (1) year following the termination of litigation, including all appeals, if the litigation exceeds five (5) years.

The Contractor agrees that authorized federal and state representatives, including but not limited to, personnel of ESU; independent auditors acting on behalf of state and/or federal agencies shall have access to and the right to examine records during the contract period and during the five (5) year post-contract period. Delivery of and access to the records shall be within five (5) business days at no cost to ESU.

- Antitrust: If the Contractor elects not to proceed, the Contractor assigns to ESU all rights to and interests in any cause of action it has or may acquire under the anti-trust laws of the United States and ESU relating to the particular products or services purchased or acquired by ESU pursuant to this contract.

- Modification:  This contract shall be modified only by the written agreement of the parties with the approval of the PNC. No alteration or variation of the terms and conditions of the contract shall be valid unless made in writing and signed by the parties. Every amendment shall specify the date on which its provisions shall be effective.

- Assignment:  The Contractor shall not assign, convey, encumber, or otherwise transfer its rights or duties under this contract without the prior written consent of ESU.

This contract may terminate in the event of its assignment, conveyance, encumbrance or other transfer by the Contractor without the prior written consent of ESU.

- Third Party Beneficiaries:  This contract shall not be construed as providing an enforceable right to any third party.

- Captions:  The captions or headings in this contract are for reference only and do not define, describe, extend, or limit the scope or intent of this contract.

- Severability:  If any provision of this contract is determined by a court of competent jurisdiction to be invalid or unenforceable to any extent, the remainder of this contract shall not be affected and each provision of this contract shall be enforced to the fullest extent permitted by law.

- Governing Law:  This contract shall be governed by the laws of the State of Kansas and shall be deemed executed at Emporia, Lyon County, Kansas, unless otherwise specified and agreed upon by ESU.

- Jurisdiction:  The parties shall bring any and all legal proceedings arising hereunder in the State of Kansas, District Court of Lyon County, unless otherwise specified and agreed upon by ESU. The United States District Court for the State of Kansas sitting in Topeka, Shawnee County, Kansas, shall be the venue for any federal action or proceeding arising hereunder in which the State is a party.  Supplier/contractor waives personal service of process, all defenses of lack of personal jurisdiction and forum non conveniens.  The Eleventh Amendment of the United States Constitution is an inherent and incumbent protection with Emporia State University and need not be reserved, but prudence requires the University to reiterate that nothing related to this Agreement shall be deemed a waiver of the Eleventh Amendment.

- Mandatory Provisions:  The provisions found in Contractual Provisions Attachment (DA-146a), which is attached, are incorporated by reference and made a part of this contract.

- Integration: This contract, in its final composite form, shall represent the entire agreement between the parties and shall supersede all prior negotiations, representations or agreements, either written or oral, between the parties relating to the subject matter hereof. This contract between the parties shall be independent of and have no effect on any other contracts of either party.

- Criminal Or Civil Offense:  Any conviction for a criminal or civil offense of an individual or entity that controls a company or organization or will perform work under this contract that indicates a lack of business integrity or business honesty must be disclosed. This includes (1) conviction of a criminal offense as an incident to obtaining or attempting to obtain a public or private contract or subcontract or in the performance of such contract or subcontract; (2) conviction under state or federal statutes of embezzlement, theft, forgery, bribery, falsification or destruction of records, receiving stolen property; (3) conviction under state or federal antitrust statutes; and (4) any other offense to be so serious and compelling as to affect responsibility as a state contractor.  For the purpose of this section, an individual or entity shall be presumed to have control of a company or organization if the individual or entity directly or indirectly, or acting in concert with one or more individuals or entities, owns or controls 25 percent or more of its equity, or otherwise controls its management or policies.  Failure to disclose an offense may result in disqualification of the bid or termination of the contract.

- Injunctions: Should ESU be prevented or enjoined from proceeding with the acquisition before or after contract execution by reason of any litigation or other reason beyond the control of ESU, Contractor shall not be entitled to make or assert claim for damage by reason of said delay.

- Statutes:  Each and every provision of law and clause required by law to be inserted in the contract shall be deemed to be inserted herein and the contract shall be read and enforced as though it were included herein. If through mistake or otherwise any such provision is not inserted, or is not correctly inserted, then on the application of either party the contract shall be amended to make such insertion or correction.

- Materials and Workmanship:  The Contractor shall perform all work and furnish all supplies and materials, machinery, equipment, facilities, and means, necessary to complete all the work required by this Contract, within the time specified, in accordance with the provisions as specified.

The contractor shall be responsible for all work put in under these specifications and shall make good, repair and/or replace, at the contractor's own expense, as may be necessary, any defective work, material, etc., if in the opinion of Emporia State University said issue is due to imperfection in material, design, workmanship or contractor fault.

- Industry Standards: If not otherwise provided, materials or work called for in this contract shall be furnished and performed in accordance with best established practice and standards recognized by the contracted industry and comply with all codes and regulations which shall apply.

- Federal, State and Local Taxes: Unless otherwise specified, the RFP price shall include all applicable federal,

state and local taxes.  The Contractor shall pay all taxes lawfully imposed on it with respect to any product or service delivered in accordance with this Contract.  ESU is exempt from state sales or use taxes and federal excise taxes for direct purchases. These taxes shall not be included in the supplier's price quotation.  Upon request, ESU shall provide to the Contractor a certificate of tax exemption.

ESU makes no representation as to the exemption from liability of any tax imposed by any governmental entity on the Contractor.

39.	Accounts Receivable Set-Off Program:  If, during the course of this contract the Contractor is found to owe a debt to the State of Kansas, agency payments to the supplier may be intercepted / setoff by the State of Kansas. Notice of the setoff action will be provided to the Contractor. Pursuant to K.S.A. 75-6201 et seq., Contractor shall have the opportunity to challenge the validity of the debt.  If the debt is undisputed, the Contractor shall credit the account of the agency making the payment in an amount equal to the funds intercepted.

K.S.A. 75-6201 et seq. allows the Director of Accounts & Reports to setoff funds the State of Kansas owes Contractors against debts owed by the Contractors to the State of Kansas. Payments setoff in this manner constitute lawful payment for services or goods received. The Contractor benefits fully from the payment because its obligation to the State is reduced by the amount subject to setoff.

40.	Immigration and Reform Control Act of 1986 (IRCA): All contractors are expected to comply with the Immigration and Reform Control Act of 1986 (IRCA), as may be amended from time to time. This Act, with certain limitations, requires the verification of the employment status of all individuals who were hired on or after November 6, 1986, by the contractor as well as any subcontractor or sub-contractors. The usual method of verification is through the Employment Verification (I-9) Form.

With the submission of this bid, the contractor hereby certifies without exception that such contractor has complied with all federal and state laws relating to immigration and reform. Any misrepresentation in this regard or any employment of persons not authorized to work in the United States constitutes a material breach and, at ESU’s option, may subject the contract to termination and any applicable damages.

Unless provided otherwise herein, all contractors are expected to be able to produce to ESU any documentation or other such evidence to verify Contractor's IRCA compliance with any provision, duty, certification or like under the contract.

41.  Worker Misclassification:  The contractor and all lower tiered subcontractors under the contract shall properly 	  	 classify workers as employees rather than independent contractors and treat them accordingly for purposes of 	  	 workers’ compensation insurance coverage, unemployment taxes, social security taxes, and income tax 	 	 	 withholding.  Failure to do so may result in contract termination.

42. 	HIPPA Confidentiality: Per the Health Insurance Portability and Accountability Act (1996) 						(HIPAA), ESU is a covered entity under the act and therefore Contractor is not permitted to use or disclose 				health information in ways that ESU could not.  This protection continues as long as the data is in the hands 				of the Contractor.

The Contractor shall establish and maintain procedures and controls acceptable to ESU to protect the privacy of 	members' information. Unless the Contractor has the member's written consent, the Contractor shall not use any 	personally identifiable information obtained for any reason other than that mandated by this agreement

43.	Off-Shore Sourcing:  Suppliers shall disclose in their bid response the location where the contracted services will be performed and whether or not any of the work necessary to provide the contracted services will be performed at a site outside the United States.

If, during the term of the contract, the Contractor or subcontractor moves work previously performed in the United States to a location outside of the United States, the Contractor shall immediately notify the ESU Purchasing Office in writing, indicating the desired new location, the nature of the work to be moved and the percentage of work relocated.  ESU must approve any changes prior to work being relocated.  Failure to obtain ESU’s approval may be grounds to terminate the contract for cause.

44.  Proposal Preparation Information: Additional reference material is available for review at the requesting at ESU.  This information has been assembled by ESU to assist suppliers in the preparation of the proposals and to ensure that all suppliers have equal access to information.

Suppliers may access this information by contacting the following individual:

Ryan Kurtenbach – IT

rkurtenb@emporia.edu

45.	On-Site Inspection: Failure to adequately inspect the premises shall not relieve the Contractor from furnishing without additional cost to ESU any materials, equipment, supplies or labor that may be required to carry out the intent of this Contract. Submission of a bid shall be construed as evidence that the supplier has made necessary examination, inspection and investigation. Failure to properly inspect the site may result in rejection of the supplier's bid.

46.	Experience: All bidders must have/or are preferred to have a minimum of 5 years continuous active participation in the applicable industry, providing equipment/services comparable in size and complexity to those specified herein.

Bidders may be required to furnish information supporting the capability to comply with conditions for bidding and fulfill the contract if receiving an award of contract. Such information may include, but not be limited to, a list of similar size and type projects the Bidder has completed.

47.	Prices:  Prices shall remain firm for the entire contract period and subsequent renewals. Prices quoted shall be net delivered, including all trade, quantity and cash discounts. Any price reductions available during the contract period shall be offered to ESU. Failure to provide available price reductions may result in termination of the contract for cause.

48.	Payment:  Payment Terms are Net 30 days. Payment date and receipt of order date shall be based upon K.S.A. 75-6403(b). This Statute requires Emporia State University to pay the full amount due for goods or services on or before the 30th calendar day after the date Emporia State University receives such goods or services or the bill for the goods and services, whichever is later, unless other provisions for payment are agreed to in writing by the Contractor and Emporia State University. NOTE: If the 30th calendar day noted above falls on a Saturday, Sunday, or legal holiday, the following workday will become the required payment date.

Payments shall not be made for costs or items not listed in the Contractor's response.

49. Invoices:  Each purchase order must be individually invoiced and shall state the following:

1. date of invoice;

2. date of shipment (or completion of work);

3. purchase order number and contract number;

4. itemization of all applicable charges; and

5. net amount due.

50.  Unit Pricing:  Each item required by the bid must be individually priced (i.e. priced per single unit) 	and be able to be ordered individually.

51.	Upgrades (Hardware/Software): Bidders shall indicate the upgrade price and policy for any software, firmware, or hardware upgrades anticipated for the equipment bid. If the upgrades are provided without cost, this should be indicated.

52.	Shipping and F.O.B. Point:  Unless otherwise specified, bid prices shall be F.O.B. DESTINATION, PREPAID AND ALLOWED (included in the price bid), which means delivered to ESU's receiving dock or other designated point as specified in this RFP without additional charge. Shipments shall be made in order to arrive at the destination at a satisfactory time for unloading during receiving hours.

53.	Deliveries:  All orders shall be shipped FOB destination, prepaid and allowed, within 10days ARO, clearly marked with the purchase order number. If delays in delivery are anticipated, the Contractor shall immediately notify Emporia State University of the revised delivery date or partial delivery date. The order may be cancelled if delivery time is unsatisfactory. The Contractor shall inform the ESU Purchasing Office of any supply or delivery problems. Continued delivery problems may result in termination of the contract.

In the event delivery minimums apply, bidders shall submit that information with their bid response.

54.	Charge Back Clause:  If the contractor fails to deliver the product within the delivery time established by the contract, ESU reserves the right to purchase the product from the open market and charge back the difference between contract price and open market price to the contractor.

55.	Demonstration Requirements:  A demonstration of the selected devices/equipment/solution for ESU may be required before final contract approval.  ESU reserves the right to request said devices/equipment/solution fully configured/operational for testing, which shall be furnished at no expense to ESU within ten (10) days after receipt of request.  Devices/equipment will be returned at the bidder’s expense if not consumed during the evaluation process.

56.	Subcontractors: Kansas Statute K.S.A. 75-3741, as amended, requires a Bidder to list and identify the "Major Sub-Contractors" for Mechanical Construction, Plumbing Construction, and/or Electrical Construction included as a part of the Proposed, when a single contract for the "Project as a whole" is to be awarded.

ESU requires tax clearance certificates for all subcontractors be submitted with the proposal, and that the bidder additionally provide subcontract(s) legal company name, contract information and tax ID number (FEIN/TIN) as well.

57.	Equipment: All proposed equipment, equipment options, and hardware expansions must be identified by manufacturer and model number and descriptive literature of such equipment must be submitted with the bid.

58.	Implied Requirements: All products and services not specifically mentioned in this RFP, but which are necessary to provide the functional capabilities described by the specifications, shall be included. Other products required to make the described software functional shall be identified in the supplier's response.

59.	Warranty: Bidders shall indicate the type and extent of the warranty for all equipment, hardware, software, and services proposed. ESU requires a “standard” warranty of 365 days, or one (1) year, whichever is 	greater, unless otherwise indicated. This warranty shall be included in the cost of the equipment.

The Contractor will be the sole point of contact on any problems with the equipment or systems during the 	warranty period.

The Contractor shall be responsible for all work performed under these specifications. The Contractor shall make good, repair and replace, at the Contractor's own expense, as may be necessary, any defective work, material acceptance, if in the opinion of the ESU Purchasing Office said defect is due to imperfection in material, design, or workmanship for the warranty period specified.

60.	Acceptance:  No contract provision or use of items by ESU shall constitute acceptance or relieve the Contractor of liability in respect to any expressed or implied warranties.

61.	Ownership:  All data, forms, procedures, software, manuals, system descriptions and work flows developed or accumulated by the Contractor under this contract shall be owned by ESU. The Contractor may not release any materials without the written approval of ESU.

62.	Software Code and Intellectual Property Rights:  As applicable, all original software and software code and related intellectual property developed or created by the Contractor in the performance of its obligations under this Contract or any Task Order, Work Order, or P.O. issued under this Contract, shall become the sole property of ESU. The Contractor will surrender all original written materials, including any reports, studies, designs, drawings, specifications, notes, documents, software and documentation, computer-based training modules, electronically or magnetically recorded material, used to develop this software and/or software code and related intellectual property to ESU.

63.	Data:  Any and all data required to be provided at any time during the bid process or contract term shall be made available in a format as requested and/or approved by ESU.

64.	Submission of the Bid: Submission of the bid will be considered presumptive evidence that the supplier is conversant with local facilities and difficulties, the requirements of the documents and of pertinent State and/or local codes, state of labor and material markets, and has made due allowances in the proposal for all contingencies.  Later claims for labor, work, materials, equipment, and tax liability required for any difficulties encountered which could have been foreseen will not be recognized and all such difficulties shall be properly taken care of by Contractor at no additional cost to ESU.

65.	Alternate Proposals/Equivalent Items:  Bids on goods and services comparable to those specified herein are invited.  Whenever a material, article or piece of equipment is identified in the specifications by reference to a manufacturer's or supplier's name, trade name, catalog number, etc., it is intended to establish a standard, unless otherwise specifically stated. Any material, article or equipment of other manufacturers or suppliers shall perform to the standard of the item specified. Equivalent bids must be accompanied by sufficient descriptive literature and/or specifications to provide for detailed comparison. Samples of items, if required, shall be furnished at no expense to Emporia State University and if not destroyed in the evaluation process, shall be returned at supplier's expense, if requested.

Emporia State University reserves the right to determine and approve or deny “equivalency” in comparison of alternate bids.

66.	Certification of Materials Submitted:  The response to this RFP, together with the specifications set forth herein and all data submitted by the supplier to support the response including brochures, manuals, and descriptions covering the operating characteristics of the item(s) proposed, shall become a part of any contract between the Contractor and ESU. Any written representation covering such matters as reliability of the item(s), the experience of other users, or warranties of performance shall be incorporated by reference into the contract.

67. Graphic Identity Standards and Use of University Marks: Compliance with ESU Graphic Identity Standards and Use of University Marks Policies is required and may not be waived with equivalents.

68.	Inspection: ESU reserves the right to reject, on arrival at destination, any items which do not conform with specification of the Contract.

69.	New Materials, Supplies or Equipment: Unless otherwise specified, all materials, supplies or equipment offered by the Contractor shall be new, unused in any regard and of most current design. All materials, supplies and equipment shall be first class in all respects. Seconds or flawed items will not be acceptable. All materials, supplies or equipment shall be suitable for their intended purpose and, unless otherwise specified, fully assembled and ready for use on delivery.

70.	Supplier Contracts: Supplier must include with their RFP response, a copy of any contracts, agreements, licenses, warranties, etc. that the supplier would propose to incorporate into the contract generated from this RFP.  (State of Kansas form DA-146a remains a mandatory requirement in all contracts.)

71.  Contract Price:  Contracts are awarded to take advantage of volume discount pricing for goods and services that have a recurring demand.  However, if ESU locates a supplier that can provide the identical item at a lower price, a waiver to “buy off contract” may be granted by ESU’s Controller.

72.	Transition Assistance: In the event of contract termination or expiration, Contractor shall provide all reasonable and necessary assistance to ESU to allow for a functional transition to another supplier.

73.	Award:  Award will be by line item or group total, whichever is in the best interest of ESU.

74. Acceptance: Acceptance of Bid and Agreement is formalized upon execution of a contract and issuance of an ESU purchase order, which incorporates all terms of this RFP, and corresponding execution of ESU marks licensing agreement by the parties.

# SECTION IV -	 SPECIFICATIONS

ESU is looking to implement a campus-wide integrated surveillance system. This system will be comprised of day/night cameras, encoders and a video management system. Having the capability to record, store, and archive the video for 21 days, or more, is required. To provide efficient performance of a centrally managed system, growth, and a step toward a fully functional system, Emporia State University has identified the following needs:

VIDEO MANAGEMENT SYSTEM

- The video management (VMS) must be capable of managing large bandwidth requirements from live video and the storage to retrieve the video files for playback and management of stored video.

- The VMS must be able to support multiple clients logged into the system concurrently to view recorded or live video.

- The VMS must be able to support dual streaming of video for live view and recorded video and must be able to support compression of individual streams for optimized resolution and frame rate.

- The VMS must be ONVIF and PSIA compliant.

- The VMS must be able to support compression technology MPEG4 ASP, MxPEG, H.264, MJPEG and MPEG4.

- The VMS must be able to integrate Emporia State’s building access software, Gallagher Command Centre.

- The VMS must support built-in video motion detection and privacy masking.

- The VMS client should have the following features:

  - Dedicated task-oriented mode for the Sequence Explorer, in addition to the traditional Live and Playback modes.

  - Provide support for native 64-bit operating systems.

  - Live view digital zoom allows zoomed-out recordings while the operator can digitally zoom in to see details.

  - “Update on Motion Only” to optimize CPU storage by letting motion detection control whether or not the image should be decoded and displayed (The visual effect should be a still image in the view until motion is detected.);

  - Computer monitor support with a main window and any number of either windowed or full screen views.

  - Hotspot functionality for working in detail with a camera selected from a view containing multiple cameras.

  - Application options allow the users to adapt the layout and personalize the application according to their preferences.

  - Playback of recorded or received video and audio evidence.

  - Instant one-click playback for easy viewing of exported video evidence.

  - Advanced second-level investigation tools to make it easy to refine exported video and re-export the most essential evidence.

  - A project tool to allow users to merge video exports or archives from two different locations or systems together into one new export.

  - A scrollable activity timeline with magnifying feature.

  - Instant search on recordings based on date/time and activity/alarm.

  - A “smart search” to allow for a quick search of selected areas of camera images for motion.

  - Ability to use evidence to generate a printed report, a JPEG image, and AVI film or in exported format with built in player feature.

  - Ability to export audio recordings in WAV or AVI format.

  - Ability to export video digitally zoomed to view area of interest only and to minimize export footprint size.

  - Provide encryption and password protection options for exported recordings and files.

  - Ability to add encrypted comments to exported evidence.

IP CAMERAS

- The Fixed dome camera will be installed at all the facilities listed in the scope of the project to corridors, stairwells, and entrances. Tools and equipment required to install will be the supplier’s responsibility.

- The fixed dome or fixed camera with vari-focal lens and remote focus capability will also be used on outdoor locations along the building perimeter as described on drawings.

- Contactor shall refer to drawings for locations. Drawings will indicate the areas requiring coverage by the surveillance system.

- The cameras shall be of manufacturer’s official product line, designed for commercial/industrial 24/7/365 use. The camera shall be based upon standard components and proven technology using open and published protocols.

- All equipment provided shall be backed by a minimum of three years manufacturer warranty.

- The specific unit shall be manufactured in accordance with ISO 9001 / EN 29001.

- The specified unit shall be manufactured in accordance with ISO 14000.

- The specified unit shall be compliant with 2002/95/EG RoHS and 2002/96/EG WEEE.

- The camera shall meet relevant parts of the following video standards:

  - SMPTE 296M (HDTV 720P)

- The camera shall meet the following video compression standards:

  - MPEG-4

  - ISO/IEC 14496-10 AVC (H.264)

- The camera shall meet the following network standards:

  - IEEE 802.3af (Power over Ethernet)

  - IEEE 802.1X (Authentication)

  - IPv4 (RFC 791)

  - IPv6 (RFC 2460)

  - QoS – DiffServ (RFC 2475)

- The camera shall meet the following environmental protection standards:

  - IEC 60529 (IP66)

  - NEMA 250 (Type 4X)

- The camera shall:

  - Be designed to provide video streams in HDTV 720p (1280x720) and HDTV 1080p resolution at 30 frames per second using H.264 or Motion JPEG based on the location.

  - Be equipped with Day/Night and Wide Dynamic Range functionality and remote zoom and focus capabilities.

  - Be equipped with a slot for SD/SDHC memory card expansion.

  - Be manufactured to support operation between -40 to +55ºC (-40 to +131ºF) and be both IP66 and NEMA 4X-rated.

- Use a high-quality IR-sensitive ¼” progressive scan megapixel sensor.

- Provide IR capabilities to provide day/night functionality.

- Support Motion JPEG encoding in a selectable range from 1 up to 30 frames per second in all resolutions. Support H.264 encoding in a selectable range from 1 up to 30 frames per second in all resolutions. Be able to provide configured simultaneous H.264 and Motion JPEG streams. Support both Constant Bit Rate (CBR) and Variable Bit Rate (VBR) in H.264.

- The camera shall allow for video to be transported over:

  - HTTP (Unicast)

  - HTTPS (Unicast)

  - RTP (Unicast & Multicast)

  - RTP over RTSP (Unicast)

  - RTP over RTSP over HTTP (Unicast)

- The camera shall be equipped with an integrated event functionality, which can be triggered by:

  - External input

  - Video Motion Detection

  - Audio Detection

  - Schedule

  - Camera tampering

  - Local storage full

- Response to triggers shall include:

  - Notification, using TCP, SMTP or HTTP

  - Image upload, using FTP, SMTP or HTTP

  - Activating external output

  - Recording to local storage

PROJECT IMPLEMENTATION

The contractor shall be responsible for coordinating work with the ESU staff. Specifically, the contractor shall be responsible for:

- Programming all PSC camera and encoder parameters,

- Programming and configuration of new Ethernet switches,

- The VMS software application installation and configuration,

- NVR programming and configuration,

- Workstation client software installation and configuration.

The Project work shall include but is not limited to the following:

Furnish and install all conduits, junction and pull boxes, fiber and copper cabling to support the new IP based video surveillance system.

Contractor has to follow manufacturer’s recommendations. All cameras shall have day/night capabilities, wide dynamic range, and vandal resistant housing or dome along with environmental housings to be used for all the necessary locations. Provide infrared illuminators, as needed at all the locations.

Furnish and install video management hardware and recording equipment sufficient to support the quantity of camera, quality, and resolution. Retention time shall be a minimum of 21 days. Coordinate all fields of view with ESU for final acceptance.

Provide surge suppression for all exterior cameras. This include protection for data cabling and power. Each IP camera will be connected via Category 6 cabling or fiber optic cabling (depending on distance requirements). IP cameras connected via Category 6 cabling will utilize POE network switches or NVR for power. The POE network switch will provide the power and communication for the IP camera as well as connectivity for fiber optic backbone.

Contractor is responsible for providing all programming and configuration of the Ethernet switches. The contractor shall furnish and install new rack enclosures at each site as needed.

Contractor is responsible for providing plan for adequately securing and maintaining physical storage of both servers and storage devices of the video surveillance system either in the central University Data Center or locally within each facility’s rack enclosures.

The contractor shall also provide all camera licenses, server, database, and client software applications necessary to operate the system.

The contractor shall include the fixed license fees include a 3-year Software Upgrade Path (SUP).

Contractor shall provide sufficient Ethernet switch ports, programming and configuration for the quantities of cameras proposed.

Contractor shall provide surge protection to all devices.

Performance Requirements

Performance: The IP video surveillance system shall be designed to meet or exceed the requirements.

Contractor shall submit camera and storage calculations confirming the camera and storage configuration meets or exceeds the requirements.

Submittals

Product Data: For each type of product indicated. Include dimensions and data on features, performance, electrical characteristics, ratings, and finishes.

Shop Drawings: For video surveillance. Include plans, details, and attachments to other work.

Detail equipment assemblies and indicate dimensions, method of field assembly, components, and location and size of each field connection.

UPS: Sizing calculations

Equipment List: Include every piece of equipment by model number, manufacturer, serial number, location, and date of original installation. Add pretesting record of each piece of equipment, listing name of person testing, date of test, set points of adjustments, name and description of view.

Field quality-control reports.

Operation and Maintenance Data: For cameras, power supplies, video management system, video encoders, servers, workstations, storage devices, to include in emergency, operation, and maintenance manuals. In addition to items specified include the following:

List of spare parts and replacement components recommended being stored at the site for ready access.

Warranty: Copies of warranty.

Quality Assurance

Contractor or approved sub-contractor shall be a certified cable installer, with the capability of providing a manufacturer’s certification of not less than one (1) year for the voice and data cabling and associated termination equipment provided. The contractor shall offer proof of certification by submitting a copy of its certification to the owner or owner’s representative as a submittal requirement prior to beginning any work.

Contractor or approved sub-contractor shall be a manufacturer’s trained authorized representative have three (3) years’ experience designing and installing IP video systems with the VMS vendor submitted with the bid. Contractor or sub-contractor shall also maintain a certified platinum partner level, with the capability of providing a manufacturer’s certification of not less than once (1) year for the VMS equipment provided. The Contractor shall offer proof of certification by submitting a copy of its certification to the owner or owner’s representative as a submittal requirement prior to beginning any work.

Contractor or approved sub-contractor shall be a manufacturer’s authorized representative certified in the equipment and solutions submitted in this project. The contractor or sub-contractor shall offer proof of certification by submitting a copy of its certification to the owner or owner’s representative as submittal prior to beginning any work.

Electrical Components, Devices and Accessories: Listed and labeled as defined in NFPA 70, by a qualified testing agency and marked for intended location and application.

Comply with NECA 1.

Comply with NFPA 70.

PROJECT CONDITIONS

Environmental Conditions: Capable of withstanding the following environmental conditions without mechanical or electrical damage or degradation of operating capability:

Exterior Environment: System components installed in locations exposed to weather shall be rated for continuous operation in ambient temperatures of minus 15 to plus 122 deg F (minus 10 to plus 50 deg C) dry bulb and 20 to 90 percent relative humidity, condensing. Use NEMA Type 4X enclosures.

Security Environment: Camera and or housing for use in high-risk areas where surveillance equipment may be subject to physical violence shall be vandal-resistant.

WARRANTY

Special Warranty: Manufacturer’s standard form in which manufacturer agrees to repair or preplace components of cameras, equipment related to camera operation, and control-station equipment that fall in materials or workmanship within specified warranty period.

Warranty Period: Three years from date of Substantial Completion and the contractor should be able to process advanced RMA from the cameraman manufacturer, onsite support for the video management system along with the server along with the server and storage hardware.

DELIVERABLES

In the proposal of the vendor’s solution they should include the following:

- An itemized and detailed breakdown of equipment, installation services, and documentation services by building or campus location. This would include, but is not limited to:

  - Cameras

  - VMS software

  - VMS hardware

  - Cabling

  - Networking hardware

  - Miscellaneous such as jumper cables, boxes, power cable ends, and etc.

  - Installation and programming services of network equipment, cameras and VMS solution

  - Installation of cabling runs, cabling ends, testing of cabling, and labeling of cabling.

  - Creation of documentation.

- Mapped locations of proposed camera placement with type of camera for interior and exterior locations

- Statement of work to be performed and proposed timeline for installation.

At the completion of the project all cabling and cameras should be marked and identifiable. A Camera Identification map should be provided for each building and for exterior cameras on the campus. All testing results of cabling runs should be documented and provided.

EVALUATION CRITERIA

- Vendor – The vendor must be certified

- Cost – Overall project costs to perform the work described in the contract documents; hardware, software, upgrade, and annual maintenance.

- Data Management – Proposed solution will provide an effective storage environment for Emporia State University.

- Growth – The VMS should be able to scalable to allow for future expansion of the system.

- Data Archive – Availability/compatibility of option to archive data and should be capable of storing the data for a minimum of 21 days.

- Backup/Restoration – The VMS configuration should be able to be restored from the last saved configuration.

- Disaster Recovery – The configuration of the VMS should be able to be stored and should be able to restore the configuration in a disaster recovery situation.

State of Kansas

Emporia State University

DA-146a    (Rev. 07-17)

CONTRACTUAL PROVISIONS ATTACHMENT

Important:	This form contains mandatory contract provisions and must be attached to or incorporated in all copies of any contractual agreement. If it 	is attached to the vendor/contractor’s standard contract form, then that form must be altered to contain the following provision:

“The Provisions found in Contractual Provisions Attachment (Form DA-146a, Rev. 07-17), which is attached hereto, are hereby 		incorporated in this contract and made a part thereof.”

The parties agree that the following provisions are hereby incorporated into the contract to which it is attached and made a part thereof, 		being the 25th day of September, 2017.

1.	Controlling Provisions:  It is expressly agreed that the terms of each and every provision in this attachment shall prevail and control over the terms of any other conflicting provision in any other document relating to and a part of the contract in which this attachment is incorporated.  Any terms that conflict or could be interpreted to conflict with this attachment are nullified.

2.	Disclaimer Of Liability:  No provision of this contract will be given effect that attempts to require Emporia State University or any of its affiliates (“University”) to defend, hold harmless, or indemnify any contractor or third party for any acts or omissions. The terms, conditions, and limitations of liability of the State of Kansas, the University, and their employees are defined under the Kansas Tort Claims Act (K.S.A. 75-6101 et seq.).

3.	Termination Due To Lack Of Funding Appropriation:  If, in the judgment of the Director of Accounts and Reports, Department of Administration, sufficient funds are not appropriated to continue the function performed in this agreement and for the payment of the charges hereunder, the University may terminate this agreement at the end of its current fiscal year.  The University agrees to give written notice of termination to contractor at least 30 days prior to the end of its current fiscal year, and shall give such notice for a greater period prior to the end of such fiscal year as may be provided in this contract, except that such notice shall not be required prior to 90 days before the end of such fiscal year.  Contractor shall have the right, at the end of such fiscal year, to take possession of any equipment provided under the contract for which it has not been paid.  The University will pay contractor all regular contractual payments incurred through the end of such fiscal year, plus contractual charges incidental to the return of any such equipment.  Upon termination of the agreement under this provision, title to any such equipment shall revert to contractor at the end of the University’s current fiscal year.  The termination of the contract pursuant to this paragraph shall not cause any penalty to be charged to the agency or the contractor.

4.	Kansas Law and Venue:  All matters arising out of or related to this agreement shall be subject to, governed by, and construed according to the laws of the State of Kansas, and jurisdiction and venue of any suit arising out of or related to this agreement shall reside only in courts located in the State of Kansas.

5.	Required Non-Discrimination Provision:  Contractor agrees to comply with all applicable state and federal anti-discrimination laws.  Contractor specifically agrees: (a) to comply with the Kansas Act Against Discrimination (K.S.A. 44-1001 et seq.) and the Kansas Age Discrimination in Employment Act (K.S.A. 44-1111 et seq.) and the applicable provisions of the Americans With Disabilities Act (42 U.S.C. 12101 et seq.) (ADA) and to not discriminate against any person because of race, religion, color, sex, disability, national origin or ancestry, or age in the admission or access to, or treatment or employment in, its programs or activities; (b) to include in all solicitations or advertisements for employees, the phrase "equal opportunity employer"; (c) to comply with the reporting requirements set out at K.S.A. 44-1031 and K.S.A. 44-1116; (d) to include those provisions in every subcontract or purchase order so that they are binding upon such subcontractor or vendor; (e) that a failure to comply with the reporting requirements of (c) above or if the contractor is found guilty of any violation of such acts by the Kansas Human Rights Commission or if it is determined that the contractor has violated applicable provisions of ADA, such violation(s) shall constitute a breach of contract and the contract may be cancelled, terminated or suspended, in whole or in part, by the University.  The provisions of this paragraph (except the provisions relating to the ADA) are not applicable to a contractor who employs fewer than four employees during the term of such contract or whose contracts with the University cumulatively total $5,000 or less during the fiscal year.

Contractor shall abide by the requirements of 41 CFR §§ 60-1.4(a), 60-300.5(a) and 60-741.5(a). These regulations prohibit discrimination against qualified individuals based on their status as protected veterans or individuals with disabilities, and prohibit discrimination against all individuals based on their race, color, religion, sex, or national origin.  Moreover, these regulations require that covered prime contractors and subcontractors take affirmative action to employ and advance individuals in employment without regard to race, color, religion, sex, national origin, protected veteran status or disability.

6.	Acceptance Of Contract:  This contract shall not be considered accepted, approved or otherwise effective until the statutorily required approvals and certifications have been given.

7.	Arbitration, Damages, Warranties:  Notwithstanding any language to the contrary, no interpretation of this contract shall find that the University has agreed to binding arbitration, or the payment of damages or penalties. Further, the University does not agree to pay attorney fees, costs, or late payment charges beyond those available under the Kansas Prompt Payment Act (K.S.A. 75-6403), and no provision will be given effect that attempts to exclude, modify, disclaim or otherwise attempt to limit any damages or rights of action available to the University at law, including but not limited to the implied warranties of merchantability and fitness for a particular purpose.

8.	Authority To Contract:  By signing this contract, the representative of the contractor thereby represents that such person is duly authorized by the contractor to execute this contract on behalf of the contractor and that the contractor agrees to be bound by the provisions thereof.

9.	Responsibility For Taxes:  The University shall not be responsible for, nor indemnify a contractor for, any federal, state or local taxes which may be imposed or levied upon the subject matter of this contract.

10.	Insurance:  The University shall not be required to purchase any insurance against loss or damage to property or any other subject matter relating to this contract, nor shall this contract require the University to establish a "self-insurance" fund to protect against any such loss or damage.

11.	Information/Confidentiality:  As a state agency, the University’s contracts are generally public records.  Accordingly, no provision of this contract shall restrict the University’s ability to produce this contract in response to a lawful request or from otherwise complying with the Kansas Open Records Act (K.S.A. 45-215 et seq.).  Moreover, no provision of this contract shall be construed as limiting the Legislative Division of Post Audit from having access to information pursuant to K.S.A. 46-1101 et seq.

CONTRACTUAL PROVISIONS ATTACHMENT - page 2

12.	The Eleventh Amendment:  The Eleventh Amendment is an inherent and incumbent protection of the State of Kansas and need not be reserved, but the University here reiterates that nothing in or related to this contract shall be deemed a waiver of the Eleventh Amendment.

13.	Campaign Contributions / Lobbying:  Funds provided through a grant award or contract shall not be given or received in exchange for the making of a campaign contribution.  No part of the funds provided through this contract shall be used to influence or attempt to influence an officer or employee of any State of Kansas agency or a member of the Legislature regarding any pending legislation or the awarding, extension, continuation, renewal, amendment or modification of any government contract, grant, loan, or cooperative agreement.

14.	Privacy of Student Records:  Contractor understands that the University is subject to FERPA (Family Educational Rights and Privacy Act, 20 U.S.C. § 1232g) and agrees to handle any student education records it receives pursuant to this Agreement in a manner that enables the University to be compliant with FERPA and its regulations. Contractor agrees to protect the privacy of student data and educational records in a commercially reasonable manner and shall not transmit, share, or disclose any data about a student without the student's written consent, except to other University officials who seek the information within the context of his/her professionally assigned responsibilities and used within the context of official University business.  Contractor shall promptly report to the University any disclosure of University’s student educational records.

15. 	Boycott of Israel Prohibited:  Kansas 2017 HB 2409 generally prohibits the University from entering into a contract with an individual or company to acquire or dispose of services, supplies, information technology or construction, unless such individual or company submits a written certification that such individual or company is not currently engaged in a boycott of Israel.  For the purposes of this Section 15, “company” means a sole proprietorship, organization, association, corporation, partnership, venture or other entity, its subsidiary or affiliate that exists for profitmaking purposes or to otherwise secure economic advantage. Accordingly, if Contractor is an individual or company, by executing this contract. Contractor hereby certifies that it is not currently engaged in a boycott of Israel.