{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["RFP0319FACBFP_ScheduleA"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"RFP0319FACBFP_ScheduleA","index":0,"n_rows":240,"n_cols":15,"rows_kept":240,"merged":[[0,0,0,14],[1,0,1,14],[2,0,2,14],[3,0,3,14],[4,1,4,2],[4,3,4,7],[4,8,4,10],[4,11,4,14],[5,0,5,14],[6,0,6,14],[7,0,7,9],[7,10,7,14],[8,0,8,1],[8,3,8,4],[9,0,9,1],[9,3,9,4],[10,0,10,1],[10,3,10,4],[11,3,11,4],[12,0,12,1],[12,3,12,4],[13,0,13,1],[13,3,13,4],[14,0,14,1],[14,3,14,4],[15,0,15,1],[15,3,15,4],[16,0,16,1],[16,3,16,4],[17,0,17,1],[17,3,17,4],[18,0,18,1],[18,3,18,4],[19,3,19,4],[20,0,20,1],[20,3,20,4],[21,0,21,1],[21,3,21,4],[22,0,22,1],[22,3,22,4],[23,0,23,1],[23,3,23,4],[24,0,24,1],[24,3,24,4],[25,0,25,1],[25,3,25,4],[26,0,26,1],[26,3,26,4],[27,0,27,1],[27,3,27,4],[28,0,28,1],[28,3,28,4],[29,0,29,1],[29,3,29,4],[30,0,30,1],[30,3,30,4],[31,0,31,1],[32,0,32,1],[32,3,32,4],[33,0,33,1],[33,3,33,4],[34,0,34,1],[34,3,34,4],[35,0,35,1],[35,3,35,4],[36,0,36,1],[36,3,36,4],[37,0,37,1],[37,3,37,4],[38,0,38,1],[38,3,38,4],[39,0,39,1],[39,3,39,4],[40,0,40,1],[40,3,40,4],[41,0,41,1],[41,3,41,4],[42,0,42,1],[42,3,42,4],[43,0,43,1],[43,3,43,4],[44,0,44,1],[44,3,44,4],[45,0,45,1],[45,3,45,4],[46,0,46,1],[46,3,46,4],[47,0,47,1],[47,3,47,4],[48,0,48,1],[48,3,48,4],[49,0,49,1],[49,3,49,4],[50,0,50,1],[50,3,50,4],[51,0,51,1],[51,3,51,4],[52,0,52,1],[52,3,52,4],[53,0,53,1],[53,3,53,4],[54,0,54,1],[54,3,54,4],[55,0,55,1],[55,3,55,4],[56,0,56,1],[56,3,56,4],[57,0,57,1],[57,3,57,4],[58,0,58,1],[58,3,58,4],[59,0,59,1],[59,3,59,4],[60,0,60,1],[60,3,60,4],[61,0,61,1],[61,3,61,4],[62,0,62,1],[62,3,62,4],[63,0,63,1],[63,3,63,4],[64,0,64,1],[64,3,64,4],[65,0,65,1],[65,3,65,4],[66,0,66,1],[66,3,66,4],[67,0,67,1],[67,3,67,4],[68,0,68,1],[68,3,68,4],[69,0,69,1],[69,3,69,4],[70,0,70,1],[70,3,70,4],[71,0,71,1],[71,3,71,4],[72,0,72,1],[72,3,72,4],[73,0,73,1],[73,3,73,4],[74,0,74,1],[74,3,74,4],[75,0,75,1],[75,3,75,4],[76,0,76,1],[76,3,76,4],[77,0,77,1],[77,3,77,4],[78,0,78,1],[78,3,78,4],[79,0,79,1],[79,3,79,4],[80,0,80,1],[80,3,80,4],[81,0,81,1],[81,3,81,4],[82,0,82,1],[82,3,82,4],[83,0,83,1],[83,3,83,4],[84,0,84,1],[84,3,84,4],[85,0,85,1],[85,3,85,4],[86,0,86,1],[86,3,86,4],[87,0,87,1],[87,3,87,4],[88,0,88,1],[88,3,88,4],[89,0,89,1],[89,3,89,4],[90,0,90,1],[90,3,90,4],[91,0,91,1],[91,3,91,4],[92,0,92,1],[92,3,92,4],[93,0,93,1],[93,3,93,4],[94,0,94,1],[94,3,94,4],[95,0,95,1],[95,3,95,4],[96,0,96,1],[96,3,96,4],[97,0,97,1],[97,3,97,4],[98,0,98,1],[98,3,98,4],[99,0,99,1],[99,3,99,4],[100,0,100,1],[100,3,100,4],[101,0,101,1],[101,3,101,4],[102,0,102,1],[102,3,102,4],[103,0,103,1],[103,3,103,4],[104,0,104,1],[104,3,104,4],[105,0,105,1],[105,3,105,4],[106,0,106,1],[106,3,106,4],[107,0,107,1],[107,3,107,4],[108,0,108,1],[108,3,108,4],[109,0,109,1],[109,3,109,4],[110,0,110,1],[110,3,110,4],[111,0,111,1],[111,3,111,4],[112,0,112,1],[112,3,112,4],[113,0,113,1],[113,3,113,4],[114,0,114,1],[114,3,114,4],[115,0,115,1],[115,3,115,4],[116,0,116,1],[116,3,116,4],[117,0,117,1],[117,3,117,4],[118,0,118,1],[118,3,118,4],[119,0,119,1],[119,3,119,4],[120,0,120,1],[120,3,120,4],[121,0,121,1],[121,3,121,4],[122,0,122,1],[122,3,122,4],[123,0,123,1],[123,3,123,4],[124,0,124,1],[124,3,124,4],[125,0,125,1],[125,3,125,4],[126,0,126,1],[126,3,126,4],[127,0,127,1],[127,3,127,4],[128,0,128,1],[128,3,128,4],[129,0,129,1],[129,3,129,4],[130,0,130,1],[130,3,130,4],[131,0,131,1],[131,3,131,4],[132,0,132,1],[132,3,132,4],[133,0,133,1],[133,3,133,4],[134,0,134,1],[134,3,134,4],[135,0,135,1],[135,3,135,4],[136,0,136,1],[136,3,136,4],[137,0,137,1],[137,3,137,4],[138,0,138,1],[138,3,138,4],[139,0,139,1],[139,3,139,4],[140,0,140,1],[140,3,140,4],[141,0,141,1],[141,3,141,4],[142,0,142,1],[142,3,142,4],[143,0,143,1],[143,3,143,4],[144,0,144,1],[144,3,144,4],[145,0,145,1],[145,3,145,4],[146,0,146,1],[146,3,146,4],[147,0,147,1],[147,3,147,4],[148,0,148,1],[148,3,148,4],[149,0,149,1],[149,3,149,4],[150,0,150,1],[150,3,150,4],[151,0,151,1],[151,3,151,4],[152,0,152,1],[152,3,152,4],[153,0,153,1],[153,3,153,4],[154,0,154,1],[154,3,154,4],[155,0,155,1],[155,3,155,4],[156,0,156,1],[156,3,156,4],[157,0,157,1],[157,3,157,4],[158,0,158,1],[158,3,158,4],[159,0,159,1],[159,3,159,4],[160,0,160,1],[160,3,160,4],[161,0,161,1],[161,3,161,4],[162,0,162,1],[162,3,162,4],[163,0,163,1],[163,3,163,4],[164,0,164,1],[164,3,164,4],[165,0,165,1],[165,3,165,4],[166,0,166,1],[166,3,166,4],[167,0,167,1],[167,3,167,4],[168,0,168,1],[168,3,168,4],[169,0,169,9],[170,0,170,9],[171,0,171,9],[172,0,172,14],[173,0,173,14],[174,13,174,14],[175,13,175,14],[176,4,176,14],[177,4,177,14],[178,4,178,14],[179,4,179,14],[180,2,180,7],[180,8,180,14],[181,2,181,14],[182,3,182,14],[183,3,183,14],[184,3,184,14],[185,3,185,14],[186,3,186,14],[187,4,187,14],[188,0,188,14],[189,1,189,2],[189,3,189,14],[190,0,190,14],[191,0,191,1],[191,3,191,14],[192,3,192,14],[193,3,193,14],[194,3,194,14],[195,3,195,14],[196,3,196,14],[197,3,197,14],[198,3,198,14],[199,3,199,14],[200,3,200,14],[201,0,201,14],[202,0,202,14],[203,7,203,14],[204,7,204,14],[205,7,205,14],[206,7,206,14],[207,7,207,14],[208,7,208,14],[209,7,209,14],[210,7,210,14],[211,7,211,14],[212,7,212,14],[213,7,213,14],[214,7,214,14],[215,7,215,14],[216,7,216,14],[217,7,217,14],[218,7,218,14],[219,7,219,14],[220,7,220,14],[221,7,221,14],[222,7,222,14],[223,7,223,14],[224,1,224,14],[225,5,225,14],[226,5,226,14],[227,0,227,14],[228,0,228,7],[228,8,228,14],[229,0,229,14],[230,7,230,14],[231,7,231,14],[232,7,232,14],[233,7,233,14],[234,7,234,14],[235,7,235,14],[236,7,236,14],[237,7,237,14],[238,3,238,4],[238,7,238,14],[239,3,239,4],[239,7,239,14]],"flags":["formulas_cached_only"]}
["Annual Backflow Preventers Inspections, Testing and Repair"]
["RFP0319FACBFP"]
["Schedule A"]
[]
["Vendor:",null,null,"MDNR Approved Backflow Prevention Assembly Tester ID Number:"]
[]
["Instructions: Complete all yellow fields"]
["To see the detailed information for each Building, click on the \"+\" button to the left of each Building below\nTo expand all Building details, click the [2] above and to the left\nTo hide all Building details, click the [1] above and to the left",{"$nulls":9},"Inspection Fees Per Campus\n (Work to be performed during normal school hours, 7:00 am - 4:00 pm)"]
["Buildings and Addresses",null,"Backflow Type","Location of Backflow",null,"Type of Assembly","Manufacturer","Model","Size","Serial Number","Summer 2019","Summer 2020","Summer 2021","Summer 2022\n(optional renewal)","Summer 2023\n(optional renewal)"]
["Administrative Annex and\nIndividualized Learning Center (ILC)\n500 North Central Avenue, Eureka, MO  63025-1203"]
[null,null,"boiler make-up","in building B boiler room",null,"RP Valve","Watts",909,"3/4\"",501516]
[null,null,"plumbing","in building C in cage (in box)",null,"RP Valve","Watts",909,"1\"",471403]
[null,null,"portable device","Maintenance Shop plumbing department",null,"RP Valve","Febco","LF860","1 1/2\"","B0074"]
["Babler Elementary School\n1955 Shepard Road, Wildwood, MO  63038-1431"]
[null,null,"lawn irrigation","in cage in rear parking lot (top)",null,"RP Valve","Febco","825Y","2\"","H23114"]
[null,null,"process piping","in kitchen behind ovens",null,"RP Valve","Watts","009M3","3/4\"","B05660"]
[null,null,"lawn irrigation #2","in cage in rear parking lot (bottom)",null,"RP Valve","Febco","825Y","2\"","H21426"]
["Ballwin Elementary School\n400 Jefferson Avenue, Ballwin, MO  63021-4925"]
[null,null,"boiler make-up","in boiler room",null,"RP Valve","Watts",909,"3/4\"",524691]
[null,null,"irrigation","in custodial room #124",null,"RP Valve","Watts",9,"1 1/2\"",23285]
[null,null,"domestic water supply","in custodial room #124",null,"RP Valve","Watts",9,"2\"",19892]
["Blevins Elemenatary School\n25 East North Street, Eureka, MO  63025-1206"]
[null,null,"chiller tower supply","boiler room in shop",null,"RP Valve","Watts",909,"1 1/2\"",38067]
[null,null,"boiler feed","boiler room",null,"RP Valve","Watts",909,"3/4\"",462755]
[null,null,"irrigation","east parking lot lower level",null,"RP Valve","Febco","825YA","2\"","H22983"]
[null,null,"irrigation #2","east of parking lot lower level",null,"RP Valve","Febco",31485,"2\"",31485]
["Bowles Elementary School\n501 Bowles Avenue, Fenton, MO  63026-3820"]
[null,null,"boiler make-up","boiler room",null,"RP Valve","Watts",909,"3/4\"",496951]
["Center for Creative Learning (CCL)\n265 Old State Road, Ellisville, MO 63021-5912"]
[null,null,"irrigation","chiller tower by outside wall",null,"RP Valve","Febco","825Y","2\"","J016949"]
[null,null,"boiler make-up","basement mechanical room by chiller",null,"RP Valve","Watts","009M2","1\"",58310]
["Chesterfield Elementary School\n17700 Wild Horse Creek Road, Chesterfield, MO  63005-3799"]
[null,null,"domestic water service","office closet",null,"DC Valve","Watts",126166,"3\"",126166]
["Crestview Middle School\n16025 Clayton Road, Ellisville, MO  63011-2162"]
[null,null,"irrigation","soccer field west end under stadium building",null,"RP Valve","Febco","825Y","2\"","A236141"]
[null,null,"pool equipment","by lap pool mechanical room",null,"RP Valve","Watts",909,"2\"",100995]
[null,null,"irrigation #2","by track under bleachers /east end",null,"RP Valve","Febco","825YA","2\"","H14011"]
[null,null,"lab sinks","Rm 206 closet",null,"RP Valve","Watts","009M2","1 1/4\"",1399000842]
["Early Childhood Center at Vandover\n1900 Hawkins Raod, Fenton, MO  63026-2786"]
[null,null,"boiler make-up","boiler room",null,"RP Valve","Watts","009M3","3/4\"",61399]
["Ellisville Elementary School\n1425 Froesel Drive, Ellisville, MO  63011-2132"]
[null,null,"boiler make-up","boiler room",null,"RP Valve","Watts","009M3","3/4\"",42022]
["Eureka Elementary School (Current location - Summer 2019)\n442 West Fourth Street, Eureka, MO  63025-1804"]
[null,null,"domestic water service","mechanical room",null,"RP Valve","Watts",9,"3\"",614]
["Eureka Elementary School (Future location - Summer 2020)\n5350 Rockwood Arbor Drive, Eureka, MO  63025"]
["Eureka High School (New addition under construction - Summer 2019)\n4525 Highway 109, Eureka, MO  63025-1248"]
[null,null,"hydrant and fountain","west end of practice football field",null,"RP Valve","Febco","825YA","1\"","J030983"]
[null,null,"irrigation","east end of practice field",null,"RP Valve","Febco","880V","3\"","F0604261425"]
[null,null,"irrigation #2","by water fountain in baseball field",null,"RP Valve","Watts","009M3","3/4\"",253426]
[null,null,"irrigation #3","rear door by school driveway",null,"RP Valve","Febco",860,"3\"",9901111407]
[null,null,"domestic water to lab","custodial closet by rm 314",null,"RP Valve","Watts",909,"1\"",460531]
[null,null,"domestic water to lab #2","custodial closet by rm 314",null,"RP Valve","Watts",909,"1\"",460884]
[null,null,"domestic water to lab sinks","room 312",null,"RP Valve","Watts","909HW","1 1/4\"",312388]
[null,null,"hot water to class sinks","mechanical room by rm 300",null,"RP Valve","Watts","009M3","3/4\"",329715]
[null,null,"domestic cold water to water softener","mechanical room by rm 300",null,"RP Valve","Watts",919,"2\"",17256]
[null,null,"domestic cold water to water softener","mechanical room by rm 300",null,"RP Valve","Watts",919,"2\"",17254]
[null,null,"domestic water service","gym A custodial closet",null,"RP Valve","Watts",9,"2 1/2\"",18261]
[null,null,"domestic water service","right rear of cafeteria in closet",null,"RP Valve","Watts",9,"3\"",17343]
[null,null,"dishwasher","dishroom",null,"RP Valve","Watts","LF009QT","1/2\"",44196]
[null,null,"dishwasher #2","kitchen by diswasher; by booster",null,"RP Valve","Watts","009M3","3/4\"",329726]
["Fairway Elementary School\n480 Old Fairway Drive, Wildwood, MO  63040-1569"]
[null,null,"domestic water service","closet in work room near office",null,"RP Valve","Watts",909,"3\"",173152]
[null,null,"boiler feed","boiler room",null,"RP Valve","Watts","909MI","1 1/2\"",409125]
[null,null,"irrigation","by baseball field backstop",null,"RP Valve","Febco","825Y","2\"",23679]
["Geggie Elementary School\n430 Bald Hill Road, Eureka, MO  63025-2043"]
[null,null,"dishwasher","cafeteria by dishwasher",null,"RP Valve","Watts","009M3","3/4\"","B01534"]
[null,null,"steam kettles /convection oven","cafeteria kitchen",null,"RP Valve","Wilkens","975XL","3/4\"",3050884]
[null,null,"boiler make-up","boiler room",null,"RP Valve","Watts",909,"3/4\"",496963]
["Green Pines Elementary School\n16543 Green Pines Drive, Wildwood, MO  63011-1869"]
[null,null,"irrigation","near trailor outside",null,"RP Valve","Febco","825YA","1 1/2\"","J105313"]
["Kehrs Mill Elementary School\n2650 Kehrs Mill Road, Chesterfield, MO 63017-7322"]
[null,null,"boiler make-up","in remote HVAC room",null,"RP Valve","Conbraco","40-204-AZ","3/4\"","L1731"]
[null,null,"irrigation","behind school between staircases",null,"RP Valve","Febco","825Y","2\"","H14196"]
["Kellison Elementary School\n1626 Hawkins Road, Fenton, MO  63026-2600"]
[null,null,"dishwasher","kitchen by dishwasher",null,"RP Valve","Watts",9,"3/4\"",7686]
[null,null,"cooker /convection oven","kitchen behind cooker",null,"RP Valve","Watts",9,"3/4\"",3099]
["Lafayette High School\n17050 Clayton Road, Wildwood, MO  63011-1794"]
[null,null,"irrigation","concession stand storage area",null,"RP Valve","Watts",9,"3\"",25324]
[null,null,"irrigation #2","football field under bleachers",null,"RP Valve","Watts",9,"1\"",189248]
[null,null,"pasta cooker","kitchen by pasta cooker",null,"RP Valve","Watts",9,"1/2\"","A10783"]
[null,null,"lab sinks","1st floor plumbing closet",null,"RP Valve","Wilkins","375AST","2\"",6748]
[null,null,"ice machine","hallway by kitchen",null,"RP Valve","Watts",9,"1/2\"","A93058"]
[null,null,"chiller make-up","boiler room",null,"RP Valve","Watts","009MS","3/4\"",433784]
[null,null,"pool heater","in pool mechanical room",null,"RP Valve","Watts","009M3","3/4\"",175488]
[null,null,"green house water","green house on west side of building",null,"RP Valve","Watts","009M2QT","1 1/4\"",54269]
["LaSalle Springs Middle School\n3300 Highway 109, Wildwood, MO  63038-2201"]
[null,null,"hydrant for waste water treatment","across hwy 109 inside fence at treatment plant-in box",null,"RP Valve","Watts","009M2","1\"","A85928"]
[null,null,"plumbing","Dishroom in kitchen",null,"RP Valve","Watts",9,"1 1/4\"","B01534"]
[null,null,"domestic water service","sprinkler control valve room by cafeteria",null,"RP Valve","Watts",909,"4\"",176286]
[null,null,"boiler make-up","boiler room",null,"RP Valve","Watts","009M2","1\"",31226]
[null,null,"irrigation","right of front door in box outside door B",null,"RP Valve","Wilkens","975XL","1 1/2\"",539236]
[null,null,"domestic water to lab sinks","room 713 closet",null,"RP Valve","Watts",9,"1 1/4\"","ABS1350"]
[null,null,"domestic water to lab sinks #2","room 713 closet",null,"RP Valve","Watts",9,"1 1/4\"","ABS1352"]
[null,null,"domestic water to lab sinks","room 613 storage area (bottom)",null,"RP Valve","Watts",9,"3/4\"",735]
[null,null,"domestic water to lab sinks #2","room 613 storage area (top)",null,"RP Valve","Watts",9,"3/4\"",92480]
["Marquette High School\n2351 Clarkson Road, Chesterfield, MO  63017-7122"]
[null,null,"pool equipment","pool pump room /filter room",null,"RP Valve","Watts",909,"3\"",147065]
[null,null,"concession stand & bathrooms","baseball field bathroom",null,"RP Valve","Watts","009M2","2\"",227035]
[null,null,"irrigation","southeast corner of practice field",null,"RP Valve","Febco","880V","3\"","F0604200939"]
[null,null,"domestic water for concession","concession stand under counter",null,"RP Valve","Watts","009MI","2\"",128172]
[null,null,"dishwasher","kitchen under dishwasher",null,"RP Valve","Watts","009M3","3/4\"",302442]
[null,null,"boiler make-up","boiler room",null,"RP Valve","Watts",909,"1\"",332562]
[null,null,"convection ovens","kitchen behind ovens",null,"RP Valve","Watts","009M3","3/4\"",302442]
[null,null,"lab sinks #2","3rd floor custodial closet /C wing (bottom)",null,"RP Valve","Watts","909MI","1 1/2\"",249605]
[null,null,"lab sinks","3rd floor custodial closet /C wing (top)",null,"RP Valve","Watts","909MI","1 1/2\"",253905]
[null,null,"art sinks","room 205A (top)",null,"RP Valve","Watts",9,"3/4\"",336710]
[null,null,"art sinks #2","room 205A (bottom)",null,"RP Valve","Watts",909,"3/4\"",336712]
[null,null,"domestic water service","boiler room",null,"RP Valve","Watts",909,"6\"",246916]
["Ridge Meadows Elementary School\n777 Ridge Road, Ellisville, MO  63021-5956"]
[null,null,"irrigation","room off of cafeteria",null,"RP Valve","Febco","825Y","2\"","Z6978"]
[null,null,"chiller make-up","chiller mechanical room",null,"RP Valve","Watts",909,"3/4\"",530801]
["Rockwood South Middle School\n1628 Hawkins Raod, Fenton, MO  63026-2629"]
[null,null,"irrigation","baseball field between backstop & fence",null,"RP Valve","Febco","825YA","2\"","J001116"]
[null,null,"domestic water service","rm 109 closet",null,"RP Valve","Watts","909HW","2\"",238709]
[null,null,"irrigation","southeast corner of track (top)",null,"RP Valve","Febco","825YA","2\"","H21442"]
[null,null,"irrigation #2","southwest corner of track (bottom)",null,"RP Valve","Febco","825YA","2\"","H21464"]
[null,null,"drinking fountain","football field",null,"RP Valve","Watts","009M3","3/4\"",253441]
[null,null,"boiler make-up","boiler room behind gym",null,"RP Valve","Watts",909,"3/4\"",525886]
["Rockwood Summit High School\n1780 Hawkins Road, Fenton, MO 63026-2650"]
[null,null,"irrigation","between softball & baseball fields",null,"RP Valve","Febco","880V","4\"","W0705170536"]
[null,null,"domestic water service to concession","concession stand at soccer field",null,"RP Valve","Watts","009M2","2\"",286661]
[null,null,"domestic water service to concession","concession stand men's restroom closet",null,"RP Valve","Watts","009M2","2\"","A16749"]
[null,null,"irrigation #2","first floor mechanical room",null,"RP Valve","Wilkens","975DA","2 1/2\"","B03106"]
[null,null,"domestic water service","first floor mechanical room",null,"RP Valve","Watts",909,"6\"",247019]
[null,null,"boiler make-up","first floor mechanical room",null,"RP Valve","Watts",9,"1\"",20301]
[null,null,"dishwasher","cafeteria by kitchen diswasher",null,"RP Valve","Watts",909,"3/4\"",336716]
[null,null,"domestic water service","biofuel building",null,"RP Valve","Watts","009M2","1\"",21774]
[null,null,"lab sinks supply","room 250 in closet",null,"RP Valve","Watts",957,"2 1/2\"",1184]
["Rockwood Valley Middle School\n1220 Babler Park Drive, Wildwood, MO  63038-1359"]
[null,null,"lab sinks","first floor closet by gym",null,"RP Valve","Watts",909,"1\"",333937]
[null,null,"lab sinks #2","first floor closet by gym",null,"RP Valve","Watts",909,"1\"",331347]
[null,null,"hot water to lab","first floor closet by locker room",null,"RP Valve","Watts",909,"3/4\"",318801]
[null,null,"lab sinks #3","custodial closet by rm 1710",null,"RP Valve","Watts",909,"3/4\"",429863]
[null,null,"domestic water to lab sinks","custodial closet by rm 1711",null,"RP Valve","Watts","909M1","1 1/4\"",431549]
[null,null,"boiler make-up","mechanical room by rm 1804",null,"RP Valve","Watts",909,"1\"",321260]
[null,null,"irrigation","north end of parking lot",null,"RP Valve","Febco","825YA","2\"","A128188"]
["Selvidge Middle School\n235 New Ballwin Road, Ballwin, MO  63021-4799"]
[null,null,"irrigation","behind soccer goal on front field",null,"RP Valve","Febco","825Y","2\"",23610]
["Stanton Elementary School\n1430 Flora Del Drive, Fenton, MO  63026-3213"]
[null,null,"plumbing","behind combi-oven in kitchen",null,"RP Valve","Watts","LF009M3QT","3/4\"",118425]
[null,null,"irrigation","in cage by school entry",null,"RP Valve","Wilkins","375RP","2\"","A456076"]
["Uthoff Valley Elementary School\n1600 Uthoff Drive, Fenton, MO  63026-2322"]
[null,null,"boiler make-up","boiler room",null,"RP Valve","Watts",909,"3/4\"",524677]
[null,null,"lawn irrigation","southeast corner of track in cage",null,"RP Valve","Wilkins","975XL","2\"",4051008]
[null,null,"convection ovens","in kitchen behind convection oven",null,"RP Valve","Watts","009M3","3/4\"",118420]
["Westridge Elementary School\n908 Crestland Drive, Ballwin, MO  63011-3110"]
[null,null,"chiller make-up","boiler room by electric cabinets",null,"RP Valve","Watts",909,"3/4\"",496957]
[null,null,"hose reel","kitchen area under dishwasher",null,"RP Valve","Wilkins","975XL","1/2\"",1322787]
["Wild Horse Elementary School\n16695 Wild Horse Creek Road, Chesterfield, MO  63005-1627"]
[null,null,"chiller make-up","boiler room",null,"RP Valve","Watts",9,"1\"",63197]
[null,null,"boiler make-up","boiler room",null,"RP Valve","Wilkins","850XL","1\"",2708808]
[null,null,"irrigation","tap meter pit",null,"RP Valve","Wilkins","375RP","2\"","B114220"]
["Wildwood Middle School\n17401 Manchester Road, Wildwood, MO  63038-1906"]
[null,null,"boiler make-up / chiller make-up","boiler room",null,"RP Valve","Watts",909,"1\"",490609]
[null,null,"boiler make-up","furnace room",null,"RP Valve","Watts",909,"1\"",502222]
[null,null,"domestic water service","mechanical room",null,"RP Valve","Watts",909,"3\"",160538]
[null,null,"lab sinks","custodial closet by rm 614",null,"RP Valve","Watts","009M2","1\"",136837]
[null,null,"lab sinks #2","custodial closet by rm 614",null,"RP Valve","Watts","009M2","1\"",117912]
[null,null,"ice machine","cafeteria kitchen",null,"RP Valve","Conbraco",4020302,"1/2\"","FK957"]
[null,null,"disposal","cafeteria kitchen by waste grinder",null,"RP Valve","Watts",9,"1/2\"",149375]
[null,null,"lab sinks #3","room 812",null,"RP Valve","Watts",9,"1'",136832]
[null,null,"lab sinks #4","room 812",null,"RP Valve","Watts",9,"1\"",125734]
[null,null,"lab sinks #5","custodial closet by rm 714",null,"RP Valve","Watts",9,"1\"",136839]
[null,null,"lab sinks #6","custodial closet by rm 714",null,"RP Valve","Watts","009M2","1\"",132192]
[null,null,"irrigation","track /in cage",null,"RP Valve","Wilkins","975XLV","2\"",1630501]
[null,null,"hydrant","waste water treatment plant in box",null,"RP Valve","Watts",909,"1\"",553211]
["Woerther Elementary School\n314 New Ballwin Road, Ballwin, MO  63021-6199"]
[null,null,"dishwasher","cateferia kitchen dish room",null,"RP Valve","Wilkins","975XL","1/2\"","W322822"]
[null,null,"irrigation","NW corner of property by meter pit",null,"RP Valve","Wilkins",375,"2\"","B127945"]
["Campus Subtotals (A-G)",{"$nulls":9},0,0,0,0,0]
["Campus Subtotals (K-W)",{"$nulls":9},0,0,0,0,0]
[" Campus Totals",{"$nulls":9},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"}]
[]
["Unit Prices"]
["A.","Devices","1/2\"","3/4\"","1\"","1-1/4\"","1-1/2\"","2\"","2-1/2\"","3\"","4\"","6\"","8\""]
[null,"Inspection Fee per Device"]
["B.","Hourly rate for repair work, if any required, outside the scope of inspection, testing, cleaning and minor adjustments",null,"per hour"]
["C.","Overtime hourly rate for emergency repair work, if any required, outside the scope of inspection, testing, cleaning, and minor adjustments",null,"per hour"]
["D.","Cost formula of parts, if any required, in comparison to manufacturer's list price"]
[null,"Discount offered on manufacturer's listed retail price",null,"%"]
[null,"Cost Formula"]
["E.","Processing Fee for submitting Backflow Test Reports"]
[null,"St Louis County"]
[null,"Other municipalities (as required)"]
["F.","Plumbing Permit Fees"]
[null,"Backflow Removal"]
[null,"Backflow Installation"]
["G.","Estimated increase in unit prices per year",null,"%"]
[]
[null,"Please note that inspection fees, repair costs, and time and materials labor rates will remain in effect for the entire contract term."]
[]
["Vendor Certification",null,"Yes/No"]
["A.","Does Contractor and/or Contractor's backflow tester hold current certification as a Backflow Prevention Assembly Tester from either the American Backflow Prevention Association (ABPA) or the American Society of Sanitary Engineering (ASSE)?"]
["B.","Does Contractor have a minimum of five (5) years' experience in the inspections, testing and repair of domestic, irrigation, and process piping, backflow preventers with previous experience working in a school environment?"]
["C.","Does each Contractor employee have a minimum of two (2) years' experience in inspections, testing and repair of domestic, irrigation, and process piping, backflow preventers with previous experience working in a school environment? "]
["D.","Will Contractor use only manufacturer-specific and factory original replacement parts in the inspections, testing and repair of domestic, irrigation, and process piping, backflow preventers?"]
["E.","Will Contractor be able to provide evidence of the minimum amounts of required insurance as outlined in the RFP?"]
["F.","Does Contractor have a business phone number that is answered live during the weekday hours of 7:30 am through 5:00 pm?"]
["G.","Does Contractor have an afterhours telephone number for a 24-hour per day emergency service?"]
["H.","Has Contractor included a list of references (in section below)?"]
["I.","Does Contractor agree to comply with all other specifications and requirements included in the RFP?"]
[]
["References - Must provide a minimum of five (5) references"]
["Company Name:",null,null,"Company Name:"]
["Contact:",null,null,"Contact:"]
["Address:",null,null,"Address:"]
[]
[]
["Phone Number:",null,null,"Phone Number:"]
[]
["Company Name:",null,null,"Company Name:"]
["Contact:",null,null,"Contact:"]
["Address:",null,null,"Address:"]
[]
[]
["Phone Number:",null,null,"Phone Number:"]
[]
["Company Name:",null,null,"Company Name:"]
["Contact:",null,null,"Contact:"]
["Address:",null,null,"Address:"]
[]
[]
["Phone Number:",null,null,"Phone Number:"]
[]
["Addenda","Acknowledge below receipt of Addenda issued, if any."]
[null,"Addendum Number",null,"dated"]
[null,"Addendum Number",null,"dated"]
[]
["The undersigned certifies that the bid price contained in this proposal has been carefully checked and is submitted as correct and final. The undersigned certifies that he/she has the authority to submit a bona fide bid for said firm."]
[]
["Firm Name:"]
["Address:"]
["Contact:"]
["Title:"]
["Phone:"]
["Fax:"]
["Email:"]
[]
[]
[null,"Printed Name",null,"Signature of Officer",null,null,"Date"]