City of Lebanon

Request for Proposal

RFP # 19-ROOF REPAIR 11/14
*City of Lebanon reserves the right to reject all or any part of any RFP*

The City of Lebanon is exempt from State Tax and Federal Exercise Tax.

NO PROPOSALS RECEIVED AFTER CLOSING WILL BE ACCEPTED.

The City of Lebanon invites sealed proposals for roof repair at the Lebanon Gas Department in accordance with the specifications and bidding instructions set forth in this Request for Proposals. Bids will be received by the Purchasing Department, 200 N. Castle Heights Avenue, Lebanon, Tennessee 37087, until 10:00 a.m. central time, November 14, 2019, at which time they will be opened and read aloud.

Please identify as a sealed proposal with stamped on the outside of the envelope “RFP #19-ROOF REPAIR 11/14”

Any questions in regard to this proposal should be directed to Lisa Lane, Purchasing Agent, (615) 443-2802.

A copy of the bid tabulation will be available upon written request to the Purchasing Department.

Any manufacturers’ names, trade names, brand names, or catalog numbers used in the specifications are for the purpose of describing and establishing general quality levels.  Such references are not intended to be restrictive.  Since the “City” does not wish to rule out other competition and equal brands or makes, please remember “ANY APPROVED EQUAL”.  HOWEVER, IF A PRODUCT OTHER THAN SPECIFIED IS BID, IT IS THE VENDORS RESPONSIBILITY TO PROVE TO THE “CITY” THAT SAID PRODUCT IS EQUAL TO OR EXCEEDS THE QUALITY OF THE SPECIFICATIONS LISTED FOR ANY ITEM.

The City of Lebanon is an equal opportunity entity and does not discriminate on the basis of age, race, sex, national origin, religion or disability in admission to, access to, or operations of its programs, services, activities, or in its awarding of such bids.

1. SCOPE AND CLASSIFICATION

1.1 Scope:  The intent of this Request for Proposals and resulting contract is to provide the City of Lebanon with information concerning roof repair.

1.2 Classification:  The roof repair specifications shall be of the following types either “equal to “or “better than”.

2. SPECIFICATIONS

SCOPE OF WORK:
Job Location:
City of Lebanon Gas Department


215 Maddox-Simpson Parkway
Base Bid Scope:  Clean Roof and apply American Weatherstar Met-A-Gard or equal + acrylic roof coating system with a minimum 12 year NDL warranty.  See attached application guide and follow all requirements.  Note with waste the roof coating area (no walls) is 190 squares with a 15% waste factor for ribs, however contractors are required to confirm their own measurements. 

· Replace all skylights with new fiberglass skylights and prepare for coating.
· Remove and replace all screws in field as well as stitch screws.  We would like to replace with a ¼”x1-1/4” drill tip #14 diameter screws and stitch screws shall be ¼” x ¾” drill tip #14 diameter.

· Clean gutter joints, outlets for down pipes and end caps.  Apply butyl backed fabric faced tape to joints at 4” minimum, roll in with a roller to ensure a good bond and apply a silicone based product to tape with a minimum 2” on each side of tape.

· Allow for proper cure times as specified with manufacturer standards.  Also be sure to include the cost of NDL warranty in your base bid.

· Clean up and remove all debris

· If your company plans to bid the American Weatherstar Met-A-Gard acrylic roof coating system, the application guidelines must be followed.  If you do not use this brand, then you must include the application guidelines that will be followed. 

· Pre-Inspection is required before bid opening date, unless you have already visited the site.  Contact Jerry Snodgrass, Gas Superintendent at (615) 443-2835 ext. 3003 to set up a time.
WARRANTY:
Minimum of 12 year NDL material warranty.



Minimum of 5 year roofing installation warranty.




One Year Follow-up Inspection on material, installation, etc. 




To be included in bid price. 

INSURANCE:
Vendor must have proper insurance, business licenses and contractor’s licenses with Local, County and State agencies. Three (3) current references are to be included in the bid packet.
PRICES:


DESCRIPTION

UNIT COST

TOTAL


Roof Repair


$___________
$__________


One Year Follow-Up

$___________
$__________

Inspection


Total


$______________

1.  WARRANTY 

Bidders shall state the warranty period on the bid pricing form.  

2.  EXCEPTIONS

The above are minimum specifications.  If there are any exceptions to these specifications, please make any notations to the right of that spec. and the exceptions will have to be approved by the department.  

  
        _______________________________________                                   

Company Name and Authorized Representative  

_______________________________________

Address and Contact’s Telephone Number
PAGE  
2

