SCOPE OF WORK/SPECIFICATION SHEET

Waste Services Department

Perdido Landfill Fire Pump System Repair

Programs Div. FY 20-21.07

June 28, 2021 through July 2, 2021

Vendors,

We are requesting bids for parts and labor to remove and replace a failing outboard bearing for impeller in a Patterson 4X3ME Pump for the fire suppression system at the Perdido Landfill.  The specifications include:

- Purchase and installation of a Fast Pack Parts Kit.

- Purchase and installation of Case Rings for Patterson 4X3ME Pump.

- Purchase and installation of ¼” x ¾” Case Ring Pin.

- Please complete attached bid sheet and include all applicable fees/charges.

- This repair must be conducted ASAP.

- Deadline for submission is 7/2/21 at 5:00 p.m.

Thank you for your participation in this bidding process.  Any questions or concerns with this bid should be submitted through the Vendor Registry program.